## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 12-Dec-2022 04:16 PM Tender Title: Provision of Electrical Appliances for newly constructed Guest Houses retiring room Nearby Residential Quarters at JPNI Airport Patna Tender ID: 2022_AAI_136502_1
Tender Inviting Authority: Airports Authority of India, JPNI Airport Patna.
Name of Work: Provision of Electrical Appliances for newly constructed Guest Houses/retiring room Nearby Residential Quarters at JPNI Airport Patna.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S AMAR ENTERPRISES(GSTN-20AAMFA2722R1ZE) |  | m/s cool control(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1.5 TR Hi wall split AC of BEE 5 star rating with inverter compressor, Remote Control, suitable for operation at 230V,50 Hz,AC power supply, Capable of performing cooling, air circulating, filtering, and ventilation etc. consisting of connecting Copper Pipes & copper Pipe Insulation, copper conductor PVC insulated PVC sheathed multicore power cable, drain pipe (upto 3 mtrs or as per OEM standard) including charging of suitable(Non CFC) refrigerant gas and mounting stand including all other accessories etc. complete as required. | 4.00 | Each |  | 39500.00 | 158000.00 | 34000.00 | 136000.00 | 45000.00 | 180000.00 | 136000.00 | m/s cool control
2.00 | Installation, testing & commissioning of 1.5 TR Hi wall split AC by fixing indoor unit on wall/ceiling/structure and outdoor unit on floor/wall/stand including fasteners, copper pipe with insulation, PVC insulated PVC sheathed multicore power cable for indoor to out door unit, (upto 3 mtrs or as per OEM standard) drain Pipe, charging of suitable refrigerant gas etc. complete as required. | 4.00 | Each |  | 2600.00 | 10400.00 | 1100.00 | 4400.00 | 2150.00 | 8600.00 | 4400.00 | m/s cool control
3.00 | Supply & fixing of extra refrigerant copper tubing of suitable size for both suction and discharge along with nitrile/polythene foam insulation for tubing covering and electrical PVC flexible cable of suitable size copper conductor from indoor to outdoor suitable for 1.5 TR Air conditioner with laying/clamping on surface, chiselling & making good of wall etc connection complete as per requirement of site. | 12.00 | Mtrs |  | 360.00 | 4320.00 | 730.00 | 8760.00 | 500.00 | 6000.00 | 4320.00 | M/S AMAR ENTERPRISES
4.00 | Supply and fixing of 20 mm dia hard UPVC drain pipe with all accessories i/c chiselling, making good of wall or laying on surface etc as per site requirement complete as required. | 20.00 | Mtrs |  | 84.00 | 1680.00 | 149.00 | 2980.00 | 65.00 | 1300.00 | 1300.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Supply and fixing of 20 amps, 240 volts, SPN modular type, socket outlet, enclosed plug top along with 20 amps "C" curve, SP, MCB, in sheet steel enclosure on surface or in recess etc complete with connections, testing and commissioning etc. as required. | 7.00 | Each |  | 780.00 | 5460.00 | 810.00 | 5670.00 | 500.00 | 3500.00 | 3500.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Supply of Mini refrigerator of 45 Litre capacity,BEE1 Star,direct cool single door with 3 Nos. of Shelves, ice tray and body made of Polycarbonate etc. suitable for operation at 230V,50 Hz,AC power supply etc complete as required. | 4.00 | Each |  | 10320.00 | 41280.00 | 9000.00 | 36000.00 | 10500.00 | 42000.00 | 36000.00 | m/s cool control
7.00 | Supply of Geyser of 10 litre capacity operating at three diffrernt mode (Turbo mode- 3kw, smart mode- 2kw and Eco mode -1 kw), with IPX protection,Shock safe plug and suitable for operation at 230V,50 Hz,AC power supply etc complete as required.(Make :Havells, model:Puro Turbo DX 10L or equivalent) | 4.00 | Each |  | 10490.00 | 41960.00 | 11300.00 | 45200.00 | 9750.00 | 39000.00 | 39000.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Installation, testing & commissioning of Geyser as per site rquirement and directed by EIC. | 4.00 | Each |  | 500.00 | 2000.00 | 275.00 | 1100.00 | 1500.00 | 6000.00 | 1100.00 | m/s cool control
9.00 | Supply of fully stainless steel body water cooler with inbuilt Reverse Osmosis(RO) +UV water purifier with sensor based touchless water dispensing system, 2 nos tap, having storage capacity of 80 Liters, minimum cooling capacity of 60 liters per hour, fitted with suitable compressor, operating on HFC R 134-a/ Non CFC refrigerant, fully automatic, minimum 50 liters per hour purification capacity of RO with auto flushing system, TDS controller, 7 stages of filtration along with Pre-filter assembly 20'' suitable for opeartion on 230V +/- 10%, 50Hz AC supply etc. complete as required.Model:( 60-80-50) CND touch less and Make : Zero B or equivalent. | 1.00 | Each |  | 115000.00 | 115000.00 | 104000.00 | 104000.00 | 90000.00 | 90000.00 | 90000.00 | ABHISHEK INTEGRATIONS LIMITED
10.00 | Installation, testing & commissioning of water cooler as per site rquirement and directed by EIC. | 1.00 | Each |  | 2000.00 | 2000.00 | 100.00 | 100.00 | 4000.00 | 4000.00 | 100.00 | m/s cool control
11.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed meduim class PVC conduit/ Casing caping etc as required.
11.10 | 2x4 Sq.mm +1x4 Sq.mm earth wire | 50.00 | Mtrs |  | 100.00 | 5000.00 | 250.00 | 12500.00 | 500.00 | 25000.00 | 5000.00 | M/S AMAR ENTERPRISES
12.00 | Supply and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 6.00 | Each |  | 500.00 | 3000.00 | 500.00 | 3000.00 | 500.00 | 3000.00 | 3000.00 | m/s cool control, M/S AMAR ENTERPRISES, ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 390100.00 |  | 359710.00 |  | 408400.00
Lowest Amount Quoted BY: m/s cool control(359710.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Electrical Appliances for newly constructed Guest Houses retiring room Nearby Residential Quarters at JPNI Airport Patna Tender ID: 2022_AAI_136502_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | m/s cool control | 359710.00 | L1
| 2 | M/S AMAR ENTERPRISES | 390100.00 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 408400.00 | L3