## BoQ1
Government eProcurement System Created By: SOLOMON PRABHAKAR Created Date/Time: 18-Jan-2023 02:50 PM Tender Title: Miscellaneous Minor Capital works of Internal and External Electrification at Hubballi Airport. Tender ID: 2022_AAI_137156_1
Tender Inviting Authority: ASST GENERAL MANAGER (ENGG-ELECTRICAL), AAI, HUBBALLI AIRPORT
Name of Work: Miscellaneous minor Capital works of Internal & External Electrification at Hubballi Airport.
Contract No: 2022_AAI_137156_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANU ELECTRICALS(GSTN-29AKWPM5631P1Z2) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | MIDAS ELECTRICALS PVT LTD(GSTN-33AAOCS7691A1Z6)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | INTERNAL ELECTRIFICATION Supply of following capacity(min.) Recess mounted Round type LED Downlighter fixture with LED of approved makes and heaving high eficiency PmmA diffuser .Specially designed flat opal diffuser fixed to housing driver installed on housing/externally/inbuilt and prewired up to terminalBlock.It has a system level lumen out put not less than 100 Lm/Watt.CCT from 4000 K or greater,suitable for indoor application complete as per Technical specifications.
1.10 | 6 watt LED Recess downlighter Similar to Make/Model : Crompton , CAT No. CDR-204-06-57-SL-NWH or Equivalent. | 4.00 | Each |  | 1450.00 | 5800.00 | 1050.00 | 4200.00 | 395.00 | 1580.00 | 1580.00 | MIDAS ELECTRICALS PVT LTD
1.20 | 9 watt LED Recess downlighter Similar to Make/Model : BAJAJ LED Round, CAT No BRDCSL 9W LED WH or equivalent. | 2.00 | Each |  | 1800.00 | 3600.00 | 1150.00 | 2300.00 | 450.00 | 900.00 | 900.00 | MIDAS ELECTRICALS PVT LTD
1.30 | 12 watt LED Surface mounted Round type Downlight fixture Similar to Make/Model :Phillips Sleek surface down lightCAT No.:- SM250C LED 12S-6500 PSU WH or equivalent. | 16.00 | Each |  | 1500.00 | 24000.00 | 1025.00 | 16400.00 | 925.00 | 14800.00 | 14800.00 | MIDAS ELECTRICALS PVT LTD
1.40 | 15 watt LED Recess mounted Round type Downlight fixture Similar to Make/Model :Crompton , CAT No. CDR-205-12-57-SL-NWH or Equivalent | 4.00 | Each |  | 1901.00 | 7604.00 | 1250.00 | 5000.00 | 660.00 | 2640.00 | 2640.00 | MIDAS ELECTRICALS PVT LTD
1.50 | 24 watt LED Recess mounted Round type Downlight Similar to Make/Model : Bajaj CAT No.BZSLO nxt 24L LED WH SD or equivalent. | 170.00 | Each |  | 2100.00 | 357000.00 | 1280.00 | 217600.00 | 1300.00 | 221000.00 | 217600.00 | jaydeep agency corporation
1.60 | 24 watt LED Surface mounted Round type Downlight Similar to Similar to Make/Model : Bajaj CAT No.BPSLR Surface 24W LED WH RD SD or Equivalent. | 36.00 | Each |  | 2100.00 | 75600.00 | 1375.00 | 49500.00 | 1120.00 | 40320.00 | 40320.00 | MIDAS ELECTRICALS PVT LTD
1.70 | 120 watt LED typeHig Bay light Similar to Make/Model : : Bajaj CAT No.BIHNK 120W WH NB PC SD or equivalent. | 184.00 | Each |  | 9900.00 | 1821600.00 | 7200.00 | 1324800.00 | 4300.00 | 791200.00 | 791200.00 | MIDAS ELECTRICALS PVT LTD
2.00 | Supply of 36W(min.), Recess mounted 600mmx 600mm type LED fixture with LED of approved makes and heaving high eficiency PmmA diffuser .Specially designed flat opal diffuser fixed to housing driver installed on housing/externally/inbuilt and prewired up to terminal Block.It has a system level lumen out put not less than 100 Lm/Watt.CCT from 4000 K or greater,suitable for indoor application complete as per Technical specifications.Bajaj CAT No.BPRF 36W WH SL LED or equivalent. | 55.00 | Each |  | 2500.00 | 137500.00 | 5200.00 | 286000.00 | 1570.00 | 86350.00 | 86350.00 | MIDAS ELECTRICALS PVT LTD
3.00 | Supply of 18W T8 LED tube light of 4ft. length with inbuilt driver of 4ft. length, The 18W T8 LED tube light shall be compatible to retrofit in the existing fixture in place of 4X28W/2x28W/1x28 Watt/1x36 watt Fluorescent Tube Light complete as required.It has a system level lumen output not less than 1800 lumens,suitable for indoor applications complete as per technical specifications. (Similar to Crompton make,CAT No.LT8-I8-865(3) or equivalent) | 622.00 | Each |  | 300.00 | 186600.00 | 285.00 | 177270.00 | 180.00 | 111960.00 | 111960.00 | MIDAS ELECTRICALS PVT LTD
4.00 | Dismantling the existing, 4X28W, T5 Fluorescent Tube light fitting of 4ft. length and Installation of new 4 X 18W T8 LED tube light of 4ft. length with inbuilt driver, providing new suitable holder, and making the interconnections with suitable Cu Wire as per the specifications complete etc. as required. | 36.00 | Each |  | 300.00 | 10800.00 | 50.00 | 1800.00 | 560.00 | 20160.00 | 1800.00 | jaydeep agency corporation
5.00 | Dismantling the existing 2x 18 W T5 Fluorescent Tube light fitting of 4ft. length and Installation of new 2 X 18W T8 LED tube light of 4ft. length with inbuilt driver, providing suitable holder, and making the interconnections with suitable Cu wires, as per the specifications complete etc. as required. | 152.00 | Each |  | 100.00 | 15200.00 | 25.00 | 3800.00 | 560.00 | 85120.00 | 3800.00 | jaydeep agency corporation
6.00 | Dismantling the existing 1X36W/1x28/1x14W FTL/T5 of 4ft. length,and Installation of new 1 X 18W T8 LED tube light of 4ft. length with inbuilt driver by removing/Dismantling the existing and making the interconnections as per the specifications complete etc. as required. | 74.00 | Each |  | 100.00 | 7400.00 | 50.00 | 3700.00 | 392.00 | 29008.00 | 3700.00 | jaydeep agency corporation
7.00 | Installation, testing and commissioning of Pre-wired LED fittings of all indoortypes, complete directly on ceiling/false ceiling /truss/wall/fixing of track & then LED fixture on it,complete as required including dismantling of old light fixtures as per site requirement and as directed by Engg-In-charge.
7.10 | Up to 4 Mtrs Height area | 267.00 | Each |  | 100.00 | 26700.00 | 50.00 | 13350.00 | 335.00 | 89445.00 | 13350.00 | jaydeep agency corporation
7.20 | Above 4 Mtrs Height area | 167.00 | Each |  | 100.00 | 16700.00 | 75.00 | 12525.00 | 615.00 | 102705.00 | 12525.00 | jaydeep agency corporation
8.00 | Supply of LED driver of following Rating, Input : Single phase AC, 230V ,50 Hz Output : DC 12 V @ 10 Amps Max Power rating: 120 Watts and suitable to work in the Existing LED Signboards complete as required. | 10.00 | Each |  | 900.00 | 9000.00 | 1050.00 | 10500.00 | 2240.00 | 22400.00 | 9000.00 | ANU ELECTRICALS
9.00 | Supply of LED driver of following Rating, Input : Single phase AC, 230V ,50 Hz Output : DC 12 V @ 5 Amps Max Power rating: 60 Watts and suitable to work in the Existing LED Signboard complete as required. | 4.00 | Each |  | 700.00 | 2800.00 | 800.00 | 3200.00 | 2015.00 | 8060.00 | 2800.00 | ANU ELECTRICALS
10.00 | Supply of LED driver of following Rating, Input : Single phase AC, 230V ,50 Hz Output : DC 12 V @ 3 Amps Max Power rating: 36 Watts and suitable to work in the Existing LED Signboard complete as required. | 7.00 | Each |  | 500.00 | 3500.00 | 600.00 | 4200.00 | 1680.00 | 11760.00 | 3500.00 | ANU ELECTRICALS
11.00 | EXTERNAL ELECTRIFCATION Supply of LED street light fixtures of following capacity ,with efficacy minimum 110 lm/w,, CRI ≥ 70,THD ≤10, IP65 or higher, surge protection ≥ 4 kV, P.F ≥ 0.95, High pressure diecast aluminium/standard alloy housing , warranty period of 5 years from date of completion, total power consumption of not more than 110% of rated power, any of the following make of LED - Nichia/Cree /Osram / Lumiled (Philips) / Sharp / Seoul / Everlite / Citizen (Japan)/ Bridgelux (USA) / Samsung and complying to the technical specifications in the tender document.
11.10 | 36 Watt LED Street light | 100.00 | Each |  | 2500.00 | 250000.00 | 1280.00 | 128000.00 | 1545.00 | 154500.00 | 128000.00 | jaydeep agency corporation
11.20 | 45 Watt LED Street light | 94.00 | Each |  | 2800.00 | 263200.00 | 1890.00 | 177660.00 | 1595.00 | 149930.00 | 149930.00 | MIDAS ELECTRICALS PVT LTD
11.30 | 90 watt LED Street light | 34.00 | Each |  | 4500.00 | 153000.00 | 3250.00 | 110500.00 | 3135.00 | 106590.00 | 106590.00 | MIDAS ELECTRICALS PVT LTD
12.00 | Supply of following capacity LED flood light fixtures of efficacy minimum 110 lm/w,, CRI ≥ 70,THD ≤10, IP65 or higher, surge protection ≥ 4 kV, P.F ≥ 0.95, High pressure diecast aluminium /standard alloy housing, warranty period of 5 years from date of completion, total power consumption of not more than 110% of rated power, any of the following make of LED - Nichia/Cree/ Osram / Lumiled (Philips)/Sharp/Seoul/ Everlite/Citizen(Japan)/ Bridgelux (USA)/Samsung and complying to the technical specifications in the tender document.
12.10 | 50 W LED Flood Light | 15.00 | Each |  | 5200.00 | 78000.00 | 1980.00 | 29700.00 | 4480.00 | 67200.00 | 29700.00 | jaydeep agency corporation
12.20 | 300 watt LED Flood light luminaire of anti glare light output , suitable for use at Airport Apron | 8.00 | Each |  | 15000.00 | 120000.00 | 14800.00 | 118400.00 | 12320.00 | 98560.00 | 98560.00 | MIDAS ELECTRICALS PVT LTD
12.30 | 500 watt LED Flood light luminaire of anti glare light output , suitable for use at Airport Apron | 7.00 | Each |  | 24000.00 | 168000.00 | 21400.00 | 149800.00 | 31000.00 | 217000.00 | 149800.00 | jaydeep agency corporation
13.00 | Installation, testing and commissioning of Pre-wired LED Flood fittings of outdoor types, complete directly on high mast of 30 mtr Height complete as required including dismantling of old light fixtures as per site requirement and as directed by Engg-In-charge. | 15.00 | Each |  | 200.00 | 3000.00 | 250.00 | 3750.00 | 7840.00 | 117600.00 | 3000.00 | ANU ELECTRICALS
14.00 | Supply of following size PVC insulated and FR PVC Round Sheathed, Copper Conductor (flexible) industrial cable, Voltage grade of 1100 Volt, conforming to IS 694 complete as required. 3Cx1.5 sqmm | 1400.00 | Mtr |  | 100.00 | 140000.00 | 58.00 | 81200.00 | 65.00 | 91000.00 | 81200.00 | jaydeep agency corporation
15.00 | SITC of Feeder Panel SITC of cubicle type Out door feeder panel for control and operating of existing Bajaj make Highmast towers fabricated using 14SWG CRCA sheet steel for frame work and covers, 3mm thick for gland plates, totally enclosed stand mounted dust free, damp and vermin proof and water proof outdoor (IP 55), powder coated, painting, suitable for operation on 3 Phase and neutral , 415v, 50 Hz AC system, including supply & fixing of 63A TPN MCB incomer, single dial time switch, 45A TP Contactor for the automatic switching of luminaries, power tool control with 2 Nos. 9A contactors and raise / lower push butten, incoming 35 sq. mm and outgoing 16 & 2.5 sqmm terminals,including Dismantling of existing feeder panels complete as required as per OEM of Mast recommendation and as per EIC instructions including all works for foundation like excavation, PCC, brick work pedestal, plastering, finishing etc. and as per specifications as required. | 3.00 | Job |  | 30000.00 | 90000.00 | 19500.00 | 58500.00 | 55000.00 | 165000.00 | 58500.00 | jaydeep agency corporation
16.00 | SITC OF POLES SITC of 6 mtr (5.1 mtr above ground and 0.9 mtr below the ground) swaged type MS tubular pole as mentioned below size as per IS: 2713 (part-III-1980) along with 300 mm X 300 mm X 6 mm MS base plate. DIA THICKNESS HEIGHT LOCATION 69.3 mm 3.25 mm (0.9+3.1 mtr) Bottom 50.0 mm 3.25 mm 2.00 mtr Top The pole shall have single arm of 1.5 mtr length made up of 40 mm dia MS pipe suitable for fixing of 1x 36 w LED Street light fixture including suitable size bracket for fixing of arm on pole, providing / making 1:2:4 (1 cement : 2 coarse sand: 4 graded stone aggregate 40 mm nominal size) cement concrete foundation 900 mm below the ground and 300 mm above the ground level , erection of pole on foundation of size 400x400x1200 mm ,along with providing and fixing 2x1.5 Mtr length 40 mm dia B class GI pipe for cable entry,having suitable bend and its fixing arrangement, including excavation and refilling etc complete as required .The pole shall have provision of cable termination and cable looping box of IP-66 categeory. Pole shall have painting with two coats of red oxide Primer and two coats of Aluminium (Silver) paint including numbering of pole with black paint on yellow circular background etc. as required, complete as per technical specifications and drawings. | 10.00 | Each |  | 19000.00 | 190000.00 | 17800.00 | 178000.00 | 14500.00 | 145000.00 | 145000.00 | MIDAS ELECTRICALS PVT LTD
17.00 | Installation, Testing and Commissioning of prewired LED type Street light fitting on the existing street light tubular pole of height 5 mtr including connections with 1.5 sq.mm FRLS PVC insulated, copper conductor, three core flexible industrial cable (For phase, neutral and earth) and carriage of fitting from store to site etc. as required. | 10.00 | Job |  | 3000.00 | 30000.00 | 210.00 | 2100.00 | 7500.00 | 75000.00 | 2100.00 | jaydeep agency corporation
18.00 | SUPPLY LT POWER CABLES Supply of following sizes aluminium conductor armoured XLPE insulated, PVC sheathed power cable for working voltage upto & i/c 1.1 KV. as per IS : 7098 (Part-I), 1988 with latest amendments.
18.10 | 3.5x35 Sqmm | 2010.00 | Mtr |  | 250.00 | 502500.00 | 278.00 | 558780.00 | 230.00 | 462300.00 | 462300.00 | MIDAS ELECTRICALS PVT LTD
18.20 | 4x16 Sqmm | 2855.00 | Mtr |  | 150.00 | 428250.00 | 198.00 | 565290.00 | 165.00 | 471075.00 | 428250.00 | ANU ELECTRICALS
19.00 | Supply of 3Cx4sqmm flat PVC insulated and PVC sheathed industrial cable with bare bunched Cu conductor for submersible pump motor with voltage grade 1100 Volts as per IS:694/1990 Complete as required | 300.00 | Mtr |  | 150.00 | 45000.00 | 152.00 | 45600.00 | 160.00 | 48000.00 | 45000.00 | ANU ELECTRICALS
20.00 | LAYING OF LT CABLES Supply of following size PE 63 grade PN4 rating HDPE pipe confirming to IS 4984 incluiding all accessories such as Couplers etc complete as required.
20.10 | 50 mm dia(OD) HDPE Pipe | 4140.00 | Mtr |  | 100.00 | 414000.00 | 138.00 | 571320.00 | 170.00 | 703800.00 | 414000.00 | ANU ELECTRICALS
20.20 | 63 mm dia HDPE pipe | 470.00 | Mtr |  | 120.00 | 56400.00 | 225.00 | 105750.00 | 225.00 | 105750.00 | 56400.00 | ANU ELECTRICALS
21.00 | Laying of 50/63/90 mm dia PE 63 grade PN4 rating HDPE pipe confirming to IS 4984 incluiding all accessories direct in ground (75 cm below ground level) excavation and refilling the trench complete as required. | 3800.00 | Mtr |  | 12.00 | 45600.00 | 45.00 | 171000.00 | 65.00 | 247000.00 | 45600.00 | ANU ELECTRICALS
22.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required.
22.10 | (upto 35 sqmm ) | 3980.00 | Mtr |  | 12.00 | 47760.00 | 30.00 | 119400.00 | 40.00 | 159200.00 | 47760.00 | ANU ELECTRICALS
22.20 | 95 Sqmm and 185 sqmm(for 3.5Cx120 Sq mm cable) | 470.00 | Mtr |  | 12.00 | 5640.00 | 55.00 | 25850.00 | 120.00 | 56400.00 | 5640.00 | ANU ELECTRICALS
23.00 | CABLE TERMINATION Supplying and making end termination with double compression brass gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
23.10 | 3.5C 35 Sq.mm Al | 8.00 | Set |  | 600.00 | 4800.00 | 245.00 | 1960.00 | 2800.00 | 22400.00 | 1960.00 | jaydeep agency corporation
23.20 | 4X 16 Sq. mm AL | 10.00 | Set |  | 500.00 | 5000.00 | 195.00 | 1950.00 | 1625.00 | 16250.00 | 1950.00 | jaydeep agency corporation
23.30 | 3.5 x 120 sqmm | 4.00 | Set |  | 1200.00 | 4800.00 | 570.00 | 2280.00 | 4820.00 | 19280.00 | 2280.00 | jaydeep agency corporation
24.00 | STRAIGHT THROUGH JOINTS Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
24.10 | 3.5 X120 Sq mm Cable | 1.00 | Set |  | 4500.00 | 4500.00 | 1480.00 | 1480.00 | 12000.00 | 12000.00 | 1480.00 | jaydeep agency corporation
24.20 | 3.5 x300 Sqmm Cable | 4.00 | Set |  | 6000.00 | 24000.00 | 2890.00 | 11560.00 | 18000.00 | 72000.00 | 11560.00 | jaydeep agency corporation
25.00 | CABLE ROUTE MARKER Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 62.00 | Each |  | 1500.00 | 93000.00 | 350.00 | 21700.00 | 1800.00 | 111600.00 | 21700.00 | jaydeep agency corporation
26.00 | SUPPLY & INSTALLATION OF PUMPS Supply of 7.5HP 13 stage vertical submersible pump set suitable for discharge of minimum 120 LPM discharge range against static head of minimum 114 mtrs consisting of multistage pump with suitable motor of 415 V, 50 Hz A.C supply.Pump and motor must be connected with alignment shaft and suitable for existing 150mm dia bore well complete as required. (Make: Kirloskar KS6B-0813 or equivalent approved make.) | 3.00 | Each |  | 50000.00 | 150000.00 | 133723.00 | 401169.00 | 74000.00 | 222000.00 | 150000.00 | ANU ELECTRICALS
27.00 | Supply of 7.5HP Horizontal openwell 3 Phase submersible pump set with anticorrosive material coated cast iron/SS Body having suitable for discharge of minimum 1494 LPM discharge range against static head of minimum 8 mtrs with suitable for working on 415 V, 50 Hz A.C supply, complete as required. (Make: Kirloskar Etrena CW 5500 CW or equivalent approved make.) | 3.00 | Each |  | 50000.00 | 150000.00 | 122330.00 | 366990.00 | 32000.00 | 96000.00 | 96000.00 | MIDAS ELECTRICALS PVT LTD
28.00 | ITC of vertical submersible pump set of 7.5 HP in the existing borewell including making connection of submercible cable & connection of pipes with 6 mm thick 50 mm dia GI Flange with suitable nipple, dully fixed on both the ends of the pipe complete with rubber packing nuts & bolts for making water tight connections et ccomplete as required as per direction of E-I-C. | 2.00 | Each |  | 12000.00 | 24000.00 | 2500.00 | 5000.00 | 6500.00 | 13000.00 | 5000.00 | jaydeep agency corporation
29.00 | ITC of 7.5 HP openwell submersible pump set of 7.5 HP including lowering/Lifting of pump fixing of pump with suitable nut bolts along with provision of steel chain with hooks for lowering/lifting arrangements of pump, Electrical connection,Testing of pump and submission of report to AAI complete as required as per direction of E-I-C. | 1.00 | Each |  | 12000.00 | 12000.00 | 2500.00 | 2500.00 | 6500.00 | 6500.00 | 2500.00 | jaydeep agency corporation
30.00 | Providing, fixing and lowering of 50 mm NB ,60mm OD uPVC pipe of with Delivery pressure 20Kg/cm2 of ISI marked confirming to in existing borewell with the help of tripod stand from ground level to pump set complete as required as per site requirement. | 200.00 | Mtr |  | 500.00 | 100000.00 | 438.00 | 87600.00 | 600.00 | 120000.00 | 87600.00 | jaydeep agency corporation
31.00 | SITC OF OUTDOOR TYPE STARTER PANEL Supply, Installation, Testing & Commissioning of out door DOL starter panel, made out of 2 mm thick CRCA sheet with suitable channel base frame in the bottom, totally enclosed, IP 54, free standing dust and vermin proof with front locking arrangements duly powder coated with approved shade with iron angle stand size 50mm x 50mm x 5mm and 75cm height. starter panel suitable for 3phase 7.5 HP submersible pump set i/c single phase preventer, ammeter & voltmeter, toroidal preventer, auto start unit and sutable incomer for auto/manual start & to protect aginst wrong phase sequence, single phasing with dry run protection and overload protection complete as required i/c digging & grounting with cement concrete etc. as per specifications and asper site requirement. | 5.00 | Each |  | 25000.00 | 125000.00 | 24800.00 | 124000.00 | 15000.00 | 75000.00 | 75000.00 | MIDAS ELECTRICALS PVT LTD
32.00 | Earthing Supply and laying of 6 SWG GI earth wire in existing open trench complete as required as per specification. | 2200.00 | Mtr |  | 41.00 | 90200.00 | 38.00 | 83600.00 | 25.00 | 55000.00 | 55000.00 | MIDAS ELECTRICALS PVT LTD
33.00 | MISCELLANEOUS : Making Horizontal drilling(HDD) by trencheless directional drilling (HDD) method by deploying HDD machines under runway/taxiway in depth of not less than 1.5 mtrs suitable to lay 110 mm dia pipe with necessary arrangements of exit & entry masonary chambers, water supply, supply and laying of 110 mm dia HDPE pipe of PN6 P80 of approved make through the drilled holes leaving 2 mtr extra on both the ends etc. complete as required. | 80.00 | Mtr |  | 1500.00 | 120000.00 | 332.00 | 26560.00 | 2100.00 | 168000.00 | 26560.00 | jaydeep agency corporation
34.00 | Diversion of 3.5cx300sqmm Cable along with its protective pipe, from Drain to ground including excavation laying & refilling back the soil and removal of additional surplus material from site asper direction of EIC. | 1000.00 | Mtr |  | 300.00 | 300000.00 | 110.00 | 110000.00 | 550.00 | 550000.00 | 110000.00 | jaydeep agency corporation
35.00 | DECORATION Supply of RGB LED multicolour light fitting of 100 W, min IP 65 protection,High pressure diecast aluminium/standard alloy housing etc complete as per site requirement. | 30.00 | Each |  | 4500.00 | 135000.00 | 18500.00 | 555000.00 | 9000.00 | 270000.00 | 135000.00 | ANU ELECTRICALS
36.00 | Supply of Led Spot Light OF Capacity 25 watt with min beam angle of 36 deg. | 20.00 | Each |  | 1900.00 | 38000.00 | 3800.00 | 76000.00 | 1900.00 | 38000.00 | 38000.00 | ANU ELECTRICALS, MIDAS ELECTRICALS PVT LTD
37.00 | Supply of 2 Mtr length Track for Led Spot Light to install the LED Spot Light Complete as per site requirement | 5.00 | Each |  | 1500.00 | 7500.00 | 1280.00 | 6400.00 | 1500.00 | 7500.00 | 6400.00 | jaydeep agency corporation
| Total in Figures |  |  |  |  | 7129554.00 |  | 7222494.00 |  | 7154843.00
Lowest Amount Quoted BY: ANU ELECTRICALS(7129554.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Minor Capital works of Internal and External Electrification at Hubballi Airport. Tender ID: 2022_AAI_137156_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANU ELECTRICALS | 7129554.00 | L1
| 2 | MIDAS ELECTRICALS PVT LTD | 7154843.00 | L2
| 3 | jaydeep agency corporation | 7222494.00 | L3