## BoQ1
Government eProcurement System Created By: Deepak Kumar Created Date/Time: 12-Jan-2023 03:59 PM Tender Title: Construction of DVOR building approach road and allied works at B.M. Airport, Ranchi. SH CIVIL and ELECTRICAL WORKS. Tender ID: 2022_AAI_137321_1
Tender Inviting Authority: AGM (Engg.-Civil), AAI, B.M.Airport, Ranchi.
Name of Work: Construction of DVOR building, approach road and allied works at B.M. Airport, Ranchi. (SH:CIVIL & ELECTRICAL WORKS)
Contract No: 2022_AAI_137321_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S DAROGA SINGH CONSTRUCTION COMPANY(GSTN-20AALFD6255D1ZT) |  | M/s Bikash Kumar(GSTN-10BFWPK4167C3ZB) |  | M/S M L BROTHER(GSTN-02ABWPM6184GIZA) |  | BRAJESH KUMAR(GSTN-10AGTPK7900N1Z3)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Note: The tender rate should be inclusive of all taxes, duties, cess, fee , royalty charges etc. levied under any statute but exclusive of GST.
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 600.00 | Cum | 0.00 | 130.00 | 78000.00 | 152.00 | 91200.00 | 150.00 | 90000.00 | 300.00 | 180000.00 | 78000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.02 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 600.00 | Cum | 0.00 | 90.00 | 54000.00 | 125.00 | 75000.00 | 80.00 | 48000.00 | 100.00 | 60000.00 | 48000.00 | M/S M L BROTHER
1.03 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 132.00 | Cum | 0.00 | 1250.00 | 165000.00 | 1000.00 | 132000.00 | 800.00 | 105600.00 | 1650.00 | 217800.00 | 105600.00 | M/S M L BROTHER
1.04 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil. | 31400.00 | Sqm | 0.00 | 8.00 | 251200.00 | 45.00 | 1413000.00 | 5.00 | 157000.00 | 18.00 | 565200.00 | 157000.00 | M/S M L BROTHER
1.05 | Extra for levelling & neatly dressing of disposed soil completely as directed by Engineer-in-charge. | 600.00 | Cum | 0.00 | 30.00 | 18000.00 | 75.00 | 45000.00 | 40.00 | 24000.00 | 100.00 | 60000.00 | 18000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.06 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone- II) : 4 graded stone aggregate 20 mm nominal size). | 157.00 | Cum | 0.00 | 5200.00 | 816400.00 | 5985.00 | 939645.00 | 5900.00 | 926300.00 | 5800.00 | 910600.00 | 816400.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.07 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size). | 276.00 | Cum | 0.00 | 4300.00 | 1186800.00 | 5852.00 | 1615152.00 | 4500.00 | 1242000.00 | 5600.00 | 1545600.00 | 1186800.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.08 | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20mm nominal size derived from natural sources). | 90.00 | Sqm | 0.00 | 350.00 | 31500.00 | 402.00 | 36180.00 | 500.00 | 45000.00 | 410.00 | 36900.00 | 31500.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.09 | Centering and shuttering including strutting, propping etc. and removal of form for all heights :Foundations, footings, bases of columns, etc. for mass concrete. | 260.00 | Sqm | 0.00 | 150.00 | 39000.00 | 503.00 | 130780.00 | 300.00 | 78000.00 | 300.00 | 78000.00 | 39000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.10 | Centering and shuttering including strutting, propping etc. and removal of fromwork for Suspended floors, roofs, landings, balconies and access platform. | 90.00 | Sqm | 0.00 | 220.00 | 19800.00 | 686.00 | 61740.00 | 300.00 | 27000.00 | 400.00 | 36000.00 | 19800.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.11 | Centering and shuttering including strutting, propping etc. and removal of fromwork for Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 120.00 | Sqm | 0.00 | 240.00 | 28800.00 | 792.00 | 95040.00 | 300.00 | 36000.00 | 450.00 | 54000.00 | 28800.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.12 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Columns, Pillars, Piers, Abutments, Posts and Struts. | 70.00 | Sqm | 0.00 | 300.00 | 21000.00 | 792.00 | 55440.00 | 300.00 | 21000.00 | 450.00 | 31500.00 | 21000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY, M/S M L BROTHER
1.13 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 11000.00 | Kg | 0.00 | 71.00 | 781000.00 | 65.00 | 715000.00 | 82.00 | 902000.00 | 80.00 | 880000.00 | 715000.00 | M/s Bikash Kumar
1.14 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500 D or more. | 4000.00 | Kg | 0.00 | 72.00 | 288000.00 | 65.00 | 260000.00 | 82.00 | 328000.00 | 80.00 | 320000.00 | 260000.00 | M/s Bikash Kumar
1.15 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. Concrete of M25 grade with minimum cement content of 330 kg /cum All works upto plinth level. | 66.00 | Cum | 0.00 | 5800.00 | 382800.00 | 6350.00 | 419100.00 | 6500.00 | 429000.00 | 6200.00 | 409200.00 | 382800.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.16 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. Concrete of M25 grade with minimum cement content of 330 kg /cum All works above plinth level upto floor V level. | 25.00 | Cum | 0.00 | 5800.00 | 145000.00 | 7793.00 | 194825.00 | 6500.00 | 162500.00 | 6500.00 | 162500.00 | 145000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.17 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five level in : Cement mortar 1:6 (1 cement : 6 coarse sand). | 50.00 | Cum | 0.00 | 4300.00 | 215000.00 | 4555.00 | 227750.00 | 8000.00 | 400000.00 | 6200.00 | 310000.00 | 215000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.18 | Half brick masonry with non modular fly ash bricks of class designation 10, conforming IS :12894, in super structure above plinth and upto floor V level. Cement mortar 1 : 4 (1 cement : 4 coarse sand). | 32.00 | Sqm | 0.00 | 850.00 | 27200.00 | 944.00 | 30208.00 | 1000.00 | 32000.00 | 800.00 | 25600.00 | 25600.00 | BRAJESH KUMAR
1.19 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab of all colour and texture except black, Cherry/ Ruby red Area of slab upto 0.50 sqm | 4.00 | Sqm | 0.00 | 2900.00 | 11600.00 | 4489.00 | 17956.00 | 3000.00 | 12000.00 | 4200.00 | 16800.00 | 11600.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.20 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work. | 6.00 | Metre | 0.00 | 300.00 | 1800.00 | 230.00 | 1380.00 | 3000.00 | 18000.00 | 300.00 | 1800.00 | 1380.00 | M/s Bikash Kumar
1.21 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 1.00 | Each | 0.00 | 500.00 | 500.00 | 525.00 | 525.00 | 1000.00 | 1000.00 | 3500.00 | 3500.00 | 500.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.22 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs ordash fastener shall be paid for separately). Second class teak wood. | .27 | Cum | 0.00 | 125000.00 | 33750.00 | 104611.00 | 28244.97 | 90000.00 | 24300.00 | 150000.00 | 40500.00 | 24300.00 | M/S M L BROTHER
1.23 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 12.00 | Sqm | 0.00 | 2500.00 | 30000.00 | 2992.00 | 35904.00 | 3000.00 | 36000.00 | 2700.00 | 32400.00 | 30000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.24 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 8.00 | Each | 0.00 | 1300.00 | 10400.00 | 1755.00 | 14040.00 | 1000.00 | 8000.00 | 1500.00 | 12000.00 | 8000.00 | M/S M L BROTHER
1.25 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 100x63x3.2 mm. | 12.00 | Each | 0.00 | 65.00 | 780.00 | 1200.00 | 14400.00 | 100.00 | 1200.00 | 80.00 | 960.00 | 780.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.26 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm. | 9.00 | Each | 0.00 | 200.00 | 1800.00 | 365.00 | 3285.00 | 250.00 | 2250.00 | 2500.00 | 22500.00 | 1800.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.27 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 11.00 | Each | 0.00 | 75.00 | 825.00 | 149.00 | 1639.00 | 120.00 | 1320.00 | 100.00 | 1100.00 | 825.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.28 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm. | 6.00 | Each | 0.00 | 50.00 | 300.00 | 108.00 | 648.00 | 100.00 | 600.00 | 70.00 | 420.00 | 300.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.29 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100 mm. | 6.00 | Each | 0.00 | 40.00 | 240.00 | 108.00 | 648.00 | 100.00 | 600.00 | 50.00 | 300.00 | 240.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.30 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 75 mm | 8.00 | Each | 0.00 | 32.00 | 256.00 | 81.00 | 648.00 | 100.00 | 800.00 | 50.00 | 400.00 | 256.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.31 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper. | 9.00 | Each | 0.00 | 85.00 | 765.00 | 95.00 | 855.00 | 100.00 | 900.00 | 100.00 | 900.00 | 765.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.32 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | 4.00 | Each | 0.00 | 1500.00 | 6000.00 | 1215.00 | 4860.00 | 1000.00 | 4000.00 | 800.00 | 3200.00 | 3200.00 | BRAJESH KUMAR
1.33 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.5 mm thick. | 106.00 | Sqm | 0.00 | 1050.00 | 111300.00 | 350.00 | 37100.00 | 600.00 | 63600.00 | 900.00 | 95400.00 | 37100.00 | M/s Bikash Kumar
1.34 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | 1128.00 | Kg | 0.00 | 85.00 | 95880.00 | 124.00 | 139872.00 | 120.00 | 135360.00 | 120.00 | 135360.00 | 95880.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.35 | Providing and fixing in wall lining medium density fibre board IS: 14587:1998 marked, Pre-laminated one side decorative lamination and other side balancing lamination, with necessary fixing arrangement and screws etc. complete. 12 mm thick. | 106.00 | Sqm | 0.00 | 900.00 | 95400.00 | 250.00 | 26500.00 | 1000.00 | 106000.00 | 950.00 | 100700.00 | 26500.00 | M/s Bikash Kumar
1.36 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 90.00 | Kg | 0.00 | 80.00 | 7200.00 | 148.00 | 13320.00 | 100.00 | 9000.00 | 120.00 | 10800.00 | 7200.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.37 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. 80x1.25 mm M.S. laths with 1.25 mm thick top cover. | 7.50 | Sqm | 0.00 | 3000.00 | 22500.00 | 2000.00 | 15000.00 | 3000.00 | 22500.00 | 4500.00 | 33750.00 | 15000.00 | M/s Bikash Kumar
1.38 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 12.00 | Sqm | 0.00 | 750.00 | 9000.00 | 1038.00 | 12456.00 | 1000.00 | 12000.00 | 950.00 | 11400.00 | 9000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.39 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 41.00 | Sqm | 0.00 | 750.00 | 30750.00 | 2121.00 | 86961.00 | 900.00 | 36900.00 | 950.00 | 38950.00 | 30750.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.40 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 53.00 | Sqm | 0.00 | 950.00 | 50350.00 | 1345.00 | 71285.00 | 900.00 | 47700.00 | 1300.00 | 68900.00 | 47700.00 | M/S M L BROTHER
1.41 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 3.00 | Sqm | 0.00 | 900.00 | 2700.00 | 1455.00 | 4365.00 | 1000.00 | 3000.00 | 1400.00 | 4200.00 | 2700.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.42 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 76.00 | Metre | 0.00 | 300.00 | 22800.00 | 364.00 | 27664.00 | 300.00 | 22800.00 | 300.00 | 22800.00 | 22800.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY, M/S M L BROTHER, BRAJESH KUMAR
1.43 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, Single tee with door. 110x110x110 mm | 3.00 | Each | 0.00 | 180.00 | 540.00 | 7000.00 | 21000.00 | 300.00 | 900.00 | 550.00 | 1650.00 | 540.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.44 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 8.00 | Each | 0.00 | 100.00 | 800.00 | 158.00 | 1264.00 | 200.00 | 1600.00 | 150.00 | 1200.00 | 800.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.45 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Shoe (Plain) 110 mm Shoe | 8.00 | Each | 0.00 | 80.00 | 640.00 | 500.00 | 4000.00 | 200.00 | 1600.00 | 150.00 | 1200.00 | 640.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.46 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete.110 m | 8.00 | Each | 0.00 | 55.00 | 440.00 | 58.00 | 464.00 | 200.00 | 1600.00 | 250.00 | 2000.00 | 440.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.47 | Providing and fixing tiled false ceiling of specified materials of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS :277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange ofcleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with 12.5 mm thick tapered edge gypsum moisture resistant board. | 50.00 | Sqm | 0.00 | 1350.00 | 67500.00 | 1000.00 | 50000.00 | 1500.00 | 75000.00 | 1300.00 | 65000.00 | 50000.00 | M/s Bikash Kumar
1.48 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 241.00 | Sqm | 0.00 | 190.00 | 45790.00 | 254.00 | 61214.00 | 220.00 | 53020.00 | 250.00 | 60250.00 | 45790.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.49 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | 190.00 | Sqm | 0.00 | 220.00 | 41800.00 | 278.00 | 52820.00 | 250.00 | 47500.00 | 300.00 | 57000.00 | 41800.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.50 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 80.00 | Sqm | 0.00 | 185.00 | 14800.00 | 265.00 | 21200.00 | 200.00 | 16000.00 | 300.00 | 24000.00 | 14800.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.51 | Neat cement punning. | 80.00 | Sqm | 0.00 | 55.00 | 4400.00 | 10.00 | 800.00 | 70.00 | 5600.00 | 400.00 | 32000.00 | 800.00 | M/s Bikash Kumar
1.52 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 190.00 | Sqm | 0.00 | 95.00 | 18050.00 | 181.00 | 34390.00 | 100.00 | 19000.00 | 80.00 | 15200.00 | 15200.00 | BRAJESH KUMAR
1.53 | Finishing walls with 100% Premium acrylic emulsion paint having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade (Company Depot Tinted) with silicon additives. New work (Two or more coats applied @ 1.43 litre/ 10 sqm. Over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm. | 126.00 | Sqm | 0.00 | 100.00 | 12600.00 | 131.00 | 16506.00 | 100.00 | 12600.00 | 90.00 | 11340.00 | 11340.00 | BRAJESH KUMAR
1.54 | Providing and applying white cement based putty of average thickness 1 mm,of approved brand and manufacturer, over the plastered wall surface toprepare the surface even and smooth complete. | 431.00 | Sqm | 0.00 | 115.00 | 49565.00 | 73.00 | 31463.00 | 80.00 | 34480.00 | 130.00 | 56030.00 | 31463.00 | M/s Bikash Kumar
1.55 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats. | 69.00 | Sqm | 0.00 | 100.00 | 6900.00 | 131.00 | 9039.00 | 100.00 | 6900.00 | 90.00 | 6210.00 | 6210.00 | BRAJESH KUMAR
1.56 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earth with lead upto 50 metres. | 484.00 | Sqm | 0.00 | 120.00 | 58080.00 | 85.00 | 41140.00 | 50.00 | 24200.00 | 150.00 | 72600.00 | 24200.00 | M/S M L BROTHER
1.57 | Supplying and stacking at site. Good earth | 18.00 | Cum | 0.00 | 350.00 | 6300.00 | 1000.00 | 18000.00 | 500.00 | 9000.00 | 600.00 | 10800.00 | 6300.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.58 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 47.00 | Cum | 0.00 | 5600.00 | 263200.00 | 5000.00 | 235000.00 | 6000.00 | 282000.00 | 7200.00 | 338400.00 | 235000.00 | M/s Bikash Kumar
1.59 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 1298.00 | Sqm | 0.00 | 675.00 | 876150.00 | 665.00 | 863170.00 | 650.00 | 843700.00 | 700.00 | 908600.00 | 843700.00 | M/S M L BROTHER
1.60 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid. | 1.00 | Each | 0.00 | 5500.00 | 5500.00 | 2000.00 | 2000.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 2000.00 | M/s Bikash Kumar
1.61 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required :One urinal basin with 5 litre white P.V.C. automatic flushing cistern. | 1.00 | Each | 0.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 2500.00 | M/s Bikash Kumar
1.62 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 1.00 | Each | 0.00 | 4200.00 | 4200.00 | 6360.00 | 6360.00 | 3000.00 | 3000.00 | 1700.00 | 1700.00 | 1700.00 | BRAJESH KUMAR
1.63 | Providing and fixing Stainless Steel A ISi 304 (18/8) kitchen sink as per IS: 13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board. 510x1040 mm bowl depth 200 mm | 1.00 | Each | 0.00 | 3800.00 | 3800.00 | 11074.00 | 11074.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 3800.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.64 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: 3989 | 3.00 | Each | 0.00 | 1300.00 | 3900.00 | 1000.00 | 3000.00 | 2000.00 | 6000.00 | 1500.00 | 4500.00 | 3000.00 | M/s Bikash Kumar
1.65 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal outer dia Pipes. | 135.00 | Metre | 0.00 | 260.00 | 35100.00 | 194.00 | 26190.00 | 200.00 | 27000.00 | 350.00 | 47250.00 | 26190.00 | M/s Bikash Kumar
1.66 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal outer dia Pipes. | 25.00 | Metre | 0.00 | 300.00 | 7500.00 | 256.00 | 6400.00 | 250.00 | 6250.00 | 400.00 | 10000.00 | 6250.00 | M/S M L BROTHER
1.67 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal outer dia Pipes. | 35.00 | Metre | 0.00 | 325.00 | 11375.00 | 317.00 | 11095.00 | 300.00 | 10500.00 | 500.00 | 17500.00 | 10500.00 | M/S M L BROTHER
1.68 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal outer dia Pipes | 35.00 | Metre | 0.00 | 340.00 | 11900.00 | 459.00 | 16065.00 | 500.00 | 17500.00 | 550.00 | 19250.00 | 11900.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.69 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 25 mm nominal outer dia Pipes | 375.00 | Metre | 0.00 | 360.00 | 135000.00 | 317.00 | 118875.00 | 250.00 | 93750.00 | 350.00 | 131250.00 | 93750.00 | M/S M L BROTHER
1.70 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work. 32 mm nominal dia Pipes | 25.00 | Metre | 0.00 | 380.00 | 9500.00 | 459.00 | 11475.00 | 400.00 | 10000.00 | 400.00 | 10000.00 | 9500.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.71 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work. 40 mm nominal dia Pipes | 25.00 | Metre | 0.00 | 500.00 | 12500.00 | 565.00 | 14125.00 | 500.00 | 12500.00 | 500.00 | 12500.00 | 12500.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY, M/S M L BROTHER, BRAJESH KUMAR
1.72 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 50 mm nominal dia Pipes | 60.00 | Metre | 0.00 | 600.00 | 36000.00 | 892.00 | 53520.00 | 600.00 | 36000.00 | 800.00 | 48000.00 | 36000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY, M/S M L BROTHER
1.73 | Providing and fixing brass stop cock of approved quality : 15 mm nominal bore | 4.00 | Each | 0.00 | 800.00 | 3200.00 | 400.00 | 1600.00 | 600.00 | 2400.00 | 350.00 | 1400.00 | 1400.00 | BRAJESH KUMAR
1.74 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 2.00 | Each | 0.00 | 800.00 | 1600.00 | 1197.00 | 2394.00 | 800.00 | 1600.00 | 500.00 | 1000.00 | 1000.00 | BRAJESH KUMAR
1.75 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 2.00 | Each | 0.00 | 100.00 | 200.00 | 11.00 | 22.00 | 100.00 | 200.00 | 99.00 | 198.00 | 22.00 | M/s Bikash Kumar
1.76 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 20 mm nominal bore | 2.00 | Each | 0.00 | 105.00 | 210.00 | 13.00 | 26.00 | 100.00 | 200.00 | 105.00 | 210.00 | 26.00 | M/s Bikash Kumar
1.77 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 20 mm nominal bore | 2.00 | Each | 0.00 | 200.00 | 400.00 | 256.00 | 512.00 | 300.00 | 600.00 | 250.00 | 500.00 | 400.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.78 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 25 mm nominal bore | 2.00 | Each | 0.00 | 260.00 | 520.00 | 344.00 | 688.00 | 400.00 | 800.00 | 350.00 | 700.00 | 520.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.79 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | Litre | 0.00 | 8.50 | 17000.00 | 11.00 | 22000.00 | 11.00 | 22000.00 | 9.50 | 19000.00 | 17000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.80 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 1.00 | Each | 0.00 | 800.00 | 800.00 | 1029.00 | 1029.00 | 1000.00 | 1000.00 | 400.00 | 400.00 | 400.00 | BRAJESH KUMAR
1.81 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 2.00 | Each | 0.00 | 850.00 | 1700.00 | 889.00 | 1778.00 | 1000.00 | 2000.00 | 700.00 | 1400.00 | 1400.00 | BRAJESH KUMAR
1.82 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 4.00 | Each | 0.00 | 800.00 | 3200.00 | 2835.00 | 11340.00 | 1000.00 | 4000.00 | 550.00 | 2200.00 | 2200.00 | BRAJESH KUMAR
1.83 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 100 mm diameter S.W. pipe | 35.00 | Metre | 0.00 | 650.00 | 22750.00 | 500.00 | 17500.00 | 400.00 | 14000.00 | 800.00 | 28000.00 | 14000.00 | M/S M L BROTHER
1.84 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 150 mm dia. R.C.C. pipe | 650.00 | Metre | 0.00 | 450.00 | 292500.00 | 588.00 | 382200.00 | 650.00 | 422500.00 | 350.00 | 227500.00 | 227500.00 | BRAJESH KUMAR
1.85 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, Total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 5.0 | 9.00 | Each | 0.00 | 18000.00 | 162000.00 | 28045.00 | 252405.00 | 16000.00 | 144000.00 | 18000.00 | 162000.00 | 144000.00 | M/S M L BROTHER
1.86 | Constructing soak pit 1.20x1.20x1.20 m filled with brickbats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design. | 1.00 | Each | 0.00 | 4000.00 | 4000.00 | 600.00 | 600.00 | 5000.00 | 5000.00 | 9000.00 | 9000.00 | 600.00 | M/s Bikash Kumar
1.87 | Providing and fixing S.W. intercepting trap in manholes with stiff mixture of cement mortar 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 100 mm dia | 2.00 | Each | 0.00 | 360.00 | 720.00 | 600.00 | 1200.00 | 1500.00 | 3000.00 | 350.00 | 700.00 | 700.00 | BRAJESH KUMAR
1.88 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion. Powder coated aluminium (minimum thickness of powder coating 50 micron) | 193.00 | Kg | 0.00 | 480.00 | 92640.00 | 426.00 | 82218.00 | 600.00 | 115800.00 | 500.00 | 96500.00 | 82218.00 | M/s Bikash Kumar
1.89 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 20.00 | Kg | 0.00 | 500.00 | 10000.00 | 426.00 | 8520.00 | 550.00 | 11000.00 | 600.00 | 12000.00 | 8520.00 | M/s Bikash Kumar
1.90 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides | 18.00 | Sqm | 0.00 | 650.00 | 11700.00 | 426.00 | 7668.00 | 1000.00 | 18000.00 | 800.00 | 14400.00 | 7668.00 | M/s Bikash Kumar
1.91 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.00 mm thickness | 20.00 | Sqm | 0.00 | 900.00 | 18000.00 | 426.00 | 8520.00 | 1000.00 | 20000.00 | 1300.00 | 26000.00 | 8520.00 | M/s Bikash Kumar
1.92 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 11.00 | Kg | 0.00 | 500.00 | 5500.00 | 426.00 | 4686.00 | 600.00 | 6600.00 | 525.00 | 5775.00 | 4686.00 | M/s Bikash Kumar
1.93 | Supplying and applying bituminous solution primer on roof and / or wall surface at 0.24 litre per sqm. | 85.00 | Sqm | 0.00 | 45.00 | 3825.00 | 199.00 | 16915.00 | 50.00 | 4250.00 | 40.00 | 3400.00 | 3400.00 | BRAJESH KUMAR
1.94 | Grading roof for water proofing treatment Cement mortar 1:3 (1 cement : 3 coarse sand) | 6.00 | Cum | 0.00 | 7000.00 | 42000.00 | 1000.00 | 6000.00 | 8000.00 | 48000.00 | 13000.00 | 78000.00 | 6000.00 | M/s Bikash Kumar
1.95 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, upto 90 metre depth below ground level. All types of soil 300 mm dia | 150.00 | Mtr | 0.00 | 850.00 | 127500.00 | 500.00 | 75000.00 | 500.00 | 75000.00 | 750.00 | 112500.00 | 75000.00 | M/s Bikash Kumar, M/S M L BROTHER
1.96 | Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS: 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer -in-charge. 150 mm nominal size dia | 150.00 | metre | 0.00 | 750.00 | 112500.00 | 600.00 | 90000.00 | 700.00 | 105000.00 | 600.00 | 90000.00 | 90000.00 | M/s Bikash Kumar, BRAJESH KUMAR
1.97 | Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer-in-charge. 150 mm nominal size dia | 60.00 | metre | 0.00 | 850.00 | 51000.00 | 450.00 | 27000.00 | 800.00 | 48000.00 | 600.00 | 36000.00 | 27000.00 | M/s Bikash Kumar
1.98 | Gravel packing in tubewell construction in accordance with IS: 4097, including providing gravel fine/ medium/ coarse, in required grading & sizes as per actual requirement, all complete as per direction of Engineer-in-charge. | 10.00 | cum | 0.00 | 2000.00 | 20000.00 | 150.00 | 1500.00 | 1400.00 | 14000.00 | 2000.00 | 20000.00 | 1500.00 | M/s Bikash Kumar
1.99 | Development of tube well in accordance with IS : 2800 (part I) and IS: 11189, to establish maximum rate of usable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by "V" notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, i/c disinfection of tubewell, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge. | 48.00 | Hrs | 0.00 | 1000.00 | 48000.00 | 500.00 | 24000.00 | 1000.00 | 48000.00 | 600.00 | 28800.00 | 24000.00 | M/s Bikash Kumar
2.00 | Providing and fixing in position Soil Waste PVC pipe and vent or antisyphonage pipes supreme/ Astral/ Finolex make or equivalent as per IS - 13592(working pressure of 6kg/ cm2) including cutting, jointing with approve solvent cement compount as per IS - 14735, wastage etc. complete as per manufacturer's specifications and satisfaction of Engineer-in-charge. 100mm dia | 35.00 | Metre | 0.00 | 450.00 | 15750.00 | 200.00 | 7000.00 | 800.00 | 28000.00 | 300.00 | 10500.00 | 7000.00 | M/s Bikash Kumar
2.01 | Excavating, supplying & Construction of sub-grade with approved material gravelly soil / Moorum (inclusive of royalty) obtained from borrow pits (outside airport premises) with all lifts &leads, transporting to site, spreading, grading to required slope and compacted in layers of 200 mm to meet requirement of table No. 300-2 of motrh specification, minimum CBR value of 15% as per IS 2720 (part 16) as directed by Engineer-in-charge and as per particular specification. | 8000.00 | Cum | 0.00 | 410.00 | 3280000.00 | 425.00 | 3400000.00 | 475.00 | 3800000.00 | 220.00 | 1760000.00 | 1760000.00 | BRAJESH KUMAR
2.02 | Preparation and submission of structural design/drawing for One storey DVOR Building along with three copy of drawings , soft copy , hard copy of Design/drawings etc all complete including duly vetting from Govt. Engineering College/NIT/IIT . | 1.00 | Job | 0.00 | 70000.00 | 70000.00 | 30000.00 | 30000.00 | 50000.00 | 50000.00 | 80000.00 | 80000.00 | 30000.00 | M/s Bikash Kumar
2.03 | Supplying and maintaining suitable commercial Passenger vehicle (AC) on daily basis with cyclinder capacity of minimum 1400 CC (Tavera/Scorpio/Bolero/TUV) Not more than 3 years old, either petrol or diesel driven including driver and fuel with mobile facilities for taking the samples from work/plant site to laboratory and movement of theofficials during progress of work for checking/controlling the quality of work. The Engineer- In-Charge will be controlling officer for movement of vehicles (limiting to 2000 km/month with minimum 10Hrs. daily use). | 6.00 | Month | 0.00 | 40000.00 | 240000.00 | 40000.00 | 240000.00 | 80000.00 | 480000.00 | 50000.00 | 300000.00 | 240000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY, M/s Bikash Kumar
3.00 | Supply of surface mounted LED flat panel 1' X 4' luminaire, with high efficient LEDs and glare free soft illumination, 36W, min 100 lumens/ watt integral electronics power driver suitable for 230 V + 10% , 50Hz AC supply, Indoor, thermal management with heat sinks, average life of LED > 50000 hrs., power factor >= 0.95, mounting arrangement etc. as required, having five years guarantee for the complete LED fixture. | 20.00 | Each | 0.00 | 5800.00 | 116000.00 | 15000.00 | 300000.00 | 2500.00 | 50000.00 | 5500.00 | 110000.00 | 50000.00 | M/S M L BROTHER
3.01 | Supply of 1200 mm sweep ceiling fan suitable to operate on 230V, single phase, AC supply along with all accessories except regulator as required. | 3.00 | Each | 0.00 | 4500.00 | 13500.00 | 4000.00 | 12000.00 | 2800.00 | 8400.00 | 4200.00 | 12600.00 | 8400.00 | M/S M L BROTHER
3.02 | Supply of 200 mm sweep non-metallic ventilating fan suitable to operate on 230V, single phase, AC supply. | 3.00 | Each | 0.00 | 1800.00 | 5400.00 | 3000.00 | 9000.00 | 4000.00 | 12000.00 | 1800.00 | 5400.00 | 5400.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY, BRAJESH KUMAR
3.03 | Supply of LED street light luminaire with pressure die-cast housing with toughened glass and individual LEDs with secondary optics and IP 66 protection, having minimum system lumen output min 110 lumens/ watt, 45 watt input power with sufficient nos. of LEDs with uniform distribution of light, integral electronics power driver suitable for 230 V + 10% , 50Hz AC supply, Indoor, thermal management with heat sinks, average life of LED > 50000 hrs., power factor >= 0.95, mounting arrangement etc. as required, having five years guarantee for the complete LED fixture. | 4.00 | Each | 0.00 | 4800.00 | 19200.00 | 9000.00 | 36000.00 | 3000.00 | 12000.00 | 4500.00 | 18000.00 | 12000.00 | M/S M L BROTHER
3.04 | Supply of Integral LED aviation light comprising of aluminium housing with polycarbonate enclosure suitable to operate on 230V, single phase, AC supply. | 1.00 | Each | 0.00 | 2750.00 | 2750.00 | 16000.00 | 16000.00 | 12000.00 | 12000.00 | 2500.00 | 2500.00 | 2500.00 | BRAJESH KUMAR
3.05 | Supply of following size of XLPE insulated & PVC sheathed, armoured, aluminium conductor cable of 1.1KV grade as per IS 7098:1988 Part-I with upto date amendments etc. complete as required. (i) 3.5 Core X 185 Sq.mm Aluminium conductor. | 500.00 | Mtr. | 0.00 | 1150.00 | 575000.00 | 105.00 | 52500.00 | 400.00 | 200000.00 | 1700.00 | 850000.00 | 52500.00 | M/s Bikash Kumar
3.06 | Supply of following size XLPE insulated & PVC sheathed, armoured, aluminium conductor cable of 1.1KV grade as per IS 7098:1988 Part-I with upto date amendments etc. complete as required. (i) 3.5 Core X 25 Sq.mm copper conductor. | 60.00 | Mtr. | 0.00 | 800.00 | 48000.00 | 135.00 | 8100.00 | 250.00 | 15000.00 | 1100.00 | 66000.00 | 8100.00 | M/s Bikash Kumar
3.07 | Supply of 1.5 TR five star inverter split type air conditioners fitted with high EER twin rotary - BLDC compressors, operating on refrigrant R-410A wall mounting suitable for operation on 230V 50 hz .Single phase, A.C supply complete with filter, drain & refrigerant pipe with insulation & electrical connection with wire complete as reqd. (Note : cost of drain (UPVC), regrigerant piping with insulation and electrical cable upto 10 feet length is included with this item). | 5.00 | Nos. | 0.00 | 38500.00 | 192500.00 | 36000.00 | 180000.00 | 55000.00 | 275000.00 | 48000.00 | 240000.00 | 180000.00 | M/s Bikash Kumar
3.08 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable etc. as required ( Group C ). | 23.00 | Point | 0.00 | 1250.00 | 28750.00 | 109.00 | 2507.00 | 1000.00 | 23000.00 | 1600.00 | 36800.00 | 2507.00 | M/s Bikash Kumar
3.09 | Supplying and fixing suitable size PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 and 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 30.00 | Each | 0.00 | 380.00 | 11400.00 | 150.00 | 4500.00 | 150.00 | 4500.00 | 500.00 | 15000.00 | 4500.00 | M/s Bikash Kumar, M/S M L BROTHER
3.10 | Supplying and fixing stepped type electronic fan regulator on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 3.00 | Each | 0.00 | 210.00 | 630.00 | 135.00 | 405.00 | 150.00 | 450.00 | 300.00 | 900.00 | 405.00 | M/s Bikash Kumar
3.11 | Installation of exhaust fan upto 450 mm sweep in the existing opening including making the hole to suit the size of the above fan, making good the damage, connection, testing, commissioning etc. as required. | 3.00 | Each | 0.00 | 130.00 | 390.00 | 20.00 | 60.00 | 200.00 | 600.00 | 300.00 | 900.00 | 60.00 | M/s Bikash Kumar
3.12 | Installation, testing and commissioning of ceiling fan including wiring the down rod of standard length (up to 30 cm) with 1.5 sq. mm. FRLSH PVC insulated copper conductor, single core cable etc. as required. | 3.00 | Each | 0.00 | 125.00 | 375.00 | 50.00 | 150.00 | 200.00 | 600.00 | 150.00 | 450.00 | 150.00 | M/s Bikash Kumar
3.13 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube / lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable and earthing etc. as required. | 20.00 | Each | 0.00 | 80.00 | 1600.00 | 100.00 | 2000.00 | 200.00 | 4000.00 | 150.00 | 3000.00 | 1600.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.14 | Supplying and fixing following way Triple pole and neutral, sheet steel, MCB distribution board (IP54 protection), 415 volts, on surface/ recess, complete with Din bar, neutral bus bar, earth bar, interconnections, powder painted including earthing etc. as required (But without MCB/ RCCB/ Isolator). (i) 6 way (8 + 18), Double door | 2.00 | Each | 0.00 | 3800.00 | 7600.00 | 600.00 | 1200.00 | 15000.00 | 30000.00 | 4050.00 | 8100.00 | 1200.00 | M/s Bikash Kumar
3.15 | Supplying and fixing 6 A to 32 A rating, 240 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of Single pole in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 20.00 | Each | 0.00 | 195.00 | 3900.00 | 160.00 | 3200.00 | 250.00 | 5000.00 | 210.00 | 4200.00 | 3200.00 | M/s Bikash Kumar
3.16 | Supplying and fixing 63A rating, Four Pole, 415 V, residual current breaker with over current (RCBO), having a sensitivity current 100mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 0.00 | 4900.00 | 9800.00 | 1463.00 | 2926.00 | 4000.00 | 8000.00 | 5250.00 | 10500.00 | 2926.00 | M/s Bikash Kumar
3.17 | Supplying and fixing 63 amps. rating, 415 Volts, 'C' Series, FP miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 0.00 | 1200.00 | 2400.00 | 1463.00 | 2926.00 | 1000.00 | 2000.00 | 1800.00 | 3600.00 | 2000.00 | M/S M L BROTHER
3.18 | Supplying and fixing 40 amps. rating, 415 Volts, 'C' Series, FP miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 0.00 | 1200.00 | 2400.00 | 767.00 | 1534.00 | 800.00 | 1600.00 | 1700.00 | 3400.00 | 1534.00 | M/s Bikash Kumar
3.19 | Supplying and fixing of following sizes of MS conduit along with accessories in surface/ recess including painting incase of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. (i) 25 mm | 120.00 | Mtr. | 0.00 | 100.00 | 12000.00 | 200.00 | 24000.00 | 70.00 | 8400.00 | 200.00 | 24000.00 | 8400.00 | M/S M L BROTHER
3.20 | Supplying and drawing following sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ MS conduit as required. (i) 2 X 2.5 sq.mm | 50.00 | Mtr. | 0.00 | 75.00 | 3750.00 | 160.00 | 8000.00 | 250.00 | 12500.00 | 105.00 | 5250.00 | 3750.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.21 | Supplying and drawing following sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ MS conduit as required. (ii) 3 X 2.5 sq.mm | 50.00 | Mtr. | 0.00 | 85.00 | 4250.00 | 300.00 | 15000.00 | 350.00 | 17500.00 | 135.00 | 6750.00 | 4250.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.22 | Supplying and drawing following sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ MS conduit as required. (iii) 3 X 4 sq.mm | 90.00 | Mtr. | 0.00 | 156.00 | 14040.00 | 400.00 | 36000.00 | 300.00 | 27000.00 | 205.00 | 18450.00 | 14040.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.23 | Supplying and drawing following sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ MS conduit as required. (iv) 3 X 6 sq.m. | 30.00 | Mtr. | 0.00 | 210.00 | 6300.00 | 440.00 | 13200.00 | 400.00 | 12000.00 | 350.00 | 10500.00 | 6300.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.24 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 kv grade of following size direct in ground including excavation upto 75 cm, sand cushioning, protective covering with brick and refilling the trench etc. as required. (i) Above 95 sq. mm and upto 185 sq. mm | 400.00 | Mtr. | 0.00 | 240.00 | 96000.00 | 555.00 | 222000.00 | 250.00 | 100000.00 | 200.00 | 80000.00 | 80000.00 | BRAJESH KUMAR
3.25 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (i) Above 95 sq. mm and upto 185 sq. mm | 20.00 | Mtr. | 0.00 | 65.00 | 1300.00 | 3000.00 | 60000.00 | 120.00 | 2400.00 | 45.00 | 900.00 | 900.00 | BRAJESH KUMAR
3.26 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 kv grade of following size on wall surface as required. (i) Upto 35 sqmm. (clamped with 1mm thick saddle). | 30.00 | Mtr. | 0.00 | 40.00 | 1200.00 | 178.00 | 5340.00 | 230.00 | 6900.00 | 40.00 | 1200.00 | 1200.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY, BRAJESH KUMAR
3.27 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 kv grade of following size on wall surface as required. (ii) Above 95 sq. mm and upto 185 sq. mm (Clamped with 25/40x3 mm MS flat clamp) | 30.00 | Mtr. | 0.00 | 100.00 | 3000.00 | 450.00 | 13500.00 | 100.00 | 3000.00 | 170.00 | 5100.00 | 3000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY, M/S M L BROTHER
3.28 | Supplying and making end termination with nickel plated double compression brass double compression gland and copper lugs for following size of PVC insulated and PVC sheathed copper conductor cable of 1.1 KV grade as required. (i) 3.5 Core X 25 Sq.mm copper conductor | 8.00 | Each | 0.00 | 750.00 | 6000.00 | 152.00 | 1216.00 | 120.00 | 960.00 | 700.00 | 5600.00 | 960.00 | M/S M L BROTHER
3.29 | Supplying and making end termination with nickel plated double compression brass double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. (i) 3.5 Core X 185 Sq.mm Aluminium conductor | 3.00 | Each | 0.00 | 2100.00 | 6300.00 | 700.00 | 2100.00 | 500.00 | 1500.00 | 2500.00 | 7500.00 | 1500.00 | M/S M L BROTHER
3.30 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 kv grade as required. (i) 3.5 Core X 185 Sq.mm Aluminium conductor | 3.00 | Each | 0.00 | 4600.00 | 13800.00 | 800.00 | 2400.00 | 5000.00 | 15000.00 | 5200.00 | 15600.00 | 2400.00 | M/s Bikash Kumar
3.31 | Supplying and making cable route marker with cement concrete 1:2:4(1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 12.00 | Each | 0.00 | 160.00 | 1920.00 | 3000.00 | 36000.00 | 2000.00 | 24000.00 | 450.00 | 5400.00 | 1920.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.32 | Earthing with Copper plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 mtr long etc. with charcoal/ coke and salt as required. | 2.00 | Each | 0.00 | 12500.00 | 25000.00 | 8148.00 | 16296.00 | 10000.00 | 20000.00 | 11000.00 | 22000.00 | 16296.00 | M/s Bikash Kumar
3.33 | Earthing with G.I. plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 mtr long etc. with charcoal/ coke and salt as required. | 2.00 | Each | 0.00 | 10000.00 | 20000.00 | 8000.00 | 16000.00 | 6000.00 | 12000.00 | 9500.00 | 19000.00 | 12000.00 | M/S M L BROTHER
3.34 | Supplying and laying 25 mm X 5 mm G.I. strip in 40 mm dia GI pipe from earth electrode, including connection with G.l. nut, bolt, spring, washer excavation and refilling etc. as required. | 6.00 | Mtr. | 0.00 | 550.00 | 3300.00 | 951.00 | 5706.00 | 500.00 | 3000.00 | 500.00 | 3000.00 | 3000.00 | M/S M L BROTHER, BRAJESH KUMAR
3.35 | Supplying and laying 25 mm X 5 mm Copper strip in 40 mm dia GI pipe from earth electrode, including connection with G.l. nut, bolt, spring, washer excavation and refilling etc. as required. | 6.00 | Mtr. | 0.00 | 1200.00 | 7200.00 | 951.00 | 5706.00 | 1200.00 | 7200.00 | 1500.00 | 9000.00 | 5706.00 | M/s Bikash Kumar
3.36 | Supplying and laying 25 mm X 5 mm Copper strip at 0.50 m below ground as strip earth electrode from earth electrode, including connection/ termiantion with G.l. nut, bolt, spring, washer etc. as required (Jointing shall be done by overlapping with two sets of nut bolt & spring washer spaced at 50 mm). | 16.00 | Mtr. | 0.00 | 1000.00 | 16000.00 | 651.00 | 10416.00 | 1100.00 | 17600.00 | 1100.00 | 17600.00 | 10416.00 | M/s Bikash Kumar
3.37 | Supplying and laying 25 mm X 5 mm G.I. strip at 0.50 m below ground as strip earth electrode from earth electrode, including connection/ termiantion with G.l. nut, bolt, spring, washer etc. as required (Jointing shall be done by overlapping with two sets of nut bolt & spring washer spaced at 50 mm). | 20.00 | Mtr. | 0.00 | 800.00 | 16000.00 | 200.00 | 4000.00 | 600.00 | 12000.00 | 1100.00 | 22000.00 | 4000.00 | M/s Bikash Kumar
3.38 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 5.00 | Mtr. | 0.00 | 135.00 | 675.00 | 104.00 | 520.00 | 500.00 | 2500.00 | 200.00 | 1000.00 | 520.00 | M/s Bikash Kumar
3.39 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 3.00 | Mtr. | 0.00 | 650.00 | 1950.00 | 104.00 | 312.00 | 1000.00 | 3000.00 | 1100.00 | 3300.00 | 312.00 | M/s Bikash Kumar
3.40 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, G.l. tube, having single prong at top, with 85 mm dia 6 mm thick G.l. base plate including holes etc. complete as required. | 1.00 | Each | 0.00 | 450.00 | 450.00 | 151.00 | 151.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 151.00 | M/s Bikash Kumar
3.41 | Providing and fixing G.l. tape 20 mm X 3 mm thick on parapet or on surface of wall for lightning conductor complete as required (For horizontal run). | 5.00 | Mtr. | 0.00 | 65.00 | 325.00 | 67.00 | 335.00 | 200.00 | 1000.00 | 105.00 | 525.00 | 325.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.42 | Providing and fixing G.l. tape 20 mm X 3 mm thick on parapet or on surface of wall for lightning conductor complete as required (For vertical run). | 5.00 | Mtr. | 0.00 | 75.00 | 375.00 | 67.00 | 335.00 | 200.00 | 1000.00 | 150.00 | 750.00 | 335.00 | M/s Bikash Kumar
3.43 | Jointing G.l. tape (with another G.I. tape, base of the finial or any other metallic object) by riveting/ nut bolting/ sweating and soldering etc. as required. | 1.00 | Each | 0.00 | 50.00 | 50.00 | 151.00 | 151.00 | 1000.00 | 1000.00 | 110.00 | 110.00 | 50.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.44 | Providing and fixing testing joint, made of 20 mm X 3 mm thick G.l. strip, 125 mm long with 4 nos. of G.l. bolts, nuts, chuck nuts and spring washers etc. complete as required. | 1.00 | Each | 0.00 | 55.00 | 55.00 | 408.00 | 408.00 | 500.00 | 500.00 | 110.00 | 110.00 | 55.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.45 | ITC of LED Aviation Obstruction Lights on suitable size and length GI pipe (i/c supply) and mounting of the same at building complete as required. | 1.00 | Each | 0.00 | 650.00 | 650.00 | 500.00 | 500.00 | 15000.00 | 15000.00 | 850.00 | 850.00 | 500.00 | M/s Bikash Kumar
3.46 | ITC of wall light luminaire on suitable size and length GI pipe (i/c supply) and making mounting arrangement of the same at building complete as required. | 4.00 | Each | 0.00 | 900.00 | 3600.00 | 1144.00 | 4576.00 | 2000.00 | 8000.00 | 1050.00 | 4200.00 | 3600.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.47 | SITC of 3-phase surge protection device with neutral protection having suitable surge protection of 100 kA 10/350 micro seconds neutral to earth, 5 0 KA 10/350 micro sec line to neutral, with limiting voltage less than 1.5 KV, enclosed in IP grade not less than 42, powder coated metal enclosure with 63 amps Safety Circuit breaker including providing copper cables and interconnecting and end terminations etc. as required to be installed for the LT panel in parallel mode. | 2.00 | Each | 0.00 | 80000.00 | 160000.00 | 100000.00 | 200000.00 | 150000.00 | 300000.00 | 110000.00 | 220000.00 | 160000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.48 | Design, manufacture, supply, installation, testing and commissioning of fully compartmentlised wall/ free standing, floor mounted dust and vermin proof, totally enclosed IP 42, bothside operative, including cleaning and finishing complete with 7 tank process, powder coated LT distribution panel made of 2 mm thick sheet steel suitable for operation on 3 phase and neutral, 415 V, 50 Hz AC system with Al TPN busbars extensible on both sides, entire panel shall have a common earth bar of size 25mm X 5 mm at the rear with 02 nos. of earth studs, control wiring wirh 2.5 sqmm PVC insulated copper conductor, cable gland plates, cable alleys, connection and interconnections including supply & installation of following items and as per specifications : a) Incomer :- (i) 160 Amp FP MCCB, 50 KA - 01 No. with thermo-magentic release with O/C & S/C Protection -03 nos. (ii) Extended Rotary Handle – 2 nos. (iii) Castel Key Interlock for mechanical inter locking-1 set (iv) Intelligent Multi-functionmeter to read V, A, KVA, KW, KVAR, KWH, PF, HZ etc. with communication module (RS 485) and LED display with with 3 nos. CTs, 15 VA, class 1.0 and control circuit wiring with 2 amp. SP/MCB - 3 sets. (v)LED type R,Y,B Indication lamp with MCB protection - 09 nos. (vi) 200A TPN Al Bus Bar – 1 Set b) Changeover :- (i)160 Amp 4 Pole On Load Change Over Switch-2 nos (ii) LED Type Indication Lamp(ON) with MCB Protection- 4 nos. (iii) Ammeter of size 96/96mm, (0-150 A), 3 Phase along with selector switch with Resin cast CT 150/5A,Class 1.0,15 VA -1set. (iv) Voltmeter of size 96/96mm, (0-500 V), 3 Phase along with selector switch - 1set c) Outgoing :- (i) 63 Amps, FP, MCCB 50kA with thermo-magentic release with O/C & S/C Protection - 02 Nos. (ii) 40 Amps, FP, MCCB 50kA with thermo-magentic release with O/C & S/C Protection - 02 Nos (iii) Extended Rotary Handle – 04 nos. (iv) LED Type Indication Lamp(ON & OFF) with MCB Protection- 4 sets. Note: 1. Ics = Icu for all MCCBs, rotary operating mechanism and terminal extension/ spreaders shall be provided to all the MCCBs. 2. Connections from MCB to connectors by a suitable size PVC insulated flexible FRLSH copper cable. | 1.00 | Each | 0.00 | 340000.00 | 340000.00 | 350000.00 | 350000.00 | 300000.00 | 300000.00 | 325000.00 | 325000.00 | 300000.00 | M/S M L BROTHER
3.49 | Installation, testing and commissoning of for 1.5TR split type air conditioner i/c Copper piping work, providing stand for outdoor unit, compelete with wall cutting, hole cutting, plastering etc. as reqd. | 5.00 | Each | 0.00 | 1500.00 | 7500.00 | 40000.00 | 200000.00 | 2500.00 | 12500.00 | 1500.00 | 7500.00 | 7500.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY, BRAJESH KUMAR
3.50 | Supply & fixing following danger notice plate made of mild steel sheet of at least 2mm thick & vitreous enamelled white on both sides and with inscription in signal red colour on front side as required. Danger board for 433V size 200mm x 150mm. | 2.00 | Each | 0.00 | 450.00 | 900.00 | 800.00 | 1600.00 | 2000.00 | 4000.00 | 500.00 | 1000.00 | 900.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
3.51 | Supply and fixing of flame retardant electrical insulation mat of 2.0 mm thick to withstand upto 3.3 KV conforming to IS 15625:2006 with upto date amendments and having minimum width 1000mm (+/- 20mm). The sufficient of adhesive/compound shall be supplied to fix the insulation mat on the front/rear side of electrical installation Mat shall be ISI marked. | 8.00 | Sqm | 0.00 | 2000.00 | 16000.00 | 1200.00 | 9600.00 | 1000.00 | 8000.00 | 2100.00 | 16800.00 | 8000.00 | M/S M L BROTHER
3.52 | Supplying, installation , testing and commissioning of addressable type, 01 Loop Fire Alarm control panel conforming to UL/LPCB/FMI/EN-54, with all accessories viz : maintenance free battery for 24 hrs back up, battery charger module, auto dialer complete with all accessories. | 1.00 | Each | 0.00 | 75000.00 | 75000.00 | 1500.00 | 1500.00 | 100000.00 | 100000.00 | 75000.00 | 75000.00 | 1500.00 | M/s Bikash Kumar
3.53 | Supplying, installation, testing and commissioning of analogue addressable type smoke detector, conforming to UL/LPCB/FMI/EN-54, with all accessories viz : indicator, base, base box etc. to be installed on ceiling / false ceiling etc. complete as required. | 4.00 | Each | 0.00 | 4600.00 | 18400.00 | 2500.00 | 10000.00 | 2000.00 | 8000.00 | 5000.00 | 20000.00 | 8000.00 | M/S M L BROTHER
3.54 | Supplying and fixing of armoured type 2 X 1.5 sq.mm. Cu conductor, XLPE / PVC insulated, 1.1 kV, steel wire armoured, PVC sheathed AC cable generally conforming to IS-7098(p-1) / 1554(p-1) with upto date ammendments etc. complete as required. | 50.00 | Mtr. | 0.00 | 125.00 | 6250.00 | 1000.00 | 50000.00 | 250.00 | 12500.00 | 125.00 | 6250.00 | 6250.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY, BRAJESH KUMAR
3.55 | Supplying and Fixing of portable CO2 base 4.5 Kg fire extinguisher as per relevant IS. | 2.00 | Each | 0.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 10000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY, M/s Bikash Kumar, M/S M L BROTHER, BRAJESH KUMAR
3.56 | Supplying and fixing of portable DCP base 4 Kg fire extinguisher as per relevant IS. | 2.00 | Each | 0.00 | 7300.00 | 14600.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 6000.00 | 12000.00 | 10000.00 | M/S M L BROTHER
3.57 | SITC of timer for operation of split air-conditioners. | 2.00 | Each | 0.00 | 2100.00 | 4200.00 | 45000.00 | 90000.00 | 5000.00 | 10000.00 | 2100.00 | 4200.00 | 4200.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY, BRAJESH KUMAR
| Total in Figures |  |  |  |  | 13461376.00 |  | 15637961.97 |  | 14563490.00 |  | 14029248.00
Lowest Amount Quoted BY: M/S DAROGA SINGH CONSTRUCTION COMPANY(13461376.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of DVOR building approach road and allied works at B.M. Airport, Ranchi. SH CIVIL and ELECTRICAL WORKS. Tender ID: 2022_AAI_137321_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S DAROGA SINGH CONSTRUCTION COMPANY | 13461376.00 | L1
| 2 | BRAJESH KUMAR | 14029248.00 | L2
| 3 | M/S M L BROTHER | 14563490.00 | L3
| 4 | M/s Bikash Kumar | 15637961.97 | L4