## BoQ1
Government eProcurement System Created By: Srinarayan Thakur Created Date/Time: 24-Mar-2023 01:19 PM Tender Title: Upliftment of residential quarters at INA Colony, New Delhi. SH Civil Works Phase-1 Tender ID: 2022_AAI_137713_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Upliftment of residential quarters at INA Colony, New Delhi. SH: Civil Works (Phase-1)
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Rakesh Kumar Engineers and Contractor(GSTN-07AKRPP2928B1Z1) |  | H R Builders(GSTN-07AAFPD0344P2ZQ) |  | SAMTA INTERIORS(GSTN-07AALPB7815K1ZJ) |  | ESS KAY CONSTRUCTIONS(GSTN-07AABFE6199D1ZF)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. a)All kinds of soil. | 95.00 | cum |  | 250.00 | 23750.00 | 107.00 | 10165.00 | 100.00 | 9500.00 | 160.00 | 15200.00 | 9500.00 | SAMTA INTERIORS
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 48.00 | cum |  | 90.00 | 4320.00 | 70.00 | 3360.00 | 125.00 | 6000.00 | 100.00 | 4800.00 | 3360.00 | H R Builders
3.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 27.00 | cum |  | 2500.00 | 67500.00 | 1100.00 | 29700.00 | 1300.00 | 35100.00 | 1380.00 | 37260.00 | 29700.00 | H R Builders
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
4.01 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 103.00 | cum |  | 4650.00 | 478950.00 | 2900.00 | 298700.00 | 4300.00 | 442900.00 | 4800.00 | 494400.00 | 298700.00 | H R Builders
5.00 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | 42.00 | sqm |  | 5150.00 | 216300.00 | 200.00 | 8400.00 | 260.00 | 10920.00 | 120.00 | 5040.00 | 5040.00 | ESS KAY CONSTRUCTIONS
6.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 72.00 | sqm |  | 550.00 | 39600.00 | 500.00 | 36000.00 | 475.00 | 34200.00 | 380.00 | 27360.00 | 27360.00 | ESS KAY CONSTRUCTIONS
7.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :
7.01 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 10.00 | cum |  | 9000.00 | 90000.00 | 5000.00 | 50000.00 | 6200.00 | 62000.00 | 5900.00 | 59000.00 | 50000.00 | H R Builders
8.00 | Centering and shuttering including strutting, propping etc. and removal of form
8.01 | Foundations, footings, bases of columns, etc. for mass concrete | 20.00 | sqm |  | 300.00 | 6000.00 | 200.00 | 4000.00 | 200.00 | 4000.00 | 150.00 | 3000.00 | 3000.00 | ESS KAY CONSTRUCTIONS
9.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500 D or more. | 1000.00 | kg |  | 90.00 | 90000.00 | 80.00 | 80000.00 | 85.00 | 85000.00 | 86.00 | 86000.00 | 80000.00 | H R Builders
10.00 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | 800.00 | mtr |  | 100.00 | 80000.00 | 45.00 | 36000.00 | 50.00 | 40000.00 | 30.00 | 24000.00 | 24000.00 | ESS KAY CONSTRUCTIONS
11.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
11.01 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 80.00 | cum |  | 5150.00 | 412000.00 | 4700.00 | 376000.00 | 4600.00 | 368000.00 | 4800.00 | 384000.00 | 368000.00 | SAMTA INTERIORS
12.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
12.01 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 51.00 | cum |  | 5300.00 | 270300.00 | 5000.00 | 255000.00 | 5200.00 | 265200.00 | 5300.00 | 270300.00 | 255000.00 | H R Builders
13.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
13.01 | Cement mortar 1:4 (1 cement :4 coarse sand) | 50.00 | sqm |  | 800.00 | 40000.00 | 800.00 | 40000.00 | 800.00 | 40000.00 | 900.00 | 45000.00 | 40000.00 | Rakesh Kumar Engineers and Contractor, H R Builders, SAMTA INTERIORS
14.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
14.01 | Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 81.00 | sqm |  | 2450.00 | 198450.00 | 2950.00 | 238950.00 | 2400.00 | 194400.00 | 2100.00 | 170100.00 | 170100.00 | ESS KAY CONSTRUCTIONS
15.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 40.00 | each |  | 200.00 | 8000.00 | 500.00 | 20000.00 | 250.00 | 10000.00 | 100.00 | 4000.00 | 4000.00 | ESS KAY CONSTRUCTIONS
16.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately).
16.01 | Kiln seasoned and chemically treated hollock wood | 12.00 | cum |  | 75000.00 | 900000.00 | 60000.00 | 720000.00 | 67000.00 | 804000.00 | 70000.00 | 840000.00 | 720000.00 | H R Builders
17.00 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws.
17.01 | Second class teak wood
17.02 | 35 mm thick | 244.00 | sqm |  | 3350.00 | 817400.00 | 3200.00 | 780800.00 | 2600.00 | 634400.00 | 3750.00 | 915000.00 | 634400.00 | SAMTA INTERIORS
18.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:
18.01 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 275.00 | sqm |  | 1700.00 | 467500.00 | 1725.00 | 474375.00 | 1570.00 | 431750.00 | 1450.00 | 398750.00 | 398750.00 | ESS KAY CONSTRUCTIONS
19.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 275.00 | sqm |  | 50.00 | 13750.00 | 300.00 | 82500.00 | 100.00 | 27500.00 | 150.00 | 41250.00 | 13750.00 | Rakesh Kumar Engineers and Contractor
20.00 | Providing and fixing wire gauge shutters using galvanized M.S. wire gauge of average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm, for doors, windows and clerestory windows with hinges and necessary screws :
20.01 | 35 mm thick shutters
20.02 | With ISI marked stainless steel butt hinges of required size
20.03 | Second class teak wood | 244.00 | sqm |  | 3000.00 | 732000.00 | 3450.00 | 841800.00 | 2350.00 | 573400.00 | 3500.00 | 854000.00 | 573400.00 | SAMTA INTERIORS
21.00 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete.
21.01 | With 12 mm mild steel U beading | 58.00 | sqm |  | 850.00 | 49300.00 | 650.00 | 37700.00 | 600.00 | 34800.00 | 600.00 | 34800.00 | 34800.00 | SAMTA INTERIORS, ESS KAY CONSTRUCTIONS
22.00 | Providing 40x5 mm flat iron hold fast 400 mm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 300x100x150 mm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 2920.00 | each |  | 75.00 | 219000.00 | 121.00 | 353320.00 | 70.00 | 204400.00 | 98.00 | 286160.00 | 204400.00 | SAMTA INTERIORS
23.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete :
23.01 | 250x10 mm | 320.00 | each |  | 125.00 | 40000.00 | 200.00 | 64000.00 | 70.00 | 22400.00 | 145.00 | 46400.00 | 22400.00 | SAMTA INTERIORS
23.02 | 200x10 mm | 320.00 | each |  | 125.00 | 40000.00 | 150.00 | 48000.00 | 60.00 | 19200.00 | 115.00 | 36800.00 | 19200.00 | SAMTA INTERIORS
23.03 | 150x10 mm | 2000.00 | each |  | 100.00 | 200000.00 | 130.00 | 260000.00 | 50.00 | 100000.00 | 85.00 | 170000.00 | 100000.00 | SAMTA INTERIORS
24.00 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 40.00 | each |  | 1000.00 | 40000.00 | 500.00 | 20000.00 | 550.00 | 22000.00 | 650.00 | 26000.00 | 20000.00 | H R Builders
25.00 | Providing and fixing bright finished brass handles with screws etc. complete:
25.01 | 125 mm | 640.00 | each |  | 100.00 | 64000.00 | 145.00 | 92800.00 | 50.00 | 32000.00 | 75.00 | 48000.00 | 32000.00 | SAMTA INTERIORS
25.02 | 100 mm | 1000.00 | each |  | 90.00 | 90000.00 | 135.00 | 135000.00 | 40.00 | 40000.00 | 65.00 | 65000.00 | 40000.00 | SAMTA INTERIORS
26.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 320.00 | each |  | 100.00 | 32000.00 | 76.00 | 24320.00 | 70.00 | 22400.00 | 220.00 | 70400.00 | 22400.00 | SAMTA INTERIORS
27.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality.
27.01 | 1.0 mm thick | 485.00 | sqm |  | 600.00 | 291000.00 | 500.00 | 242500.00 | 500.00 | 242500.00 | 660.00 | 320100.00 | 242500.00 | H R Builders, SAMTA INTERIORS
28.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.
28.01 | Hot finished welded type tubes | 4900.00 | kg |  | 115.00 | 563500.00 | 95.00 | 465500.00 | 98.00 | 480200.00 | 110.00 | 539000.00 | 465500.00 | H R Builders
29.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 40.00 | kg |  | 200.00 | 8000.00 | 74.00 | 2960.00 | 85.00 | 3400.00 | 150.00 | 6000.00 | 2960.00 | H R Builders
30.00 | Providing and fixing bolts including nuts and washers complete. | 10.00 | kg |  | 150.00 | 1500.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 150.00 | 1500.00 | 1000.00 | H R Builders, SAMTA INTERIORS
31.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. and similar works
31.01 | In stringers, treads, landings etc. of stair cases including use of chequered plate wherever required, all complete. | 4800.00 | kg |  | 100.00 | 480000.00 | 90.00 | 432000.00 | 90.00 | 432000.00 | 105.00 | 504000.00 | 432000.00 | H R Builders, SAMTA INTERIORS
31.02 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 2055.00 | kg |  | 110.00 | 226050.00 | 90.00 | 184950.00 | 92.00 | 189060.00 | 105.00 | 215775.00 | 184950.00 | H R Builders
32.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.
32.01 | Fixed to openings /wooden frames with rawl plugs screws etc. | 3260.00 | kg |  | 125.00 | 407500.00 | 120.00 | 391200.00 | 120.00 | 391200.00 | 120.00 | 391200.00 | 391200.00 | H R Builders, SAMTA INTERIORS, ESS KAY CONSTRUCTIONS
33.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) :
33.01 | 25 mm thick | 465.00 | sqm |  | 900.00 | 418500.00 | 900.00 | 418500.00 | 1200.00 | 558000.00 | 1020.00 | 474300.00 | 418500.00 | Rakesh Kumar Engineers and Contractor, H R Builders
34.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 1750.00 | sqm |  | 900.00 | 1575000.00 | 690.00 | 1207500.00 | 800.00 | 1400000.00 | 780.00 | 1365000.00 | 1207500.00 | H R Builders
35.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 270.00 | sqm |  | 800.00 | 216000.00 | 630.00 | 170100.00 | 750.00 | 202500.00 | 880.00 | 237600.00 | 170100.00 | H R Builders
36.00 | Extra for providing and fixing wind ties of 40x 6mm flat iron section. | 108.00 | mtr |  | 225.00 | 24300.00 | 110.00 | 11880.00 | 120.00 | 12960.00 | 210.00 | 22680.00 | 11880.00 | H R Builders
37.00 | Providing and laying rectified Glazed Ceramic floor tiles 300x300 mm or more (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours White, Ivory, Grey, Fume Red Brown, laid on 20mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand) including grouting the joints with white cement and matching pigments etc., complete. | 121.00 | sqm |  | 900.00 | 108900.00 | 750.00 | 90750.00 | 750.00 | 90750.00 | 980.00 | 118580.00 | 90750.00 | H R Builders, SAMTA INTERIORS
38.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).
38.01 | Size of Tile 600x600 mm | 351.00 | sqm |  | 1000.00 | 351000.00 | 900.00 | 315900.00 | 830.00 | 291330.00 | 900.00 | 315900.00 | 291330.00 | SAMTA INTERIORS
39.00 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).
39.01 | Size of Tile 600x600 mm | 1783.00 | sqm |  | 900.00 | 1604700.00 | 900.00 | 1604700.00 | 775.00 | 1381825.00 | 850.00 | 1515550.00 | 1381825.00 | SAMTA INTERIORS
40.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 1904.00 | sqm |  | 50.00 | 95200.00 | 28.00 | 53312.00 | 40.00 | 76160.00 | 50.00 | 95200.00 | 53312.00 | H R Builders
41.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion,
41.01 | Single socketed pipes.
41.02 | 75 mm diameter | 160.00 | mtr |  | 450.00 | 72000.00 | 150.00 | 24000.00 | 180.00 | 28800.00 | 250.00 | 40000.00 | 24000.00 | H R Builders
41.03 | 110 mm diameter | 160.00 | mtr |  | 525.00 | 84000.00 | 210.00 | 33600.00 | 260.00 | 41600.00 | 290.00 | 46400.00 | 33600.00 | H R Builders
42.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.
42.01 | Bend 87.5°
42.02 | 75 mm bend | 40.00 | each |  | 100.00 | 4000.00 | 60.00 | 2400.00 | 70.00 | 2800.00 | 100.00 | 4000.00 | 2400.00 | H R Builders
42.03 | 110 mm bend | 40.00 | each |  | 200.00 | 8000.00 | 95.00 | 3800.00 | 150.00 | 6000.00 | 110.00 | 4400.00 | 3800.00 | H R Builders
42.04 | Shoe (Plain)
42.05 | 75 mm Shoe | 40.00 | each |  | 150.00 | 6000.00 | 50.00 | 2000.00 | 70.00 | 2800.00 | 100.00 | 4000.00 | 2000.00 | H R Builders
42.06 | 110 mm Shoe | 40.00 | each |  | 180.00 | 7200.00 | 75.00 | 3000.00 | 100.00 | 4000.00 | 110.00 | 4400.00 | 3000.00 | H R Builders
43.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete.
43.01 | 110 mm | 160.00 | each |  | 100.00 | 16000.00 | 215.00 | 34400.00 | 125.00 | 20000.00 | 50.00 | 8000.00 | 8000.00 | ESS KAY CONSTRUCTIONS
44.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 303.00 | sqm |  | 800.00 | 242400.00 | 475.00 | 143925.00 | 750.00 | 227250.00 | 550.00 | 166650.00 | 143925.00 | H R Builders
45.00 | 12 mm cement plaster of mix :
45.01 | 1:6 (1 cement: 6 fine sand) | 2033.00 | sqm |  | 300.00 | 609900.00 | 190.00 | 386270.00 | 215.00 | 437095.00 | 202.00 | 410666.00 | 386270.00 | H R Builders
46.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
46.01 | With cement mortar 1:4 (1cement: 4 coarse sand) | 210.00 | sqm |  | 350.00 | 73500.00 | 250.00 | 52500.00 | 350.00 | 73500.00 | 450.00 | 94500.00 | 52500.00 | H R Builders
47.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix :
47.01 | 1:6 (1 cement: 6 fine sand) | 208.00 | sqm |  | 325.00 | 67600.00 | 195.00 | 40560.00 | 250.00 | 52000.00 | 220.00 | 45760.00 | 40560.00 | H R Builders
48.00 | 6 mm cement plaster of mix :
48.01 | 1:3 (1 cement : 3 fine sand) | 270.00 | sqm |  | 240.00 | 64800.00 | 210.00 | 56700.00 | 220.00 | 59400.00 | 220.00 | 59400.00 | 56700.00 | H R Builders
49.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface :
49.01 | Water thinnable cement primer | 729.00 | sqm |  | 25.00 | 18225.00 | 30.00 | 21870.00 | 55.00 | 40095.00 | 15.00 | 10935.00 | 10935.00 | ESS KAY CONSTRUCTIONS
50.00 | Finishing walls with water proofing cement paint of required shade : a) New work (Two or more coats applied @ 3.84 kg/10 sqm) | 729.00 | sqm |  | 90.00 | 65610.00 | 55.00 | 40095.00 | 80.00 | 58320.00 | 50.00 | 36450.00 | 36450.00 | ESS KAY CONSTRUCTIONS
51.00 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade: Two or more coats on new work | 6716.00 | sqm |  | 100.00 | 671600.00 | 60.00 | 402960.00 | 75.00 | 503700.00 | 75.00 | 503700.00 | 402960.00 | H R Builders
52.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 6716.00 | sqm |  | 1.00 | 6716.00 | 10.00 | 67160.00 | 15.00 | 100740.00 | 10.00 | 67160.00 | 6716.00 | Rakesh Kumar Engineers and Contractor
53.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
53.01 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 1110.00 | sqm |  | 100.00 | 111000.00 | 85.00 | 94350.00 | 100.00 | 111000.00 | 95.00 | 105450.00 | 94350.00 | H R Builders
54.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 6716.00 | sqm |  | 65.00 | 436540.00 | 60.00 | 402960.00 | 60.00 | 402960.00 | 40.00 | 268640.00 | 268640.00 | ESS KAY CONSTRUCTIONS
55.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
55.01 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 20.00 | cum |  | 500.00 | 10000.00 | 800.00 | 16000.00 | 1200.00 | 24000.00 | 600.00 | 12000.00 | 10000.00 | Rakesh Kumar Engineers and Contractor
56.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 20.00 | cum |  | 500.00 | 10000.00 | 1500.00 | 30000.00 | 1400.00 | 28000.00 | 800.00 | 16000.00 | 10000.00 | Rakesh Kumar Engineers and Contractor
57.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In Cement mortar | 20.00 | cum |  | 450.00 | 9000.00 | 500.00 | 10000.00 | 1100.00 | 22000.00 | 600.00 | 12000.00 | 9000.00 | Rakesh Kumar Engineers and Contractor
58.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
58.01 | Of area 3 sq. metres and below | 570.00 | each |  | 70.00 | 39900.00 | 200.00 | 114000.00 | 125.00 | 71250.00 | 80.00 | 45600.00 | 39900.00 | Rakesh Kumar Engineers and Contractor
59.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead:
59.01 | Of area 3 sq. metres and below | 570.00 | each |  | 70.00 | 39900.00 | 75.00 | 42750.00 | 75.00 | 42750.00 | 80.00 | 45600.00 | 39900.00 | Rakesh Kumar Engineers and Contractor
60.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 2033.00 | sqm |  | 25.00 | 50825.00 | 30.00 | 60990.00 | 30.00 | 60990.00 | 30.00 | 60990.00 | 50825.00 | Rakesh Kumar Engineers and Contractor
61.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 800.00 | cum |  | 200.00 | 160000.00 | 300.00 | 240000.00 | 450.00 | 360000.00 | 400.00 | 320000.00 | 160000.00 | Rakesh Kumar Engineers and Contractor
62.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks In foot path, park & lawns driveway or light & traffic parking etc. of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of course sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand, all complete as per manufacturer's specifications & direction of Engineer- in-Charge.
62.01 | 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern | 575.00 | sqm |  | 850.00 | 488750.00 | 800.00 | 460000.00 | 700.00 | 402500.00 | 600.00 | 345000.00 | 345000.00 | ESS KAY CONSTRUCTIONS
63.00 | Providing & fixing White vitreous china water closet squatting pan (Indian type) along with "S" or "P" trap including dismantling of old WC seat and "S" or "P" trap at site complete with all operations including all necessary materials, labour and disposal of dismantled material i/c malba, all complete as per the direction of Engineer-in charge.
63.01 | Orissa pattern W.C Pan of size 580x440 mm | 19.00 | each |  | 4500.00 | 85500.00 | 2600.00 | 49400.00 | 3500.00 | 66500.00 | 1800.00 | 34200.00 | 34200.00 | ESS KAY CONSTRUCTIONS
64.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :
64.01 | W.C. pan with ISI marked white solid plastic seat and lid | 21.00 | each |  | 7000.00 | 147000.00 | 3800.00 | 79800.00 | 4200.00 | 88200.00 | 2600.00 | 54600.00 | 54600.00 | ESS KAY CONSTRUCTIONS
65.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:
65.01 | a) White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 60.00 | each |  | 3000.00 | 180000.00 | 2400.00 | 144000.00 | 2500.00 | 150000.00 | 2200.00 | 132000.00 | 132000.00 | ESS KAY CONSTRUCTIONS
66.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS: 13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required :
66.01 | Kitchen sink without drain board
66.02 | 610x510 mm bowl depth 200 mm | 40.00 | each |  | 3000.00 | 120000.00 | 2900.00 | 116000.00 | 2000.00 | 80000.00 | 1500.00 | 60000.00 | 60000.00 | ESS KAY CONSTRUCTIONS
67.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 21.00 | each |  | 450.00 | 9450.00 | 200.00 | 4200.00 | 100.00 | 2100.00 | 230.00 | 4830.00 | 2100.00 | SAMTA INTERIORS
68.00 | Providing and fixing P.V.C. low level flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete.
68.01 | 10 litre capacity - White | 19.00 | each |  | 2000.00 | 38000.00 | 700.00 | 13300.00 | 700.00 | 13300.00 | 580.00 | 11020.00 | 11020.00 | ESS KAY CONSTRUCTIONS
69.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
69.01 | Flexible pipe
69.02 | 32 mm dia | 120.00 | each |  | 80.00 | 9600.00 | 80.00 | 9600.00 | 50.00 | 6000.00 | 40.00 | 4800.00 | 4800.00 | ESS KAY CONSTRUCTIONS
70.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 40.00 | each |  | 650.00 | 26000.00 | 987.00 | 39480.00 | 750.00 | 30000.00 | 750.00 | 30000.00 | 26000.00 | Rakesh Kumar Engineers and Contractor
71.00 | Providing and fixing 600x120x5 mm glass shelf with edges round off, supported on anodised aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc., complete. | 40.00 | each |  | 1000.00 | 40000.00 | 660.00 | 26400.00 | 350.00 | 14000.00 | 650.00 | 26000.00 | 14000.00 | SAMTA INTERIORS
72.00 | Providing and fixing toilet paper holder :
72.01 | C.P. brass | 21.00 | each |  | 550.00 | 11550.00 | 400.00 | 8400.00 | 350.00 | 7350.00 | 500.00 | 10500.00 | 7350.00 | SAMTA INTERIORS
73.00 | Providing and fixing soil, waste and vent pipes :
73.01 | 100 mm dia Sand cast iron S&S pipe as per IS: 1729 | 480.00 | mtr |  | 1200.00 | 576000.00 | 700.00 | 336000.00 | 700.00 | 336000.00 | 1100.00 | 528000.00 | 336000.00 | H R Builders, SAMTA INTERIORS
74.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes :
74.01 | 100 mm dia | 267.00 | each |  | 100.00 | 26700.00 | 95.00 | 25365.00 | 100.00 | 26700.00 | 50.00 | 13350.00 | 13350.00 | ESS KAY CONSTRUCTIONS
75.00 | Providing and fixing PTMT towel ring trapezoidal shape 215 mm long, 200 mm wide with minimum distances of 37 mm from wall face with concealed fittings arrangement of approved quality and colour, weighing not less than 88 gms. | 40.00 | each |  | 350.00 | 14000.00 | 140.00 | 5600.00 | 125.00 | 5000.00 | 210.00 | 8400.00 | 5000.00 | SAMTA INTERIORS
76.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 40.00 | each |  | 650.00 | 26000.00 | 400.00 | 16000.00 | 310.00 | 12400.00 | 360.00 | 14400.00 | 12400.00 | SAMTA INTERIORS
77.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc.
77.01 | Internal work - Exposed on wall
77.02 | 20 mm dia nominal bore | 1000.00 | mtr |  | 400.00 | 400000.00 | 250.00 | 250000.00 | 245.00 | 245000.00 | 310.00 | 310000.00 | 245000.00 | SAMTA INTERIORS
78.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineerin- Charge.
78.01 | (a) Internal Work- Exposed on wall | 1800.00 | mtr |  | 10.00 | 18000.00 | 1.25 | 2250.00 | 3.00 | 5400.00 | 50.00 | 90000.00 | 2250.00 | H R Builders
79.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc.
79.01 | External work
79.02 | 80 mm dia nominal bore | 800.00 | mtr |  | 650.00 | 520000.00 | 595.00 | 476000.00 | 900.00 | 720000.00 | 1210.00 | 968000.00 | 476000.00 | H R Builders
80.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.
80.01 | Concealed work, including cutting chases and making good the walls etc.
80.02 | 15 mm nominal outer dia Pipes | 800.00 | mtr |  | 245.00 | 196000.00 | 280.00 | 224000.00 | 170.00 | 136000.00 | 260.00 | 208000.00 | 136000.00 | SAMTA INTERIORS
80.03 | 20 mm nominal outer dia Pipes | 800.00 | mtr |  | 280.00 | 224000.00 | 330.00 | 264000.00 | 200.00 | 160000.00 | 360.00 | 288000.00 | 160000.00 | SAMTA INTERIORS
81.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
81.01 | 25 mm nominal bore | 40.00 | each |  | 1000.00 | 40000.00 | 330.00 | 13200.00 | 1100.00 | 44000.00 | 200.00 | 8000.00 | 8000.00 | ESS KAY CONSTRUCTIONS
81.02 | 20 mm nominal bore | 40.00 | each |  | 700.00 | 28000.00 | 295.00 | 11800.00 | 750.00 | 30000.00 | 175.00 | 7000.00 | 7000.00 | ESS KAY CONSTRUCTIONS
82.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :
82.01 | 20 mm nominal bore | 40.00 | each |  | 150.00 | 6000.00 | 300.00 | 12000.00 | 350.00 | 14000.00 | 150.00 | 6000.00 | 6000.00 | Rakesh Kumar Engineers and Contractor, ESS KAY CONSTRUCTIONS
83.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :
83.01 | 45 cm length
83.02 | 15 mm nominal bore | 400.00 | each |  | 100.00 | 40000.00 | 50.00 | 20000.00 | 50.00 | 20000.00 | 40.00 | 16000.00 | 16000.00 | ESS KAY CONSTRUCTIONS
84.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet :
84.01 | 150 mm diameter | 40.00 | each |  | 1000.00 | 40000.00 | 135.00 | 5400.00 | 200.00 | 8000.00 | 90.00 | 3600.00 | 3600.00 | ESS KAY CONSTRUCTIONS
85.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
85.01 | 20 mm nominal bore | 40.00 | each |  | 200.00 | 8000.00 | 192.00 | 7680.00 | 120.00 | 4800.00 | 120.00 | 4800.00 | 4800.00 | SAMTA INTERIORS, ESS KAY CONSTRUCTIONS
85.02 | 80 mm nominal bore | 200.00 | each |  | 1000.00 | 200000.00 | 740.00 | 148000.00 | 1000.00 | 200000.00 | 425.00 | 85000.00 | 85000.00 | ESS KAY CONSTRUCTIONS
86.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 20000.00 | per litre |  | 10.00 | 200000.00 | 7.00 | 140000.00 | 8.20 | 164000.00 | 6.00 | 120000.00 | 120000.00 | ESS KAY CONSTRUCTIONS
87.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
87.01 | 15 mm nominal bore | 360.00 | each |  | 650.00 | 234000.00 | 450.00 | 162000.00 | 550.00 | 198000.00 | 580.00 | 208800.00 | 162000.00 | H R Builders
88.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931.
88.01 | 15 mm nominal bore | 240.00 | each |  | 950.00 | 228000.00 | 400.00 | 96000.00 | 550.00 | 132000.00 | 500.00 | 120000.00 | 96000.00 | H R Builders
89.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931
89.01 | 15mm nominal bore | 240.00 | each |  | 650.00 | 156000.00 | 450.00 | 108000.00 | 400.00 | 96000.00 | 450.00 | 108000.00 | 96000.00 | SAMTA INTERIORS
90.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: a) 100x100 mm size P type i) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 40.00 | each |  | 3000.00 | 120000.00 | 1600.00 | 64000.00 | 1800.00 | 72000.00 | 1100.00 | 44000.00 | 44000.00 | ESS KAY CONSTRUCTIONS
91.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying :
91.01 | a)First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours
91.02 | b) Second layer of slurry of cement @ 0.242 kg /sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 140.00 | sqm |  | 400.00 | 56000.00 | 340.00 | 47600.00 | 250.00 | 35000.00 | 330.00 | 46200.00 | 35000.00 | SAMTA INTERIORS
92.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/Ceosetory windows & other Frames/Chowkhat comprising of virgin PVC polymer of K value 58- 60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/ cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). Note: For WPC solid door/window frames, minus 5mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made.
92.01 | Frame size 65 x 100 mm | 725.00 | mtr |  | 750.00 | 543750.00 | 700.00 | 507500.00 | 520.00 | 377000.00 | 710.00 | 514750.00 | 377000.00 | SAMTA INTERIORS
93.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/ borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately)
93.01 | 35 mm thick | 315.00 | sqm |  | 4000.00 | 1260000.00 | 2800.00 | 882000.00 | 2600.00 | 819000.00 | 3500.00 | 1102500.00 | 819000.00 | SAMTA INTERIORS
94.00 | Providing and Fixing hand shower (health faucet )with 1.2m long flexible tube and wall hook of Jaguar Make (Cat ALD-CHR-573) complete as per satisfaction of Engineer-in-charge | 21.00 | each |  | 1500.00 | 31500.00 | 1200.00 | 25200.00 | 1200.00 | 25200.00 | 900.00 | 18900.00 | 18900.00 | ESS KAY CONSTRUCTIONS
95.00 | Providing and fixing GRAB BAR 450 mm long of make JAQUAR Model no. AHS-CHR-1503 of range hotelier in the existing toilet complete as per satisfaction of Engineer-in-charge. | 38.00 | each |  | 1700.00 | 64600.00 | 1300.00 | 49400.00 | 1300.00 | 49400.00 | 1750.00 | 66500.00 | 49400.00 | H R Builders, SAMTA INTERIORS
96.00 | Providing and fixing 2 Way Bib Cock of make JAQUAR Model no. CQT-CHR-23041 of range Clarion in the existing toilet complete as per satisfaction of Engineer-in-charge. | 40.00 | each |  | 1800.00 | 72000.00 | 1000.00 | 40000.00 | 1050.00 | 42000.00 | 860.00 | 34400.00 | 34400.00 | ESS KAY CONSTRUCTIONS
97.00 | Providing and placing in position Laminated storage of Depth ranging from 500 mm to 600 mm of desired size and shape having Carcase made in HDHMR board of make Action Tessa/HDWR board of make Green as sides/shelves/dividers/verticals/horizontals in 18 mm thickness , having backing of 12 mm thick HDHMR/HDWR Ply ,Carcase of storage to be made in Both side laminated (BSL) High Density High Moisture resistant board with white colour factory pressed laminate to be fixed as sides/top/bottom/dividers/shelves etc ,all edges of carcase to be lipped with required PVC tape fixed with Polybond adhesive in required design, Shutter to be made in ,MR Board duly supported on rail hinges skinned with laminate on both sides and edges skinned with pvc edge tape ,Storage to have provision to accomodate all required standard hardware fittings i.e hanging rod/handle,lock,t bolt etc ,Storage to have provision for drawers with laminate all over and run on telescopic channels with collapsible handle to operate and full storage to be fixed in line and length to wall with skirting etc of approved design.(drawers and all fittings such as handles/locks/tower bolt/hinges/front Shutter/1 mm laminate to be paid in another item ) all complete as per entire satisfaction of Engineer-in-charge {For payment purpose front area to be measured}. | 175.00 | sqm |  | 7000.00 | 1225000.00 | 5500.00 | 962500.00 | 5400.00 | 945000.00 | 8600.00 | 1505000.00 | 945000.00 | SAMTA INTERIORS
98.00 | Providing and Fixing fully laminated drawers ranging from 450 mm to 600 mm as maximum width in 150 mm height to existing storages with carcase made in Both side laminated HDHMR board of make Green/Action Tessa in 12 mm BSL HDHMR/HDWR Ply as sides/back and front in 18 mm HDHMR/HDWR board with 8 mm BSL HDHMR/HDWR Ply as base , complete unit to be hung on 20" Telescopic channels , all edges duly covered with PVC edge tape , all complete with required hardware (collapsible handle to be paid extra) all complete as per entire satisfaction of E I C | 110.00 | sqm |  | 1200.00 | 132000.00 | 1000.00 | 110000.00 | 1400.00 | 154000.00 | 2200.00 | 242000.00 | 110000.00 | H R Builders
99.00 | Providing and fixing in position Kitchen Laminated Counter over head storage of Depth 300 mm and height 600 mm with 1 no shelf at centre , storage to be of desired length having Carcase made in Both side laminated HDHMR board of make Green/Action Tessa having white shade factory pressed laminate on both sides as sides/shelves/dividers/verticals/horizontals in 18 mm thickness , having backing of 12 mm thick both side laminated HDHMR Ply .Front to be made in 18 mm thick MR board with all edges of shutter to be fixed with PVC Edge bended tape in desired shade , full storage to be fixed in line and length to wall of approved design.All front outer area to recieve 1.0 mm thick laminate fixed with adhesive and all inner surfaces made in both side laminated HDHMR board as all internal sides/shelves/dividers/back of front and inside of back in white shade laminate , all complete as per entire satisfaction of Engineer-in-charge. (1 mm laminate/shutters/all fittings to paid in seperate item) {For payment purpose front area to be measured}. | 49.00 | sqm |  | 8000.00 | 392000.00 | 6000.00 | 294000.00 | 4500.00 | 220500.00 | 7500.00 | 367500.00 | 220500.00 | SAMTA INTERIORS
100.00 | Providing and Fixing in position Loft storage with Front as shutters fixed on 100 mm board as border /chaukhat running all along the perifil of shutters , all structure made in Both side laminated HDHMR/HDWR board ,with shutters made in MR Board of make Green/Century/ Duraply hanged on rail hinges , works include framing of depth 100 mm in HDHMR board fixed to wall at all sides /verticals/dividers to accomodate front shutters , all framework of depth 100 mm and inside/outside of shutter pasted with laminate , shutters and framework to have PVC edge tape at all edges ,all complete as per entire satisfaction of Engineer-in-charge. (Locks,handles/Front shutters/laminate to be paid in seperate items) {For payment purpose front area to be measured}. | 58.00 | sqm |  | 6000.00 | 348000.00 | 1550.00 | 89900.00 | 1000.00 | 58000.00 | 2500.00 | 145000.00 | 58000.00 | SAMTA INTERIORS
101.00 | Providing and Fixing shutters to existing storage in MR board of make Green/merino/duraply/Century hanged on rail hinges in SS finish ,edges of shutters to be fixed with required PVC tape on all edges , duly aligned with storage to recieve laminate on both sides of approved shade (all fittings such as handles/locks/tower bolt/1 mm laminate to be paid in another item ) all complete as per entire satisfaction of Engineer-in-charge. | 210.00 | sqm |  | 2500.00 | 525000.00 | 2150.00 | 451500.00 | 1700.00 | 357000.00 | 3200.00 | 672000.00 | 357000.00 | SAMTA INTERIORS
102.00 | Deduct for taking away of C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, C.P. waste in basin/ sink and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 420.00 | kg |  | 80.00 | -33600.00 | 250.00 | -105000.00 | 420.00 | -176400.00 | 150.00 | -63000.00 | -176400.00 | SAMTA INTERIORS
103.00 | Deduct for taking away of SCI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 5760.00 | kg |  | 10.00 | -57600.00 | 20.00 | -115200.00 | 35.00 | -201600.00 | 10.00 | -57600.00 | -201600.00 | SAMTA INTERIORS
104.00 | Deduct for taking away of PVC connections, PVC flushing cisten with fittings, PVC over head tank, PVC bib cock, stop cock, ball valve, loft tank etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 800.00 | kg |  | 1.00 | -800.00 | 10.00 | -8000.00 | 15.00 | -12000.00 | 1.00 | -800.00 | -12000.00 | SAMTA INTERIORS
105.00 | Deduct for taking away of aluminium butt hinges, sliding door bolts, tower bolts, pull boly lock, handle, door stopper, casement stay, tee chanals, plates, frames, shutters, partition, tubular sections etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 175.00 | kg |  | 20.00 | -3500.00 | 90.00 | -15750.00 | 150.00 | -26250.00 | 20.00 | -3500.00 | -26250.00 | SAMTA INTERIORS
106.00 | Deduct for taking away of Wooden/plywood frames and/or shutters for Doors/windows/ clerestory windows, trusses, battens, particle board, glazed, wired, panelled etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete.
106.01 | (a) upto 2.00 sqm | 512.00 | sqm |  | 5.00 | -2560.00 | 100.00 | -51200.00 | 150.00 | -76800.00 | 2.00 | -1024.00 | -76800.00 | SAMTA INTERIORS
107.00 | Deduct for taking away of steel work in frames, shutters, trusses, channels, beams, Tee, angles, bolts, washers etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 4060.00 | kg |  | 20.00 | -81200.00 | 25.00 | -101500.00 | 35.00 | -142100.00 | 10.00 | -40600.00 | -142100.00 | SAMTA INTERIORS
| Total in Figures |  |  |  |  | 23913126.00 |  | 19740757.00 |  | 19045605.00 |  | 22397632.00
Lowest Amount Quoted BY: SAMTA INTERIORS(19045605.00)

## BOQ Summary
BOQ Summary Details Tender Title: Upliftment of residential quarters at INA Colony, New Delhi. SH Civil Works Phase-1 Tender ID: 2022_AAI_137713_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAMTA INTERIORS | 19045605.00 | L1
| 2 | H R Builders | 19740757.00 | L2
| 3 | ESS KAY CONSTRUCTIONS | 22397632.00 | L3
| 4 | Rakesh Kumar Engineers and Contractor | 23913126.00 | L4