## BoQ1
Government eProcurement System Created By: Pravin Jadhav Created Date/Time: 13-Jan-2023 04:37 PM Tender Title: Installation Of 8 MWp solar power plant in Hubballi Airport to feed all Airports in Karnataka. SH Civil works for Construction of underground sump, pump room, laying paver block pathways surrounding SCADA room and Other miscellaneous works. Tender ID: 2022_AAI_137962_1
Tender Inviting Authority: AGM (E-C), Airports Authority of India, Hubballi Airport.
Name of Work: Installation Of 8 MWp solar power plant in Hubballi Airport to feed all Airports in Karnataka. SH: Civil works for Construction of underground sump, pump room, laying paver block pathways surrounding SCADA room and Other miscellaneous works
Contract No: 2022_AAI_137962_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shri Laxminarayan Construction(GSTN-27AKIPR6504J1ZT) |  | rohan construction(GSTN-27AALPV7725L1ZU) |  | m sardar shah(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as\ well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 120.00 | Cum | 1.00 | 100.00 | 12000.00 | 134.00 | 16080.00 | 200.00 | 24000.00 | 12000.00 | Shri Laxminarayan Construction
2.00 | Extra for every additional lift of 1.5 m or part thereof in excavation /banking excavated or stacked materials. All Kind of Soil | 44.00 | Cum | 1.00 | 50.00 | 2200.00 | 70.00 | 3080.00 | 55.00 | 2420.00 | 2200.00 | Shri Laxminarayan Construction
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 60.00 | Cum | 1.00 | 200.00 | 12000.00 | 140.00 | 8400.00 | 200.00 | 12000.00 | 8400.00 | rohan construction
4.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil | 1000.00 | sqm | 1.00 | 20.00 | 20000.00 | 30.00 | 30000.00 | 40.00 | 40000.00 | 20000.00 | Shri Laxminarayan Construction
5.00 | Consolidation of Prepared sub grade with power road roller of 8 to 12 tonne capacity including making good the undulations etc. and re-rolling the sub grade as per direction of Engineer-In-charge | 1000.00 | sqm | 1.00 | 18.00 | 18000.00 | 7.45 | 7450.00 | 50.00 | 50000.00 | 7450.00 | rohan construction
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 105.00 | cum | 1.00 | 4800.00 | 504000.00 | 3950.00 | 414750.00 | 5200.00 | 546000.00 | 414750.00 | rohan construction
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 40 | 85.00 | Cum | 1.00 | 6500.00 | 552500.00 | 6250.00 | 531250.00 | 6100.00 | 518500.00 | 518500.00 | m sardar shah
8.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 900.00 | Sqm | 1.00 | 750.00 | 675000.00 | 845.00 | 760500.00 | 900.00 | 810000.00 | 675000.00 | Shri Laxminarayan Construction
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 10.00 | Sqm | 1.00 | 290.00 | 2900.00 | 285.00 | 2850.00 | 300.00 | 3000.00 | 2850.00 | rohan construction
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 120.00 | Sqm | 1.00 | 600.00 | 72000.00 | 645.00 | 77400.00 | 450.00 | 54000.00 | 54000.00 | m sardar shah
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform. | 55.00 | Sqm | 1.00 | 650.00 | 35750.00 | 745.00 | 40975.00 | 450.00 | 24750.00 | 24750.00 | m sardar shah
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 16.00 | Sqm | 1.00 | 480.00 | 7680.00 | 595.00 | 9520.00 | 450.00 | 7200.00 | 7200.00 | m sardar shah
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 20.00 | Sqm | 1.00 | 450.00 | 9000.00 | 775.00 | 15500.00 | 510.00 | 10200.00 | 9000.00 | Shri Laxminarayan Construction
14.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Ordinary Portland cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M30 grade with minimum cement content of 350 kg /cum | 26.00 | cum | 1.00 | 8000.00 | 208000.00 | 8045.00 | 209170.00 | 9000.00 | 234000.00 | 208000.00 | Shri Laxminarayan Construction
15.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Ordinary Portland cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level Concrete of M30 grade with minimum cement content of 350 kg /cum | 7.00 | cum | 1.00 | 8000.00 | 56000.00 | 9450.00 | 66150.00 | 9000.00 | 63000.00 | 56000.00 | Shri Laxminarayan Construction
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all ccomplete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 6500.00 | kg | 1.00 | 88.00 | 572000.00 | 99.00 | 643500.00 | 95.00 | 617500.00 | 572000.00 | Shri Laxminarayan Construction
17.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1400.00 | kg | 1.00 | 88.00 | 123200.00 | 99.00 | 138600.00 | 95.00 | 133000.00 | 123200.00 | Shri Laxminarayan Construction
18.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 17.00 | cum | 1.00 | 5500.00 | 93500.00 | 6850.00 | 116450.00 | 6000.00 | 102000.00 | 93500.00 | Shri Laxminarayan Construction
19.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Sal wood | .30 | Cum | 1.00 | 125000.00 | 37500.00 | 99000.00 | 29700.00 | 70000.00 | 21000.00 | 21000.00 | m sardar shah
20.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 13.00 | sqm | 1.00 | 2250.00 | 29250.00 | 1799.00 | 23387.00 | 1900.00 | 24700.00 | 23387.00 | rohan construction
21.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 26.00 | Sqm | 1.00 | 650.00 | 16900.00 | 725.00 | 18850.00 | 1100.00 | 28600.00 | 16900.00 | Shri Laxminarayan Construction
22.00 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : (copper oxidized as per IS: 1378) 250x16 mm | 10.00 | each | 1.00 | 150.00 | 1500.00 | 145.00 | 1450.00 | 250.00 | 2500.00 | 1450.00 | rohan construction
23.00 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : (copper oxidized as per IS: 1378) 200x10 mm | 5.00 | each | 1.00 | 60.00 | 300.00 | 55.00 | 275.00 | 180.00 | 900.00 | 275.00 | rohan construction
24.00 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : (copper oxidized as per IS: 1378) 125 mm | 10.00 | each | 1.00 | 35.00 | 350.00 | 35.00 | 350.00 | 95.00 | 950.00 | 350.00 | Shri Laxminarayan Construction, rohan construction
25.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc. | 100.00 | kg | 1.00 | 110.00 | 11000.00 | 180.00 | 18000.00 | 150.00 | 15000.00 | 11000.00 | Shri Laxminarayan Construction
26.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube | 400.00 | kg | 1.00 | 100.00 | 40000.00 | 145.00 | 58000.00 | 160.00 | 64000.00 | 40000.00 | Shri Laxminarayan Construction
27.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :. For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 75.00 | kg | 1.00 | 545.00 | 40875.00 | 555.00 | 41625.00 | 550.00 | 41250.00 | 40875.00 | Shri Laxminarayan Construction
28.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness (weight not less than 12.50 kg/sqm) | 5.00 | sqm | 1.00 | 1250.00 | 6250.00 | 1313.00 | 6565.00 | 1200.00 | 6000.00 | 6000.00 | m sardar shah
29.00 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete. Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and 1.4 mm aperture on both sides | 2.00 | sqm | 1.00 | 935.00 | 1870.00 | 915.00 | 1830.00 | 700.00 | 1400.00 | 1400.00 | m sardar shah
30.00 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 20.00 | sqm | 1.00 | 750.00 | 15000.00 | 825.00 | 16500.00 | 650.00 | 13000.00 | 13000.00 | m sardar shah
31.00 | 12 mm cement plaster of mix :1:4 (1 cement: 4 fine sand) | 80.00 | sqm | 1.00 | 225.00 | 18000.00 | 245.00 | 19600.00 | 250.00 | 20000.00 | 18000.00 | Shri Laxminarayan Construction
32.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix :1:4 (1 cement: 4 fine sand) | 80.00 | sqm | 1.00 | 280.00 | 22400.00 | 315.00 | 25200.00 | 300.00 | 24000.00 | 22400.00 | Shri Laxminarayan Construction
33.00 | 6 mm cement plaster of mix :1:3 (1 cement : 3 fine sand) | 85.00 | sqm | 1.00 | 275.00 | 23375.00 | 225.00 | 19125.00 | 280.00 | 23800.00 | 19125.00 | rohan construction
34.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 40.00 | sqm | 1.00 | 950.00 | 38000.00 | 1045.00 | 41800.00 | 1100.00 | 44000.00 | 38000.00 | Shri Laxminarayan Construction
35.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 10.00 | sqm | 1.00 | 900.00 | 9000.00 | 885.00 | 8850.00 | 1100.00 | 11000.00 | 8850.00 | rohan construction
36.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 65.00 | sqm | 1.00 | 140.00 | 9100.00 | 155.00 | 10075.00 | 160.00 | 10400.00 | 9100.00 | Shri Laxminarayan Construction
37.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer | 90.00 | sqm | 1.00 | 65.00 | 5850.00 | 64.00 | 5760.00 | 65.00 | 5850.00 | 5760.00 | rohan construction
38.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 90.00 | sqm | 1.00 | 120.00 | 10800.00 | 125.00 | 11250.00 | 110.00 | 9900.00 | 9900.00 | m sardar shah
39.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 100.00 | sqm | 1.00 | 115.00 | 11500.00 | 125.00 | 12500.00 | 110.00 | 11000.00 | 11000.00 | m sardar shah
40.00 | Providing and laying integral cement based treatment for water proofing on the vertical surface by fixing specified stone slab 22 mm to 25 mm thick with cement slurry mixed with water proofing compound conforming to IS:2645 in recommended proportions with a gap of 20 mm (minimum) between stone slabs and the receiving surfaces and filling the gaps with neat cement slurry mixed with water proofing compound and finishing the exterior of stone slab with cement mortar 1:3 (1 cement : 3 coarse sand) 20 mm thick with neat cement punning mixed with water proofing compound in recommended proportion complete at all levels and as directed by Engineer-in-charge : Using rough Kota stone | 55.00 | sqm | 1.00 | 1400.00 | 77000.00 | 349.00 | 19195.00 | 1250.00 | 68750.00 | 19195.00 | rohan construction
41.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | 150.00 | kg | 1.00 | 90.00 | 13500.00 | 115.00 | 17250.00 | 150.00 | 22500.00 | 13500.00 | Shri Laxminarayan Construction
42.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer in- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required | 55.00 | Sqm | 1.00 | 650.00 | 35750.00 | 655.00 | 36025.00 | 750.00 | 41250.00 | 35750.00 | Shri Laxminarayan Construction
43.00 | Providing Engineering Consultancy Services for "Construction of RCC Underground water tank of approximate capacity 40 KL (2 X 20 KL) and approx. size 6.75 (L) X 3.50 m (B) and RCC Pump room above UG Tank etc". Scope of work includes :- Planning, Designing & Detailing, RCC design with relevant seismic considerations for Civil Works. The RCC drawings and designs shall be vetted by a Government Engineering College/IIT/NIT. Note:- i) Consultant has to provide Engineering Consultancy for above design. ii) The cost as incurred towards vetting of the RCC drawings and designs is included in this item hence no extra payment shall be made in this regard. | 1.00 | Job | 1.00 | 20000.00 | 20000.00 | 59500.00 | 59500.00 | 29466.00 | 29466.00 | 20000.00 | Shri Laxminarayan Construction
| Total in Figures |  |  |  |  | 3470800.00 |  | 3594287.00 |  | 3792786.00
Lowest Amount Quoted BY: Shri Laxminarayan Construction(3470800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Installation Of 8 MWp solar power plant in Hubballi Airport to feed all Airports in Karnataka. SH Civil works for Construction of underground sump, pump room, laying paver block pathways surrounding SCADA room and Other miscellaneous works. Tender ID: 2022_AAI_137962_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Shri Laxminarayan Construction | 3470800.00 | L1
| 2 | rohan construction | 3594287.00 | L2
| 3 | m sardar shah | 3792786.00 | L3