## BoQ1
Government eProcurement System Created By: Jagannath singh Deshmukh Created Date/Time: 17-Jan-2023 10:42 AM Tender Title: Replacement of existing energy meter into digital metering system and other associate work at Airport colony at C. A. Rajkot Tender ID: 2022_AAI_137976_1
Tender Inviting Authority: SM (E E), AAI, CA Rajkot.
Name of Work: Replacement of existing energy meter into digital metering system and other associate work at Airport colony at C. A. Rajkot.
Contract No: AAI/RAJ/SM(E-E)/NIT-10/22-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Rudraksha Enterprise(GSTN-24AANFR7954B1Z1) |  | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of single phase Digital energy meter in existing meter box [Job includes: removing old meters, proper dressing of wires and cables by stainless steel tie, and installing new meter with 2 mm thick MS sheet where required]. | 49.00 | Each |  | 2000.00 | 98000.00 | 3626.27 | 177687.03 | 1600.00 | 78400.00 | 78400.00 | Ascent Electrification Engineers
2.00 | SITC of MCCB of following capacity in existing panel having Breaking Capacity of 35~36kA and Ics=100%Icu [Job includes: removing old SFU system and installing new MCCB by alligning it with existing bus bar system, proper dressing of the cables/ wires with stainless steel cable tie etc.] 125A, TP MCCB | 6.00 | Each |  | 7500.00 | 45000.00 | 16473.61 | 98841.65 | 8100.00 | 48600.00 | 45000.00 | Rudraksha Enterprise
3.00 | SITC of MCCB of following capacity in existing panel having Breaking Capacity of 35~36kA and Ics=100%Icu [Job includes: removing old SFU system and installing new MCCB by alligning it with existing bus bar system, proper dressing of the cables/ wires with stainless steel cable tie etc.] 100A, TP MCCB | 4.00 | Each |  | 7000.00 | 28000.00 | 3626.27 | 14505.06 | 7500.00 | 30000.00 | 14505.06 | INTEGER INFRATECH PRIVATE LIMITED
4.00 | SITC of MCB of following capacity in existing panel [Job includes removing of old MCB, installing new MCBs, and proper dressing of the wires] 63A, FP MCB | 6.00 | Each |  | 1300.00 | 7800.00 | 4247.91 | 25487.47 | 1400.00 | 8400.00 | 7800.00 | Rudraksha Enterprise
5.00 | SITC of MCB of following capacity in existing panel [Job includes removing of old MCB, installing new MCBs, and proper dressing of the wires] 32A SP MCB | 19.00 | Each |  | 200.00 | 3800.00 | 279.74 | 5315.07 | 150.00 | 2850.00 | 2850.00 | Ascent Electrification Engineers
6.00 | SITC of MCB of following capacity in existing panel [Job includes removing of old MCB, installing new MCBs, and proper dressing of the wires] 63A, DP MCB | 2.00 | Each |  | 800.00 | 1600.00 | 1139.68 | 2279.37 | 1650.00 | 3300.00 | 1600.00 | Rudraksha Enterprise
7.00 | Supply and installation of analog timers for existing block perimeter lights; complete with all necessary connections and proper dressing of wires. | 12.00 | Each |  | 1600.00 | 19200.00 | 4455.13 | 53461.52 | 2400.00 | 28800.00 | 19200.00 | Rudraksha Enterprise
8.00 | SITC of 6m GI octagonal pole with lower diameter between 130~150 mm and upper diameter between 40~60 mm, sheet thickness of >= 3mm, at least 10mm thick base plate; with suitable foundation size and brackets to fix LED light fixture complete as per technical specifications. | 2.00 | Each |  | 22000.00 | 44000.00 | 16110.98 | 32221.96 | 12300.00 | 24600.00 | 24600.00 | Ascent Electrification Engineers
9.00 | Supplying and fixing combined switch-socket box with 6 pin 5/6 & 15/16A socket outlet and 15/16A switch, connections etc. as required. | 20.00 | Each |  | 400.00 | 8000.00 | 155.41 | 3108.23 | 300.00 | 6000.00 | 3108.23 | INTEGER INFRATECH PRIVATE LIMITED
10.00 | Replacement of existing phenolic laminated switch sheet covers with new ones, complete with slots cut for switches, sockets and regulators etc. and refixing of switch, socket, regulator etc. on the replaced sheet with necessary connections. 28cm x 23cm | 17.00 | Each |  | 200.00 | 3400.00 | 321.18 | 5460.12 | 200.00 | 3400.00 | 3400.00 | Rudraksha Enterprise, Ascent Electrification Engineers
11.00 | Replacement of existing phenolic laminated switch sheet covers with new ones, complete with slots cut for switches, sockets and regulators etc. and refixing of switch, socket, regulator etc. on the replaced sheet with necessary connections. 20cm x 15cm | 12.00 | Each |  | 200.00 | 2400.00 | 129.51 | 1554.11 | 250.00 | 3000.00 | 1554.11 | INTEGER INFRATECH PRIVATE LIMITED
12.00 | Replacement of existing phenolic laminated switch sheet covers with new ones, complete with slots cut for switches, sockets and regulators etc. and refixing of switch, socket, regulator etc. on the replaced sheet with necessary connections. 8cm x 15cm | 10.00 | Each |  | 150.00 | 1500.00 | 51.80 | 518.04 | 300.00 | 3000.00 | 518.04 | INTEGER INFRATECH PRIVATE LIMITED
13.00 | Supplying and drawing the following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. 3 x 2.5 sq.mm. | 300.00 | Mtr |  | 90.00 | 27000.00 | 190.64 | 57191.40 | 150.00 | 45000.00 | 27000.00 | Rudraksha Enterprise
14.00 | Supplying and drawing the following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. 3 x 4.0 sq.mm. | 350.00 | Mtr |  | 130.00 | 45500.00 | 279.74 | 97909.18 | 200.00 | 70000.00 | 45500.00 | Rudraksha Enterprise
15.00 | Supply and fixing of ISI marked uPVC mini trunking of 25x16 mm size; complete with internal/external elbows, bends etc. as required. | 650.00 | Mtr |  | 50.00 | 32500.00 | 56.98 | 37039.72 | 60.00 | 39000.00 | 32500.00 | Rudraksha Enterprise
16.00 | Supply and fixing of 6 gang PVC box including all necessary connections as required. | 40.00 | Each |  | 130.00 | 5200.00 | 93.25 | 3729.87 | 150.00 | 6000.00 | 3729.87 | INTEGER INFRATECH PRIVATE LIMITED
17.00 | Supply and fixing of 4 gang PVC box including all necessary connections as required. | 40.00 | Each |  | 120.00 | 4800.00 | 77.71 | 3108.23 | 150.00 | 6000.00 | 3108.23 | INTEGER INFRATECH PRIVATE LIMITED
18.00 | Supplying and fixing following piano type switch/ socket on the existing switch box/ cover including all necessary connections etc. as required. 5/6 amps switch | 200.00 | Each |  | 35.00 | 7000.00 | 139.87 | 27974.05 | 60.00 | 12000.00 | 7000.00 | Rudraksha Enterprise
19.00 | Supplying and fixing following piano type switch/ socket on the existing switch box/ cover including all necessary connections etc. as required. 3 pin 5/6 A socket outlet | 60.00 | Each |  | 100.00 | 6000.00 | 82.89 | 4973.16 | 35.00 | 2100.00 | 2100.00 | Ascent Electrification Engineers
20.00 | Supply and installation of capacitor type 250mm plastic exhaust fan with louver shutter in toilet including all necessary connections. [Job includes: Cutting existing installed grill in 1ft x 1ft wooden window (ground floor and first floor in 1:1 ratio); packing extra gap with plywood of sufficient thickness and securing the fan with help of screws; finshing job with putty, paint, color etc. as required] | 24.00 | Each |  | 3500.00 | 84000.00 | 2486.58 | 59677.98 | 2400.00 | 57600.00 | 57600.00 | Ascent Electrification Engineers
21.00 | Supply and intallation of capacitor type 150mm plastic exhaust fan with 6 inch louver shutter (external) in toilet including all necessary connections. [Job includes: Cutting 6 inch round hole in 11 inch thick wall using suitable core drill bit; finishing hole with cement, putty etc. and securing the fan with help of screws; finshing job with putty, paint, color etc. as required] | 18.00 | Each |  | 6000.00 | 108000.00 | 2279.37 | 41028.61 | 2000.00 | 36000.00 | 36000.00 | Ascent Electrification Engineers
22.00 | Supply and installation of 300mm capacitor type metal exhaust fan complete with all necessary connections. [Job includes: Dismantling old exhaust fan and hading over to Electrical Store]. | 10.00 | Each |  | 2000.00 | 20000.00 | 3004.62 | 30046.20 | 2800.00 | 28000.00 | 20000.00 | Rudraksha Enterprise
23.00 | Supply and installation of high efficiency energy saving 5 star BLDC motor ceiling fan including accessories like down rod, brass hook clamp etc; complete with all necessary connections as required. [Job includes: dismantling of old ceiling fan and handing over to Electrical store] | 40.00 | Each |  | 2800.00 | 112000.00 | 2828.49 | 113139.50 | 2800.00 | 112000.00 | 112000.00 | Rudraksha Enterprise, Ascent Electrification Engineers
24.00 | Supply and installation of wired ding dong/chirping door bell. | 4.00 | Each |  | 350.00 | 1400.00 | 611.28 | 2445.14 | 400.00 | 1600.00 | 1400.00 | Rudraksha Enterprise
25.00 | SITC of 220VAC motor-driven industrial air raid warning siren as per technical specification. [Job includes: dismantling of old siren and handing over to Electrical store] | 1.00 | Each |  | 8500.00 | 8500.00 | 1295.10 | 1295.10 | 14500.00 | 14500.00 | 1295.10 | INTEGER INFRATECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 724600.00 |  | 899997.78 |  | 670150.00
Lowest Amount Quoted BY: Ascent Electrification Engineers(670150.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing energy meter into digital metering system and other associate work at Airport colony at C. A. Rajkot Tender ID: 2022_AAI_137976_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ascent Electrification Engineers | 670150.00 | L1
| 2 | Rudraksha Enterprise | 724600.00 | L2
| 3 | INTEGER INFRATECH PRIVATE LIMITED | 899997.78 | L3