## BoQ1
Government eProcurement System Created By: Anand Kumar Created Date/Time: 31-Jan-2023 11:35 AM Tender Title: Construction of Combined Operational Offices for DGCA, BCAS, AAIB, AERA and AAI at Safdarjung Airport, New Delhi SH Provision of Kitchen Equipment Tender ID: 2022_AAI_139264_1
Tender Inviting Authority: AAI
Name of Work: Construction of Combined Operational Offices of DGCA, BCAS, AAIB, AERA and AAI at Safdarjung Airport, New Delhi. SH: Provision of Kitchen Equipment.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Bharti Refrigeration Works(GSTN-06AEMPB0002P2ZS) |  | J B Equipments(GSTN-07AAIFJ3191P1ZS) |  | Muskan Equipments Co.(GSTN-07AAJPR6760K1Z3)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Fabricating, Providing, Installing, Testing & Commissioning of Dirty Dish Landing Table of size (1500mm x 700mm x 850mm+150), 16 Gauge, S.S. Top, front turned up 30mm, turned down 50mm & in 12mm. 150mm High Rear splash. right side locakable with already exixsting as pre Dish washer. Top and body secured 38mm x 38mm x 3mm Thick S.S. welded angle frame work / hut type welded channel frame work. 200mm round hole for garbage. 4 no. 38mm Dia S.S. legs. With S.S. adjustable bullet feet. All sheets to be pre-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 15000.00 | 15000.00 | 23500.00 | 23500.00 | 15000.00 | 15000.00 | 15000.00 | Bharti Refrigeration Works, Muskan Equipments Co.
2.00 | Fabricating, Providing, Installing, Testing & Commissioning of Two Sink Pre wash unit of size 1500mm x 700mm x 850mm + 150mm(back splash) , 16 Gauge S.S. Top. 150mm High Rear splash. Top and body secured 38mm x 38mm x 3mm Thick S.S. welded angle frame work / hut type welded channel frame work. 4 no. 38mm Dia. S.S. legs. With S.S. adjustable bullet feet. Centre of unit One (2) no.450mm x 450mm x 300mm deep 16 Gauge. S.S. sink. 25mm Dia S.S. pipe cross bracing welded to legs at Rear & both sides. Front open. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 25000.00 | 25000.00 | 29000.00 | 29000.00 | 22000.00 | 22000.00 | 22000.00 | Muskan Equipments Co.
3.00 | Fabricating, Providing, Installing, Testing & Commissioning of Pre Rinse Spray Unit of wall mounted Hose with Overhead Spring & Spray Valve Assembly. Finger hook of 3/8” NPT X 18” Riser, Lever handles with color coded indexes and spring check eternal cartridges. Self-Closing Pre-Rinse Spray Valve w/ Rubber Bumper & 1.42 GPM Flow Control Spray Face. Wall Mounted. Water Cold & Hot-12mm including accessories deck mounting assembly complete as required as per technical specification. | 1.00 | Set |  | 40000.00 | 40000.00 | 26000.00 | 26000.00 | 18000.00 | 18000.00 | 18000.00 | Muskan Equipments Co.
4.00 | Fabricating, Providing, Installing, Testing & Commissioning of Dishwasher (Hood Type) Able to run at two speeds at the capacity of 60 racks per hour. Unit suitable to handle 500 X 500 racks . Full SS Construction. With Electronic control. Suitable for operation on incoming soft water sanitizing. Automatic water fill. Unit should be equipped with rinse pressure pump, drain pump and with rinse agent dispenser. Tank should be with rounded edges . Should be with self cleaning cycle. 200mm High Adjustable SS Legs including accessories. Unit suitable for Pass the Thermo level, Corner Installation and complete as required as per technical specification. | 1.00 | Set |  | 193000.00 | 193000.00 | 225000.00 | 225000.00 | 175000.00 | 175000.00 | 175000.00 | Muskan Equipments Co.
5.00 | Fabricating, Providing, Installing, Testing & Commissioning of Unloading table with with 2 nos under pipe shelf of size 1100mm x 700mm x 850mm + 150mm, 150mm High Rear splash.16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick S.S. welded angle frame work / hat type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 2 nos under pipe shelves. All sheets to be pre- polished plastic coated 304 grade complete as required as per technical specification.. | 1.00 | Set |  | 14700.00 | 14700.00 | 19000.00 | 19000.00 | 16000.00 | 16000.00 | 14700.00 | Bharti Refrigeration Works
6.00 | Fabricating, Providing, Installing, Testing & Commissioning of Clean Dish Rack 5 Tier of size 900mm x 500mm x 1800mm and Shelving shall be arranged as shown in the layout plan. 1800mm high overall on SS adjustable feet, constructed of 38mm x 38mm x 16 Gauge SS pipe. Each to have five shelves at equal distance of 18 Gauge SS with channels. Shelves to be bolted / fixed at each corner. All sheets to be pre-polished plastic coated 304 grade complete as required as per technical specification. | 2.00 | Set |  | 15000.00 | 30000.00 | 29000.00 | 58000.00 | 16000.00 | 32000.00 | 30000.00 | Bharti Refrigeration Works
7.00 | Supply & Fixing garbage bin with Color as Blue/ Yellow/ Green, with plastic material capacity of minimum 80 Ltr. with each set has 3 bin complete as required as per technical specification. | 4.00 | Set |  | 7900.00 | 31600.00 | 10000.00 | 40000.00 | 2200.00 | 8800.00 | 8800.00 | Muskan Equipments Co.
8.00 | Fabricating, Providing, Installing, Testing & Commissioning of Stainless steel Drain Through Grating of Size 900mm x 700mm x 150mm, Grating outer bearing bar Frame work of 25mm x 3 mm thick welded construction flushed with finished floor complete installation, Grating anti skid , lateral/Horizontal cross member of size 25mm x 2.5mm thick, Pressure locked & under side common graced to be welded & rest in to S.S. trough. Grating with hairline finishing. 150mm Deep 18 Gauge. S.S. trough channel shape, Suitable construction for rest Grating. Base of trough sloped towards floor drain. Provided 100mm Dia cutout & integral flange for entry into floor drain on cutout, 100 mm dia. Location of floor drain & trough height/size & waste dia to be verify at site complete as required as per technical specification.. | 1.00 | Set |  | 28000.00 | 28000.00 | 13000.00 | 13000.00 | 18000.00 | 18000.00 | 13000.00 | J B Equipments
9.00 | Fabricating, Providing, Installing, Testing & Commissioning of stainless steel Pot Rack of size (1100mm x 600mm x 1650mm) with four (4) no stainlless steel pipe shelves. First shelf 150 (Above finished floor) A.F.F., Second 850 A.F.F. Third shelf 1450mm A.F.F. & Fourth 3 side crossing at 1650mm A.F.F. Shelf outer 32mm round / square S.S pipe and inner 25mm round / square. S.S pipe welded to outer tube at 80mm distance. (4) no. 38mm round / square S.S. pipe. All Pipe S.S. 304 Grade complete as required as per technical specification. | 2.00 | Set |  | 17000.00 | 34000.00 | 23000.00 | 46000.00 | 20000.00 | 40000.00 | 34000.00 | Bharti Refrigeration Works
10.00 | Fabricating, Providing, Installing, Testing & Commissioning of Mobile Dirty Dish Trolley of Size 750mm x 600mm x 900mm and 18 Gauge. S.S. top channel shape. Four (4) no. 38mm dia uprights on Castors. All sides turned up 150mm & handled outside welded to S.S legs. Four (4) no. heavy duty 100mm dia Non-marking rubberized castors all with brakes. All sheets to be pre-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 13500.00 | 13500.00 | 18000.00 | 18000.00 | 14500.00 | 14500.00 | 13500.00 | Bharti Refrigeration Works
11.00 | Fabricating, Providing, Installing, Testing & Commissioning of Sink Unit of size (450mm x 400mm x 250mm) Unit shall drop in suitable to top Counter. Internal 350mm x 350mm x 200mm deep 16 Gauge S.S. sink, S.S. wall Brackets. Secured to top with acorn Nuts & Bolts & Bracket secured to wall with anchor fasteners. All sheets to be pre-polished plastic coated 304 grade complete as required as per technical specification.. | 2.00 | Set |  | 8000.00 | 16000.00 | 9000.00 | 18000.00 | 12500.00 | 25000.00 | 16000.00 | Bharti Refrigeration Works
12.00 | Fabricating, Providing, Installing, Testing & Commissioning of Preparation Table size of 1350mm x 700mm x 850mm + 150mm. 150mm High Rear splash.16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hut type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 3 side cross bracing 25 mm round pipe. All sheets to be pre-polished plastic coated 304 grade complete as required as per technical specification. | 2.00 | Set |  | 12000.00 | 24000.00 | 23000.00 | 46000.00 | 13500.00 | 27000.00 | 24000.00 | Bharti Refrigeration Works
13.00 | Fabricating, Providing, Installing, Testing & Commissioning of Two Sink Vegetable washing unit of size 1250mm x 700mm x 850mm + 150mm, 16 Gauge S.S. Top. 150mm High Rear splash.Top and body secured 38mm x 38mm x 3mm Thick S.S. welded angle frame work hut type welded channel frame work. 4 no. 38mm Dia. S.S. legs. With S.S. adjustable bullet feet. Centre of unit One (2) no.500mm x 500mm x 300mm deep 16 Gauge. S.S. sink. 25mm Dia S.S. pipe cross bracing welded to legs at Rear & both sides. Front open. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 21000.00 | 21000.00 | 27000.00 | 27000.00 | 18000.00 | 18000.00 | 18000.00 | Muskan Equipments Co.
14.00 | Supply, Installing, Testing & Commissioning of Vegetable-cutter made up of Aluminium alloy and S/S construction with Ventilated motor for continuous operation,suilable for easy processing for soft products like moz-zarella cheese. Safe operation with interlock switches on product pusher, with 6 blades,lid and collect-ing tray. Large number of discs available for every purpose with max Power 515W & 0.7 HP Power source 1ph/3ph Disc revolutions r.p.m. 300 complete as required as per technical specification.(Model TM2 All/INOX or equivalent) | 1.00 | Set |  | 89300.00 | 89300.00 | 115000.00 | 115000.00 | 25000.00 | 25000.00 | 25000.00 | Muskan Equipments Co.
15.00 | Supply, Installing, Testing & Commissioning of min 900 W mixer, grinder with most powerful motor with Double Ball Bearings with 22000 rpm,Chutney Jar as 400 ml, Liquidizing Jar with minimum 1.5 L , minimum 3 nos. of jars with plastic body, 230-240 V AC thee no. (03) speed setting with maximum power consumption 900 W complete as required as per technical specification.(Make Sujata or equivalent) | 1.00 | Set |  | 6200.00 | 6200.00 | 11000.00 | 11000.00 | 6000.00 | 6000.00 | 6000.00 | Muskan Equipments Co.
16.00 | Fabricating, Providing, Installing, Testing & Commissioning of Pulverizer, Runs easily. The dry/wet stainless steel body, 24 hours running capacity, Easy to maintain, Attractive in finish, special air cooling system for motor with minimum 2 HP and complete as required as per technical specification. | 1.00 | Set |  | 21000.00 | 21000.00 | 23000.00 | 23000.00 | 18000.00 | 18000.00 | 18000.00 | Muskan Equipments Co.
17.00 | Fabricating, Providing, Installing, Testing & Commissioning of Potato Peeler, cap-10kg, having overall. Potato peeler shall be of vertical design suitable for mounting on the floor. Machine shall be divided in two sections, Top peeling assembly and the bottom for motor drive housing, all made of Stainless Steel as per technical specification with 1.0 HP mtor and complete as required as per technical specification. All sheets to be pr-polished plastic coated 304 grade. | 1.00 | Set |  | 25000.00 | 25000.00 | 26000.00 | 26000.00 | 30000.00 | 30000.00 | 25000.00 | Bharti Refrigeration Works
18.00 | Fabrication, Installing, Testing & Commissioning atta kneading machine of minimum 25 kg atta made up of heavy duty cast iron with gear box mounted on the top the mixing bowl of SS sheet min 18 swg with handle the dough kneading machine is comes with single attachment the machine is operated electrically with min 2 HP Motor on single phase complete as required as per technical specification.. | 1.00 | Set |  | 39000.00 | 39000.00 | 49000.00 | 49000.00 | 45000.00 | 45000.00 | 39000.00 | Bharti Refrigeration Works
19.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table with Sink Unit of size 1350mm x 600mm x 850mm + 150mm , 16 Gauge S.S. Top. 150mm High Rear splash. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hut type welded channel frame work, 4 no. 38mm Dia. S.S. legs. With S.S. adjustable bullet feet. Centre of unit One (1) no.400mm x 400mm x 250mm deep 16 Gauge. S.S. sink. with one under shelf 18 guase. welded to legs at Rear & both sides. Front open. All sheets to be pre-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 16500.00 | 16500.00 | 28000.00 | 28000.00 | 16000.00 | 16000.00 | 16000.00 | Muskan Equipments Co.
20.00 | Fabricating, Providing, Installing, Testing & Commissioning of Masala Grinder (Tilting ) of conventional 10 liters capacity wet grinder with twin roller construction minimizes spillage with Vertical construction to occupy less space unit with 1.0 HP motor with on single phase, wet grinder in stainless steel Wired including accessories Power chord and complete as required as per technical specification. | 1.00 | Set |  | 43000.00 | 43000.00 | 45000.00 | 45000.00 | 45000.00 | 45000.00 | 43000.00 | Bharti Refrigeration Works
21.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table with Sink Unit of size 1800mm x 700mm x 850mm + 150mm , 16 Gauge S.S. Top. 150mm High Rear splash. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hut type welded channel frame work.. 4 no. 38mm Dia. S.S. legs. With S.S. adjustable bullet feet. Centre of unit One (1) no.500mm x 500mm x 300mm deep 16 Gauge. S.S. sink. with one under shelf 18 guase welded to legs at Rear. All sheets to be pre- polished plastic coated 304 grade complete as required as per technical specification.. | 1.00 | Set |  | 22000.00 | 22000.00 | 32000.00 | 32000.00 | 22000.00 | 22000.00 | 22000.00 | Bharti Refrigeration Works, Muskan Equipments Co.
22.00 | Fabricating, Providing, Installing, Testing & Commissioning of Two Door Under Counter of size 1400mm x 700mm x 850mm. 18 Gauge SS top/ SS 304 interior and exterior. 150mm High Rear splash. All sides turned down 50mm & in 12mm. Top and body secured to 12/25mm x 100mm x 25/12mm, 1.2 mm Thick S.S. hut type welded channel frame work. Underside of the top shall be sound proof, 2nos. SS removable & adjustable shelves. 2 nos. sufring doors with insulation. Accommodates 1/1 G.N pan. Ambient temperature 43 deg C. Internal Temp 2 Deg C to 4 Deg C, Air-cooled, Digital read out thermometer, cord with time delay, auto start, Forced draft cooling. 38mm Dia S.S. tubular legs, with S.S. adjustable bullet feet, 50mm thick P.U. foam on all sides, Drip tray with heating.(for condensate water evaporation). All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 60700.00 | 60700.00 | 70000.00 | 70000.00 | 95000.00 | 95000.00 | 60700.00 | Bharti Refrigeration Works
23.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table With 2 under size of 1350mm x 700mm x 850+150mm, 150mm High Rear splash, 16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 18 Gauge S.S. Bottom shelves. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 15500.00 | 15500.00 | 23000.00 | 23000.00 | 18000.00 | 18000.00 | 15500.00 | Bharti Refrigeration Works
24.00 | Fabricating, Providing, Installing, Testing & Commissioning of gas operated S S Cladded Mobile Tandoor of size 750mm X 750mm X 850+150mm, 150mm High Rear splash, 16 Gauge S.S. Top, Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work, Exterior 18 Gauge S.S. cladding, Interior 18 Gauge 304 grade. M.S. cladding, 40mm thick Mineral wool insulation, Front S.S. Ash removable opening with shutter, (4) no. heavy duty 100mm Dia Non marking rubberized castors all with brakes, 2 No. Top sheets to be prepolished plastic coated S.S and complete as required as per technical specification. | 1.00 | Set |  | 21000.00 | 21000.00 | 27000.00 | 27000.00 | 21000.00 | 21000.00 | 21000.00 | Bharti Refrigeration Works, Muskan Equipments Co.
25.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table with 2 under size of 600mm x 750mm x 850++150mm, 150mm High Rear splash, 16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hut type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 18 Gauge S.S. Bottom shelves. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 8000.00 | 8000.00 | 11500.00 | 11500.00 | 9000.00 | 9000.00 | 8000.00 | Bharti Refrigeration Works
26.00 | Fabricating, Providing, Installing, Testing & Commissioning of Two Burner Range with under shelf of size (1300mm x 750mm x 850mm+150mm). 16 Gauge S.S. Top. 150mm High Rear Splash, Back Splash to be Covered with 20 Gauge S.S. Sheet. Top and body secured 38mm x 38mm x 3mm & 25mm x25mm Thick M.S. welded angle frame work, hat type welded channel frame work. Exterior 18 Gauge S.S. cladding. Built in pressure Controller regulator. 38mm x 38mm x 16 Gauge S.S. Square pipe legs with S.S. adjustable bullet feet. 25mm x 25mm S.S. square pipe Under shelf. 2 No. 400mm x 400mm Cast iron Grate (Removable). Two (2) no. 22 Gauge S.S. drip tray with Integral handle. Auto Ignition. Two (2) no. H.P burner rated @70,000 B.T.U’s/Hr. with pilot lamp. 100mm setback Body/legs for Gauges pipe routing. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 3.00 | Set |  | 19500.00 | 58500.00 | 23000.00 | 69000.00 | 18000.00 | 54000.00 | 54000.00 | Muskan Equipments Co.
27.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table with 2 under size of 900mm x 750mm x 850++150mm, 150mm High Rear splash, 16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 18 Gauge S.S. Bottom shelves. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 10000.00 | 10000.00 | 16000.00 | 16000.00 | 12000.00 | 12000.00 | 10000.00 | Bharti Refrigeration Works
28.00 | Fabricating, Providing, Installing, Testing & Commissioning of Single Sink Unit with one underself crossing of size 600mm x 700mm x 850mm + 150mm , 16 Gauge S.S. Top. 150mm High Rear splash. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work.. 4 no. 38mm Dia. S.S. legs. With S.S. adjustable bullet feet. Centre of unit One (1) no.400mm x 400mm x 250mm deep 16 Gauge. S.S. sink. 25mm Dia S.S. pipe cross bracing welded to legs at Rear & both sides. Front open. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 12000.00 | 12000.00 | 12500.00 | 12500.00 | 14000.00 | 14000.00 | 12000.00 | Bharti Refrigeration Works
29.00 | Fabricating, Providing, Installing, Testing & Commissioning of Exhaust Hood of size 2900mm X 900mm X 500mm External and internal parts to be manufactured in SS 202, 18Gauge Welded Body Construction, Removable 22 Gauge S.S "V" section, measuring 510*510*50 mm thick, in full length with bottom of filters set in continuous channel, Grease gutter on rear and side in each piece, as per requirement, of flushed glass lights. All sheets to be pre- polished plastic coated 202 grade complete as required as per technical specification. | 1.00 | Set |  | 46400.00 | 46400.00 | 53000.00 | 53000.00 | 49000.00 | 49000.00 | 46400.00 | Bharti Refrigeration Works
30.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table with Sink Unit of size 1350mm x 700mm x 850mm + 150mm , 16 Gauge S.S. Top. 150mm High Rear splash. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work.. 4 no. 38mm Dia. S.S. legs. With S.S. adjustable bullet feet. Centre of unit One (1) no. 4500mm x 450mm x 300mm deep 16 Gauge. S.S. sink. with one under shelf 18 guase welded to legs at Rear. All sheets to be pr- polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 17000.00 | 17000.00 | 26000.00 | 26000.00 | 18000.00 | 18000.00 | 17000.00 | Bharti Refrigeration Works
31.00 | Fabricating, Providing, Installing, Testing & Commissioning of Idli steamer of min 54 idlies operated the unit will be double walled Completely out of 18 swg. Ss sheet with insulation in between. The idly trays to be out of 18 swg. Ss with 16 swg. Aluminimum Drip tray under each ss idli tray. The unit will have one door. The doors will Also be insulated with steam effective rubber gasket beading ½ “ ss valve Control will be provided for steam control and safety valves will be Provided in the steam pipe. The steamer is operated on a low- pressure steam boiler fitted underneath. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 38000.00 | 38000.00 | 26000.00 | 26000.00 | 21000.00 | 21000.00 | 21000.00 | Muskan Equipments Co.
32.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table With 2 under size of 600mm x 600mm x 850++150mm, 150mm High Rear splash, 16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 18 Gauge S.S. Bottom shelves. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 7000.00 | 7000.00 | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 7000.00 | Bharti Refrigeration Works
33.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table With under size of 1350mm x 700mm x 850+150mm, 150mm High Rear splash, 16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 18 Gauge S.S. Bottom shelves. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 13500.00 | 13500.00 | 23000.00 | 23000.00 | 18000.00 | 18000.00 | 13500.00 | Bharti Refrigeration Works
34.00 | Fabricating, Providing, Installing, Testing & Commissioning of Two Door Under Counter Refer of size 1400mm x 700mm x 850mm. 18 Gauge SS top/ SS 304 interior and exterior. 150mm High Rear splash. All sides turned down 50mm & in 12mm. Top and body secured to 12/25mm x 100mm x 25/12mm, 1.2 mm Thick S.S. hat type welded channel frame work. Underside of the top shall be sound deadened. 2nos. SS removable & adjustable shelves. 2 nos. sufring doors with insulation. Accommodates 1/1 G.N pan. Ambient temperature 43 deg C. Internal Temp 2 Deg C to 4 Deg C, Air-cooled, Refrigerant "kirloskar/ techumseh" with complete unit (Gas: R-134 A) Digital read out thermometer, cord with time delay auto start, Forced draft cooling. 38mm Dia S.S. tubular legs, with S.S. adjustable bullet feet, 50mm thick P.U. foam on all sides, Drip tray with heating.(for condensate water evaporation). All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 60700.00 | 60700.00 | 70000.00 | 70000.00 | 70000.00 | 70000.00 | 60700.00 | Bharti Refrigeration Works
35.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table With 2 under size of 700mm x 750mm x 850++150mm, 150mm High Rear splash, 16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 18 Gauge S.S. Bottom shelves. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 8500.00 | 8500.00 | 12500.00 | 12500.00 | 10000.00 | 10000.00 | 8500.00 | Bharti Refrigeration Works
36.00 | Fabricating, Providing, Installing, Testing & Commissioning of Single Sink Unit with 3 side crossing of size 600mm x 700mm x 850mm + 150mm , 16 Gauge S.S. Top. 150mm High Rear splash. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work.. 4 no. 38mm Dia. S.S. legs. With S.S. adjustable bullet feet. Centre of unit One (1) no.400mm x 400mm x 250mm deep 16 Gauge. S.S. sink. 25mm Dia S.S. pipe cross bracing welded to legs at Rear & both sides. Front open. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 11000.00 | 11000.00 | 13000.00 | 13000.00 | 14000.00 | 14000.00 | 11000.00 | Bharti Refrigeration Works
37.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table With 2 under size of 700mm x 750mm x 850+150mm, 150mm High Rear splash, 16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 18 Gauge S.S. Bottom shelves. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 8500.00 | 8500.00 | 12500.00 | 12500.00 | 10000.00 | 10000.00 | 8500.00 | Bharti Refrigeration Works
38.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table With under size of 1350mm x 700mm x 850mm. 16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 18 Gauge S.S. Bottom & middle shelves. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 13500.00 | 13500.00 | 23000.00 | 23000.00 | 18000.00 | 18000.00 | 13500.00 | Bharti Refrigeration Works
39.00 | Fabricating, Providing, Installing, Testing & Commissioning of gas operated Chapatti Plate With Puffer of size (1500mm X 750mm X850mm+150mm). 16mm thick M.S. Griddle Plate with front. gutter & S.S. grease drawer. Plate and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. Exterior 20 Gauge. S.S. cladding. Built in pressure Controller regulator. 38mm x 38mm x 16 Gauge S.S. Square pipe legs with adjustable bullet feet. 25mm x 25mm S.S. square pipe Under shelf. Four (4) no. “V” type H.P. burner with pilot lamp. 100mm setback Body/legs for Gauges pipe routing. Smooth Plate complete as required as per technical specification. | 1.00 | Set |  | 35000.00 | 35000.00 | 45000.00 | 45000.00 | 25000.00 | 25000.00 | 25000.00 | Muskan Equipments Co.
40.00 | Fabricating, Providing, Installing, Testing & Commissioning of Mobile Chapati Collection Trolley of Size 600mm x 750mm x 850mm and 14 Gauge. S.S. top channel shape. Four (4) no. 38mm dia uprights on Castors. Two (2) no 18 Gauge S.S pan with All sides turned up 100mm & hemmed outside welded to S.S legs. Four (4) no. heavy duty 125mm dia Non-marking rubberized castors all with brakes. Under sides of top shall be reinforced with 25 X 100 X 25 16 Gauge S.S inverted channel including accessories. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 11000.00 | 11000.00 | 18000.00 | 18000.00 | 14000.00 | 14000.00 | 11000.00 | Bharti Refrigeration Works
41.00 | Fabricating, Providing, Installing, Testing & Commissioning of Griddle Plate of size (1100mm X 750mm X850mm. 16mm thick M.S. Griddle Plate with front. gutter & S.S. grease drawer. Plate and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hut type welded channel frame work. Exterior 20 Gauge. S.S. cladding. Built in pressure Controller regulator. 38mm x 38mm x 16 Gauge S.S. Square pipe legs with adjustable bullet feet. 25mm x 25mm S.S. square pipe Under shelf. Three (2) no. “V” type H.P. burner with pilot lamp. 100mm setback Body/legs for Gauges pipe routing. Smooth Plate complete as required as per technical specification. | 1.00 | Set |  | 27500.00 | 27500.00 | 36000.00 | 36000.00 | 20000.00 | 20000.00 | 20000.00 | Muskan Equipments Co.
42.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table With 2 under size of 700mm x 750mm x 850+150mm, 150mm High Rear splash, 16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 18 Gauge S.S. Bottom & middle shelves. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 8500.00 | 8500.00 | 12500.00 | 12500.00 | 10000.00 | 10000.00 | 8500.00 | Bharti Refrigeration Works
43.00 | Fabricating, Providing, Installing, Testing & Commissioning of Exhaust Hood of size 4210 mm X 2100mm X 500mm External and internal parts to be manufactured in SS 202, 18Gauge Welded Body Construction, Removable 22 Gauge S.S "V" section, measuring 510*510*50 mm thick, in full length w/bottom of filters set in continuous channel, Grease gutter on rear and side in each piece. All sheets to be pre- polished plastic coated 202 grade complete as required as per technical specification. | 1.00 | Set |  | 157000.00 | 157000.00 | 130000.00 | 130000.00 | 35000.00 | 35000.00 | 35000.00 | Muskan Equipments Co.
44.00 | Fabricating, Providing, Installing, Testing & Commissioning of 320 Ltr Two Door Vertical Referigerator of size 720mm x 750mm x 2050mm Exterior/Interior 20 Gauge S.S. cladding. 50mm thick puff Insulation. Body secured to 12/25mm x 100mm x 25/12mm 22 guase Thick S.S. welded channel frame work. Two (2) Nos. half size Insulated self closing type S.S doors, complete with handle, Gasket & Locking arrangement hinged at front, three (3) wire shelves removable S.S welded wire. Ambient temperature 43 deg C. Internal temp is 0 deg to + 4Deg Celsius. Air-cooled referigerant with complete unit (Gas: R-134 A) Digital read out thermometer, cord with time delay auto start, Forced draft cooling. 38mm Dia S.S. tubular legs, with S.S. adjustable bullet feet, 50mm thick P.U. foam on all sides, Drip tray with heating.(for condensate water evaporation). All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 2.00 | Set |  | 65000.00 | 130000.00 | 75000.00 | 150000.00 | 70000.00 | 140000.00 | 130000.00 | Bharti Refrigeration Works
45.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table With 2 under size of 1200mm x 600mm x 850+150mm, 150mm High Rear splash, 16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 18 Gauge S.S. Bottom & middle shelves. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 13000.00 | 13000.00 | 20000.00 | 20000.00 | 16000.00 | 16000.00 | 13000.00 | Bharti Refrigeration Works
46.00 | Supply, Installation, testing, commissioning of table top weighing scale with follwing features; Operating Temperature: 0 to 50 deg C Accuracy: 2 g Weighing Capacity: 20 kg Warranty: 1 Year Display Type: Digital Battery Voltage: 6 V Frequency: 50 Hz Material: Stainless Steel Power Supply: Mains & Battery Operated complete as required as per technical specification. | 1.00 | Set |  | 3000.00 | 3000.00 | 9000.00 | 9000.00 | 6500.00 | 6500.00 | 3000.00 | Bharti Refrigeration Works
47.00 | Fabricating, Providing, Installing, Testing & Commissioning of SS Storage Rack 5 Tier of size 900mm x 500mm x 1800mm and Shelving shall be arranged as shown in the layout plan. 1800mm high overall on SS adjustable feet, constructed of 38mm x 38mm x 16 Gauge SS pipe. Each to have five shelves at equal distance of 18 Gauge SS with channels. Shelves to be bolted / fixed at each corner. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 5.00 | Set |  | 15000.00 | 75000.00 | 22000.00 | 110000.00 | 16000.00 | 80000.00 | 75000.00 | Bharti Refrigeration Works
48.00 | Fabricating, Providing, Installing, Testing & Commissioning of Mobile Ingredient Bin (Atta Maida Bin) of size ( 450mm x 600mm x 700mm). 18 Gauge Welded body constructions. All corners coved 20mm radius. 18 Gauge S.S. Half open able centre hinged lid with integral Handle. S.S. hat type channel Base. Four (4) No. 100mm High castor two with brakes. Rubber corner bumper on all four sides. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 4.00 | Set |  | 13500.00 | 54000.00 | 18000.00 | 72000.00 | 14000.00 | 56000.00 | 54000.00 | Bharti Refrigeration Works
49.00 | Fabricating, Providing, Installing, Testing & Commissioning of SS Dunnage Rack of size 1200mm x 600mm x 200mm with sectional 18 guage SS rods at equal distance ,500 high overall on SS adjustable feet, constructed of 38mm x 38mm x 16 Gauge SS pipe. Shelves to be bolted / fixed at each corner. All sheets to be pre-polished plastic coated 304 grade complete as required as per technical specification. | 2.00 | Set |  | 7000.00 | 14000.00 | 14500.00 | 29000.00 | 8000.00 | 16000.00 | 14000.00 | Bharti Refrigeration Works
50.00 | Fabricating, Providing, Installing, Testing & Commissioning of Platform Weighing Scale 600mm x 600mm x 900mm Freestanding electronic digital scale, S.S weighing platform of size approx. 550 mm w X 550 mm. Unit suitable to weigh up to 300 Kgs with 40 Gms increments, digital pillar mounted display, rechargeable battery backup , bottom structure is metal powder coated rust free Stainless steel platter. Electrical power-0.03 kw in 220-50-1ph including accessories Power cord. RS-232 Serial interface and complete complete as required as per technical specification. | 1.00 | Set |  | 7800.00 | 7800.00 | 14000.00 | 14000.00 | 12000.00 | 12000.00 | 7800.00 | Bharti Refrigeration Works
51.00 | Fabricating, Providing, Installing, Testing & Commissioning of Onion / Potato Bin of size 750mm x600mm x900mm, 25mm x 25mm 14 gauge stainelss steel outer frame work, have caster arrangements with lock and have proferation all around, have a false bottom, front, top rear & sides 4mm & 6mm thick stainelss steel wire mesh. In rectangular form with hinged lid on the top with locking arrangement. The stainless steel sheet will be perforated all over to dip potatoes and onion airy and fresh. The bins will be mounted on four nos. heavy castor wheels providing and placing in position of Onion Potatao Storage Bins complete as required as per technical specification. | 1.00 | Set |  | 14000.00 | 14000.00 | 18500.00 | 18500.00 | 14000.00 | 14000.00 | 14000.00 | Bharti Refrigeration Works, Muskan Equipments Co.
52.00 | Fabricating, Providing, Installing, Testing & Commissioning of SS Vegetable Rack 5 Tier of size 900mm x 500mm x 1800mm and Shelving shall be arranged as shown in the layout plan. 1800mm high overall on SS adjustable feet, constructed of 38mm x 38mm x 16 Gauge SS pipe. Each to have five shelves at equal distance of 18 Gauge SS with channels. Shelves to be bolted / fixed at each corner. All sheets to be pre-polished plastic coated 304 grade complete as required as per technical specification. | 3.00 | Set |  | 15000.00 | 45000.00 | 23000.00 | 69000.00 | 18000.00 | 54000.00 | 45000.00 | Bharti Refrigeration Works
53.00 | Supply , installation, testing & commissioning of 400 Ltrs deep freezer operable with AC 230 V, 50 Hz, temparature range < -18 degree C, PUF Thickness 60 mm, with UV grade plastic material for long lasting appearnce, door lock arrangement, anti corrosive body, caster wheel for easy mobility , spring loaded hinges for effortless usage with complete as required as per technical specification. | 2.00 | Set |  | 27400.00 | 54800.00 | 32500.00 | 65000.00 | 32000.00 | 64000.00 | 54800.00 | Bharti Refrigeration Works
54.00 | Fabrication , installation and testing of 9 compartment MS staff locker 2000mmx 600mmx 100 mm overll size with compartmentalised shelf complete as required as per technical specification. | 2.00 | Set |  | 19000.00 | 38000.00 | 10000.00 | 20000.00 | 24000.00 | 48000.00 | 20000.00 | J B Equipments
55.00 | Fabricating, Providing, Installing, Testing & Commissioning of Plat Pickup Counter of size 1100mm x 700mm + 300mm x 850mm. 18 Guase Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hut type welded channel frame work. 4 No. 38mm Dia. S.S. legs with adjustable bullet feet. Full width 18 Gauge S.S. Bottom shelves. 3 side Covering 20 Guase, All Sheets to Be Pre-Polished Plastic Coated 304 Grade S.S. and complete as required as per technical specification. | 2.00 | Set |  | 22500.00 | 45000.00 | 28000.00 | 56000.00 | 20000.00 | 40000.00 | 40000.00 | Muskan Equipments Co.
56.00 | Fabricating, Providing, Installing, Testing & Commissioning of Hot bain marie of size 2100mm x 675mm + 300mm x 850mm. (6 Nos. 1/1 GN Pan - 5 NOS HOT & 1 NO. NORMAL TEMP.) 18 Guase Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. 4 No. 38mm Dia. S.S. legs with adjustable bullet feet. Full width 18 Gauge S.S. Bottom shelves. 3 side Covering 20 Guase, bain marie double walled insulated puf type glass wool. Electric load: Heating element shall be 3 kw - 440 V -3Ø. There shall be water inlet of 12mm dia and waste connection with valve of 38mm dia. All sheets to be pr-polished plastic coated 304 grade S.S and complete as required as per technical specification. | 1.00 | Set |  | 60000.00 | 60000.00 | 76000.00 | 76000.00 | 65000.00 | 65000.00 | 60000.00 | Bharti Refrigeration Works
57.00 | Fabricating, Providing, Installing, Testing & Commissioning of Ambiant bain marie of size 800mm x 700mm + 300mm x 850mm. (2 Nos. 1/1 GN Pan) 18 Guase Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. 38mm Dia S.S. tubular legs, with S.S. adjustable bullet feet, All sheets to be pr- polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 27000.00 | 27000.00 | 18000.00 | 18000.00 | 24000.00 | 24000.00 | 18000.00 | J B Equipments
58.00 | Providing, Installing, Testing & Commissioning of display Unit (Refrigeration) of size (1200mm x 700 mm x 1300mm) 20 Gauge SS 304 Body. Internal temp +3 Deg C to + 14 Deg C. (Suitable temp for Pastry & Cake). Three (3) no. full length glass shelf. All interiors to be of S. S. Forced draft cooling. Light arrangement as per ID . With Humidity control. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 58000.00 | 58000.00 | 60000.00 | 60000.00 | 54000.00 | 54000.00 | 54000.00 | Muskan Equipments Co.
59.00 | Supply, installation, testing & commissioining of VISI cooler with pre-coated metallic inner and outer cabinet for durability and enhanced cooling ,Castor wheels for easy movement,Corrosion-free aluminium door frame,LED lighting for better visibility,Adjustable shelves,Eco-friendly refrigerant complete as required as per technical specification. | 1.00 | Set |  | 35000.00 | 35000.00 | 75000.00 | 75000.00 | 45000.00 | 45000.00 | 35000.00 | Bharti Refrigeration Works
60.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table With 2 under size of 1600mm x 600mm x 850+150mm, 150mm High Rear splash, 16 Gauge S.S. Top. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work. 4 No. 38mm x38mm S.S. square pipe legs with adjustable bullet feet. Full with 18 Gauge S.S. Bottom & middle shelves. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 2.00 | Set |  | 17500.00 | 35000.00 | 26000.00 | 52000.00 | 22000.00 | 44000.00 | 35000.00 | Bharti Refrigeration Works
61.00 | Fabricating, Providing, Installing, Testing & Commissioning of Work Table with Sink Unit of size 1350mm x 700mm x 850mm + 150mm , 16 Gauge S.S. Top. 150mm High Rear splash. Top and body secured 38mm x 38mm x 3mm Thick M.S. welded angle frame work, hat type welded channel frame work.. 4 no. 38mm Dia. S.S. legs. With S.S. adjustable bullet feet. Centre of unit One (1) no. 4500mm x 450mm x 300mm deep 16 Gauge. S.S. sink. with two under shelf 18 guase welded to legs at Rear. All sheets to be pr- polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 17000.00 | 17000.00 | 23000.00 | 23000.00 | 18000.00 | 18000.00 | 17000.00 | Bharti Refrigeration Works
62.00 | Fabricating, Providing, Installing, Testing & Commissioning of Salamander (Wall Mounted) of size 750 mm x 400 mm x 350 mm. S.S. Body construction. Complete with concealed fuel riser. Unit shell be Wall Mounted. S.S. Grid to be self spring adjustable at 3 locking positions with S.S. front & Back. Outer and internal 20 Gauge S.S. cladding. Suitably insulated, heating elements clamped on underside of top. high heat broiling thermostat. On-off controls on right. Electric Power:- 3.0 kw. Power Supply:- 220.50.1HP including accessories Power Cord with Plug including accessories. All sheets to be pr-polished plastic coated 304 grade complete as required as per technical specification. | 1.00 | Set |  | 113000.00 | 113000.00 | 115000.00 | 115000.00 | 16000.00 | 16000.00 | 16000.00 | Muskan Equipments Co.
63.00 | Supply & Insttalation of 20 Ltrs. solo MICROWAVE OVEN with maximum Output Power 700 Watt single phase 240V operable with reheating feature complete as required as per technical specification. | 43.00 | Set |  | 5800.00 | 249400.00 | 7000.00 | 301000.00 | 13500.00 | 580500.00 | 249400.00 | Bharti Refrigeration Works
64.00 | Supply & Installation of 1600W INDUCTION PLATE with 7 Pre-Defined Cooking,Soft-Touch Control with Digital Display,Higher Rated IGBT,Vessel Sensor & Auto Cut-Off,Timer 0-4 hrs,Efficient Cooling System Function complete as required as per technical specification. | 43.00 | Set |  | 2800.00 | 120400.00 | 3000.00 | 129000.00 | 2500.00 | 107500.00 | 107500.00 | Muskan Equipments Co.
65.00 | Supply, installation, testing , commissioning of minimum 195 Litres refrigerator toughened Glass Shelves 5 Star Energy Rating Reciprocatory Compressor Built-in Stabilizer Removable Gasket complete as required as per technical specification.( | 43.00 | Set |  | 12500.00 | 537500.00 | 20000.00 | 860000.00 | 13500.00 | 580500.00 | 537500.00 | Bharti Refrigeration Works
66.00 | Supply, installation, testing , commissioning of jumbo size twin flying insect killer made up of mild steel with 2 nos. 40W lamps with minimum size of 50"x 6.5"x 20" covering area upto 1000 sqft , suitable to collect the dead insects in the catchment tray at the bottom for easy disposal complete as required as per technical specification. | 5.00 | Nos. |  | 3100.00 | 15500.00 | 8500.00 | 42500.00 | 4500.00 | 22500.00 | 15500.00 | Bharti Refrigeration Works
67.00 | Supply, Installation, Testing and Commissioning of Air curtain of 1.2 mtr. (approx.) Length having ABS body, single speed, continuous rating motor & maximum noise level 55 dB suitable for operating on 230V +5%, 50 Hz AC supply including provision of control switchgears for interlocking / synchronizing the operation of sliding doors, etc. as required and as per enclosed specification. Note: Air curtain will be operational only when sliding gates are in open position. | 6.00 | Nos. |  | 15300.00 | 91800.00 | 23000.00 | 138000.00 | 18000.00 | 108000.00 | 91800.00 | Bharti Refrigeration Works
| Total in Figures |  |  |  |  | 3249800.00 |  | 4179000.00 |  | 3411800.00
Lowest Amount Quoted BY: Bharti Refrigeration Works(3249800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Combined Operational Offices for DGCA, BCAS, AAIB, AERA and AAI at Safdarjung Airport, New Delhi SH Provision of Kitchen Equipment Tender ID: 2022_AAI_139264_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bharti Refrigeration Works | 3249800.00 | L1
| 2 | Muskan Equipments Co. | 3411800.00 | L2
| 3 | J B Equipments | 4179000.00 | L3