## BoQ1
Government eProcurement System Created By: Nagendran M Created Date/Time: 21-Feb-2023 11:23 AM Tender Title: SITC of Fire alarm and Painting of power supply installations at Agatti Airport Tender ID: 2022_AAI_139900_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work: SITC of Fire alarm and Painting of Power Supply Installations at Agatti Airport.
Contract No: 2022_AAI_139900_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH I :- Painting of Power Supply Installations.
1.01 | Spray Painting of following Power Transformer with two coats of synthetic enamel paint of approved shade, quality and brand after cleaning the surface including scrapping, cleaning & providing putty/ primer wherever required on the surface before painting, marking of oil level, inscription of rating & feeder details after painting by sticker/ painting of approved colour as required and as per instructions of Engineer-In-Charge.
1.02 | 250 KVA Oil type Transformer (Approx. area per Job = 19 Sq.Mtrs) | 1.00 | Job |  | 2100.00 | 2100.00 | 2100.00 | CENTRE TAP ENGINEERING
2.00 | Spray Painting of HT & LT Panels at following Locations with two coats of synthetic enamel paint of approved shade, quality and brand after cleaning the surface including scrapping, cleaning and providing putty / Primer (only minor area) wherever required on the surface of panel, inscription of feeder details after painting by sticker/ painting of approved colour including providing masking by suitable means for all meter, relays & indication lamps before painting and cleaning of meters, relays & indication lamps after painting for removal of paint, if any as required and as per instructions of Engineer-In-Charge.
2.01 | Sub Station
2.02 | 11 KV 3 panels (Approx. area per Job =17.91 Sq.Mtrs) | 1.00 | Job |  | 1980.00 | 1980.00 | 1980.00 | CENTRE TAP ENGINEERING
2.03 | LT Essential Panel (Approx. area per Job = 15.01Sq.Mtrs) | 1.00 | Job |  | 1650.00 | 1650.00 | 1650.00 | CENTRE TAP ENGINEERING
2.04 | LT Non essential Panel (Approx. area per Job = 19.58 Sq.Mtrs) | 1.00 | Job |  | 2200.00 | 2200.00 | 2200.00 | CENTRE TAP ENGINEERING
2.05 | Capacitor panel - 30 KVAR (Approx. area per Job = 2.12 Sq.Mtrs) | 1.00 | Job |  | 235.00 | 235.00 | 235.00 | CENTRE TAP ENGINEERING
2.06 | LT AMF Panel (Approx. area per Job = 6.58 Sq.Mtrs) | 1.00 | Job |  | 725.00 | 725.00 | 725.00 | CENTRE TAP ENGINEERING
2.07 | Technical Building
2.08 | Switch room essential panel (Approx. area per Job = 7.66 Sq.Mtrs) | 1.00 | Job |  | 845.00 | 845.00 | 845.00 | CENTRE TAP ENGINEERING
2.09 | Switch room non essential panel (Approx. area per Job = 7.66 Sq.Mtrs) | 1.00 | Job |  | 845.00 | 845.00 | 845.00 | CENTRE TAP ENGINEERING
2.10 | Near fire station panel (Approx. area per Job = 2.60 Sq.Mtrs) | 1.00 | Job |  | 280.00 | 280.00 | 280.00 | CENTRE TAP ENGINEERING
2.11 | Essential DB First Floor ATC (Approx. area per Job = 0.51 Sq.Mtrs) | 1.00 | Job |  | 50.00 | 50.00 | 50.00 | CENTRE TAP ENGINEERING
2.12 | Remote control desk In ATC Tower (Approx. area per Job = 3.07 Sq.Mtrs) | 1.00 | Job |  | 335.00 | 335.00 | 335.00 | CENTRE TAP ENGINEERING
2.13 | Operational Area
2.14 | Starter panel near fire well (Approx. area per Job = 2.60 Sq.Mtrs) | 1.00 | Job |  | 280.00 | 280.00 | 280.00 | CENTRE TAP ENGINEERING
2.15 | Runway LT feeder Outdoor type panel- 1 No (Approx. area per Job = 2.76 Sq.Mtrs) | 1.00 | Job |  | 300.00 | 300.00 | 300.00 | CENTRE TAP ENGINEERING
2.16 | Runway LT feeder pillar Outdoor type Neptune panel.- 4 No.s (Approx. area per Job = 3.52 Sq.Mtrs) | 1.00 | Job |  | 440.00 | 440.00 | 440.00 | CENTRE TAP ENGINEERING
2.17 | AAI Residential Colony
2.18 | Starter panel (Approx. area per Job = 2.60 Sq.Mtrs) | 1.00 | Job |  | 280.00 | 280.00 | 280.00 | CENTRE TAP ENGINEERING
2.19 | Terminal building
2.20 | Arrival hall (Approx. area per Job = 1.86 Sq.Mtrs) | 1.00 | Job |  | 200.00 | 200.00 | 200.00 | CENTRE TAP ENGINEERING
2.21 | CCR
2.22 | CCR remote connector box(Approx. area per Job = 0.66 Sq.Mtrs) | 1.00 | Job |  | 70.00 | 70.00 | 70.00 | CENTRE TAP ENGINEERING
2.23 | Runway 1,2, APAPI 22 and APAPI 04 (Approx. area per Job = 5.17 Sq.Mtrs) | 1.00 | Job |  | 570.00 | 570.00 | 570.00 | CENTRE TAP ENGINEERING
2.24 | Taxiway CCR (Approx. area per Job = 3.68 Sq.Mtrs) | 1.00 | Job |  | 400.00 | 400.00 | 400.00 | CENTRE TAP ENGINEERING
2.25 | Various locations as required. | 50.00 | sq.mtr |  | 105.00 | 5250.00 | 5250.00 | CENTRE TAP ENGINEERING
3.00 | Painting of Chequered Plate cover of cable trench, MS angle / channel supports / LT Panel of various equipments with two coats of synthetic enamel paint of approved shade, quality and brand after cleaning the surface including scrapping, cleaning and providing putty/ primer wherever required on the surface before painting as required and as per instructions of Engineer-In-Charge.
3.01 | Power House | 30.00 | sq.mtr |  | 105.00 | 3150.00 | 3150.00 | CENTRE TAP ENGINEERING
4.00 | Repair of brick works of existing earth pits and replacing CI/MS cover plate, Funnel etc as required. | 10.00 | Job |  | 5600.00 | 56000.00 | 56000.00 | CENTRE TAP ENGINEERING
5.00 | Supply, replacement, Testing and commissioning of Four pole On load change over switch of 250 Amps rating with MS Enclosure, in the existing wall, including providing Handle, providing LED Display for inputs and Output, suitable Bus Links for both at Input & Output Side, grouting, earthing etc., as required. | 1.00 | Job |  | 18850.00 | 18850.00 | 18850.00 | CENTRE TAP ENGINEERING
6.00 | SH-II: Fire Fighting and Fire alaram associated works
6.01 | Supply, installation, testing and commissioning of UL/ LPCB/ FM/ EN54 Listed Analogue Addressable type Optical Smoke Detector complete with all accessories like base, base box, etc. (with flash scan ) to be installed under/above false ceiling, roof and concealed space, etc. interconnecting to loop cable complete in all respects as required by the standard specifications. | 12.00 | Nos. |  | 4850.00 | 58200.00 | 58200.00 | CENTRE TAP ENGINEERING
7.00 | Supply, installation, testing and commissioning of Listed Response Indicators outside the rooms for getting fire indications of detectors installed above false ceiling area / inside the rooms interconnecting to loop cable complete in all respects as required by the standard specifications. | 2.00 | Nos. |  | 550.00 | 1100.00 | 1100.00 | CENTRE TAP ENGINEERING
8.00 | Supply, installation, testing and commissioning of UL/ LPCB/FM/ EN54 Listed addressable loop Isolators to protect one area or a number of devices with complete set to be installed under/above false ceiling, roof, concealed space, wall, etc. interconnecting to loop cable complete in all respects as required by the standard specifications. | 2.00 | Nos. |  | 3900.00 | 7800.00 | 7800.00 | CENTRE TAP ENGINEERING
9.00 | Supply, installation, testing and commissioning of UL Listed Addressable type Manual Call Point (break glass type/pull type) complete with Input Module, push button, enclosed in box with provision for cable or conduit coupling etc.complete in all respects as required by the standard specifications. The unit to be painted fire red outside, white inside. | 2.00 | Nos. |  | 4800.00 | 9600.00 | 9600.00 | CENTRE TAP ENGINEERING
10.00 | Providing, installing, testing and commissioning of UL/ LPCB/FM/ EN54 listed Hooter cum Strobe with Base plate complete in all respects as required by the standard specifications. | 1.00 | Nos. |  | 4750.00 | 4750.00 | 4750.00 | CENTRE TAP ENGINEERING
11.00 | Providing, installing, testing and commissioning of UL/ LPCB/FM/ EN54 listed control module for Hooter cum Strobe with Base plate complete in all respects as required by the standard specifications. | 1.00 | Nos. |  | 3900.00 | 3900.00 | 3900.00 | CENTRE TAP ENGINEERING
12.00 | Supply of 2CX1.5 Sq.mm insulated FRLS armoured copper cable for control cabling of Fire detection and alarm devices as required by the standard specifications. | 40.00 | Mtrs |  | 145.00 | 5800.00 | 5800.00 | CENTRE TAP ENGINEERING
13.00 | laying/fixing, termination etc. of following size insulated FRLS armoured copper cable in surface/ recess / above false ceiling /concealed space/wall/pipe/trench concealed, etc. for control cabling of Fire detection and alarm devices and interconnecting them by 2 x 1.5 sq mm etc complete in all respects as required by the standard specifications. | 200.00 | Mtrs |  | 55.00 | 11000.00 | 11000.00 | CENTRE TAP ENGINEERING
14.00 | Trans installation of intelligent addressable Fire alram panel from existing room to new fire control room including dismantling, shifting, fixing of panel, terminaion of cables, configuring with new devices devices etc., complete as required and as per direction of Engineer - In - Charge. | 1.00 | Job |  | 56000.00 | 56000.00 | 56000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 255185.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(255185.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Fire alarm and Painting of power supply installations at Agatti Airport Tender ID: 2022_AAI_139900_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 255185.00 | L1