## BoQ1
Government eProcurement System Created By: Anil kumar J Created Date/Time: 01-Feb-2023 04:24 PM Tender Title: O and M of E and M Installations at Power House, OTB, Ancillary Buildings, Perimeter Lighting and Residential Colony, AMC of Solar Powered Obstacle Lights at various hills at Tirupati Airport for 2 Years. Tender ID: 2022_AAI_139906_1
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Tirupati Airport.
Name of Work: ARMO works 2022 -24. Sub Head: O & M of E & M Installations at Power House, OTB, Ancillary Buildings, Perimeter Lighting and Residential Colony & AMC of Solar Powered Obstacle Lights at various hills at Tirupati Airport for 2 Years.
Contract No: AAI/TPT/ENGG [E]/M-17/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job Contract for Operation and Maintenance of Electrical and Mechanical installations at 33/0.433KV Power house, NAV-AIDS, Ground Lighting Facilities, Fire Station, MT section including minor additions and alterations as directed by Engineer-in-charge on all days including Sundays and Holidays as per Special Conditions of Contract attached. | 24.00 | Month | 0.00 | 252500.00 | 6060000.00 | 292730.00 | 7025520.00 | 301349.00 | 7232376.00 | 280000.00 | 6720000.00 | 290000.00 | 6960000.00 | 305666.00 | 7335984.00 | 315382.00 | 7569168.00 | 6060000.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.00 | Job Contract for Operation and Maintenance of Electrical and Mechanical installations at Old Terminal Buliding (OTB), Technical Block & Pump House, Perimeter lighting and CISF Barracks including minor additions and alterations as directed by Engineer-in-charge on all days including Sundays and Holidays as per Special Conditions of Contract attached. | 24.00 | Month | 0.00 | 170100.00 | 4082400.00 | 194971.00 | 4679304.00 | 224630.00 | 5391120.00 | 210000.00 | 5040000.00 | 198000.00 | 4752000.00 | 198133.00 | 4755192.00 | 207981.00 | 4991544.00 | 4082400.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.00 | Job Contract for Operation and Maintenance of Electrical and Mechanical installations at AAI Residential Colony including minor additions and alterations as directed by Engineer-in-charge on all days including Sundays and Holidays as per Special Conditions of Contract attached. | 24.00 | Month | 0.00 | 49500.00 | 1188000.00 | 56830.00 | 1363920.00 | 94537.00 | 2268888.00 | 55000.00 | 1320000.00 | 56000.00 | 1344000.00 | 61336.00 | 1472064.00 | 51894.00 | 1245456.00 | 1188000.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.00 | Job contract for Operation and Maintenance of Fire detection & Alarm system and Fire Hydrant System at Old Terminal Buliding (OTB), Technical Block and NAV-AIDS including minor additions and alterations as directed by Engineer-in-charge on all days including Sundays and Holidays as per Special Conditions of Contract attached. | 24.00 | Month | 0.00 | 53700.00 | 1288800.00 | 63875.00 | 1533000.00 | 85124.00 | 2042976.00 | 75000.00 | 1800000.00 | 66000.00 | 1584000.00 | 66878.00 | 1605072.00 | 57343.00 | 1376232.00 | 1288800.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.00 | Job Contract for routine Maintenance / servicing / monitoring of serviceability of Solar Powered Obstacle Light(SPOL) and attending breakdown servicing provided at following 5 Hill tops : SPOL Hills upto 500 Mtr. Height i.Gopalagutta ii. Suddhakalva-I iii. Suddhakalva-II iv. Kuppuchandrapeta v. Karakambadi | 120.00 | Job | 0.00 | 1800.00 | 216000.00 | 2500.00 | 300000.00 | 3000.00 | 360000.00 | 1000.00 | 120000.00 | 3600.00 | 432000.00 | 3000.00 | 360000.00 | 3999.00 | 479880.00 | 120000.00 | M/s BHARAT ELECTRIC, NAGPUR
6.00 | Job contract for routine Maintenance / servicing / monitoring of serviceability of Solar Powered Obstacle Light(SPOL) and attending breakdown servicing provided at following 7 Hill tops : SPOL Hills above 500 Mtr. Height i.Erpedu ii.Kandadu Konda iii.Sanambatla Konda [Pedda Durga] iv.Tirupati [Gantamandapam] v.Sadasiva Konda vi.Rangaswamy Konda vii.Battanaiah Konda | 168.00 | Job | 0.00 | 1700.00 | 285600.00 | 4500.00 | 756000.00 | 4000.00 | 672000.00 | 1000.00 | 168000.00 | 3600.00 | 604800.00 | 3000.00 | 504000.00 | 3999.00 | 671832.00 | 168000.00 | M/s BHARAT ELECTRIC, NAGPUR
7.00 | Testing of stack DG set (750KVA DG set / 62.5 KVA DG set / 25KVA DG set / 10KVA DG set / 61KW DG fire pump) for Stack emissions of NOx, NMHC, PM, CO, SO2 under Environmental Monitoring Services and submission of test analysis reports as per CPCB, MoE&F, GOI. | 28.00 | Job | 0.00 | 1800.00 | 50400.00 | 10000.00 | 280000.00 | 3600.00 | 100800.00 | 2000.00 | 56000.00 | 2200.00 | 61600.00 | 3500.00 | 98000.00 | 1299.00 | 36372.00 | 36372.00 | DElite System Engineering (India) Pvt. Ltd.
8.00 | Supply of Silica gel crystals for Power Transformer as and when required. | 34.00 | Kg | 0.00 | 300.00 | 10200.00 | 450.00 | 15300.00 | 360.00 | 12240.00 | 250.00 | 8500.00 | 400.00 | 13600.00 | 850.00 | 28900.00 | 500.00 | 17000.00 | 8500.00 | M/s BHARAT ELECTRIC, NAGPUR
9.00 | Testing of transformer oil sample with H.T. B.D.V Kit and submission of test certificate etc. as required. | 10.00 | Job | 0.00 | 350.00 | 3500.00 | 2500.00 | 25000.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 400.00 | 4000.00 | 1250.00 | 12500.00 | 999.00 | 9990.00 | 3500.00 | LAKSHMI ELECTRICAL ENTERPRISES
10.00 | Supply of Transformer Oil complies to IS 335-1993 and latest amendments upto date for Top up of 2 MVA, 33KV/433V Transformers with OLTC and 100KVA, 11KV/433V Transformers, as required. | 200.00 | Ltr | 0.00 | 140.00 | 28000.00 | 135.00 | 27000.00 | 200.00 | 40000.00 | 110.00 | 22000.00 | 160.00 | 32000.00 | 160.00 | 32000.00 | 149.00 | 29800.00 | 22000.00 | M/s BHARAT ELECTRIC, NAGPUR
11.00 | Dehydration/filteration of transformer oil to attain acceptable di-electric strength by hot streamline process for 33/0.433kV indoor transformers and 11/0.433kV Outdoor Transformer including transportation of filteration equipment, submission of BDV test reports etc. as required. i) 2x2MVA Transformers-(2420 Ltr per each) ii) 2xOLTC-(700 Ltr per each) iii) 1x100KVA Transformer-(400 Ltr per each) | 13280.00 | Ltr | 0.00 | 5.00 | 66400.00 | 11.80 | 156704.00 | 10.00 | 132800.00 | 10.00 | 132800.00 | 6.00 | 79680.00 | 12.00 | 159360.00 | 5.00 | 66400.00 | 66400.00 | LAKSHMI ELECTRICAL ENTERPRISES, DElite System Engineering (India) Pvt. Ltd.
12.00 | Job contract for servicing of On-Load tap Changer (Make: CTR) used for 33/0.433KV, Transformer including removal of oil, cleaning of selector switch (for removal of carbon), tightning of all loose connections, cleaning of OLTC tank and re-filling of fresh/filtered oil having suitable BDV to the required level and complete as required. (New Oil shall be supplied by AAI, incase of topup requirement). | 4.00 | Job | 0.00 | 6100.00 | 24400.00 | 8500.00 | 34000.00 | 12500.00 | 50000.00 | 7500.00 | 30000.00 | 6000.00 | 24000.00 | 14000.00 | 56000.00 | 5999.00 | 23996.00 | 23996.00 | DElite System Engineering (India) Pvt. Ltd.
13.00 | Calibration and testing of following relays at 33KV H.T.Panel using Relay testing kit / primary / secondary injection kit including transportation of testing kits, adjustment of plug settings, if any and submission of test reports etc. i) Overcurrent & Earth fault relay: 7 Nos. ii) Trip Circuit Supervision Relay: 7 Nos. iii) Transformer Auxiliary Relay: 4 Nos. | 2.00 | Set | 0.00 | 30000.00 | 60000.00 | 45000.00 | 90000.00 | 20000.00 | 40000.00 | 10000.00 | 20000.00 | 25000.00 | 50000.00 | 25000.00 | 50000.00 | 27000.00 | 54000.00 | 20000.00 | M/s BHARAT ELECTRIC, NAGPUR
14.00 | Annual Service Contract of Kirloskar make, 33KV, Vaccum Circuit Breakers (VCB) of capacity 1250A (Total: 7 Nos) by carring out preventive maintenance checks (once in a year) as per OEM's recommendations and as per Special conditions of contract attached. (Service contract is excluding spares.) (Note: One Job refers to One Yearly visit) | 2.00 | Job | 0.00 | 40500.00 | 81000.00 | 52500.00 | 105000.00 | 50000.00 | 100000.00 | 45000.00 | 90000.00 | 50000.00 | 100000.00 | 70000.00 | 140000.00 | 49000.00 | 98000.00 | 81000.00 | LAKSHMI ELECTRICAL ENTERPRISES
15.00 | Job contract for attending breakdown service for Kirloskar make, 33KV, Vaccum Circuit Breakers (VCB) of capacity 1250A (Qty: 1 No)as per OEM's recommendations and as per Special Conditions of Contract attached. (Service contract is excluding spares.) | 4.00 | Job | 0.00 | 7500.00 | 30000.00 | 5000.00 | 20000.00 | 7500.00 | 30000.00 | 6100.00 | 24400.00 | 10000.00 | 40000.00 | 11500.00 | 46000.00 | 7299.00 | 29196.00 | 20000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
16.00 | Annual Service Contract of ABB make Low Voltage Air Ciruit Breakers (ACB) of capacities ranging from 800A to 3200A (Model: SACE Emax, Total: 31 Nos) by carring out preventive maintenance checks (once in six months) as per OEM's recommendations and attending breakdown calls as and when required and as per Special conditions of contract attached.(Service contract is excluding spares.) (Note: One Job refers to One Halfyearly visit) | 4.00 | Job | 0.00 | 18500.00 | 74000.00 | 77500.00 | 310000.00 | 72500.00 | 290000.00 | 75000.00 | 300000.00 | 160000.00 | 640000.00 | 77500.00 | 310000.00 | 154969.00 | 619876.00 | 74000.00 | LAKSHMI ELECTRICAL ENTERPRISES
17.00 | Comprehensive Maintenance contract of 5KVA UPS system (Make: M/s Power One Microsystems Pvt.Ltd., Model: PMP502R30, Machine No. 20190500446) with Quarterly preventive maintenance services and attending breakdowns as and when required etc. as per the special conditions attached. (Note: The CMC shall be inclusive of necessary spares/consumables and excluding batteries) (Note: One Job refers to One Quarterly visit) | 8.00 | Job | 0.00 | 5100.00 | 40800.00 | 8500.00 | 68000.00 | 3000.00 | 24000.00 | 5000.00 | 40000.00 | 6600.00 | 52800.00 | 6000.00 | 48000.00 | 4999.00 | 39992.00 | 24000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
18.00 | Calibration of Digital Earth Clamp tester (Make: MECO, Model: 4680BLC, Sr.No. 360103) through NABL accredited laboratory and submission of reports | 2.00 | Job | 0.00 | 3500.00 | 7000.00 | 1500.00 | 3000.00 | 900.00 | 1800.00 | 2500.00 | 5000.00 | 2800.00 | 5600.00 | 935.00 | 1870.00 | 3999.00 | 7998.00 | 1800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
19.00 | Calibration of Digital Lux meter (Make: MECO, Model: 930T, Sr.No. 20171228489) through NABL accredited laboratory and submission of reports. | 2.00 | Job | 0.00 | 4500.00 | 9000.00 | 1500.00 | 3000.00 | 900.00 | 1800.00 | 2500.00 | 5000.00 | 2800.00 | 5600.00 | 935.00 | 1870.00 | 3999.00 | 7998.00 | 1800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
20.00 | Calibration of Clinometer (Make: AMA Pvt.Ltd., MK-III, Sr.No. 244/18) through NABL accredited laboratory and submission of reports | 2.00 | Job | 0.00 | 2500.00 | 5000.00 | 15000.00 | 30000.00 | 900.00 | 1800.00 | 2500.00 | 5000.00 | 2800.00 | 5600.00 | 13125.00 | 26250.00 | 3299.00 | 6598.00 | 1800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
21.00 | Supply of Double side/Twin Step Self-support Aluminium heavy duty ladder of 6 Feet height and material made up of aluminum alloy ‘C’ Section 66 x 32 x 3.18 mm thickness He30 Grade and suitable number of 65 mm wide x 3.18mm thick ribbed non-slip flat steps, anti-slip rubber shoes on all legs etc, complete as required. | 1.00 | Each | 0.00 | 6200.00 | 6200.00 | 7500.00 | 7500.00 | 10000.00 | 10000.00 | 4950.00 | 4950.00 | 10000.00 | 10000.00 | 8000.00 | 8000.00 | 7299.00 | 7299.00 | 4950.00 | M/s BHARAT ELECTRIC, NAGPUR
22.00 | Supply of Double side/Twin Step Self-support Aluminium heavy duty ladder of 10 Feet height and material made up of aluminum alloy ‘C’ Section 66 x 32 x 3.18 mm thickness He30 Grade and suitable number of 65 mm wide x 3.18mm thick ribbed non-slip flat steps, anti-slip rubber shoes on all legs etc, complete as required. | 2.00 | Each | 0.00 | 8500.00 | 17000.00 | 8500.00 | 17000.00 | 15000.00 | 30000.00 | 6500.00 | 13000.00 | 15000.00 | 30000.00 | 12000.00 | 24000.00 | 9000.00 | 18000.00 | 13000.00 | M/s BHARAT ELECTRIC, NAGPUR
23.00 | Supply & fixing HT danger notice plate of 250 mm x 200mm, made of mild steel sheet of at least 2mm thick & vitreous enamelled white on both sides and with inscription in signal red colour on front side as required. (33 kV) | 10.00 | Each | 0.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 900.00 | 9000.00 | 250.00 | 2500.00 | 600.00 | 6000.00 | 550.00 | 5500.00 | 599.00 | 5990.00 | 2500.00 | LAKSHMI ELECTRICAL ENTERPRISES, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, M/s BHARAT ELECTRIC, NAGPUR
24.00 | Supply & fixing MV danger notice plate of 200 mm x 200mm, made of mild steel sheet of at least 2mm thick & vitreous enamelled white on both sides and with inscription in signal red colour on front side as required. | 5.00 | Each | 0.00 | 250.00 | 1250.00 | 250.00 | 1250.00 | 900.00 | 4500.00 | 250.00 | 1250.00 | 600.00 | 3000.00 | 550.00 | 2750.00 | 599.00 | 2995.00 | 1250.00 | LAKSHMI ELECTRICAL ENTERPRISES, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, M/s BHARAT ELECTRIC, NAGPUR
25.00 | Painting (two or more coats) on Elevated type, Air-field light fittings viz. edge / approach / end / threshold lights with synthetic enamel paint of approved brand and manufacture and required colour including making numbering and complete as required. | 600.00 | Job | 0.00 | 150.00 | 90000.00 | 150.00 | 90000.00 | 400.00 | 240000.00 | 150.00 | 90000.00 | 100.00 | 60000.00 | 100.00 | 60000.00 | 99.00 | 59400.00 | 59400.00 | DElite System Engineering (India) Pvt. Ltd.
26.00 | Painting (two or more coats) on existing street light pole (Approx. 8m Ht.)with synthetic enamel paint of approved brand and manufacture and required colour including making numbering for each pole at Tirupati Airport and complete as required. | 54.00 | Job | 0.00 | 700.00 | 37800.00 | 100.00 | 5400.00 | 2000.00 | 108000.00 | 250.00 | 13500.00 | 600.00 | 32400.00 | 700.00 | 37800.00 | 999.00 | 53946.00 | 5400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
27.00 | Painting (two or more coats) on existing street light pole (Approx. 5m Ht.)with synthetic enamel paint of approved brand and manufacture and required colour including making numbering for each pole at AAI Residential Colony and complete as required. | 34.00 | Job | 0.00 | 450.00 | 15300.00 | 80.00 | 2720.00 | 1500.00 | 51000.00 | 150.00 | 5100.00 | 400.00 | 13600.00 | 500.00 | 17000.00 | 699.00 | 23766.00 | 2720.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
28.00 | Providing manpower to attend any urgent/emergency/contingency work etc. as required and as per the direction of E-I-C. |  |  | 0.00
28.10 | Skilled manpower | 60.00 | Days | 0.00 | 825.00 | 49500.00 | 690.00 | 41400.00 | 675.00 | 40500.00 | 750.00 | 45000.00 | 700.00 | 42000.00 | 671.00 | 40260.00 | 700.00 | 42000.00 | 40260.00 | ABHISHEK INTEGRATIONS LIMITED
28.20 | Un-skilled manpower | 60.00 | Days | 0.00 | 600.00 | 36000.00 | 500.00 | 30000.00 | 480.00 | 28800.00 | 550.00 | 33000.00 | 550.00 | 33000.00 | 477.00 | 28620.00 | 700.00 | 42000.00 | 28620.00 | ABHISHEK INTEGRATIONS LIMITED
29.00 | Providing of JCB on hiring basis for any urgent /emergency works at Tirupati Airport including Operational area.The scope covers Hiring of JCB on hourly basis including Mobilization charges, driver bata,etc. | 200.00 | Hours | 0.00 | 800.00 | 160000.00 | 1250.00 | 250000.00 | 750.00 | 150000.00 | 1200.00 | 240000.00 | 1000.00 | 200000.00 | 1000.00 | 200000.00 | 1199.00 | 239800.00 | 150000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
30.00 | Providing of Crane (14Ton) on hiring basis for any urgent /emergency works at Tirupati Airport including Operational area.The scope covers hiring of Crane on hourly basis including Mobilization charges, driver bata,etc. | 20.00 | Hours | 0.00 | 1100.00 | 22000.00 | 2000.00 | 40000.00 | 1000.00 | 20000.00 | 1750.00 | 35000.00 | 1000.00 | 20000.00 | 2000.00 | 40000.00 | 1199.00 | 23980.00 | 20000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD., KALKI ELECTRICALS
31.00 | Execution of any item of work as per CPWD Delhi Schedule of Rates (E&M)-2022 as and when required. | 200000.00 | % | 0.00 | 1.00 | 200000.00 | .75 | 150000.00 | 1.00 | 200000.00 | .60 | 120000.00 | .80 | 160000.00 | .87 | 174000.00 | .95 | 190000.00 | 120000.00 | M/s BHARAT ELECTRIC, NAGPUR
| Total in Figures |  |  |  |  | 14248050.00 |  | 17462518.00 |  | 19699400.00 |  | 16520000.00 |  | 17401280.00 |  | 17680992.00 |  | 18090504.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(14248050.00)

## BOQ Summary
BOQ Summary Details Tender Title: O and M of E and M Installations at Power House, OTB, Ancillary Buildings, Perimeter Lighting and Residential Colony, AMC of Solar Powered Obstacle Lights at various hills at Tirupati Airport for 2 Years. Tender ID: 2022_AAI_139906_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 14248050.00 | L1
| 2 | M/s BHARAT ELECTRIC, NAGPUR | 16520000.00 | L2
| 3 | KALKI ELECTRICALS | 17401280.00 | L3
| 4 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 17462518.00 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED | 17680992.00 | L5
| 6 | DElite System Engineering (India) Pvt. Ltd. | 18090504.00 | L6
| 7 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 19699400.00 | L7