## BoQ1
Government eProcurement System Created By: Chandresh Vanzara Created Date/Time: 15-Feb-2023 05:02 PM Tender Title: Special Repair of Fire Station, Control Tower and boundary wall (including repainting) at Surat Airport Tender ID: 2022_AAI_139912_1
Tender Inviting Authority: Asstt. General Manager (Engg-Civil), AAI, Surat Airport, Surat
Name of Work: Special Repair of Fire Station, Control Tower & Boundary wall (including Repainting) at Surat Airport.
Contract No: 2022_AAI_139912_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | J K BUILDERS(GSTN-24AAOFM4186F1Z3) |  | Om Construction(GSTN-24AIIPP4526E2ZD)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works: Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 25.00 | cum |  | 8670.00 | 216750.00 | 6800.00 | 170000.00 | 170000.00 | Om Construction
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 21.00 | cum |  | 7600.00 | 159600.00 | 5800.00 | 121800.00 | 121800.00 | Om Construction
3.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 4.00 | cum |  | 12200.00 | 48800.00 | 9000.00 | 36000.00 | 36000.00 | Om Construction
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 240.00 | Sqm |  | 730.00 | 175200.00 | 350.00 | 84000.00 | 84000.00 | Om Construction
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Columns, Pillars, Piers, Abutments, Posts and Struts | 20.00 | sqm |  | 965.00 | 19300.00 | 440.00 | 8800.00 | 8800.00 | Om Construction
6.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level: Thermo-Mechanically Treated bars of grade Fe-500D or more. | 560.00 | Kg |  | 105.00 | 58800.00 | 98.00 | 54880.00 | 54880.00 | Om Construction
7.00 | Brick work with common burnt clay machine moulded perforated bricks of class designation 12.5 conforming to IS: 2222 in superstructure above plinth level up to floor five level in cement mortar 1:6 (1 cement : 6 coarse sand) : With F.P.S.(non modular) bricks | 55.00 | cum |  | 9650.00 | 530750.00 | 8900.00 | 489500.00 | 489500.00 | Om Construction
8.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 10.00 | cum |  | 10200.00 | 102000.00 | 8900.00 | 89000.00 | 89000.00 | Om Construction
9.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level: Cement mortar 1:4 (1 cement :4 coarse sand) | 12.00 | Sqm |  | 1220.00 | 14640.00 | 800.00 | 9600.00 | 9600.00 | Om Construction
10.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 30.00 | sqm |  | 2260.00 | 67800.00 | 3500.00 | 105000.00 | 67800.00 | J K BUILDERS
11.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 150.00 | kg |  | 100.00 | 15000.00 | 116.00 | 17400.00 | 15000.00 | J K BUILDERS
12.00 | Supplying and fixing rolling shutters of approved make, made of requiredsize M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. 80x1.25 mm M.S. laths with 1.25 mm thick top cover | 450.00 | sqm |  | 3600.00 | 1620000.00 | 4040.00 | 1818000.00 | 1620000.00 | J K BUILDERS
13.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. Exceeding 16.80 sqm in area | 450.00 | sqm |  | 1350.00 | 607500.00 | 1700.00 | 765000.00 | 607500.00 | J K BUILDERS
14.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete: Electric resistance or induction butt welded tubes | 1100.00 | Kg |  | 170.00 | 187000.00 | 125.00 | 137500.00 | 137500.00 | Om Construction
15.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 120.00 | Kg |  | 106.00 | 12720.00 | 125.00 | 15000.00 | 12720.00 | J K BUILDERS
16.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 300.00 | Kg |  | 735.00 | 220500.00 | 890.00 | 267000.00 | 220500.00 | J K BUILDERS
17.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). Dark shade pigment using ordinary cement | 130.00 | sqm |  | 1180.00 | 153400.00 | 800.00 | 104000.00 | 104000.00 | Om Construction
18.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 30.00 | Sqm |  | 2450.00 | 73500.00 | 1700.00 | 51000.00 | 51000.00 | Om Construction
19.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 25.00 | Sqm |  | 1120.00 | 28000.00 | 980.00 | 24500.00 | 24500.00 | Om Construction
20.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 60.00 | sqm |  | 1130.00 | 67800.00 | 980.00 | 58800.00 | 58800.00 | Om Construction
21.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 220.00 | Sqm |  | 1700.00 | 374000.00 | 1250.00 | 275000.00 | 275000.00 | Om Construction
22.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 15.00 | sqm |  | 1760.00 | 26400.00 | 1250.00 | 18750.00 | 18750.00 | Om Construction
23.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately): Size of Tile 600x600 mm | 16.00 | Sqm |  | 2010.00 | 32160.00 | 1250.00 | 20000.00 | 20000.00 | Om Construction
24.00 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturerin all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 60.00 | Sqm |  | 1850.00 | 111000.00 | 1250.00 | 75000.00 | 75000.00 | Om Construction
25.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 75 mm diameter | 21.00 | Metre |  | 255.00 | 5355.00 | 305.00 | 6405.00 | 5355.00 | J K BUILDERS
26.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 75x75x75 mm | 10.00 | Each |  | 170.00 | 1700.00 | 350.00 | 3500.00 | 1700.00 | J K BUILDERS
27.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 75 mm bend | 7.00 | Each |  | 160.00 | 1120.00 | 350.00 | 2450.00 | 1120.00 | J K BUILDERS
28.00 | Providing & fixing false ceiling at all height including providing & fixing of framework made of special section, power pressed from M.S. sheets and galvanised with zinc coating of 120 gms/ sqm (both side inclusive) as per IS : 277 and consisting of angle cleat of size 25mm wide x 1.6mm thick with flanges of 27mm and 37mm, at 1200mm c/c, one flange fixed to the ceiling with dash fastener 12.5mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25 x10 x0.50mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I chanels 45 x15 x 0.90mm running at the spacing of 1200 mm c/c, to which the ceiling section 0.5mm thickbottom wedge of 80mm with tapered flanges of 26 mm each having lips of 10.5mm, at 450mm c/c, shall be fixed in a direction perpendicular to G.I intermediate channel with connecting clip made out of 2.64mm dia x 230mm long G.I wire at every junction, including fixing perimeter channels 0.50mm thick 27mm high having flanges of 20mm and 30mm long, the perimeter of ceiling fixed to wall/ partitions with the help of Rawl plugs at 450mm centre, with 25mm long dry wall screws @ 230mm interval, including fixing of Calcium Silicate Board to ceiling section and perimeter channels with the help of dry wall screws of size 3.5 x25mm at 230mm c/c, including jointing & finishing to a flush finish of tapered and square edges of the board with recommended jointing compounds, jointing tapes,finishing with jointing compounds in three layers covering upto 150mm on both sides of joints and two coats of primer suitable for boards, all as per manufacture's specification and also including the cost of making opening for light fittings, grills, diffusers, cut outs made with frame of perimeter channels suitably fixed, all complete as per drawings, specificaton and direction of the Engineer in charge but excluding the cost of painting with: 12.5 mm thick tapered edge gypsum moisture resistant board | 75.00 | Sqm |  | 1560.00 | 117000.00 | 1430.00 | 107250.00 | 107250.00 | Om Construction
29.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 310.00 | Sqm |  | 800.00 | 248000.00 | 710.00 | 220100.00 | 220100.00 | Om Construction
30.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 20.00 | Metre |  | 550.00 | 11000.00 | 503.00 | 10060.00 | 10060.00 | Om Construction
31.00 | Providing & fixing false ceiling at all height including providing & fixing of framework made of special section, power pressed from M.S. sheets and galvanised with zinc coating of 120 gms/ sqm (both side inclusive) as per IS : 277 and consisting of angle cleat of size 25mm wide x 1.6mm thick with flanges of 27mm and 37mm, at 1200mm c/c, one flange fixed to the ceiling with dash fastener 12.5mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25 x10 x0.50mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I chanels 45 x15 x 0.90mm running at the spacing of 1200 mm c/c, to which the ceiling section 0.5mm thickbottom wedge of 80mm with tapered flanges of 26 mm each having lips of 10.5mm, at 450mm c/c, shall be fixed in a direction perpendicular to G.I intermediate channel with connecting clip made out of 2.64mm dia x 230mm long G.I wire at every junction, including fixing perimeter channels 0.50mm thick 27mm high having flanges of 20mm and 30mm long, the perimeter of ceiling fixed to wall/ partitions with the help of Rawl plugs at 450mm centre, with 25mm long dry wall screws @ 230mm interval, including fixing of Calcium Silicate Board to ceiling section and perimeter channels with the help of dry wall screws of size 3.5 x25mm at 230mm c/c, including jointing & finishing to a flush finish of tapered and square edges of the board with recommended jointing compounds, jointing tapes,finishing with jointing compounds in three layers covering upto 150mm on both sides of joints and two coats of primer suitable for boards, all as per manufacture's specification and also including the cost of making opening for light fittings, grills, diffusers, cut outs made with frame of perimeter channels suitably fixed, all complete as per drawings, specificaton and direction of the Engineer in charge but excluding the cost of painting with: 8 mm thick Calcium Silicate Board made with Calcareous & Siliceous materials reinforced with cellulose fiber manufactured through autoclaving process. | 100.00 | Sqm |  | 1600.00 | 160000.00 | 1700.00 | 170000.00 | 160000.00 | J K BUILDERS
32.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 335.00 | Sqm |  | 350.00 | 117250.00 | 305.00 | 102175.00 | 102175.00 | Om Construction
33.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | 110.00 | Sqm |  | 405.00 | 44550.00 | 350.00 | 38500.00 | 38500.00 | Om Construction
34.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 20.00 | sqm |  | 300.00 | 6000.00 | 305.00 | 6100.00 | 6000.00 | J K BUILDERS
35.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 Sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 60.00 | Sqm |  | 200.00 | 12000.00 | 107.00 | 6420.00 | 6420.00 | Om Construction
36.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 1100.00 | Sqm |  | 165.00 | 181500.00 | 125.00 | 137500.00 | 137500.00 | Om Construction
37.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 1220.00 | Sqm |  | 160.00 | 195200.00 | 125.00 | 152500.00 | 152500.00 | Om Construction
38.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement prime | 140.00 | Sqm |  | 77.00 | 10780.00 | 80.00 | 11200.00 | 10780.00 | J K BUILDERS
39.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 140.00 | Sqm |  | 150.00 | 21000.00 | 89.00 | 12460.00 | 12460.00 | Om Construction
40.00 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : Old work (one or more coats) | 2200.00 | Sqm |  | 68.00 | 149600.00 | 44.00 | 96800.00 | 96800.00 | Om Construction
41.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: One or more coats on old work | 1650.00 | Sqm |  | 103.00 | 169950.00 | 80.00 | 132000.00 | 132000.00 | Om Construction
42.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface. | 71000.00 | Sqm |  | 135.00 | 9585000.00 | 71.00 | 5041000.00 | 5041000.00 | Om Construction
43.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) | 1100.00 | Sqm |  | 550.00 | 605000.00 | 440.00 | 484000.00 | 484000.00 | Om Construction
44.00 | Fixing chowkhat in existing opening in brick/ RCC wall with dash fasteners/Chemical fasteners of appropriate size (3 nos on each vertical member of door chowkhat and 2 nos on each vertical member of window chowkhats), including Cost of dash fasteners/ chemical fastener. | 2.00 | each |  | 230.00 | 460.00 | 440.00 | 880.00 | 460.00 | J K BUILDERS
45.00 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, for all height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineerin-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | 1500.00 | Sqm |  | 340.00 | 510000.00 | 305.00 | 457500.00 | 457500.00 | Om Construction
46.00 | Disconnecting damaged overhead/terrace PVC water storage tank of any size from water supply line and removing from the terrace including shifting at ground level as per direction of Engineer-in-charge. | 3.00 | each |  | 430.00 | 1290.00 | 305.00 | 915.00 | 915.00 | Om Construction
47.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 170.00 | Cum |  | 2400.00 | 408000.00 | 1250.00 | 212500.00 | 212500.00 | Om Construction
48.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 2.00 | cum |  | 3500.00 | 7000.00 | 1700.00 | 3400.00 | 3400.00 | Om Construction
49.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 25.00 | Cum |  | 2040.00 | 51000.00 | 800.00 | 20000.00 | 20000.00 | Om Construction
50.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 6.00 | each |  | 360.00 | 2160.00 | 350.00 | 2100.00 | 2100.00 | Om Construction
51.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 800.00 | Kg |  | 5.60 | 4480.00 | 26.00 | 20800.00 | 4480.00 | J K BUILDERS
52.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | 250.00 | sqm |  | 72.50 | 18125.00 | 53.00 | 13250.00 | 13250.00 | Om Construction
53.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: G.S. Sheet | 200.00 | sqm |  | 160.00 | 32000.00 | 53.00 | 10600.00 | 10600.00 | Om Construction
54.00 | Dismantling of flexible pavement (bituminous courses) by mechanical means and disposal of dismantled material up to a lead of 1 kilometre, as per direction of Engineer-in-charge. | 25.00 | Cum |  | 420.00 | 10500.00 | 800.00 | 20000.00 | 10500.00 | J K BUILDERS
55.00 | Fencing with angle iron post placed at required distance embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post on one side only and provided with horizontal lines and two diagonals interwoven with horizontal wires, of barbed wire weighing 9.38 kg per 100 m (minimum), between the two posts fitted and fixed with G.I. staples, turn buckles etc. complete. (Cost of posts, struts, earth work and concrete work to be paid for separately). Payment to be made per metre cost of total length of barbed wire used. With G.I. barbed wire | 2000.00 | Meter |  | 25.00 | 50000.00 | 17.00 | 34000.00 | 34000.00 | Om Construction
56.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 220.00 | Cum |  | 8800.00 | 1936000.00 | 6920.00 | 1522400.00 | 1522400.00 | Om Construction
57.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 500.00 | Meter |  | 365.00 | 182500.00 | 350.00 | 175000.00 | 175000.00 | Om Construction
58.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 1750.00 | Sqm |  | 130.00 | 227500.00 | 80.00 | 140000.00 | 140000.00 | Om Construction
59.00 | Laying old cement cocrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineerin-charge. (Old CC paver blocks shall be supplied by the department free of cost). | 1600.00 | Sqm |  | 435.00 | 696000.00 | 305.00 | 488000.00 | 488000.00 | Om Construction
60.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 2.00 | each |  | 7000.00 | 14000.00 | 5300.00 | 10600.00 | 10600.00 | Om Construction
61.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 3.00 | each |  | 6650.00 | 19950.00 | 8000.00 | 24000.00 | 19950.00 | J K BUILDERS
62.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | 4.00 | each |  | 12150.00 | 48600.00 | 12500.00 | 50000.00 | 48600.00 | J K BUILDERS
63.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 4.00 | each |  | 2300.00 | 9200.00 | 4040.00 | 16160.00 | 9200.00 | J K BUILDERS
64.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 4.00 | each |  | 360.00 | 1440.00 | 710.00 | 2840.00 | 1440.00 | J K BUILDERS
65.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 6.00 | each |  | 1700.00 | 10200.00 | 2600.00 | 15600.00 | 10200.00 | J K BUILDERS
66.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 15.00 | metre |  | 530.00 | 7950.00 | 440.00 | 6600.00 | 6600.00 | Om Construction
67.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 15.00 | metre |  | 615.00 | 9225.00 | 503.00 | 7545.00 | 7545.00 | Om Construction
68.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal dia Pipes | 20.00 | metre |  | 855.00 | 17100.00 | 710.00 | 14200.00 | 14200.00 | Om Construction
69.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 32 mm nominal bore. | 3.00 | each |  | 710.00 | 2130.00 | 1800.00 | 5400.00 | 2130.00 | J K BUILDERS
70.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 15 mm nominal bore | 5.00 | each |  | 420.00 | 2100.00 | 800.00 | 4000.00 | 2100.00 | J K BUILDERS
71.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 100 mm diameter | 2.00 | each |  | 200.00 | 400.00 | 800.00 | 1600.00 | 400.00 | J K BUILDERS
72.00 | Providing and fixing PTMT, push cock of approved quality and colour. 15 mm nominal bore, 98 mm long, weighing not less than 75 gms | 4.00 | each |  | 115.00 | 460.00 | 800.00 | 3200.00 | 460.00 | J K BUILDERS
73.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparentor dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 200.00 | kg |  | 520.00 | 104000.00 | 503.00 | 100600.00 | 100600.00 | Om Construction
74.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4.0 mm thickness | 31.00 | sqm |  | 1220.00 | 37820.00 | 1250.00 | 38750.00 | 37820.00 | J K BUILDERS
75.00 | Providing and fiximg Self Adhesive PVC Flooring of 2mm thickness in Design/pattern as per instruction of Engineer-in-Charge. | 32.00 | sqm |  | 1065.00 | 34080.00 | 800.00 | 25600.00 | 25600.00 | Om Construction
76.00 | Painting of AAI Logo (Height =450mm & Length= 810mm) on the outside surface of the Operatinal wall / AAI Property / Boundary wall using stencil and finishing with Enamal paint as direction & instruction of Engineer-in-charge. (a) AAI Logo - Blue Colour | 260.00 | Per Job |  | 300.00 | 78000.00 | 404.00 | 105040.00 | 78000.00 | J K BUILDERS
77.00 | Painting of letters of "TRESPASSING AND PHOTOGRAPHY PROHIBITED" (Height = 100mm)on the outside surface of the Operatinal wall / AAI Property / Boundary wall using stencil and finishing with Enamal paint as direction & instruction of Engineer-in-charge. (a) Lettering with Red Colour | 260.00 | Per Job |  | 1290.00 | 335400.00 | 404.00 | 105040.00 | 105040.00 | Om Construction
78.00 | Painting of letters of "भारतीय विमानपत्तन प्राधिकरण" and "AIRPORTS AUTHORITY OF INDIA" (Height = 75mm) on the outside surface of the Operatinal wall / AAI Property / Boundary wall using stencil and finishing with Enamal paint as direction & instruction of Engineer-in-charge. (a) Lettering with Blue Colour | 260.00 | Per Job |  | 1080.00 | 280800.00 | 350.00 | 91000.00 | 91000.00 | Om Construction
79.00 | Electrical Works: SITC of BEE rated 5 star split type air conditioner with inverter type compressor,having minimum rated full load cooling capacity of 5kW with flexible loading mode, Copper condenser tube/coil, suitable for operation on single phase 230 +/- 10% volt, 50Hz AC power supply for out door & indoor unit, digital display panel at indoor unit and digital control with cordless remote for operation along with eco-friendly refrigerant, MS structure for mounting outdoor & indoor unit, including wiring with 3 x 2.5 sq.mm FR, PVC flexible copper cable between outdoor and indoor unit (approximate distance of 10 Ft) with minimum 10 ft refrigerant copper tubing between indoor and outdoor units. | 2.00 | Each |  | 62000.00 | 124000.00 | 53000.00 | 106000.00 | 106000.00 | Om Construction
80.00 | SITC of BEE rated 5 star split type air conditioner with inverter type compressor, having minimum rated full load cooling capacity of 6kW with flexible loading mode, Copper condenser tube/coil, suitable for operation on single phase 230 +/- 10% volt, 50Hz AC power supply for out door & indoor unit, digital display panel at indoor unit and digital control with corded / cordless remote for operation along with eco-friendly refrigerant, MS structure for mounting outdoor & indoor unit, including wiring with 3 x 2.5 sq.mm FR, PVC flexible copper cable between outdoor and indoor unit (approximate distance of 10 ft) with minimum with minimum 10 ft refrigerant copper tubing between indoor and outdoor units. | 3.00 | Each |  | 70000.00 | 210000.00 | 53000.00 | 159000.00 | 159000.00 | Om Construction
81.00 | Providing and fixing of refrigerant copper tube for liquid line of size 3/8" dia and for gas line of size 5/8" dia including insulation etc. between indoor & outdoor unit complete as required. | 4.00 | Mtr |  | 1230.00 | 4920.00 | 1070.00 | 4280.00 | 4280.00 | Om Construction
82.00 | Providing and fixing of refrigerant copper tube for liquid line of size 1/4" dia and for gas line of size 1/2" dia including insulation etc. between indoor & outdoor unit complete as required. | 30.00 | Mtr |  | 1230.00 | 36900.00 | 1070.00 | 32100.00 | 32100.00 | Om Construction
83.00 | Providing and fixing of 20mm dia UPVC drainage pipe for condensed water including insulation etc. complete as required. | 92.00 | Mtr |  | 275.00 | 25300.00 | 224.00 | 20608.00 | 20608.00 | Om Construction
84.00 | Providing and fixing of 20mm dia flexible PVC drainage pipe for condensed water etc. complete as required. | 25.00 | Mtr |  | 230.00 | 5750.00 | 206.00 | 5150.00 | 5150.00 | Om Construction
85.00 | Supply of 4C x 10 sqmm armoured (IS: 7098 part -I) size Auluminum armoured of 1.1 KV grade, XLPE insulated PVC sheathed cable | 20.00 | Mtr |  | 220.00 | 4400.00 | 206.00 | 4120.00 | 4120.00 | Om Construction
86.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of size up to 35 sq. mm (clamped with 1mm thick saddle) size on wall / cable tray surface as required. | 18.00 | Mtr |  | 50.00 | 900.00 | 40.00 | 720.00 | 720.00 | Om Construction
87.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 20.00 | Mtr |  | 70.00 | 1400.00 | 62.00 | 1240.00 | 1240.00 | Om Construction
88.00 | S/F TPN double door MCB DB: Supplying and fixing following way, three pole and neutral, sheet steel, double door MCB Distribution Board (per phase isolation type), 415 volts, on surface/recess, complete with copper busbar, neutral busbar, earth bar, din bar, detachable gland plate, interconnections, blanking plates, phosphatized and powder painted including earthing etc. as required. (But without MCB/ RCCB/isolator).
88.10 | 6 way (8+6+18), Double Door, Horizontal type | 1.00 | Job |  | 8800.00 | 8800.00 | 8900.00 | 8900.00 | 8800.00 | J K BUILDERS
89.00 | Supplying and fixing following rating C Series, 240/415 volts miniature circuit breaker suitable for lighting and other loads of following poles in the existing MCB DB complete with connection, testing and commissioning etc. as required.
89.10 | 5-32 , 10 KA, 240V Single pole | 12.00 | Each |  | 300.00 | 3600.00 | 251.00 | 3012.00 | 3012.00 | Om Construction
89.20 | 63 Amps, 10 KA, 415 V, four pole | 1.00 | Each |  | 2470.00 | 2470.00 | 2060.00 | 2060.00 | 2060.00 | Om Construction
90.00 | S/F 25A, 100 mA, 10kA, DP RCCB: Supplying and fixing of 25A, DP, 230V, 'C' Series, RCCB with 100 mA leakage current in the existing RCCB DB complete with connections, testing and commissioning etc. as required. | 3.00 | Each |  | 2500.00 | 7500.00 | 1700.00 | 5100.00 | 5100.00 | Om Construction
91.00 | Supplying and fixing 20 amps. 240 volts, SPN industrial type, socket outlet, with 2 pole and earth metal enclosed plug top alongwith 20 amps. `C' series, SP MCB in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet, and complete with connections, testing and commissioning etc. as required. | 5.00 | Each |  | 1100.00 | 5500.00 | 890.00 | 4450.00 | 4450.00 | Om Construction
92.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
92.10 | 20 mm | 200.00 | Meter |  | 430.00 | 86000.00 | 305.00 | 61000.00 | 61000.00 | Om Construction
92.20 | 25 mm | 150.00 | Meter |  | 500.00 | 75000.00 | 305.00 | 45750.00 | 45750.00 | Om Construction
93.00 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/recess steel /PVC conduit as reqd.
93.10 | 2 x 2.5 sq.mm. + 1 x 2.5 sq. mm. earth wire | 100.00 | Each |  | 800.00 | 80000.00 | 603.00 | 60300.00 | 60300.00 | Om Construction
93.20 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 200.00 | Meter |  | 940.00 | 188000.00 | 701.00 | 140200.00 | 140200.00 | Om Construction
93.30 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 100.00 | Meter |  | 700.00 | 70000.00 | 710.00 | 71000.00 | 70000.00 | J K BUILDERS
94.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 25.00 | Point |  | 3100.00 | 77500.00 | 1700.00 | 42500.00 | 42500.00 | Om Construction
95.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required Group B | 4.00 | Point |  | 1560.00 | 6240.00 | 1070.00 | 4280.00 | 4280.00 | Om Construction
96.00 | S/F light plug point Modular type accessories: Suppling and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection, painting etc. as required. | 8.00 | Each |  | 670.00 | 5360.00 | 557.00 | 4456.00 | 4456.00 | Om Construction
97.00 | S/F power plug point modular type accessories: Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 & 5/6 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 15.00 | Each |  | 670.00 | 10050.00 | 557.00 | 8355.00 | 8355.00 | Om Construction
98.00 | Supplying and fixing call bell(Ding-Dong) suitable for A.C. single phase, 230 volts, complete as required. | 3.00 | Each |  | 400.00 | 1200.00 | 350.00 | 1050.00 | 1050.00 | Om Construction
99.00 | Supplying of following size double ball bearing electric ceiling fan capacitor type complete having 30cm down rod, canopies, hanging shackle, blades, suitable for 230 volts, 50 HZ, A.C. supply as required
99.10 | 1400mm | 4.00 | Each |  | 2750.00 | 11000.00 | 2240.00 | 8960.00 | 8960.00 | Om Construction
100.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | 4.00 | Job |  | 220.00 | 880.00 | 188.00 | 752.00 | 752.00 | Om Construction
101.00 | Supply of 450mm heavy duty ABS body exhaust fan with minimum 900 RPM & suitable for 230/240 volts, 50 hz, single phase A.C. supply with all accessories including louvers, shutters, etc. as required. | 2.00 | Each |  | 7000.00 | 14000.00 | 6020.00 | 12040.00 | 12040.00 | Om Construction
102.00 | Installation of exhaust fan of size upto 450 mm sweep in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 2.00 | Job |  | 470.00 | 940.00 | 360.00 | 720.00 | 720.00 | Om Construction
103.00 | Supply of recessed Mounted LED panel light fixture with size 600x600mm and minimum system lumen output of 3400 lumens and minimum system efficacy ≥100 Lumens / Watt, suitable accessories and sutable to operate on 230v,50hz, single phase power supply etc. complete as required and as per technical specification. | 16.00 | Each |  | 1710.00 | 27360.00 | 2600.00 | 41600.00 | 27360.00 | J K BUILDERS
104.00 | Supply of COB type LED round type down lighter fixture with minimum system lumen output of 480 lumens and minimum system efficacy ≥80 Lumens / Watt, suitable accessories and sutable to operate on 230v,50hz, single phase power supply etc. complete as required and as per technical specification. | 6.00 | Each |  | 350.00 | 2100.00 | 2600.00 | 15600.00 | 2100.00 | J K BUILDERS
105.00 | InsInstallation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting/LED fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 22.00 | Each |  | 215.00 | 4730.00 | 360.00 | 7920.00 | 4730.00 | J K BUILDERS
106.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
106.10 | 4 X 10 sq. mm | 2.00 | Set |  | 275.00 | 550.00 | 260.00 | 520.00 | 520.00 | Om Construction
| Total in Figures |  |  |  |  | 22816845.00 |  | 16188813.00
Lowest Amount Quoted BY: Om Construction(16188813.00)

## BOQ Summary
BOQ Summary Details Tender Title: Special Repair of Fire Station, Control Tower and boundary wall (including repainting) at Surat Airport Tender ID: 2022_AAI_139912_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Om Construction | 16188813.00 | L1
| 2 | J K BUILDERS | 22816845.00 | L2