## BoQ1
Government eProcurement System Created By: KHEMRAJ MEENA Created Date/Time: 24-Feb-2023 05:25 PM Tender Title: Up-gradation of Kota Airport for RCS operations, S.H. C-o Boundary wall, Cooling pit, fire pit, OHWT, Raising of Boundary wall, Renovation of Terminal building and other misc civil works Tender ID: 2022_AAI_140064_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-C), Kishangarh Airport, Ajmer
Name of Work:- Up-gradation of Kota Airport for RCS operations. S.H.:- C/o Boundary wall, Cooling pit, Fire pit, OHWT, Raising of Boundary wall, Renovation of Terminal building & other misc. civil works.
Contract No: 9001297032
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S M.K.Constructions(GSTN-08ABOPG3127H1ZP) |  | Proficio Engineering And Construction Pvt. Ltd.(GSTN-07AAHCP4985D2Z5) |  | PARWAL GROUP(GSTN-NA) |  | R K AND CO(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: All kinds of soil | 1000.00 | Sqm | 100.00 | 100.00 | 100000.00 | 70.00 | 70000.00 | 30.00 | 30000.00 | 180.00 | 180000.00 | 30000.00 | PARWAL GROUP
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 355.00 | Cum | 101.00 | 160.00 | 56800.00 | 120.00 | 42600.00 | 100.00 | 35500.00 | 180.00 | 63900.00 | 35500.00 | PARWAL GROUP
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. Hard rock (blasting prohibited) | 950.00 | Cum | 102.00 | 1000.00 | 950000.00 | 870.00 | 826500.00 | 1250.00 | 1187500.00 | 207.00 | 196650.00 | 196650.00 | R K AND CO
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 596.00 | Cum | 103.00 | 60.00 | 35760.00 | 120.00 | 71520.00 | 50.00 | 29800.00 | 126.00 | 75096.00 | 29800.00 | PARWAL GROUP
5.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil | 1600.00 | Sqm | 104.00 | 5.00 | 8000.00 | 10.00 | 16000.00 | 10.00 | 16000.00 | 7.20 | 11520.00 | 8000.00 | M/S M.K.Constructions
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20mm nominal size) | 7.00 | Cum | 105.00 | 4500.00 | 31500.00 | 5500.00 | 38500.00 | 4500.00 | 31500.00 | 6300.00 | 44100.00 | 31500.00 | M/S M.K.Constructions, PARWAL GROUP
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to Plinthh level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 58.00 | Cum | 106.00 | 4400.00 | 255200.00 | 5000.00 | 290000.00 | 3800.00 | 220400.00 | 5400.00 | 313200.00 | 220400.00 | PARWAL GROUP
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 474.00 | Cum | 107.00 | 3000.00 | 1422000.00 | 3600.00 | 1706400.00 | 2800.00 | 1327200.00 | 4860.00 | 2303640.00 | 1327200.00 | PARWAL GROUP
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size) | 6.00 | Cum | 108.00 | 2800.00 | 16800.00 | 4100.00 | 24600.00 | 2800.00 | 16800.00 | 5130.00 | 30780.00 | 16800.00 | M/S M.K.Constructions, PARWAL GROUP
10.00 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | 20.00 | Sqm | 109.00 | 250.00 | 5000.00 | 250.00 | 5000.00 | 400.00 | 8000.00 | 207.00 | 4140.00 | 4140.00 | R K AND CO
11.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 127.00 | Cum | 110.00 | 5000.00 | 635000.00 | 5500.00 | 698500.00 | 4250.00 | 539750.00 | 6300.00 | 800100.00 | 539750.00 | PARWAL GROUP
12.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal sizederived from natural sources) | 10.00 | Cum | 111.00 | 5500.00 | 55000.00 | 6500.00 | 65000.00 | 4500.00 | 45000.00 | 6750.00 | 67500.00 | 45000.00 | PARWAL GROUP
13.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 15.00 | Cum | 112.00 | 5700.00 | 85500.00 | 8000.00 | 120000.00 | 4500.00 | 67500.00 | 6750.00 | 101250.00 | 67500.00 | PARWAL GROUP
14.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases of columns, etc. for mass concrete | 250.00 | Sqm | 113.00 | 225.00 | 56250.00 | 145.00 | 36250.00 | 100.00 | 25000.00 | 207.00 | 51750.00 | 25000.00 | PARWAL GROUP
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Lintels, beams, plinth beams, girders, bressumers and cantilevers | 305.00 | Sqm | 114.00 | 325.00 | 99125.00 | 145.00 | 44225.00 | 250.00 | 76250.00 | 306.00 | 93330.00 | 44225.00 | Proficio Engineering And Construction Pvt. Ltd.
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 460.00 | Sqm | 115.00 | 425.00 | 195500.00 | 145.00 | 66700.00 | 250.00 | 115000.00 | 360.00 | 165600.00 | 66700.00 | Proficio Engineering And Construction Pvt. Ltd.
17.00 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). Suspended floors, roofs, landing, beams and balconies (Plan area to be measured) | 121.00 | Sqm | 116.00 | 200.00 | 24200.00 | 145.00 | 17545.00 | 100.00 | 12100.00 | 63.00 | 7623.00 | 7623.00 | R K AND CO
18.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 15410.00 | Kg | 117.00 | 80.00 | 1232800.00 | 70.00 | 1078700.00 | 72.00 | 1109520.00 | 76.50 | 1178865.00 | 1078700.00 | Proficio Engineering And Construction Pvt. Ltd.
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 3125.00 | Kg | 118.00 | 80.00 | 250000.00 | 73.00 | 228125.00 | 73.00 | 228125.00 | 76.50 | 239062.50 | 228125.00 | Proficio Engineering And Construction Pvt. Ltd., PARWAL GROUP
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 172.00 | Cum | 119.00 | 5000.00 | 860000.00 | 4400.00 | 756800.00 | 4100.00 | 705200.00 | 4950.00 | 851400.00 | 705200.00 | PARWAL GROUP
21.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 219.00 | Cum | 120.00 | 5500.00 | 1204500.00 | 4400.00 | 963600.00 | 4300.00 | 941700.00 | 5130.00 | 1123470.00 | 941700.00 | PARWAL GROUP
22.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above Plinthh level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 179.00 | Sqm | 121.00 | 500.00 | 89500.00 | 750.00 | 134250.00 | 550.00 | 98450.00 | 270.00 | 48330.00 | 48330.00 | R K AND CO
23.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : :Cement mortar 1:6 (1 cement : 6 coarse sand) | 38.00 | Cum | 122.00 | 2600.00 | 98800.00 | 4000.00 | 152000.00 | 4000.00 | 152000.00 | 3600.00 | 136800.00 | 98800.00 | M/S M.K.Constructions
24.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 156.00 | Sqm | 123.00 | 700.00 | 109200.00 | 750.00 | 117000.00 | 850.00 | 132600.00 | 810.00 | 126360.00 | 109200.00 | M/S M.K.Constructions
25.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 37.00 | Sqm | 124.00 | 1800.00 | 66600.00 | 2000.00 | 74000.00 | 1600.00 | 59200.00 | 2250.00 | 83250.00 | 59200.00 | PARWAL GROUP
26.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured) | 13.00 | Sqm | 125.00 | 200.00 | 2600.00 | 300.00 | 3900.00 | 100.00 | 1300.00 | 360.00 | 4680.00 | 1300.00 | PARWAL GROUP
27.00 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : (copper oxidized as per IS: 1378) 250x10 mm | 40.00 | Each | 126.00 | 80.00 | 3200.00 | 70.00 | 2800.00 | 70.00 | 2800.00 | 126.00 | 5040.00 | 2800.00 | Proficio Engineering And Construction Pvt. Ltd., PARWAL GROUP
28.00 | Providing and fixing ISi marked oxidised M.S. door latches conforming to IS:5930 with screws etc. complete : (copper oxidized as per IS: 1378) 300x20x6 mm | 28.00 | Each | 127.00 | 90.00 | 2520.00 | 82.00 | 2296.00 | 250.00 | 7000.00 | 207.00 | 5796.00 | 2296.00 | Proficio Engineering And Construction Pvt. Ltd.
29.00 | Providing and fixing bright finished brass handles with screws etc. complete: 125 mm | 52.00 | Each | 128.00 | 250.00 | 13000.00 | 200.00 | 10400.00 | 50.00 | 2600.00 | 54.00 | 2808.00 | 2600.00 | PARWAL GROUP
30.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 18.00 | Each | 129.00 | 90.00 | 1620.00 | 110.00 | 1980.00 | 250.00 | 4500.00 | 54.00 | 972.00 | 972.00 | R K AND CO
31.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 18.00 | Each | 130.00 | 1000.00 | 18000.00 | 700.00 | 12600.00 | 800.00 | 14400.00 | 720.00 | 12960.00 | 12600.00 | Proficio Engineering And Construction Pvt. Ltd.
32.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of pproved quality. 1.0 mm thick | 25.00 | Sqm | 131.00 | 850.00 | 21250.00 | 650.00 | 16250.00 | 400.00 | 10000.00 | 630.00 | 15750.00 | 10000.00 | PARWAL GROUP
33.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 4099.00 | Kg | 132.00 | 95.00 | 389405.00 | 80.00 | 327920.00 | 82.00 | 336118.00 | 108.00 | 442692.00 | 327920.00 | Proficio Engineering And Construction Pvt. Ltd.
34.00 | Steel work in built up tubular ( round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 2657.00 | kg | 133.00 | 105.00 | 278985.00 | 80.00 | 212560.00 | 85.00 | 225845.00 | 126.00 | 334782.00 | 212560.00 | Proficio Engineering And Construction Pvt. Ltd.
35.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 350.00 | kg | 134.00 | 110.00 | 38500.00 | 85.00 | 29750.00 | 110.00 | 38500.00 | 162.00 | 56700.00 | 29750.00 | Proficio Engineering And Construction Pvt. Ltd.
36.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 5550.00 | Kg | 135.00 | 90.00 | 499500.00 | 80.00 | 444000.00 | 82.00 | 455100.00 | 126.00 | 699300.00 | 444000.00 | Proficio Engineering And Construction Pvt. Ltd.
37.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 599.00 | Kg | 136.00 | 105.00 | 62895.00 | 85.00 | 50915.00 | 85.00 | 50915.00 | 126.00 | 75474.00 | 50915.00 | Proficio Engineering And Construction Pvt. Ltd., PARWAL GROUP
38.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube | 121.00 | Kg | 137.00 | 450.00 | 54450.00 | 120.00 | 14520.00 | 90.00 | 10890.00 | 135.00 | 16335.00 | 10890.00 | PARWAL GROUP
39.00 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | 12.00 | Sqm | 138.00 | 725.00 | 8700.00 | 750.00 | 9000.00 | 1000.00 | 12000.00 | 810.00 | 9720.00 | 8700.00 | M/S M.K.Constructions
40.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 307.00 | Sqm | 139.00 | 800.00 | 245600.00 | 800.00 | 245600.00 | 1350.00 | 414450.00 | 900.00 | 276300.00 | 245600.00 | M/S M.K.Constructions, Proficio Engineering And Construction Pvt. Ltd.
41.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i) Single socketed pipes. (a) 110 mm diameter | 40.00 | Metre | 140.00 | 250.00 | 10000.00 | 350.00 | 14000.00 | 200.00 | 8000.00 | 207.00 | 8280.00 | 8000.00 | PARWAL GROUP
42.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated hickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling / self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 716.00 | Sqm | 141.00 | 900.00 | 644400.00 | 435.00 | 311460.00 | 700.00 | 501200.00 | 585.00 | 418860.00 | 311460.00 | Proficio Engineering And Construction Pvt. Ltd.
43.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete: Ridges plain (500 - 600mm) | 45.00 | Metre | 142.00 | 500.00 | 22500.00 | 370.00 | 16650.00 | 250.00 | 11250.00 | 450.00 | 20250.00 | 11250.00 | PARWAL GROUP
44.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per Sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spacedbetween main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges cali Cum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposedframes/opening (cut outs) having area less than 0.30 sqm.The calcium silicate ceiling tile shall have NRC value of 0.50(Minimum), light reflection > 85%, non- combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/mK. | 726.00 | Sqm | 101.00 | 1500.00 | 1089000.00 | 900.00 | 653400.00 | 1400.00 | 1016400.00 | 1080.00 | 784080.00 | 653400.00 | Proficio Engineering And Construction Pvt. Ltd.
45.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 480.00 | sqm | 102.00 | 220.00 | 105600.00 | 200.00 | 96000.00 | 220.00 | 105600.00 | 270.00 | 129600.00 | 96000.00 | Proficio Engineering And Construction Pvt. Ltd.
46.00 | 12 mm cement plaster: 1:6 (1 cement : 6 fine sand) | 1074.00 | Sqm | 103.00 | 210.00 | 225540.00 | 190.00 | 204060.00 | 200.00 | 214800.00 | 270.00 | 289980.00 | 204060.00 | Proficio Engineering And Construction Pvt. Ltd.
47.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | 490.00 | sqm | 104.00 | 250.00 | 122500.00 | 200.00 | 98000.00 | 240.00 | 117600.00 | 306.00 | 149940.00 | 98000.00 | Proficio Engineering And Construction Pvt. Ltd.
48.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 1074.00 | Sqm | 105.00 | 240.00 | 257760.00 | 200.00 | 214800.00 | 225.00 | 241650.00 | 270.00 | 289980.00 | 214800.00 | Proficio Engineering And Construction Pvt. Ltd.
49.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 609.00 | Sqm | 106.00 | 75.00 | 45675.00 | 150.00 | 91350.00 | 110.00 | 66990.00 | 90.00 | 54810.00 | 45675.00 | M/S M.K.Constructions
50.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 208.00 | Sqm | 107.00 | 80.00 | 16640.00 | 130.00 | 27040.00 | 90.00 | 18720.00 | 108.00 | 22464.00 | 16640.00 | M/S M.K.Constructions
51.00 | Finishing walls with 100% Premium acrylic emulsion paint having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade (Company Depot Tinted) with silicon additives. New work (Two or more coats applied @ 1.43 litre/ 10 sqm. Over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm. | 2419.00 | Sqm | 108.00 | 90.00 | 217710.00 | 90.00 | 217710.00 | 120.00 | 290280.00 | 99.00 | 239481.00 | 217710.00 | M/S M.K.Constructions, Proficio Engineering And Construction Pvt. Ltd.
52.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 272.00 | Sqm | 109.00 | 100.00 | 27200.00 | 110.00 | 29920.00 | 90.00 | 24480.00 | 90.00 | 24480.00 | 24480.00 | PARWAL GROUP, R K AND CO
53.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 228.00 | Sqm | 110.00 | 100.00 | 22800.00 | 110.00 | 25080.00 | 120.00 | 27360.00 | 108.00 | 24624.00 | 22800.00 | M/S M.K.Constructions
54.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 347.00 | Sqm | 111.00 | 125.00 | 43375.00 | 135.00 | 46845.00 | 120.00 | 41640.00 | 108.00 | 37476.00 | 37476.00 | R K AND CO
55.00 | Distempering with 1st quality acrylic distemper, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour.Two coats | 218.00 | Sqm | 112.00 | 80.00 | 17440.00 | 70.00 | 15260.00 | 60.00 | 13080.00 | 72.00 | 15696.00 | 13080.00 | PARWAL GROUP
56.00 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade: One or more coats on old work | 1440.00 | Sqm | 113.00 | 85.00 | 122400.00 | 55.00 | 79200.00 | 200.00 | 288000.00 | 72.00 | 103680.00 | 79200.00 | Proficio Engineering And Construction Pvt. Ltd.
57.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :. Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | 480.00 | Sqm | 114.00 | 80.00 | 38400.00 | 80.00 | 38400.00 | 80.00 | 38400.00 | 63.00 | 30240.00 | 30240.00 | R K AND CO
58.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (One or more coat applied @ 0.90 ltr/10 sqm). | 26152.00 | Sqm | 115.00 | 60.00 | 1569120.00 | 36.00 | 941472.00 | 50.00 | 1307600.00 | 60.30 | 1576965.60 | 941472.00 | Proficio Engineering And Construction Pvt. Ltd.
59.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | 400.00 | Sqm | 116.00 | 250.00 | 100000.00 | 210.00 | 84000.00 | 300.00 | 120000.00 | 270.00 | 108000.00 | 84000.00 | Proficio Engineering And Construction Pvt. Ltd.
60.00 | Providing and fixing chromium plated brass butt hinges with necessary chromium plated brass screws etc. complete. 75x40x2.5 mm (ordinary type) | 46.00 | Each | 117.00 | 120.00 | 5520.00 | 90.00 | 4140.00 | 50.00 | 2300.00 | 45.00 | 2070.00 | 2070.00 | R K AND CO
61.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 2.00 | Cum | 118.00 | 800.00 | 1600.00 | 1900.00 | 3800.00 | 1000.00 | 2000.00 | 630.00 | 1260.00 | 1260.00 | R K AND CO
62.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 2.00 | Cum | 119.00 | 600.00 | 1200.00 | 1500.00 | 3000.00 | 700.00 | 1400.00 | 450.00 | 900.00 | 900.00 | R K AND CO
63.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of:G.S. Sheet | 456.00 | Sqm | 120.00 | 100.00 | 45600.00 | 80.00 | 36480.00 | 100.00 | 45600.00 | 63.00 | 28728.00 | 28728.00 | R K AND CO
64.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 89.00 | Sqm | 121.00 | 60.00 | 5340.00 | 25.00 | 2225.00 | 50.00 | 4450.00 | 9.00 | 801.00 | 801.00 | R K AND CO
65.00 | Supplying and stacking at site.Good earth | 146.00 | cum | 122.00 | 300.00 | 43800.00 | 200.00 | 29200.00 | 300.00 | 43800.00 | 270.00 | 39420.00 | 29200.00 | Proficio Engineering And Construction Pvt. Ltd.
66.00 | Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete. | 99.00 | Sqm | 123.00 | 600.00 | 59400.00 | 450.00 | 44550.00 | 1000.00 | 99000.00 | 270.00 | 26730.00 | 26730.00 | R K AND CO
67.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete | 502.00 | Cum | 124.00 | 4000.00 | 2008000.00 | 5500.00 | 2761000.00 | 3500.00 | 1757000.00 | 5310.00 | 2665620.00 | 1757000.00 | PARWAL GROUP
68.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'U' shaped placed 2.4 m or 3.00 m apart and with 9 horizontal R.B.T . reinforced barbed wire, stud tied with G .I. staples and G .I. clips to retain horizontal, including necessary bolts or G .I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T .) / S pring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 616.00 | Metre | 125.00 | 325.00 | 200200.00 | 300.00 | 184800.00 | 300.00 | 184800.00 | 306.00 | 188496.00 | 184800.00 | Proficio Engineering And Construction Pvt. Ltd., PARWAL GROUP
69.00 | Manufacturing, supplying and fixing retro reflective overhead signage boards made up of 2 mm thick aluminium sheet, face to be fully covered with high intensity and encapsulated lens type heat activated retro reflective sheeting conforming to type - III of ASTM-D-4956-01 as approved by Engineer-in-charge, letters, borders etc. as per IRC : 67-2001 in silver white with blue colour back ground and with high intensity grade, pasted on substrate by pressure sensitive adhesive backing which shall be activated by applying pressure conforming to class II of ASTM-D-4956-01 and fixing the same to the plate of structural frame work by means of suitable sized aluminium alloys, rivets or bolts & nuts @ 300 mm centre to centre all along the periphery as well as in two vertical rows along with theft resistant measures, including the cost of painting with two or more coats of epoxy paint in grey colour on the back side of aluminium sheet including appropriate priming coat. The rate includes the cost of rounding off the corners, lowering down the structural frame work from the gantry, fixing and erecting the same in position all complete as per drawings, specification and direction of the engineer-incharge.( Structural frame work including M.S. plate to be provided separately. Rectangular area of the sheet only shall be measured for payment). Overhead informatory road signage | 6.00 | Sqm | 126.00 | 7000.00 | 42000.00 | 4500.00 | 27000.00 | 5000.00 | 30000.00 | 2700.00 | 16200.00 | 16200.00 | R K AND CO
70.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge) | 35.00 | Cum | 127.00 | 5000.00 | 175000.00 | 6300.00 | 220500.00 | 5000.00 | 175000.00 | 8100.00 | 283500.00 | 175000.00 | M/S M.K.Constructions, PARWAL GROUP
71.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 678.00 | Cum | 128.00 | 2805.00 | 1901790.00 | 1600.00 | 1084800.00 | 2800.00 | 1898400.00 | 1440.00 | 976320.00 | 976320.00 | R K AND CO
72.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 2550.00 | Sqm | 129.00 | 850.00 | 2167500.00 | 575.00 | 1466250.00 | 800.00 | 2040000.00 | 783.00 | 1996650.00 | 1466250.00 | Proficio Engineering And Construction Pvt. Ltd.
73.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 4.00 | Each | 130.00 | 6000.00 | 24000.00 | 4000.00 | 16000.00 | 6000.00 | 24000.00 | 6300.00 | 25200.00 | 16000.00 | Proficio Engineering And Construction Pvt. Ltd.
74.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | 3.00 | Each | 131.00 | 9000.00 | 27000.00 | 7091.00 | 21273.00 | 4500.00 | 13500.00 | 6300.00 | 18900.00 | 13500.00 | PARWAL GROUP
75.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 6.00 | Each | 132.00 | 3500.00 | 21000.00 | 2500.00 | 15000.00 | 3000.00 | 18000.00 | 5400.00 | 32400.00 | 15000.00 | Proficio Engineering And Construction Pvt. Ltd.
76.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 6.00 | Each | 133.00 | 1000.00 | 6000.00 | 700.00 | 4200.00 | 500.00 | 3000.00 | 180.00 | 1080.00 | 1080.00 | R K AND CO
77.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia Sand cast iron S&S pipe as per IS: 1729 | 30.00 | Metre | 134.00 | 1200.00 | 36000.00 | 800.00 | 24000.00 | 800.00 | 24000.00 | 450.00 | 13500.00 | 13500.00 | R K AND CO
78.00 | Providing and fixing floor mounted, white vitreous china single piece, double traps syphonic water closet of approved brand/make, shape, size and pattern including integrated white vitreous china cistern of capacity 10 litres with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, complete in all respect as per directions of Engineer-in-Charge. | 5.00 | Each | 135.00 | 17000.00 | 85000.00 | 10500.00 | 52500.00 | 8500.00 | 42500.00 | 11700.00 | 58500.00 | 42500.00 | PARWAL GROUP
79.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 70.00 | Metre | 136.00 | 500.00 | 35000.00 | 320.00 | 22400.00 | 130.00 | 9100.00 | 207.00 | 14490.00 | 9100.00 | PARWAL GROUP
80.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.External work 20 mm nominal dia Pipes | 150.00 | Metre | 137.00 | 300.00 | 45000.00 | 200.00 | 30000.00 | 200.00 | 30000.00 | 270.00 | 40500.00 | 30000.00 | Proficio Engineering And Construction Pvt. Ltd., PARWAL GROUP
81.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 32 mm dia nominal bore | 20.00 | Metre | 138.00 | 600.00 | 12000.00 | 400.00 | 8000.00 | 350.00 | 7000.00 | 540.00 | 10800.00 | 7000.00 | PARWAL GROUP
82.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 50 mm dia nominal bore | 200.00 | Metre | 139.00 | 900.00 | 180000.00 | 650.00 | 130000.00 | 600.00 | 120000.00 | 630.00 | 126000.00 | 120000.00 | PARWAL GROUP
83.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 50 mm dia nominal bore | 300.00 | Metre | 140.00 | 700.00 | 210000.00 | 500.00 | 150000.00 | 350.00 | 105000.00 | 630.00 | 189000.00 | 105000.00 | PARWAL GROUP
84.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 5.00 | Each | 141.00 | 500.00 | 2500.00 | 400.00 | 2000.00 | 150.00 | 750.00 | 810.00 | 4050.00 | 750.00 | PARWAL GROUP
85.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 20 mm nominal bore | 3.00 | Each | 142.00 | 450.00 | 1350.00 | 350.00 | 1050.00 | 150.00 | 450.00 | 900.00 | 2700.00 | 450.00 | PARWAL GROUP
86.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :32 mm nominal bore. | 5.00 | Each | 101.00 | 650.00 | 3250.00 | 450.00 | 2250.00 | 250.00 | 1250.00 | 1260.00 | 6300.00 | 1250.00 | PARWAL GROUP
87.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :50 mm nominal bore. | 5.00 | Each | 102.00 | 900.00 | 4500.00 | 700.00 | 3500.00 | 300.00 | 1500.00 | 1440.00 | 7200.00 | 1500.00 | PARWAL GROUP
88.00 | Providing and fixing gun metal non- return valve of approved quality (screwed end) : 50 mm nominal bore Horizontal | 2.00 | Each | 103.00 | 1150.00 | 2300.00 | 900.00 | 1800.00 | 1000.00 | 2000.00 | 1350.00 | 2700.00 | 1800.00 | Proficio Engineering And Construction Pvt. Ltd.
89.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 11.00 | Each | 104.00 | 90.00 | 990.00 | 70.00 | 770.00 | 70.00 | 770.00 | 63.00 | 693.00 | 693.00 | R K AND CO
90.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 32mm dia nominal bore | 5.00 | Each | 105.00 | 500.00 | 2500.00 | 330.00 | 1650.00 | 250.00 | 1250.00 | 90.00 | 450.00 | 450.00 | R K AND CO
91.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 50 mm dia nominal bore | 3.00 | Each | 106.00 | 1000.00 | 3000.00 | 550.00 | 1650.00 | 400.00 | 1200.00 | 180.00 | 540.00 | 540.00 | R K AND CO
92.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 21000.00 | Litre | 107.00 | 8.00 | 168000.00 | 6.50 | 136500.00 | 10.00 | 210000.00 | 7.20 | 151200.00 | 136500.00 | Proficio Engineering And Construction Pvt. Ltd.
93.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 6.00 | Each | 108.00 | 600.00 | 3600.00 | 300.00 | 1800.00 | 200.00 | 1200.00 | 450.00 | 2700.00 | 1200.00 | PARWAL GROUP
94.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 10.00 | Each | 109.00 | 800.00 | 8000.00 | 400.00 | 4000.00 | 200.00 | 2000.00 | 360.00 | 3600.00 | 2000.00 | PARWAL GROUP
95.00 | Providing and fixing PTMT extension nipple for water tank pipe, fittings of approved quality and colour. 20 mm nominal bore, weighing not less than 40 gms | 1.00 | Each | 110.00 | 150.00 | 150.00 | 76.50 | 76.50 | 50.00 | 50.00 | 180.00 | 180.00 | 50.00 | PARWAL GROUP
96.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portionPowder coated aluminium (minimum thickness of powder coating 50 micron) | 330.00 | Kg | 111.00 | 450.00 | 148500.00 | 350.00 | 115500.00 | 400.00 | 132000.00 | 504.00 | 166320.00 | 115500.00 | Proficio Engineering And Construction Pvt. Ltd.
97.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 232.00 | Kg | 112.00 | 500.00 | 116000.00 | 450.00 | 104400.00 | 450.00 | 104400.00 | 540.00 | 125280.00 | 104400.00 | Proficio Engineering And Construction Pvt. Ltd., PARWAL GROUP
98.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | 38.00 | Sqm | 113.00 | 1000.00 | 38000.00 | 800.00 | 30400.00 | 20.00 | 760.00 | 720.00 | 27360.00 | 760.00 | PARWAL GROUP
99.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, upto 90 metre depth below ground level. All types of soil 300 mm dia | 20.00 | Metre | 114.00 | 700.00 | 14000.00 | 450.00 | 9000.00 | 600.00 | 12000.00 | 800.00 | 16000.00 | 9000.00 | Proficio Engineering And Construction Pvt. Ltd.
100.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, upto 90 metre depth below ground level. Rocky strata including Boulders 300 mm dia | 160.00 | Metre | 115.00 | 1100.00 | 176000.00 | 1100.00 | 176000.00 | 600.00 | 96000.00 | 1200.00 | 192000.00 | 96000.00 | PARWAL GROUP
101.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, reparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer -in-charge, beyond 90 metre & upto 150 metre depth below ground level. Rocky strata including Boulders 300 mm dia | 120.00 | Metre | 116.00 | 1300.00 | 156000.00 | 1050.00 | 126000.00 | 450.00 | 54000.00 | 1200.00 | 144000.00 | 54000.00 | PARWAL GROUP
102.00 | Gravel packing in tubewell construction in accordance with IS: 4097, including providing gravel fine/ medium/ coarse, in required grading & sizes as per actual requirement, all complete as per direction of Engineer-in-charge | 12.00 | Cum | 117.00 | 1500.00 | 18000.00 | 950.00 | 11400.00 | 1500.00 | 18000.00 | 2500.00 | 30000.00 | 11400.00 | Proficio Engineering And Construction Pvt. Ltd.
103.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, ERW (Electric Resistance Welded) FE 410 mild steel screwed and socketed/plain ended casing pipes of required dia, conforming to IS: 4270, of reputed & approved make, including painted with outside surface with two coats of anticorrosive paint of approved brand and manufacture, including required hire & labour charges, fittings & accessories, all complete, for all depths, as per direction of Engineer-in-charge. 200 mm nominal size dia having minimum wall thickness 5.40 mm | 120.00 | Metre | 118.00 | 2000.00 | 240000.00 | 1400.00 | 168000.00 | 550.00 | 66000.00 | 2500.00 | 300000.00 | 66000.00 | PARWAL GROUP
104.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, ERW (Electric Resistance Welded) FE 410 plain slotted (having slot of size 1.6/3.2 mm) mild steel threaded and socketed/ plain bevel ended pipe (type A) of required dia, conforming to IS: 8110, of reputed and approved make, having wall thickness not less than 5.40 mm, including painted with outside surface with two coats of anticorrosive bitumestic paint of approved brand and manufacture, including hire & labour charges, fittings & accessories, all complete, for all depths, as per direction of Engineer -in-charge. 200 mm nominal size dia | 180.00 | Metre | 119.00 | 2200.00 | 396000.00 | 1400.00 | 252000.00 | 550.00 | 99000.00 | 2700.00 | 486000.00 | 99000.00 | PARWAL GROUP
105.00 | Development of tube well in accordance with IS : 2800 (part I) and IS: 11189, to establish maximum rate of usable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by "V" notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, i/c disinfection of tubewell, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge. | 20.00 | Hour | 120.00 | 700.00 | 14000.00 | 700.00 | 14000.00 | 1000.00 | 20000.00 | 5000.00 | 100000.00 | 14000.00 | M/S M.K.Constructions, Proficio Engineering And Construction Pvt. Ltd.
106.00 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for borewell of: 200 mm dia | 2.00 | Each | 121.00 | 400.00 | 800.00 | 280.00 | 560.00 | 200.00 | 400.00 | 1800.00 | 3600.00 | 400.00 | PARWAL GROUP
107.00 | Providing and fixing M.S. clamp of required dia to the top of casing/ housing pipe of tubewell as per IS: 2800 (part I), including necessary bolts & nuts of required size complete 200 mm clamp | 2.00 | Each | 122.00 | 400.00 | 800.00 | 1800.00 | 3600.00 | 200.00 | 400.00 | 900.00 | 1800.00 | 400.00 | PARWAL GROUP
108.00 | Providing and fixing Bail plug/ Bottom plug of required dia to the bottom of pipe assembly of tubewell as per IS:2800 (part I). 200 mm dia | 2.00 | Each | 123.00 | 400.00 | 800.00 | 300.00 | 600.00 | 200.00 | 400.00 | 900.00 | 1800.00 | 400.00 | PARWAL GROUP
109.00 | Ground water survey / investigation by Geophysical resistivity method for assessment of availablity , quality and depth of water bearing zone in the ground including man power, machinary, submition of report & transpotation etc. complete as per standard practice and direction of Engineer-in-charge. | 2.00 | Job | 124.00 | 10000.00 | 20000.00 | 15000.00 | 30000.00 | 20000.00 | 40000.00 | 12000.00 | 24000.00 | 20000.00 | M/S M.K.Constructions
110.00 | Providing Engineering Consultancy for Preparation and submission of detailed working and structural drawing of over head water tank as per standard engineering practices. The consultant shall be solely responsible for the adequacy and structural safety of the proposed structure. Agency has to submit detailed design calculation and the copies of detailed drawings for execution of work in three sets of hard copy. The complete work shall be executed as per the direction of engineer in charge. | 1.00 | Job | 125.00 | 250000.00 | 250000.00 | 18000.00 | 18000.00 | 100000.00 | 100000.00 | 54000.00 | 54000.00 | 18000.00 | Proficio Engineering And Construction Pvt. Ltd.
| Total in Figures |  |  |  |  | 23408310.00 |  | 19790577.50 |  | 20895193.00 |  | 23197450.10
Lowest Amount Quoted BY: Proficio Engineering And Construction Pvt. Ltd.(19790577.50)

## BOQ Summary
BOQ Summary Details Tender Title: Up-gradation of Kota Airport for RCS operations, S.H. C-o Boundary wall, Cooling pit, fire pit, OHWT, Raising of Boundary wall, Renovation of Terminal building and other misc civil works Tender ID: 2022_AAI_140064_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Proficio Engineering And Construction Pvt. Ltd. | 19790577.50 | L1
| 2 | PARWAL GROUP | 20895193.00 | L2
| 3 | R K AND CO | 23197450.10 | L3
| 4 | M/S M.K.Constructions | 23408310.00 | L4