## BoQ1
Government eProcurement System Created By: JEEVITESH AMLE Created Date/Time: 03-Feb-2023 12:07 PM Tender Title: PROCUREMENT AND INSTALLATION OF RTU FOR CENTRALIZED SCADA SYSTEM FOR NAGPUR - JABALPUR PIPELINE, (PART C) OF MNJPL PROJECT Tender ID: 2022_GAIL_131425_1
Tender Inviting Authority: GAIL India Ltd
Name of Work: PROCUREMENT AND INSTALLATION OF RTU FOR CENTRALIZED SCADA SYSTEM FOR NAGPUR - JABALPUR PIPELINE, (PART C) OF MNJPL PROJECT.
Contract No: 2022_GAIL_131425
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Synergy Systems and Solutions(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART 1 - PS-Supply
2.00 | Project Management, Design, Engineering, Procurement of Materials, fabrications/ manufacturing, Inspection & Factory Acceptance Testing at works, Supply, Packaging, Shipping, Insurance, Port Handling, Custom Clearance, Inland Transportation to site, Storage & Safety, Installation along with necessary software, installation material, cables (all armored), Exp Cable Glands, connectors, power supply & surge protection devices, erection of foundation support channel on trench for panel erection, cable trays, test instruments / equipment, Test Run, Pre‐commissioning activity, Commissioning, Training, Technical support, Warranty, Extended Warranty, Post Warranty Maintenance contract, Mandatory & commissioning spares, Documentation etc and shall be executed on turnkey indivisible works contract basis as per details scope of work, Technical Specification of RTU Annexure I to MR, & this MR. All above with additionally supply & installation of RTU panels (size appx 800mm x 800mm x 2000mm plus 100mm base frame & 15 mm anti vibration pad), Preparation of data bank for RTU mapping with centralised SCADA as per desired format, Site Acceptance testing & Integration with FEP SERVERS & Centralized SCADA system, Integration with Telecom System & local IEDs complete in all respect. Location details will be provided after order placement or during detailed engineering. All proposed locations are tentative and may change during detailed engineering / execution; bidder shall follow instruction of client / EIC during installation.
3.00 | Supply: Supply with all work define above
4.00 | Remote terminal units (RTU) with accessories For Sectionalising Valve (SV) Stations.
5.00 | For Maharashtra State Location: SV2 | 1.00 | Nos. |  | 537442.50 | 634182.15 | 634182.15 | Synergy Systems and Solutions
6.00 | For Madhya Pradesh State Location: SV4, SV6, SV8, SV10 Spare 1 no. | 5.00 | Nos. |  | 537442.50 | 3170910.75 | 3170910.75 | Synergy Systems and Solutions
7.00 | Remote terminal units (RTU) with accessories For Receiving / Dispatch stations For Madhya Pradesh State Location: Chhindwara and Jabalpur Spare: 1 no. | 3.00 | Nos. |  | 729782.97 | 2583431.70 | 2583431.70 | Synergy Systems and Solutions
8.00 | PDT with all accessories including all cables & connectors as per the Technical specifications of RTU with RTU configuration software For Madhya Pradesh State Location: Chhindwara and Jabalpur | 2.00 | Nos. |  | 375600.00 | 886416.00 | 886416.00 | Synergy Systems and Solutions
9.00 | Mandatory Spares: Supply of loose Mandatory Spares (For all RTU with spare - 10% of all type of Installed cards, convertors, power supply/ converters, termination boards, OEM cables between cards and termination boards, backplanes, relays, RTU chassis etc. accounted & calculated considering total quantities of RTU of respective regions / states), during calculation of mandatory spares as defined in this MR (Bill of Material has to be provided along with offer, any fraction quantity should be round off to nearest number in higher side). Unit rate for Mandatory spares with cards details, part no., make etc. shall be given separately with the offer & price part. (10% Spare or Minimum One shall be calculated based on the total RTU quantities; region / state wise;)
10.00 | For all the RTU & Equipment supplied for Maharashtra State | 1.00 | Lot |  | 159963.17 | 188756.54 | 188756.54 | Synergy Systems and Solutions
11.00 | For all the RTU & Equipment supplied for Madhya Pradesh State | 1.00 | Lot |  | 399907.93 | 471891.36 | 471891.36 | Synergy Systems and Solutions
12.00 | Industrial standard Tool kit for equipment with leather bag For Madhya Pradesh State Location: Chhindwara and Jabalpur | 2.00 | Sets |  | 9600.00 | 22656.00 | 22656.00 | Synergy Systems and Solutions
13.00 | Test equipments as per specification -
14.00 | Portable Power Source cum Calibrator (Current & Voltage) as per specification For Madhya Pradesh State Location: Chhindwara and Jabalpur | 2.00 | Nos. |  | 177300.00 | 418428.00 | 418428.00 | Synergy Systems and Solutions
15.00 | 4 ½ Digit Multi-meter as per specification For Madhya Pradesh State Location: Chhindwara and Jabalpur | 2.00 | Nos. |  | 36000.00 | 84960.00 | 84960.00 | Synergy Systems and Solutions
16.00 | Protocol Analyser (Test harness or equivalent) as per the specification defined in this MR For Madhya Pradesh State | 1.00 | No. |  | 105595.30 | 124602.45 | 124602.45 | Synergy Systems and Solutions
17.00 | RTU test unit (test jig) with each type of RTU cards, power supply, CPU, communication, serial, AI, DI, AO, DO cards for simulating RTU test environment (to be mounted in 19” rack) (fully wired rack of 800 mm x 800 mm x 2000 mm plus base frame of 100 mm & 15 mm anti vibration pad) as per MR. For Madhya Pradesh State Location: Chhindwara | 1.00 | No. |  | 552138.43 | 651523.35 | 651523.35 | Synergy Systems and Solutions
18.00 | Design, Engineering & Supply of RWS consisting of all Hardware & System Software with license, necessary accessories, console, furniture (two executive chairs for each Workstation) as defined in Scope of work in this MR (Centralised SCADA RWS software will be provided by M/s Yokogawa India Limited). For Madhya Pradesh State Location: Chhindwara and Jabalpur | 2.00 | Nos. |  | 1487275.00 | 3509969.00 | 3509969.00 | Synergy Systems and Solutions
19.00 | Design, Engineering, configuration & Supply of Router with 3 Ethernet and 4 WAN connection ports (With Inbuilt IPS, IDS and Firewall) consisting of all Hardware & System Software with license, necessary wall mounted rack, necessary accessories as defined in Scope of work in this MR. For Madhya Pradesh State Location: Chhindwara and Jabalpur | 2.00 | Nos. |  | 1182443.00 | 2790565.48 | 2790565.48 | Synergy Systems and Solutions
20.00 | Extended Warranty per month The Extended Warranty shall be provided for 24 months. Delay not attributable to vendor: If the delay is beyond 8 months from the Contractual Completion date, to keep the main warranty intact, vendor will be paid extended warranty (quoted by the vendor) from 9th months (from Contractual Completion date) till successful completion of trial run/ acceptance of system by owner / handing over of system. Delay from vendor: If there is delay from vendor for supply of the system, then the delay period will be additionally added (delayed supply period + 8 month) and extended warranty rate will be paid beyond this period till successful completion of trial run/ acceptance of system by owner / handing over of system. In case the site delay goes beyond 24 months of the quoted extended warranty, the period of extended warranty will be increased based on quoted rate and same terms and conditions of contract. (Decision of start date & no of month extension of extended warranty will be as per instruction of client/ EIC)
21.00 | For all the RTU & Equipment supplied for Maharashtra State | 24.00 | Months |  | 3697.43 | 104711.28 | 104711.28 | Synergy Systems and Solutions
22.00 | For all the RTU & Equipment supplied for Madhya Pradesh State | 24.00 | Months |  | 7394.86 | 209422.32 | 209422.32 | Synergy Systems and Solutions
37.00 | Total price including all costs, freight, insurance till commissioning, GTS etc.
38.00 | PART 2 - Site work
39.00 | SERVICE AND SITE WORK Installation, Testing & commissioning, Training, Interfacing with Instrumentation, Telecommunication, Electrical, CP system, APPS system any other work as define above, work for the completion/ hook‐up of RTU to FEP and Centralized SCADA system complete in all respect as per MR and as per the direction of the EIC.
40.00 | Remote terminal units (RTU) with accessories For Sectionalising Valve (SV) Stations.
41.00 | For Maharashtra State Location: SV2 | 1.00 | Nos. |  | 47360.00 | 55884.80 | 55884.80 | Synergy Systems and Solutions
42.00 | For Madhya Pradesh State Location: SV4, SV6, SV8, SV10 | 4.00 | Nos. |  | 47360.00 | 223539.20 | 223539.20 | Synergy Systems and Solutions
43.00 | Remote terminal units (RTU) with accessories For Receiving / Dispatch stations For Madhya Pradesh State | 2.00 | Nos. |  | 47360.00 | 111769.60 | 111769.60 | Synergy Systems and Solutions
44.00 | All above work at Site & Services work for Remote Workstation (RWS) consisting of all Hardware & System Software with license, necessary accessories, console, furniture as defined in Scope of work in this MR. (Centralised SCADA RWS software will be provided by M/s Yokogawa India Limited; however, loading and any related support required if any in bidder’s scope). For Madhya Pradesh State | 2.00 | Sets |  | 28554.00 | 67387.44 | 67387.44 | Synergy Systems and Solutions
45.00 | All above work at Site & Services work for Router with 3 LAN and 4 WAN connection ports (With Inbuilt IPS, IDS and Firewall) and configuration as per requirement as defined in Scope of work in this MR. For Madhya Pradesh State | 2.00 | Sets |  | 28554.00 | 67387.44 | 67387.44 | Synergy Systems and Solutions
46.00 | Training (as defined in this MR) at OEM testing facilities /Integration centre) before the final acceptance of the RTU for Centralised SCADA system by the Client For Madhya Pradesh State | 1.00 | Lot |  | 50000.00 | 59000.00 | 59000.00 | Synergy Systems and Solutions
47.00 | All-inclusive per month rates for maintaining store at site (State wise / regions wise for the supplied material of respective state / regions). (Refer Note 7)
48.00 | For all the RTU & Equipment supplied for Maharashtra State | 24.00 | Months |  | 14800.00 | 419136.00 | 419136.00 | Synergy Systems and Solutions
49.00 | For all the RTU & Equipment supplied for Madhya Pradesh State | 24.00 | Months |  | 14800.00 | 419136.00 | 419136.00 | Synergy Systems and Solutions
50.00 | All-inclusive per month rates for maintaining store at site (State wise / regions wise for the supplied material of respective state / regions) beyond contractual completion time. (Refer Note 11)
51.00 | For all the RTU & Equipment supplied for Maharashtra State | 24.00 | Months |  | 15800.00 | 447456.00 | 447456.00 | Synergy Systems and Solutions
52.00 | For all the RTU & Equipment supplied for Madhya Pradesh State | 24.00 | Months |  | 15800.00 | 447456.00 | 447456.00 | Synergy Systems and Solutions
53.00 | All-inclusive Man-day rates for services such as (all or less) installation/ supervision / configuration / simulations / data bank mapping/ integration /Testing & Commissioning of RTUs with SCADA system valid for the next 7 years from FOA within Worley pipelines project applicable as & when required. The rates shall be valid for the next 7 year with the escalation from 3rd Year (from FOA) of 6 % of unit rate per year (date of FOA) as per SOR. (Note -9)
54.00 | For Maharashtra State | 3.00 | Mandays |  | 15700.00 | 55578.00 | 55578.00 | Synergy Systems and Solutions
55.00 | For Madhya Pradesh State | 12.00 | Mandays |  | 15700.00 | 222312.00 | 222312.00 | Synergy Systems and Solutions
56.00 | Total price including all costs including GST for SiteWorks
57.00 | PART 3 - Post Warranty Period
58.00 | Post warranty maintenance contract (PWMC) – comprehensive for supplied RTU and accessories, Test equipment complete as define in the Particular Job specification / bid document for complete system for 3 years after completion of main warranty / extended warranty complete in all respect as define in particular Job specification. Payment will be made on quarterly basis. (Note -8)
59.00 | For all the RTU & Equipment supplied for Maharashtra State | 1.00 | Lot |  | 300240.00 | 354283.20 | 354283.20 | Synergy Systems and Solutions
60.00 | For all the RTU & Equipment supplied for Madhya Pradesh State | 1.00 | Lot |  | 400320.00 | 472377.60 | 472377.60 | Synergy Systems and Solutions
61.00 | NOTE: 1. The offer shall be evaluated on package wise basis ( Supply + Site Works +Post warranty maintenance contract ). 2.The above shall be read in conjunction with notes of MR .
| Total in Figures |  |  |  |  | 19275129.66
Lowest Amount Quoted BY: Synergy Systems and Solutions(19275129.66)

## BoQ2
Government eProcurement System Created By: JEEVITESH AMLE Created Date/Time: 03-Feb-2023 12:07 PM Tender Title: PROCUREMENT AND INSTALLATION OF RTU FOR CENTRALIZED SCADA SYSTEM FOR NAGPUR - JABALPUR PIPELINE, (PART C) OF MNJPL PROJECT Tender ID: 2022_GAIL_131425_1
Tender Inviting Authority: GAIL India Ltd
Name of Work: PROCUREMENT AND INSTALLATION OF RTU FOR CENTRALIZED SCADA SYSTEM FOR NAGPUR - JABALPUR PIPELINE, (PART C) OF MNJPL PROJECT.
Contract No: 2022_GAIL_131425
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Synergy Systems and Solutions(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | ADDITION / DELETION
2.00 | Unit rate for addition or deletion of any of the following item and shall involve all the works including the design, engineering, transport, insurance, loading, unloading, supply, erection, cabling, glanding, termination, testing and commissioning of the respective item, complete in all respect as per the tender
3.00 | Analog Input Card (including all required TBs, cabling and termination inside the panel) | 1.00 | No. |  | 32884.00 | 38803.12 | 38803.12 | Synergy Systems and Solutions
4.00 | Analog Output Card (including all required TBs, cabling and termination inside the panel) | 1.00 | No. |  | 51338.00 | 60578.84 | 60578.84 | Synergy Systems and Solutions
5.00 | Digital Input Card (including all required TBs, cabling and termination inside the panel) | 1.00 | No. |  | 61479.00 | 72545.22 | 72545.22 | Synergy Systems and Solutions
6.00 | Digital Output Card (including all required TBs, relays, relay boards, cabling and termination inside the panel) | 1.00 | No. |  | 36652.00 | 43249.36 | 43249.36 | Synergy Systems and Solutions
7.00 | Communication Card/ serial interfacing card (including all required TBs, SPD, cabling and termination inside the panel) | 1.00 | No. |  | 72996.00 | 86135.28 | 86135.28 | Synergy Systems and Solutions
8.00 | DNP Communication Module (including all required TBs, SPD, cabling and termination inside the panel) | 1.00 | No. |  | 74844.00 | 88315.92 | 88315.92 | Synergy Systems and Solutions
9.00 | Total FOT site price incl. inland transportaion, GST etc.
| Total in Figures |  |  |  |  | 389627.74
Lowest Amount Quoted BY: Synergy Systems and Solutions(389627.74)

## BOQ Summary
BOQ Summary Details Tender Title: PROCUREMENT AND INSTALLATION OF RTU FOR CENTRALIZED SCADA SYSTEM FOR NAGPUR - JABALPUR PIPELINE, (PART C) OF MNJPL PROJECT Tender ID: 2022_GAIL_131425_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Synergy Systems and Solutions | 19275129.66 | L1
BoQ2 | 1 | Synergy Systems and Solutions | 389627.74 | L1