## BoQ1
Government eProcurement System Created By: ASHISH GOEL Created Date/Time: 07-Feb-2023 03:13 PM Tender Title: SITC EXTERNAL GRID POWER Tender ID: 2022_GAIL_135717_1
Tender Inviting Authority: GAIL (INDIA) Limited
Name of Work:Contract for SUPPLY, INSTALLATION, TESTING & COMMISSIONING OF EXTERNAL WORK OF 11KV GRID POWER SUPPLY FROM DHBVN SUBSTATION TO GAIL, CHHAINSA COMPRESSOR STATION
Contract No: GAIL/NOIDA/C&P/CHN/22-23/145
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | HINDUSTAN VIDYUT UDYOG(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of PCC Poles 11 Mtr Long Make - DHBVN Approved *SITC-Supply, Installation, Testing and Commissioning | 80.00 | EA |  | 5910.20 | 557922.88 | 557922.88 | HINDUSTAN VIDYUT UDYOG
2.00 | SITC of ACSR Conductor 100mm2 Make - DHBVN Approved | 200.00 | M |  | 114.00 | 26904.00 | 26904.00 | HINDUSTAN VIDYUT UDYOG
3.00 | SITC of GI Channel 100*50*6 mm Painted Make- TATA/SAIL/DHBVN Approved | 900.00 | Kg |  | 119.70 | 127121.40 | 127121.40 | HINDUSTAN VIDYUT UDYOG
4.00 | SITC of GI Channel 75*40*6 mm Painted Make- TATA/SAIL/DHBVN Approved | 1500.00 | Kg |  | 121.10 | 214347.00 | 214347.00 | HINDUSTAN VIDYUT UDYOG
5.00 | SITC of GI Angle 50*50*6 mm Painted Make- TATA/SAIL/DHBVN Approved | 750.00 | Kg |  | 120.00 | 106200.00 | 106200.00 | HINDUSTAN VIDYUT UDYOG
6.00 | SITC of GI Flat 50*6mm Painted Make - TATA/SAIL/DHBVN Approved | 700.00 | Kg |  | 113.50 | 93751.00 | 93751.00 | HINDUSTAN VIDYUT UDYOG
7.00 | SITC of GI Nut & Bolts Make - DHBVN Approved | 450.00 | Kg |  | 117.20 | 62233.20 | 62233.20 | HINDUSTAN VIDYUT UDYOG
8.00 | SITC of 11kv GO Switch Heavy Duty, Complete Set Make - Rashtriya Electrical/DHBVN Approved | 4.00 | EA |  | 10516.60 | 49638.35 | 49638.35 | HINDUSTAN VIDYUT UDYOG
9.00 | SITC of GI Chemical Earthing, 3 Mtr Long Make - Trust Power/True Power/DHBVN Approved | 20.00 | EA |  | 4964.80 | 117169.28 | 117169.28 | HINDUSTAN VIDYUT UDYOG
10.00 | SITC of GI Strip 25*6mm for Earthing Connect Make - DHBVN Approved | 20.00 | EA |  | 1441.90 | 34028.84 | 34028.84 | HINDUSTAN VIDYUT UDYOG
11.00 | SITC of 11kv Pin Insulator with Pin Make - Rashtriya Electrical/DHBVN Approved | 96.00 | EA |  | 155.40 | 17603.71 | 17603.71 | HINDUSTAN VIDYUT UDYOG
12.00 | SITC of 11kv TR XLPE, Aluminium Armoured, 3 Core X 300mm2 Make - Havells/Polycab/Gemscab/DHBVN Approved | 2100.00 | Mtr |  | 2052.00 | 5084856.00 | 5084856.00 | HINDUSTAN VIDYUT UDYOG
13.00 | SITC of 11kv End-Termination Kit 3 Core X 300mm2 Outdoor Type Make- 3M/RayChem/Denson/DHBVN Approved | 20.00 | EA |  | 1276.00 | 30113.60 | 30113.60 | HINDUSTAN VIDYUT UDYOG
14.00 | SITC of 11kv End-Termination Kit 3 Core X 300mm2 Indoor Type Make- 3M/RayChem/Denson/DHBVN Approved | 4.00 | EA |  | 1044.00 | 4927.68 | 4927.68 | HINDUSTAN VIDYUT UDYOG
15.00 | SITC of HDPE Pipe 160mm dia for Rod crossing by Boring Make- Eonn Plast/Mohit Pipe/DHBVN Approved | 400.00 | M |  | 766.80 | 361929.60 | 361929.60 | HINDUSTAN VIDYUT UDYOG
16.00 | SITC of 11kv HT Meter Panel With CT/PT Complete Set Make - DHBVN Approved | 2.00 | EA |  | 42980.30 | 101433.51 | 101433.51 | HINDUSTAN VIDYUT UDYOG
17.00 | SITC of 3 Phase -4/wire HT CT/PT Energy Meter Make - DHBVN Approved | 2.00 | EA |  | 4002.00 | 9444.72 | 9444.72 | HINDUSTAN VIDYUT UDYOG
18.00 | SITC of Polymeric Cable Cleat Make - DHBVN Approved | 70.00 | EA |  | 80.60 | 6657.56 | 6657.56 | HINDUSTAN VIDYUT UDYOG
19.00 | SITC of 11kv Danger Plate with Clamp Make - DHBVN Approved | 80.00 | EA |  | 78.90 | 7448.16 | 7448.16 | HINDUSTAN VIDYUT UDYOG
20.00 | SITC of 11kv Number Plate with Clamp Make - DHBVN Approved | 80.00 | EA |  | 78.90 | 7448.16 | 7448.16 | HINDUSTAN VIDYUT UDYOG
21.00 | SITC of Stay Set Complete Make - DHBVN Approved | 18.00 | EA |  | 1599.60 | 33975.50 | 33975.50 | HINDUSTAN VIDYUT UDYOG
22.00 | SITC of Stay Wire 7/8 SWG Make - DHBVN Approved | 252.00 | Kg |  | 95.70 | 28457.35 | 28457.35 | HINDUSTAN VIDYUT UDYOG
23.00 | SITC of Disc for Stay Make - Rashtriya Electrical/DHBVN Approved | 32.00 | EA |  | 117.20 | 4425.47 | 4425.47 | HINDUSTAN VIDYUT UDYOG
24.00 | SITC of 11kv LA Polymeric for H-Pole & DP Make- Lamco/Rashtriya Elect./DHBVN Approved | 18.00 | EA |  | 2320.00 | 49276.80 | 49276.80 | HINDUSTAN VIDYUT UDYOG
25.00 | SITC of Earth Mat for Switchyard Make - DHBVN Approved | 100.00 | Kg |  | 92.80 | 10950.40 | 10950.40 | HINDUSTAN VIDYUT UDYOG
| Total in Figures |  |  |  |  | 7148264.17
Lowest Amount Quoted BY: HINDUSTAN VIDYUT UDYOG(7148264.17)

## BOQ Summary
BOQ Summary Details Tender Title: SITC EXTERNAL GRID POWER Tender ID: 2022_GAIL_135717_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HINDUSTAN VIDYUT UDYOG | 7148264.17 | L1