## BoQ1
eProcurement System Government of India Created By: Khalid Saifullah Created Date/Time: 18-May-2022 03:54 PM Tender Title: Interior renovation and furniture works for Skill Development centre for IWAI and Aayush Tender ID: 2022_IWAI_685665_1
Tender Inviting Authority: Inland Waterways Authority of India
Name of Work: Interior, renovation and furniture works for Skill Development centre for IWAI & Aayush at property Dag No. 812 near ISBT, Guwahati, Assam.
Contract No: IWAI/GHY/3(9)/New Office/2022
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Solar Designs Private Limited(GSTN-33AAGCS1208P1ZA) |  | Eastern Envo Protect(GSTN-18AACFE0219K1ZN) |  | Thar Interiors(GSTN-29ABEPJ7281M1Z2) |  | PACIFIC ENGINEERS(GSTN-19AAOFM3882C1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | INTERIOR WORK
1.01 | Providing and fixing 50 mm thick wooden partition made of 38 mm x 38 mm hollock or kail wood frame at 300 mm c/c both ways clad with 6 mm commercial ply on both sides. Wooden batten to be provided with 20 dia. holes and PVC conduit for cables complete including all necessary screws etc. and all vertical exposed edges to be finished with 1.0 mm thick matt finish laminate of approved make, design/ shade all complete as per direction of engineer –in- charge. | 582.35 | sqm |  | 4222.00 | 2458681.70 | 3850.00 | 2242047.50 | 5128.00 | 2986290.80 | 3450.00 | 2009107.50 | 2009107.50 | PACIFIC ENGINEERS
1.02 | Providing and fixing 450 mm high glazing over wooden partition in 50 mm x 50 mm frame made with Kiln seasoned and chemically treated hollock wood member @ 900 mm c/c and horizontal top and bottom members panelled with 5 mm thick glass panes with 22 x 22 mm beading including cost of ready mixed pink primer of approved brand and manufacture all complete as per direction of Engineer-in-Charge. | 5.40 | sq.m |  | 4316.00 | 23306.40 | 3850.00 | 20790.00 | 5780.00 | 31212.00 | 3890.00 | 21006.00 | 20790.00 | Eastern Envo Protect
1.03 | Providing and fixing 450 mm high white board over wooden partition in 50 mm x 50 mm frame made with Kiln seasoned and chemically treated hollock wood member @ 900 mm c/c and horizontal top and bottom members panelled with white board or pinup board fixed with 22 x 22 mm beading including cost of ready mixed pink primer of approved brand and manufacture all complete as per direction of Engineer-in-Charge. | 4.00 | sq.m |  | 4372.00 | 17488.00 | 3850.00 | 15400.00 | 5920.00 | 23680.00 | 3150.00 | 12600.00 | 12600.00 | PACIFIC ENGINEERS
2.00 | Providing and fixing wooden members made with Kiln seasoned and chemically treated hillock wood as per architectural drawing on wall/ partitions etc. finished in spray painting with synthetic paint of approved shade and colour as per specification including preparation of base surface, priming coat etc. complete as per direction of Engineer-in-Charge.a) 175 x 18 mm in skirtin | 176.81 | Metre |  | 393.00 | 69486.33 | 1200.00 | 212172.00 | 360.00 | 63651.60 | 1250.00 | 221012.50 | 63651.60 | Thar Interiors
2.01 | b) 116 mm x 25 mm ban | 176.81 | Metre |  | 336.00 | 59408.16 | 1350.00 | 238693.50 | 340.00 | 60115.40 | 780.00 | 137911.80 | 59408.16 | Solar Designs Private Limited
2.02 | c) 158 mm x 38 mm corni | 200.81 | Metre |  | 420.00 | 84340.20 | 1500.00 | 301215.00 | 665.00 | 133538.65 | 695.00 | 139562.95 | 84340.20 | Solar Designs Private Limited
3.00 | Providing and fixing column of size 110 x 110 mm made of 30 mm x 30 mm hollock or kail wood 4 nos. of member fixed with same member to each other in all ways clad with 6 mm commercial ply on all sides complete including all necessary screws etc. and cost of ready mixed pink primer of approved brand and manufacture all complete as per direction of Engineer-in-Charge. | 5.00 | Nos. |  | 2018.00 | 10090.00 | 4200.00 | 21000.00 | 4700.00 | 23500.00 | 32800.00 | 164000.00 | 10090.00 | Solar Designs Private Limited
4.00 | Providing and fixing fixed glazing in wooden partition in frame made with teak cornice beading members of size 32mm x 32 mm both side panelled with 5 mm thick glass panes with 22 x 22 mm beading including cost of ready mixed pink primer of approved brand and manufacture all complete as per direction of Engineer-in-Charge. | 2.00 | Sq.m |  | 393.00 | 786.00 | 3800.00 | 7600.00 | 5100.00 | 10200.00 | 8500.00 | 17000.00 | 786.00 | Solar Designs Private Limited
5.00 | Providing and fixing white board or pinup board in frame made with teak cornice beading members of size 32mm x 32 mm single side fixed with 22 x 22 mm beading including cost of ready mixed pink primer of approved brand and manufacture all complete as per direction of Engineer-in-Charge. | 5.00 | Sq.m |  | 281.00 | 1405.00 | 3850.00 | 19250.00 | 4950.00 | 24750.00 | 6500.00 | 32500.00 | 1405.00 | Solar Designs Private Limited
6.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound, jointing tapes, finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with. a) 12.5 mm thick tapered edge gypsum fire resistant board conforming to IS: 2095- Part – I(DSR item no. 12.45.1) | 600.00 | Sq.m |  | 106.00 | 63600.00 | 1250.00 | 750000.00 | 1148.00 | 688800.00 | 1850.00 | 1110000.00 | 63600.00 | Solar Designs Private Limited
7.00 | Providing and fixing tiled false ceiling of approved materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre- painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. :a) 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. (DSR Item no. 12.52.3) | 375.00 | Sq.m |  | 191.00 | 71625.00 | 1950.00 | 731250.00 | 2646.00 | 992250.00 | 1620.00 | 607500.00 | 71625.00 | Solar Designs Private Limited
8.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). a) Kiln seasoned and chemically treated hillock wood (CPWD DSR Item no 9.1.3) | 1.06 | Cum |  | 2803.00 | 2971.18 | 75000.00 | 79500.00 | 182000.00 | 192920.00 | 175000.00 | 185500.00 | 2971.18 | Solar Designs Private Limited
9.00 | Providing and fixing ISI marked flush door shutters conforming to IS: 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both face of shutters. a) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (CPWD DSR Item no. 9.21.1) | 44.00 | sqm. |  | 11771.00 | 517924.00 | 3500.00 | 154000.00 | 4680.00 | 205920.00 | 8500.00 | 374000.00 | 154000.00 | Eastern Envo Protect
10.00 | Providing and fixing 8.3 mm thick wooden laminate flooring on existing floor with adhesive. The flooring shall be made with wooden plank of size 1215 mm x 195 mm with double click locking system of approved design, shade and colour including the cost of all required labour, material and wastage etc. complete as per direction of Engineer-in-Charge. | 325.00 | Sqm. |  | 6636.00 | 2156700.00 | 1700.00 | 552500.00 | 1883.00 | 611975.00 | 2250.00 | 731250.00 | 552500.00 | Eastern Envo Protect
11.00 | Providing and fixing 8.3 mm thick wooden laminate skirting on existing floor with adhesive. The flooring shall be made with wooden plank of size 1215 mm x 195 mm with double click locking system of approved design, shade and colour including the cost of all required labour, material and wastage etc. complete as per direction of Engineer-in-Charge. | 28.00 | sqm. |  | 7287.00 | 204036.00 | 1800.00 | 50400.00 | 2560.00 | 71680.00 | 2360.00 | 66080.00 | 50400.00 | Eastern Envo Protect
12.00 | Providing, making & fixing of wooden cupboard/wall unit made with 19 mm thick commercial board of approved quality and horizontal 8 mm thick glass shelves with openable shutter made with 19 mm thick commercial board and 5 mm thick glass panes finished with teak veneer inside and outside including cost of locks, catchers, tower bolts of approved make, colour & design with require screws & nails etc. complete. The cupboard is to be finished by melamine polish on both side as per drawing and direction of Engineer-in-Charge. | 10.00 | Sqm. |  | 19902.00 | 199020.00 | 16500.00 | 165000.00 | 12300.00 | 123000.00 | 12000.00 | 120000.00 | 120000.00 | PACIFIC ENGINEERS
13.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface: a) Water thinnable cement primer (CPWD DSR item no. 13.43) | 660.00 | Sqm. |  | 90.00 | 59400.00 | 75.00 | 49500.00 | 86.00 | 56760.00 | 65.00 | 42900.00 | 42900.00 | PACIFIC ENGINEERS
14.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade. a) Two or more coats on new work (CPWD DSR item no. 13.60) | 660.00 | Sqm |  | 135.00 | 89100.00 | 165.00 | 108900.00 | 151.00 | 99660.00 | 110.00 | 72600.00 | 72600.00 | PACIFIC ENGINEERS
15.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. a) Size of Tile 600x600 mm (CPWD DSR item no. 11.46.2) | 460.00 | Sq.m. |  | 2171.00 | 998660.00 | 1560.00 | 717600.00 | 1592.00 | 732320.00 | 1750.00 | 805000.00 | 717600.00 | Eastern Envo Protect
16.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade: a) Two or more coats on new work | 50.40 | Sqm. |  | 169.00 | 8517.60 | 275.00 | 13860.00 | 165.00 | 8316.00 | 85.00 | 4284.00 | 4284.00 | PACIFIC ENGINEERS
17.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete: a) 120 mm | 20.00 | Nos. |  | 169.00 | 3380.00 | 135.00 | 2700.00 | 350.00 | 7000.00 | 120.00 | 2400.00 | 2400.00 | PACIFIC ENGINEERS
18.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. a) Twin rubber stopper. | 20.00 | Nos. |  | 224.00 | 4480.00 | 140.00 | 2800.00 | 160.00 | 3200.00 | 350.00 | 7000.00 | 2800.00 | Eastern Envo Protect
19.00 | Providing and fixing bright finished brass 75 mm mortice latch and lock, ISI marked, with six levers and a pair to anodised (anodic coating not less than grade AC 10 as per IS: 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | 20.00 | Nos. |  | 2466.00 | 49320.00 | 4000.00 | 80000.00 | 2680.00 | 53600.00 | 1560.00 | 31200.00 | 31200.00 | PACIFIC ENGINEERS
20.00 | Providing & fixing automatic Hydraulic door closer of approved quality and make with necessary screws etc. complete. (Non-Schedule) | 20.00 | Nos. |  | 1962.00 | 39240.00 | 1850.00 | 37000.00 | 2900.00 | 58000.00 | 2250.00 | 45000.00 | 37000.00 | Eastern Envo Protect
21.00 | Providing wall paneling over 38 mm x 38 mm hollock or kail wood frame at 300 mm c/c with fixing of 6 mm commercial ply and finished with teak or equivalent veneer of approved make, design & shade over commercial ply and finished with liker polish including cost of all required labour and material like adhesive, screws & nail etc. complete as per direction of Engineer-In-Charge. | 180.00 | Sqm |  | 3139.00 | 565020.00 | 4200.00 | 756000.00 | 4215.00 | 758700.00 | 3680.00 | 662400.00 | 565020.00 | Solar Designs Private Limited
22.00 | Providing paneling over flush door shutters of following type including cost of all required labour and material like adhesive, screws & nail etc. complete as per direction of Engineer-In-Charge: a) With 1.0 mm thick matt finish laminate of approved make, design/ shade. | 50.40 | Sqm |  | 1514.00 | 76305.60 | 3450.00 | 173880.00 | 865.00 | 43596.00 | 2960.00 | 149184.00 | 43596.00 | Thar Interiors
22.01 | b) With teak or equivalent veneer of approved make, design & shade and finished with liker/melamine polish. | 50.40 | Sqm |  | 4484.00 | 225993.60 | 4700.00 | 236880.00 | 2205.00 | 111132.00 | 3900.00 | 196560.00 | 111132.00 | Thar Interiors
23.00 | Providing and fixing vertical blinds with 100 mm width Fabrice of approved make, colour & shade including cost of all required rods, mechanism, fittings and chain & weight etc. complete as per direction of Engineer-In-Charge. (Non-Schedule) | 50.00 | sqm |  | 964.00 | 48200.00 | 1650.00 | 82500.00 | 1520.00 | 76000.00 | 2290.00 | 114500.00 | 48200.00 | Solar Designs Private Limited
24.00 | Providing and fixing motorised roller blinds of approved size, make, colour & shade including cost of all required mechanism, fittings and remote etc. complete as per direction of Engineer-In- Charge. (Non-Schedule) | 4.00 | Nos. |  | 21692.00 | 86768.00 | 7350.00 | 29400.00 | 48500.00 | 194000.00 | 12000.00 | 48000.00 | 29400.00 | Eastern Envo Protect
25.00 | Electrical Work
26.00 | Point wiring: Supply all materials receiving, storing, handling, fixing, laying, wiring and testing for 6A/16 A socket, points, starting from DB to point control box using 2 x 2.5 sq. mm mm copper conductor PVC insulated 1100 volts grade wiring cable from point control box to primary point/out let in surface/ concealed conduting system using screw enameled, ISI marked, 20mm/ 25mm/ 32mm ERW MS conduit including all conduit accessories such as bends, tees, draw-boxes, , M. S point control boxes, fan regulator boxes together with wiring/accessories such as PVC bushes, for conduit ends, ceiling roses, batten holders (wherever required), chrome plated brass screws, including 1.0 sqmm Copper PVC insulated earth wire, conduit being concealed either in ceiling slab/ wall/ floor chase/ wall paneling including supply of 6A,16A modular type switches & sockets, making and filling of chases with cement mortar etc., and repainting the chased wall and bringing it to actual shape as per standard specifications. a) 3 Pin 16 A plug sock | 38.00 | Nos. |  | 1402.00 | 53276.00 | 1500.00 | 57000.00 | 3391.00 | 128858.00 | 1150.00 | 43700.00 | 43700.00 | PACIFIC ENGINEERS
26.01 | b) 3 Pin 6 A plug socke | 77.00 | Nos. |  | 1290.00 | 99330.00 | 1100.00 | 84700.00 | 3600.00 | 277200.00 | 1280.00 | 98560.00 | 84700.00 | Eastern Envo Protect
27.00 | Point wiring: Supply all materials receiving, storing, handling, fixing, laying, wiring and testing for light, fan, exhaust fan, 6 A socket, points, starting from DB to point control box using 2 x 1.5 sq. mm copper conductor PVC insulated 1100 volts grade wiring cable from point control box to primary point/out let in surface/ concealed conduting system using screw enameled, ISI marked, 20mm/ 25mm/ 32mm ERW MS conduit including all conduit accessories such as bends, tees, draw-boxes, M. S fan hook boxes, M. S point control boxes, fan regulator boxes together with wiring/accessories such as PVC bushes, for conduit ends, ceiling roses, batten holders (wherever required), chrome plated brass screws, including 0.75 sqmm Copper PVC insulated earth wire, conduit being concealed either in ceiling slab/ wall/ floor chase/ wall paneling including supply of 6A moduler type switches & sockets, making and filling of chases with cement mortar etc., and repainting the chased wall and bringing it to actual shape as per standard specifications. a) Light point | 115.00 | Nos. |  | 785.00 | 90275.00 | 950.00 | 109250.00 | 3100.00 | 356500.00 | 390.00 | 44850.00 | 44850.00 | PACIFIC ENGINEERS
27.01 | b) Call bell poin | 9.00 | Nos. |  | 1682.00 | 15138.00 | 1100.00 | 9900.00 | 3100.00 | 27900.00 | 1450.00 | 13050.00 | 9900.00 | Eastern Envo Protect
27.02 | c) Fan point | 36.00 | Nos. |  | 1682.00 | 60552.00 | 900.00 | 32400.00 | 3100.00 | 111600.00 | 1120.00 | 40320.00 | 32400.00 | Eastern Envo Protect
28.00 | Supply and fixing following module type switches and sockets including supply and fixing of suitable MS boxes. a) 16 A one way switch | 30.00 | Nos. |  | 281.00 | 8430.00 | 1100.00 | 33000.00 | 230.00 | 6900.00 | 850.00 | 25500.00 | 6900.00 | Thar Interiors
28.01 | b) 6 A/16 A 6 pin socket with switch | 30.00 | Nos. |  | 1066.00 | 31980.00 | 950.00 | 28500.00 | 350.00 | 10500.00 | 680.00 | 20400.00 | 10500.00 | Thar Interiors
29.00 | A set of 2 nos. 6 Amp. Socket control by 1 switch for UPS including necessary wiring, Modular Boxes and conduting etc. (Module type switch and socket) | 15.00 | Nos. |  | 1066.00 | 15990.00 | 1050.00 | 15750.00 | 612.00 | 9180.00 | 1200.00 | 18000.00 | 9180.00 | Thar Interiors
30.00 | Supply, fixing 4 pair twin core telephone wiring cable in PVC/MS conduit as required and as per standard specifications. | 180.00 | Metre |  | 185.00 | 33300.00 | 110.00 | 19800.00 | 125.00 | 22500.00 | 195.00 | 35100.00 | 19800.00 | Eastern Envo Protect
31.00 | Supplying and fixing following modular switch/ socket on the modular plate & switch box including cost of required boxes, connections & modular plate etc. as required. a) Telephone socket outlet | 30.00 | Nos. |  | 477.00 | 14310.00 | 450.00 | 13500.00 | 200.00 | 6000.00 | 780.00 | 23400.00 | 6000.00 | Thar Interiors
32.00 | Supply and fixing following Data/ Lan modular socket on the modular plate, switch box including cost of required boxes connections & modular plate etc. as required. a) RJ-45 Socket. | 30.00 | Nos. |  | 505.00 | 15150.00 | 550.00 | 16500.00 | 380.00 | 11400.00 | 690.00 | 20700.00 | 11400.00 | Thar Interiors
33.00 | Supply and drawing of UTP Cat 6 Data/ Lan wiring cable for computer communication (Data/ Lan wiring) system in the existing surface/ recessed steel/ PVC conduit/ raceway as required. | 250.00 | Metre |  | 51.00 | 12750.00 | 120.00 | 30000.00 | 120.00 | 30000.00 | 210.00 | 52500.00 | 12750.00 | Solar Designs Private Limited
34.00 | Supplying and fixing of the following Telephone TAG Blocks made out of M.S. sheets of 18 SWG thickness properly welded complete with all accessories such as tag bloc, connector (KRONE make), mounting strips, tapped holes, fixing bolts, approved shad of paint after primer as per specifications. a) 20 Pair | 1.00 | No. |  | 729.00 | 729.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 4500.00 | 4500.00 | 729.00 | Solar Designs Private Limited
35.00 | ACDB: Supply, receiving, storing, handling, erecting, testing and commissioning of cabinet type distribution board made of 1.8 mm rust inhibited and baked enamel painted sheet steel and comprising of incoming MCB outgoing MCBs neutral bus links, cover entry plates, earthing bus with bolts interconnections, mounting lugs, bolts, grouting, etc. complete as per standard specifications and direction of Engineer-in-charge. a) GFACDB/FFACDB 4 way TP DB with 9 nos. MCBs of 32 A rating controlled by one no. 63 A 4P MCCB. | 1.00 | No. |  | 20739.00 | 20739.00 | 48000.00 | 48000.00 | 21000.00 | 21000.00 | 5500.00 | 5500.00 | 5500.00 | PACIFIC ENGINEERS
36.00 | Light & Power DB: Supply, receiving, storing, handling, erecting, testing and commissioning of cabinet type distribution board made of 1.8 mm rust inhibited and baked enamel painted sheet steel and comprising of incoming MCB outgoing MCBs neutral bus links, cover entry plates, earthing bus with bolts interconnections, mounting lugs, bolts, grouting, etc. complete as per standard specifications and direction of Engineer-in-charge. a) 4 way TP DB with 10 nos. MCBs of 16 A & 6 No nos. MCBs of 10 A rating controlled by one no. 63 A 4P MCCB. | 1.00 | No. |  | 26344.00 | 26344.00 | 39000.00 | 39000.00 | 18000.00 | 18000.00 | 6100.00 | 6100.00 | 6100.00 | PACIFIC ENGINEERS
37.00 | Supply, receiving, storing, handling, fixing, wiring for AC starting from DB to Ac metal clad industrial socket with wiring accessories such as PVC bushes identification ferrules etc. as per standard specification and direction of Engineer-in-charge complete. a) 2 X 4.0 sq.mm + 1 X 1.5 sq.mm copper conductor wire cable in PVC conduit/ PVC batten. | 25.00 | Nos. |  | 5045.00 | 126125.00 | 6500.00 | 162500.00 | 4088.00 | 102200.00 | 480.00 | 12000.00 | 12000.00 | PACIFIC ENGINEERS
38.00 | Supply, fixing, connecting and testing 3 pin 32 A SP metal clad industrial type socket controlled by 32 A SPMCB as per specification and direction of Engineer-in-charges. | 25.00 | Nos. |  | 3308.00 | 82700.00 | 4500.00 | 112500.00 | 3615.00 | 90375.00 | 2950.00 | 73750.00 | 73750.00 | PACIFIC ENGINEERS
39.00 | Supply of the following LED lights of approved make comprising of basic channel, holder, and required necessary electrical fittings complete with decorative attachments etc. as per specification given below: (a) Recessed light fixture/fitting of size 600 mm x 600 mm with 36 W LED light | 98.00 | Nos |  | 4429.00 | 434042.00 | 4140.00 | 405720.00 | 2200.00 | 215600.00 | 6500.00 | 637000.00 | 215600.00 | Thar Interiors
39.01 | (b) Decorative recessed down light fixture/fitting of 140 | 23.00 | Nos |  | 3924.00 | 90252.00 | 2500.00 | 57500.00 | 1300.00 | 29900.00 | 1450.00 | 33350.00 | 29900.00 | Thar Interiors
39.02 | (c) LED Light tube light of 1200 mm size with capacity of 24 W LED. | 9.00 | Nos. |  | 281.00 | 2529.00 | 1800.00 | 16200.00 | 700.00 | 6300.00 | 1890.00 | 17010.00 | 2529.00 | Solar Designs Private Limited
39.03 | (d) LED Light tube light of 600 mm size with capacity of 12 W LED. | 11.00 | Nos. |  | 336.00 | 3696.00 | 1500.00 | 16500.00 | 600.00 | 6600.00 | 1480.00 | 16280.00 | 3696.00 | Solar Designs Private Limited
40.00 | Fixing of luminaires mentioned in above items including required wiring for connection and connector with existing wiring complete as direction of Engineer-in-Charge. | 140.00 | Nos |  | 1402.00 | 196280.00 | 300.00 | 42000.00 | 100.00 | 14000.00 | 780.00 | 109200.00 | 14000.00 | Thar Interiors
41.00 | Supply of following fans of standard quality and make (5 star or 4 star) a) Ceiling fan | 30.00 | Nos. |  | 4092.00 | 122760.00 | 2500.00 | 75000.00 | 3500.00 | 105000.00 | 3800.00 | 114000.00 | 75000.00 | Eastern Envo Protect
41.01 | b) Wall fan | 5.00 | Nos. |  | 2847.00 | 14235.00 | 3000.00 | 15000.00 | 4300.00 | 21500.00 | 3800.00 | 19000.00 | 14235.00 | Solar Designs Private Limited
41.02 | c) Exhaust fan | 4.00 | Nos. |  | 2074.00 | 8296.00 | 2000.00 | 8000.00 | 3300.00 | 13200.00 | 4500.00 | 18000.00 | 8000.00 | Eastern Envo Protect
42.00 | Fixing of fans with required wires and connector etc. | 50.00 | Nos. |  | 729.00 | 36450.00 | 300.00 | 15000.00 | 400.00 | 20000.00 | 690.00 | 34500.00 | 15000.00 | Eastern Envo Protect
43.00 | Furniture Work
43.01 | Manufacturing and supplying of Super Executive table of size 2400 mm x 1050 mm x 750 mm high made with 19 mm thick commercial board of approved make and quality and finish with teak veneer of approved make, design/ shade as directed with border made of 2nd class teak wood of size 25 x 30 mm all round fixed in the table. Three drawers, one central tray and one openable shutter shall be provided as per drawing. All internal surfaces shall be painted with synthetic enamel paint and external surface shall be finished with French sprit polish other than laminated area and complete with required fittings, hinges, knobs, locks, grommets & handle etc. as per drawing and as per direction of Engineer-in- charge. | 1.00 | No. |  | 25783.00 | 25783.00 | 85000.00 | 85000.00 | 65500.00 | 65500.00 | 250000.00 | 250000.00 | 25783.00 | Solar Designs Private Limited
44.00 | Manufacturing and supplying of wooden Executing Credenza as per drawing made of 19 mm thick commercial board of approved make and quality and finish with teak veneer of approved make, design/ shade as directed with border made of 2nd class teak wood of size 25 x 30 mm all round fixed in the table with necessary drawers and openable, shutters . All internal surfaces shall be painted with synthetic enamel paint and external surface shall be finished with French sprit polish and complete with required fittings, hinges, knobs, locks & handle etc. as per drawing and as per direction of Engineer-in-charge. a) Side credenza (Size 1800 x 450 x 650 mm) | 1.00 | No. |  | 16815.00 | 16815.00 | 32500.00 | 32500.00 | 27300.00 | 27300.00 | 45000.00 | 45000.00 | 16815.00 | Solar Designs Private Limited
44.01 | b) Back Credenza (Size 1839 x 600 x 750 mm) | 1.00 | No. |  | 20178.00 | 20178.00 | 37000.00 | 37000.00 | 30000.00 | 30000.00 | 40000.00 | 40000.00 | 20178.00 | Solar Designs Private Limited
45.00 | Manufacturing and supplying of Executive table of size 1500 mm x 900 mm x 750 mm high made with 19 mm thick commercial board of approved make and quality and finish with teak veneer of approved make, design/ shade as directed with border made of 2nd class teak wood of size 25 x 30 mm all round fixed in the table. Three drawers, one central tray and one openable shutter shall be provided as per drawing. All internal surfaces shall be painted with synthetic enamel paint and external surface shall be finished with French sprit polish other than painted area and complete with required fittings, hinges, knobs, locks, grommets & handle etc. as per drawing and as per direction of Engineer-in-charge. | 4.00 | Nos. |  | 16815.00 | 67260.00 | 70000.00 | 280000.00 | 55000.00 | 220000.00 | 165000.00 | 660000.00 | 67260.00 | Solar Designs Private Limited
46.00 | Manufacturing and supplying of wooden Credenza as per drawing made of 19 mm thick commercial board of approved make and quality and finish with teak veneer of approved make, design/ shade as directed with border made of 2nd class teak wood of size 25 x 30 mm all round fixed in the table with necessary drawers and openable, shutters. All internal surfaces shall be painted with synthetic enamel paint and external surface shall be finished with French sprit polish other than painted area and complete with required fittings, hinges, knobs, locks & handle etc. as per drawing and as per direction of Engineer-in- charge. a) Side credenza (Size 1300 x 450 x 650 mm) | 4.00 | Nos. |  | 14573.00 | 58292.00 | 24500.00 | 98000.00 | 24000.00 | 96000.00 | 14800.00 | 59200.00 | 58292.00 | Solar Designs Private Limited
47.00 | Manufacturing and supplying of office staff working tables size 1500 mm x 600 mm x 750 mm high and laminate finish with 1.0 mm thick matt finish laminate of approved make, design/ shade partition portions painted with synthetic enamel paint of approved colour, 12 mm thick covered board drawer & 10 mm thick commercial board openable shutter, 19 mm thick commercial board open shelves for use of computer and 100 mm high skirting made of 19 mm thick commercial board skirting and complete with required fittings, hinges, knobs, locks, grommets & handle etc. as per drawing and as per direction of Engineer-in-charge. | 4.00 | Nos. |  | 9529.00 | 38116.00 | 28000.00 | 112000.00 | 28000.00 | 112000.00 | 35000.00 | 140000.00 | 38116.00 | Solar Designs Private Limited
48.00 | Supply and manufacture of side Credenza of size 1050 mm x 450 mm x 650 mm made of 19 mm thick commercial board of approved make and quality laminated with 1.5 mm thick matt finish laminate sheet of approved make, design/ shade and provided with necessary drawers and openable shutters with approved make of lock and key with required mouldings brass hinges and knobs. All internal surfaces shall be enamel painted complete as per direction of Engineer-in-charge. | 4.00 | Nos. |  | 10313.00 | 41252.00 | 21000.00 | 84000.00 | 9600.00 | 38400.00 | 115000.00 | 460000.00 | 38400.00 | Thar Interiors
49.00 | Manufacturing and supplying of office staff working tables size 1050 mm x 600 mm x 750 mm high and laminate finish with 1.5 mm thick matt finish laminate of approved make, design/ shade partition portions painted with synthetic enamel paint of approved colour, 12 mm thick covered board drawer & 10 mm thick commercial board openable shutter, 19 mm thick open shelves for use of computer and 100 mm high skirting made of 19 mm thick commercial board skirting and complete with required fittings, hinges, knobs, locks, grommets & handle etc. as per drawing and as per direction of Engineer-in-charge.ge. | 4.00 | Nos. |  | 6166.00 | 24664.00 | 23000.00 | 92000.00 | 25500.00 | 102000.00 | 29500.00 | 118000.00 | 24664.00 | Solar Designs Private Limited
50.00 | Manufacturing and supplying of office staff working tables size 1200 mm x 600 mm x 750 mm high and laminate finish with 1.5 mm thick matt finish laminate of approved make, design/ shade partition portions painted with synthetic enamel paint of approved colour, 12 mm thick covered board drawer & 10 mm thick commercial board openable shutter, 19 mm thick commercial board open shelves for use of computer and 100 mm high skirting made of 19 mm thick commercial board skirting and complete with required fittings, hinges, knobs, locks, grommets & handle etc. as per drawing and as per direction of Engineer-in- charge. | 4.00 | Nos. |  | 7287.00 | 29148.00 | 25000.00 | 100000.00 | 26500.00 | 106000.00 | 22000.00 | 88000.00 | 29148.00 | Solar Designs Private Limited
51.00 | Supply and manufacture of side Credenza of size 750 mm x 400 mm x 650 mm made of 19 mm thick commercial board of approved make and quality laminated with 1.5 mm thick matt finish laminate sheet of approved make, design/ shade and provided with necessary drawers and openable shutters with approved make of lock and key with required moldings brass hinges and knobs. All internal surfaces shall be enamel painted complete as per direction of Engineer-in-charge. | 4.00 | Nos. |  | 8408.00 | 33632.00 | 15000.00 | 60000.00 | 4800.00 | 19200.00 | 90000.00 | 360000.00 | 19200.00 | Thar Interiors
52.00 | Supply of high back chairs with five pedestals, quilted back, adjustable pushback, PU arms, with 2 inch thickness of seat and back and upholstery as per approved sample and direction of Engineer-in-Charge a) Executive Chair | 2.00 | Nos. |  | 17376.00 | 34752.00 | 18000.00 | 36000.00 | 18000.00 | 36000.00 | 28900.00 | 57800.00 | 34752.00 | Solar Designs Private Limited
52.01 | b) Non-Executive Chair | 15.00 | Nos. |  | 11771.00 | 176565.00 | 6750.00 | 101250.00 | 13500.00 | 202500.00 | 24000.00 | 360000.00 | 101250.00 | Eastern Envo Protect
53.00 | Supply of medium back chairs with five pedestals, quilted back, adjustable pushback, PU arms, with 2 inch thickness of seat and back and upholstery as per approved sample and direction of Engineer-in-Charge | 50.00 | Nos. |  | 8968.00 | 448400.00 | 10650.00 | 532500.00 | 9500.00 | 475000.00 | 12800.00 | 640000.00 | 448400.00 | Solar Designs Private Limited
54.00 | Supply of sofa set (3 + 1 +1), (2 + 2) made with teak wood and high density seat and back finished with melamine polish including center table & side table made with teak wood and finished with melamine polish complete as per approved sample and direction of Engineer-in-Charge. | 20.00 | Seats |  | 9529.00 | 190580.00 | 110000.00 | 2200000.00 | 15000.00 | 300000.00 | 88000.00 | 1760000.00 | 190580.00 | Solar Designs Private Limited
55.00 | Supply of medium back chairs with five pedestals, quilted back, adjustable pushback, PU arms, with 2 inch thickness of seat and back and upholstery with textile of approved shade of approx. Rs. 250/- per metre as per approved sample and direction of Engineer- in-Charge | 35.00 | Nos. |  | 10089.00 | 353115.00 | 8750.00 | 306250.00 | 9800.00 | 343000.00 | 10500.00 | 367500.00 | 306250.00 | Eastern Envo Protect
56.00 | Supply of low back chairs with five pedestals, PU arms, with 2 inch thickness of seat and back and upholstery with textile of approved shade of approx. Rs. 350/- per metre as per approved sample and direction of Engineer- in-Charge | 5.00 | Nos. |  | 7287.00 | 36435.00 | 7580.00 | 37900.00 | 7800.00 | 39000.00 | 11500.00 | 57500.00 | 36435.00 | Solar Designs Private Limited
57.00 | Manufacturing and supplying of center table of size 900 mm x 450 mm x 450 mm high made with frame of 2nd class teak wood of required size with glass top of 8 mm thick and external surface shall be finished with French sprit polish. as per drawing and as per direction of Engineer-in- charge. | 5.00 | Nos. |  | 7287.00 | 36435.00 | 10580.00 | 52900.00 | 24000.00 | 120000.00 | 10500.00 | 52500.00 | 36435.00 | Solar Designs Private Limited
58.00 | Manufacturing and supplying of side table of size 600 mm x 600 mm x 450 mm high made with frame of 2nd class teak wood of required size with glass top of 8 mm thick and external surface shall be finished with French sprit polish. as per drawing and as per direction of Engineer-in- charge. | 10.00 | Nos. |  | 7287.00 | 72870.00 | 7500.00 | 75000.00 | 21000.00 | 210000.00 | 9500.00 | 95000.00 | 72870.00 | Solar Designs Private Limited
59.00 | Conference table of following size made out of ¾” teak and commercial board in U shape front of the table. Closed, the top of the table made out of ¾ teak Board, with half round teak wood molding on the edge of the top, the within of the top 16, running foot rest at bottom cable tray with the modesty panel for mic system, duly lackred polished. a) 9000 mm x 1800 mm | 1.00 | No. |  | 168150.00 | 168150.00 | 228000.00 | 228000.00 | 650000.00 | 650000.00 | 150000.00 | 150000.00 | 150000.00 | PACIFIC ENGINEERS
59.01 | b) 3000 mm x 1350 mm | 1.00 | No. |  | 56050.00 | 56050.00 | 78000.00 | 78000.00 | 30000.00 | 30000.00 | 56000.00 | 56000.00 | 30000.00 | Thar Interiors
60.00 | Conference and training Room facilities: LED panel, PA system, Projector & Other item etc. | 1.00 | Job |  | 560500.00 | 560500.00 | 2800.00 | 2800.00 | 750000.00 | 750000.00 | 150000.00 | 150000.00 | 2800.00 | Eastern Envo Protect
61.00 | Sanitary and toilet works: 15 mm cement plaster on rough side of single or half brick wall of mix :1:4 (1 cement: 4 coarse sand | 37.60 | Sqm |  | 371.00 | 13949.60 | 280.00 | 10528.00 | 1200.00 | 45120.00 | 450.00 | 16920.00 | 10528.00 | Eastern Envo Protect
61.01 | 15 mm cement plaster 1 : 3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement on the rough side of single or half brick wall. | 23.32 | Sqm |  | 505.00 | 11776.60 | 310.00 | 7229.20 | 1200.00 | 27984.00 | 330.00 | 7695.60 | 7229.20 | Eastern Envo Protect
61.02 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. a) Granite of any colour and shade (Non schedule) | 2.32 | Sqm |  | 4260.00 | 9883.20 | 3200.00 | 7424.00 | 5000.00 | 11600.00 | 4800.00 | 11136.00 | 7424.00 | Eastern Envo Protect
61.03 | Cutting hole in granite stone for fixing of wash basin (Non-Schedule) | 4.00 | Nos |  | 2803.00 | 11212.00 | 70.00 | 280.00 | 400.00 | 1600.00 | 320.00 | 1280.00 | 280.00 | Eastern Envo Protect
61.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in- Charge. a) Granite work. | 3.84 | M |  | 561.00 | 2154.24 | 450.00 | 1728.00 | 180.00 | 691.20 | 270.00 | 1036.80 | 691.20 | Thar Interiors
61.05 | Cutting hole of required size in RCC slab and wall by manual or mechanical mean and making good the same as per direction of Engineer-In-Charge. (Non-Schedule) | 12.00 | Nos |  | 1345.00 | 16140.00 | 150.00 | 1800.00 | 1600.00 | 19200.00 | 2890.00 | 34680.00 | 1800.00 | Eastern Envo Protect
61.06 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern with attached system, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including cutting and making good the walls and floors wherever required : a) W.C. pan of special type with white solid plastic seat and lid (Non-schedule) | 4.00 | Nos. |  | 20739.00 | 82956.00 | 16500.00 | 66000.00 | 28000.00 | 112000.00 | 14500.00 | 58000.00 | 58000.00 | PACIFIC ENGINEERS
61.07 | Providing and fixing white vitreous china over counter wash basin of size 500 x 400 mm of approved make and colour complete as per direction of Engineer-in-Charge. (Non-schedule) | 4.00 | Nos. |  | 7287.00 | 29148.00 | 9000.00 | 36000.00 | 18000.00 | 72000.00 | 5200.00 | 20800.00 | 20800.00 | PACIFIC ENGINEERS
62.00 | Providing and fixing heavy duty PVC pipe of following dia. for sanitary purpose including cost of all required fitting, fastener and hanging rod etc.: a) 100 mm | 146.40 | M |  | 336.00 | 49190.40 | 1150.00 | 168360.00 | 300.00 | 43920.00 | 1890.00 | 276696.00 | 43920.00 | Thar Interiors
62.01 | b) 80mm (Non-schedule) | 138.00 | M |  | 281.00 | 38778.00 | 900.00 | 124200.00 | 300.00 | 41400.00 | 1200.00 | 165600.00 | 38778.00 | Solar Designs Private Limited
63.00 | Providing and fixing CPVC pipe of following dia. for water supply including cost of all required fitting etc.: a) 25 mm | 131.20 | M |  | 281.00 | 36867.20 | 700.00 | 91840.00 | 150.00 | 19680.00 | 780.00 | 102336.00 | 19680.00 | Thar Interiors
63.01 | b) 20 mm (Non-schedule) | 36.60 | M |  | 247.00 | 9040.20 | 650.00 | 23790.00 | 140.00 | 5124.00 | 690.00 | 25254.00 | 5124.00 | Thar Interiors
64.00 | Providing and fixing CP brass bib cock of approved make and quality: a) Short body (Non-schedule) | 4.00 | Nos. |  | 1402.00 | 5608.00 | 1800.00 | 7200.00 | 450.00 | 1800.00 | 1850.00 | 7400.00 | 1800.00 | Thar Interiors
65.00 | Providing and fixing CP brass pillar cock of approved make and quality: a) Long body swan neck (Non-schedule) | 4.00 | Nos. |  | 1738.00 | 6952.00 | 2500.00 | 10000.00 | 700.00 | 2800.00 | 2690.00 | 10760.00 | 2800.00 | Thar Interiors
66.00 | Providing and fixing CP brass angel valve of approved make and quality. (Non-schedule) | 8.00 | Nos. |  | 2803.00 | 22424.00 | 1200.00 | 9600.00 | 300.00 | 2400.00 | 1700.00 | 13600.00 | 2400.00 | Thar Interiors
67.00 | Providing and fixing CP brass towel rod of 450 mm long with brackets of approved make and quality. (Non-schedule) | 4.00 | Nos. |  | 2074.00 | 8296.00 | 1200.00 | 4800.00 | 1500.00 | 6000.00 | 2380.00 | 9520.00 | 4800.00 | Eastern Envo Protect
68.00 | Providing and fixing CP brass towel ring with brackets of approved make and quality. (Non-schedule) | 4.00 | Nos. |  | 1682.00 | 6728.00 | 850.00 | 3400.00 | 1500.00 | 6000.00 | 1800.00 | 7200.00 | 3400.00 | Eastern Envo Protect
69.00 | Providing and fixing CP brass toilet paper holder of approved make and quality. (Non-schedule) | 4.00 | Nos. |  | 1682.00 | 6728.00 | 1500.00 | 6000.00 | 1800.00 | 7200.00 | 1400.00 | 5600.00 | 5600.00 | PACIFIC ENGINEERS
70.00 | Providing and fixing CP brass soap dish of approved make and quality. (Non-schedule) | 4.00 | Nos. |  | 1402.00 | 5608.00 | 850.00 | 3400.00 | 1200.00 | 4800.00 | 1850.00 | 7400.00 | 3400.00 | Eastern Envo Protect
71.00 | Providing and fixing CP brass two in one bib cock of approved make and quality. (Non-schedule) | 4.00 | Nos. |  | 1514.00 | 6056.00 | 2800.00 | 11200.00 | 1200.00 | 4800.00 | 1950.00 | 7800.00 | 4800.00 | Thar Interiors
72.00 | Providing and fixing CP brass jet spray with pipe of approved make and quality. (Non-schedule) | 4.00 | Nos. |  | 1906.00 | 7624.00 | 2000.00 | 8000.00 | 1800.00 | 7200.00 | 1890.00 | 7560.00 | 7200.00 | Thar Interiors
73.00 | Providing and fixing soap dispenser of approved make and quality. (Non-schedule) | 4.00 | Nos. |  | 1682.00 | 6728.00 | 1200.00 | 4800.00 | 1800.00 | 7200.00 | 1560.00 | 6240.00 | 4800.00 | Eastern Envo Protect
74.00 | Providing and fixing looking mirror of size 600 x 900 mm of approved make, design and fitting system. (Non-schedule) | 4.00 | Nos. |  | 2242.00 | 8968.00 | 2000.00 | 8000.00 | 1900.00 | 7600.00 | 2100.00 | 8400.00 | 7600.00 | Thar Interiors
75.00 | Providing and fixing CP brass grating of 100 mm dia. of approved make and quality. (Non-schedule) | 8.00 | Nos. |  | 2018.00 | 16144.00 | 200.00 | 1600.00 | 400.00 | 3200.00 | 220.00 | 1760.00 | 1600.00 | Eastern Envo Protect
76.00 | Providing and fixing CP brass waste jali for wash basin of approved make and quality. (Non-schedule) | 4.00 | Nos. |  | 224.00 | 896.00 | 450.00 | 1800.00 | 250.00 | 1000.00 | 225.00 | 900.00 | 896.00 | Solar Designs Private Limited
77.00 | Providing and fixing CP brass cap of approved make and quality. (Non-schedule) | 20.00 | Nos. |  | 202.00 | 4040.00 | 150.00 | 3000.00 | 650.00 | 13000.00 | 290.00 | 5800.00 | 3000.00 | Eastern Envo Protect
78.00 | Providing and fixing PVC connection of approved make and quality. (Non-schedule) | 8.00 | Nos. |  | 336.00 | 2688.00 | 350.00 | 2800.00 | 100.00 | 800.00 | 550.00 | 4400.00 | 800.00 | Thar Interiors
79.00 | Providing and fixing PVC waste pipe of 32 mm dia. of approved make and quality. (Non-schedule) | 4.00 | Nos. |  | 617.00 | 2468.00 | 350.00 | 1400.00 | 200.00 | 800.00 | 150.00 | 600.00 | 600.00 | PACIFIC ENGINEERS
80.00 | Providing and fixing following light fixture with LED lamps of approved make and design: a) Ceiling light | 4.00 | Nos. |  | 729.00 | 2916.00 | 3800.00 | 15200.00 | 1800.00 | 7200.00 | 3100.00 | 12400.00 | 2916.00 | Solar Designs Private Limited
80.01 | b) Wall light (Non-schedule) | 4.00 | Nos. |  | 729.00 | 2916.00 | 1800.00 | 7200.00 | 1800.00 | 7200.00 | 2800.00 | 11200.00 | 2916.00 | Solar Designs Private Limited
81.00 | Providing and constructing chamber for connection of lines of toilet to sewer line manhole made with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 and finished with 15 mm cement plaster 1 : 3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement including required cover and connection with sewer line manhole complete as per direction of engineer-in-charge. (Non-schedule) | 4.00 | Nos. |  | 5605.00 | 22420.00 | 3800.00 | 15200.00 | 4500.00 | 18000.00 | 75000.00 | 300000.00 | 15200.00 | Eastern Envo Protect
82.00 | Air Conditioners
83.00 | Supply of split type air conditioners of approved make and quality with 5 star rating suitable for floor, wall and ceiling mounting suitable for operation on 230 V+/-10% 50 Hzs, single phase Ac supply capable of performing following functions: (i) Cooling (ii) Dehumidifying (iii) Air circulating (iv) Filtering a) 1.5 TR capacity | 20.00 | Nos. |  | 62216.00 | 1244320.00 | 58000.00 | 1160000.00 | 52000.00 | 1040000.00 | 44000.00 | 880000.00 | 880000.00 | PACIFIC ENGINEERS
83.01 | b) 2.0 TR capacity | 5.00 | Nos. |  | 72865.00 | 364325.00 | 65000.00 | 325000.00 | 70000.00 | 350000.00 | 65000.00 | 325000.00 | 325000.00 | Eastern Envo Protect, PACIFIC ENGINEERS
84.00 | Cost of installation includes: For split type Mounting/fitting indoor and outdoor units at the respective locations as indicated by Engineer-in-charge/his representatives laying refrigerant piping & connecting both the un its after drilling hole/holes in the wall if required. Insulating the suction pipe with E.P. foam tubing. Laying drain pipe to throw out the condensate water being formed in the indoor unit. The entire system charging refrigerant gas in the unit. (The cost of extra cooper pipes and drain pipe up to 10 m is included). a) 1.5 T Split type Ac | 20.00 | Nos. |  | 47643.00 | 952860.00 | 3500.00 | 70000.00 | 15500.00 | 310000.00 | 3500.00 | 70000.00 | 70000.00 | Eastern Envo Protect, PACIFIC ENGINEERS
84.01 | b) 2.0 T Split type Ac | 5.00 | Nos. |  | 70063.00 | 350315.00 | 3500.00 | 17500.00 | 15500.00 | 77500.00 | 3500.00 | 17500.00 | 17500.00 | Eastern Envo Protect, PACIFIC ENGINEERS
85.00 | Supply of voltage stabilizer of approved make and quality for following capacity: a) 5 KW | 5.00 | Nos. |  | 13284.00 | 66420.00 | 7500.00 | 37500.00 | 3500.00 | 17500.00 | 6326.00 | 31630.00 | 17500.00 | Thar Interiors
85.01 | b) 4 KW | 20.00 | Nos. |  | 11771.00 | 235420.00 | 6500.00 | 130000.00 | 3500.00 | 70000.00 | 5000.00 | 100000.00 | 70000.00 | Thar Interiors
| Total in Figures |  |  |  |  | 15970866.21 |  | 16364937.20 |  | 16469199.65 |  | 18206933.15
Lowest Amount Quoted BY: Solar Designs Private Limited(15970866.21)

## BOQ Summary
BOQ Summary Details Tender Title: Interior renovation and furniture works for Skill Development centre for IWAI and Aayush Tender ID: 2022_IWAI_685665_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Solar Designs Private Limited | 15970866.21 | L1
| 2 | Eastern Envo Protect | 16364937.20 | L2
| 3 | Thar Interiors | 16469199.65 | L3
| 4 | PACIFIC ENGINEERS | 18206933.15 | L4