## BoQ1
Government eProcurement System Created By: Riddhiman Dey Created Date/Time: 01-Apr-2022 04:29 PM Tender Title: Construction of Toilets at ESIC Dispensary, Sector-II, Falta Special Economic Zone (FSEZ), Falta, West Bengal Tender ID: 2022_WAPCO_109020_1
Tender Inviting Authority: WAPCOS LIMITED
Name of Work: Construction of Toilets at ESIC Dispensary, Sector-II, Falta Special Economic Zone (FSEZ), Falta, West Bengal
Contract No: WAP/D&RE/KOL/FSEZ/PMC/2021-22/23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | K. B. Construction(GSTN-19ASBPS4446F1ZK) |  | SAHIL CONSTRUCTION(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth with all leads and lifts as directed by Engineer-in-charge. All kinds of soil | 11.00 | cum | 180.13 | 180.13 | 1981.43 | 189.14 | 2080.54 | 1981.43 | K. B. Construction
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering with all leads and lifts. | 4.00 | cum | 222.67 | 222.67 | 890.68 | 233.80 | 935.20 | 890.68 | K. B. Construction
3.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 2.00 | cum | 1894.98 | 1894.98 | 3789.96 | 1989.73 | 3979.46 | 3789.96 | K. B. Construction
4.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish with all leads and lifts. All kinds of soil | 25.00 | Sq.M. | 24.67 | 24.67 | 616.75 | 25.90 | 647.50 | 616.75 | K. B. Construction
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level. 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources. | 3.00 | cum | 6457.81 | 6457.81 | 19373.43 | 6780.70 | 20342.10 | 19373.43 | K. B. Construction
6.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 5.00 | cum | 9398.79 | 9398.79 | 46993.95 | 9868.73 | 49343.65 | 46993.95 | K. B. Construction
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 2.00 | Sq.M. | 270.01 | 270.01 | 540.02 | 283.51 | 567.02 | 540.02 | K. B. Construction
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 20.00 | Sq.M. | 679.92 | 679.92 | 13598.40 | 713.92 | 14278.40 | 13598.40 | K. B. Construction
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 25.00 | Sq.M. | 542.87 | 542.87 | 13571.75 | 570.01 | 14250.25 | 13571.75 | K. B. Construction
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 18.00 | Sq.M. | 705.18 | 705.18 | 12693.24 | 470.44 | 8467.92 | 8467.92 | SAHIL CONSTRUCTION
11.00 | Reinforced cement concrete work in walls (any thickness), including gattached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natu-ral sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 2.00 | cum | 8930.34 | 8930.34 | 17860.68 | 9376.86 | 18753.72 | 17860.68 | K. B. Construction
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 785.00 | Kg | 78.62 | 78.62 | 61716.70 | 82.55 | 64801.75 | 61716.70 | K. B. Construction
13.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement : 4 coarse sand) | 65.00 | Sq.M. | 892.64 | 892.64 | 58021.60 | 937.27 | 60922.55 | 58021.60 | K. B. Construction
14.00 | Brick work with common burnt clay modular bricks of class designation7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 4.00 | cum | 5038.86 | 5038.86 | 20155.44 | 5290.80 | 21163.20 | 20155.44 | K. B. Construction
15.00 | Brick soling with picked jhama bricks including preparation of bed as necessary with brick joints properly filledin and packed with powdered earth and including necessary cushion of similar material below the soling (and in between layers when more than one layer isused) completes as per direction. Single brick flat soling (thickness 75 mm.) | 75.00 | Sq.M. | 339.00 | 339.00 | 25425.00 | 355.95 | 26696.25 | 25425.00 | K. B. Construction
16.00 | 30 mm thick factory made Polyvinyl Chloride (PVC) doors hutter made of styles and rails of a uPVC hollow section of size 60x30 mm and wall thickness 2 mm (± 0.2 mm), within built decorative moulding edging on one side. The style sand rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wallthickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 25x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size100x30 mm and 2 mm (± 0.2 mm) wall thickness fixed to the shutter styles by means of plastic/ galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. | 7.00 | Sq.M. | 1761.12 | 1761.12 | 12327.84 | 1849.18 | 12944.26 | 12327.84 | K. B. Construction
17.00 | Providing and fixing factory made UPVC door frame made of UPVC extruded section having an overall dimension as below (tolerance a lmm) with wall thickness 2.0mma 0.2mm, comers of the door frame to be mitred and welded of plastic, galvanized brackets and stainless steel screws. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19mm and lmm z 0.1mm wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturers specification and direction of Engineer-in-charge Extruded section profile size 48x40 mm. | 20.00 | Mtr | 203.89 | 203.89 | 4077.80 | 214.08 | 4281.60 | 4077.80 | K. B. Construction
18.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). Sal wood | .05 | cum | 93571.22 | 93571.22 | 4678.56 | 98249.78 | 4912.49 | 4678.56 | K. B. Construction
19.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well-matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 4.00 | Sq.M. | 2705.92 | 2705.92 | 10823.68 | 2841.22 | 11364.88 | 10823.68 | K. B. Construction
20.00 | 20 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 85.00 | Sq.M. | 369.49 | 369.49 | 31406.65 | 387.96 | 32976.60 | 31406.65 | K. B. Construction
21.00 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : 1:4 (1 cement: 4 coarse sand) | 75.00 | Sq.M. | 310.82 | 310.82 | 23311.50 | 326.36 | 24477.00 | 23311.50 | K. B. Construction
22.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 35.00 | Sq.M. | 269.39 | 269.39 | 9428.65 | 282.86 | 9900.10 | 9428.65 | K. B. Construction
23.00 | Neat cement punning | 26.00 | Sq.M. | 59.44 | 59.44 | 1545.44 | 62.41 | 1622.66 | 1545.44 | K. B. Construction
24.00 | Finishing walls with Acrylic Smooth exterior paint of required shade. New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 95.00 | Sq.M. | 146.31 | 146.31 | 13899.45 | 153.63 | 14594.85 | 13899.45 | K. B. Construction
25.00 | White washing with lime to give an even shade :New work (three or more coats | 110.00 | Sq.M. | 28.44 | 28.44 | 3128.40 | 29.86 | 3284.60 | 3128.40 | K. B. Construction
26.00 | Applying priming coat: With ready mixed aluminium primer of approved brand and manufacture on resinous wood and plywood | 3.00 | Sq.M. | 55.20 | 55.20 | 165.60 | 57.96 | 173.88 | 165.60 | K. B. Construction
27.00 | Applying priming coat : With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel work (second coat) | 4.00 | Sq.M. | 26.07 | 26.07 | 104.28 | 27.37 | 109.48 | 104.28 | K. B. Construction
28.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 4.00 | Sq.M. | 167.83 | 167.83 | 671.32 | 176.22 | 704.88 | 671.32 | K. B. Construction
29.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/ sq.m including pointing the joints with white cement and matching pigments etc., complete. | 20.00 | Sq.M. | 970.67 | 970.67 | 19413.40 | 1019.20 | 20384.00 | 19413.40 | K. B. Construction
30.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming toIS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 80.00 | Sq.M. | 932.43 | 932.43 | 74594.40 | 979.05 | 78324.00 | 74594.40 | K. B. Construction
31.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | 18.00 | Sq.M. | 477.84 | 477.84 | 8601.12 | 501.73 | 9031.14 | 8601.12 | K. B. Construction
32.00 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6mm nominal size) as per direction of Engineer-in-charge and finished smooth. | 2.00 | Sq.M. | 2684.09 | 2684.09 | 5368.18 | 2818.29 | 5636.58 | 5368.18 | K. B. Construction
33.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 2.00 | Each | 1254.78 | 1254.78 | 2509.56 | 1317.52 | 2635.04 | 2509.56 | K. B. Construction
34.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 2.00 | Each | 2600.25 | 2600.25 | 5200.50 | 2730.26 | 5460.52 | 5200.50 | K. B. Construction
35.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets,40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | Each | 6086.18 | 6086.18 | 12172.36 | 6390.49 | 12780.98 | 12172.36 | K. B. Construction
36.00 | Constructing brick masonry chamber for underground C.I. inspection chamber and bends with bricks in cement mortar 1:4 (1 cement : 4coarse sand) C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover with frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg), R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 Fine sand : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:5:10 (1cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand), finished smooth with a floating coat of neat cement on walls and bed concrete etc. complete as per standard design: Inside dimensions 455x610 mm and 45 cm deep for single pipe line : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each | 6190.81 | 6190.81 | 6190.81 | 6500.35 | 6500.35 | 6190.81 | K. B. Construction
37.00 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (a) Double Socketed 3 Meter Length, (b) 110 mm | 18.00 | Mtr | 315.00 | 315.00 | 5670.00 | 330.75 | 5953.50 | 5670.00 | K. B. Construction
38.00 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 b) Plain Tee, (b) 110 mm | 2.00 | Each | 85.00 | 85.00 | 170.00 | 89.25 | 178.50 | 170.00 | K. B. Construction
39.00 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 c) Door Tee, (b) 110 mm | 2.00 | Each | 195.00 | 195.00 | 390.00 | 204.75 | 409.50 | 390.00 | K. B. Construction
40.00 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 d) Plain Y, (b) 110 mm | 2.00 | Each | 206.00 | 206.00 | 412.00 | 216.30 | 432.60 | 412.00 | K. B. Construction
41.00 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 e) Bend 87.5º, (b) 110 mm | 4.00 | Each | 120.00 | 120.00 | 480.00 | 126.00 | 504.00 | 480.00 | K. B. Construction
42.00 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 f) Door Bend, (b) 110 mm | 4.00 | Each | 147.00 | 147.00 | 588.00 | 154.35 | 617.40 | 588.00 | K. B. Construction
43.00 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 g) Vent Cowl, (b) 110 mm | 1.00 | Each | 33.00 | 33.00 | 33.00 | 34.35 | 34.35 | 33.00 | K. B. Construction
44.00 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 h) Pipe Clip, (b) 110 mm | 15.00 | Each | 21.00 | 21.00 | 315.00 | 22.05 | 330.75 | 315.00 | K. B. Construction
45.00 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 i) Passover | 3.00 | Each | 407.00 | 407.00 | 1221.00 | 427.35 | 1282.05 | 1221.00 | K. B. Construction
46.00 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 j) Rubber Ring,110mm dia. | 18.00 | Each | 17.00 | 17.00 | 306.00 | 17.85 | 321.30 | 306.00 | K. B. Construction
47.00 | Supplying, fitting and fixing CPVC (Chlorinated Polyvinyl Chloride) pipes of approved make conforming to IS-15778:2007. with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longs crew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required, joint in materials in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. 25 mm | 22.00 | Mtr | 208.00 | 208.00 | 4576.00 | 218.40 | 4804.80 | 4576.00 | K. B. Construction
48.00 | Supplying, fitting and fixing CPVC (Chlorinated Polyvinyl Chloride) pipes of approved make conforming to IS-15778:2007. with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longs crew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required, joint in gmaterials in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accessories, specials. 32 mm | 25.00 | Mtr | 283.00 | 283.00 | 7075.00 | 297.15 | 7428.75 | 7075.00 | K. B. Construction
49.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 4.00 | Each | 380.71 | 380.71 | 1522.84 | 399.75 | 1599.00 | 1522.84 | K. B. Construction
50.00 | Chromium plated Concealed Stop Cock (Equivalent to Code No. 514(A) & Model - Tropical / Sumthing Special of ESSCO or similar brand). | 2.00 | Each | 674.00 | 674.00 | 1348.00 | 707.70 | 1415.40 | 1348.00 | K. B. Construction
51.00 | Chromium plated angular Stop Cock with wall flange (Equivalent to Code No. 5053 & Model - Florentine of Jaquar or similar brand). | 7.00 | Each | 815.00 | 815.00 | 5705.00 | 855.75 | 5990.25 | 5705.00 | K. B. Construction
52.00 | Providing and fixing unplasticised P.V.C. connection pipe with PTMT Nuts, collar and bush of approved quality and colour. 15 mm nominal bore with 45 cm length | 7.00 | Each | 94.63 | 94.63 | 662.41 | 99.36 | 695.52 | 662.41 | K. B. Construction
53.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe. 40 mm dia | 5.00 | Each | 91.49 | 91.49 | 457.45 | 96.06 | 480.30 | 457.45 | K. B. Construction
54.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 2.00 | Each | 535.14 | 535.14 | 1070.28 | 561.90 | 1123.80 | 1070.28 | K. B. Construction
55.00 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish outside the periphery of the area cleared. | 50.00 | Sq.M. | 12.71 | 12.71 | 635.50 | 13.35 | 667.50 | 635.50 | K. B. Construction
56.00 | Supplying and laying Polythene Sheet (150gm /sq.m.) over damp proof course or bellow flooring or roof terracing or in foundation or foundation trenches. | 25.00 | Each | 24.00 | 24.00 | 600.00 | 25.20 | 630.00 | 600.00 | K. B. Construction
57.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and over flow pipes but without fittings and the base support for tank. | 500.00 | Ltr. | 8.49 | 8.49 | 4245.00 | 8.91 | 4455.00 | 4245.00 | K. B. Construction
58.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 32 mm nominal bore. | 2.00 | Each | 517.24 | 517.24 | 1034.48 | 543.10 | 1086.20 | 1034.48 | K. B. Construction
59.00 | Supplying, fitting and fixing shower of approved brand and make: Chromium plated round shower with revolving joint 100 mm dia with rubid cleaning system (Equivalent to Code No. 542(N) & Model Tropical / Sumthing Special of ESSCO or similar brand). | 2.00 | Each | 452.00 | 452.00 | 904.00 | 474.60 | 949.20 | 904.00 | K. B. Construction
60.00 | Supplying, fitting and fixing shower of approved brand and make: Chromium plated shower arm 240 mm long (Equivalent to Code No. 536(A) & Model - Tropical / Sumthing Special of ESSCO or similar brand). | 2.00 | Each | 309.00 | 309.00 | 618.00 | 324.45 | 648.90 | 618.00 | K. B. Construction
61.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding | 55.00 | Kg | 157.59 | 157.59 | 8667.45 | 165.47 | 9100.85 | 8667.45 | K. B. Construction
62.00 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty. Float glass panes of nominal thickness 4 mm (weight nor less than l0kg/sqm) | 3.00 | Sq.M. | 825.91 | 825.91 | 2477.73 | 867.21 | 2601.63 | 2477.73 | K. B. Construction
63.00 | Supplying, fitting and fixing Flat back urinal (half stall urinal) in white vitreous chinaware of approved make in position with brass screws on 75mm X 75 mm X 75 mm wooden blocks complete. 635 mm X 395 mm X 420 mm | 3.00 | Each | 945.00 | 945.00 | 2835.00 | 992.25 | 2976.75 | 2835.00 | K. B. Construction
64.00 | Supplying, fitting and fixing Squating plate with integral flushing in white vitreous chinaware of approved make in cement concrete (6:3:1) with jhama chips complete. (Payment of concrete will be paid separately). 450 mm X 350 mm | 2.00 | Each | 881.00 | 881.00 | 1762.00 | 925.05 | 1850.10 | 1762.00 | K. B. Construction
66.00 | Construction of septic tank of different capacities as per approved drawing with 1stclass brick work in cement mortar (1:4) including two 560 mm dia. R.C.C. manhole cover(heavy type)of approved make supplied, fitted and fixed in the 100mm thick R.C.C (1:1.5:3) top slab with necessary fittings, 20mm thick cement plaster (4 : 1)with neat cement finish to the internal surfaces and 15 mm thick cement plaster (4 : 1)to outside wall upto 200 mm below G.L floor finished with 25 mm thick grey artificial stone over 100 mm thick R.C.C(1:1.5:3) bottom slab including supplying, fitting and fixing all necessary specials, fittings, S.W. tees, C.I. foot rest etc. including excavation earth in all sorts of soil, shoring, bailing out and pumping out water as necessary, ramming, dressing the bed and fefilling the sides of the tanks with earth, removing spoils, filling up the chamber with clear water, removing foreign materials from the chamber and including constructing attached inspection pit as per approved drawing and connecting all necessary pipes, joints etc. with internal plaster work and artificial stone flooring is to be done with admixture of water proofing compound @ 0.5% by weight of cement with all costs of labour and materials. Note:- (i) Finished level of Septic Tank should be 400 mm. from Ground Level. (ii) Height of 50 mm. Ventilation pipe & Mosquito proof mesh, should be followed as per IS:2470, Part-I. Payment will be made separately on the basis of actual height based on relevant I.S.Code. (iii) For 30 users. A) With Pakur variety. (SAIL/TATA/RINL) | 1.00 | Each | 62210.00 | 62210.00 | 62210.00 | 65320.50 | 65320.50 | 62210.00 | K. B. Construction
67.00 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement: 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | 4.00 | Sq.M. | 361.45 | 361.45 | 1445.80 | 379.52 | 1518.08 | 1445.80 | K. B. Construction
68.00 | Supply and delivery at site of 2 Core 2.5 Sq mm PVC/XLPE insulated armoured Al conductor cable A2XWY/A2XFY of 1100V grade and conforming to IS:7098 (Part-I) 1988. (Make:- Polycab/Finolex or any other make as approved by EIC). | 25.00 | Mtr | 123.00 | 123.00 | 3075.00 | 129.15 | 3228.75 | 3075.00 | K. B. Construction
69.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of 2 Core 2.5 Sq mm size on wall surface as required. (clamped with 2mm thick saddle) | 5.00 | Mtr | 34.00 | 34.00 | 170.00 | 35.70 | 178.50 | 170.00 | K. B. Construction
70.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of 2 Core 2.5 Sq mm size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | 20.00 | Mtr | 301.00 | 301.00 | 6020.00 | 316.05 | 6321.00 | 6020.00 | K. B. Construction
71.00 | Supplying and fixing Sheet steel 240V DP with fuse on L&N, 15/16A Main Switch on flat iron frame on wall (Make:- Havells/Anchor or any other approved make as directed by EIC) | 1.00 | Set | 588.00 | 588.00 | 588.00 | 617.40 | 617.40 | 588.00 | K. B. Construction
72.00 | Supplying and fixing 6 way, double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper busbar, neutral bus bar, earth bar, din bar, inter connections, powder painted including earthling etc. as required to complete the work. (But without MCB/RCCB/Isolator). | 1.00 | Each | 1456.00 | 1456.00 | 1456.00 | 1528.80 | 1528.80 | 1456.00 | K. B. Construction
73.00 | Supplying and fixing 5 A to 32 A rating as required, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required to complete the work (Single Pole) | 4.00 | Each | 175.00 | 175.00 | 700.00 | 183.75 | 735.00 | 700.00 | K. B. Construction
74.00 | Supplying and fixing 5 A to 32 A rating as required, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required to complete the work (Single Pole & Neutral) | 1.00 | Each | 477.00 | 477.00 | 477.00 | 500.85 | 500.85 | 477.00 | K. B. Construction
75.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in recessed medium class PVC conduit as required. (2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire) | 21.00 | Mtr | 128.00 | 128.00 | 2688.00 | 134.40 | 2822.40 | 2688.00 | K. B. Construction
76.00 | Wiring for light point/exhaust fan point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in recessed medium class PVC conduit, with piano type switch, phenolic laminated sheet, suitable size M.S. box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. | 15.00 | Point | 665.00 | 665.00 | 9975.00 | 698.25 | 10473.75 | 9975.00 | K. B. Construction
77.00 | Installation, Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 5.00 | Each | 86.00 | 86.00 | 430.00 | 90.30 | 451.50 | 430.00 | K. B. Construction
78.00 | Installation, testing and commissioning of pre-wired tube fittings of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 3.00 | Each | 147.00 | 147.00 | 441.00 | 154.35 | 463.05 | 441.00 | K. B. Construction
79.00 | Installation of exhaust fan in the existing opening with proper safety nut, including making good the damage, connection, testing, commissioning etc. as required to complete the work. | 5.00 | Each | 318.00 | 318.00 | 1590.00 | 333.90 | 1669.50 | 1590.00 | K. B. Construction
80.00 | Supply & fixing Al. louver shutter on wall necy. Bolts & nuts | 5.00 | Each | 147.00 | 147.00 | 735.00 | 154.35 | 771.75 | 735.00 | K. B. Construction
81.00 | Supply & delivery of Decorative slim linear LED batten with inbuilt LED tube, 2.5 kV surge protection & insulation, Environment friendly, Energy efficient, Elegant design, No UV & IR radiations, Cool day light, 6500K, 20 W LED polycarbonate body tube light fitting complete with all accessories, lamp, driver etc. Technical Specification: - Rated Input Vol. - (140-270) V Wattage - 20 W Lumens Efficiency - 100 lumens/Watt CRI - > 80 Driver Efficiency - 90 % Length - 1150 mm (Make: Philips/Havells or any other approved make as directed by EIC) | 3.00 | Set | 505.00 | 505.00 | 1515.00 | 530.25 | 1590.75 | 1515.00 | K. B. Construction
82.00 | Supply & delivery of Decorative slim round shape LED panel with premium diffuser to ensure glare free even light, surge protection & insulation, Environment friendly, Energy efficient, Elegant design, No UV & IR radiations, 4000/6500K, 12 W LED light fitting complete with all accessories, lamp, driver etc. Technical Specification: - Rated Input Vol. - (140-270) V Wattage - 12 W Lumens Efficiency - 100 lumens/Watt (Make: Philips/Havells or any other approved make as directed by EIC) | 5.00 | Set | 890.00 | 890.00 | 4450.00 | 934.50 | 4672.50 | 4450.00 | K. B. Construction
83.00 | Supplying & Fixing Out door type CFL luminaries (Bajaj make) with epoxy powder coated sheet aluminum housing, aluminum reflector & clear acrylic cover and accessories incl. for 18 watts CFL S/L type lamp incl. S&F 15mm dia GI pipe bracket, clamp, nut & bolts etc.. | 2.00 | Each | 1211.76 | 1211.76 | 2423.52 | 1272.00 | 2544.00 | 2423.52 | K. B. Construction
84.00 | Supply & delivery of 230V, 225 mm sweep, metal blade with steel guard cover, powder coated metallic finish, high speed motor Exhaust Fan fitting complete with all accessories like mounting kit etc. Technical Specification: - No. of Blades - 3 nos. Colour - Approved by EIC Blade Design - Aerodynamically designed & balanced blade Air delivery - > 550 m³/h Rated Speed - > 1350 rpm Noise Level - (45-50) dB Power Consumption - 45-50 W (Make: Orient/Crompton/Bajaj or any other approved make as directed by EIC.) | 5.00 | Set | 1850.00 | 1850.00 | 9250.00 | 1942.50 | 9712.50 | 9250.00 | K. B. Construction
85.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 1.00 | Set | 4653.00 | 4653.00 | 4653.00 | 4885.65 | 4885.65 | 4653.00 | K. B. Construction
86.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 10.00 | Mtr. | 32.00 | 32.00 | 320.00 | 33.60 | 336.00 | 320.00 | K. B. Construction
| Total in Figures |  |  |  |  | 717241.99 |  | 748239.53
Lowest Amount Quoted BY: K. B. Construction(717241.99)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Toilets at ESIC Dispensary, Sector-II, Falta Special Economic Zone (FSEZ), Falta, West Bengal Tender ID: 2022_WAPCO_109020_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | K. B. Construction | 717241.99 | L1
| 2 | SAHIL CONSTRUCTION | 748239.53 | L2