## BoQ1
Government eProcurement System Created By: Akhil Gaur Created Date/Time: 19-Sep-2022 02:30 PM Tender Title: Construction of Children Park at Budgam, Block-Kargil, Union Territory of Ladakh Tender ID: 2022_WAPCO_115531_1
Tender Inviting Authority: WAPCOS LIMITED
Name of Work: Construction of Children Park at Budgam, Block-Kargil, Union Territory of Ladakh.
Contract No: WAP/BD,R&R/LADAKH/RDD/2021-22/06
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NUN KUN STC ENGINEERING OPC PVT. LTD.(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earthwork in excavation by Mechanical means (Hydraulic excavator) in trenches for foundation, drians, pipes, cables etc., not exceeding 1.5m in width and for shafts wells, cesspits and the like not exceeding 10sqm on plan, including dressing of sides and ramming of bottoms lift upto 1.5m, including getting out excavated earth and disposal of surplus excavated earth as directed, within lead of 50meters(J&K SR 2020 pg No. 79 Item No. 2.9)
1.01 | In all kinds of Soil (2.9.1) @ 75% | 28.31 | Cum | 100.00 | 300.00 | 8493.00 | 8493.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
1.02 | In Ordinary Rock (2.9.2) @ 15% | 1094.06 | Cum | 100.00 | 500.00 | 547030.00 | 547030.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
2.00 | Providing and laying in position cement concrete of specified grade including curing but excluding the cost of centring and shuttering. All work upto plinth level with: 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size)(J&K SR 2020 pg No. 89 Item No. 4.4.7)
2.01 | Bed Concrete | 12.91 | Cum | 100.00 | 5600.00 | 72296.00 | 72296.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
3.00 | Random Rubble masonry with hard stone in foundation and plinth including leveling up with cement concrete 1:6:12 (1 Cement : 6 coarse sand : 12 graded stone aggregate 20mm nominal size) upto plinth level and curing complete with: 7.1.1-Cement mortar 1:6 (1 Cement : 6 coarse sand) ((J&K SR 2020 pg No.111 Item No. 7.1.1) | 58.09 | Cum | 10.00 | 6000.00 | 348540.00 | 348540.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
4.00 | Random Rubble masonry with hard stone in superstructure above plinth level and upto floor five level, including levelling up with cement concrete 1:6:12 (1 Cement : 6 coarse sand : 12 graded stone aggregate 20mm nominal size) and curing complete at window sills, ceiling level and the like: Cement mortar 1:6 (1 Cement : 6 coarse sand)(J&K SR 2020 pg No.111 Item No. 7.2.1) | 84.24 | Cum | 10.00 | 6000.00 | 505440.00 | 505440.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
5.00 | Providing and laying in position cement concrete of specified grade including curing but excluding the cost of centring and shuttering. All work upto plinth level with: 4.4.2 1:1½:3 (1 cement :1½ coarse sand: 3 graded stone aggregate 20 mm nominal size)((J&K SR 2020 pg No.89 Item No. 4.4) | 4.21 | Cum | 10.00 | 10500.00 | 44205.00 | 44205.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
6.00 | Pointing on stone work with cement mortar 1 : 3 (1 cement : 3 fine sand) 13.42.1 Flush/Ruled Pointing)(J&K SR 2020 pg No.187 Item No. 13.42) | 112.32 | Sqm | 10.00 | 400.00 | 44928.00 | 44928.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
7.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. 16.82.2 With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | 18.86 | Cum | 10.00 | 3000.00 | 56580.00 | 56580.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
8.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge(J&K SR 2020 pg No.226 Item No. 16.83) | 17.29 | Cum | 10.00 | 1900.00 | 32851.00 | 32851.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
9.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand complete all as per direction of Engineer-in-Charge. 16.94.1 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern.(J&K SR 2020 pg No.228 Item No. 16.94) | 138.34 | Sqm | 10.00 | 1800.00 | 249012.00 | 249012.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
10.00 | Precast C.C. kerb stone M-25( (J&K SR 2020 pg No.61 Item No. 8686) | 20.11 | Cum | 10.00 | 5600.00 | 112616.00 | 112616.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
11.00 | Laying at or near ground level old kerb stones of all types in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints, except at sharp curve, shall not be more than 5 mm), including making drainage opening wherever required etc. complete as per direction of Engineer-in-charge. (Length of finished kerb edging shall be measured for payment).(J&K SR 2020 pg No.227 Item No. 16.89) | 251.52 | Mtr | 10.00 | 300.00 | 75456.00 | 75456.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
12.00 | Supplying and stacking of good earth at site including royalty (earth measured in stacks will be reduced by 20% for payment)(J&K SR 2020 pg No.233 Item No. 17.2) | 26.29 | Cum | 10.00 | 360.00 | 9464.40 | 9464.40 | NUN KUN STC ENGINEERING OPC PVT. LTD.
13.00 | Grassing with selection no. 1 grass including watering & maintenance of the lawn for 30 days or more till the grass forms a thick lawn free from weeds & fit for mowing including supplying of good earth if needed (the good earth shall be paid separately.) 17.10.4 (J&K SR 2020 pg No.233 Item No. 17.10) with grass turf | 131.45 | Sqm | 10.00 | 1800.00 | 236610.00 | 236610.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
14.00 | Supplying and filling in plinth with fine sand under floors including, watering, ramming, consolidating and dressing complete (J&K SR 2020 pg No.81 Item No. 2.23) | 32.86 | Cum | 10.00 | 1200.00 | 39432.00 | 39432.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
15.00 | Providing and Placing Garden Plants as per design and requirement at site and complete as per direction of Engineer-in-charge. | 1.00 | No | 10.00 | 30000.00 | 30000.00 | 30000.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
16.00 | Providing and Fixing Gazebo Metal Garden Gazebo of Dia 4.5 m and 2.5 m (8 feet) height covered with FRP sheet at site and complete as per direction of Engineer-in-charge. | 1.00 | No | 10.00 | 550000.00 | 550000.00 | 550000.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
17.00 | Park Benches | 11.00 | No | 10.00 | 15000.00 | 165000.00 | 165000.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
18.00 | Tree Bin | 2.00 | No | 10.00 | 15000.00 | 30000.00 | 30000.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
19.00 | Pencil Bin | 2.00 | No | 10.00 | 14160.00 | 28320.00 | 28320.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
20.00 | Monkey Bin | 2.00 | No | 10.00 | 17000.00 | 34000.00 | 34000.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
21.00 | Penguin Bin | 1.00 | No | 10.00 | 15045.00 | 15045.00 | 15045.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
22.00 | Wavy Slide | 1.00 | No | 10.00 | 41000.00 | 41000.00 | 41000.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
23.00 | Spiral Slide | 1.00 | No | 10.00 | 39825.00 | 39825.00 | 39825.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
24.00 | 2 Seater U Swing | 1.00 | No | 10.00 | 29000.00 | 29000.00 | 29000.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
25.00 | Combo See Saw | 1.00 | No | 10.00 | 26000.00 | 26000.00 | 26000.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
26.00 | Horse Spring Rider | 2.00 | No | 10.00 | 26550.00 | 53100.00 | 53100.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
27.00 | Triple Twister | 1.00 | No | 10.00 | 28320.00 | 28320.00 | 28320.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
28.00 | Cycle | 1.00 | No | 10.00 | 28320.00 | 28320.00 | 28320.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
29.00 | Double Push Chair | 1.00 | No | 10.00 | 37170.00 | 37170.00 | 37170.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
30.00 | Cross Trainer | 1.00 | No | 10.00 | 35400.00 | 35400.00 | 35400.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
31.00 | Supply, installation,testing and successful commissioning of all in one Integrated Solar Street Light at with following specifications: System Rated Power 30W Power Consumption Peak 30±5% Battery ( LiFePo4 ) 12.8V, 18Ah Battery Pack Life Time 1000 Cycles BIS Available Solar Panel PMax : 70Wp Vmp : 15V System Operating Voltage 10.8V to 14.4V DC Electronics Total Electronics Efficiency :85% Battery Upper & Lower Cut off : 14.4 / 10.8 V Idle Current : 10 mA Optical Lumen Efficacy : 120 - 150 Lumen / Watt Temperature 5700° K - 6500° K Autonomy 1 Day IP Rating IP65 Pole length 6 meter (18 Feet approx.) SPV PANEL 70wp Lithium Fero Phosphate Battery 30 AH 12.8VA Luminarie LED 30 watt Pole (Steel Tabular pole 6 meter with cement concrete bottoming in ratio of 1:2:4 mix with dimensions 600mm x 600 mm x 750 mm) including Nut Bolts and other accessories | 8.00 | No | 10.00 | 24900.00 | 199200.00 | 199200.00 | NUN KUN STC ENGINEERING OPC PVT. LTD.
| Total in Figures |  |  |  |  | 3752653.40
Lowest Amount Quoted BY: NUN KUN STC ENGINEERING OPC PVT. LTD.(3752653.40)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Children Park at Budgam, Block-Kargil, Union Territory of Ladakh Tender ID: 2022_WAPCO_115531_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NUN KUN STC ENGINEERING OPC PVT. LTD. | 3752653.40 | L1