## BoQ1
Government eProcurement System Created By: Suryanath Gupta Created Date/Time: 21-Feb-2023 03:38 PM Tender Title: Drilling, Construction of Approx. 424 Nos. Piezometers with Supply InstallationDWLRS Tender ID: 2022_WAPCO_127912_2
Tender Inviting Authority: Tender Inviting Authority: Chief Engineer (GW), WAPCOS Ltd.
Name of Work:DRILLING, CONSTRUCTIONOF APPROX. 424 NOS.PIEZOMETERS UNDER ATAL BHUJAL YOJNA FOR GROUNDWATER MONITORING IN HARYANA, INDIA
Contract No: WAP/ GWRD&M/DRILLING/2022-23/03
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUPER ENGINEERS INDIA PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Drilling of pilot hole for Piezometer using bentonite fluid by rock roller/drag bit of 300 mm dia including formation sample collection at every 3m, preparation and submission of litholog. (Drilling Depth can be varied from 60 m to 130 m as per the recommendation received by Site-incharge) | 39010.00 | Meter | 100.00 | 1000.00 | 39010000.00 | 39010000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
2.00 | Digital Electrical logging using 406 mm and 1626 mm (16" and 64") SP, resistivity probe and Natural gamma logging, submission of log graph & report including zone wise water quality, logging graph, composite log etc. | 424.00 | Nos | 100.00 | 15000.00 | 6360000.00 | 6360000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
3.00 | Supply and installation of ERW MS - casing pipe of 150 mm nominal size dia, thickness 5 mm conforming to Table 3 of latest version of IS: 4270-2001 of diameter and thickness. | 353.50 | Meter | 10.00 | 2300.00 | 813050.00 | 813050.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
4.00 | Supply and installation of LCG V- wire screen of 150 mm nominal size dia, thickness 6 mm conforming to latest version of IS: 8110-2000 of dimensions. (0.75 mm to 1 mm - Screen Size as per site condition) | 70.00 | Meter | 10.00 | 2500.00 | 175000.00 | 175000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
5.00 | Supply and installation of ERW MS - casing pipe of 100 mm nominal size dia, thickness 5 mm conforming to Table 3 of latest version of IS: 4270-2001 of diameter and thickness. | 34578.00 | Meter | 10.00 | 1550.00 | 53595900.00 | 53595900.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
6.00 | Supply and installation of LCG V- wire screen of 100 mm nominal size dia, thickness 6 mm conforming to latest version of IS: 8110-2000 of dimensions. (0.75 mm - 1 mm - Screen Size) | 2945.00 | Meter | 10.00 | 1800.00 | 5301000.00 | 5301000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
7.00 | Supply and shrouding of pea gravel of Particle size range 2.00 mm to 3.35 mm for 1.0 mm screen opening confirming to latest version of IS: 4097-1967. | 6424.00 | Meter | 10.00 | 1000.00 | 6424000.00 | 6424000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
8.00 | Supply and filling up borehole/ annular space between casing pipe and bore hole wall with clay balls | 424.00 | Jobs. | 10.00 | 5000.00 | 2120000.00 | 2120000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
9.00 | Development by air compressor of adequate capacity for minimum 3 hours to clear the discharge water & collection of water samples | 1251.00 | Hrs. | 10.00 | 7000.00 | 8757000.00 | 8757000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
10.00 | Development by air compressor in 7 Piezometers of adequate capacity for minimum 5 hours and by other means till discharge water is clear and free of sand | 35.00 | Hrs. | 10.00 | 7000.00 | 245000.00 | 245000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
11.00 | Pumping test (includes pre pumping for 5 hours and 16 hours recuperation, SDT (4 steps,60min each), APT (960 min) and collection of 2 nos. of water samples (2 each for Basic using standard procedure per EW in 1 litre HDPE bottle) and submission of report with data, graph sheet, analysis etc. | 7.00 | Jobs. | 10.00 | 60000.00 | 420000.00 | 420000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
12.00 | Chemical analysis of water samples for 15 parameters Ph, EC, TH, TDS, Ca, Mg, Na, K, CO3, HCO3, SO4, NO3, Cl, F, & Fe, in NABL accredited labs and submission of report from NABL lab | 424.00 | Job | 10.00 | 10000.00 | 4240000.00 | 4240000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
13.00 | Construction of cement concrete platform 0.70 x 0.70 x 0.60 m (0.30 m above ground level) using concrete mix of 1:2:4 around the housing pipe welded minimum 6 nos. anchoring plate as per drawing | 424.00 | Job | 10.00 | 9500.00 | 4028000.00 | 4028000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
14.00 | Supply and installation of protection box made of GI sheet of 3.15mm thickness along with Brass lock (7 lever hardened) and three keys for each lock as per drawing & Well Cap as per drawing. MS Plate size 5 to 10mm with welding on outer surface of casing pipe 0.5mtrs. | 424.00 | Job | 10.00 | 9500.00 | 4028000.00 | 4028000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
15.00 | Supply and installation of display board as per specification in drawing | 424.00 | Nos | 10.00 | 8500.00 | 3604000.00 | 3604000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
16.00 | Preparation and submission of basic data report in triplicate along with logging graphs, data sheets, analysis sheet, logging graphs, chemical analysis report from NABL lab, photographs/ videos of activity drilling assembly, part assembly lowering, pumping test, pumping test, V- notch discharge at various depths of drilling well site with display board well cap, protection box activity for each EW site, etc. The soft copy should be submitted. | 424.00 | Nos | 10.00 | 9200.00 | 3900800.00 | 3900800.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
| Total in Figures |  |  |  |  | 143021750.00
Lowest Amount Quoted BY: SUPER ENGINEERS INDIA PRIVATE LIMITED(143021750.00)

## BoQ2
Government eProcurement System Created By: Suryanath Gupta Created Date/Time: 21-Feb-2023 03:38 PM Tender Title: Drilling, Construction of Approx. 424 Nos. Piezometers with Supply InstallationDWLRS Tender ID: 2022_WAPCO_127912_2
Tender Inviting Authority: Tender Inviting Authority: Chief Engineer (GW), WAPCOS Ltd.
Name of Work:Supply Installation, Testing and Commissioning of 424 Automatic Digital Water Level Recorders (ADWLRs)
Contract No: WAP/ GWRD&M/DRILLING/2022-23/03
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUPER ENGINEERS INDIA PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply Installation, Testing and Commissioning of Digital Water Level Recorders (DWLRs) with non –vented hydrostatic pressure type sensor with barometric pressure correction for individual station with measurement range (as per attached list) of up to 30 meter along with sensor cable, as per list of installation sites specified in Table-I, including junction box and necessary accessories with battery operated data logger and GSM & GPRS telemetry system, complete as per the technicalspecifications. | 202.00 | Each | 100.00 | 115000.00 | 23230000.00 | 23230000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
2.00 | Supply Installation, Testing and Commissioning of Digital Water Level Recorders (DWLRs) with non –vented hydrostatic pressure type sensor with barometric pressure correction for individual station with measurement range (as per attached list) of up to 50 meter along with sensor cable, as per list of installation sites specified in Table-I including junction box and necessary accessories with battery operated data logger and GSM & GPRS telemetry system, complete as per the technical specifications. | 203.00 | Each | 100.00 | 117000.00 | 23751000.00 | 23751000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
3.00 | Supply Installation, Testing and Commissioning of Digital Water Level Recorders (DWLRs) with non –vented hydrostatic pressure type sensor with barometric pressure correction for individual station with measurement range (as per attached list) of up to 70 meter along with sensor cable, as per list of installation sites specified in Table-I including junction box and necessary accessories with battery operated data logger and GSM & GPRS telemetry system, complete as per the technical specifications. | 19.00 | Each | 10.00 | 120000.00 | 2280000.00 | 2280000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
4.00 | Integration of DWLR GSM &GPRS data at Cloud server to the existing State Data Center and e-SWIS/State Server with (Pull/push) API and Web interface as per technical specifications. * Provision of Services for Cloud Server is in Scope of Bidder | 1.00 | Each | 10.00 | 450000.00 | 450000.00 | 450000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
5.00 | Construction of Fencing with wire mesh (76 mm x 76 mm x 12 mm gauge) around the piezometer site as per drawing attached including Fabrication and supply, fixing and painting of Fencing angle iron, sign board of frame size 0.75 m x 0.6 m x 1.2 mm thick with cross strips and provisionto fix on wire mesh frame. Overall size of fencing will be 2 m x 2 m x 2 m above ground as per Drawing and Design including all labour and material etc. required as per technicalspecifications. | 424.00 | Each | 10.00 | 20000.00 | 8480000.00 | 8480000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
6.00 | Training of the purchaser's personnel at the supplier’s plant and/or/onsite in assembly, startup, operation, maintenance and/or repair of DWLR with telemetry and relevant software and supplied goods. Course topics will include sensor calibration, data logger configuration, data downloading, data retrieval, collection, Trouble shooting, processing maintenance requirements and procedure for equipment configuration, installation, site testing and commissioning including training kit containing course material in soft and hard copies as per technical specification | 2.00 | Each | 10.00 | 45000.00 | 90000.00 | 90000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
7.00 | 5 Years Operation and Maintance and Comprehensive Warranty for DWLRs with Telemetry system along with accessories, installed at designated locations as specified in schedule, after final acceptance and up gradation of all software associated with DWLR systems. This includes replacement of batteries as & when required at bidders cost. The cost of communication using GSM & GPRS sim cards and other related charges. | 424.00 | Each | 10.00 | 10000.00 | 4240000.00 | 4240000.00 | SUPER ENGINEERS INDIA PRIVATE LIMITED
| Total in Figures |  |  |  |  | 62521000.00
Lowest Amount Quoted BY: SUPER ENGINEERS INDIA PRIVATE LIMITED(62521000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Drilling, Construction of Approx. 424 Nos. Piezometers with Supply InstallationDWLRS Tender ID: 2022_WAPCO_127912_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SUPER ENGINEERS INDIA PRIVATE LIMITED | 143021750.00 | L1
BoQ2 | 1 | SUPER ENGINEERS INDIA PRIVATE LIMITED | 62521000.00 | L1