## BoQ1
Government eProcurement System Created By: ANIL KUMAR Created Date/Time: 13-Mar-2023 02:34 PM Tender Title: Conversion of Category - I lighting to Category - II Lighting System at BPI Airport, Bhubaneshwar Tender ID: 2023_AAI_140226_1
Tender Inviting Authority: AGM(Engg.-E)-ER, O/o Executive Director (Engg.)-ER & NER, Airports Authority of India, First Floor, Old R.D. Building, Safdarjung Airport, New Delhi – 110003
Name of Work: Conversion of Category - I lighting to Category - II Lighting System at BPI Airport, Bhubaneshwar
Contract No: Tender ID: 2023_AAI_140226_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | AMA Private Limited(GSTN-27AAACA1016F1ZE) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of FAA Certified Inset type LED Bidirectional high intensity Runway CENTRE LINE (CL) light fitting (RED/White) | 84.00 | Each |  | 62496.00 | 5249664.00 | 59450.00 | 4993800.00 | 55000.00 | 4620000.00 | 4620000.00 | JCC ENGINEERS PRIVATE LIMITED
2.00 | Supply of FAA Certified Inset type LED Bidirectional high intensity Runway CENTRE LINE (CL) light fitting (White/White) | 108.00 | Each |  | 62496.00 | 6749568.00 | 59685.00 | 6445980.00 | 55000.00 | 5940000.00 | 5940000.00 | JCC ENGINEERS PRIVATE LIMITED
3.00 | Supply of FAA Certified Inset type LED Uni Directional Runway Turn Pad medium intensity light fitting (Green) | 38.00 | Each |  | 59892.00 | 2275896.00 | 47350.00 | 1799300.00 | 50000.00 | 1900000.00 | 1799300.00 | AMA Private Limited
4.00 | Supply of FAA Certified Inset type LED Uni directional high intensity TOUCH DOWN ZONE (TDZ) (White) | 189.00 | Each |  | 57288.00 | 10827432.00 | 51000.00 | 9639000.00 | 55000.00 | 10395000.00 | 9639000.00 | AMA Private Limited
5.00 | Supply of Inset type LED Uni directional high intensity SIDE ROW (SR) (RED Color) Approach light | 13.00 | Each |  | 123690.00 | 1607970.00 | 71420.00 | 928460.00 | 95000.00 | 1235000.00 | 928460.00 | AMA Private Limited
6.00 | Supply of Elevated type LED Uni directional high intensity SIDE ROW (SR) (RED Color) Approach light fitting | 44.00 | Each |  | 58590.00 | 2577960.00 | 48000.00 | 2112000.00 | 65000.00 | 2860000.00 | 2112000.00 | AMA Private Limited
7.00 | Supply of Inset type LED fittings suitable for Uni directional high intensity APPROACH CENTRE LINE (APCL) (White) light fitting | 11.00 | Each |  | 123690.00 | 1360590.00 | 82750.00 | 910250.00 | 95000.00 | 1045000.00 | 910250.00 | AMA Private Limited
8.00 | Supply of Elevated type LED Uni directional high intensity APPROACH CENTRE LINE (APCL) (White) light fitting | 158.00 | Each |  | 58590.00 | 9257220.00 | 48000.00 | 7584000.00 | 65000.00 | 10270000.00 | 7584000.00 | AMA Private Limited
9.00 | Supply of FAA Certified Inset type LED high intensity THRESHOLD (THD) (Green) light fitting for aviation visual aids | 51.00 | Each |  | 104160.00 | 5312160.00 | 71600.00 | 3651600.00 | 65000.00 | 3315000.00 | 3315000.00 | JCC ENGINEERS PRIVATE LIMITED
10.00 | Supply of FAA Certified Inset type LED high intensity END (RED) light fitting | 26.00 | Each |  | 58590.00 | 1523340.00 | 67850.00 | 1764100.00 | 55000.00 | 1430000.00 | 1430000.00 | JCC ENGINEERS PRIVATE LIMITED
11.00 | Supply of FAA Certified Inset type LED Uni directional Stop Bar (RED) light fitting | 109.00 | Each |  | 58590.00 | 6386310.00 | 47360.00 | 5162240.00 | 55000.00 | 5995000.00 | 5162240.00 | AMA Private Limited
12.00 | Supply of high intensity Elevated Runway guard light | 24.00 | Set |  | 260400.00 | 6249600.00 | 185000.00 | 4440000.00 | 215000.00 | 5160000.00 | 4440000.00 | AMA Private Limited
13.00 | Supply of Inset type LED Uni-directional Rapid Exit Taxi Indicator (yellow) light for aviation visual aids | 7.00 | Each |  | 59892.00 | 419244.00 | 47360.00 | 331520.00 | 50000.00 | 350000.00 | 331520.00 | AMA Private Limited
14.00 | Supply of inset type LED Uni directional Intermediate holding position (Yellow) light fitting for aviation visual aids | 46.00 | Each |  | 59892.00 | 2755032.00 | 47360.00 | 2178560.00 | 50000.00 | 2300000.00 | 2178560.00 | AMA Private Limited
15.00 | Supply of FAA Certified inset type LED Bidirectional Runway Edge light fitting (White/Yellow or White/White) for aviation visual aids | 34.00 | Each |  | 117180.00 | 3984120.00 | 83550.00 | 2840700.00 | 85000.00 | 2890000.00 | 2840700.00 | AMA Private Limited
16.00 | Supply of FAA Certified bi-directional high intensity LED type following elevated runway edge light fitting complete for aviation visual aid at Runway Edge light fitting (White/Yellow or White/White) complete with LED Module | 169.00 | Each |  | 52080.00 | 8801520.00 | 66800.00 | 11289200.00 | 65000.00 | 10985000.00 | 8801520.00 | Vardhman Airport Solutions Pvt Ltd
17.00 | Supply of elevated type Omni-directional Blue, medium intensity LED type Taxiway Edge Light fitting | 234.00 | Each |  | 3906.00 | 914004.00 | 3200.00 | 748800.00 | 6000.00 | 1404000.00 | 748800.00 | AMA Private Limited
18.00 | Supply of LED type inset omnidirectional Blue colour light fitting for aviation visual aid | 10.00 | Each |  | 52080.00 | 520800.00 | 66475.00 | 664750.00 | 40000.00 | 400000.00 | 400000.00 | JCC ENGINEERS PRIVATE LIMITED
19.00 | Supply of 2 x 4 sqmm secondary lead made out of multi stranded copper conductor EPR insulated & PCP sheathed, anti-termite & anti rodent treated 600 V grade AGL cable as specified in particular specifications as required. | 22000.00 | Mtr |  | 204.00 | 4488000.00 | 145.00 | 3190000.00 | 190.00 | 4180000.00 | 3190000.00 | AMA Private Limited
20.00 | Supply of 1 x 6 sq.mm, 5 KV grade, AFL cable, type-C stranded tinned copper conductor, XLPE insulated with copper braided screened Airfield Ground Lighting series cable as per specifications as required. | 177000.00 | Mtr |  | 250.00 | 44250000.00 | 135.00 | 23895000.00 | 220.00 | 38940000.00 | 23895000.00 | AMA Private Limited
21.00 | Supply of 6 sqmm, 5 KV grade plug and receptacle of type I, class 'B' connector and suitable field attachment with 5 KV grade XLPE insulated, PE sheathed, single core copper conductor screened cable as required. | 1379.00 | Set |  | 540.00 | 744660.00 | 500.00 | 689500.00 | 600.00 | 827400.00 | 689500.00 | AMA Private Limited
22.00 | Supply 2 pin plug and recepetacles suitable for 2X4 Sq mm copper conductor secondary lead | 1415.00 | Set |  | 849.00 | 1201335.00 | 675.00 | 955125.00 | 850.00 | 1202750.00 | 955125.00 | AMA Private Limited
23.00 | Supply of Indoor type air cooled constant current regulator of micro processor controlled, thyristor type - 2.5KVA, 6.6 Amp Output | 26.00 | Each |  | 183868.00 | 4780568.00 | 165000.00 | 4290000.00 | 180000.00 | 4680000.00 | 4290000.00 | AMA Private Limited
24.00 | Supply of Indoor type air cooled constant current regulator of micro processor controlled, thyristor type - 4 KVA, 6.6 Amp Output | 8.00 | Each |  | 206462.00 | 1651696.00 | 175000.00 | 1400000.00 | 200000.00 | 1600000.00 | 1400000.00 | AMA Private Limited
25.00 | Supply of Indoor type air cooled constant current regulator of micro processor controlled, thyristor type - 7.5 KVA, 6.6 Amp Output | 2.00 | Each |  | 258661.00 | 517322.00 | 235000.00 | 470000.00 | 300000.00 | 600000.00 | 470000.00 | AMA Private Limited
26.00 | Supply of Indoor type air cooled constant current regulator of micro processor controlled, thyristor type - 15KVA, 6.6 Amp Output | 8.00 | Each |  | 420714.00 | 3365712.00 | 310000.00 | 2480000.00 | 425000.00 | 3400000.00 | 2480000.00 | AMA Private Limited
27.00 | Supply of Indoor type air cooled constant current regulator of micro processor controlled, thyristor type - 20 KVA, 6.6 Amp Output | 6.00 | Each |  | 436296.00 | 2617776.00 | 345000.00 | 2070000.00 | 450000.00 | 2700000.00 | 2070000.00 | AMA Private Limited
28.00 | Design, Supply, Assembling, installation, testing and commissioning of Airfield Lighting Control and Monitoring System (ALCMS). | 1.00 | Job |  | 3895500.00 | 3895500.00 | 7500000.00 | 7500000.00 | 4500000.00 | 4500000.00 | 3895500.00 | Vardhman Airport Solutions Pvt Ltd
29.00 | Supply of 15 Watt 6.6/6.6 Amps rating completely enclosed rubber covered isolating transformer for use of 6.6 amps series airport lighting circuits | 244.00 | Each |  | 3473.00 | 847412.00 | 2550.00 | 622200.00 | 3500.00 | 854000.00 | 622200.00 | AMA Private Limited
30.00 | Supply of 45 Watt 6.6/6.6 Amps rating completely enclosed rubber covered isolating transformer for use of 6.6 amps series airport lighting circuits | 695.00 | Each |  | 4013.00 | 2789035.00 | 3900.00 | 2710500.00 | 5000.00 | 3475000.00 | 2710500.00 | AMA Private Limited
31.00 | Supply of 65 Watt 6.6/6.6 Amps rating completely enclosed rubber covered isolating transformer for use of 6.6 amps series airport lighting circuits | 258.00 | Each |  | 5248.00 | 1353984.00 | 4000.00 | 1032000.00 | 6000.00 | 1548000.00 | 1032000.00 | AMA Private Limited
32.00 | Supply of 100 Watt 6.6/6.6 Amps rating completely enclosed rubber covered isolating transformer for use of 6.6 amps series airport lighting circuits | 158.00 | Each |  | 5441.00 | 859678.00 | 4200.00 | 663600.00 | 7500.00 | 1185000.00 | 663600.00 | AMA Private Limited
33.00 | Supply of 200 Watt 6.6/6.6 Amps rating completely enclosed rubber covered isolating transformer for use of 6.6 amps series airport lighting circuits | 20.00 | Each |  | 5989.00 | 119780.00 | 4800.00 | 96000.00 | 8000.00 | 160000.00 | 96000.00 | AMA Private Limited
34.00 | Supply of 16 Sq.mm PVC insulated copper conductor single core un-armoured flexible cable of 1.1 KV grade confirming to IS 694 for earth connection | 350.00 | Mtr |  | 204.00 | 71400.00 | 210.00 | 73500.00 | 250.00 | 87500.00 | 71400.00 | Vardhman Airport Solutions Pvt Ltd
35.00 | Supply of LED Guidance signage board of various sizes made out of 2 mm thick anodized aluminium frame with suitable angel support | 50.00 | Sq Mtr |  | 41292.00 | 2064600.00 | 45000.00 | 2250000.00 | 50000.00 | 2500000.00 | 2064600.00 | Vardhman Airport Solutions Pvt Ltd
36.00 | Supply of 3C x 25 Sq. mm.size 1.1 KV grade XLPE insulated, PVC sheathed, armoured Copper conductor conforming to IS 7098 (Part I) amended upto date. | 1000.00 | Mtr |  | 1036.00 | 1036000.00 | 1355.00 | 1355000.00 | 1000.00 | 1000000.00 | 1000000.00 | JCC ENGINEERS PRIVATE LIMITED
37.00 | Installation, testing and Commissioning of inset type fitting with deep core cutting of size up to 8 " / 12 " | 647.00 | Job |  | 8820.00 | 5706540.00 | 6000.00 | 3882000.00 | 10000.00 | 6470000.00 | 3882000.00 | AMA Private Limited
38.00 | Installation, testing & commissioning of Elevated type approach / runway edge / threshold / end / taxiway light fixtures/ Runway Guard light on existing transformer housing boxes | 575.00 | Job |  | 441.00 | 253575.00 | 500.00 | 287500.00 | 300.00 | 172500.00 | 172500.00 | JCC ENGINEERS PRIVATE LIMITED
39.00 | Installation, Testing, Commissioning of CCR (UP TO 30 KVA) including termination of incoming and outgoing power and control cable | 50.00 | Job |  | 7350.00 | 367500.00 | 20000.00 | 1000000.00 | 10000.00 | 500000.00 | 367500.00 | Vardhman Airport Solutions Pvt Ltd
40.00 | Fabrication & supply of MS transformer housing box of size 750mm x 350 mm x 450 mm ( H) | 55.00 | Each |  | 13245.00 | 728475.00 | 10500.00 | 577500.00 | 15000.00 | 825000.00 | 577500.00 | AMA Private Limited
41.00 | Installation of rectangular MS Transformer housing box of Size 750mm x 350mm X 450mm height | 55.00 | Each |  | 3675.00 | 202125.00 | 6000.00 | 330000.00 | 6000.00 | 330000.00 | 202125.00 | Vardhman Airport Solutions Pvt Ltd
42.00 | Fabrication & supply of MS transformer housing box of size 600mm x 350 mm x 450 mm ( H) | 78.00 | Each |  | 12466.00 | 972348.00 | 9500.00 | 741000.00 | 12000.00 | 936000.00 | 741000.00 | AMA Private Limited
43.00 | Installation of rectangular MS Transformer housing box of Size 600mm x 350mm X 450mm height | 78.00 | Each |  | 3675.00 | 286650.00 | 6000.00 | 468000.00 | 5000.00 | 390000.00 | 286650.00 | Vardhman Airport Solutions Pvt Ltd
44.00 | Fabrication & supply of MS transformer housing box of size350mm x 350 mm x 450 mm ( H) | 144.00 | Each |  | 10128.00 | 1458432.00 | 5500.00 | 792000.00 | 7500.00 | 1080000.00 | 792000.00 | AMA Private Limited
45.00 | Installation of rectangular MS Transformer housing box of Size 350mm x 350mm X 450mm height | 144.00 | Each |  | 3675.00 | 529200.00 | 4000.00 | 576000.00 | 4000.00 | 576000.00 | 529200.00 | Vardhman Airport Solutions Pvt Ltd
46.00 | Installation, Testing and Commissioning of guidance signboards of various sizes (upto 1.5m length) i/c supply & installation of isolating transformer and providing secondary leads etc | 50.00 | Sq Mtr |  | 17494.00 | 874700.00 | 7500.00 | 375000.00 | 20000.00 | 1000000.00 | 375000.00 | AMA Private Limited
47.00 | Supply & laying of 01 No. 63 mm dia size PN10, PE 80 rating HDPE pipe through trenchless technology (HDD) | 22000.00 | Mtr. |  | 968.00 | 21296000.00 | 1500.00 | 33000000.00 | 800.00 | 17600000.00 | 17600000.00 | JCC ENGINEERS PRIVATE LIMITED
48.00 | Supply and laying of double wall corrugated high density polyethylene (DWC HDPE pipe) pipe confirming to IS:14930 (part-2) with latest amendment - Size - OD 63 mm/ ID 50 mm DWC | 44000.00 | Mtr. |  | 191.00 | 8404000.00 | 235.00 | 10340000.00 | 300.00 | 13200000.00 | 8404000.00 | Vardhman Airport Solutions Pvt Ltd
49.00 | Supply of 50 mm dia OD ISI marked HDPE pipe as per IS:4984:2016, of rating PE 80, PN 10 with 4 mm nylone rope complete as required | 200.00 | Mtr. |  | 124.00 | 24800.00 | 76.00 | 15200.00 | 150.00 | 30000.00 | 15200.00 | AMA Private Limited
50.00 | Laying of 63mm /50 mm dia (OD), HDPE pipe in hard surface to connect the consecutive transformer housing boxes and transformer housing box to Runway centreline / other fitting / location at a suitable depth. | 200.00 | Mtr. |  | 515.00 | 103000.00 | 120.00 | 24000.00 | 1000.00 | 200000.00 | 24000.00 | AMA Private Limited
51.00 | Laying of one number PVC / XLPE / EPR insulated & PVC / PE / PCP sheathed AFL copper conductor power cable of grade exceeding 0.4 KV but not exceeding 11 KV of size not exceeding 25 sq. mm. in the existing cable duct / RCC/HUME/METAL/HDPE/DWC pipes etc. as required. (Feeder and Looping cable) | 170000.00 | Mtr. |  | 29.00 | 4930000.00 | 15.00 | 2550000.00 | 35.00 | 5950000.00 | 2550000.00 | AMA Private Limited
52.00 | Laying of one number PVC / XLPE / EPR insulated & PVC / PE / PCP sheathed AFL copper conductor power cable of grade exceeding 0.4 KV but not exceeding 11 KV of size not exceeding 25 sq. mm in the existing masonary open duct as required (Feeder and Looping cable) | 3000.00 | Mtr. |  | 37.00 | 111000.00 | 15.00 | 45000.00 | 35.00 | 105000.00 | 45000.00 | AMA Private Limited
53.00 | Laying of one number 2 X 4 sq mm AFL secondary cable along with 1 X 4 sq mm earth cable of voltage grade not exceeding 1.1 KV in the cable duct / masonary trench / RCC / HUME / METAL / GI / HDPE / DWC pipe etc. as required. | 13000.00 | Mtr. |  | 22.00 | 286000.00 | 15.00 | 195000.00 | 35.00 | 455000.00 | 195000.00 | AMA Private Limited
54.00 | Cutting kerf of suitable size in taxiway/runway/apron of PQC/bituminous surface i/c chipping, hammering, cleaning & drying etc. & refilling the kerf with sealant material including primer etc. as reqd. in bitumin/PQC area & laying following numbers of secondary leads:- 01 No. Secondary lead of size 2x4 sq.mm. | 600.00 | Mtr. |  | 294.00 | 176400.00 | 325.00 | 195000.00 | 550.00 | 330000.00 | 176400.00 | Vardhman Airport Solutions Pvt Ltd
55.00 | Cutting kerf of suitable size in taxiway/runway/apron of PQC/bituminous surface i/c chipping, hammering, cleaning & drying etc. & refilling the kerf with sealant material including primer etc. as reqd. in bitumin/PQC area & laying following numbers of secondary leads:- 2 No. Secondary lead of size 2x4 sq.mm. | 900.00 | Mtr. |  | 331.00 | 297900.00 | 350.00 | 315000.00 | 600.00 | 540000.00 | 297900.00 | Vardhman Airport Solutions Pvt Ltd
56.00 | Cutting kerf of suitable size in taxiway/runway/apron of PQC/bituminous surface i/c chipping, hammering, cleaning & drying etc. & refilling the kerf with sealant material including primer etc. as reqd. in bitumin/PQC area & laying following numbers of secondary leads:- 3 No. Secondary lead of size 2x4 sq.mm. | 1550.00 | Mtr. |  | 368.00 | 570400.00 | 375.00 | 581250.00 | 650.00 | 1007500.00 | 570400.00 | Vardhman Airport Solutions Pvt Ltd
57.00 | Cutting kerf of suitable size in taxiway/runway/apron of PQC/bituminous surface i/c chipping, hammering, cleaning & drying etc. & refilling the kerf with sealant material including primer etc. as reqd. in bitumin/PQC area & laying following numbers of secondary leads:- 4 No. Secondary lead of size 2x4 sq.mm. | 50.00 | Mtr. |  | 404.00 | 20200.00 | 400.00 | 20000.00 | 700.00 | 35000.00 | 20000.00 | AMA Private Limited
58.00 | Dismantaling / Translocation / re-Installation, testing and commissioning of existing Precision Approach Path Indicator ( PAPI) units ( 4Nos.) | 2.00 | JOB |  | 36750.00 | 73500.00 | 50000.00 | 100000.00 | 100000.00 | 200000.00 | 73500.00 | Vardhman Airport Solutions Pvt Ltd
59.00 | Dismantling of existing CCRs of various capacities and handing over to AAI store as per the direction of Engineer-in-Charge. | 18.00 | Nos |  | 10290.00 | 185220.00 | 5000.00 | 90000.00 | 2000.00 | 36000.00 | 36000.00 | JCC ENGINEERS PRIVATE LIMITED
60.00 | Dismantling of existing RWY cable and handing over to AAI store as per the direction of Engineer-in-Charge. | 25000.00 | Mtr. |  | 37.00 | 925000.00 | 200.00 | 5000000.00 | 20.00 | 500000.00 | 500000.00 | JCC ENGINEERS PRIVATE LIMITED
61.00 | Earthing with 'B' class G. I. earth pipe 4.5 mtrs. long x 40 mm dia i/c accessories and providing masonry enclosures with cover plate having locking arrangement & watering pipe etc. i/c charcoal/ coke and salt complete as required as per specification. | 220.00 | Each |  | 11025.00 | 2425500.00 | 9000.00 | 1980000.00 | 8000.00 | 1760000.00 | 1760000.00 | JCC ENGINEERS PRIVATE LIMITED
62.00 | Earthing with copper earth plate 600mm x 600mm x 3.0mm thick including accessories. | 6.00 | Set |  | 31502.00 | 189012.00 | 17500.00 | 105000.00 | 15000.00 | 90000.00 | 90000.00 | JCC ENGINEERS PRIVATE LIMITED
63.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe medium class from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 1320.00 | Mtr. |  | 293.00 | 386760.00 | 275.00 | 363000.00 | 250.00 | 330000.00 | 330000.00 | JCC ENGINEERS PRIVATE LIMITED
64.00 | Providing and fixing 6 SWG G. I. wire on surface or in recess for loop earthing as required. | 173000.00 | Mtr. |  | 32.00 | 5536000.00 | 18.00 | 3114000.00 | 23.00 | 3979000.00 | 3114000.00 | AMA Private Limited
65.00 | Supply of yellow/ green 4 Sq.mm PVC insulated FRLS copper conductor single core flexible cable of 1.1 KV grade as per IS 694 for earth connection | 16100.00 | Mtr. |  | 48.00 | 772800.00 | 55.00 | 885500.00 | 50.00 | 805000.00 | 772800.00 | Vardhman Airport Solutions Pvt Ltd
66.00 | Making connection of 5 KV grade, 6 Sq.mm Copper conductor cable with plug & receptacle (but excluding cost of plug & receptacles) i/c connecting continutity wire for screen etc. complete as required. | 1252.00 | Job |  | 147.00 | 184044.00 | 150.00 | 187800.00 | 200.00 | 250400.00 | 184044.00 | Vardhman Airport Solutions Pvt Ltd
67.00 | Supply and Fixing of secondary Connectors (male and Female) to 2 x 4 Sq.mm multi stranded annealed conductor PCP sheathed unshielded cable of 600 V grade on both ends. | 1252.00 | job |  | 1078.00 | 1349656.00 | 775.00 | 970300.00 | 750.00 | 939000.00 | 939000.00 | JCC ENGINEERS PRIVATE LIMITED
68.00 | Taking GPS based co-ordinates on complete length of main runway, cable route etc | 1.00 | Job |  | 294000.00 | 294000.00 | 200000.00 | 200000.00 | 255000.00 | 255000.00 | 200000.00 | AMA Private Limited
69.00 | Numbering of Airfield Light Fixtures on the base/ top surface/ RCC foundation of light fixture with good quality of black color enamel paint with yellow background etc. complete as required. | 1252.00 | Job |  | 44.00 | 55088.00 | 50.00 | 62600.00 | 100.00 | 125200.00 | 55088.00 | Vardhman Airport Solutions Pvt Ltd
70.00 | Supply, Installation, Testing and Commissioning of TTA type indoor cubicle LT panel as per IEC 61439, IP42, suitable for 415V+/-10%, 3 Phase, 4 wire 50 Hz AC supply system | 1.00 | Job |  | 3196309.00 | 3196309.00 | 3000000.00 | 3000000.00 | 1516805.00 | 1516805.00 | 1516805.00 | JCC ENGINEERS PRIVATE LIMITED
71.00 | Supplying of 1100V grade multicore stranded Aluminium Conductor XLPE insulated cable - Size - 3.5 X 35 Sq.mm | 500.00 | Mtr. |  | 273.00 | 136500.00 | 318.00 | 159000.00 | 250.00 | 125000.00 | 125000.00 | JCC ENGINEERS PRIVATE LIMITED
72.00 | Supplying of 1100V grade multicore stranded Aluminium Conductor XLPE insulated cable - Size - 3.5 X 240 Sq.mm | 500.00 | Mtr. |  | 1434.00 | 717000.00 | 1685.00 | 842500.00 | 1350.00 | 675000.00 | 675000.00 | JCC ENGINEERS PRIVATE LIMITED
73.00 | Supply of following sizes of 1.1kV grade XLPE/PVC insulated, PVC FRLS sheathed, Copper conductor, Armoured cable - Size - 10C x 2.5 Sq.mm | 3000.00 | Mtr |  | 467.00 | 1401000.00 | 550.00 | 1650000.00 | 600.00 | 1800000.00 | 1401000.00 | Vardhman Airport Solutions Pvt Ltd
74.00 | Supply of following sizes of 1.1kV grade XLPE/PVC insulated, PVC FRLS sheathed, Copper conductor, Armoured cable - Size - 24C x 2.5 Sq.mm | 3000.00 | Mtr |  | 1028.00 | 3084000.00 | 1225.00 | 3675000.00 | 1200.00 | 3600000.00 | 3084000.00 | Vardhman Airport Solutions Pvt Ltd
75.00 | Laying of one number PVC insulated & PVC sheathed XLPE power cbale of 1.1 KV grade of following size in the existing masonary open duct as required Size - Upto 35 sqmm | 1100.00 | Mtr |  | 44.00 | 48400.00 | 20.00 | 22000.00 | 35.00 | 38500.00 | 22000.00 | AMA Private Limited
76.00 | Laying of one number PVC insulated & PVC sheathed XLPE power cbale of 1.1 KV grade of following size in the existing masonary open duct as required - Above 185 sqmm and upto 400 sqmm | 250.00 | Mtr |  | 74.00 | 18500.00 | 20.00 | 5000.00 | 60.00 | 15000.00 | 5000.00 | AMA Private Limited
77.00 | Laying of one number PVC insulated & PVC sheathe/XLPE power/Control cable of grade upto 1.1 KV of size not exceeding 35 sq. mm. in the existing RCC/HUME/METAL/HDPE/DWC pipes etc. as required. | 5400.00 | Mtr. |  | 44.00 | 237600.00 | 20.00 | 108000.00 | 35.00 | 189000.00 | 108000.00 | AMA Private Limited
78.00 | Supplying and installing 100 mm width X 50 mm depth X 1.6 mm thickness of perforated Hot dipped G.I. cable trays | 100.00 | Mtr |  | 580.00 | 58000.00 | 1900.00 | 190000.00 | 400.00 | 40000.00 | 40000.00 | JCC ENGINEERS PRIVATE LIMITED
79.00 | Supplying and installing 150 mm width X 50 mm depth X 1.6 mm thickness of perforated Hot dipped G.I. cable trays | 200.00 | Mtr |  | 689.00 | 137800.00 | 2150.00 | 430000.00 | 500.00 | 100000.00 | 100000.00 | JCC ENGINEERS PRIVATE LIMITED
80.00 | Supplying and installing 300 mm width X 62.5 mm depth X 2 mm thickness of perforated Hot dipped G.I. cable trays | 100.00 | Mtr |  | 1302.00 | 130200.00 | 2500.00 | 250000.00 | 800.00 | 80000.00 | 80000.00 | JCC ENGINEERS PRIVATE LIMITED
81.00 | Supplying and installing 450 mm width X 62.5 mm depth X 2.0 mm thickness of perforated Hot dipped G.I. cable trays | 150.00 | Mtr |  | 1829.00 | 274350.00 | 3000.00 | 450000.00 | 1000.00 | 150000.00 | 150000.00 | JCC ENGINEERS PRIVATE LIMITED
82.00 | Laying and fixing of one no. PVC insulated and PVC Sheathed/XLPE Power cable of 1.1 KV grade of following sizes on the existing cable tray as required - Upto 35 sqmm (clamped with 1mm thick saddle) | 1000.00 | Mtr |  | 59.00 | 59000.00 | 20.00 | 20000.00 | 100.00 | 100000.00 | 20000.00 | AMA Private Limited
83.00 | Laying and fixing of one no. PVC insulated and PVC Sheathed/XLPE Power cable of 1.1 KV grade of following sizes on the existing cable tray as required - Above 185 sqmm and upto 400 sqmm | 200.00 | Mtr |  | 74.00 | 14800.00 | 20.00 | 4000.00 | 100.00 | 20000.00 | 4000.00 | AMA Private Limited
84.00 | Supplying and making end termination with brass compression gland and Aluminimum lugs for following size of PVC insulated and PVC sheathed / XLPE Aluminium conductor cable of 1.1 KV grade as required. - 3.5 X 35 Sq.mm | 12.00 | Set |  | 609.00 | 7308.00 | 750.00 | 9000.00 | 500.00 | 6000.00 | 6000.00 | JCC ENGINEERS PRIVATE LIMITED
85.00 | Supplying and making end termination with brass compression gland and Aluminimum lugs for following size of PVC insulated and PVC sheathed / XLPE Aluminium conductor cable of 1.1 KV grade as required.- 3.5 X 240 Sq.mm | 8.00 | Set |  | 1898.00 | 15184.00 | 1000.00 | 8000.00 | 1000.00 | 8000.00 | 8000.00 | JCC ENGINEERS PRIVATE LIMITED, AMA Private Limited
86.00 | Supplying and making end termination with brass compression gland and Copper lugs for following size of PVC insulated and PVC sheathed / XLPE Copper conductor cable of 1.1 KV grade as required.- 3C x 25 Sq. mm. | 120.00 | Set |  | 717.00 | 86040.00 | 1500.00 | 180000.00 | 200.00 | 24000.00 | 24000.00 | JCC ENGINEERS PRIVATE LIMITED
87.00 | Supplying and making end termination with brass compression gland and Copper lugs for following size of PVC insulated and PVC sheathed / XLPE Copper conductor cable of 1.1 KV grade as required. - 10C x 2.5 Sq mm | 120.00 | Set |  | 609.00 | 73080.00 | 550.00 | 66000.00 | 200.00 | 24000.00 | 24000.00 | JCC ENGINEERS PRIVATE LIMITED
88.00 | Supplying and making end termination with brass compression gland and Copper lugs for following size of PVC insulated and PVC sheathed / XLPE Copper conductor cable of 1.1 KV grade as required. - 24C x 2.5 Sq mm | 4.00 | Set |  | 1898.00 | 7592.00 | 850.00 | 3400.00 | 500.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
89.00 | Supply and fixing of fire retardant electrically insulated synthetic mat of class A, 2.5 mm thick | 150.00 | Mtr |  | 1043.00 | 156450.00 | 6000.00 | 900000.00 | 3000.00 | 450000.00 | 156450.00 | Vardhman Airport Solutions Pvt Ltd
90.00 | Supply and laying including termination of Armored Single-Mode Optic fiber cable (6-core) in existing pipe as required | 6000.00 | Mtr |  | 61.00 | 366000.00 | 225.00 | 1350000.00 | 100.00 | 600000.00 | 366000.00 | Vardhman Airport Solutions Pvt Ltd
91.00 | Supply Installation testing and commissioning of LIU with all the required accessories as required | 4.00 | Each |  | 185220.00 | 740880.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 20000.00 | AMA Private Limited
92.00 | Construction of masonry Chamber 2m x 1.2 m x 1.5m (deep) inside | 40.00 | Job |  | 22050.00 | 882000.00 | 20000.00 | 800000.00 | 25000.00 | 1000000.00 | 800000.00 | AMA Private Limited
93.00 | Providing and placing in position 150 mm thick, factory made machine batched & machine precast RCC Rectangular Covers on chambers - Slab Size - 2.4 mtr x 1.6 mtr. | 40.00 | Job |  | 11760.00 | 470400.00 | 10000.00 | 400000.00 | 10000.00 | 400000.00 | 400000.00 | JCC ENGINEERS PRIVATE LIMITED, AMA Private Limited
94.01 | Design, supply and installation of Frangible & tiltable type pole/ lattice mast - 0.5 -1.2 mtr. Frangible Pole | 11.00 | Each |  | 17043.00 | 187473.00 | 35000.00 | 385000.00 | 16000.00 | 176000.00 | 176000.00 | JCC ENGINEERS PRIVATE LIMITED
94.02 | Design, supply and installation of Frangible & tiltable type pole/ lattice mast - 1.2-2.0 mtr. Frangible Pole | 28.00 | Each |  | 22002.00 | 616056.00 | 35000.00 | 980000.00 | 22000.00 | 616000.00 | 616000.00 | JCC ENGINEERS PRIVATE LIMITED
94.03 | Design, supply and installation of Frangible & tiltable type pole/ lattice mast - 2.0-2.5 mtr. Frangible Pole | 11.00 | Each |  | 32144.00 | 353584.00 | 40000.00 | 440000.00 | 35000.00 | 385000.00 | 353584.00 | Vardhman Airport Solutions Pvt Ltd
94.04 | Design, supply and installation of Frangible & tiltable type pole/ lattice mast - 2.5-3.0 mtr. Frangible Pole | 11.00 | Each |  | 45909.00 | 504999.00 | 45000.00 | 495000.00 | 40000.00 | 440000.00 | 440000.00 | JCC ENGINEERS PRIVATE LIMITED
94.05 | Design, supply and installation of Frangible & tiltable type pole/ lattice mast - 3.5-4.5 mtr. Frangible Lattice | 6.00 | Each |  | 98584.00 | 591504.00 | 165000.00 | 990000.00 | 150000.00 | 900000.00 | 591504.00 | Vardhman Airport Solutions Pvt Ltd
95.01 | AICMC of complete ALCMS System - 1st year after DLP | 1.00 | Job |  | 389550.00 | 340232.97 | 600000.00 | 524040.00 | 1000000.00 | 873400.00 | 340232.97 | Vardhman Airport Solutions Pvt Ltd
95.02 | AICMC of complete ALCMS System - 2nd year after DLP | 1.00 | Job |  | 409028.00 | 333889.56 | 600000.00 | 489780.00 | 1050000.00 | 857115.00 | 333889.56 | Vardhman Airport Solutions Pvt Ltd
95.03 | AICMC of complete ALCMS System - 3rd year after DLP | 1.00 | Job |  | 429479.00 | 327649.53 | 600000.00 | 457740.00 | 1100000.00 | 839190.00 | 327649.53 | Vardhman Airport Solutions Pvt Ltd
95.04 | AICMC of complete ALCMS System - 4th year after DLP | 1.00 | Job |  | 450953.00 | 321529.49 | 600000.00 | 427800.00 | 1150000.00 | 819950.00 | 321529.49 | Vardhman Airport Solutions Pvt Ltd
95.05 | AICMC of complete ALCMS System - 5th year after DLP | 1.00 | Job |  | 473500.00 | 315493.05 | 600000.00 | 399780.00 | 1200000.00 | 799560.00 | 315493.05 | Vardhman Airport Solutions Pvt Ltd
96.01 | AICMC of CCRs upto 20KVA - 1st year after DLP | 1.00 | Job |  | 775984.00 | 677744.43 | 500000.00 | 436700.00 | 700000.00 | 611380.00 | 436700.00 | AMA Private Limited
96.02 | AICMC of CCRs upto 20KVA - 2nd year after DLP | 1.00 | Job |  | 830302.00 | 677775.52 | 500000.00 | 408150.00 | 750000.00 | 612225.00 | 408150.00 | AMA Private Limited
96.03 | AICMC of CCRs upto 20KVA - 3rd year after DLP | 1.00 | Job |  | 888424.00 | 677778.67 | 500000.00 | 381450.00 | 800000.00 | 610320.00 | 381450.00 | AMA Private Limited
96.04 | AICMC of CCRs upto 20KVA - 4th year after DLP | 1.00 | Job |  | 950613.00 | 677787.07 | 500000.00 | 356500.00 | 850000.00 | 606050.00 | 356500.00 | AMA Private Limited
96.05 | AICMC of CCRs upto 20KVA - 5th year after DLP | 1.00 | Job |  | 1017156.00 | 677731.04 | 500000.00 | 333150.00 | 900000.00 | 599670.00 | 333150.00 | AMA Private Limited
97.01 | Operation and routine maintenance of complete ALCMS system - First year (during DLP) | 12.00 | Month |  | 127247.00 | 1526964.00 | 125000.00 | 1500000.00 | 120000.00 | 1440000.00 | 1440000.00 | JCC ENGINEERS PRIVATE LIMITED
97.02 | Operation and routine maintenance of complete ALCMS system - Second year (during DLP) | 12.00 | Month |  | 127247.00 | 1427100.55 | 135000.00 | 1514052.00 | 130000.00 | 1457976.00 | 1427100.55 | Vardhman Airport Solutions Pvt Ltd
97.03 | Operation and routine maintenance of complete ALCMS system - Third year (First year after DLP) | 12.00 | Month |  | 127247.00 | 1333650.36 | 145800.00 | 1528100.64 | 140000.00 | 1467312.00 | 1333650.36 | Vardhman Airport Solutions Pvt Ltd
97.04 | Operation and routine maintenance of complete ALCMS system - Fourth year (Second year after DLP) | 12.00 | Month |  | 127247.00 | 1246460.71 | 157464.00 | 1542454.36 | 150000.00 | 1469340.00 | 1246460.71 | Vardhman Airport Solutions Pvt Ltd
97.05 | Operation and routine maintenance of complete ALCMS system - Fifth year (Third year after DLP) | 12.00 | Month |  | 127247.00 | 1164920.84 | 170061.12 | 1556875.54 | 160000.00 | 1464768.00 | 1164920.84 | Vardhman Airport Solutions Pvt Ltd
97.06 | Operation and routine maintenance of complete ALCMS system - Sixth year (Fourth year after DLP) | 12.00 | Month |  | 127247.00 | 1088725.33 | 183666.01 | 1571446.38 | 170000.00 | 1454520.00 | 1088725.33 | Vardhman Airport Solutions Pvt Ltd
97.07 | Operation and routine maintenance of complete ALCMS system - Seventh year (Fifth year after DLP) | 12.00 | Month |  | 127247.00 | 1017416.11 | 198359.29 | 1586001.54 | 180000.00 | 1439208.00 | 1017416.11 | Vardhman Airport Solutions Pvt Ltd
98.00 | Note : 1. Rate quoted shall be inclusive of any taxes, duties, cess, fee, royalty charges etc. levied under any statute but exclusive of GST. Goods & Services Tax (GST), which shall be paid to the contractor for any taxable supply / services / works against a valid tax invoice as per terms and conditions of the contract. 2. The work is to be executed in operational area of airport, numbers of working hours may be restricted, accordingly contractor has to quote considering all these factors as per SCC. Adequate skilled manpower and vehicle for transportation of manpower and material will be provided during execution of the work as per SCC. On this account, any claim for extra payment shall not be entertained. 3. For further details of BOQ please refer tender document.
| Total in Figures |  |  |  |  | 241807571.23 |  | 225440255.46 |  | 237877539.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words (Iteration 0)
|  |  | Bidder Price | Amount in Words
1 | AMA Private Limited | 225440255.00 | 195440255.00 | Ninteen Crore Fifty Four Lakh Fourty Thousand Two Hundred and Fifty Five
2 | Vardhman Airport Solutions Pvt Ltd | 225440255.00 | 194440255.00 | Ninteen Crore Fourty Four Lakh Fourty Thousand Two Hundred and Fifty Five
3 | JCC ENGINEERS PRIVATE LIMITED | 225440255.00 | 198440255.00 | Ninteen Crore Eighty Four Lakh Fourty Thousand Two Hundred and Fifty Five
Lowest Amount Quoted BY: Vardhman Airport Solutions Pvt Ltd(194440255.00)

## BOQ Summary
BOQ Summary Details Tender Title: Conversion of Category - I lighting to Category - II Lighting System at BPI Airport, Bhubaneshwar Tender ID: 2023_AAI_140226_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AMA Private Limited | 225440255.46 | L1
| 2 | JCC ENGINEERS PRIVATE LIMITED | 237877539.00 | L2
| 3 | Vardhman Airport Solutions Pvt Ltd | 241807571.23 | L3