## BoQ1
Government eProcurement System Created By: TANSUKH TANSUKH Created Date/Time: 06-Feb-2023 03:46 PM Tender Title: Up-gradation of Kota Airport for RCS Operations S.H.- Electrical Works Tender ID: 2023_AAI_140454_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Kishangarh Airport, Ajmer-305801
Name of Work:Up-gradation of Kota Airport for RCS Operations. S.H.:- Electrical Works
Contract No: 2022_AAI_140454_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-09AAHCM2436Q1ZW) |  | M/s Sogani Electrical(GSTN-08AGBPS1420R1Z3) |  | surbhi association(GSTN-23AGKPD2522N1ZK)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 20 watt LED batten type tube light (4ft.) Ultra slim with extruded polycarbonale, Suitable for 230V, 50Hz, AC Supply with all accessories. | 50.00 | Each | 100.00 | 400.00 | 20000.00 | 300.00 | 15000.00 | 200.00 | 10000.00 | 10000.00 | surbhi association
2.00 | Supply of 9 watt LED batten type tube light (2ft. mirror light) Ultra slim with extruded polycarbonale, Suitable for 230V, 50Hz, AC Supply with all accessories. | 20.00 | Each | 100.00 | 233.00 | 4660.00 | 280.00 | 5600.00 | 200.00 | 4000.00 | 4000.00 | surbhi association
3.00 | Supply of round shape recess type Down lights 15 Watt for Existing toilets fitting suitable for operation on 230V AC supply. As per technical specfication and similar to existing fitting in terms of shape and size complete as required. | 30.00 | Each | 100.00 | 722.00 | 21660.00 | 780.00 | 23400.00 | 550.00 | 16500.00 | 16500.00 | surbhi association
4.00 | Supply of round shape recess type 12 Watt COB Spot Light for Existing VIP room fittings suitable for operation on 230V AC supply. As per technical specfication and similar to existing fitting in terms of shape and size complete as required. | 50.00 | Each | 100.00 | 1144.00 | 57200.00 | 1040.00 | 52000.00 | 900.00 | 45000.00 | 45000.00 | surbhi association
5.00 | Supply of Inverter LED 2x2 Panel, 36 watt (± 10%), CRCA powder coated, IP20, with functioning as per Product TDS, to be fixed in Gypsum Board false ceiling with clamp complete as per direction of EIC . | 130.00 | Each | 100.00 | 1190.00 | 154700.00 | 1400.00 | 182000.00 | 1400.00 | 182000.00 | 154700.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
6.00 | Supply of 45 watt LED Street / Roadway lighting luminaire with IP65 Protection suitable for fixing in 40 mm OD pipe including die cast aluminium housing & other accessories complete as per direction of EIC | 25.00 | Each | 100.00 | 2288.00 | 57200.00 | 1900.00 | 47500.00 | 1500.00 | 37500.00 | 37500.00 | surbhi association
7.00 | Supply of 72 watt LED Street / Roadway lighting luminaire with IP65 Protection suitable for fixing in 40 mm OD pipe including die cast aluminium housing & other accessories complete as per direction of EIC | 25.00 | Each | 100.00 | 3775.00 | 94375.00 | 2700.00 | 67500.00 | 2250.00 | 56250.00 | 56250.00 | surbhi association
8.00 | Supply of MCB TPN 63 Amp,10 KA C-Series suitable for operation on 415 Volt AC supply. (Make: Schineider/ L & T/ Havells or equivalent model of any approved make) suitable for existing panels. | 10.00 | Each | 100.00 | 837.00 | 8370.00 | 1700.00 | 17000.00 | 1800.00 | 18000.00 | 8370.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
9.00 | Supply of MCCB 4 pole 100 Amp 35 KA suitable for operation on 415 Volt AC supply. (Make: Siemens. Model No. VT100N or equivalent model of any approved make) suitable for existing panels. | 5.00 | Each | 100.00 | 4815.00 | 24075.00 | 7600.00 | 38000.00 | 8500.00 | 42500.00 | 24075.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
10.00 | Supply of following copper conductor FR-LSH PVC insulated single core flexible cable of 1.1 KV conforming to IS 694
10.10 | Single core 1.5 sqmm | 500.00 | Mtr | 100.00 | 13.00 | 6500.00 | 150.00 | 75000.00 | 16.50 | 8250.00 | 6500.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
10.20 | Single core 2.5 sqmm | 500.00 | Mtr | 100.00 | 21.00 | 10500.00 | 27.00 | 13500.00 | 28.00 | 14000.00 | 10500.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
10.30 | Single core 4.0 sqmm | 200.00 | Mtr | 100.00 | 32.00 | 6400.00 | 43.00 | 8600.00 | 38.00 | 7600.00 | 6400.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
11.00 | Supply of following PVC insulated and FR PVC round sheathed, copper conductor flexible cable of 1.1 KV grade confoming to IS 694.
11.10 | 2.0 core 1.5 sqmm | 200.00 | Mtr | 100.00 | 32.00 | 6400.00 | 41.00 | 8200.00 | 65.00 | 13000.00 | 6400.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
11.20 | 2.0 core 2.5 sqmm | 200.00 | Mtr | 100.00 | 51.00 | 10200.00 | 65.00 | 13000.00 | 90.00 | 18000.00 | 10200.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
12.00 | SITC of following capacity , Hi-wall mount, Cold type, BEE rated 5 STAR Split type Air conditioner with inverter type compressor filled with R410a/ R32 gas, copper condensor tube/coil, cordless remote control for temperature adjustment, indoor unit blower speed, swing adjustment, auto restart, sleep mode, turbo mode, with LED display for temperature and other standard features suitable for operation on 230 V, 50 Hz , AC supply including wiring with suitable size FR, PVC flexible copper cable for control/power wiring, Suction and liquid line copper piping between indoor & outdoor unit (approx distance of 10 ft) with insulation as per technical specifications etc complete as required.
12.10 | 1.5 TR , Minimum cooling capacity 18000 BTU/Hr | 6.00 | Each | 100.00 | 37324.00 | 223944.00 | 45000.00 | 270000.00 | 38500.00 | 231000.00 | 223944.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
12.20 | 2.0 TR, Minimum cooling capacity 24000 BTU/Hr | 4.00 | Each | 100.00 | 45571.00 | 182284.00 | 60000.00 | 240000.00 | 46000.00 | 184000.00 | 182284.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
13.00 | Supply and fitting of appropriate size and thickness of MS Stand / L-Chair for fixing 1.5/2.0 TR split AC outdoor unit or condensing units along with necessary vibration pads , anchor fastner/bolt & nuts etc on concrete/brick wall or floor etc. as required. | 10.00 | Each | 100.00 | 751.00 | 7510.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 5000.00 | M/s Sogani Electrical
14.00 | Supply, Installing, Testing and Commissioning of 5 KVA / 4 KVA voltage Stabilizer suitable for following capacity AC unit having stabilising range (170-280 V), Digital display showing input and output voltage, Time delay system , Low & High Voltage Cut-off Protection, Built In Thermal Overload Protection, wall mounting cabinet design and other standard functions including providing connections etc.complete asrequired..(Make:V-GUARD/Aulten/ Bluebird/Microtek/Luminious/Voltas).
14.10 | 2.0 TR | 4.00 | Each | 100.00 | 3572.00 | 14288.00 | 2900.00 | 11600.00 | 3000.00 | 12000.00 | 11600.00 | M/s Sogani Electrical
14.20 | 1.5 TR | 6.00 | Each | 100.00 | 2631.00 | 15786.00 | 2400.00 | 14400.00 | 2500.00 | 15000.00 | 14400.00 | M/s Sogani Electrical
15.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required | 10.00 | Each | 100.00 | 629.00 | 6290.00 | 900.00 | 9000.00 | 900.00 | 9000.00 | 6290.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
16.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required .
16.10 | 4 way (4 + 12), Double door | 4.00 | Each | 100.00 | 1787.00 | 7148.00 | 6500.00 | 26000.00 | 5000.00 | 20000.00 | 7148.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
16.20 | 8 way (4 + 24), Double door | 4.00 | Each | 100.00 | 2263.00 | 9052.00 | 8000.00 | 32000.00 | 7500.00 | 30000.00 | 9052.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
16.30 | 12 way (4 + 36), Double door | 8.00 | Each | 100.00 | 2744.00 | 21952.00 | 11500.00 | 92000.00 | 8500.00 | 68000.00 | 21952.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
17.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
17.10 | Single pole | 80.00 | Each | 100.00 | 104.00 | 8320.00 | 170.00 | 13600.00 | 150.00 | 12000.00 | 8320.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
17.20 | Double pole | 20.00 | Each | 100.00 | 312.00 | 6240.00 | 600.00 | 12000.00 | 350.00 | 7000.00 | 6240.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
17.30 | Triple pole and neutral | 10.00 | Each | 100.00 | 645.00 | 6450.00 | 1200.00 | 12000.00 | 1850.00 | 18500.00 | 6450.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
18.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated (Group C) | 100.00 | Point | 100.00 | 782.00 | 78200.00 | 1100.00 | 110000.00 | 900.00 | 90000.00 | 78200.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
19.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required
19.10 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 400.00 | Mtr | 100.00 | 99.00 | 39600.00 | 150.00 | 60000.00 | 120.00 | 48000.00 | 39600.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
19.20 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 200.00 | Mtr | 100.00 | 125.00 | 25000.00 | 180.00 | 36000.00 | 160.00 | 32000.00 | 25000.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
20.00 | Supply of 2C X 16 sqmm cable of 1.1 kv grade multicore aluminium conductor, XLPE insulated and PVC sheathed armoured cable as per IS: 7098:1988 (Part-I) with upto date amendments. | 500.00 | Mtr | 100.00 | 90.00 | 45000.00 | 92.00 | 46000.00 | 110.00 | 55000.00 | 45000.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
21.00 | Supply of 2C X 10 sqmm cable of 1.1 kv grade multicore aluminium conductor, XLPE insulated and PVC sheathed armoured cable as per IS: 7098:1988 (Part-I) with upto date amendments. | 500.00 | Mtr | 100.00 | 98.00 | 49000.00 | 90.00 | 45000.00 | 100.00 | 50000.00 | 45000.00 | M/s Sogani Electrical
22.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of upto size of 35 sqmm. on wall surface as required. | 200.00 | Mtr | 100.00 | 45.00 | 9000.00 | 60.00 | 12000.00 | 20.00 | 4000.00 | 4000.00 | surbhi association
23.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of upto 35 sqmm. size in the existing RCC/ HUME/ METAL pipe as required. | 200.00 | Mtr | 100.00 | 38.00 | 7600.00 | 20.00 | 4000.00 | 18.00 | 3600.00 | 3600.00 | surbhi association
24.00 | Supplying,installation,testing and commissioning of Astronomical time switch capable of following output in feeder pillars / Lighting DBs for automatic switching On & OFF of street lights at sun set & sun rise or twilight(Auto ON, Auto OFF, Auto) with manual override facility with 12/24 hour display format with suitable battery and indication for relay status i/c programming at site complete as required. | 1.00 | Each | 100.00 | 1621.00 | 1621.00 | 6500.00 | 6500.00 | 2000.00 | 2000.00 | 1621.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
25.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
25.10 | 2 X 16 sq. mm | 10.00 | Each | 100.00 | 165.00 | 1650.00 | 100.00 | 1000.00 | 150.00 | 1500.00 | 1000.00 | M/s Sogani Electrical
25.20 | 2 X 10 sq. mm | 30.00 | Each | 100.00 | 142.00 | 4260.00 | 100.00 | 3000.00 | 150.00 | 4500.00 | 3000.00 | M/s Sogani Electrical
26.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for 2 X 16 sq. mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 4.00 | Each | 100.00 | 2926.00 | 11704.00 | 1200.00 | 4800.00 | 2500.00 | 10000.00 | 4800.00 | M/s Sogani Electrical
27.00 | Installation, testing and comissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 100.00 | Each | 100.00 | 90.00 | 9000.00 | 125.00 | 12500.00 | 80.00 | 8000.00 | 8000.00 | surbhi association
28.00 | Installation, testing and comissioning of LED street light fitting on the existing 9 Mtr poles i/c wiring with the 2 x 1.5 sq.mm. size of PVC insulated copper conductor single core cable from junction Box to fitting & making connections etc. complete as required. | 50.00 | Each | 100.00 | 168.00 | 8400.00 | 150.00 | 7500.00 | 150.00 | 7500.00 | 7500.00 | M/s Sogani Electrical, surbhi association
29.00 | Dismanteling of existing LED Fittings (36/ 20/ 18/ 10/ 8 Watt) /ceiling fan installed in terminal building and handed over/ shifting the same to AAI store or as per instruction of EIC etc. as required at site. | 80.00 | Each | 100.00 | 56.00 | 4480.00 | 70.00 | 5600.00 | 20.00 | 1600.00 | 1600.00 | surbhi association
30.00 | Supply, Installation, Testing & Commissioning of 7.5 HP Submersible pump set having stainless steel impeller suitable for operation on 415V 3 PHASE AC supply, Discharge range (LPM) 60-420, head range 20-107 mtr, borewell size-100 mm, No. of stage-20. Make- KSB- Model No. KS4H8020 or equivalent model of any approved make.) complete as per direction of EIC | 2.00 | Each | 100.00 | 40318.00 | 80636.00 | 40000.00 | 80000.00 | 55000.00 | 110000.00 | 80000.00 | M/s Sogani Electrical
31.00 | Supply, Installation, Testing & Commissioning of 5 HP openwell Submersible Pump Set/Monoblock pump set for drinking water supply having dynacmically balanced NORYL impeller with waterproof installation to run on 415 v 50hz 3 phase AC supply capable of delivering 8000LPH at 82 mtrs and having head range of 47 mtr to 129 mtr etc. complete as per direction of EIC | 2.00 | Each | 100.00 | 32713.00 | 65426.00 | 33000.00 | 66000.00 | 35000.00 | 70000.00 | 65426.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
32.00 | SITC of Indoor type control panel board wallmounted/floor double door suitable for upto 7.5 HP pump set made up of 1.6mm MS sheet with painted waterproof, locable including double coat synthetic paint for pump set having following accessories : a) DOL starter with push button main on/off switches with overload relay. b) Single phase preventor. c) Digital ammeter of suitable range. d) Digital volt meter 0 to 500 volt with RYB selector switch. e) LED phase indication lamp (On/Trip Indication ). | 4.00 | Each | 100.00 | 8885.00 | 35540.00 | 8500.00 | 34000.00 | 15500.00 | 62000.00 | 34000.00 | M/s Sogani Electrical
33.00 | Supply of 3 core 4sqmm. size of 1.1kv grade copper conductor submersible cable PVC insulated & PVC sheathed (As per IS:7098:1988 part 1 with up to date amendments) complete as required. | 500.00 | Mtr | 100.00 | 93.00 | 46500.00 | 140.00 | 70000.00 | 180.00 | 90000.00 | 46500.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
34.00 | Supply of Automatic Stainless Steel hand dryer with touch free infra red activation suitable for operation on 230 volt, 50 Hz, single phase AC supply with automatic operation along with sensor, timer control, over load protection etc. complete as required. Make:- Technocrat - Model No. T-888-SS-HD or equivalent model of any approved make) | 10.00 | Each | 100.00 | 11165.00 | 111650.00 | 11000.00 | 110000.00 | 14500.00 | 145000.00 | 110000.00 | M/s Sogani Electrical
35.00 | Supply of 35 ltr capacity storage type geyser with 5 star BEE rating,suitable for operation on 230 volt ± 10%, 50Hz single phase AC power supply etc Geyser complete as requried. (Model-Monza DX of Havells Make or equivalent model of any approved make) | 4.00 | Each | 100.00 | 13144.00 | 52576.00 | 14000.00 | 56000.00 | 18000.00 | 72000.00 | 52576.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
36.00 | S.I.T.C. of Storage type Self contained 150/150 L drinking Water cooler confirming to IS; 1475/78 with uptodate amendments suitable for operation on 230 V+/- 10%, 50Hz, Single phase A.C. Supply,having technical specification etc. as required. (Make : Voltas / Blue Star or equivalent model of any approved make) | 2.00 | Each | 100.00 | 46119.00 | 92238.00 | 57000.00 | 114000.00 | 51500.00 | 103000.00 | 92238.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
37.00 | S.I.T.C. of 50 LPH R.O. water purifiers as per specifications i/c. making inlet and outlet water connections complete as per site requirement.(Make : KENT / Eurekaforbs / ION Exchange Ltd. or equivalent model of any approved make) | 2.00 | Each | 100.00 | 29711.00 | 59422.00 | 47000.00 | 94000.00 | 36500.00 | 73000.00 | 59422.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
38.00 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required. | 40.00 | Each | 100.00 | 1141.00 | 45640.00 | 1250.00 | 50000.00 | 1250.00 | 50000.00 | 45640.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
39.00 | Supplying, installation, testing & commissioning 4 Zone sector panel complete as required with visual indications for short circuit fault, open circuit fault, fire condition and all other standard facilities as per IS:2189 with mimic diagram for all area/zone covered, complete with all connections, interconnections as required. | 1.00 | Each | 100.00 | 16945.00 | 16945.00 | 9000.00 | 9000.00 | 25000.00 | 25000.00 | 9000.00 | M/s Sogani Electrical
40.00 | Supplying, installation, testing & commissioning of manual call box of ABS type in surface/recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required. | 6.00 | Each | 100.00 | 1276.00 | 7656.00 | 550.00 | 3300.00 | 500.00 | 3000.00 | 3000.00 | surbhi association
41.00 | Supplying, installation, testing & commissioning fire alarm sounder with facility to make announcement, mounted in M.S. box (16 SWG) with hinged cover plate & suitable for operation with amplifier i/c line matching transformer etc. complete as required. | 4.00 | Each | 100.00 | 1513.00 | 6052.00 | 600.00 | 2400.00 | 2000.00 | 8000.00 | 2400.00 | M/s Sogani Electrical
42.00 | Supplying & laying of 2x1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable Ethylene Propylene Rubber (EPR) insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 500.00 | Mtr | 100.00 | 153.00 | 76500.00 | 150.00 | 75000.00 | 100.00 | 50000.00 | 50000.00 | surbhi association
43.00 | Supply of 300 mm 1300 RPM Metalic Exhaust Fan suitable for operation on 240 volt AC supply. | 10.00 | Each | 100.00 | 1862.00 | 18620.00 | 1750.00 | 17500.00 | 2500.00 | 25000.00 | 17500.00 | M/s Sogani Electrical
44.00 | Supply of 300 mm wall Fan suitable for operation on 240 volt AC supply | 10.00 | Each | 100.00 | 2055.00 | 20550.00 | 2300.00 | 23000.00 | 2100.00 | 21000.00 | 20550.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
45.00 | Supply of 3 blade, 1400 mm Ceiling Fan suitable for operation on 240 volt AC supply along with all ACcessories like canopy, standard down rod, clamp etc. | 20.00 | Each | 100.00 | 2519.00 | 50380.00 | 1550.00 | 31000.00 | 2100.00 | 42000.00 | 31000.00 | M/s Sogani Electrical
| Total in Figures |  |  |  |  | 2072350.00 |  | 2493000.00 |  | 2355800.00
Lowest Amount Quoted BY: Metropolitan Infrabuild Development And Services Pvt Ltd(2072350.00)

## BOQ Summary
BOQ Summary Details Tender Title: Up-gradation of Kota Airport for RCS Operations S.H.- Electrical Works Tender ID: 2023_AAI_140454_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Metropolitan Infrabuild Development And Services Pvt Ltd | 2072350.00 | L1
| 2 | surbhi association | 2355800.00 | L2
| 3 | M/s Sogani Electrical | 2493000.00 | L3