## BoQ1
Government eProcurement System Created By: Nagendran M Created Date/Time: 10-Feb-2023 05:10 PM Tender Title: ARMO of E and M Installations at Calicut International Airport for 202223 SH Annual Rate Contract for Electrical Installations Tender ID: 2023_AAI_141130_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work: ARMO of E&M Installations at Calicut International Airport for 2022-23 SH : Annual Rate Contract for Electrical Installations.
Contract No: <2023_AAI_141130_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MPC ELECTRICALS AND ENGINEERS(GSTN-08ABUPP6558K1ZM) |  | Hassan AT(GSTN-32ALPPH0370J1Z7) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way , Double door | 2.00 | Each |  | 5300.00 | 10600.00 | 2299.00 | 4598.00 | 1500.00 | 3000.00 | 3000.00 | M/s BHARAT ELECTRIC, NAGPUR
2.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (8 + 18), Double door | 2.00 | Each |  | 7100.00 | 14200.00 | 4499.00 | 8998.00 | 5000.00 | 10000.00 | 8998.00 | Hassan AT
3.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way (8 + 18), Double door | 2.00 | Each |  | 7100.00 | 14200.00 | 2299.00 | 4598.00 | 5000.00 | 10000.00 | 4598.00 | Hassan AT
4.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following single pole and neutral, sheet steel, MCB distribution board, 240 Volts, on surface/ recess, complete with testing and commissioning etc. as required. For 12 way, Double door SPN MCBDB | 2.00 | Each |  | 2600.00 | 5200.00 | 1199.00 | 2398.00 | 1000.00 | 2000.00 | 2000.00 | M/s BHARAT ELECTRIC, NAGPUR
5.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following single pole and neutral, sheet steel, MCB distribution board, 240 Volts, on surface/ recess, complete with testing and commissioning etc. as required. For 8 way, Double door SPN MCBDB | 2.00 | Each |  | 2600.00 | 5200.00 | 999.00 | 1998.00 | 2000.00 | 4000.00 | 1998.00 | Hassan AT
6.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc.as required. For 6 way, Double door TPN MCBDB. | 2.00 | Each |  | 3500.00 | 7000.00 | 1499.00 | 2998.00 | 2000.00 | 4000.00 | 2998.00 | Hassan AT
7.00 | Supplying and fixing 5 A to 32 A rating, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 40.00 | Each |  | 206.00 | 8240.00 | 149.00 | 5960.00 | 175.00 | 7000.00 | 5960.00 | Hassan AT
8.00 | Supplying and fixing 5 A to 32 A rating, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole | 10.00 | Each |  | 1250.00 | 12500.00 | 699.00 | 6990.00 | 750.00 | 7500.00 | 6990.00 | Hassan AT
9.00 | Supplying and fixing 5 A to 32 A rating, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole | 10.00 | Each |  | 1700.00 | 17000.00 | 1199.00 | 11990.00 | 1000.00 | 10000.00 | 10000.00 | M/s BHARAT ELECTRIC, NAGPUR
10.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Four pole | 10.00 | Each |  | 1910.00 | 19100.00 | 999.00 | 9990.00 | 1500.00 | 15000.00 | 9990.00 | Hassan AT
11.00 | Supplying and fixing 40 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole and neutral | 5.00 | Each |  | 1910.00 | 9550.00 | 1999.00 | 9995.00 | 1500.00 | 7500.00 | 7500.00 | M/s BHARAT ELECTRIC, NAGPUR
12.00 | Supplying and fixing 63 A rating, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole and neutral | 5.00 | Each |  | 2240.00 | 11200.00 | 1899.00 | 9495.00 | 1500.00 | 7500.00 | 7500.00 | M/s BHARAT ELECTRIC, NAGPUR
13.00 | Supplying and fixing following rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 A | 5.00 | Each |  | 1610.00 | 8050.00 | 859.00 | 4295.00 | 1000.00 | 5000.00 | 4295.00 | Hassan AT
14.00 | Supplying and fixing following rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A | 5.00 | Each |  | 1610.00 | 8050.00 | 1099.00 | 5495.00 | 1500.00 | 7500.00 | 5495.00 | Hassan AT
15.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required 40 A | 5.00 | Each |  | 3800.00 | 19000.00 | 999.00 | 4995.00 | 1500.00 | 7500.00 | 4995.00 | Hassan AT
16.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required 63 A | 10.00 | Each |  | 4400.00 | 44000.00 | 2099.00 | 20990.00 | 3000.00 | 30000.00 | 20990.00 | Hassan AT
17.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm | 5.00 | Each |  | 2240.00 | 11200.00 | 999.00 | 4995.00 | 2000.00 | 10000.00 | 4995.00 | Hassan AT
18.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 25 sq. mm | 5.00 | Each |  | 3320.00 | 16600.00 | 999.00 | 4995.00 | 2500.00 | 12500.00 | 4995.00 | Hassan AT
19.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 50 sq. mm | 2.00 | Each |  | 3320.00 | 6640.00 | 1099.00 | 2198.00 | 3000.00 | 6000.00 | 2198.00 | Hassan AT
20.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 70 sq. mm | 2.00 | Each |  | 3320.00 | 6640.00 | 1099.00 | 2198.00 | 3500.00 | 7000.00 | 2198.00 | Hassan AT
21.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 95 sq. mm | 2.00 | Each |  | 3500.00 | 7000.00 | 1099.00 | 2198.00 | 4000.00 | 8000.00 | 2198.00 | Hassan AT
22.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 120 sq. mm | 2.00 | Each |  | 4400.00 | 8800.00 | 1099.00 | 2198.00 | 4500.00 | 9000.00 | 2198.00 | Hassan AT
23.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 185 sq. mm | 5.00 | Each |  | 5300.00 | 26500.00 | 3099.00 | 15495.00 | 5000.00 | 25000.00 | 15495.00 | Hassan AT
24.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 240 sq. mm | 5.00 | Each |  | 5300.00 | 26500.00 | 1099.00 | 5495.00 | 7500.00 | 37500.00 | 5495.00 | Hassan AT
25.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 300 sq. mm | 4.00 | Each |  | 6200.00 | 24800.00 | 1099.00 | 4396.00 | 10000.00 | 40000.00 | 4396.00 | Hassan AT
26.00 | Supplying and making straight through cable jointing with heat shrinkable jointing kit complete with all accessories including ferrules suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required : 300 sq. mm | 2.00 | Each |  | 5300.00 | 10600.00 | 15099.00 | 30198.00 | 20000.00 | 40000.00 | 10600.00 | MPC ELECTRICALS AND ENGINEERS
27.00 | Supplying and making outdoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 kV grade as required. 300 sq. mm | 2.00 | Each |  | 17000.00 | 34000.00 | 1099.00 | 2198.00 | 20000.00 | 40000.00 | 2198.00 | Hassan AT
28.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 Meter long etc. with charcoal/ coke and salt as required. | 4.00 | Job |  | 9200.00 | 36800.00 | 6099.00 | 24396.00 | 15000.00 | 60000.00 | 24396.00 | Hassan AT
29.00 | Supplying and laying 6 SWG G.I. wire at 0.50 Meter below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 80.00 | Meter |  | 44.00 | 3520.00 | 120.00 | 9600.00 | 125.00 | 10000.00 | 3520.00 | MPC ELECTRICALS AND ENGINEERS
30.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia medium class G.I.pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required.(GI pipe to be provided by bidder) | 30.00 | Meter |  | 440.00 | 13200.00 | 799.00 | 23970.00 | 500.00 | 15000.00 | 13200.00 | MPC ELECTRICALS AND ENGINEERS
31.00 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. | 5.00 | Each |  | 530.00 | 2650.00 | 79.00 | 395.00 | 500.00 | 2500.00 | 395.00 | Hassan AT
32.00 | Providing and fixing H.T. danger notice plate of 250 mm X 200 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. | 5.00 | Each |  | 800.00 | 4000.00 | 79.00 | 395.00 | 500.00 | 2500.00 | 395.00 | Hassan AT
33.00 | Supply and Installation of 6MM Thick MS chequered plate including provision of lifting handle, cutting/drilling/painting etc. as required. | 10.00 | Sq.m |  | 11600.00 | 116000.00 | 4999.00 | 49990.00 | 250.00 | 2500.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
34.00 | Supply and Installation of 8MM Thick MS chequered plate including provision of lifting handle, cutting/drilling/painting etc. as required. | 10.00 | Sq.m |  | 11600.00 | 116000.00 | 4999.00 | 49990.00 | 400.00 | 4000.00 | 4000.00 | M/s BHARAT ELECTRIC, NAGPUR
35.00 | Supply and fitting of MS angle (35 x 35 x 5mm) support for light frame work / installation of chequred plates / support structure works etc including welding/drilling/ cutting/ painting of angle frame and minor masonry works of existing trench/pit to fix frame / support structure / flush the chequred plate to floor level etc complete as required. | 150.00 | Meter |  | 620.00 | 93000.00 | 299.00 | 44850.00 | 200.00 | 30000.00 | 30000.00 | M/s BHARAT ELECTRIC, NAGPUR
36.00 | Supply of prewired Integral LED 30W (system wattage)Street Light Luminaire of efficacy minimum 100 lm/w,, CRI ≥ 70,THD ≤10, surge protection ≥ 4 kV, P.F ≥ 0.95,suitable for operation on 230 V+ 10%, 50 Hz, Single phase AC supply complete with comprising of pressure die cast aluminium housing, enclosed with glass cover in frame with IP 65 protection suitable for fixing other accessories etc., complete as required and suitable for pole mounting. | 20.00 | Each |  | 2600.00 | 52000.00 | 1799.00 | 35980.00 | 2000.00 | 40000.00 | 35980.00 | Hassan AT
37.00 | Supply of prewired Integral LED 50W (system wattage)Street Light Luminaire of efficacy minimum 100 lm/w,, CRI ≥ 70,THD ≤10, surge protection ≥ 4 kV, P.F ≥ 0.95,suitable for operation on 230 V+ 10%, 50 Hz, Single phase AC supply complete with comprising of pressure die cast aluminium housing, enclosed with glass cover in frame with IP 65 protection suitable for fixing other accessories etc., complete as required and suitable for pole mounting. | 30.00 | Each |  | 3500.00 | 105000.00 | 4999.00 | 149970.00 | 2500.00 | 75000.00 | 75000.00 | M/s BHARAT ELECTRIC, NAGPUR
38.00 | Supply of prewired Integral LED 60 watt(system wattage) FloodLight Luminaire of efficacy minimum 100 lm/w,, CRI ≥ 70,THD ≤10, surge protection ≥ 4 kV, P.F ≥ 0.95 suitable for operation on 230 V+ 10%, 50 Hz, Single phase AC supply complete with comprising of pressure die cast aluminium housing, enclosed with glass cover in frame with IP 65 protection suitable for fixing other accessories etc., complete as required and suitable for pole mounting. | 10.00 | Each |  | 4400.00 | 44000.00 | 4999.00 | 49990.00 | 3500.00 | 35000.00 | 35000.00 | M/s BHARAT ELECTRIC, NAGPUR
39.00 | Supply of prewired Integral LED 100 watt(system wattage) FloodLight Luminaire of efficacy minimum 100 lm/w,, CRI ≥ 70,THD ≤10, surge protection ≥ 4 kV, P.F ≥ 0.95 suitable for operation on 230 V+ 10%, 50 Hz, Single phase AC supply complete with comprising of pressure die cast aluminium housing, enclosed with glass cover in frame with IP 65 protection suitable for fixing other accessories etc., complete as required and suitable for pole mounting. | 20.00 | Each |  | 6200.00 | 124000.00 | 5999.00 | 119980.00 | 5000.00 | 100000.00 | 100000.00 | M/s BHARAT ELECTRIC, NAGPUR
40.00 | Supply of prewired Integral LED 70W (system wattage)Street Light Luminaire of efficacy minimum 100 lm/w,, CRI ≥ 70,THD ≤10, surge protection ≥ 4 kV, P.F ≥ 0.95,suitable for operation on 230 V+ 10%, 50 Hz, Single phase AC supply complete with comprising of pressure die cast aluminium housing, enclosed with glass cover in frame with IP 65 protection suitable for fixing other accessories etc., complete as required and suitable for pole mounting. | 10.00 | Each |  | 6200.00 | 62000.00 | 6099.00 | 60990.00 | 7500.00 | 75000.00 | 60990.00 | Hassan AT
41.00 | Supply of 36W , Inverter LED Panel Luminaire of size 2 feet x 2 feet with internal Li-Ion Battery , system efficacy minimum 100 lm/w,, CRI ≥ 80,THD ≤10, surge protection ≥ 3 kV, P.F ≥ 0.95,suitable for operation on 230 V+ 10%, 50 Hz, Single phase AC supply complete with IP 20 protection suitable for fixing including suitable frame , fixing and other accessories etc., complete as required and suitable for recess mouting . | 10.00 | Each |  | 7100.00 | 71000.00 | 1099.00 | 10990.00 | 5000.00 | 50000.00 | 10990.00 | Hassan AT
42.00 | Supply of 36W LED Panel Luminaire of size 4feet x 1 feet with efficacy minimum 100 lm/w,, CRI ≥ 80,THD ≤10, surge protection ≥ 2 kV, P.F ≥ 0.95,suitable for operation on 230 V+ 10%, 50 Hz, Single phase AC supply complete with IP 20 protection suitable for fixing including suitable frame , fixing and other accessories etc., complete as required and suitable for recess mouting . | 20.00 | Each |  | 7100.00 | 142000.00 | 5099.00 | 101980.00 | 3500.00 | 70000.00 | 70000.00 | M/s BHARAT ELECTRIC, NAGPUR
43.00 | Supply of Single Dome Integral LED Avaition Obstruction light comprising of aluminium housing with polycarbonate housing ( Make Bajaj ; Model BGAV 302LED or its equivalent) | 2.00 | Each |  | 6200.00 | 12400.00 | 1099.00 | 2198.00 | 5000.00 | 10000.00 | 2198.00 | Hassan AT
44.00 | Supply of following sizes of FR PVC insulated Round sheathed copper conductor cable as per IS 694. 3C x 1.5sqmm | 300.00 | Meter |  | 125.00 | 37500.00 | 199.00 | 59700.00 | 100.00 | 30000.00 | 30000.00 | M/s BHARAT ELECTRIC, NAGPUR
45.00 | Supply of following sizes of FR PVC insulated Round sheathed copper conductor cable as per IS 694. 3C x 2.5sqmm | 250.00 | Meter |  | 224.00 | 56000.00 | 139.00 | 34750.00 | 125.00 | 31250.00 | 31250.00 | M/s BHARAT ELECTRIC, NAGPUR
46.00 | Supply of following sizes of FR PVC insulated Round sheathed copper conductor cable as per IS 694. 3C x 4sqmm | 250.00 | Meter |  | 242.00 | 60500.00 | 219.00 | 54750.00 | 150.00 | 37500.00 | 37500.00 | M/s BHARAT ELECTRIC, NAGPUR
47.00 | Supply of 1.5 sq. mm ISI marked, FRLS PVC insulated, single core copper conductor cable of 1.1 KV grade conforming to relevant IS with upto date amendments etc., complete as required. | 1800.00 | Meter |  | 26.00 | 46800.00 | 29.00 | 52200.00 | 20.00 | 36000.00 | 36000.00 | M/s BHARAT ELECTRIC, NAGPUR
48.00 | Supply of 2.5 sq. mm ISI marked, FRLS PVC insulated, single core copper conductor cable of 1.1 KV grade conforming to relevant IS with upto date amendments etc., complete as required. | 1800.00 | Meter |  | 35.00 | 63000.00 | 39.00 | 70200.00 | 30.00 | 54000.00 | 54000.00 | M/s BHARAT ELECTRIC, NAGPUR
49.00 | Supply of 4 sq. mm ISI marked, FRLS PVC insulated, single core copper conductor cable of 1.1 KV grade conforming to relevant IS with upto date amendments etc., complete as required. | 900.00 | Meter |  | 53.00 | 47700.00 | 59.00 | 53100.00 | 50.00 | 45000.00 | 45000.00 | M/s BHARAT ELECTRIC, NAGPUR
50.00 | Supply of Analog time switch (Make L&T , Model AUTS01ANA00 / AUTS03ANA00 or equivalent) | 10.00 | Each |  | 4400.00 | 44000.00 | 3099.00 | 30990.00 | 3000.00 | 30000.00 | 30000.00 | M/s BHARAT ELECTRIC, NAGPUR
51.00 | Supply of 5 Meter White LED Strip suitable for 12V operation without adapter as required suitable for installation in floor mounted / hanging signboards etc | 20.00 | Each |  | 1250.00 | 25000.00 | 199.00 | 3980.00 | 1500.00 | 30000.00 | 3980.00 | Hassan AT
52.00 | Supply of IP65 Waterproof Outdoor 300W LED Drivers suitable for 230V AC to 12V DC operation with suitable heat sink etc complete as required. | 5.00 | Each |  | 800.00 | 4000.00 | 899.00 | 4495.00 | 1500.00 | 7500.00 | 4000.00 | MPC ELECTRICALS AND ENGINEERS
53.00 | Supply of IP65 Waterproof Outdoor 200W LED Drivers suitable for 230V AC to 12V DC operation with suitable heat sink etc complete as required. | 5.00 | Each |  | 1520.00 | 7600.00 | 899.00 | 4495.00 | 1500.00 | 7500.00 | 4495.00 | Hassan AT
54.00 | Supply of IP65 Waterproof Outdoor 100W LED Drivers suitable for 230V AC to 12V DC operation with suitable heat sink etc complete as required. | 20.00 | Each |  | 1520.00 | 30400.00 | 1099.00 | 21980.00 | 1000.00 | 20000.00 | 20000.00 | M/s BHARAT ELECTRIC, NAGPUR
55.00 | Supply of IP65 Waterproof Outdoor 30W LED Drivers suitable for 230V AC to 12V DC operation with suitable heat sink etc complete as required. | 50.00 | Each |  | 800.00 | 40000.00 | 999.00 | 49950.00 | 1000.00 | 50000.00 | 40000.00 | MPC ELECTRICALS AND ENGINEERS
56.00 | Providing Manpower for urgent maintenance : Skilled | 50.00 | Day |  | 1520.00 | 76000.00 | 750.00 | 37500.00 | 1000.00 | 50000.00 | 37500.00 | Hassan AT
57.00 | Providing Manpower for urgent maintenance : Semi Skilled | 50.00 | Day |  | 1200.00 | 60000.00 | 700.00 | 35000.00 | 900.00 | 45000.00 | 35000.00 | Hassan AT
58.00 | Providing Manpower for urgent maintenance : Unskilled | 50.00 | Day |  | 1000.00 | 50000.00 | 999.00 | 49950.00 | 800.00 | 40000.00 | 40000.00 | M/s BHARAT ELECTRIC, NAGPUR
59.00 | Construction of earth chamber including formwork, brickwork, finishing with cement plastering and chamber cover with angle support etc. complete as required | 20.00 | Job |  | 2600.00 | 52000.00 | 299.00 | 5980.00 | 1500.00 | 30000.00 | 5980.00 | Hassan AT
60.00 | Hiring Portable cable fault locator including skilled man power for pin pointing the fault of the cable like , earth fault , open circuit fault etc. | 5.00 | Each |  | 8000.00 | 40000.00 | 22999.00 | 114995.00 | 25000.00 | 125000.00 | 40000.00 | MPC ELECTRICALS AND ENGINEERS
61.00 | Repairing of LED illuminated bay signboard / Bay coordinate signboard (of approximate 24W -30W LED strip )inlcuding, removal of signboard, supply and fixing of LED strips on the same signboard, re-installation of signboards etc. on 9 mtr high pole installed at Apron complete as required. | 20.00 | Job |  | 1710.00 | 34200.00 | 3999.00 | 79980.00 | 3000.00 | 60000.00 | 34200.00 | MPC ELECTRICALS AND ENGINEERS
62.00 | Replacement of damaged panel door locks including the removal of old lock and fixing of new lock complete ( key less ) as per the direction of Engineer - in - charge. | 50.00 | Each |  | 2600.00 | 130000.00 | 120.00 | 6000.00 | 500.00 | 25000.00 | 6000.00 | Hassan AT
63.00 | Supply and fixing of gasket foam tape of size 24 mm (W) x 6 mm (T) on panel doors including cutting, removal of existing panel door beedings & shifting the removed existing panel door to scrap yard etc to the satisfaction of Engineer - in - charge. | 400.00 | Meter |  | 80.00 | 32000.00 | 99.00 | 39600.00 | 200.00 | 80000.00 | 32000.00 | MPC ELECTRICALS AND ENGINEERS
64.00 | Supply and fixing of LED Indicator used in Electrical panels of following colours at position as specified by Engineer In Charge. RED | 25.00 | Each |  | 180.00 | 4500.00 | 199.00 | 4975.00 | 200.00 | 5000.00 | 4500.00 | MPC ELECTRICALS AND ENGINEERS
65.00 | Supply and fixing of LED Indicator used in Electrical panels of following colours at position as specified by Engineer In Charge YELLOW | 25.00 | Each |  | 180.00 | 4500.00 | 199.00 | 4975.00 | 200.00 | 5000.00 | 4500.00 | MPC ELECTRICALS AND ENGINEERS
66.00 | Supply and fixing of LED Indicator used in Electrical panels of following colours at position as specified by Engineer In Charge BLUE | 25.00 | Each |  | 180.00 | 4500.00 | 199.00 | 4975.00 | 200.00 | 5000.00 | 4500.00 | MPC ELECTRICALS AND ENGINEERS
67.00 | Spray painting with two or more coat of synthetic enamel paint of approved brand, manufacturer and colour to give an even shade for distribution boards,Fire hydrant Pipes, Internal & External Electrical panels/ Junction boxes/feeder pillars, etc. provided in the Terminal Buildings, Technical Block and other Ancillary Buildings including cleaning the surface, applying one coats of primer wherever necessary,removing, shifting of installations from existing site to a suitable site for painting where ever required. | 200.00 | Sq.m |  | 260.00 | 52000.00 | 399.00 | 79800.00 | 150.00 | 30000.00 | 30000.00 | M/s BHARAT ELECTRIC, NAGPUR
68.00 | Overhauling of existing LT panels [approximate dimension -{0.30-0.80} Meter (H) x {0.30-0.80} Meter (W) x {0.20-0.50} Meter(D)] including foundation concreting repair / welding / drilling / cutting / painting etc. as required. | 5.00 | Job |  | 6200.00 | 31000.00 | 999.00 | 4995.00 | 5000.00 | 25000.00 | 4995.00 | Hassan AT
69.00 | Overhauling of existing LT panels [approximate dimension -{0.81-1.20} Meter (H) x {0.81-1.20} Meter (W) x {0.20-0.50} Meter(D)] including foundation concreting repair / welding / drilling / cutting / painting etc. as required. | 5.00 | Job |  | 8000.00 | 40000.00 | 999.00 | 4995.00 | 5000.00 | 25000.00 | 4995.00 | Hassan AT
70.00 | Overhauling of existing LT panels [approximate dimension -{1.21-2.20} Meter (H) x {1.21 -2.20} Meter (W) x {0.20-0.50} Meter(D)] including foundation concreting repair / welding / drilling / cutting / painting etc. as required. | 5.00 | Job |  | 9500.00 | 47500.00 | 999.00 | 4995.00 | 5000.00 | 25000.00 | 4995.00 | Hassan AT
71.00 | Supply & Fixing of direct current operated Single Phase class 1 Energy Meter (5-40A) with LCD Display etc as required. | 100.00 | Each |  | 1700.00 | 170000.00 | 3099.00 | 309900.00 | 2000.00 | 200000.00 | 170000.00 | MPC ELECTRICALS AND ENGINEERS
72.00 | Supply & Fixing of direct current operated Three Phase class 1 Energy Meter (10-60A) with LCD Display etc as required. | 15.00 | Each |  | 2600.00 | 39000.00 | 3099.00 | 46485.00 | 4000.00 | 60000.00 | 39000.00 | MPC ELECTRICALS AND ENGINEERS
73.00 | Supply and Installation of 3Ph Class 1 Voltmeter with On site programmable CT/PT ratio measuring Voltage and shall be suitable for panel mounting with size 96mm x 96mm. | 10.00 | Job |  | 2600.00 | 26000.00 | 999.00 | 9990.00 | 2000.00 | 20000.00 | 9990.00 | Hassan AT
74.00 | Supply and Installation of 3Ph Class 1 Ammeter with On site programmable CT/PT ratio measuring Current and shall be suitable for panel mounting with size 96mm x 96mm. | 10.00 | Job |  | 2600.00 | 26000.00 | 999.00 | 9990.00 | 2000.00 | 20000.00 | 9990.00 | Hassan AT
75.00 | Supply and Installation of 3Ph Class 1 Multifunction meter with On site programmable CT/PT ratio measuring Voltage, current, frequency, power factor, Energy, demand, THD. The unit shall have RS485 port and shall be suitable for panel mounting with size 96mm x 96mm. | 10.00 | Each |  | 4400.00 | 44000.00 | 999.00 | 9990.00 | 5000.00 | 50000.00 | 9990.00 | Hassan AT
76.00 | Supply of SMC loop in loop out box of dimension not less than 300 X 200 X 105mm (equivalent to Sintex make model No.GS-JB-3020) as required. | 20.00 | Each |  | 2600.00 | 52000.00 | 599.00 | 11980.00 | 650.00 | 13000.00 | 11980.00 | Hassan AT
77.00 | Supply of 63A TPN Connector suitable for installation in SMC Loop In box | 50.00 | Each |  | 710.00 | 35500.00 | 129.00 | 6450.00 | 125.00 | 6250.00 | 6250.00 | M/s BHARAT ELECTRIC, NAGPUR
78.00 | Supply of Industrial type 21 kg/sqcm, 150 mm dia. dial type pressure gauge | 10.00 | Each |  | 2600.00 | 26000.00 | 999.00 | 9990.00 | 200.00 | 2000.00 | 2000.00 | M/s BHARAT ELECTRIC, NAGPUR
79.00 | Supply of 5kVAr Heavy Duty Capacitors (Box Construction) (Make : L&T, Model LTBCH or its equivalent) | 20.00 | Each |  | 4400.00 | 88000.00 | 999.00 | 19980.00 | 2845.00 | 56900.00 | 19980.00 | Hassan AT
80.00 | Supply of 10kVAr Heavy Duty Capacitors (Box Construction) (Make : L&T, Model LTBCH or its equivalent) | 10.00 | Each |  | 8000.00 | 80000.00 | 999.00 | 9990.00 | 5000.00 | 50000.00 | 9990.00 | Hassan AT
81.00 | Supply of Pressure Switch Hydrometer of Range 2 to 14 bar Make: Danfoss Model: KP36 or Equivalent | 4.00 | Each |  | 2000.00 | 8000.00 | 999.00 | 3996.00 | 1000.00 | 4000.00 | 3996.00 | Hassan AT
82.00 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with bronze/gunmetal set duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of size 150mm Dia as required | 3.00 | Job |  | 1800.00 | 5400.00 | 999.00 | 2997.00 | 1000.00 | 3000.00 | 2997.00 | Hassan AT
83.00 | Supply and installation of AISI 316 Grade 6 mm SS steel wire ropes (2 Run) suitable for 20 m High mast installed in Calicut Airport. The job includes the supply and installation of 2nos of 6 mm rope on the 20 mtr high mast including using suitable equipments , tools , safety harness etc complete as required for replacement of the wire rope complete as required. The job also includes removal of existing wire ropes from the high mast. | 9.00 | Job |  | 11600.00 | 104400.00 | 35999.00 | 323991.00 | 35950.00 | 323550.00 | 104400.00 | MPC ELECTRICALS AND ENGINEERS
84.00 | Supply and installation of 5 core 4 sq.mm copper trailing cable ( 1.1KV Grade EPR Insulated PCP sheathed) suitable length for 20 meter High mast installed in Calicut Airport. The job includes the supply and installation of 5 core 4 sq.mm on 20 mtr high mast including connectors, using suitable equipments , tools , safety harness etc complete as required for replacement of the trailing cable complete as required. The job also includes removal of existing trailing cable from the high mast. | 9.00 | Job |  | 7100.00 | 63900.00 | 29999.00 | 269991.00 | 35950.00 | 323550.00 | 63900.00 | MPC ELECTRICALS AND ENGINEERS
85.00 | Supplying, fixing, testing and commissioning of ball valve of PN 1.6 rating with bronze/gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets .etc as applicable conforming to IS of size 25mm Dia as required. | 12.00 | Job |  | 1700.00 | 20400.00 | 1499.00 | 17988.00 | 1000.00 | 12000.00 | 12000.00 | M/s BHARAT ELECTRIC, NAGPUR
| Total in Figures |  |  |  |  | 3299240.00 |  | 2911024.00 |  | 3052000.00
Lowest Amount Quoted BY: Hassan AT(2911024.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Calicut International Airport for 202223 SH Annual Rate Contract for Electrical Installations Tender ID: 2023_AAI_141130_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Hassan AT | 2911024.00 | L1
| 2 | M/s BHARAT ELECTRIC, NAGPUR | 3052000.00 | L2
| 3 | MPC ELECTRICALS AND ENGINEERS | 3299240.00 | L3