## BoQ1
Government eProcurement System Created By: Jayprakash Yadav Created Date/Time: 06-Mar-2023 04:38 PM Tender Title: Construction of Community Center in AAI Residential Colony (Phase-1) at Dimapur Airport. Tender ID: 2023_AAI_141205_1
Tender Inviting Authority: AGM(E-C) AAI, Dimapur Airport.
Name of Work: “Construction of Community Center in AAI Residential Colony (Phase-1) at Dimapur Airport.”
Contract No: 2023_AAI_141205
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | H H CO CONTRCTOR AND SUPPLIER(GSTN-13BNFPA8919R1ZK) |  | PABSCON(GSTN-19AADFP7887K1ZD) |  | Look East Construction Private Limited(GSTN-13AABCL2820K1ZU) |  | NSC Projects Pvt. Ltd.(GSTN-07AADCN4958N1ZU)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in charge. All kinds of soil | 940.00 | Cum |  | 180.90 | 170046.00 | 150.00 | 141000.00 | 310.00 | 291400.00 | 240.00 | 225600.00 | 141000.00 | PABSCON
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 150.00 | Cum |  | 268.20 | 40230.00 | 175.00 | 26250.00 | 310.00 | 46500.00 | 180.00 | 27000.00 | 26250.00 | PABSCON
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 290.00 | Cum |  | 157.30 | 45617.00 | 75.00 | 21750.00 | 210.00 | 60900.00 | 200.00 | 58000.00 | 21750.00 | PABSCON
4.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil | 130.00 | Cum |  | 72.90 | 9477.00 | 50.00 | 6500.00 | 310.00 | 40300.00 | 100.00 | 13000.00 | 6500.00 | PABSCON
5.00 | Supplying and filling in plinth with sand under floors, including watering,ramming, consolidating and dressing complete. | 750.00 | Cum |  | 190.60 | 142950.00 | 1250.00 | 937500.00 | 60.00 | 45000.00 | 200.00 | 150000.00 | 45000.00 | Look East Construction Private Limited
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 130.00 | Cum |  | 8007.90 | 1041027.00 | 7500.00 | 975000.00 | 7350.00 | 955500.00 | 8200.00 | 1066000.00 | 955500.00 | Look East Construction Private Limited
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 522.00 | Cum |  | 7248.00 | 3783456.00 | 6500.00 | 3393000.00 | 7250.00 | 3784500.00 | 5100.00 | 2662200.00 | 2662200.00 | NSC Projects Pvt. Ltd.
8.00 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | 131.00 | sqm |  | 754.80 | 98878.80 | 750.00 | 98250.00 | 400.00 | 52400.00 | 420.00 | 55020.00 | 52400.00 | Look East Construction Private Limited
9.00 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | 131.00 | sqm |  | 155.00 | 20305.00 | 740.00 | 96940.00 | 420.00 | 55020.00 | 500.00 | 65500.00 | 20305.00 | H H CO CONTRCTOR AND SUPPLIER
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 620.00 | Sqm |  | 205.90 | 127658.00 | 400.00 | 248000.00 | 360.00 | 223200.00 | 310.00 | 192200.00 | 127658.00 | H H CO CONTRCTOR AND SUPPLIER
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 510.00 | Sqm |  | 602.90 | 307479.00 | 600.00 | 306000.00 | 360.00 | 183600.00 | 350.00 | 178500.00 | 178500.00 | NSC Projects Pvt. Ltd.
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 890.00 | Sqm |  | 404.50 | 360005.00 | 700.00 | 623000.00 | 360.00 | 320400.00 | 320.00 | 284800.00 | 284800.00 | NSC Projects Pvt. Ltd.
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 450.00 | Sqm |  | 650.00 | 292500.00 | 650.00 | 292500.00 | 360.00 | 162000.00 | 340.00 | 153000.00 | 153000.00 | NSC Projects Pvt. Ltd.
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for Stairs, (excluding landings) except spiral-staircases | 100.00 | Sqm |  | 520.90 | 52090.00 | 900.00 | 90000.00 | 360.00 | 36000.00 | 360.00 | 36000.00 | 36000.00 | Look East Construction Private Limited, NSC Projects Pvt. Ltd.
15.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | 18900.00 | Kg |  | 80.10 | 1513890.00 | 96.00 | 1814400.00 | 105.00 | 1984500.00 | 90.00 | 1701000.00 | 1513890.00 | H H CO CONTRCTOR AND SUPPLIER
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 28300.00 | Kg |  | 80.10 | 2266830.00 | 96.00 | 2716800.00 | 105.00 | 2971500.00 | 90.00 | 2547000.00 | 2266830.00 | H H CO CONTRCTOR AND SUPPLIER
17.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete.(Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. a).Concrete of M25 grade with minimum cement content of 330 kg /cum | 120.00 | Cum |  | 16568.10 | 1988172.00 | 8500.00 | 1020000.00 | 9650.00 | 1158000.00 | 5500.00 | 660000.00 | 660000.00 | NSC Projects Pvt. Ltd.
18.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. (Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement).All works above plinth level upto floor V level a).Concrete of M25 grade with minimum cement content of 330 kg /cum | 180.00 | Cum |  | 17036.40 | 3066552.00 | 8750.00 | 1575000.00 | 9650.00 | 1737000.00 | 5000.00 | 900000.00 | 900000.00 | NSC Projects Pvt. Ltd.
19.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 110.00 | Quintal |  | 852.30 | 93753.00 | 500.00 | 55000.00 | 5000.00 | 550000.00 | 950.00 | 104500.00 | 55000.00 | PABSCON
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 122.00 | Cum |  | 8893.60 | 1085019.20 | 7500.00 | 915000.00 | 7270.00 | 886940.00 | 7650.00 | 933300.00 | 886940.00 | Look East Construction Private Limited
21.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:4 (1 cement : 4 coarse sand) | 230.00 | Cum |  | 10002.40 | 2300552.00 | 8500.00 | 1955000.00 | 7270.00 | 1672100.00 | 8000.00 | 1840000.00 | 1672100.00 | Look East Construction Private Limited
22.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in :cement mortar 1:4 (1 cement : 4 coarse sand) | 100.00 | sqm |  | 1033.80 | 103380.00 | 950.00 | 95000.00 | 940.00 | 94000.00 | 850.00 | 85000.00 | 85000.00 | NSC Projects Pvt. Ltd.
23.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.Cement mortar 1:4 (1 cement :4 coarse sand) | 180.00 | sqm |  | 1064.60 | 191628.00 | 980.00 | 176400.00 | 940.00 | 169200.00 | 1000.00 | 180000.00 | 169200.00 | Look East Construction Private Limited
24.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 180.00 | sqm |  | 99.70 | 17946.00 | 300.00 | 54000.00 | 205.00 | 36900.00 | 50.00 | 9000.00 | 9000.00 | NSC Projects Pvt. Ltd.
25.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.Granite stone slab colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 20.00 | sqm |  | 4261.50 | 85230.00 | 7000.00 | 140000.00 | 3750.00 | 75000.00 | 5100.00 | 102000.00 | 75000.00 | Look East Construction Private Limited
26.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 20.00 | metre |  | 337.10 | 6742.00 | 650.00 | 13000.00 | 225.00 | 4500.00 | 1760.00 | 35200.00 | 4500.00 | Look East Construction Private Limited
27.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 4.00 | each |  | 652.50 | 2610.00 | 600.00 | 2400.00 | 1250.00 | 5000.00 | 4000.00 | 16000.00 | 2400.00 | PABSCON
28.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | 2.00 | Cum |  | 60024.60 | 120049.20 | 100000.00 | 200000.00 | 1450.00 | 2900.00 | 65000.00 | 130000.00 | 2900.00 | Look East Construction Private Limited
29.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters.35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 70.00 | Sqm |  | 3099.90 | 216993.00 | 4500.00 | 315000.00 | 2850.00 | 199500.00 | 1760.00 | 123200.00 | 123200.00 | NSC Projects Pvt. Ltd.
30.00 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): Rectangular or square | 10.00 | Sqm |  | 200.00 | 2000.00 | 5000.00 | 50000.00 | 300.00 | 3000.00 | 1750.00 | 17500.00 | 2000.00 | H H CO CONTRCTOR AND SUPPLIER
31.00 | Extra if louvers (not exceeding 0.2 sqm) are provided in flush door shutters (overall area of door shutters to be measured). Decorative type door | 10.00 | Sqm |  | 307.70 | 3077.00 | 5000.00 | 50000.00 | 1250.00 | 12500.00 | 1500.00 | 15000.00 | 3077.00 | H H CO CONTRCTOR AND SUPPLIER
32.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc. | 300.00 | Kg |  | 184.20 | 55260.00 | 125.00 | 37500.00 | 135.00 | 40500.00 | 160.00 | 48000.00 | 37500.00 | PABSCON
33.00 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 170.00 | each |  | 158.40 | 26928.00 | 250.00 | 42500.00 | 60.00 | 10200.00 | 50.00 | 8500.00 | 8500.00 | NSC Projects Pvt. Ltd.
34.00 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 30.00 | each |  | 785.90 | 23577.00 | 4500.00 | 135000.00 | 2800.00 | 84000.00 | 4500.00 | 135000.00 | 23577.00 | H H CO CONTRCTOR AND SUPPLIER
35.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :250x10 mm | 30.00 | each |  | 115.30 | 3459.00 | 650.00 | 19500.00 | 1350.00 | 40500.00 | 350.00 | 10500.00 | 3459.00 | H H CO CONTRCTOR AND SUPPLIER
36.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :125 mm | 60.00 | each |  | 66.50 | 3990.00 | 500.00 | 30000.00 | 1350.00 | 81000.00 | 200.00 | 12000.00 | 3990.00 | H H CO CONTRCTOR AND SUPPLIER
37.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.Twin rubber stopper | 30.00 | each |  | 69.90 | 2097.00 | 450.00 | 13500.00 | 400.00 | 12000.00 | 450.00 | 13500.00 | 2097.00 | H H CO CONTRCTOR AND SUPPLIER
38.00 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws :30 mm thick shutters with ISI marked M.S. pressed butt hinges bright finished of required size Second class teak wood | 20.00 | sqm |  | 2584.20 | 51684.00 | 8000.00 | 160000.00 | 455.00 | 9100.00 | 300.00 | 6000.00 | 6000.00 | NSC Projects Pvt. Ltd.
39.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.Hot finished welded type tubes | 17400.00 | kg |  | 128.40 | 2234160.00 | 165.00 | 2871000.00 | 135.00 | 2349000.00 | 130.00 | 2262000.00 | 2234160.00 | H H CO CONTRCTOR AND SUPPLIER
40.00 | Providing and fixing circular/ Hexagonal cast iron or M.S. sheet box for ceiling fan clamp, of internal dia 140 mm, 73 mm height, top lid of 1.5 mm thick M.S. sheet with its top surface hacked for proper bonding, top lid shall be screwed into the cast iron/ M.S. sheet box by means of 3.3 mm dia round headed screws, one lock at the corners. Clamp shall be made of 12 mm dia M.S. bar bent to shape as per standard drawing. | 25.00 | each |  | 189.80 | 4745.00 | 350.00 | 8750.00 | 175.00 | 4375.00 | 500.00 | 12500.00 | 4375.00 | Look East Construction Private Limited
41.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 600.00 | kg |  | 88.40 | 53040.00 | 125.00 | 75000.00 | 195.00 | 117000.00 | 120.00 | 72000.00 | 53040.00 | H H CO CONTRCTOR AND SUPPLIER
42.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 3480.00 | kg |  | 132.80 | 462144.00 | 120.00 | 417600.00 | 145.00 | 504600.00 | 280.00 | 974400.00 | 417600.00 | PABSCON
43.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 200.00 | kg |  | 617.40 | 123480.00 | 1050.00 | 210000.00 | 425.00 | 85000.00 | 1050.00 | 210000.00 | 85000.00 | Look East Construction Private Limited
44.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 60.00 | sqm |  | 1465.40 | 87924.00 | 1500.00 | 90000.00 | 1450.00 | 87000.00 | 2800.00 | 168000.00 | 87000.00 | Look East Construction Private Limited
45.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 10.00 | sqm |  | 1246.50 | 12465.00 | 1650.00 | 16500.00 | 1450.00 | 14500.00 | 2600.00 | 26000.00 | 12465.00 | H H CO CONTRCTOR AND SUPPLIER
46.00 | Providing and laying GLAZED vitrified tiles (Anti skid/ matt finish) in floor of makes like Orient-Bell, Somany, Johnson, Kajaria or equivalent with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, over 20 mm thick bed of cement mortar 1:4 (1cement: 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600 X 600 mm | 340.00 | sqm |  | 1571.00 | 534140.00 | 1600.00 | 544000.00 | 1520.00 | 516800.00 | 2700.00 | 918000.00 | 516800.00 | Look East Construction Private Limited
47.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 170.00 | sqm |  | 980.40 | 166668.00 | 1200.00 | 204000.00 | 1520.00 | 258400.00 | 2800.00 | 476000.00 | 166668.00 | H H CO CONTRCTOR AND SUPPLIER
48.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 600x600 mm | 360.00 | sqm |  | 1580.40 | 568944.00 | 1800.00 | 648000.00 | 1520.00 | 547200.00 | 2700.00 | 972000.00 | 547200.00 | Look East Construction Private Limited
49.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).Size of Tile 600x600 mm | 150.00 | sqm |  | 1596.90 | 239535.00 | 1800.00 | 270000.00 | 1520.00 | 228000.00 | 3000.00 | 450000.00 | 228000.00 | Look East Construction Private Limited
50.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.110 mm diameter | 100.00 | metre |  | 290.60 | 29060.00 | 900.00 | 90000.00 | 285.00 | 28500.00 | 500.00 | 50000.00 | 28500.00 | Look East Construction Private Limited
51.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 110 mm | 25.00 | each |  | 102.00 | 2550.00 | 300.00 | 7500.00 | 120.00 | 3000.00 | 350.00 | 8750.00 | 2550.00 | H H CO CONTRCTOR AND SUPPLIER
52.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 110x110x110 mm | 15.00 | each |  | 133.80 | 2007.00 | 700.00 | 10500.00 | 120.00 | 1800.00 | 350.00 | 5250.00 | 1800.00 | Look East Construction Private Limited
53.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110mm bend | 20.00 | each |  | 116.10 | 2322.00 | 500.00 | 10000.00 | 120.00 | 2400.00 | 350.00 | 7000.00 | 2322.00 | H H CO CONTRCTOR AND SUPPLIER
54.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110mm | 30.00 | each |  | 263.70 | 7911.00 | 250.00 | 7500.00 | 120.00 | 3600.00 | 400.00 | 12000.00 | 3600.00 | Look East Construction Private Limited
55.00 | Providing and fixing to the inlet mouth of rain water pipe PTMT (an Engineering Thermoplastic) grating square (Slit) 150 mm square with a height of 8 mm and weighing not less than 100 gms. | 15.00 | each |  | 99.70 | 1495.50 | 500.00 | 7500.00 | 400.00 | 6000.00 | 400.00 | 6000.00 | 1495.50 | H H CO CONTRCTOR AND SUPPLIER
56.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 340.00 | sqm |  | 694.40 | 236096.00 | 900.00 | 306000.00 | 720.00 | 244800.00 | 900.00 | 306000.00 | 236096.00 | H H CO CONTRCTOR AND SUPPLIER
57.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 30.00 | metre |  | 437.90 | 13137.00 | 600.00 | 18000.00 | 1250.00 | 37500.00 | 600.00 | 18000.00 | 13137.00 | H H CO CONTRCTOR AND SUPPLIER
58.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete :Flashings/ Aprons.( Upto 600 mm) | 60.00 | metre |  | 399.00 | 23940.00 | 750.00 | 45000.00 | 1250.00 | 75000.00 | 600.00 | 36000.00 | 23940.00 | H H CO CONTRCTOR AND SUPPLIER
59.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete Crimp curve | 20.00 | sqm |  | 482.00 | 9640.00 | 1200.00 | 24000.00 | 720.00 | 14400.00 | 600.00 | 12000.00 | 9640.00 | H H CO CONTRCTOR AND SUPPLIER
60.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete Gutter (600 mm over all girth) | 90.00 | metre |  | 1000.30 | 90027.00 | 1000.00 | 90000.00 | 1250.00 | 112500.00 | 600.00 | 54000.00 | 54000.00 | NSC Projects Pvt. Ltd.
61.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture ofsize 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising@ 120 grams per sqm including both side) consisting of main ‘T’runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. | 570.00 | sqm |  | 1768.50 | 1008045.00 | 2500.00 | 1425000.00 | 1650.00 | 940500.00 | 1300.00 | 741000.00 | 741000.00 | NSC Projects Pvt. Ltd.
62.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 1560.00 | Sqm |  | 232.50 | 362700.00 | 350.00 | 546000.00 | 420.00 | 655200.00 | 240.00 | 374400.00 | 362700.00 | H H CO CONTRCTOR AND SUPPLIER
63.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 300.00 | Sqm |  | 185.00 | 55500.00 | 400.00 | 120000.00 | 455.00 | 136500.00 | 280.00 | 84000.00 | 55500.00 | H H CO CONTRCTOR AND SUPPLIER
64.00 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand). | 1090.00 | Sqm |  | 292.10 | 318389.00 | 450.00 | 490500.00 | 480.00 | 523200.00 | 320.00 | 348800.00 | 318389.00 | H H CO CONTRCTOR AND SUPPLIER
65.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 420.00 | Sqm |  | 187.30 | 78666.00 | 350.00 | 147000.00 | 370.00 | 155400.00 | 200.00 | 84000.00 | 78666.00 | H H CO CONTRCTOR AND SUPPLIER
66.00 | Neat cement punning. | 290.00 | Sqm |  | 51.40 | 14906.00 | 250.00 | 72500.00 | 120.00 | 34800.00 | 150.00 | 43500.00 | 14906.00 | H H CO CONTRCTOR AND SUPPLIER
67.00 | Extra for plastering on circular work not exceeding 6 m in radius: In two coats | 100.00 | sqm |  | 42.30 | 4230.00 | 500.00 | 50000.00 | 300.00 | 30000.00 | 150.00 | 15000.00 | 4230.00 | H H CO CONTRCTOR AND SUPPLIER
68.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 1090.00 | sqm |  | 135.80 | 148022.00 | 200.00 | 218000.00 | 140.00 | 152600.00 | 140.00 | 152600.00 | 148022.00 | H H CO CONTRCTOR AND SUPPLIER
69.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 2270.00 | sqm |  | 100.60 | 228362.00 | 200.00 | 454000.00 | 140.00 | 317800.00 | 160.00 | 363200.00 | 228362.00 | H H CO CONTRCTOR AND SUPPLIER
70.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 150.00 | sqm |  | 112.40 | 16860.00 | 250.00 | 37500.00 | 140.00 | 21000.00 | 125.00 | 18750.00 | 16860.00 | H H CO CONTRCTOR AND SUPPLIER
71.00 | Forming groove of uniform size in the top layer of washed stone grit plaster as per approved pattern using wooden battens, nailed to the under layer, including removal of wooden battens, repair to the edges of panels and finishing the groove complete as per specifications and direction of the Engineer-in-charge : 15 mm wide and 15 mm deep groove | 2890.00 | metre |  | 32.20 | 93058.00 | 250.00 | 722500.00 | 150.00 | 433500.00 | 120.00 | 346800.00 | 93058.00 | H H CO CONTRCTOR AND SUPPLIER
72.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 3360.00 | sqm |  | 97.70 | 328272.00 | 200.00 | 672000.00 | 60.00 | 201600.00 | 160.00 | 537600.00 | 201600.00 | Look East Construction Private Limited
73.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 9.00 | Cum |  | 9807.20 | 88264.80 | 15000.00 | 135000.00 | 9550.00 | 85950.00 | 7000.00 | 63000.00 | 63000.00 | NSC Projects Pvt. Ltd.
74.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 1650.00 | sqm |  | 997.80 | 1646370.00 | 1350.00 | 2227500.00 | 1250.00 | 2062500.00 | 1550.00 | 2557500.00 | 1646370.00 | H H CO CONTRCTOR AND SUPPLIER
75.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 2.00 | each |  | 5000.10 | 10000.20 | 5000.00 | 10000.00 | 4050.00 | 8100.00 | 1700.00 | 3400.00 | 3400.00 | NSC Projects Pvt. Ltd.
76.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid. | 4.00 | each |  | 7003.40 | 28013.60 | 7500.00 | 30000.00 | 4050.00 | 16200.00 | 5500.00 | 22000.00 | 16200.00 | Look East Construction Private Limited
77.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : One urinal basin with 5 litre white P.V.C. automatic flushing cistern | 7.00 | each |  | 4794.70 | 33562.90 | 7500.00 | 52500.00 | 3200.00 | 22400.00 | 3000.00 | 21000.00 | 21000.00 | NSC Projects Pvt. Ltd.
78.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 7.00 | each |  | 2316.90 | 16218.30 | 7500.00 | 52500.00 | 3200.00 | 22400.00 | 3200.00 | 22400.00 | 16218.30 | H H CO CONTRCTOR AND SUPPLIER
79.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board 510x1040 mm bowl depth 250 mm | 1.00 | each |  | 4555.90 | 4555.90 | 10000.00 | 10000.00 | 2800.00 | 2800.00 | 2000.00 | 2000.00 | 2000.00 | NSC Projects Pvt. Ltd.
80.00 | Providing and fixing G.I. inlet connection for flush pipe connecting with W.C. pan. | 10.00 | each |  | 92.30 | 923.00 | 1000.00 | 10000.00 | 1450.00 | 14500.00 | 200.00 | 2000.00 | 923.00 | H H CO CONTRCTOR AND SUPPLIER
81.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 10.00 | each |  | 953.90 | 9539.00 | 1800.00 | 18000.00 | 700.00 | 7000.00 | 1500.00 | 15000.00 | 7000.00 | Look East Construction Private Limited
82.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 40 mm dia | 10.00 | each |  | 50.80 | 508.00 | 500.00 | 5000.00 | 455.00 | 4550.00 | 120.00 | 1200.00 | 508.00 | H H CO CONTRCTOR AND SUPPLIER
83.00 | Providing and fixing in position 25 mm diameter mosquito proof coupling of approved municipal design. | 15.00 | each |  | 45.20 | 678.00 | 600.00 | 9000.00 | 455.00 | 6825.00 | 500.00 | 7500.00 | 678.00 | H H CO CONTRCTOR AND SUPPLIER
84.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357 mm | 7.00 | each |  | 1011.00 | 7077.00 | 1200.00 | 8400.00 | 1750.00 | 12250.00 | 1000.00 | 7000.00 | 7000.00 | NSC Projects Pvt. Ltd.
85.00 | Providing and fixing toilet paper holder : C.P. brass | 7.00 | each |  | 465.90 | 3261.30 | 1100.00 | 7700.00 | 855.00 | 5985.00 | 350.00 | 2450.00 | 2450.00 | NSC Projects Pvt. Ltd.
86.00 | Providing and fixing soil, waste and vent pipes :100 mm dia Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 40.00 | metre |  | 20004.30 | 800172.00 | 1450.00 | 58000.00 | 355.00 | 14200.00 | 100.00 | 4000.00 | 4000.00 | NSC Projects Pvt. Ltd.
87.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes :100 mm dia pipe | 10.00 | each |  | 133.10 | 1331.00 | 150.00 | 1500.00 | 50.00 | 500.00 | 500.00 | 5000.00 | 500.00 | Look East Construction Private Limited
88.00 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : for 100 mm dia pipe | 20.00 | each |  | 255.00 | 5100.00 | 280.00 | 5600.00 | 300.00 | 6000.00 | 1000.00 | 20000.00 | 5100.00 | H H CO CONTRCTOR AND SUPPLIER
89.00 | Providing and fixing heel rest sanitary bend, 100 mm dia, Sand cast iron S&S as per IS - 3989 | 15.00 | each |  | 397.00 | 5955.00 | 800.00 | 12000.00 | 78.00 | 1170.00 | 700.00 | 10500.00 | 1170.00 | Look East Construction Private Limited
90.00 | Providing and fixing terminal guard :100mm, Sand cast iron S&S as per IS - 3989 | 15.00 | each |  | 347.80 | 5217.00 | 1200.00 | 18000.00 | 320.00 | 4800.00 | 400.00 | 6000.00 | 4800.00 | Look East Construction Private Limited
91.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet , Sand cast iron S&S as per IS: 3989 | 15.00 | each |  | 1403.30 | 21049.50 | 1250.00 | 18750.00 | 780.00 | 11700.00 | 500.00 | 7500.00 | 7500.00 | NSC Projects Pvt. Ltd.
92.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 450 mm long towel rail with total length of 495 mm, 78 mm wide and effective height of 88 mm, weighing not less than 170 gms | 4.00 | each |  | 2003.90 | 8015.60 | 680.00 | 2720.00 | 780.00 | 3120.00 | 200.00 | 800.00 | 800.00 | NSC Projects Pvt. Ltd.
93.00 | Providing and fixing of Health Faucet (Kohler - 129251N-CP or equivalent) along with all necessary accessories complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 7.00 | each |  | 332.20 | 2325.40 | 2200.00 | 15400.00 | 780.00 | 5460.00 | 500.00 | 3500.00 | 2325.40 | H H CO CONTRCTOR AND SUPPLIER
94.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.- concealed work-15 mm nominal outer dia Pipes | 80.00 | metre |  | 237.00 | 18960.00 | 250.00 | 20000.00 | 120.00 | 9600.00 | 220.00 | 17600.00 | 9600.00 | Look East Construction Private Limited
95.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.- concealed work- 20 mm nominal outer dia Pipes | 50.00 | metre |  | 282.00 | 14100.00 | 285.00 | 14250.00 | 145.00 | 7250.00 | 220.00 | 11000.00 | 7250.00 | Look East Construction Private Limited
96.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.- concealed work-25 mm nominal outer dia Pipes | 60.00 | metre |  | 337.10 | 20226.00 | 330.00 | 19800.00 | 175.00 | 10500.00 | 220.00 | 13200.00 | 10500.00 | Look East Construction Private Limited
97.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge-External work-25 mm nominal outer dia Pipes | 80.00 | metre |  | 260.60 | 20848.00 | 360.00 | 28800.00 | 255.00 | 20400.00 | 220.00 | 17600.00 | 17600.00 | NSC Projects Pvt. Ltd.
98.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge-External work-32 mm nominal outer dia Pipes | 50.00 | metre |  | 347.60 | 17380.00 | 425.00 | 21250.00 | 320.00 | 16000.00 | 220.00 | 11000.00 | 11000.00 | NSC Projects Pvt. Ltd.
99.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge-External work-50 mm nominal outer dia Pipes. | 60.00 | metre |  | 591.70 | 35502.00 | 560.00 | 33600.00 | 450.00 | 27000.00 | 220.00 | 13200.00 | 13200.00 | NSC Projects Pvt. Ltd.
100.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge-External work-65 mm nominal dia Pipes | 80.00 | metre |  | 988.20 | 79056.00 | 760.00 | 60800.00 | 600.00 | 48000.00 | 220.00 | 17600.00 | 17600.00 | NSC Projects Pvt. Ltd.
101.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) 25 mm nominal bore | 5.00 | each |  | 561.70 | 2808.50 | 2800.00 | 14000.00 | 500.00 | 2500.00 | 550.00 | 2750.00 | 2500.00 | Look East Construction Private Limited
102.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :15 mm nominal bore | 8.00 | each |  | 389.50 | 3116.00 | 2100.00 | 16800.00 | 500.00 | 4000.00 | 850.00 | 6800.00 | 3116.00 | H H CO CONTRCTOR AND SUPPLIER
103.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 5000.00 | per litre |  | 10.10 | 50500.00 | 15.00 | 75000.00 | 4.75 | 23750.00 | 10.00 | 50000.00 | 23750.00 | Look East Construction Private Limited
104.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :15 mm nominal bore | 7.00 | each |  | 401.80 | 2812.60 | 1600.00 | 11200.00 | 470.00 | 3290.00 | 450.00 | 3150.00 | 2812.60 | H H CO CONTRCTOR AND SUPPLIER
105.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 7.00 | each |  | 607.20 | 4250.40 | 1700.00 | 11900.00 | 470.00 | 3290.00 | 450.00 | 3150.00 | 3150.00 | NSC Projects Pvt. Ltd.
106.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15 mm nominal bore 15mm nominal bore | 10.00 | each |  | 601.80 | 6018.00 | 1750.00 | 17500.00 | 470.00 | 4700.00 | 550.00 | 5500.00 | 4700.00 | Look East Construction Private Limited
107.00 | Providing and fixing PTMT bib cock of approved quality and colour. 15 mm nominal bore, 122mm long, weighing not less than 99 gms | 5.00 | each |  | 176.40 | 882.00 | 200.00 | 1000.00 | 470.00 | 2350.00 | 700.00 | 3500.00 | 882.00 | H H CO CONTRCTOR AND SUPPLIER
108.00 | Providing and fixing PTMT stop cock of approved quality and colour. Concealed stop cock, 15 mm nominal bore, 108 mm long, weighing not less than 108 gms | 10.00 | each |  | 200.20 | 2002.00 | 225.00 | 2250.00 | 470.00 | 4700.00 | 700.00 | 7000.00 | 2002.00 | H H CO CONTRCTOR AND SUPPLIER
109.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 150 mm diameter | 60.00 | metre |  | 414.10 | 24846.00 | 660.00 | 39600.00 | 250.00 | 15000.00 | 1500.00 | 90000.00 | 15000.00 | Look East Construction Private Limited
110.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 150 mm diameter S.W. pipe | 60.00 | metre |  | 1203.40 | 72204.00 | 1500.00 | 90000.00 | 250.00 | 15000.00 | 550.00 | 33000.00 | 15000.00 | Look East Construction Private Limited
111.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 150 x 100 mm size P type, With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 5.00 | each |  | 2702.10 | 13510.50 | 4800.00 | 24000.00 | 4500.00 | 22500.00 | 800.00 | 4000.00 | 4000.00 | NSC Projects Pvt. Ltd.
112.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone- III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone- III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 4.00 | each |  | 13208.30 | 52833.20 | 12500.00 | 50000.00 | 7000.00 | 28000.00 | 60000.00 | 240000.00 | 28000.00 | Look East Construction Private Limited
113.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone- III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone- III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 3.00 | each |  | 20681.60 | 62044.80 | 25000.00 | 75000.00 | 7000.00 | 21000.00 | 50000.00 | 150000.00 | 21000.00 | Look East Construction Private Limited
114.00 | Providing and laying Non Pressure NP-4 class (Heavy duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 450 mm dia. R.C.C. pipe | 15.00 | metre |  | 47604.40 | 714066.00 | 6000.00 | 90000.00 | 1750.00 | 26250.00 | 2600.00 | 39000.00 | 26250.00 | Look East Construction Private Limited
115.00 | Providing and laying Non Pressure NP-4 class (Heavy duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 600 mm dia. R.C.C. pipe | 20.00 | metre |  | 118808.20 | 2376164.00 | 8500.00 | 170000.00 | 1870.00 | 37400.00 | 3200.00 | 64000.00 | 37400.00 | Look East Construction Private Limited
116.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 110.00 | kg |  | 423.90 | 46629.00 | 880.00 | 96800.00 | 3730.00 | 410300.00 | 620.00 | 68200.00 | 46629.00 | H H CO CONTRCTOR AND SUPPLIER
117.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 90.00 | kg |  | 536.50 | 48285.00 | 980.00 | 88200.00 | 3730.00 | 335700.00 | 620.00 | 55800.00 | 48285.00 | H H CO CONTRCTOR AND SUPPLIER
118.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 10.00 | sqm |  | 1276.20 | 12762.00 | 1100.00 | 11000.00 | 3730.00 | 37300.00 | 1600.00 | 16000.00 | 11000.00 | PABSCON
119.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 80.00 | metre |  | 91.40 | 7312.00 | 150.00 | 12000.00 | 125.00 | 10000.00 | 500.00 | 40000.00 | 7312.00 | H H CO CONTRCTOR AND SUPPLIER
120.00 | Preparation and submission of detailed designed and drawings for RCC members for architectural plan of Community Center in AAI Residential Colony (Phase-1) at Dimapur Airport given by AAI. The contractor shall get approved the structural consultant from AAI before proceeding with the consultancy. The consultant must have rendered similar structural consultancy works directly to Central Govt./State Govt./PSU/Reputed firms (in case of experience with private firms, TDS certificate from the client shall submitted) (a) The structural drawings and designs as submitted by the consultant shall be got vetted/ approved by any of the IITs/NITs and the fee for the same shall be borne by the contractor . The contractor shall intimate AAI the details of IITs/NITs from where structural design and drawings will be vetted/approved. The consultant & contractor shall coordinate the time schedule to be taken by IIT/NIT so as to ensure adherence of overall time of submission by the consultant & contractor as specified. No additional time period or any cost shall be allowed to the contractor for designing, preparation of drawings, vetting of design and drawings from IIT/NIT etc. (b) Major Engineering decision and specification shall be reviewed by AAI to the extent desired. Approval of any design /system by IIT/NIT or AAI shall however, not relieve the consultant & contractor in discharging their responsibilities regarding the adequacy of design and proper execution of the work. . The services rendered by the contractor shall be in accordance with the acceptable standards of safety, environment and public health. (c) The item includes the preparation and submission of Engineering/ Structural drawings of RCC structures,roof truss , Water supply,sewerage and drainage service line plans and layout drawing as per revelent IS code, building codes and sound engineering practices in accordance with the Architectural/Conceptual drawings issued by AAI. The contractor has to submit at least Six Sets of ‘Goods for construction’ drawings within plinth area where the site selected for the construction of Community centre or revisions thereof. | 1.00 | Job |  | 50000.00 | 50000.00 | 800000.00 | 800000.00 | 1093387.57 | 1093387.57 | 500000.00 | 500000.00 | 50000.00 | H H CO CONTRCTOR AND SUPPLIER
121.00 | The contractor shall appoint the consultant for Geotechnical Investigation of Site for Communtiy hall at AAI residential Complex and submission of atleast three soil test report within plinth area of 1280 Sqm where the site selected for the construction of Community centre pertaining to structural design with prior approval of Engineer-in-charge. (a) Major Engineering decision and specification shall be reviewed by AAI to the extent desired. Approval of any design /system by IIT/NIT or AAI shall however, not relieve the consultant & contractor in discharging their responsibilities regarding the adequacy of design and proper execution of the work. . The services rendered by the contractor shall be in accordance with the acceptable standards of safety. | 1.00 | Job |  | 50000.00 | 50000.00 | 200000.00 | 200000.00 | 75000.00 | 75000.00 | 100000.00 | 100000.00 | 50000.00 | H H CO CONTRCTOR AND SUPPLIER
122.00 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consistingof: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm). | 50.00 | sqm |  | 583.00 | 29150.00 | 700.00 | 35000.00 | 400.00 | 20000.00 | 500.00 | 25000.00 | 20000.00 | Look East Construction Private Limited
123.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 370.00 | Sqm |  | 1242.40 | 459688.00 | 890.00 | 329300.00 | 1870.00 | 691900.00 | 450.00 | 166500.00 | 166500.00 | NSC Projects Pvt. Ltd.
124.00 | Wiring for light point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface/ recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 aq.mm. FR PVC insulated copper conductor single core cable etc. as requried. - Group C | 130.00 | Point |  | 699.00 | 90870.00 | 1600.00 | 208000.00 | 330.00 | 42900.00 | 1000.00 | 130000.00 | 42900.00 | Look East Construction Private Limited
125.00 | Wiring for group control points for light points with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed Steel conduit, and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable including all accessories etc. as required (excluding switch & switch box).Group C | 30.00 | Point |  | 499.00 | 14970.00 | 1900.00 | 57000.00 | 330.00 | 9900.00 | 1200.00 | 36000.00 | 9900.00 | Look East Construction Private Limited
126.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following size of FR PVC insulated copper conductor single core cable in surface / recessed steel conduit as requried. a) 2 X 1.5 sq. mm + 1 X 1.5 sq.mm earth wire | 100.00 | Mtr. |  | 299.00 | 29900.00 | 175.00 | 17500.00 | 330.00 | 33000.00 | 180.00 | 18000.00 | 17500.00 | PABSCON
126.10 | b) 2 X 2.5 sq. mm + 1 X 2.5 sq.mm earth wire | 200.00 | Mtr. |  | 399.00 | 79800.00 | 230.00 | 46000.00 | 375.00 | 75000.00 | 195.00 | 39000.00 | 39000.00 | NSC Projects Pvt. Ltd.
126.20 | C) 2 X 4 sq. mm + 1 X 4 sq.mm earth wire | 200.00 | Mtr. |  | 449.00 | 89800.00 | 330.00 | 66000.00 | 425.00 | 85000.00 | 225.00 | 45000.00 | 45000.00 | NSC Projects Pvt. Ltd.
126.30 | d) 4 X 6 sq. mm + 2 X 6 sq.mm earth wire | 100.00 | Mtr. |  | 599.00 | 59900.00 | 700.00 | 70000.00 | 485.00 | 48500.00 | 400.00 | 40000.00 | 40000.00 | NSC Projects Pvt. Ltd.
127.00 | Wiring for Power plug with 2 X 4 sqmm FRLS PVC insulated copper conductor, single core cable in surface/recessed Steel conduit along with 1 No 4 sqmm. FRLS PVC insulated copper conductor, single core cable for loop earthing as required. | 200.00 | Mtr. |  | 449.00 | 89800.00 | 420.00 | 84000.00 | 600.00 | 120000.00 | 225.00 | 45000.00 | 45000.00 | NSC Projects Pvt. Ltd.
128.00 | Wiring for light/power plug with 4 x 4 sq.mm. FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit along with 2 nos. 4 sq.mm. FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 70.00 | Mtr. |  | 1549.00 | 108430.00 | 700.00 | 49000.00 | 330.00 | 23100.00 | 350.00 | 24500.00 | 23100.00 | Look East Construction Private Limited
129.00 | Supplying and fixing following modular switch / socket on the existing modular plate and switch box including connections but excluding modular plate etc. as required. a) 15/16 amps switch | 30.00 | Each |  | 549.00 | 16470.00 | 140.00 | 4200.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 3000.00 | NSC Projects Pvt. Ltd.
129.10 | b) 6 pin 15/16 amp socket outlet (shuttered type) | 30.00 | Each |  | 599.00 | 17970.00 | 300.00 | 9000.00 | 245.00 | 7350.00 | 350.00 | 10500.00 | 7350.00 | Look East Construction Private Limited
129.20 | C) 5/6 amp switch | 35.00 | Each |  | 59.00 | 2065.00 | 70.00 | 2450.00 | 150.00 | 5250.00 | 80.00 | 2800.00 | 2065.00 | H H CO CONTRCTOR AND SUPPLIER
129.30 | d) 3 pin 5/6 amp socket outlet (shuttered type) | 35.00 | Each |  | 449.00 | 15715.00 | 150.00 | 5250.00 | 245.00 | 8575.00 | 220.00 | 7700.00 | 5250.00 | PABSCON
130.00 | Supplying and fixing 20 Amps., 240 volts, SPN industrial type, socket outlet, with 2 pole and earth metal enclosed plug top alongwith 20 Amps., 'C' Series, SP MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc as required. | 41.00 | Each |  | 600.00 | 24600.00 | 1500.00 | 61500.00 | 245.00 | 10045.00 | 1200.00 | 49200.00 | 10045.00 | Look East Construction Private Limited
131.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole and neutral | 15.00 | Each |  | 1800.00 | 27000.00 | 950.00 | 14250.00 | 500.00 | 7500.00 | 600.00 | 9000.00 | 7500.00 | Look East Construction Private Limited
132.00 | Supplying and fixing modular blanking plate on the existing modular plate and switch box excluding modular plate as required. | 15.00 | Each |  | 15.00 | 225.00 | 20.00 | 300.00 | 500.00 | 7500.00 | 425.00 | 6375.00 | 225.00 | H H CO CONTRCTOR AND SUPPLIER
133.00 | Supplying and fixing following size/ modules, GI box along with modular base and cover plate for modular switches in recess etc. as required. A) 1 or 2 module | 5.00 | Each |  | 549.00 | 2745.00 | 200.00 | 1000.00 | 400.00 | 2000.00 | 100.00 | 500.00 | 500.00 | NSC Projects Pvt. Ltd.
133.10 | B) 3 Module | 25.00 | Each |  | 599.00 | 14975.00 | 325.00 | 8125.00 | 475.00 | 11875.00 | 150.00 | 3750.00 | 3750.00 | NSC Projects Pvt. Ltd.
133.20 | C) 4 Module | 10.00 | Each |  | 749.00 | 7490.00 | 450.00 | 4500.00 | 625.00 | 6250.00 | 350.00 | 3500.00 | 3500.00 | NSC Projects Pvt. Ltd.
133.30 | D) 6 Module | 15.00 | Each |  | 849.00 | 12735.00 | 1050.00 | 15750.00 | 750.00 | 11250.00 | 450.00 | 6750.00 | 6750.00 | NSC Projects Pvt. Ltd.
134.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) A) 6 way, Double door. a) 6 way, Double door. | 2.00 | Each |  | 2249.00 | 4498.00 | 7500.00 | 15000.00 | 26800.00 | 53600.00 | 9000.00 | 18000.00 | 4498.00 | H H CO CONTRCTOR AND SUPPLIER
134.10 | b) 8 way, Double door. | 3.00 | Each |  | 2699.00 | 8097.00 | 10000.00 | 30000.00 | 32750.00 | 98250.00 | 11000.00 | 33000.00 | 8097.00 | H H CO CONTRCTOR AND SUPPLIER
135.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)a) 4 way (4 + 12), Double door | 5.00 | Each |  | 7399.00 | 36995.00 | 12600.00 | 63000.00 | 24450.00 | 122250.00 | 8000.00 | 40000.00 | 36995.00 | H H CO CONTRCTOR AND SUPPLIER
136.00 | Supplying and fixing of 63A, Four pole, 415V, 'C' Series, Miniature Circuit Breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 5.00 | Each |  | 1499.00 | 7495.00 | 1850.00 | 9250.00 | 14500.00 | 72500.00 | 5000.00 | 25000.00 | 7495.00 | H H CO CONTRCTOR AND SUPPLIER
137.00 | Supplying and fixing of 32A, Four pole, 415V, 'C' Series, Miniature Circuit Breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 10.00 | Each |  | 1399.00 | 13990.00 | 1550.00 | 15500.00 | 8550.00 | 85500.00 | 2500.00 | 25000.00 | 13990.00 | H H CO CONTRCTOR AND SUPPLIER
138.00 | Supplying and fixing of 32A, Two pole, 230V, 'C' Series, Miniature Circuit Breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 5.00 | Each |  | 799.00 | 3995.00 | 750.00 | 3750.00 | 4500.00 | 22500.00 | 1200.00 | 6000.00 | 3750.00 | PABSCON
139.00 | Supplying and fixing 6 amps-32 amps rating, Single Pole, 240 volts, 'C' series, Miniature Circuit Breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 35.00 | Each |  | 499.00 | 17465.00 | 215.00 | 7525.00 | 650.00 | 22750.00 | 600.00 | 21000.00 | 7525.00 | PABSCON
140.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | Set |  | 15999.00 | 31998.00 | 16000.00 | 32000.00 | 4200.00 | 8400.00 | 4600.00 | 9200.00 | 8400.00 | Look East Construction Private Limited
141.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required.( Double run) | 120.00 | Mtr. |  | 149.00 | 17880.00 | 140.00 | 16800.00 | 110.00 | 13200.00 | 75.00 | 9000.00 | 9000.00 | NSC Projects Pvt. Ltd.
142.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 360.00 | Mtr. |  | 2299.00 | 827640.00 | 160.00 | 57600.00 | 145.00 | 52200.00 | 80.00 | 28800.00 | 28800.00 | NSC Projects Pvt. Ltd.
143.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 60.00 | Mtr. |  | 199.00 | 11940.00 | 200.00 | 12000.00 | 110.00 | 6600.00 | 80.00 | 4800.00 | 4800.00 | NSC Projects Pvt. Ltd.
144.00 | Supply of Surface mounted 20-36W (2x2) square down LED luminaries complete with non-integral electronic drive, made in powder coated CRCA/Aluminium housing with opel diffuser suitable to operate in 230V,50Hz AC supply etc, as required. | 70.00 | Each |  | 1499.00 | 104930.00 | 6500.00 | 455000.00 | 870.00 | 60900.00 | 520.00 | 36400.00 | 36400.00 | NSC Projects Pvt. Ltd.
145.00 | Supply of wall mounted batton integrated LED channel including LED tube light 1x36 watt suitable to operate on 230 volts , 50 hertz, AC supply etc as required. | 100.00 | Each |  | 799.00 | 79900.00 | 1500.00 | 150000.00 | 1350.00 | 135000.00 | 350.00 | 35000.00 | 35000.00 | NSC Projects Pvt. Ltd.
146.00 | Supply of '5' Star rating 1400 mm sweep ceiling fan with double ball bearing, Aluminium pressure die cast body with Aluminium blades, canopies, hanging shackle, 30 cm down rod and without speed regulator suitable for 230 V/240 V 50 HZ, AC supply confirms to IS 374/1979 as required complete. | 20.00 | Each |  | 3499.00 | 69980.00 | 3600.00 | 72000.00 | 1350.00 | 27000.00 | 4500.00 | 90000.00 | 27000.00 | Look East Construction Private Limited
147.00 | Supplying and fixing stepped type electronic Fan Regulator on the existing modular plate and switch box including connections but excluding modular plate etc. as required. | 20.00 | Each |  | 179.00 | 3580.00 | 250.00 | 5000.00 | 300.00 | 6000.00 | 250.00 | 5000.00 | 3580.00 | H H CO CONTRCTOR AND SUPPLIER
148.00 | Supply of 50 Watts fully weather proof with IP 65/66 protected, Integral type, LED Street Light Luminaire comprising of Pressure Die Cast Aluminum housing with suitable toughned glass and individual LED with secondary optics for operation on variable AC inputs employing highly efficient constant current electronic driver etc complete as required with prior approval of EIC. | 10.00 | Each |  | 3199.00 | 31990.00 | 7500.00 | 75000.00 | 455.00 | 4550.00 | 6000.00 | 60000.00 | 4550.00 | Look East Construction Private Limited
149.00 | Instalation ,testing and commissioning or pre-wired,LED fittings/down lighter /bulk head luminaries etc of all type (surface / recessed) complete with all accessories and tube etc.direcly on ceilling/wall,including connection with 1.5sqmm FRLS PVC insulated,stranded,copper conductor,single core cable with flaxible conduit and coupler and earthing etc.as required. | 210.00 | Each |  | 699.00 | 146790.00 | 500.00 | 105000.00 | 1350.00 | 283500.00 | 210.00 | 44100.00 | 44100.00 | NSC Projects Pvt. Ltd.
150.00 | Installation, testing and commissioning of ceiling fan, wiring the down rod of standard length (upto 30cm) with 1.5 sq.mm PVC insulated copper conductor single core cable including earthing the regulator etc. as required. | 20.00 | Each |  | 599.00 | 11980.00 | 250.00 | 5000.00 | 1350.00 | 27000.00 | 1500.00 | 30000.00 | 5000.00 | PABSCON
151.00 | Design, fabrication, assembling, supply, installation, testing and commissioning of cubicle type LT panels wall mounted suitable for 415 V 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentised design from CRCA sheet steel of 2 mm thick for frame work IP 42 and covers,3 mm thick for gland plates i/c cleaning and finishing complete 7 tank process for powder coating in approved shade, extendable type TPN aluminium alloy busbars of high condectivity, DMC/SMC busbar supports, entire panel shall have a common aluminium earthbar of size 25mm X 5 mm at the rear with 2 Nos. earth studs, solid connection from main busbar to switchgears with require size of aluminium busbar & control wiring with 2.5 sqmm FRLS insulated copper conductor cable, cable alleys, cable gland plates i/c accessrories as per specification and providing switchgears, metering instruments etc. for follwing panels.A. Incoming Feeder:- (i) 1 No of 125 Amps, 415V, 25kA, 4 Pole MCCB with Thermal magnetic based releases having O/C, S/C & E/F along with following(ii) LED type indicating Lamp with suitable rating 2 Amp SP MCB:- 1 Set (each set comprise of R,Y,B)(iii) Digital type 3 phase Multi function Meter with protection MCBs & 3 Nos. of single core epoxy resin cast type CTs of 100/5 Amps, 10 VA, CL 1.0 ratings -1 Set.B. Busbar:-415 V, 150 Amps, 4 Strip Al Busbars 30mmx5 mm with Heat shrinkable color coded insulation sleeves. C. Outgoing:- (i) 2 Nos. of 63 Amps, 415V, 10 kA, 4 Pole MCB (ii) 5 Nos. of 32 Amps, 415V, 10 kA, DP MCB (iii) 2 Nos. of 40 Amps, 415V, 10 kA, DP MCB | 1.00 | Set |  | 159999.00 | 159999.00 | 550000.00 | 550000.00 | 450000.00 | 450000.00 | 150000.00 | 150000.00 | 150000.00 | NSC Projects Pvt. Ltd.
152.00 | Supply of following size of 1.1 KV grade, Armoured XLPE insulated PVC sheathed Aluminium conductor cable confirming to IS: 7098 part -I amended upto date. A) 3.5C x 95 sqmm | 640.00 | Mtr. |  | 2299.00 | 1471360.00 | 700.00 | 448000.00 | 400.00 | 256000.00 | 140.00 | 89600.00 | 89600.00 | NSC Projects Pvt. Ltd.
152.10 | B) 3.5C x 35 sqmm | 50.00 | Mtr. |  | 699.00 | 34950.00 | 300.00 | 15000.00 | 240.00 | 12000.00 | 50.00 | 2500.00 | 2500.00 | NSC Projects Pvt. Ltd.
152.20 | C) 4C x 16 sqmm | 200.00 | Mtr. |  | 399.00 | 79800.00 | 225.00 | 45000.00 | 520.00 | 104000.00 | 160.00 | 32000.00 | 32000.00 | NSC Projects Pvt. Ltd.
153.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL pipe as required. A) Upto 35 sq.mm | 50.00 | Mtr. |  | 299.00 | 14950.00 | 80.00 | 4000.00 | 400.00 | 20000.00 | 240.00 | 12000.00 | 4000.00 | PABSCON
153.10 | B) Above 35 sqmm and upto 95 sqmm | 100.00 | Mtr. |  | 499.00 | 49900.00 | 100.00 | 10000.00 | 550.00 | 55000.00 | 250.00 | 25000.00 | 10000.00 | PABSCON
154.00 | Laying & fixing of one No XLPE insulated & PVC sheathed Aluminium/Copper Cable of 1.1 KV grade of following sizes on surface etc. as required. A) Upto 35 sqmm | 100.00 | Mtr. |  | 109.00 | 10900.00 | 110.00 | 11000.00 | 400.00 | 40000.00 | 40.00 | 4000.00 | 4000.00 | NSC Projects Pvt. Ltd.
154.10 | B) Above 35 sqmm and upto 95 sqmm | 100.00 | Mtr. |  | 109.00 | 10900.00 | 140.00 | 14000.00 | 550.00 | 55000.00 | 50.00 | 5000.00 | 5000.00 | NSC Projects Pvt. Ltd.
155.00 | Laying of one number PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of following sizes direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. A) Upto 35 sqmm | 50.00 | Mtr. |  | 499.00 | 24950.00 | 450.00 | 22500.00 | 400.00 | 20000.00 | 280.00 | 14000.00 | 14000.00 | NSC Projects Pvt. Ltd.
155.10 | B) Above 35 sqmm and upto 95 sqmm | 400.00 | Mtr. |  | 509.00 | 203600.00 | 500.00 | 200000.00 | 550.00 | 220000.00 | 310.00 | 124000.00 | 124000.00 | NSC Projects Pvt. Ltd.
156.00 | Laying & fixing of one No XLPE insulated & PVC sheathed Aluminium/Copper Cable of 1.1 KV grade of following sizes on cable tray etc A) Upto 35 sqmm | 50.00 | Mtr. |  | 299.00 | 14950.00 | 120.00 | 6000.00 | 400.00 | 20000.00 | 310.00 | 15500.00 | 6000.00 | PABSCON
156.10 | B) Above 35 sqmm and upto 95 sqmm | 40.00 | Mtr. |  | 499.00 | 19960.00 | 160.00 | 6400.00 | 550.00 | 22000.00 | 320.00 | 12800.00 | 6400.00 | PABSCON
157.00 | Supplying and making end termination with heavy duty type brass single compression gland and aluminium lugs for following size of XLPE insulated aluminium conductor cable of 1.1 kV grade as required. A) 3.5 x 95 sqmm | 2.00 | Each |  | 25.00 | 50.00 | 1100.00 | 2200.00 | 200.00 | 400.00 | 1600.00 | 3200.00 | 50.00 | H H CO CONTRCTOR AND SUPPLIER
157.10 | B) 3.5 x 35 sqmm | 2.00 | Each |  | 15.00 | 30.00 | 780.00 | 1560.00 | 200.00 | 400.00 | 1300.00 | 2600.00 | 30.00 | H H CO CONTRCTOR AND SUPPLIER
157.20 | C) 4 x 16 sqmm | 12.00 | Each |  | 10.00 | 120.00 | 650.00 | 7800.00 | 200.00 | 2400.00 | 1500.00 | 18000.00 | 120.00 | H H CO CONTRCTOR AND SUPPLIER
158.00 | Supply, fabricating and installing of following size of perforated pre-galvanised cable trays including horizontal and vertical bends, reducers, tees, cross members and other accessories as required duly suspended from the ceiling/wall with M.S . Suspenders etc. as required. A) 150 mm width x 50 mm depth x 1.6 mm thickness | 50.00 | Mtr. |  | 149.00 | 7450.00 | 500.00 | 25000.00 | 450.00 | 22500.00 | 700.00 | 35000.00 | 7450.00 | H H CO CONTRCTOR AND SUPPLIER
159.00 | Supply of BEE 5 star 10 litres 2000 watt electric storage water heater with features like alluring design, fire retardant cable, multiple safety system, rust proof external body, etc complete as required. | 10.00 | Each |  | 1099.00 | 10990.00 | 9000.00 | 90000.00 | 14500.00 | 145000.00 | 7800.00 | 78000.00 | 10990.00 | H H CO CONTRCTOR AND SUPPLIER
160.00 | Supply of 292 L double door refrigerator with features like active deo, air tower, chiller, choco box, fresh flow flexi-vents with anti-bacterial filter suitable to operate on 230 volts , 50 hertz, AC supply etc complete as required. | 1.00 | Each |  | 34999.00 | 34999.00 | 95000.00 | 95000.00 | 31500.00 | 31500.00 | 18000.00 | 18000.00 | 18000.00 | NSC Projects Pvt. Ltd.
161.00 | Supply of wall mounted type spilt air-conditioner complete with indoor unit, outdoor unit with energy efficient rotary / scroll compressor, required size unaroumed PVC wire from indoor to out door unit and other allied accessories with cordless remote control etc as required.A) 1.5 TR, Five star, 1 phase spilt unit | 30.00 | Each |  | 50999.00 | 1529970.00 | 65000.00 | 1950000.00 | 43500.00 | 1305000.00 | 43000.00 | 1290000.00 | 1290000.00 | NSC Projects Pvt. Ltd.
162.00 | Installation testing & commissioning of cassette/spilt type Air-conditioning unit with indoor unit outdoor unit with energy effecitent rotary/scroll compressor i/c minor civil works as per site requirement and following capacity. A) 1.5 TR Split AC unit | 30.00 | Each |  | 2199.00 | 65970.00 | 5000.00 | 150000.00 | 43500.00 | 1305000.00 | 2000.00 | 60000.00 | 60000.00 | NSC Projects Pvt. Ltd.
163.00 | Supply of wide angled beam type High Bay LED Luminary capable of giving above 8000 lumen output from system wattage 80 Watts +/- 10% , System efficacy >100 Lm/W, colour temperature-6500K, CRI minimum 80, PF > 0.90, with in built control gear housing, high transmittance Toughened glass, IP 65 or better protection fitted with sufficient number & appropriate type LEDs comprising of High Pressure Die Cast Aluminum housing for lamp and Driver with the provision of LILO, better heat dissipation arrangement and suitable for operation on variable AC inputs of 130V - 270 VAC employing highly efficient constant current electronic driver etc as required. | 20.00 | Each |  | 4399.00 | 87980.00 | 16000.00 | 320000.00 | 3250.00 | 65000.00 | 7000.00 | 140000.00 | 65000.00 | Look East Construction Private Limited
| Total in Figures |  |  |  |  | 40252052.20 |  | 40759870.00 |  | 38056907.58 |  | 32654945.00
Lowest Amount Quoted BY: NSC Projects Pvt. Ltd.(32654945.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Community Center in AAI Residential Colony (Phase-1) at Dimapur Airport. Tender ID: 2023_AAI_141205_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NSC Projects Pvt. Ltd. | 32654945.00 | L1
| 2 | Look East Construction Private Limited | 38056907.58 | L2
| 3 | H H CO CONTRCTOR AND SUPPLIER | 40252052.20 | L3
| 4 | PABSCON | 40759870.00 | L4