## BoQ1
Government eProcurement System Created By: ARUN KUMAR K Created Date/Time: 13-Feb-2023 03:31 PM Tender Title: Replacement of existing feeder cable and provision of LED street lighting for DVOR at Mysuru Airport Tender ID: 2023_AAI_141257_1
Tender Inviting Authority: Asst. General Manager (E-E), Airports Authority of India, Bangalore.
Name of Work: Replacement of existing feeder cable and provision of LED street lighting for DVOR at Mysuru Airport
Contract No: 2023_AAI_141257_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | SRS ELECTRICALS(GSTN-29AWZPK1221C1ZI) |  | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | surbhi association(GSTN-23AGKPD2522N1ZK) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of XLPE insulated PVC sheathed, armoured Aluminium conductor power cable of 1.1 KV grade of following sizes conforming to IS-7098 (Part-1) :1988 with upto date amendments etc complete as reqd.
1.01 | 3.5C x 185 Sq.mm | 1000.00 | Meter | 100.00 | 790.00 | 790000.00 | 775.00 | 775000.00 | 1065.00 | 1065000.00 | 990.00 | 990000.00 | 1100.00 | 1100000.00 | 888.00 | 888000.00 | 775000.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.02 | 4C x 16 Sq.mm | 500.00 | Meter | 100.00 | 115.00 | 57500.00 | 240.00 | 120000.00 | 185.00 | 92500.00 | 200.00 | 100000.00 | 180.00 | 90000.00 | 190.00 | 95000.00 | 57500.00 | Shantha ELectricals and Engineers Pvt Ltd
1.03 | 4C x 10 Sq.mm | 1000.00 | Meter | 100.00 | 100.00 | 100000.00 | 113.00 | 113000.00 | 169.00 | 169000.00 | 160.00 | 160000.00 | 160.00 | 160000.00 | 130.00 | 130000.00 | 100000.00 | Shantha ELectricals and Engineers Pvt Ltd
2.00 | Supply of following sizes of HDPE pipe, ISI marked, PE-80 grade, PN-6 rating and conforming to IS:4984 with upto date amendments etc complete as required and as per specifications.
2.01 | 90 mm dia (OD) | 900.00 | Meter | 100.00 | 260.00 | 234000.00 | 140.00 | 126000.00 | 325.00 | 292500.00 | 160.00 | 144000.00 | 200.00 | 180000.00 | 550.00 | 495000.00 | 126000.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.02 | 40 mm dia (OD) | 950.00 | Meter | 100.00 | 210.00 | 199500.00 | 80.00 | 76000.00 | 128.00 | 121600.00 | 90.00 | 85500.00 | 100.00 | 95000.00 | 220.00 | 209000.00 | 76000.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.00 | Laying of following size of HDPE pipe along with all accessories like socket, bend, couplers etc. direct in ground (75cm below ground level) including cutting, jointing, excavation, refilling the trench (after laying of pipes) but excluding sand cushioning and protective covering etc., complete as required.
3.01 | 90 mm dia (OD) | 800.00 | Meter | 100.00 | 160.00 | 128000.00 | 200.00 | 160000.00 | 270.00 | 216000.00 | 120.00 | 96000.00 | 110.00 | 88000.00 | 110.00 | 88000.00 | 88000.00 | surbhi association, KALKI ELECTRICALS
3.02 | 40 mm dia (OD) | 900.00 | Meter | 100.00 | 140.00 | 126000.00 | 200.00 | 180000.00 | 250.00 | 225000.00 | 120.00 | 108000.00 | 90.00 | 81000.00 | 100.00 | 90000.00 | 81000.00 | surbhi association
4.00 | Laying of following size of HDPE pipe under bitumenous road/concrete surface(75cm below ground level) including cutting, chiselling, excavation, refilling the trench (after laying of pipes) finishing and making good the top surface with 1:2:4 cement concrete of minimum 150mm thickness etc complete as required.
4.01 | 90 mm dia (OD) | 30.00 | Meter | 100.00 | 600.00 | 18000.00 | 1250.00 | 37500.00 | 1200.00 | 36000.00 | 1000.00 | 30000.00 | 500.00 | 15000.00 | 880.00 | 26400.00 | 15000.00 | surbhi association
4.02 | 40 mm dia (OD) | 10.00 | Meter | 100.00 | 600.00 | 6000.00 | 1050.00 | 10500.00 | 1200.00 | 12000.00 | 1000.00 | 10000.00 | 400.00 | 4000.00 | 800.00 | 8000.00 | 4000.00 | surbhi association
5.00 | Supply and embedding of following sizes of 'B' Class GI pipe across the culvert crossing including cutting the side walls of culvert at required depth and finishing the surface 1:2:4 grade cement concrete after embedding of pipes etc complete as required as per actual site requirements.
5.01 | 100 mm dia | 10.00 | Meter | 100.00 | 2800.00 | 28000.00 | 950.00 | 9500.00 | 2850.00 | 28500.00 | 2000.00 | 20000.00 | 1650.00 | 16500.00 | 1800.00 | 18000.00 | 9500.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.02 | 50 mm dia | 10.00 | Meter | 100.00 | 1100.00 | 11000.00 | 550.00 | 5500.00 | 1400.00 | 14000.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 5500.00 | LAKSHMI ELECTRICAL ENTERPRISES
6.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe/HDPE Pipe /GI pipe as required.
6.01 | Upto 35 sq. mm | 900.00 | Meter | 100.00 | 50.00 | 45000.00 | 40.00 | 36000.00 | 30.00 | 27000.00 | 20.00 | 18000.00 | 30.00 | 27000.00 | 25.00 | 22500.00 | 18000.00 | DEEPAKELECTRICALS
6.02 | Above 95 sq. mm and upto 185 sq. mm | 800.00 | Meter | 100.00 | 95.00 | 76000.00 | 90.00 | 72000.00 | 45.00 | 36000.00 | 30.00 | 24000.00 | 100.00 | 80000.00 | 35.00 | 28000.00 | 24000.00 | DEEPAKELECTRICALS
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonary open duct/trench as required.
7.01 | Above 95 sq. mm and upto 185 sq. mm | 35.00 | Meter | 100.00 | 110.00 | 3850.00 | 150.00 | 5250.00 | 80.00 | 2800.00 | 30.00 | 1050.00 | 100.00 | 3500.00 | 89.00 | 3115.00 | 1050.00 | DEEPAKELECTRICALS
8.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of XLPE insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade as required
8.01 | 3.5 X 185 sq. mm | 2.00 | Set | 100.00 | 4800.00 | 9600.00 | 3500.00 | 7000.00 | 9500.00 | 19000.00 | 3760.00 | 7520.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 7000.00 | LAKSHMI ELECTRICAL ENTERPRISES
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of XLPE insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
9.01 | 3.5 X 185 sq. mm | 2.00 | Set | 100.00 | 2100.00 | 4200.00 | 750.00 | 1500.00 | 3000.00 | 6000.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 2400.00 | 4800.00 | 1000.00 | DEEPAKELECTRICALS
9.02 | 4 X 10 sq. mm | 66.00 | Set | 100.00 | 300.00 | 19800.00 | 250.00 | 16500.00 | 300.00 | 19800.00 | 200.00 | 13200.00 | 200.00 | 13200.00 | 240.00 | 15840.00 | 13200.00 | DEEPAKELECTRICALS, surbhi association
10.00 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 20.00 | Each | 100.00 | 1800.00 | 36000.00 | 1250.00 | 25000.00 | 500.00 | 10000.00 | 450.00 | 9000.00 | 500.00 | 10000.00 | 900.00 | 18000.00 | 9000.00 | DEEPAKELECTRICALS
11.00 | Fabrication, supply and erection of 5 mtr long GI tubular street light pole made out of 80mm dia “B” class GI pipe duly fitted / welded with 40mm dia GI brackets of suitable length and supporting plates / arrangement, 250mm X 250 mm X 10mm thick GI base plate at bottom with suitable dia holes to receive foundation bolts, anti corrosive treatment at welded joints / areas etc. including excavation, providing 450mmX450mmX600mm cement concrete foundation (1:3:6 grade) with 100mm thick PCC layer at bottom, all accessories such as suitable size foundation bolt, nuts/bolts/ washers, provision for cable entry, checking of alignments, disposal of surplus soil etc. complete with a neat coat of aluminum paint etc. complete as required. | 32.00 | Each | 100.00 | 25000.00 | 800000.00 | 9500.00 | 304000.00 | 15000.00 | 480000.00 | 14000.00 | 448000.00 | 15000.00 | 480000.00 | 12000.00 | 384000.00 | 304000.00 | LAKSHMI ELECTRICAL ENTERPRISES
12.00 | Supply of LED street light luminaire having minimum lumen output of 4950 lm with 5 year manufacturer warranty designed with energy saving, environmental friendly, long life LEDs, integral driver with surge protection, High Pressure die-cast aluminium housing with minimum IP65 Protection, frame including all accessories etc complete as required as per specifications. | 40.00 | Each | 100.00 | 3200.00 | 128000.00 | 1850.00 | 74000.00 | 3500.00 | 140000.00 | 6250.00 | 250000.00 | 2000.00 | 80000.00 | 6600.00 | 264000.00 | 74000.00 | LAKSHMI ELECTRICAL ENTERPRISES
13.00 | Installation, Testing and Commissioning of LED street light luminaire on the existing bracket of pole/wall of height upto 5mtrs including all accessories suitable for mounting/fixing on existing GI brackets of street light pole, connections with suitable size PVC insulated copper wires etc as per site requirements complete as required | 32.00 | Each | 100.00 | 900.00 | 28800.00 | 350.00 | 11200.00 | 1500.00 | 48000.00 | 350.00 | 11200.00 | 150.00 | 4800.00 | 300.00 | 9600.00 | 4800.00 | surbhi association
14.00 | Supply and fixing of Loop in loop out Junction box made out of SMC/powder coated GI with minimum size of 280mm x 170mm x130mm (outer) with hinged door fitted with 6A SP MCB, 16A, 4 way Connector, din bar etc to be mounted on existing street light pole including accessories such as clamps/nuts bolts etc. as required as per actual site requirements | 32.00 | Each | 100.00 | 3800.00 | 121600.00 | 950.00 | 30400.00 | 1500.00 | 48000.00 | 2500.00 | 80000.00 | 1500.00 | 48000.00 | 2200.00 | 70400.00 | 30400.00 | LAKSHMI ELECTRICAL ENTERPRISES
15.00 | Earthing with G.l. earth pipe 3 meter long, 40 mm dia including accessories, and providing masonry enclosure with cast iron cover plate having locking arrangement etc. with charcoal/coke and salt as required. | 4.00 | set | 100.00 | 9000.00 | 36000.00 | 6500.00 | 26000.00 | 12000.00 | 48000.00 | 7500.00 | 30000.00 | 6000.00 | 24000.00 | 12000.00 | 48000.00 | 24000.00 | surbhi association
16.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.l. Wire in 15 mm dia G.l. pipe from earth electrode including connection with G.l. thimble excavation and re-filling as required. | 80.00 | Meter | 100.00 | 110.00 | 8800.00 | 175.00 | 14000.00 | 80.00 | 6400.00 | 330.00 | 26400.00 | 250.00 | 20000.00 | 300.00 | 24000.00 | 6400.00 | SRS ELECTRICALS
17.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required | 1840.00 | Meter | 100.00 | 40.00 | 73600.00 | 26.00 | 47840.00 | 35.00 | 64400.00 | 57.00 | 104880.00 | 35.00 | 64400.00 | 36.00 | 66240.00 | 47840.00 | LAKSHMI ELECTRICAL ENTERPRISES
| Total in Figures |  |  |  |  | 3089250.00 |  | 2283690.00 |  | 3227500.00 |  | 2777750.00 |  | 2706400.00 |  | 3025895.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(2283690.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing feeder cable and provision of LED street lighting for DVOR at Mysuru Airport Tender ID: 2023_AAI_141257_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 2283690.00 | L1
| 2 | surbhi association | 2706400.00 | L2
| 3 | DEEPAKELECTRICALS | 2777750.00 | L3
| 4 | KALKI ELECTRICALS | 3025895.00 | L4
| 5 | Shantha ELectricals and Engineers Pvt Ltd | 3089250.00 | L5
| 6 | SRS ELECTRICALS | 3227500.00 | L6