## BoQ1
Government eProcurement System Created By: Rudra Prasad Acharya Created Date/Time: 01-Mar-2023 11:01 AM Tender Title: SITC of design based Public Address System for Terminal-2 and Link Building at Biju Patnaik International Airport, Bhubaneswar Tender ID: 2023_AAI_141332_1
Tender Inviting Authority: Senior Manager Engg (E), Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: SITC of design based Public Address System for Terminal-2 and Link Building at Biju Patnaik International Airport, Bhubaneswar.
Contract No: 2023_AAI_141332_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.(GSTN-07AABCI1558D1ZW) |  | HEINRICH CORPORATION INDIA PVT LTD(GSTN-07AADCH3587R1ZT)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of of IP based Digital Public Address and Emergency Sound System Controller certified to International standards of Emergency Sound System EN 54 and ISO 7240‑16, marked for CE and compliant with the RoHS directive. | 2.00 | Nos |  | 880000.00 | 1760000.00 | 980000.00 | 1960000.00 | 1760000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
2.00 | SITC of configuration Software along with standard PC to configure the complete PA system. | 1.00 | Nos |  | 172000.00 | 172000.00 | 210000.00 | 210000.00 | 172000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
3.00 | SITC of the IP based DESKTOP CALL STATION with gooseneck microphone and KEYPAD certified for EN 54‑16 and ISO 7240‑16, marked for CE and be compliant with RoHS directive. | 8.00 | Nos |  | 130000.00 | 1040000.00 | 149000.00 | 1192000.00 | 1040000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.00 | SITC of IP based Digital Class-D multi channel Amplifier 600W each with 4 channels,EN 54 certified and ISO 7240‑16, marked for CE and compliant with the RoHS directive. | 9.00 | Nos |  | 265000.00 | 2385000.00 | 290000.00 | 2610000.00 | 2385000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
5.00 | SITC of Metal grille ceiling speaker with metal fire dome - 6W ceiling mount speaker with excellent speech & music reproduction, EN54-24 certified, Max Power: 9 W,Rated Power: 6 Watts, Sound Pressure level at 6 W / 1 W ( 1 KHz at 1m) - 98 dB / 90 dB (SPL),Effective frequency range (-10 dB) - 90 Hz to 20 kHz, Rated Voltage- 100V, | 123.00 | Nos |  | 3200.00 | 393600.00 | 3800.00 | 467400.00 | 393600.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
6.00 | SITC of 40W Column Speaker having Maximum power-60 W,Rated power (PHC)-40 W,Sound pressure level at rated power / 1 W(1 kHz, 1 m-93 / 106 dB (SPL),Effective frequency range (-10 dB)-120 Hz to 15.3 kHz,Rated input voltage-100V,metal enclosure, supplied with a swivel wall mounting bracket. | 57.00 | Nos |  | 8900.00 | 507300.00 | 9900.00 | 564300.00 | 507300.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
7.00 | SITC of weather proof metallic/horn 15 W Speakers for Car calling / parking area | 32.00 | Nos |  | 5500.00 | 176000.00 | 6490.00 | 207680.00 | 176000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
8.00 | SITC of '-Active Line array loudspeaker with Built-in DSP with coaxial drivers for improved high frequency response., Sophisticated beam configuration with EASE support, Integrated ambient noise level sensor for AVC, 100W -Comply standards IEC60849, BS5839‑8 and EN54 Certified -Impact acc. to EN 50102, IK 07 -Effective frequency range(-10 dB):-150 Hz to 18 kHz - SPL 89 / 92 dB SPL (A‑weighed at 20 m) | 12.00 | Nos |  | 425000.00 | 5100000.00 | 490000.00 | 5880000.00 | 5100000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
9.00 | SITC of Omni direction Noise sensing Microphone in suitable housing | 4.00 | Nos |  | 34000.00 | 136000.00 | 39000.00 | 156000.00 | 136000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
10.00 | SITC of Ethernet switch, 8xPoE,2xSFP,8 x Gigabit ports with PoE,2 x Gigabit combo ports with SFP sockets for glass fiber transceivers, Network redundancy via STP/MSTP/RSTP, Dual power supply connections, Fault relay,Operating voltage (VDC) 16.80 VDC – 62.40VDC,Power consumption (W) 140 W maximum,PoE/PoE + power budget 120 W maximum,PoE/PoE + power per port 20 W maximum,PoE/PoE + standard IEEE 802.3 af/at,Switch type Managed capable of driving the call station. | 6.00 | Nos. |  | 27500.00 | 165000.00 | 32500.00 | 195000.00 | 165000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
11.00 | SITC of CAT 6 STP Cable for connection of Call Stations | 1500.00 | Meter |  | 90.00 | 135000.00 | 105.00 | 157500.00 | 135000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
12.00 | SITC of 2 Core 1.5sqmm Speaker cable | 6000.00 | Meter |  | 64.00 | 384000.00 | 75.00 | 450000.00 | 384000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
13.00 | SITC of Armoured 0.75 sq.mm. multistrand, Two Pair Twin Twisted speaker cable for connecting speakers at car parking. | 1500.00 | Meter |  | 130.00 | 195000.00 | 150.00 | 225000.00 | 195000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
14.00 | SITC of 42 U Equipment Rack Made of MS for housing of all above equipment , front lockable glass door, Fan tray for colling, Caster wheel base , Indivdual FUSE power supply unit, including all internal wiring/ interconnection as required | 1.00 | Nos |  | 33000.00 | 33000.00 | 39000.00 | 39000.00 | 33000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
15.00 | SITC of 4U Rack of MS for housing switches at different position with inbuilt main panel and Fuse and all interconnections. (for switch positioning) | 6.00 | Nos |  | 4000.00 | 24000.00 | 5000.00 | 30000.00 | 24000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
16.00 | SITC of 20 mm PVC Conduit | 2000.00 | Meter |  | 48.00 | 96000.00 | 58.00 | 116000.00 | 96000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
17.00 | SITC of 5'' dia up to 5 Mtrs. Height GI pole for mounting of harn speakers in car parking area | 8.00 | nos. |  | 22000.00 | 176000.00 | 25000.00 | 200000.00 | 176000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
18.00 | SITC of Redundant (1+1) not less than 10KVA Online UPS with SMF batteries, 30 minutes of batteries backup with each UPS. | 1.00 | Set |  | 900000.00 | 900000.00 | 1050000.00 | 1050000.00 | 900000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
19.00 | 03 Years CAMC for complete system after completion of 03 (three) years’ warranty/Defect Liability period
19.01 | 1st year @ 7.639% of SITC cost | 1.00 | Year |  | 1052493.78 | 1052493.78 | 1200077.73 | 1200077.73 | 1052493.78 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
19.02 | 2nd year @ 8.698% of SITC cost | 1.00 | Year |  | 1198401.74 | 1198401.74 | 1366445.36 | 1366445.36 | 1198401.74 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
19.03 | 3rd year @ 9.757% of SITC cost | 1.00 | Year |  | 1344309.70 | 1344309.70 | 1532812.99 | 1532812.99 | 1344309.70 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
| Total in Figures |  |  |  |  | 17373105.22 |  | 19809216.08
Lowest Amount Quoted BY: INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.(17373105.22)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of design based Public Address System for Terminal-2 and Link Building at Biju Patnaik International Airport, Bhubaneswar Tender ID: 2023_AAI_141332_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD. | 17373105.22 | L1
| 2 | HEINRICH CORPORATION INDIA PVT LTD | 19809216.08 | L2