## BoQ1
Government eProcurement System Created By: SINDHU L S Created Date/Time: 17-Feb-2023 12:15 PM Tender Title: FACILITY MANAGEMENT CONTRACT OF E n M INSTALLATIONS AT RHQ SR RESIDENTIAL COLONY, CHENNAI AIRPORT, CHENNAI Tender ID: 2023_AAI_141887_1
Tender Inviting Authority: SENIOR MANAGER (ENGG-ELECTRICAL), AAI, RHQ-SR, CHENNAI AIRPORT, CHENNAI - 600 027.
Name of Work: Facility Management Contract of E & M Installations at RHQ-SR Residential Colony, Chennai Airport, Chennai.
Contract No: 2023_AAI_141887_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | SH I: Monitoring and Maintenance of E & M Installations
1.01 | Monitoring and Maintenance of Utility Services/Internal and External Electrical Services at AAI RHQ SR Residential Colony/CPWD Quarters comprising of 11 KV VCB Panels (03 Nos.), 2 Nos. of 11 KV/433 Volt Transformers (1000KVA- 1 No and 500KVA - No), 2 Nos. of 125 KVA LT DG Sets, LT Panels, associated Earthing System of Utilities, Light Fittings, Power Points, Circuit/Submain Wiring, DBs, LT Panels, Street Light Poles/External Lights, Signage etc., at Quarters (As per Annexure 'A5' - List of Inventories) for round the Clock 24X7 Basis (Three Shift Basis - 8 Hours For One Shift), Monitoring, Control and General Maintenance for 100% Serviceability including Co-ordination with TANGEDCO and i/c providing consumable material like cotton waste, oil, grease & other sundry material required for cleaning etc., attending minor faults of Equipments/Repairs/Replacement of defective components with AAI Supplied New Components, ensuring 100% Serviceability/satisfactory working condition of the Systems, Routine and General Preventive Maintenance on Daily/Weekly/Monthly/Quarterly/Half Yearly/Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS), Maintenance of Records and Log Books and reporting as and when required, complete Upkeeping of the Installations, on all days including Sundays & Holidays as specified and as directed by Engineer-In-Charge as required. * It shall be noted that the BOQ item no.1 shall not accept quote less than minimum wages as on date of publication of tender (Ref Pg.No. SCC 5 of tender document). | 24.00 | Month | SH-I Item No. 1 | 8696280.00 | 10261610.40 | 7524000.00 | 8878320.00 | 7791024.00 | 9193408.32 | 7524000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 8878320.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.02 | Monitoring and Maintenance of Water Supply/Sewage Treatment Installations at AAI RHQ SR Residential Colony comprising of Water Supply Installations (Borewell Submersible Pumps/Open Well Submersible Pumps/Jet Pumps) and Sewage Treatment Installations (Pumps/Aerator/Filters/LT Panels) etc., (As per Annexure 'A6' - List of Inventories) for round the Clock 24X7 Basis (Three Shift Basis - 8 Hours For One Shift), Monitoring, Control and General Maintenance for 100% Serviceability including providing consumable material like cotton waste, oil, grease & other sundry material required for cleaning etc., attending minor faults of Equipments/Repairs/Replacement of defective components with AAI Supplied New Components, ensuring 100% Serviceability/satisfactory working condition of the Systems, Routine and General Preventive Maintenance on Daily/Weekly/Monthly/Quarterly/Half Yearly/Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS), Maintenance of Records and Log Books and reporting as and when required, complete Upkeeping of the Installations etc., on all days including Sundays & Holidays as specified and as directed by Engineer-In-Charge as required. * It shall be noted that the BOQ item no.2 shall not accept quote less than minimum wages as on date of publication of tender (Ref pg.no. SCC.5 of tender document). | 24.00 | Month | SH-I Item No. 2 | 6180672.00 | 7293192.96 | 5973600.00 | 7048848.00 | 6224616.00 | 7345046.88 | 5973600.00 | LAKSHMI ELECTRICAL ENTERPRISES | 7048848.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.03 | Providing Supervisory Engineering Services for All E&M Installations Covering Item 1 to 2 as above including Monitoring/Control/Co-ordination/Maintenance of Utility Services/Internal and External Electrical Services for General Duty (Timing as decided by EIC) , Maintenance of Records and Log Books and reporting as and when required, on all days as specified and as directed by Engineer-In-Charge as required. * It shall be noted that the BOQ item no.3 shall not accept quote less than minimum wages as on date of publication of tender (Ref pg.no. SCC 5 of tender document). | 24.00 | Month | SH-I Item No. 3 | 909120.00 | 1072761.60 | 829752.00 | 979107.36 | 830016.00 | 979418.88 | 829752.00 | LAKSHMI ELECTRICAL ENTERPRISES | 979107.36 | LAKSHMI ELECTRICAL ENTERPRISES
2.00 | SH: II A ISC of HT Panels and LT ACBs of Power Supply Installations.
2.01 | Overhauling and Servicing of (400 - 1250) Amp 11 KV HT VCBs by Deploying Authorised Service Personnel of Manufacturer/Service Dealer/ Specialised Agency experienced in similar nature of work, provided at Various Power Houses/ Substations including drawing out of the VCB, opening the same, Inspection, Servicing, Cleaning of Contact Surfaces, Overhauling of Operating Mechanism, Lubrication of Moving Parts, Cleaning of CTs, PTs, Busbars and Chambers, Checking of Busbars and bus links, Replacement of Gasket of Panel, Checking of Electrical and Mechanical Operation, measuring of Contact Resistance, Checking of IR values, Testing of ON OFF Time, replacement of minor defective spares supplied by AAI (excluding supply of spares), Testing and Commissioning etc., as required. ISC of VCBs(NAD Colony - 3 Nos VCBs (Make:CG)
2.02 | First Year | 3.00 | Each | SH-II Item No. 1 (a) | 45000.00 | 53100.00 | 90000.00 | 106200.00 | 15000.00 | 17700.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd. | 17700.00 | DElite System Engineering (India) Pvt. Ltd.
2.03 | Second Year | 3.00 | Each | SH-II Item No. 1 (b) | 49500.00 | 58410.00 | 90000.00 | 106200.00 | 15000.00 | 17700.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd. | 17700.00 | DElite System Engineering (India) Pvt. Ltd.
2.04 | Overhauling and Servicing of following capacity Trip Circuit Battery Charging Unit by Deploying Authorised Service Personnel of Manufacturer/ Service Dealer/ Specialised agency experienced in similar nature of work, provided at Various Power Houses/ Substations including Inspection, Servicing, Cleaning of Charger, Checking of Charger Circuit (Control and Power Circuit) including Instruments/ Relays/ Meters/ Transformers/ Rectifiers/ Filters, attending faults, Replacement of Defective Components (Excluding Cost of Spares), Checking of Batteries, Terminals, Checking of Operation, Testing and Commissioning etc., as required.
2.05 | Less than 30V battery charger
2.06 | First Year | 1.00 | Each | SH-II Item No. 2 (a) | 10000.00 | 11800.00 | 10000.00 | 11800.00 | 1400.00 | 1652.00 | 1400.00 | DElite System Engineering (India) Pvt. Ltd. | 1652.00 | DElite System Engineering (India) Pvt. Ltd.
2.07 | Second Year | 1.00 | Each | SH-II Item No. 2 (b) | 11000.00 | 12980.00 | 10000.00 | 11800.00 | 1400.00 | 1652.00 | 1400.00 | DElite System Engineering (India) Pvt. Ltd. | 1652.00 | DElite System Engineering (India) Pvt. Ltd.
2.08 | Inspection/Overhauling/Servicing of ACBs of L&T/ GE/ C&S Make of Various Capacities provided in the various LT Panels at Various Power Houses/ SSs by Deploying Authorised Service Personnel of Manufacturer/ Service Dealer/ Specialised Agencies experienced in Servicing of ACBs including cleaning of ACBs, opening the same, inspection, servicing, cleaning of contact surfaces, arc chutes, overhauling of operating mechanism, lubrication of moving parts, Checking of UV Coils, Trip Circuits, Checking of Control Circuits, replacement of minor defective spares supplied by AAI (excluding supply of spares), testing and commissioning etc., as required. (NAD Colony -5 Nos)
2.09 | First Year | 3.00 | Each | SH-II Item No. 3 (a) | 18000.00 | 21240.00 | 12000.00 | 14160.00 | 6600.00 | 7788.00 | 6600.00 | DElite System Engineering (India) Pvt. Ltd. | 7788.00 | DElite System Engineering (India) Pvt. Ltd.
2.10 | Second Year | 5.00 | Each | SH-II Item No. 3 (b) | 33000.00 | 38940.00 | 20000.00 | 23600.00 | 11000.00 | 12980.00 | 11000.00 | DElite System Engineering (India) Pvt. Ltd. | 12980.00 | DElite System Engineering (India) Pvt. Ltd.
2.11 | Testing of Releases provided in various ACBs in various LT Panels, Testing of Tripping, Timing, etc., i/c adjustment of Settings if required at site by Secondary Injection Test as required. (i. NAD Colony -5 Nos)
2.12 | First Year | 3.00 | Each | SH-II Item No. 4 (a) | 9000.00 | 10620.00 | 10500.00 | 12390.00 | 4200.00 | 4956.00 | 4200.00 | DElite System Engineering (India) Pvt. Ltd. | 4956.00 | DElite System Engineering (India) Pvt. Ltd.
2.13 | Second Year | 5.00 | Each | SH-II Item No. 4 (b) | 16500.00 | 19470.00 | 17500.00 | 20650.00 | 7000.00 | 8260.00 | 7000.00 | DElite System Engineering (India) Pvt. Ltd. | 8260.00 | DElite System Engineering (India) Pvt. Ltd.
2.14 | SH: II B Calibration of Relays and Testing of CTs.
2.15 | Calibration of Relays [(Electro-Mechanical/ Static/ Digital/ Microprocessor Based Relays)-(O/C and E/F)/] provided in various HV/LV Panels, Testing of Insulation Values, Pick-up Value, Timing, Burden, etc., i/c adjustment of Settings if required at site, Relay Co-ordination with immediate Up and Down Circuit etc., as required, conforming to IS 9124 - 1979 by Secondary Injection Test as required.
2.16 | First Year | 6.00 | Each | SH-II Item No. 5 (a) | 18000.00 | 21240.00 | 60000.00 | 70800.00 | 7200.00 | 8496.00 | 7200.00 | DElite System Engineering (India) Pvt. Ltd. | 8496.00 | DElite System Engineering (India) Pvt. Ltd.
2.17 | Second Year | 6.00 | Each | SH-II Item No. 5 (b) | 19800.00 | 23364.00 | 60000.00 | 70800.00 | 7200.00 | 8496.00 | 7200.00 | DElite System Engineering (India) Pvt. Ltd. | 8496.00 | DElite System Engineering (India) Pvt. Ltd.
2.18 | Calibration of Auxillary Relays/Master Trip Relay provided in various HV/LV Panels, Testing of Insulation values, Pick-up Value, Drop Off, Burden etc., as required, conforming to IS 9124 - 1979 by Secondary Injection Test as required.
2.19 | First Year | 2.00 | Each | SH-II Item No. 6 (a) | 2000.00 | 2360.00 | 16000.00 | 18880.00 | 2400.00 | 2832.00 | 2000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 2360.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.20 | Second Year | 2.00 | Each | SH-II Item No. 6 (b) | 2200.00 | 2596.00 | 16000.00 | 18880.00 | 2400.00 | 2832.00 | 2200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 2596.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.21 | Testing of 11 KV CTs (3 Nos. of Current Rating of Upto 400 Amps associated with Relays (OC/EF/Master) provided in various HV Panels, Tesing of Polarity, Ratio, Insulation values, Testing of Ammeter connected in the Panel, Marking of available CT Ratio, Checking of Trip Circuit and Breaker Operation/Tripping etc., as required, conforming to IS 9124 - 1979 by Primary Injection Test (Maximum upto 50% of Rating of CTs-Testing at 25% and 50% of Original Rating) as required.
2.22 | First Year | 9.00 | Each | SH-II Item No. 7 (a) | 36000.00 | 42480.00 | 45000.00 | 53100.00 | 23391.00 | 27601.38 | 23391.00 | DElite System Engineering (India) Pvt. Ltd. | 27601.38 | DElite System Engineering (India) Pvt. Ltd.
2.23 | Second Year | 9.00 | Each | SH-II Item No. 7 (b) | 39600.00 | 46728.00 | 45000.00 | 53100.00 | 23391.00 | 27601.38 | 23391.00 | DElite System Engineering (India) Pvt. Ltd. | 27601.38 | DElite System Engineering (India) Pvt. Ltd.
2.24 | SH II C : Filtration of Transformer Oil and Servicing of OLTCs.
2.25 | Filtration of Transformer Oil of following Equipments conforming to IS 6792/72 and IS 1866 as required with up to date amendments, including transporting Filtration Plant and BDV Test Kit, Replacement of Silica Gel, Acidity Testing of Oil at Chemical Testing Lab, Submission of Reports, Checking of Cable Tightness, Gasketting of Cable End Boxes etc. as required.
2.26 | NAD RESIDENTIAL COLONY SUBSTATION 1000KVA 11KV/433V Transformer Approx Oil Qty in ltrs 1000.00
2.27 | First Year | 1.00 | Each | SH-II Item No. 8 (a) | 8000.00 | 9440.00 | 18000.00 | 21240.00 | 7500.00 | 8850.00 | 7500.00 | DElite System Engineering (India) Pvt. Ltd. | 8850.00 | DElite System Engineering (India) Pvt. Ltd.
2.28 | Second Year | 1.00 | Each | SH-II Item No. 8 (b) | 8800.00 | 10384.00 | 18000.00 | 21240.00 | 7500.00 | 8850.00 | 7500.00 | DElite System Engineering (India) Pvt. Ltd. | 8850.00 | DElite System Engineering (India) Pvt. Ltd.
2.29 | NAD RESIDENTIAL COLONY SUBSTATION 500KVA 11KV/433V Transformer Approx Oil Qty in ltrs 540.00
2.30 | First Year | 1.00 | Each | SH-II Item No. 9 (a) | 4500.00 | 5310.00 | 7000.00 | 8260.00 | 7500.00 | 8850.00 | 4500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 5310.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.31 | Second Year | 1.00 | Each | SH-II Item No. 9 (b) | 4950.00 | 5841.00 | 7000.00 | 8260.00 | 7500.00 | 8850.00 | 4950.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 5841.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.32 | Supply of Transformer Oil conforming to IS 335/1983 for topping up of oil for Transformer during filtration of Oil and for replacement of Oil for the Transformers. (Barrel = 210 Ltrs)
2.33 | First Year | 1.00 | Barrel | SH-II Item No. 10 (a) | 72450.00 | 85491.00 | 35000.00 | 41300.00 | 37590.00 | 44356.20 | 35000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 41300.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.34 | Second Year | 1.00 | Barrel | SH-II Item No. 10 (b) | 79695.00 | 94040.10 | 35000.00 | 41300.00 | 41790.00 | 49312.20 | 35000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 41300.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.35 | Testing of Power Transformer of following rating 11 / 0.433 KV i/c testing of Insulation resistance, Magnetising current, winding resistance with micro-Ohm meter and Magnetic balance, etc., as required.
2.36 | NAD RESIDENTIAL COLONY SUBSTATION 500KVA 11KV/433V Transformer
2.37 | First Year | 1.00 | Each | SH-II Item No. 11 (a) | 4000.00 | 4720.00 | 5000.00 | 5900.00 | 2000.00 | 2360.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd. | 2360.00 | DElite System Engineering (India) Pvt. Ltd.
2.38 | Second Year | 1.00 | Each | SH-II Item No. 11 (b) | 4400.00 | 5192.00 | 5000.00 | 5900.00 | 2000.00 | 2360.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd. | 2360.00 | DElite System Engineering (India) Pvt. Ltd.
2.39 | Providing and Fixing Glass Cover, Rubber Beading for Marshelling Boxes of Transformers as required.
2.40 | First Year | 1.00 | Each | SH-II Item No. 12 (a) | 2500.00 | 2950.00 | 5000.00 | 5900.00 | 3000.00 | 3540.00 | 2500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 2950.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.41 | Second Year | 1.00 | Each | SH-II Item No. 12 (b) | 3000.00 | 3540.00 | 5000.00 | 5900.00 | 3000.00 | 3540.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd., PREMIER ENGINEERING TECHNICS PVT. LTD. | 3540.00 | DElite System Engineering (India) Pvt. Ltd., PREMIER ENGINEERING TECHNICS PVT. LTD.
3.00 | SH-III Servicing of E & M Installations.
3.01 | Lifting of Submersible Pumps of various capacities from the existing Bore Well/Well and reinstalling the Submersible Pumps in the existing bore well / well (After servicing/ repairing both are exclusive) complete as required. | 5.00 | Job | SH-III Item No. 1 | 15000.00 | 17700.00 | 17500.00 | 20650.00 | 7500.00 | 8850.00 | 7500.00 | DElite System Engineering (India) Pvt. Ltd. | 8850.00 | DElite System Engineering (India) Pvt. Ltd.
3.02 | Rewinding of 1 No. 1.5 / 2 HP borewell / submersible / Monoblock motor pumpset, including replacement of damaged parts such as inlet base, bushes, thrust bearing set, neck rings etc, including reassembling, painting, testing, transpotation etc as required. | 2.00 | Job | SH-III Item No. 2 | 8000.00 | 9440.00 | 5000.00 | 5900.00 | 10000.00 | 11800.00 | 5000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 5900.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.03 | Rewinding of 1 No. 3HP borewell / submersible pumpset, including replacement of damaged parts such as inlet base, bushes, thrust bearing set, neck rings etc, including reassembling, painting, testing, transpotation etc as required. | 2.00 | Job | SH-III Item No. 3 | 8000.00 | 9440.00 | 7000.00 | 8260.00 | 14000.00 | 16520.00 | 7000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 8260.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.04 | Rewinding of 1 No. 5HP submersible / monoblock motor pumpset, including replacement of damaged parts such as inlet base, bushes, thrust bearing set, neck rings etc, including reassembling, painting, testing, transpotation etc as required. | 2.00 | Job | SH-III Item No. 4 | 8000.00 | 9440.00 | 5000.00 | 5900.00 | 15998.00 | 18877.64 | 5000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 5900.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.05 | Rewinding of 1 No. 7.5HP to 10 HP borewell / submersible pumpset, including replacement of damaged parts such as inlet base, bushes, thrust bearing set, neck rings etc, including reassembling, painting, testing, transpotation etc as required. | 4.00 | Job | SH-III Item No. 5 | 26000.00 | 30680.00 | 30000.00 | 35400.00 | 60000.00 | 70800.00 | 26000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 30680.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.06 | Lifting of 3 HP/5 HP Sewage Submersible pump in the existing raw sewage sump and servicing of shaft, replacement of mechanical seal & bearing and reinstallation of servicable Sewage Submersible pump in the sump etc., as required. | 2.00 | Job | SH-III Item No. 6 | 6000.00 | 7080.00 | 15000.00 | 17700.00 | 18000.00 | 21240.00 | 6000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 7080.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.07 | Servicing of 7.5 HP Pressure Filter pump including repalcement of damaged parts like Pump shaft, Bearing, Oil seal, Mechanical seal, Screw & Gasket etc., and reinstallation of servicable pump as required. | 1.00 | Job | SH-III Item No. 7 | 5000.00 | 5900.00 | 5500.00 | 6490.00 | 25000.00 | 29500.00 | 5000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 5900.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.08 | Rewinding and Servicing 3 HP Booster pump including repalcement of damaged parts like Pump shaft, Bearing, Oil seal, Mechanical seal, Screw & Gasket etc., and reinstallation of servicable pump as required. | 1.00 | Job | SH-III Item No. 8 | 2000.00 | 2360.00 | 3000.00 | 3540.00 | 20000.00 | 23600.00 | 2000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 2360.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.09 | Supply of of following dia heavy duty GI pipe (6 meter) including cutting and threading including coupler, bend, flange with threading, gaseket, nut bolts, washers etc complete as required.
3.10 | 80 mm dia | 5.00 | Job | SH-III Item No. 9 (a) | 3750.00 | 4425.00 | 21000.00 | 24780.00 | 20000.00 | 23600.00 | 3750.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 4425.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.11 | 100 mm dia | 5.00 | Job | SH-III Item No. 9 (b) | 5000.00 | 5900.00 | 37500.00 | 44250.00 | 25000.00 | 29500.00 | 5000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 5900.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.12 | Comprehensivel Maintenance Contract of 7/8 LPH RO water purifier Kent make inclusive of monthly servicing, attending faults/ breakdowns and taking rectification action as and when required, maintaining the serviceability / satisfactory working condition of the plant,including replacing of One set of Membrane and Filters and including providing test reports for the same, etc complete as required. | 24.00 | Month | SH-III Item No. 10 | 24000.00 | 28320.00 | 24000.00 | 28320.00 | 60000.00 | 70800.00 | 24000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD., LAKSHMI ELECTRICAL ENTERPRISES | 28320.00 | PREMIER ENGINEERING TECHNICS PVT. LTD., LAKSHMI ELECTRICAL ENTERPRISES
3.13 | Repair & Rewinding of all capacities of exhaust fan i/c replacement of spares as required. | 10.00 | Job | SH-III Item No. 11 | 10000.00 | 11800.00 | 5500.00 | 6490.00 | 12000.00 | 14160.00 | 5500.00 | LAKSHMI ELECTRICAL ENTERPRISES | 6490.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.14 | Repair & Rewinding of high speed heavy duty pedestal / wall mounting fan i/c replacement of spares / bearings etc. as required. | 5.00 | Job | SH-III Item No. 12 | 7500.00 | 8850.00 | 3250.00 | 3835.00 | 7000.00 | 8260.00 | 3250.00 | LAKSHMI ELECTRICAL ENTERPRISES | 3835.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.15 | Maintenance of Conventional/ Microprocessor Based Fire Alarm System [FAS] including all Associated Accessories of all FAS Types/ Models/ Make installed at following Locations including Repairs and Maintenance, attending Faults of Systems, Replacement of Defective Components with AAI Supplied New Components, ensuring 100% Serviceability/ Satisfactory Working Condition of FAS, Routine and General Preventive Maintenance on Monthly/ Quarterly/ Half yearly/ Yearly Basis as per Standard Manufacturers' Practices, Break-Down Maintenance, Maintenance of Records/Service Reports and Reporting as and when required, complete Up-keeping of the Installations [FAS], as specified and as directed by Engineer-In-Charge as required.
3.16 | Com Stores (AAI-SR Colony)-(Eight Zone - Make : Morlay IAS) | 24.00 | Month | SH-III Item No. 13 | 180000.00 | 212400.00 | 60000.00 | 70800.00 | 36000.00 | 42480.00 | 36000.00 | DElite System Engineering (India) Pvt. Ltd. | 42480.00 | DElite System Engineering (India) Pvt. Ltd.
3.17 | Maintenance of Addressable Type Fire Alarm System [FAS] (by OEM/ authorized dealer of OEM) including all Associated Accessories of all FAS Types/Models/Make installed at following Locations including programming, repairs and maintenance, attending Faults of Systems, replacement of defective components with AAI supplied new components, ensuring 100% Serviceability/Satisfactory Working Condition of FAS, Routine and General Preventive Maintenance on Monthly/Quarterly/Half yearly/Yearly Basis as per Standard Manufacturers' Practices, Break-Down Maintenance, Maintenance of Records/Service Reports and Reporting as and when required, complete Up-keeping of the Installations [FAS], as specified and as directed by Engineer-In-Charge as required.
3.18 | Com Stores (AAI-SR Colony) (Single Loop-Make:Morley) | 24.00 | Month | SH-III Item No. 14 | 96000.00 | 113280.00 | 48000.00 | 56640.00 | 36000.00 | 42480.00 | 36000.00 | DElite System Engineering (India) Pvt. Ltd. | 42480.00 | DElite System Engineering (India) Pvt. Ltd.
3.19 | Supply of UL Listed Intellegent Addressable type Optical Smoke cum Heat Detector complete with all accessories like base, base box etc., to be installed under/above false ceiling - roof/concealed space etc., including interconnecting with loop cable complete as required (suitable for Existing Morlay IAS fire alarm system). | 3.00 | Each | SH-III Item No. 15 | 9000.00 | 10620.00 | 12000.00 | 14160.00 | 12000.00 | 14160.00 | 9000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 10620.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.20 | Supply and fixing of UL Listed Addressable Hooter cum Strobe complete with address switch including base plate, box, necessary accessories etc., as required(suitable for Existing Morlay IAS fire alarm system). | 1.00 | Each | SH-III Item No. 16 | 3000.00 | 3540.00 | 4500.00 | 5310.00 | 4000.00 | 4720.00 | 3000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 3540.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.21 | Supply of UL Listed Addressable type Manual Call Point (Pull Station Type) complete with Input Module, Push Botton, enclosed in box with provision for cable or conduit coupling, painted as required (suitable for Edward fire alarm system). | 1.00 | Each | SH-III Item No. 17 | 3000.00 | 3540.00 | 4500.00 | 5310.00 | 5000.00 | 5900.00 | 3000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 3540.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.22 | Supplying & laying of 2Cx1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLS outer sheath complete as required | 50.00 | RM | SH-III Item No. 18 | 5000.00 | 5900.00 | 1750.00 | 2065.00 | 6000.00 | 7080.00 | 1750.00 | LAKSHMI ELECTRICAL ENTERPRISES | 2065.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.23 | Supply of 12V 7AH maintenance free battery with buy back offer | 6.00 | Each | SH-III Item No. 19 | 5994.00 | 7072.92 | 5100.00 | 6018.00 | 11400.00 | 13452.00 | 5100.00 | LAKSHMI ELECTRICAL ENTERPRISES | 6018.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.00 | DSR ELECTRICAL -2022
4.01 | Execution of Items of CPWD Delhi Schedule Rates (DSR) E&M 2022 as and when required for attending Repair and Maintenance, Breakdowns and Upkeep of Internal and External Electrical Installations as per Direction of Engineer-In-Charge at All Locations under AAI RHQ SR Residential Colony Chennai Airport conforming to CPWD General Specifications for Electrical Works Part-I (Internal) 2013, Part-II (External) 1994 and Part -IV (Substation) 2013 and also to relevant BIS Specifications. Note: The Bidder shall quote the Rate in INR only for the Job corresponding to the Base Rate (Rs. 6,00,000.00 as per Proposed Estimate) and Percentage (%) Above/ Below shall be calculated by AAI (Based on Quoted Rate w.r.t Base Rate) and the same % worked out will be applied on DSR Rates while executing the DSR Items and will be paid as per Payment Methodology given in Annexure -E). | 1.00 | Job | SH-IV Item No. 1 | 450000.00 | 531000.00 | 490000.00 | 578200.00 | 500000.00 | 590000.00 | 450000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 531000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
| Total in Figures |  |  |  | 17168211.00 | 20258488.98 | 15774452.00 | 18613853.36 | 15997516.00 | 18877068.88

## BOQ Summary
BOQ Summary Details Tender Title: FACILITY MANAGEMENT CONTRACT OF E n M INSTALLATIONS AT RHQ SR RESIDENTIAL COLONY, CHENNAI AIRPORT, CHENNAI Tender ID: 2023_AAI_141887_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 18613853.36 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 18877068.88 | L2
| 3 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 20258488.98 | L3