## BoQ1
Government eProcurement System Created By: BALASAHEB POTE Created Date/Time: 17-Feb-2023 12:37 PM Tender Title: Extension and Modification of Arrival Hall at Agatti Airport Tender ID: 2023_AAI_142073_1
Tender Inviting Authority: AGM (Engg-Civil), AAI, Agatti Airport, Agatti - 682553.
Name of Work: “Extension and Modification of Arrival Hall at Agatti Airport.”
Contract No: AAI/AGT/AGM(E-C)/MC/W-4/Arrival- Modification/22-23, Tender ID : 2023_AAI_142073_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KHAN LOGISTICS(GSTN-31BKVPP1888H1ZK) |  | NOORUL AMEEN CP(GSTN-31AHCPN1413H2ZZ) |  | Mussadik Iqbal Hazarika(GSTN-18ABHPH1907K1ZN)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing specified wood frame work consisting of battens 50x25mm fixed with rawl plug and drilling necessary holes for rawl plug etc. including priming coat complete. Kiln seasoned and chemically treated hollock wood | .47 | Cum |  | 14000.00 | 6580.00 | 30000.00 | 14100.00 | 200000.00 | 94000.00 | 6580.00 | KHAN LOGISTICS
2.00 | Ply wood 7 ply, 9 mm thick Decorative plywood one side decorative veneer and commercial veneer on other face (Type 1) conforming to IS 1328 BWR Type | 113.75 | Sqmt |  | 4840.00 | 550550.00 | 2400.00 | 273000.00 | 3000.00 | 341250.00 | 273000.00 | NOORUL AMEEN CP
3.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 3.00 | each |  | 2500.00 | 7500.00 | 1600.00 | 4800.00 | 2000.00 | 6000.00 | 4800.00 | NOORUL AMEEN CP
4.00 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 3.00 | each |  | 2000.00 | 6000.00 | 1600.00 | 4800.00 | 1600.00 | 4800.00 | 4800.00 | NOORUL AMEEN CP, Mussadik Iqbal Hazarika
5.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 3.00 | each |  | 350.00 | 1050.00 | 450.00 | 1350.00 | 500.00 | 1500.00 | 1050.00 | KHAN LOGISTICS
6.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 3.00 | each |  | 200.00 | 600.00 | 350.00 | 1050.00 | 250.00 | 750.00 | 600.00 | KHAN LOGISTICS
7.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality1.0 mm thick | 75.36 | Sqm |  | 1790.00 | 134894.40 | 1500.00 | 113040.00 | 1580.00 | 119068.80 | 113040.00 | NOORUL AMEEN CP
8.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 20.40 | Sqm |  | 1900.00 | 38760.00 | 2100.00 | 42840.00 | 1900.00 | 38760.00 | 38760.00 | KHAN LOGISTICS, Mussadik Iqbal Hazarika
9.00 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. Size of Tile 600x600 mm | 20.40 | Sqmt |  | 430.00 | 8772.00 | 400.00 | 8160.00 | 700.00 | 14280.00 | 8160.00 | NOORUL AMEEN CP
10.00 | Melamine polishing on wood work (one or more coat). | 40.56 | Sqmt |  | 1000.00 | 40560.00 | 900.00 | 36504.00 | 700.00 | 28392.00 | 28392.00 | Mussadik Iqbal Hazarika
11.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of nserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 1.98 | Cum |  | 2000.00 | 3960.00 | 700.00 | 1386.00 | 4500.00 | 8910.00 | 1386.00 | NOORUL AMEEN CP
12.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 26.00 | each |  | 1000.00 | 26000.00 | 200.00 | 5200.00 | 300.00 | 7800.00 | 5200.00 | NOORUL AMEEN CP
13.00 | Dismantling wooden boardings in lining of walls and partitions, excluding supporting members but including stacking within 50 metres lead : Thickness above 25 mm up to 40 mm | 134.90 | sqm |  | 600.00 | 80940.00 | 90.00 | 12141.00 | 150.00 | 20235.00 | 12141.00 | NOORUL AMEEN CP
14.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 173.58 | sqm |  | 600.00 | 104148.00 | 90.00 | 15622.20 | 150.00 | 26037.00 | 15622.20 | NOORUL AMEEN CP
15.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 376.86 | kg |  | 850.00 | 320331.00 | 700.00 | 263802.00 | 620.00 | 233653.20 | 233653.20 | Mussadik Iqbal Hazarika
16.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 8 mm thickness (weight not less than 20 kg/sqm) | 28.42 | sqm |  | 2360.00 | 67071.20 | 1800.00 | 51156.00 | 1650.00 | 46893.00 | 46893.00 | Mussadik Iqbal Hazarika
17.00 | Providing and fixing 3mm thick aluminium composite panel, 3000 series (of approved colour/shade) having skin material of 0.50mm aluminium on each side and core material of natural polyurethane for wall cladding/rectangular/square clading and ceiling at all levels and height including sealant etc. with watertight and air-tight system either curved or straight in plan. The alumiium composite panel to be fixed with extruded aluminium basic frame, angle,cleats,riverts,G.I. brackets all as approved using suitable hitli/fisher/anchor bolts on RCC/structural works including necessary accessories complete in all respects as per drawings,specifications and as directed by Engineer in charge.(item includes cost of ACP Panel,weather sealant,Gasket,Foam,Scaffolding,Fixtures and all machineries. The aluminium extruded sections used for basic frame shall be paid seperately). | 89.76 | Sqmt |  | 2450.00 | 219912.00 | 2900.00 | 260304.00 | 3400.00 | 305184.00 | 219912.00 | KHAN LOGISTICS
18.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended onavailablr/existing aluminium frame work made of "T" section of size 24x25 mm spaced /fixed at 600mm X600mm or lesser grid. 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | 173.58 | sqm |  | 565.00 | 98072.70 | 1900.00 | 329802.00 | 2000.00 | 347160.00 | 98072.70 | KHAN LOGISTICS
19.00 | Providing and fixing sun control film nonreflective type of approved make with 80% dark including, cleaning the glass panel from dirt and pasting to the neat finish etc complete as per directions of Engineer incharge. | 18.37 | sqm |  | 325.00 | 5970.25 | 1500.00 | 27555.00 | 1100.00 | 20207.00 | 5970.25 | KHAN LOGISTICS
20.00 | Providing and fixing frosted sticker of approved make with approved design and pattern with CNC cut including charges for design cutting, cleaning the glass panel from dirt and pasting to the neat finish etc complete as per directions of Engineer incharge. | 13.11 | sqm |  | 538.00 | 7053.18 | 1500.00 | 19665.00 | 1100.00 | 14421.00 | 7053.18 | KHAN LOGISTICS
| Total in Figures |  |  |  |  | 1728724.73 |  | 1486277.20 |  | 1679301.00
Lowest Amount Quoted BY: NOORUL AMEEN CP(1486277.20)

## BOQ Summary
BOQ Summary Details Tender Title: Extension and Modification of Arrival Hall at Agatti Airport Tender ID: 2023_AAI_142073_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NOORUL AMEEN CP | 1486277.20 | L1
| 2 | Mussadik Iqbal Hazarika | 1679301.00 | L2
| 3 | KHAN LOGISTICS | 1728724.73 | L3