## BoQ1
Government eProcurement System Created By: EMANI SHESHA RATNAM Created Date/Time: 26-Apr-2023 05:48 PM Tender Title: Modification of ALPHA-2 Building at KIA, Tender ID: 2023_AAI_142195_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work:Modification of Alpha-2 building at KIA, Devanahalli Bengaluru.
Contract No: 2023_AAI_142195_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUBRAMANYAM CONSTRUCTIONS(GSTN-29APIPA1684H2ZT) |  | APSARA CONSTRUCTIONS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: 1 CIVIL WORKS
1.10 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge | 1.00 | Cum |  | 2865.00 | 2865.00 | 2928.00 | 2928.00 | 2865.00 | SUBRAMANYAM CONSTRUCTIONS
1.20 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar | 40.00 | Cum |  | 1662.00 | 66480.00 | 1698.00 | 67920.00 | 66480.00 | SUBRAMANYAM CONSTRUCTIONS
1.30 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 m lead. | 1792.00 | Sqm |  | 45.00 | 80640.00 | 46.00 | 82432.00 | 80640.00 | SUBRAMANYAM CONSTRUCTIONS
1.40 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 165.00 | Sqm |  | 45.00 | 7425.00 | 46.00 | 7590.00 | 7425.00 | SUBRAMANYAM CONSTRUCTIONS
1.50 | Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto 10 km for all lifts, complete as per directions of Engineer-in-charge | 130.00 | Cum |  | 402.00 | 52260.00 | 411.00 | 53430.00 | 52260.00 | SUBRAMANYAM CONSTRUCTIONS
1.60 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 2.00 | Cum |  | 10010.00 | 20020.00 | 10185.00 | 20370.00 | 20020.00 | SUBRAMANYAM CONSTRUCTIONS
1.70 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 20.00 | Sqm |  | 787.00 | 15740.00 | 804.00 | 16080.00 | 15740.00 | SUBRAMANYAM CONSTRUCTIONS
1.80 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 200.00 | Kg |  | 99.00 | 19800.00 | 99.00 | 19800.00 | 19800.00 | SUBRAMANYAM CONSTRUCTIONS, APSARA CONSTRUCTIONS
1.90 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 10.00 | Cum |  | 10765.00 | 107650.00 | 11000.00 | 110000.00 | 107650.00 | SUBRAMANYAM CONSTRUCTIONS
2.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564 embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 47.00 | Each |  | 837.00 | 39339.00 | 856.00 | 40232.00 | 39339.00 | SUBRAMANYAM CONSTRUCTIONS
2.10 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 800.00 | Kg |  | 176.00 | 140800.00 | 180.00 | 144000.00 | 140800.00 | SUBRAMANYAM CONSTRUCTIONS
2.20 | Providing and fixing removable raised/false access flooring with system and its components of approved make for different plenum height with possible height adjustment upto 50 mm, omprising of modular load bearing floor panels supported on G.I. rectangular stinger frame work and G.I. Pedestal etc. all complete, as per the architectural drawings, as specified and as directed by Engineer-in-charge consisting of: (a) Providing at required spacing to form modular framework, pedestals made out of GI tube of thickness minimum 2 mm and 25 mm outer diameter, fully welded on to the G.I. Base plate of size 100mm x 100mm x 3mm at the bottom of the pedestal tube, G.I. pedestal head of size 75mmx75mmx3.5 mm welded with GI fully threaded stud 16mm outer diameter with two GI Check nuts screwed on the stud for level adjustment upto 50mm, locking and stabilizing the pedestal head in position at the required level. The pedestals shall be fixed to the subfloor (base) through base plate using epoxy based adhesive of approved make or the machine screw with rawl plug.(b) Stringers system in all steel construction hot dipped galvanized of rectangular size 570x20x30x0.80mm thick having holes at both ends for securing the stringers on to the pedestal head using fully threaded screws ensuring maximum lateral stability in all directions, the grid formed by the pedestal and stringer assembly shall receive the floor panel, this system shall provide adequate solid, rigid support for access floor panel, the system shall provide a minimum clear uninterrupted clearance between the bottom of the floor for electrical conduits and wiring etc. all complete as per the architectural drawings, as specified and as directed by the Engineer-in-charge.(c) Providing and fixing Access Floor panel of 600x600x32 mm medium grade Filled Steel anti static high pressure Lamination of 800H grade (FS800H). Access Floor panel shall be steel welded construction with an enclosed bottom pan with uniform pattern of 64 hemispherical cones.The top and bottom plates of Steel Gauges: top 0.6 mm and bottom 0.7 mm fused spot welded together (minimum 64 welds in each dome and 20 welds along each flange). The panel should be Corroresist epoxy coated for lifetime rust protection and cavity formed by the top and bottom plate is filled with Pyrogrip noncombustible Portland cementitious core mixed with lightweight foaming compound. The access floor shall be factory finished with Anti-static High Pressure laminate with Non Warp technology upto 1mm thickness for superior adhesion and Surface flatness within 0.75mm.The panel is to withstand a Concentrated Load of 363 kgs applied on area 25mm x 25mm without collapse in the centre of the panel which is placed on four steel blocks. The panel will withstand and Uniformly Distributed Load (UDL) minimum 1250 kg/sqm and an impact load of 50kg all complete as per the approved manufacturers specification and as per the direction of Engineer-in-charge. All specification must be printed on the side of the panel to ensure thequality of the product. 450 mm Finished Floor Height (FFH) . | 1150.00 | Sqm |  | 5192.00 | 5970800.00 | 5408.00 | 6219200.00 | 5970800.00 | SUBRAMANYAM CONSTRUCTIONS
2.30 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | 1792.00 | Sqm |  | 1908.00 | 3419136.00 | 1949.00 | 3492608.00 | 3419136.00 | SUBRAMANYAM CONSTRUCTIONS
2.40 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 50.00 | Sqm |  | 480.00 | 24000.00 | 500.00 | 25000.00 | 24000.00 | SUBRAMANYAM CONSTRUCTIONS
2.50 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | 50.00 | Sqm |  | 489.00 | 24450.00 | 500.00 | 25000.00 | 24450.00 | SUBRAMANYAM CONSTRUCTIONS
2.60 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 20.00 | Sqm |  | 489.00 | 9780.00 | 500.00 | 10000.00 | 9780.00 | SUBRAMANYAM CONSTRUCTIONS
2.70 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 100.00 | Sqm |  | 161.00 | 16100.00 | 165.00 | 16500.00 | 16100.00 | SUBRAMANYAM CONSTRUCTIONS
2.80 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade: One or more coats on old work | 3250.00 | Sqm |  | 127.00 | 412750.00 | 130.00 | 422500.00 | 412750.00 | SUBRAMANYAM CONSTRUCTIONS
2.90 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved makeconforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e.at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free,straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P.brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, panelingand dash fasteners to be paid for separately) : a). For fixed portion i) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 3990.00 | KG |  | 600.00 | 2394000.00 | 566.00 | 2258340.00 | 2258340.00 | APSARA CONSTRUCTIONS
3.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved makeconforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e.at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free,straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P.brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, panelingand dash fasteners to be paid for separately) : a). For shutters of doors, windows & ventilators includingproviding and fixing hinges/ pivots and making provisionfor fixing of fittings wherever required including the costof EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)fixed portion i) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 460.00 | KG |  | 664.00 | 305440.00 | 664.00 | 305440.00 | 305440.00 | SUBRAMANYAM CONSTRUCTIONS, APSARA CONSTRUCTIONS
3.10 | Providing and fixing 12 mm thick prelaminated particle board flatpressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screwsetc. complete as per architectural drawings and directions of engineerin-charge. a) Pre-laminated particle board with decorative lamination on both sides | 512.00 | Sqm |  | 1126.00 | 576512.00 | 1150.00 | 588800.00 | 576512.00 | SUBRAMANYAM CONSTRUCTIONS
3.20 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge .(Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 352.00 | Sqm |  | 1297.00 | 456544.00 | 1325.00 | 466400.00 | 456544.00 | SUBRAMANYAM CONSTRUCTIONS
3.30 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc.complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness | 47.00 | Each |  | 2447.00 | 115009.00 | 2500.00 | 117500.00 | 115009.00 | SUBRAMANYAM CONSTRUCTIONS
3.40 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 47.00 | Each |  | 881.00 | 41407.00 | 900.00 | 42300.00 | 41407.00 | SUBRAMANYAM CONSTRUCTIONS
3.50 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-in charge Powder coated minimum thickness 50 micron aluminium | 94.00 | Each |  | 195.00 | 18330.00 | 200.00 | 18800.00 | 18330.00 | SUBRAMANYAM CONSTRUCTIONS
3.60 | Steel work in built up tubular (round, square or rectangular hollow tubes etc trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | 550.00 | KG |  | 193.00 | 106150.00 | 198.00 | 108900.00 | 106150.00 | SUBRAMANYAM CONSTRUCTIONS
3.70 | Providing and fixing 12 mm thick panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Fire retardant plywood conforming to IS: 5509 | 97.00 | Sqm |  | 2397.00 | 232509.00 | 2450.00 | 237650.00 | 232509.00 | SUBRAMANYAM CONSTRUCTIONS
3.80 | Providing & Fixing decorative high pressure laminated sheet of plain /wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming | 97.00 | Sqm |  | 764.00 | 74108.00 | 764.00 | 74108.00 | 74108.00 | SUBRAMANYAM CONSTRUCTIONS, APSARA CONSTRUCTIONS
3.90 | Providing Technical Services for Construction of 8 Nos VHF antenna support structure on rooftop of ALPHA II Building complex at BIAL as per following scope of work : a) Design of 8 Nos of RCC Pedestals with 3 Nos 3inch Dia Pipe Stubs and Flange on existing Terrace Roof Slab of ALPHA – II Building at b)Providing Design drawings for 8 Nos of RCC Pedestals with 3 Nos 3inch Dia Pipe Stubs and Flange c)Providing 3 Nos Designer’s Site Supervision to carry out this work with all the Safety norms | 1.00 | Job |  | 120000.00 | 120000.00 | 130000.00 | 130000.00 | 120000.00 | SUBRAMANYAM CONSTRUCTIONS
4.00 | Providing and fixing Scratch resistant coated sun control garware polyester film 1.5 Mil on glass panes after thoroughly cleaning of existing surface. The rate is inclusive of removal of sun control film wherever required. Non-reflective type | 300.00 | Sqm |  | 750.00 | 225000.00 | 750.00 | 225000.00 | 225000.00 | SUBRAMANYAM CONSTRUCTIONS, APSARA CONSTRUCTIONS
4.10 | Providing and fixing roller blinds for windows of approved qulaity and design fixed in top horizontal aluminium rail with supporting clamps fixed in the wall all complete as per the requirement and direction of Engineer-in-charge | 342.00 | Sqm |  | 1060.00 | 362520.00 | 1060.00 | 362520.00 | 362520.00 | SUBRAMANYAM CONSTRUCTIONS, APSARA CONSTRUCTIONS
5.00 | SH: II Electrical works (Internal Wiring & External Electrical works )
5.10 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required Group C | 75.00 | Point |  | 492.00 | 36900.00 | 600.00 | 45000.00 | 36900.00 | SUBRAMANYAM CONSTRUCTIONS
5.20 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 160.00 | point |  | 970.00 | 155200.00 | 600.00 | 96000.00 | 96000.00 | APSARA CONSTRUCTIONS
5.30 | Wiring for light/power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 550.00 | Meter |  | 259.00 | 142450.00 | 150.00 | 82500.00 | 82500.00 | APSARA CONSTRUCTIONS
5.40 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. a) 2X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire. | 1600.00 | Meter |  | 200.00 | 320000.00 | 121.00 | 193600.00 | 193600.00 | APSARA CONSTRUCTIONS
5.50 | Supplying and fixing 25 mm dia MS/GI flexible pipe with PVC coating along with all accessories like coupler etc., complete as required. | 100.00 | Meter |  | 811.00 | 81100.00 | 960.00 | 96000.00 | 81100.00 | SUBRAMANYAM CONSTRUCTIONS
5.60 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 110.00 | Each |  | 461.00 | 50710.00 | 545.00 | 59950.00 | 50710.00 | SUBRAMANYAM CONSTRUCTIONS
5.70 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 70.00 | Each |  | 724.00 | 50680.00 | 857.00 | 59990.00 | 50680.00 | SUBRAMANYAM CONSTRUCTIONS
5.80 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providng and fixing 2 nos. 3 pin 5/6 A modular socket outlet and 2 nos. 5/6 A modular switch,connections etc. as required. (For light plugs to be used in non residential buildings). | 40.00 | Each |  | 782.00 | 31280.00 | 925.00 | 37000.00 | 31280.00 | SUBRAMANYAM CONSTRUCTIONS
5.90 | Supplying & fixing suitable size GI box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve including connections, painting etc. as required. | 10.00 | Each |  | 2115.00 | 21150.00 | 2500.00 | 25000.00 | 21150.00 | SUBRAMANYAM CONSTRUCTIONS
6.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required
6.10 | 4 way( 4 +12) Double door | 6.00 | Each |  | 5351.00 | 32106.00 | 1500.00 | 9000.00 | 9000.00 | APSARA CONSTRUCTIONS
6.20 | 8 way( 4 +24) Double door | 6.00 | Each |  | 7650.00 | 45900.00 | 1800.00 | 10800.00 | 10800.00 | APSARA CONSTRUCTIONS
6.30 | 12 way( 4 +36) Double door | 6.00 | Each |  | 9700.00 | 58200.00 | 2000.00 | 12000.00 | 12000.00 | APSARA CONSTRUCTIONS
6.40 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar,interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
6.50 | 6 way , Double door | 6.00 | Each |  | 1692.00 | 10152.00 | 2000.00 | 12000.00 | 10152.00 | SUBRAMANYAM CONSTRUCTIONS
6.60 | 8 way , Double door | 6.00 | Each |  | 2115.00 | 12690.00 | 2500.00 | 15000.00 | 12690.00 | SUBRAMANYAM CONSTRUCTIONS
7.70 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
7.80 | Single pole | 250.00 | Each |  | 222.00 | 55500.00 | 264.00 | 66000.00 | 55500.00 | SUBRAMANYAM CONSTRUCTIONS
7.90 | Double pole | 12.00 | Each |  | 549.00 | 6588.00 | 750.00 | 9000.00 | 6588.00 | SUBRAMANYAM CONSTRUCTIONS
8.00 | Triple pole | 42.00 | Each |  | 1207.00 | 50694.00 | 1428.00 | 59976.00 | 50694.00 | SUBRAMANYAM CONSTRUCTIONS
8.10 | Triple pole and neutral | 18.00 | Each |  | 520.00 | 9360.00 | 1500.00 | 27000.00 | 9360.00 | SUBRAMANYAM CONSTRUCTIONS
8.20 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, Floor / Ceiling Mounted Support for Running Single/Multiple Cable Trays including G.I suspenders / G.I. bolts & nuts, etc. as required.
8.30 | 300 mm width X 50 mm depth X 1.6 mm thickness | 200.00 | Meter |  | 634.00 | 126800.00 | 750.00 | 150000.00 | 126800.00 | SUBRAMANYAM CONSTRUCTIONS
8.40 | 225 mm width X 50 mm depth X 1.6 mm thickness | 115.00 | Meter |  | 576.00 | 66240.00 | 682.00 | 78430.00 | 66240.00 | SUBRAMANYAM CONSTRUCTIONS
8.50 | 150 mm width X 50 mm depth X 1.6 mm thickness | 90.00 | Meter |  | 549.00 | 49410.00 | 650.00 | 58500.00 | 49410.00 | SUBRAMANYAM CONSTRUCTIONS
8.60 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray "bends" (galvanisation not less than 50 microns) with perforation not more than 17.5%, in convenient sections,joined with connectors, Floor / Ceiling Mounted Support for Running Single/Multiple Cable Trays including G.I suspenders / G.I. bolts & nuts, etc. as required.
8.70 | 300 mm width X 50 mm depth X 1.6 mm thickness | 10.00 | Each |  | 1650.00 | 16500.00 | 480.00 | 4800.00 | 4800.00 | APSARA CONSTRUCTIONS
8.80 | 225 mm width X 50 mm depth X 1.6 mm thickness | 6.00 | Each |  | 1650.00 | 9900.00 | 400.00 | 2400.00 | 2400.00 | APSARA CONSTRUCTIONS
8.90 | 150 mm width X 50 mm depth X 1.6 mm thickness | 6.00 | Each |  | 1068.00 | 6408.00 | 400.00 | 2400.00 | 2400.00 | APSARA CONSTRUCTIONS
9.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray "Tee" (galvanisation not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, Floor / Ceiling Mounted Support for Running Single/Multiple Cable Trays including G.I suspenders / G.I. bolts & nuts, etc. as required.
9.10 | 300 mm width X 50 mm depth X 1.6 mm thickness | 10.00 | Each |  | 1897.00 | 18970.00 | 420.00 | 4200.00 | 4200.00 | APSARA CONSTRUCTIONS
9.20 | 225 mm width X 50 mm depth X 1.6 mm thickness | 6.00 | Each |  | 1897.00 | 11382.00 | 400.00 | 2400.00 | 2400.00 | APSARA CONSTRUCTIONS
9.30 | 150 mm width X 50 mm depth X 1.6 mm thickness | 6.00 | Each |  | 1074.00 | 6444.00 | 400.00 | 2400.00 | 2400.00 | APSARA CONSTRUCTIONS
9.40 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray "Cross member" (galvanisation not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, Floor / Ceiling Mounted Support for Running Single/Multiple Cable Trays including G.I suspenders / G.I. bolts & nuts, etc. as required.
9.50 | 300 mm width X 50 mm depth X 1.6 mm thickness | 10.00 | Each |  | 2094.00 | 20940.00 | 420.00 | 4200.00 | 4200.00 | APSARA CONSTRUCTIONS
9.60 | 225 mm width X 50 mm depth X 1.6 mm thickness | 6.00 | Each |  | 2094.00 | 12564.00 | 400.00 | 2400.00 | 2400.00 | APSARA CONSTRUCTIONS
9.70 | 150 mm width X 50 mm depth X 1.6 mm thickness | 6.00 | Each |  | 1024.00 | 6144.00 | 400.00 | 2400.00 | 2400.00 | APSARA CONSTRUCTIONS
9.80 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray "Reducer" (galvanisation not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, Floor / Ceiling Mounted Support for Running Single/Multiple Cable Trays including G.I suspenders / G.I. bolts & nuts, etc. as required.
9.90 | 300 mm width X 50 mm depth X 1.6 mm thickness (300/225 or 300/150) | 10.00 | Each |  | 2518.00 | 25180.00 | 400.00 | 4000.00 | 4000.00 | APSARA CONSTRUCTIONS
10.00 | 225 mm width X 50 mm depth X 1.6 mm thickness (225/150) | 5.00 | Each |  | 2200.00 | 11000.00 | 350.00 | 1750.00 | 1750.00 | APSARA CONSTRUCTIONS
10.10 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 4.00 | Set |  | 5140.00 | 20560.00 | 6000.00 | 24000.00 | 20560.00 | SUBRAMANYAM CONSTRUCTIONS
10.20 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 7.00 | Set |  | 10100.00 | 70700.00 | 12000.00 | 84000.00 | 70700.00 | SUBRAMANYAM CONSTRUCTIONS
10.30 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metre below ground as strip earth electrode, including connection/terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & sprina washer spaced at 50mm) | 30.00 | Meter |  | 2030.00 | 60900.00 | 2400.00 | 72000.00 | 60900.00 | SUBRAMANYAM CONSTRUCTIONS
10.40 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 20.00 | Meter |  | 5076.00 | 101520.00 | 6000.00 | 120000.00 | 101520.00 | SUBRAMANYAM CONSTRUCTIONS
10.50 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt,spring, washer excavation and re-filling etc. as required | 70.00 | Meter |  | 1143.00 | 80010.00 | 2571.00 | 179970.00 | 80010.00 | SUBRAMANYAM CONSTRUCTIONS
10.60 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring,washer excavation and re-filling etc. as required. | 40.00 | Meter |  | 453.00 | 18120.00 | 900.00 | 36000.00 | 18120.00 | SUBRAMANYAM CONSTRUCTIONS
10.70 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 300.00 | Meter |  | 879.00 | 263700.00 | 1040.00 | 312000.00 | 263700.00 | SUBRAMANYAM CONSTRUCTIONS
10.80 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 150.00 | Meter |  | 202.00 | 30300.00 | 240.00 | 36000.00 | 30300.00 | SUBRAMANYAM CONSTRUCTIONS
10.90 | Providing and fixing earth bus of 50 mm X 5 mm copper strip on surface for connections etc. as required. | 20.00 | Meter |  | 1269.00 | 25380.00 | 1500.00 | 30000.00 | 25380.00 | SUBRAMANYAM CONSTRUCTIONS
11.00 | Laying and fixing of one number PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of following size on wall surface/existing cable tray as required.
11.10 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 570.00 | Meter |  | 117.00 | 66690.00 | 140.00 | 79800.00 | 66690.00 | SUBRAMANYAM CONSTRUCTIONS
11.20 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 200.00 | Meter |  | 253.00 | 50600.00 | 300.00 | 60000.00 | 50600.00 | SUBRAMANYAM CONSTRUCTIONS
11.30 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 150.00 | Meter |  | 592.00 | 88800.00 | 700.00 | 105000.00 | 88800.00 | SUBRAMANYAM CONSTRUCTIONS
11.40 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
11.50 | 4c x 10 Sq.mm (25mm) | 36.00 | Set |  | 351.00 | 12636.00 | 416.00 | 14976.00 | 12636.00 | SUBRAMANYAM CONSTRUCTIONS
11.60 | 4c x 16 Sq.mm (28mm) | 18.00 | Set |  | 468.00 | 8424.00 | 555.00 | 9990.00 | 8424.00 | SUBRAMANYAM CONSTRUCTIONS
11.70 | 3.5c x 95 Sq.mm (45mm) | 4.00 | Set |  | 507.00 | 2028.00 | 600.00 | 2400.00 | 2028.00 | SUBRAMANYAM CONSTRUCTIONS
11.80 | 3.5c x 185 Sq.mm (57mm) | 4.00 | Set |  | 634.00 | 2536.00 | 750.00 | 3000.00 | 2536.00 | SUBRAMANYAM CONSTRUCTIONS
12.00 | SH : III - SITC of LT panels , LT cables, LED fixtures, Conventional Lighting Arrestor etc,.
12.10 | Design, Fabrication, Supply, Installation, Testing and Commissioning of LT Panel indoor type with enclosure protection class IP 42 of cubical construction, floor mounted type, fabricated out of 2mm thick CRCA sheet, compartmentalised with hinged lockable doors, dust and vermin proof, powder coated of approved shade after 7 tank treatment process, cable alley, interconnection of switchgears with suitable size copper conductor cable, accessories of switchgear like rotary handles, spreader terminals, phase barriers, auxillary relays/contacts etc, control wiring, protection MCBs, common G.I earth bar of size 25mm X 5 mm at the rear with 2 Nos. earth studs etc. complete in all respect and as per specification with following switchgears and components suitable for operation on 415V, 3 phase, 50Hz AC Supply etc complete as required. INCOMING (i) 250A, 36kA (Ics=100% Icu rating), Four pole Microprocessor based MCCB - 02 No. (ii) Three phase Digital Multifunction Meter with inbuilt selector switch, three nos of CTs of 250/5A, 15 VA, Class 1.0 etc. - 02 set. (iii) Set of LED type indicating lamps for R,Y,B, ON & OFF - 02 set BUSCOUPLER (i) 250A, 36kA (Ics=100% Icu rating), FP MCCB - 01 No. MECHANICAL INTERLOCK Mechanical Interlocking arrangement between incomers and buscoupler with 3 lock and 1 key - 1 set BUSBARS Set of TPN Aluminium Bus Bar of 300A rating - 01 Set OUTGOINGS (i) 100A, 25kA (Ics=100% Icu rating), FP MCCB - 2 No. (ii) 63A, 25kA (Ics=100% Icu rating), FP MCCB - 6 No. (ii) 40A, 25kA (Ics=100% Icu rating), FP MCCB - 2 No. | 1.00 | Set |  | 170000.00 | 170000.00 | 200000.00 | 200000.00 | 170000.00 | SUBRAMANYAM CONSTRUCTIONS
12.20 | Design, Fabrication, Supply, Installation, Testing and Commissioning of LT Panel indoor type with enclosure protection class IP 42 of cubical construction, floor/wall mounted type, fabricated out of 2mm thick CRCA sheet, compartmentalised with hinged lockable doors, dust and vermin proof, powder coated of approved shade after 7 tank treatment process, cable alley, interconnection of switchgears with suitable size copper conductor cable, accessories of switchgear like rotary handles, spreader terminals, phase barriers, auxillary relays/contacts etc, control wiring, protection MCBs, suitable din rail terminal blocks, common G.I earth bar of size 25mm X 5 mm at the rear with 2 Nos. earth studs etc. complete in all respect and as per specification with following switchgears and components suitable for operation on 415V, 3 phase, 50Hz AC Supply etc complete as required. INCOMING (i) 160A, 36kA (Ics=100% Icu rating), Four Pole Microprocessor based MCCB - 02 No. (ii) Three phase Digital Multifunction Meter with inbuilt selector switch, three nos of CTs of 150/5A, 15 VA, Class 1.0 etc. - 02 set. (iii) Set of LED type indicating lamps for R,Y,B, ON & OFF - 02 set BUSCOUPLER (i) 160A, 36kA (Ics=100% Icu rating), FP MCCB - 01 No. MECHANICAL INTERLOCK Mechanical Interlocking arrangement between incomers and buscoupler with 3 lock and 1 key - 1 set BUSBARS Set of TPN Aluminium Bus Bar of 200A rating - 01 Set OUTGOINGS (i) 63A, FP RCCB 100mA - 12 No. (ii) 40A, FP C curve MCB - 2 No. | 1.00 | Set |  | 170000.00 | 170000.00 | 200000.00 | 200000.00 | 170000.00 | SUBRAMANYAM CONSTRUCTIONS
12.30 | Supplying of Aluminium conductor PVC insulated and PVC sheathed/XLPE , steel strip armoured power cable of 1.1 Kv grade confirming to IS:1554 (Part-I) of following sizes.
12.40 | 4c x 10 Sq.mm | 270.00 | Meter |  | 141.00 | 38070.00 | 175.00 | 47250.00 | 38070.00 | SUBRAMANYAM CONSTRUCTIONS
12.50 | 4c x 16 Sq.mm | 300.00 | Meter |  | 169.00 | 50700.00 | 200.00 | 60000.00 | 50700.00 | SUBRAMANYAM CONSTRUCTIONS
12.60 | 3.5c x 95 Sq.mm | 200.00 | Meter |  | 592.00 | 118400.00 | 700.00 | 140000.00 | 118400.00 | SUBRAMANYAM CONSTRUCTIONS
12.70 | 3.5c x 185 Sq.mm | 150.00 | Meter |  | 1184.00 | 177600.00 | 1400.00 | 210000.00 | 177600.00 | SUBRAMANYAM CONSTRUCTIONS
12.80 | Supply of 4ft X 1ft Recess mounted LED luminaries having minimum 3600 lumen output complete with electronic driver, made out of powder coated CRCA/Aluminium housing with opal/acrylic diffuser suitable to operate on 230V, 50Hz single phase AC supply etc, complete as per specifications. | 50.00 | Each |  | 6973.00 | 348650.00 | 8200.00 | 410000.00 | 348650.00 | SUBRAMANYAM CONSTRUCTIONS
12.90 | Supply of 2ft X 2ft Recess mounted LED luminaries having minimum 3600 lumen output complete with electronic driver, made out of powder coated CRCA/Aluminium housing with opal/acrylic diffuser suitable to operate on 230V, 50Hz single phase AC supply etc, complete as per specifications. | 180.00 | Each |  | 2579.00 | 464220.00 | 3050.00 | 549000.00 | 464220.00 | SUBRAMANYAM CONSTRUCTIONS
13.00 | Supply of Recess mounted LED downlight luminaire (Round Profile) having minimum 1200 lumen output; suitable for 230 volts, 50 Hz, AC supply, including suitable driver/control gear min. 100 Lumen/watt energy efficient led complete along with all accessories etc complete as required. | 30.00 | Each |  | 67.00 | 2010.00 | 80.00 | 2400.00 | 2010.00 | SUBRAMANYAM CONSTRUCTIONS
13.10 | Supply of Surface/Wall mounted mirror LED type luminaire having minimum 1800 lumen output;suitable for 230 volts, 50 Hz, AC supply, including suitable driver/control gear min. 100 Lumen/watt energy efficient led complete along with all accessories etc as required. | 25.00 | Each |  | 423.00 | 10575.00 | 500.00 | 12500.00 | 10575.00 | SUBRAMANYAM CONSTRUCTIONS
13.20 | Installation, testing and commissioning of recessed type LED fittings of all types complete with all accessories like GI chain etc. including modification/cutting/finishing of existing cutouts of gypsum false ceiling to install the new fittings, connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. complete as required as per actual site requirements. | 260.00 | Each |  | 211.00 | 54860.00 | 250.00 | 65000.00 | 54860.00 | SUBRAMANYAM CONSTRUCTIONS
13.30 | Installation, testing and commissioning of surface/ wall mounted indoor type LED fittings of all types complete with all accessories including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. complete as required as per actual site requirements. | 25.00 | Each |  | 202.00 | 5050.00 | 240.00 | 6000.00 | 5050.00 | SUBRAMANYAM CONSTRUCTIONS
13.40 | Supply & Fixing of 20 mm x 12 mm size Casing and Capping of ISI marked with all accessories etc., complete as required. | 150.00 | Meter |  | 50.00 | 7500.00 | 60.00 | 9000.00 | 7500.00 | SUBRAMANYAM CONSTRUCTIONS
13.50 | Supply & Installation of Vertical Air Terminal 1.5m with mounting accessories, providing of air terminals as per IS/IEC-62305 part-3, solid copper air terminal rod material of 16mm dia rod tappered to 10mm dia (Franklin Rod) and the copper purity - not less than 90% etc, including all accessories complete as required. | 2.00 | Each |  | 5076.00 | 10152.00 | 6000.00 | 12000.00 | 10152.00 | SUBRAMANYAM CONSTRUCTIONS
13.60 | Supply of following 1x70 sqmm size multi stranded copper conductor XLPE/PVC insulated and PVC sheathed umarmoured power cable of 1.1 KV grade conforming to relevant IS with upto date ammendments. | 50.00 | Meter |  | 2030.00 | 101500.00 | 2400.00 | 120000.00 | 101500.00 | SUBRAMANYAM CONSTRUCTIONS
13.70 | Supply & installation of support mast of 50 mm dia of length 4mtr GI + 1 mtr FRP with GI base plate of 300 x 300 x 3 mm baseinstalled on the existing terrace roof with 4 nos of SS bolts of suitable dimensions complete as required. | 2.00 | Each |  | 6345.00 | 12690.00 | 7500.00 | 15000.00 | 12690.00 | SUBRAMANYAM CONSTRUCTIONS
13.80 | Supply & laying of 32 mm dia B class (Medium) GI pipe including joints and bends complete etc as required at 0.50 metre below ground for laying of 70sqmm copper cable. | 25.00 | Meter |  | 846.00 | 21150.00 | 1000.00 | 25000.00 | 21150.00 | SUBRAMANYAM CONSTRUCTIONS
13.90 | Dismantling and shifting the following damaged or broken electrical items installed above/below false ceiling & below the flooring as per the existing site conditions and handing over the same to EIC complete etc as required as per site conditions. [Area of Ground floor = 24m x 24m (LxB) = 576sq mtrs, Area of 1st floor = 40m x 24m (LxB) = 960sq mtrs and Area of 2nd floor = 40m x 24m (LxB) = 960sq mtrs. Total area of the building = 2496sqmtrs approx] a) Various sizes of wires & cables b) Fitting/fixtures (Conventional type) c) Conduits (PVC/MS/GI) d) MS Boxes/MCB/MCB DB etc e) Metallic & non metallic items like cable tray, casing & caping etc,. f) Any other assorted Electrical items switches, sockets, plates etc., available at site. | 1.00 | JOB |  | 101000.00 | 101000.00 | 120000.00 | 120000.00 | 101000.00 | SUBRAMANYAM CONSTRUCTIONS
14.00 | SH : IV - SITC of Precision Air-Conditioning System
14.10 | Design, Supply, Installation, Testing and Commissioning of Precision Air-conditioning Unit (double skin, bottom flow and top return) with 9TR sensible cooling capacity complete with first charge of refrigerant, hermatically sealed fixed/digital scroll single/multiple compressors, fan section with dynamically balanced electronically commutated fan with motor and with compensate blade, multi rows deep cooling coil of copper tubes & aluminium fins, remote aircooled (DX type) condenser with copper tubes & aluminium fins, electronically commutated/Axial fan with speed controller, electronic / thermostatic expansion valve, 95% down to 5 micron HDPE filters, insulated drain pan, microprocessor based programmable logic controller, steam electrode humidifier, heaters, complete in a unit enclosed in a factory fabricated & painted to smooth finish enclosure, supported on a fabricated steel structure/stand complete with necessary control wiring and minor civil works etc complete as per enclosed specifications and site requirements. The precision unit shall be complete with auto sequencing arrangement as required. The compressor shall be suitable for operation on 415 +/- 10%, 50 Hz, 3 phase A.C. power supply. The scope also includes complete designing, preparation and submission of shop drawings for the complete PAC system for approval of AAI before execution of work. (i) Fan out let velocity shall not exceed 600 FPM, (ii) CFM / TON = 550 - 600 CFM, (iii) Inside Temperature : 18 degree C ± 1 degree C, RH 50 ± 5% | 8.00 | Each |  | 880000.00 | 7040000.00 | 924000.00 | 7392000.00 | 7040000.00 | SUBRAMANYAM CONSTRUCTIONS
14.20 | SITC of Drain Pump Kit consisting of 0.25HP Pumps (1W+1SB) capable for pumping water with vertical head of 10 meter, necessary piping and valve support arrangement, Water Level Sensor for Automatic operation of the pump, Drain tank of SS304, 1.0 mmthick, 600*400*325/350mm height size (approx) and shall be insulated with 19mm insulation laminated with glass fabric including controller encloser and Control Wiring, the pumps shall be fixed over GI box bottom with insulation etc complete as required as per site requirements. | 3.00 | Set |  | 54413.00 | 163239.00 | 64680.00 | 194040.00 | 163239.00 | SUBRAMANYAM CONSTRUCTIONS
14.30 | Providing and Fixing of 18 SWG hard drawn copper refrigerant piping of suitable dia for above precision AC units including necessary supports, fittings, pressure testing, 13mm Nitrile rubber insulation over hot gas/discharge copper piping inside the PAC Room, extended piping kit/circuit (wherever required) etc. (Each running meter includes one meter of copper pipe for both suction & discharge. All non insulated areas of suction and discharge pipes shall be painted with two different colours for identification) | 200.00 | Meter |  | 2791.00 | 558200.00 | 3300.00 | 660000.00 | 558200.00 | SUBRAMANYAM CONSTRUCTIONS
14.40 | Providing & fixing of 13mm thickness of nitrile rubber insulation for hot gas copper piping including sealing of all joints etc complete as required | 60.00 | Meter |  | 152.00 | 9120.00 | 180.00 | 10800.00 | 9120.00 | SUBRAMANYAM CONSTRUCTIONS
14.50 | Providing and Fixing of FLOOR insulation of 19 mm thick with density between 40-60 kg / m³ Closed cell elastomeric nitrile rubber insulation laminated with glass fabric (thickness of cover 6-7 mils minimum or 200 gm/sqm+-10%), TUFF COATING Class 'O FM GLOBAL (Note : Area quantity to be underfloor plus vertical wall till false flooing height all round the underfloor) | 380.00 | Sq. Meter |  | 608.00 | 231040.00 | 720.00 | 273600.00 | 231040.00 | SUBRAMANYAM CONSTRUCTIONS
14.60 | Providing and Fixing of CPVC piping for drain water with 9 mm thick nitrile foam insulation & all fittings, valves, supports and clamps including drilling, wall chipping etc and U trap has to be provided near the units, conceal the wall opening and closing of suitable dia for above precision AC units | 100.00 | Meter |  | 405.00 | 40500.00 | 480.00 | 48000.00 | 40500.00 | SUBRAMANYAM CONSTRUCTIONS
14.70 | Providing and Fixing of humidifier/fresh water piping of CPVC with all fittings, valves, supports and clamps including drilling, wall chipping etc, conceal the wall opening and closing of suitable dia for above precision AC units | 100.00 | Meter |  | 761.00 | 76100.00 | 900.00 | 90000.00 | 76100.00 | SUBRAMANYAM CONSTRUCTIONS
14.80 | Supply and fixing of suitable size/core, PVC insulated armoured copper cable between indoor units and outdoor units (for communication/Power) with necessary supports, end terminations with required Earthing copper cable connection suitable for precision AC units. | 160.00 | Meter |  | 1039.00 | 166240.00 | 1230.00 | 196800.00 | 166240.00 | SUBRAMANYAM CONSTRUCTIONS
14.90 | Providing and Fixing of Aluminium powder coated rigid supply air grilles of 600mmX600mm in false floor mounting with 80% Opening, double directional grill with Volume Control Damper etc complete as per actual site requirements. | 28.00 | Each |  | 11929.00 | 334012.00 | 14100.00 | 394800.00 | 334012.00 | SUBRAMANYAM CONSTRUCTIONS
15.00 | Providing and Fixing of Aluminium powder coated return air grill of 600mmX600mm etc complete as per actual site requirements. | 35.00 | Each |  | 10152.00 | 355320.00 | 12000.00 | 420000.00 | 355320.00 | SUBRAMANYAM CONSTRUCTIONS
15.10 | Providing and fixing of 20G Factory fabricated, powder coated plenum with Double skin construction of 25mm thick PUF insulation suitable for precision AC units complete as per actual site requirements. (Note : Appropriate cutout to be made to connect the branch ducts with dampers of 0.63 thick inner & outer skin) | 60.00 | Sq. Meter |  | 7614.00 | 456840.00 | 9000.00 | 540000.00 | 456840.00 | SUBRAMANYAM CONSTRUCTIONS
15.20 | SITC of powder coated Motorized volume control damper with opposed blades, GI frame shall be made of 18G and Aluminium AEROFOIL blades shall be made of 16G with Damper actuator for Control (inside GI frame 6mm thermal insulation need to be done to avoid condensation /sweating) of air flow into Non Working Unit and 20G plenum as per unit size, Control wiring of Actuator from Unit etc complete as per actual site requirement. | 8.00 | Each |  | 21996.00 | 175968.00 | 26000.00 | 208000.00 | 175968.00 | SUBRAMANYAM CONSTRUCTIONS
16.00 | SH :V - SITC of VRV/VRF Air-Conditioning System
16.10 | Design, Supply Installation, Testing & Commissioning of modular type Variable Refrigerant Flow/Variable Refrigerant Volume air cooled Outdoor units suitable for cooling and heating, having all hermetically sealed inverter type Scroll Compressor(s), minimum two compressors for above 14 HP modules, microprocessor based Controller, top discharge type condensing unit(s), with R 410 A Refrigerant, vibration isolators, with suitable foundation etc. complete as required. The unit shall deliver the rated capacity at AHRI Conditions and work even at 50°C ambient temperature without tripping. The unit shall be suitable to work on 400V +/- 10%, 3 Phase, 50Hz AC power supply. The unit shall be filled with first charge of the refrigerant and ready for use as required. The scope also includes complete designing, preparation and submission of shop drawings for the complete VRF/VRV system for approval of AAI before execution of work. (i) The COP at AHRI conditions shall not be less than 3.1 and IEER not less than 6.5. | 44.00 | Per HP |  | 34000.00 | 1496000.00 | 27000.00 | 1188000.00 | 1188000.00 | APSARA CONSTRUCTIONS
16.20 | Supply, installation, testing and commissioning of following minimum capacity 4-way flow VRV/VRF Cassette Type Indoor ceiling mounted unit equipped with synthetic washable media pre-filter, fan section with low noise fan/dynamically balanced blower, multispeed motor, coil section with DX Copper coil, electronic expansion valve, outer cabinet, drain pump, grill, necessary supports, vibration isolation, cord less remote control etc., suitable for operation on single phase 230 V ± 10%, 50Hz AC supply, complete, as required. The unit shall have automatic force shut down provision in case of fire on receiving signal from BMS System.
16.30 | 2.0 TR | 3.00 | Each |  | 68400.00 | 205200.00 | 43926.00 | 131778.00 | 131778.00 | APSARA CONSTRUCTIONS
16.40 | 3.2 TR | 3.00 | Each |  | 75600.00 | 226800.00 | 46656.00 | 139968.00 | 139968.00 | APSARA CONSTRUCTIONS
16.50 | 4.0 TR | 4.00 | Each |  | 75000.00 | 300000.00 | 47010.00 | 188040.00 | 188040.00 | APSARA CONSTRUCTIONS
16.60 | Supply, installation, testing and commissioning of following minimum capacity VRV/VRF High wall type Indoor unit equipped with washable synthetic media pre-filter, fan section with low noise fan/dynamically balanced blower, multispeed motor, coil section with DX copper coil, electronic expansion valve, outer cabinet, cord less remote control, drain pan, necessary accessories etc., suitable for operation on 230 V ± 10%, 50 Hz, single phase AC supply, complete as required. The unit shall have automatic force shut down provision in case of fire on receiving signal from BMS System.
16.70 | 2.0 TR | 2.00 | Each |  | 42000.00 | 84000.00 | 30750.00 | 61500.00 | 61500.00 | APSARA CONSTRUCTIONS
16.80 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required :
16.90 | 6.4 mm dia (OD) (Soft drawn) with tube thickness 1.2 mm with 19 mm thick insulation | 20.00 | Meter |  | 387.00 | 7740.00 | 444.00 | 8880.00 | 7740.00 | SUBRAMANYAM CONSTRUCTIONS
17.00 | 9.5 mm dia (OD) (Soft drawn) with tube thickness 1.2 mm with 19 mm thick insulation | 60.00 | Meter |  | 490.00 | 29400.00 | 564.00 | 33840.00 | 29400.00 | SUBRAMANYAM CONSTRUCTIONS
17.10 | 12.7 mm dia (OD) (Soft drawn) with tube thickness 1.2 mm with 19 mm thick insulation | 75.00 | Meter |  | 595.00 | 44625.00 | 684.00 | 51300.00 | 44625.00 | SUBRAMANYAM CONSTRUCTIONS
17.20 | 15.86 mm dia (OD) (Soft drawn) with tube thickness 1.2 mm with 19 mm thick insulation | 75.00 | Meter |  | 832.00 | 62400.00 | 954.00 | 71550.00 | 62400.00 | SUBRAMANYAM CONSTRUCTIONS
17.30 | 19 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation | 60.00 | Meter |  | 959.00 | 57540.00 | 1100.00 | 66000.00 | 57540.00 | SUBRAMANYAM CONSTRUCTIONS
17.40 | 22.2 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation | 50.00 | Meter |  | 1286.00 | 64300.00 | 1476.00 | 73800.00 | 64300.00 | SUBRAMANYAM CONSTRUCTIONS
17.50 | 25.4 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation | 20.00 | Meter |  | 1412.00 | 28240.00 | 1620.00 | 32400.00 | 28240.00 | SUBRAMANYAM CONSTRUCTIONS
17.60 | 28.58 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation | 15.00 | Meter |  | 1553.00 | 23295.00 | 1782.00 | 26730.00 | 23295.00 | SUBRAMANYAM CONSTRUCTIONS
17.70 | 31.8 mm dia (OD) (Hard drawn) with tube thickness 1.62 mm with 19 mm thick insulation | 10.00 | Meter |  | 1684.00 | 16840.00 | 1932.00 | 19320.00 | 16840.00 | SUBRAMANYAM CONSTRUCTIONS
17.80 | 34.9 mm dia (OD) (Hard drawn) with tube thickness 1.62 mm with 19 mm thick insulation | 10.00 | Meter |  | 1883.00 | 18830.00 | 2160.00 | 21600.00 | 18830.00 | SUBRAMANYAM CONSTRUCTIONS
17.90 | 38.1 mm dia (OD) (Hard drawn) with tube thickness 1.62 mm with 19 mm thick insulation | 10.00 | Meter |  | 2093.00 | 20930.00 | 2400.00 | 24000.00 | 20930.00 | SUBRAMANYAM CONSTRUCTIONS
18.00 | 41.27 mm dia (OD) (Hard drawn) with tube thickness 1.62 mm with 19 mm thick insulation | 10.00 | Meter |  | 2180.00 | 21800.00 | 2500.00 | 25000.00 | 21800.00 | SUBRAMANYAM CONSTRUCTIONS
18.10 | Supply & fixing of suitable size Refnets with insulation for VRV units complete as per actual site requirements. . | 12.00 | Each |  | 1800.00 | 21600.00 | 6000.00 | 72000.00 | 21600.00 | SUBRAMANYAM CONSTRUCTIONS
18.20 | Providing & fixing control cum transmission wiring of 2 core x 1.5 sqmm copper in suitable 25 mm dia MS conduits on surface or in recess between indoor units and outdoor units , indoor units and remote controllers. | 165.00 | Meter |  | 208.00 | 34320.00 | 240.00 | 39600.00 | 34320.00 | SUBRAMANYAM CONSTRUCTIONS
18.30 | Supply, installation, testing and commissioning of condensate drain water piping of suitable dia of CPVC complete with fittings like elbows, tees, reducers, bends, U-traps, braided flexible pipe connections with GI clamps, flanges, supports, solvent etc. as required conforming to specifications and as per actual site requirements | 120.00 | Meter |  | 550.00 | 66000.00 | 480.00 | 57600.00 | 57600.00 | APSARA CONSTRUCTIONS
18.40 | SH : VI - Replacement works related to existing Air Distribution system of Central Air-Conditioning System
18.50 | Supplying, fixing, testing & commissioning of Supply Air diffusers of powder coated aluminium with aluminium volume control dampers with anti smudge ring & removable core. | 20.00 | Sq. Meter |  | 19886.00 | 397720.00 | 22800.00 | 456000.00 | 397720.00 | SUBRAMANYAM CONSTRUCTIONS
18.60 | Supplying, fixing, testing & commissioning of Return Air diffusers of powder coated aluminium without aluminium volume control dampers with anti smudge ring & removable core. | 20.00 | Sq. Meter |  | 11408.00 | 228160.00 | 13080.00 | 261600.00 | 228160.00 | SUBRAMANYAM CONSTRUCTIONS
18.70 | Supply, installation, testing & commissioning of thermal insulated flexible duct of following sizes duly supported at regular interval as per site requirement etc. complete as required as per specifications.
18.80 | 200mm dia | 30.00 | Meter |  | 1500.00 | 45000.00 | 480.00 | 14400.00 | 14400.00 | APSARA CONSTRUCTIONS
18.90 | Supply, installation, testing and commissioning of GI volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc, as per specifications. | 10.00 | Sq. Meter |  | 14443.00 | 144430.00 | 16560.00 | 165600.00 | 144430.00 | SUBRAMANYAM CONSTRUCTIONS
19.00 | SH : VII - Provision of Fire Gas Suppression System Design, Manufacturing, Supply, Installation, Testing and Commissioning of of Gas Suppression System consisting of Cylinder PESO Approved, complete with UL / VDS / PESO Approved valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure, pressure guage with a safety burst disc, electronic control head / Solenoid, pressure operated control head, Manually operated actuator, Pneumatic actuator valve, flexible hose, strap, NRV, Pressure Switch and a safety cap, required nos of Nozzles (UL / VDS listed) and directional valves, Addressable Fire Alarm Gas release panel, addressable smoke detectors, Manual gas release and abort station with manual call points, Piping, Manifold, copper cabling etc. complete as required as per specifications. Note : (1) Gas (Quantity would be as per the volume given below and as per the UL / VDS certification.) CLEAN AGENT (FK-5-1-12) / NOVAC 1230 / Inert Gas with Zero Ozone Depletion Potential (ODP), has appearance / Colourless gas and odour less. (2) Complete designing of the system along with shop drawings and technical details of the components to be submitted for approval of EIC prior to execution of work. (3) The Cylinder, Volume of Gas, Nos. of Nozzles, discharge valves, piping design and pressure calculations using manufacturer design software duly approved by manufacturer (OEM) shall be submitted prior to commencement of the works. The cylinder capacity and volume of gas shall be computed for the room having largest volume in each floor. (Note : * Room with Largest volume at each floor).
19.10 | Ground Floor (a) Automation Fallback Server Room* (Volume=16.0mtr(L)X6.0 mtr(B)X4.10 Mtr(H) = 393.60 Cu.Mtr) (b) UPS Room (Volume = 6.0mtr (L) X 4.0 mtr (B) X 3.65 Mtrs (H) = 87.60 Cu.Mtr) (c) Battery Room (Volume = 6.0mtr (L) X 4.0 mtr (B) X 3.65 Mtrs (H) = 87.60 Cu.Mtr) | 1.00 | Set |  | 2123000.00 | 2123000.00 | 2670000.00 | 2670000.00 | 2123000.00 | SUBRAMANYAM CONSTRUCTIONS
19.20 | Second Floor (a) Automation Server Room* (Volume =12.0mtr(L) X 8.0 mtr(B) X 4.10 Mtr(H) = 393.60 Cu.Mtr) (b) ASMGCS Server Room (Volume= 6.0mtr(L) X 4.0 mtr(B) X 4.10 Mtr(H) = 98.40 Cu.Mtr) (c) VHF/VCCS/VCR/DATIS Room(Volume =16.0mtr(L)X6.0 mtr(B)X4.10 Mtr(H) = 393.60 Cu.Mtr) (d) UPS Room (Volume = 6.0mtr (L) X 4.0 mtr (B) X 3.65 Mtrs (H) = 87.60 Cu.Mtr) (e) Battery Room (Volume = 6.0mtr (L) X 4.0 mtr (B) X 3.65 Mtrs (H) = 87.60 Cu.Mtr) | 1.00 | Set |  | 2645000.00 | 2645000.00 | 3170000.00 | 3170000.00 | 2645000.00 | SUBRAMANYAM CONSTRUCTIONS
19.30 | SH : VIII - Provision of Portable Fire extinguishers Supply and fixing of CO2 type Portable Fire Extinguishers (fully charged) of following capacity confirming to IS 15683-2006 including providing wall mounting bracket etc., complete as required.
19.40 | 2.0 Kg , CO2 based | 15.00 | Each |  | 2830.00 | 42450.00 | 3180.00 | 47700.00 | 42450.00 | SUBRAMANYAM CONSTRUCTIONS
19.50 | 4.5 Kg , CO2 based | 10.00 | Each |  | 11800.00 | 118000.00 | 4620.00 | 46200.00 | 46200.00 | APSARA CONSTRUCTIONS
| Total in Figures |  |  |  |  | 37963336.00 |  | 39912176.00
Lowest Amount Quoted BY: SUBRAMANYAM CONSTRUCTIONS(37963336.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of ALPHA-2 Building at KIA, Tender ID: 2023_AAI_142195_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SUBRAMANYAM CONSTRUCTIONS | 37963336.00 | L1
| 2 | APSARA CONSTRUCTIONS | 39912176.00 | L2