## BoQ1
Government eProcurement System Created By: Nagendran M Created Date/Time: 22-Mar-2023 04:53 PM Tender Title: Electrical works of new AOCC Room and Tensil Fabric Canopy walkway towards car parks at Calicut International Airport Tender ID: 2023_AAI_142236_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work: Electrical works for new AOCC Room & Tensile fabric canopy walkway towards car parks ((International Arrival & Domestic Arrival) at Calicut International Airport
Contract No: <2023_AAI_142236_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Hassan AT(GSTN-32ALPPH0370J1Z7) |  | LINSTA SERVICES(GSTN-32BMKPS6907H1ZS) |  | surbhi association(GSTN-23AGKPD2522N1ZK)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of prewired Integral LED 80 watt(system wattage) FloodLight Luminaire of efficacy minimum 100 lm/w,, CRI ≥ 70,THD ≤10, surge protection ≥ 4 kV, P.F ≥ 0.95 suitable for operation on 230 V+ 10%, 50 Hz, Single phase AC supply complete with comprising of pressure die cast aluminium housing, enclosed with glass cover in frame with IP 65 protection suitable for fixing other accessories etc., complete as required and suitable for pole mounting. | 115.00 | Each |  | 2999.00 | 344885.00 | 6000.00 | 690000.00 | 4300.00 | 494500.00 | 344885.00 | Hassan AT
2.00 | Installation, testing and commissioning of LED Light fixture with suitable support clamps as per OEM standards on existing surface / pipe / steel structures with all accessories including electrical connections to fitting etc as required. | 180.00 | Job |  | 199.00 | 35820.00 | 1100.00 | 198000.00 | 300.00 | 54000.00 | 35820.00 | Hassan AT
3.00 | Supply of recess LED lights of 30-36W and having luminous efficacy of minimum 100-120 lm/W,die cast powder coated housing , driver,prewired complete with all necessary accessories suitable for operation of 230 V, 50Hz AC supply as required etc. complete as required.(WIPRO CRCO10R038HP57G1L5 or equivalent ) | 16.00 | Each |  | 3499.00 | 55984.00 | 4500.00 | 72000.00 | 2000.00 | 32000.00 | 32000.00 | surbhi association
4.00 | Installation, testing and commissioning of 2x2 LED Light fixture with suitable MS support frame of size 600 x 600 mm duly powder coated per fitting in gypsum false ceiling with necessary holes for connecting hooks/chain including supply of suitable length of chain & hook with all accessories including connections with 1.5 Sqmm cable,metal flexible conduit, cable connectors complete etc as required. | 16.00 | Job |  | 199.00 | 3184.00 | 1000.00 | 16000.00 | 100.00 | 1600.00 | 1600.00 | surbhi association
5.00 | Supply of XLPE insulated PVC inner sheathed, armoured aluminium conductor underground power cable of 1.1 KV grade of following size conforming to IS:7098(Part-I) 1988, with upto date amendments etc., complete as required. 4C x 16 Sq.mm | 100.00 | Meter |  | 320.00 | 32000.00 | 350.00 | 35000.00 | 200.00 | 20000.00 | 20000.00 | surbhi association
6.00 | Supply and fixing suitable size GI box with modular plate & cover in front on surface or in recess, including providing & fixing 6 pin 16A & 6 A modular socket outlet and 16 A modular switch, connection etc as required. | 6.00 | Job |  | 499.00 | 2994.00 | 750.00 | 4500.00 | 600.00 | 3600.00 | 2994.00 | Hassan AT
7.00 | Supplying and fixing following size/ modules, PVC box alongwith modular base & cover plate for modular switches in recess / surface etc as required. 1/2 Module | 20.00 | Each |  | 199.00 | 3980.00 | 400.00 | 8000.00 | 150.00 | 3000.00 | 3000.00 | surbhi association
8.00 | Supplying and fixing following size/ modules, PVC box alongwith modular base & cover plate for modular switches in recess / surface etc as required. 4 Module | 10.00 | Each |  | 199.00 | 1990.00 | 550.00 | 5500.00 | 170.00 | 1700.00 | 1700.00 | surbhi association
9.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 4 Module (125mmX75mm) | 6.00 | Job |  | 199.00 | 1194.00 | 450.00 | 2700.00 | 200.00 | 1200.00 | 1194.00 | Hassan AT
10.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 6 Module (200mmX75mm) | 14.00 | Job |  | 199.00 | 2786.00 | 500.00 | 7000.00 | 250.00 | 3500.00 | 2786.00 | Hassan AT
11.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 amps switch | 46.00 | Job |  | 159.00 | 7314.00 | 130.00 | 5980.00 | 50.00 | 2300.00 | 2300.00 | surbhi association
12.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 amp socket outlet | 36.00 | Job |  | 159.00 | 5724.00 | 150.00 | 5400.00 | 100.00 | 3600.00 | 3600.00 | surbhi association
13.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 900.00 | Meter |  | 399.00 | 359100.00 | 160.00 | 144000.00 | 165.00 | 148500.00 | 144000.00 | LINSTA SERVICES
14.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 200.00 | Meter |  | 499.00 | 99800.00 | 200.00 | 40000.00 | 240.00 | 48000.00 | 40000.00 | LINSTA SERVICES
15.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 1055.00 | Meter |  | 499.00 | 526445.00 | 250.00 | 263750.00 | 320.00 | 337600.00 | 263750.00 | LINSTA SERVICES
16.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 5.00 | Nos |  | 999.00 | 4995.00 | 1500.00 | 7500.00 | 1000.00 | 5000.00 | 4995.00 | Hassan AT
17.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium clas PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 16.00 | Nos |  | 999.00 | 15984.00 | 1300.00 | 20800.00 | 800.00 | 12800.00 | 12800.00 | surbhi association
18.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including loose wire box, earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (8 + 24), Double door | 1.00 | No |  | 9999.00 | 9999.00 | 12500.00 | 12500.00 | 6000.00 | 6000.00 | 6000.00 | surbhi association
19.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including loose wire box, earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (8 + 12), Double door | 1.00 | No |  | 9999.00 | 9999.00 | 5000.00 | 5000.00 | 4500.00 | 4500.00 | 4500.00 | surbhi association
20.00 | Supplying and fixing 5A to 32 A rating, 240/415V, 10kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc as required. Single Pole | 24.00 | Job |  | 199.00 | 4776.00 | 250.00 | 6000.00 | 150.00 | 3600.00 | 3600.00 | surbhi association
21.00 | Supplying and fixing 20-32 A rating, 240/415V, 10kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc as required. Four Pole | 3.00 | Job |  | 786.00 | 2358.00 | 1500.00 | 4500.00 | 1650.00 | 4950.00 | 2358.00 | Hassan AT
22.00 | Supplying and fixing 63 A rating, 240/415V, 10kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc as required. Four Pole | 2.00 | Job |  | 999.00 | 1998.00 | 2200.00 | 4400.00 | 2000.00 | 4000.00 | 1998.00 | Hassan AT
23.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required 63 A | 2.00 | Job |  | 2999.00 | 5998.00 | 3750.00 | 7500.00 | 4000.00 | 8000.00 | 5998.00 | Hassan AT
24.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 90.00 | Meter |  | 99.00 | 8910.00 | 50.00 | 4500.00 | 85.00 | 7650.00 | 4500.00 | LINSTA SERVICES
25.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1KV grade of following size in the existing masonry open duct as required. Upto 35 sq. mm | 10.00 | Meter |  | 99.00 | 990.00 | 50.00 | 500.00 | 50.00 | 500.00 | 500.00 | LINSTA SERVICES, surbhi association
26.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm (28mm) | 2.00 | Nos |  | 499.00 | 998.00 | 400.00 | 800.00 | 300.00 | 600.00 | 600.00 | surbhi association
27.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 200.00 | Meter |  | 199.00 | 39800.00 | 50.00 | 10000.00 | 35.00 | 7000.00 | 7000.00 | surbhi association
28.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray cable tray with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc as required. 300 mm width X 50 mm depth X 1.6 mm thickness | 80.00 | Meter |  | 999.00 | 79920.00 | 1000.00 | 80000.00 | 1500.00 | 120000.00 | 79920.00 | Hassan AT
| Total in Figures |  |  |  |  | 1669925.00 |  | 1661830.00 |  | 1339700.00
Lowest Amount Quoted BY: surbhi association(1339700.00)

## BOQ Summary
BOQ Summary Details Tender Title: Electrical works of new AOCC Room and Tensil Fabric Canopy walkway towards car parks at Calicut International Airport Tender ID: 2023_AAI_142236_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | surbhi association | 1339700.00 | L1
| 2 | LINSTA SERVICES | 1661830.00 | L2
| 3 | Hassan AT | 1669925.00 | L3