## BoQ1
Government eProcurement System Created By: Manoj Kumar Sahoo Created Date/Time: 17-Feb-2023 12:34 PM Tender Title: Design, Supply, Installation, Testing and Commissioning of Roof Top Grid Connected 40kWp Solar Photo Voltaic (PV) Power Plant at Visakhapatnam Airport Tender ID: 2023_AAI_142320_1
Tender Inviting Authority:SENIOR MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, VISAKHAPATNAM AIRPORT, VISAKHAPATNAM.
Name of Work: Design, Supply, Installation, Testing and Commissioning of Roof Top Grid Connected 40kWp Solar Photo Voltaic (PV) Power Plant at Visakhapatnam Airport.
Contract No: 2023_AAI_142320_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s. Green Secure Energy Private Limited(GSTN-36AAECG1079Q1Z3) |  | SOLAR SYSTEMS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH : I - DSITC of 40 kWp roof top solar power plant Design, detailed engineering, manufacturing, supply, installation testing and commissioning of Grid connected Rooftop Solar power plant on the existing RCC roof with 40kWp inverter rating with overloading capacity and panels of min. 110% higher than the inverter rating, reverse power protection, Synchronizer suitable for existing supply , landing facility, AC & DC cables, MC4 connectors, communication data cables, array structure and arrangements for mounting shall be made of Aluminium 6063- T6 grade virgin material on the RCC roof, weather monitoring system, cabling on cable tray / conduit, advance lightening system, with 3 nos. for Lightening protection, 2 nos AC earthing, 4 nos. DC earthing and, remote monitoring facility with suitable supporting equipment, LT cabling and necessary modifications to the existing LT power supply system with HT panel at situated approx. 100 mtr away etc. as per specifications i/c transportation, insurance, transit insurance, required mounting arrangements, walkways of FRP and their anti-leak mounting arrangements, making necessary Panel arrangement on the RCC roof etc, storage of materials, submit glare analysis from authorized agency by FAA , statutory clearances from APEPDCL & approvals etc and any other items or accessories required for successful commissioning of power plant as per technical specifications etc. complete as required. | 1.00 | Job |  | 2358306.00 | 2358306.00 | 2235776.00 | 2235776.00 | 2235776.00 | SOLAR SYSTEMS
2.00 | SH :II - AICMC of 40 kWp Solar Power Plant after DLP All inclusive Comprehensive Maintenance of 40kWp Roof top Solar plant after DLP as provided under the main contract including trouble shooting and breakdown maintenance etc. as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer-in-Charge and as per terms and conditions specified (the response time in case of breakdown shall not be more than 8 hours). (Note: 1. Warranty period for PCU/ inverter is 05 years 2. Warranty period for solar PV module is 10 years and the same shall be taken in to consideration while quoting the rate for AICMC)
2.01 | First year after DLP | 1.00 | Job |  | 71456.67 | 71456.67 | 67744.01 | 67744.01 | 67744.01 | SOLAR SYSTEMS
2.02 | Second year after DLP | 1.00 | Job |  | 78531.59 | 78531.59 | 74451.34 | 74451.34 | 74451.34 | SOLAR SYSTEMS
2.03 | Third year after DLP | 1.00 | Job |  | 85842.34 | 85842.34 | 81382.25 | 81382.25 | 81382.25 | SOLAR SYSTEMS
2.04 | Fourth year after DLP | 1.00 | Job |  | 92917.26 | 92917.26 | 88089.57 | 88089.57 | 88089.57 | SOLAR SYSTEMS
2.05 | Fifth year after DLP | 1.00 | Job |  | 100039.34 | 100039.34 | 94841.62 | 94841.62 | 94841.62 | SOLAR SYSTEMS
| Total in Figures |  |  |  |  | 2787093.20 |  | 2642284.79
Lowest Amount Quoted BY: SOLAR SYSTEMS(2642284.79)

## BOQ Summary
BOQ Summary Details Tender Title: Design, Supply, Installation, Testing and Commissioning of Roof Top Grid Connected 40kWp Solar Photo Voltaic (PV) Power Plant at Visakhapatnam Airport Tender ID: 2023_AAI_142320_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SOLAR SYSTEMS | 2642284.79 | L1
| 2 | M/s. Green Secure Energy Private Limited | 2787093.20 | L2