## BoQ1
Government eProcurement System Created By: HIRU MONI DAS Created Date/Time: 06-Mar-2023 11:52 AM Tender Title: Annual Maintenance Contract (2023-25) for E and M installations at Jorhat Airport, Jorhat. Tender ID: 2023_AAI_143779_1
Tender Inviting Authority:
Name of Work: Annual Maintenance Contract (2023-25) for E&M installations at Jorhat Airport, Jorhat.
Contract No: 2023_AAI_143779_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | sudarshnacoolingcentre andelectricals(GSTN-18AAJFM8760E1ZZ) |  | S chowdhury and Company(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: OPERATION & MAINTENANCE OF E&M INSTALLATIONS
2.00 | Job Contract for round the clock Operation and Maintenance of all internal & external Electrical and Mechanical installations located at Operational and Non-Operational areas at Jorhat Airport in all days including Sundays and Holidays in Three shifts, which involves repairs & maintenance, attending day to day complaints, faults, breakdowns and taking rectification action, ensuring the serviceability & satisfactory working condition of the installations i/c preventive maintenance, maintenance of records & documentations etc. as per Special Conditions of Contract. The agency has to deploy minimum manpower in each shift as detailed in special condition of contract etc., complete as required. (Note: The agency has to quote the rate considering all expenditure as detailed in Special Conditions of Contract)
3.00 | For 1st Year | 12.00 | Month | 0.00 | 205000.00 | 2460000.00 | 200000.00 | 2400000.00 | 216760.00 | 2601120.00 | 205706.00 | 2468472.00 | 201000.00 | 2412000.00 | 2400000.00 | M/s BHARAT ELECTRIC, NAGPUR
4.00 | For 2nd Year | 12.00 | Month | 0.00 | 205000.00 | 2460000.00 | 200000.00 | 2400000.00 | 216760.00 | 2601120.00 | 205706.00 | 2468472.00 | 201000.00 | 2412000.00 | 2400000.00 | M/s BHARAT ELECTRIC, NAGPUR
5.00 | SH-II: DSR ELECTRICAL - 2022
6.00 | Carrying out work as per CPWD DSR-2022 Electrical as and when required as per site conditions. (Rates shall be quoted including price escalation on DSR for 02 years) (The Bidder shall quote the rate in INR only for the job corresponding to Rs.75,000/- for 1st and 2 nd year & percentage (%) above/ below shall be calculated by AAI and paid accordingly) Note:The rate shall be quoted for this item as per example given below- Example: i.) If the Bidder wants to quote the rate at par with rate of CPWD-DSR 2022(E&M),then Bidder has to quote 75000 in the rate colomn for that corresponding year. Subsequently, the total amount will be Rs.75000/- against item at Sl.No-2 ii.) If the Bidder wants to quote the rate 10% above on the rate of CPWD-DSR 2022 (E&M),then bidder has to quote 82500 in the rate column. Subsequently, the total amount will be Rs. 82500/-(Rs.75000+ Rs 7500) against item at Sl.No.- 2. iii. If the Bidder wants to quote the rate 10% below on the rate of CPWD-DSR 2022(E&M),then bidder has to quote 67500/- in the rate column. Subsequently, the total amount will be Rs. 67500/-(Rs.75000 - Rs.7500) against item No.2 The above example is only for guidance to Bidder for item at Sl.No-2 only. (Note: The rate provided in DSR 2022 is inclusive of GST @12%, however the contractor has to quote the amount in rate column, excluding GST and the payment shall be made to contractor as mentioned below: Rates quoted for item at Sl.No.-2 (suppose) = X Rate to be considered for payment= (X/1.1405)
7.00 | a) For 1st Year | 1.00 | Job | 0.00 | 100000.00 | 100000.00 | 52500.00 | 52500.00 | 55000.00 | 55000.00 | 70000.00 | 70000.00 | 63750.00 | 63750.00 | 52500.00 | M/s BHARAT ELECTRIC, NAGPUR
8.00 | b) For 2nd Year | 1.00 | Job | 0.00 | 100000.00 | 100000.00 | 52500.00 | 52500.00 | 55000.00 | 55000.00 | 70000.00 | 70000.00 | 63750.00 | 63750.00 | 52500.00 | M/s BHARAT ELECTRIC, NAGPUR
9.00 | SH-III: Painting of Panels, Poles and Rewinding of Fans etc.
10.00 | Painting of Electrical HT & LT Indoor, Outdoor Panels, Pumps panel, earth pit covers etc located in Power House, Terminal Building, Switch rooms,etc. with required colour & one or more coats of spray painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade including scrapping & cleaning of surface with detergent etc and writing lettering as per the direction of EIC complete as required.
11.00 | a) For 1st Year | 50.00 | Sq.mtr. | 0.00 | 500.00 | 25000.00 | 100.00 | 5000.00 | 40.00 | 2000.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 2000.00 | sudarshnacoolingcentre andelectricals
12.00 | b) For 2nd Year | 50.00 | Sq.mtr. | 0.00 | 500.00 | 25000.00 | 100.00 | 5000.00 | 40.00 | 2000.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 2000.00 | sudarshnacoolingcentre andelectricals
13.00 | Painting of Street Light Poles of upto 7.5-8 Mtr Height i/c Single/Double Arm Bracket & looping Box etc with one or more coats of spray painting with superior quality aluminium paint of approved Colour & Brand to give an even shade including scrapping & cleaning the entire surface to remove dirt and rust coats and numbering after painting on the pole but excluding the painting of cement collar etc complete as required.
14.00 | a) For 1st Year | 16.00 | Jobs | 0.00 | 1000.00 | 16000.00 | 400.00 | 6400.00 | 250.00 | 4000.00 | 1250.00 | 20000.00 | 750.00 | 12000.00 | 4000.00 | sudarshnacoolingcentre andelectricals
15.00 | b) For 2nd Year | 16.00 | Jobs | 0.00 | 1000.00 | 16000.00 | 400.00 | 6400.00 | 250.00 | 4000.00 | 1250.00 | 20000.00 | 750.00 | 12000.00 | 4000.00 | sudarshnacoolingcentre andelectricals
16.00 | Lifting and Lowering of submersible pump-set from existing borewell/openwell including pipe line, flat cable, dismantling the defective motor pump set and reinstalling with the repaired motor and pump set etc. alongwith cutting, re-threading of existing pipes, pipe fittings (nipple, elbow, flange valves, clamps etc) etc complete as & when required
17.00 | a) For 1st Year | 1.00 | Job | 0.00 | 10000.00 | 10000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | S chowdhury and Company, ABHISHEK INTEGRATIONS LIMITED, sudarshnacoolingcentre andelectricals
18.00 | b) For 2nd Year | 1.00 | Job | 0.00 | 10000.00 | 10000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | S chowdhury and Company, ABHISHEK INTEGRATIONS LIMITED, sudarshnacoolingcentre andelectricals
19.00 | Repairing/Rewinding & Servicing of submersible openwell/Borewell pumpset of capacity from 5.0HP to 10.0HP by replacement of all internal wornout/defective parts i.e. bushes,bearings, impeller, water seal, gasket, shaft etc. alongwith transportation from site to workshop and back to site etc complete as and when required (Dismantle Material belongs to contractor).
20.00 | a) For 1st Year | 2.00 | Jobs | 0.00 | 20000.00 | 40000.00 | 7000.00 | 14000.00 | 2800.00 | 5600.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 5600.00 | sudarshnacoolingcentre andelectricals
21.00 | b) For 2nd Year | 2.00 | Jobs | 0.00 | 20000.00 | 40000.00 | 7000.00 | 14000.00 | 2800.00 | 5600.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 5600.00 | sudarshnacoolingcentre andelectricals
22.00 | Re-winding, Servicing, Repairing of Ceiling fan/Wall fan/Exhaust fan etc including replacement of wornout/defective parts like bearings, capacitors etc., i/c transportation from site to workshop & back to site, Testing, Commissioning etc., complete as required. (Dismantle Material belongs to contractor)
23.00 | a) For 1st Year | 15.00 | Jobs | 0.00 | 500.00 | 7500.00 | 400.00 | 6000.00 | 275.00 | 4125.00 | 100.00 | 1500.00 | 350.00 | 5250.00 | 1500.00 | S chowdhury and Company
24.00 | b) For 2nd Year | 15.00 | Jobs | 0.00 | 500.00 | 7500.00 | 400.00 | 6000.00 | 275.00 | 4125.00 | 100.00 | 1500.00 | 350.00 | 5250.00 | 1500.00 | S chowdhury and Company
25.00 | SH-IV: Illumination/Decoration of TB on rental basis on National Days & Festivals
26.00 | Illumination/Decoration of City side of the Airport for 02 days with minimum 600 sets LED Rice lights (Each riser of approx. 25 ft. length), 20 Nos LED lights (not less than 90W) on rental basis giving tri colour effects or as per theme decided by E-I-C during national holidays or festivals including installation,testing,dismantling, transportation etc. complete as required. (Note: Illumination/Decoration for 02 days as mentioned shall be considered as 01 Job).
27.00 | a) For 1st Year | 3.00 | Jobs | 0.00 | 25000.00 | 75000.00 | 20000.00 | 60000.00 | 19900.00 | 59700.00 | 15000.00 | 45000.00 | 31000.00 | 93000.00 | 45000.00 | S chowdhury and Company
28.00 | b) For 2nd Year | 3.00 | Jobs | 0.00 | 25000.00 | 75000.00 | 20000.00 | 60000.00 | 19900.00 | 59700.00 | 15000.00 | 45000.00 | 31000.00 | 93000.00 | 45000.00 | S chowdhury and Company
29.00 | SH:V Supply of following Spares for Day-to-Day maintenance of E&M Installations as and when required
30.00 | Supply of following sizes ISI marked FRLS PVC insulated, single core copper conductor cables of 1100 volts grade confirming to IS 694:2010 with upto date amendements of standard length etc as required
31.00 | a) 1.5 Sq. mm (90Mtr Roll) | 4.00 | Coil | 0.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 2250.00 | 9000.00 | 1825.00 | 7300.00 | 6000.00 | M/s BHARAT ELECTRIC, NAGPUR, sudarshnacoolingcentre andelectricals
32.00 | b) 2.5 Sq.mm (90Mtr Roll) | 2.00 | Coil | 0.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 2200.00 | 4400.00 | 3350.00 | 6700.00 | 2925.00 | 5850.00 | 4000.00 | M/s BHARAT ELECTRIC, NAGPUR
33.00 | Supply of Flat Three Core PVC Insulated & PVC Sheathed Industrial Cable for Submersible Pump Motors 1100 Volts, conforming to IS: 694 etc as required.
34.00 | a) 4 Sqmm X 3 Core Flat cable | 100.00 | Mtrs | 0.00 | 300.00 | 30000.00 | 150.00 | 15000.00 | 130.00 | 13000.00 | 255.00 | 25500.00 | 151.00 | 15100.00 | 13000.00 | sudarshnacoolingcentre andelectricals
35.00 | Supply of following types of LED lamps/Fittings suitable for operation on 230 V, 50Hz, AC supply as requried.
36.00 | a) 9W B22 LED Lamp | 40.00 | Nos | 0.00 | 200.00 | 8000.00 | 150.00 | 6000.00 | 75.00 | 3000.00 | 90.00 | 3600.00 | 113.00 | 4520.00 | 3000.00 | sudarshnacoolingcentre andelectricals
37.00 | b) 150 Watt, High Mast LED Light Fitting (Make: Bajaj, BJFL 150W LED I or equivalent) | 10.00 | Nos | 0.00 | 3000.00 | 30000.00 | 5000.00 | 50000.00 | 4845.00 | 48450.00 | 7500.00 | 75000.00 | 10625.00 | 106250.00 | 30000.00 | CENTRE TAP ENGINEERING
38.00 | Aviation Obstruction LED Luminaire suitable for operation on 240V 50Hz AC supply etc as required. (Make/Model: Bajaj/BGAV 302 LED or equivalent) | 2.00 | Nos | 0.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 3360.00 | 6720.00 | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 6720.00 | sudarshnacoolingcentre andelectricals
39.00 | Supply of 5A to 32A rating, 240 V, 10 kA, "C" curve, MCB suitable for inductive load of following poles complete as required.
40.00 | a) Single pole | 20.00 | Nos | 0.00 | 1000.00 | 20000.00 | 150.00 | 3000.00 | 111.00 | 2220.00 | 180.00 | 3600.00 | 188.00 | 3760.00 | 2220.00 | sudarshnacoolingcentre andelectricals
41.00 | b) Double pole | 5.00 | Nos | 0.00 | 2000.00 | 10000.00 | 750.00 | 3750.00 | 480.00 | 2400.00 | 590.00 | 2950.00 | 644.00 | 3220.00 | 2400.00 | sudarshnacoolingcentre andelectricals
42.00 | Supply of Surface Mounting PVC Modular Switch Box including Modular Base & Cover Plate with required Nos of screws,nuts,Bolts etc
43.00 | a) 3 Module | 5.00 | Nos | 0.00 | 500.00 | 2500.00 | 150.00 | 750.00 | 145.00 | 725.00 | 147.00 | 735.00 | 134.00 | 670.00 | 670.00 | ABHISHEK INTEGRATIONS LIMITED
44.00 | b) 4 Module | 10.00 | Nos | 0.00 | 700.00 | 7000.00 | 150.00 | 1500.00 | 205.00 | 2050.00 | 200.00 | 2000.00 | 158.00 | 1580.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
45.00 | c) 6 Module | 10.00 | Nos | 0.00 | 800.00 | 8000.00 | 175.00 | 1750.00 | 285.00 | 2850.00 | 226.00 | 2260.00 | 218.00 | 2180.00 | 1750.00 | M/s BHARAT ELECTRIC, NAGPUR
46.00 | d) 8 Module | 10.00 | Nos | 0.00 | 900.00 | 9000.00 | 215.00 | 2150.00 | 310.00 | 3100.00 | 284.00 | 2840.00 | 275.00 | 2750.00 | 2150.00 | M/s BHARAT ELECTRIC, NAGPUR
47.00 | e) 12 Module | 5.00 | Nos | 0.00 | 1000.00 | 5000.00 | 300.00 | 1500.00 | 460.00 | 2300.00 | 372.00 | 1860.00 | 358.00 | 1790.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
48.00 | Supply of following Miscellaneous Electrical Items
49.00 | a) 3-pin 5/6A Plug Top (Make: Anchor) | 20.00 | Nos | 0.00 | 200.00 | 4000.00 | 45.00 | 900.00 | 29.00 | 580.00 | 45.00 | 900.00 | 54.00 | 1080.00 | 580.00 | sudarshnacoolingcentre andelectricals
50.00 | b) 3-pin 15/16A Plug Top (Make: Anchor) | 30.00 | Nos | 0.00 | 300.00 | 9000.00 | 70.00 | 2100.00 | 79.00 | 2370.00 | 60.00 | 1800.00 | 72.00 | 2160.00 | 1800.00 | S chowdhury and Company
51.00 | c) 10/20A Switch and Socket Combined with Plastic Box (Four fixing Holes) (Make: Anchor) | 30.00 | Nos | 0.00 | 250.00 | 7500.00 | 175.00 | 5250.00 | 128.00 | 3840.00 | 150.00 | 4500.00 | 281.00 | 8430.00 | 3840.00 | sudarshnacoolingcentre andelectricals
52.00 | d) Modular Blanking Plate(Anchor) | 30.00 | Nos | 0.00 | 50.00 | 1500.00 | 20.00 | 600.00 | 19.00 | 570.00 | 20.00 | 600.00 | 19.00 | 570.00 | 570.00 | ABHISHEK INTEGRATIONS LIMITED, sudarshnacoolingcentre andelectricals
53.00 | e) Angle/Batten/Pendent holder(Anchor) | 20.00 | Nos | 0.00 | 200.00 | 4000.00 | 35.00 | 700.00 | 32.00 | 640.00 | 25.00 | 500.00 | 30.00 | 600.00 | 500.00 | S chowdhury and Company
54.00 | f) 20 amps., 240 Volts, SPN, Industrial Type socket outlet with 2 Pole and Earth, with plug top and metal chained cover in sheet steel enclosure alongwith 20A "C" Curve,SP MCB | 5.00 | Nos | 0.00 | 1500.00 | 7500.00 | 1000.00 | 5000.00 | 1140.00 | 5700.00 | 2000.00 | 10000.00 | 2125.00 | 10625.00 | 5000.00 | M/s BHARAT ELECTRIC, NAGPUR
55.00 | g) 16A Extension Board, Surge and Spike Guard, 3-Pin 4 Nos Sockets,01 Nos Switch with 04 Mtrs Power Cable (Make/Model: Anchor/22068 or equivalent) | 2.00 | Nos | 0.00 | 2000.00 | 4000.00 | 500.00 | 1000.00 | 550.00 | 1100.00 | 550.00 | 1100.00 | 674.00 | 1348.00 | 1000.00 | M/s BHARAT ELECTRIC, NAGPUR
56.00 | h) 25mm corrugated PVC Flexible conduit | 50.00 | Mtrs | 0.00 | 300.00 | 15000.00 | 20.00 | 1000.00 | 14.00 | 700.00 | 18.00 | 900.00 | 40.00 | 2000.00 | 700.00 | sudarshnacoolingcentre andelectricals
57.00 | Supply of following capacity capacitors suitable for operation on 240V, 50Hz AC supply etc as required.
58.00 | a) 2.25 mfd Fan Capacitor | 10.00 | Nos | 0.00 | 300.00 | 3000.00 | 25.00 | 250.00 | 30.00 | 300.00 | 40.00 | 400.00 | 31.00 | 310.00 | 250.00 | M/s BHARAT ELECTRIC, NAGPUR
59.00 | SH:VI-Contingency
60.00 | Providing Excavater (JCB) including Operator & Fuel for emergency / unanticipated breakdown / maintenance work, cable works etc., complete as required. | 32.00 | Hrs | 0.00 | 3000.00 | 96000.00 | 1000.00 | 32000.00 | 600.00 | 19200.00 | 1800.00 | 57600.00 | 1000.00 | 32000.00 | 19200.00 | sudarshnacoolingcentre andelectricals
61.00 | Providing Hydra Machine including Operator & Fuel for emergency / unanticipated breakdown / maintenance work, cable works etc., complete as required. | 32.00 | Hrs | 0.00 | 3000.00 | 96000.00 | 1500.00 | 48000.00 | 650.00 | 20800.00 | 1800.00 | 57600.00 | 1500.00 | 48000.00 | 20800.00 | sudarshnacoolingcentre andelectricals
62.00 | Providing One Welder alongwith Electric welding machine and welding rods for carrrying out welding works during any urgent Preventive Maintenance/ Breakdown Maintenance /Emergency work as and when required. | 32.00 | Hrs | 0.00 | 1500.00 | 48000.00 | 250.00 | 8000.00 | 150.00 | 4800.00 | 300.00 | 9600.00 | 900.00 | 28800.00 | 4800.00 | sudarshnacoolingcentre andelectricals
63.00 | Providing manpower to attend any urgent / emergency work as and when required as per direction of Engineer-In-Charge.
64.00 | a) Skilled labour (per day 8hrs duty) | 120.00 | Days | 0.00 | 1000.00 | 120000.00 | 725.00 | 87000.00 | 671.00 | 80520.00 | 600.00 | 72000.00 | 671.00 | 80520.00 | 72000.00 | S chowdhury and Company
65.00 | b) Semi-Skilled labour (per day 8hrs duty) | 120.00 | Days | 0.00 | 800.00 | 96000.00 | 575.00 | 69000.00 | 350.00 | 42000.00 | 550.00 | 66000.00 | 557.00 | 66840.00 | 42000.00 | sudarshnacoolingcentre andelectricals
66.00 | c) Unskilled labour (per day 8hrs duty) | 120.00 | Days | 0.00 | 700.00 | 84000.00 | 500.00 | 60000.00 | 477.00 | 57240.00 | 400.00 | 48000.00 | 477.00 | 57240.00 | 48000.00 | S chowdhury and Company
| Total in Figures |  |  |  |  | 6234000.00 |  | 5520000.00 |  | 5804665.00 |  | 5721489.00 |  | 5702493.00
Lowest Amount Quoted BY: M/s BHARAT ELECTRIC, NAGPUR(5520000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract (2023-25) for E and M installations at Jorhat Airport, Jorhat. Tender ID: 2023_AAI_143779_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s BHARAT ELECTRIC, NAGPUR | 5520000.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 5702493.00 | L2
| 3 | S chowdhury and Company | 5721489.00 | L3
| 4 | sudarshnacoolingcentre andelectricals | 5804665.00 | L4
| 5 | CENTRE TAP ENGINEERING | 6234000.00 | L5