## BoQ1
Government eProcurement System Created By: Amit Avachar Created Date/Time: 01-May-2023 04:06 PM Tender Title: Minor repair work at New Operational Office Mumbai during year 2022 23 Tender ID: 2023_AAI_145609_1
Tender Inviting Authority: Sr. Manager (Engg-Civil), NAC, Mumbai-99
Name of Work: Minor repair work at New Operational Office during year 2022-23.
Contract No: AAI/MUM/NAC/E-C/MINOR-NOO/22-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Om Sai Associates(GSTN-27AABFO9751D1Z7) |  | M I CONSTRUCTIONS(GSTN-27AAQFM9668LIZ5) |  | Shrikrishna Construction(GSTN-27ACJPS2472B1ZM) |  | Silhouette Infraprojects(GSTN-NA) |  | Classicon Projects India Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. 12.5 mm thick fully Perforated Gypsum Board tile made from plasterboard having glass fibre conforming to IS:2095 part I, of size 595x595 mm, having perforation of 9.7x9.7 mm at 19.4 mm c/c with center borders of 48 mm and the side borders of 30 mm, backed with non woven tissue on the back side, having an NRC (Noise Reduction Coefficient) of 0.79, with 50 mm resin bonded glass wool backing. | 9.00 | sqm |  | 1400.00 | 12600.00 | 950.00 | 8550.00 | 900.00 | 8100.00 | 900.00 | 8100.00 | 1200.00 | 10800.00 | 8100.00 | Silhouette Infraprojects, Shrikrishna Construction
2.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete.: a) Size of Tile 600x600 mm | 72.00 | sqm |  | 1400.00 | 100800.00 | 900.00 | 64800.00 | 900.00 | 64800.00 | 900.00 | 64800.00 | 1200.00 | 86400.00 | 64800.00 | Silhouette Infraprojects, M I CONSTRUCTIONS, Shrikrishna Construction
3.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For fixed portion: i) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 503.17 | Kg |  | 400.00 | 201268.00 | 410.00 | 206299.70 | 375.00 | 188688.75 | 450.00 | 226426.50 | 450.00 | 226426.50 | 188688.75 | Shrikrishna Construction
4.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately): i) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 510.12 | Kg |  | 400.00 | 204048.00 | 450.00 | 229554.00 | 375.00 | 191295.00 | 450.00 | 229554.00 | 500.00 | 255060.00 | 191295.00 | Shrikrishna Construction
5.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 151.20 | sqm |  | 1950.00 | 294840.00 | 1000.00 | 151200.00 | 1050.00 | 158760.00 | 750.00 | 113400.00 | 1180.00 | 178416.00 | 113400.00 | Silhouette Infraprojects
6.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : a) 12.5 mm thick tapered edge gypsum moisture resistant board | 617.22 | sqm |  | 925.00 | 570928.50 | 1100.00 | 678942.00 | 900.00 | 555498.00 | 700.00 | 432054.00 | 920.00 | 567842.40 | 432054.00 | Silhouette Infraprojects
7.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid decorative type flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant. WPC to be laminated with PVC foil of minimum 14 microns thick of approved design pasted with hot melt adhesive on both faces of shutter and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) : a) 30 mm thick | 18.72 | sqm |  | 3500.00 | 65520.00 | 3600.00 | 67392.00 | 3000.00 | 56160.00 | 2700.00 | 50544.00 | 3700.00 | 69264.00 | 50544.00 | Silhouette Infraprojects
8.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid board one side white color and other side of board laminted with PVC foil of minimum 14 micron thickness of approved design pasted with hot melt adhesive for cup boards, work stations and bathroom/kitchen cabinet etc. of required sizes comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers(wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel piano hinges/soft close clip on concealed hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel piano hinges/soft close clip on concealed hinges and necessary S.S screws shall be paid separately) : a) 18 mm thick | 18.72 | sqm |  | 2400.00 | 44928.00 | 2500.00 | 46800.00 | 2100.00 | 39312.00 | 1900.00 | 35568.00 | 2600.00 | 48672.00 | 35568.00 | Silhouette Infraprojects
9.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid board one side white color and other side of board laminted with PVC foil of minimum 14 micron thickness of approved design pasted with hot melt adhesive for cup boards, work stations and bathroom/kitchen cabinet etc. of required sizes comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers(wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel piano hinges/soft close clip on concealed hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel piano hinges/soft close clip on concealed hinges and necessary S.S screws shall be paid separately): a) 25 mm thick | 45.00 | sqm |  | 2850.00 | 128250.00 | 3000.00 | 135000.00 | 2800.00 | 126000.00 | 2400.00 | 108000.00 | 3300.00 | 148500.00 | 108000.00 | Silhouette Infraprojects
10.00 | Providing, assembling and supplying vision glass panels (IGUs) comprising of hermetically-sealed 6-12- 6 mm insulated glass (double glazed) vision panel units of size and shape as required and specified, comprising of an outer heat strengthened float glass 6mm thick, of approved colour and shade with reflective soft coating on surface # 2 of approved colour and shade, an inner Heat strengthned clear float glass 6mm thick, spacer tube 12mm wide, dessicants, including primary seal and secondary seal (structural silicone sealant) etc. all complete for the required performances, as per the Architectural drawings, as per the approved shop drawings, as specified and as directed by the Engineer-in-Charge. The IGUs shall be assembled in the factory/ workshop of the glass processor. (Payment for fixing of IGU Panels in the curtain glazing is included in cost of item No.25.2) For payment, only the actual area of glass on face # 1 of the glass panels (excluding the areas of the grooves and weather silicone sealant) provided and fixed in position, shall be measured in sqm. (i) Coloured tinted float glass 6mm thick substrate with reflective soft coating on face # 2, + 12mm Airgap + 6mm Heat Strengthened clear Glass of approved make having properties as visible Light transmittance (VLT) of 25 to 35 %, Light reflection internal 10 to 15%, light reflection external 10 to 20%, shading coefficient (0.25- 0.28) and U value of 3.0 to 3.3 W/m2 degree K etc. The properties of performance glass shall be decided by technical sanctioning authority as per the site requirement. | 4.50 | sqm |  | 1200.00 | 5400.00 | 2700.00 | 12150.00 | 2550.00 | 11475.00 | 2100.00 | 9450.00 | 3200.00 | 14400.00 | 5400.00 | Om Sai Associates
11.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. a) Granite stone slab of colour black, Cherry/Ruby red: i) Area of slab over 0.50 sqm | 7.56 | sqm |  | 3000.00 | 22680.00 | 2600.00 | 19656.00 | 2850.00 | 21546.00 | 2500.00 | 18900.00 | 3600.00 | 27216.00 | 18900.00 | Silhouette Infraprojects
12.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete.: a) On steel work | 94.50 | Sqm |  | 150.00 | 14175.00 | 160.00 | 15120.00 | 100.00 | 9450.00 | 80.00 | 7560.00 | 160.00 | 15120.00 | 7560.00 | Silhouette Infraprojects
13.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete.: a) Upto 5mm depth and 5 mm width | 199.50 | metre |  | 80.00 | 15960.00 | 72.00 | 14364.00 | 80.00 | 15960.00 | 72.00 | 14364.00 | 75.00 | 14962.50 | 14364.00 | Silhouette Infraprojects, M I CONSTRUCTIONS
14.00 | French spirit polishing : a) One or more coats on old work | 752.96 | sqm |  | 110.00 | 82825.60 | 160.00 | 120473.60 | 100.00 | 75296.00 | 125.00 | 94120.00 | 150.00 | 112944.00 | 75296.00 | Shrikrishna Construction
15.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 18.00 | sqm |  | 850.00 | 15300.00 | 900.00 | 16200.00 | 800.00 | 14400.00 | 750.00 | 13500.00 | 1100.00 | 19800.00 | 13500.00 | Silhouette Infraprojects
16.00 | Providing and fixing 12mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer in charge (Door handle, lock and stopper etc. to be paid separately) | 12.78 | sqm |  | 5000.00 | 63900.00 | 3600.00 | 46008.00 | 3650.00 | 46647.00 | 3300.00 | 42174.00 | 8500.00 | 108630.00 | 42174.00 | Silhouette Infraprojects
17.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc.complete as per design approved by Engineer-in-Charge.: a) Granite work | 25.00 | metre |  | 80.00 | 2000.00 | 360.00 | 9000.00 | 250.00 | 6250.00 | 210.00 | 5250.00 | 200.00 | 5000.00 | 2000.00 | Om Sai Associates
18.00 | Extra for fixing marble /granite stone, over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive, including cleaning etc. complete. | 6.00 | metre |  | 380.00 | 2280.00 | 450.00 | 2700.00 | 250.00 | 1500.00 | 210.00 | 1260.00 | 300.00 | 1800.00 | 1260.00 | Silhouette Infraprojects
19.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 15.00 | each |  | 680.00 | 10200.00 | 720.00 | 10800.00 | 250.00 | 3750.00 | 210.00 | 3150.00 | 500.00 | 7500.00 | 3150.00 | Silhouette Infraprojects
20.00 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete.75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | 31.50 | Sqm |  | 1850.00 | 58275.00 | 1530.00 | 48195.00 | 1440.00 | 45360.00 | 1300.00 | 40950.00 | 1350.00 | 42525.00 | 40950.00 | Silhouette Infraprojects
21.00 | Supplying 12.5 mm thick Perforated gypsum board. | 126.00 | Sqm |  | 250.00 | 31500.00 | 360.00 | 45360.00 | 450.00 | 56700.00 | 450.00 | 56700.00 | 188.00 | 23688.00 | 23688.00 | Classicon Projects India Pvt. Ltd.
22.00 | Supplying Aluminium Louver with minimum unit weight of 300gm per metre. | 90.00 | meter |  | 187.00 | 16830.00 | 540.00 | 48600.00 | 500.00 | 45000.00 | 500.00 | 45000.00 | 90.00 | 8100.00 | 8100.00 | Classicon Projects India Pvt. Ltd.
23.00 | Supplying pin headed glass of minimum thickness of 4mm. | 25.00 | sqm |  | 725.00 | 18125.00 | 540.00 | 13500.00 | 600.00 | 15000.00 | 600.00 | 15000.00 | 600.00 | 15000.00 | 13500.00 | M I CONSTRUCTIONS
24.00 | Supplying 6 lever Mortice Door Lock of Link make or equivalent. | 250.00 | Each |  | 800.00 | 200000.00 | 630.00 | 157500.00 | 800.00 | 200000.00 | 800.00 | 200000.00 | 370.00 | 92500.00 | 92500.00 | Classicon Projects India Pvt. Ltd.
25.00 | Supplying 5mm thick Mirror | 48.96 | Sqm |  | 1150.00 | 56304.00 | 1170.00 | 57283.20 | 1100.00 | 53856.00 | 1100.00 | 53856.00 | 1300.00 | 63648.00 | 53856.00 | Silhouette Infraprojects, Shrikrishna Construction
26.00 | Supplying Fabric Verticle blinds with minimum thickness of 1mm and slat width of 100mm or less. (only fabric verticle blinds to be provided) | 144.00 | Sqm |  | 1200.00 | 172800.00 | 630.00 | 90720.00 | 850.00 | 122400.00 | 850.00 | 122400.00 | 270.00 | 38880.00 | 38880.00 | Classicon Projects India Pvt. Ltd.
27.00 | Supplying Heavy duty DoorCloser with carrying capasity 80 - 120kg of Godrej (5770 ) or equivalent make. | 250.00 | Each |  | 1500.00 | 375000.00 | 1008.00 | 252000.00 | 1350.00 | 337500.00 | 1350.00 | 337500.00 | 2825.00 | 706250.00 | 252000.00 | M I CONSTRUCTIONS
28.00 | Supplying Stainless steel heavy duty 4" Twin rubber Door Stoppers. | 300.00 | Each |  | 150.00 | 45000.00 | 90.00 | 27000.00 | 40.00 | 12000.00 | 40.00 | 12000.00 | 80.00 | 24000.00 | 12000.00 | Silhouette Infraprojects, Shrikrishna Construction
29.00 | Supplying 65 mm Brass Pad Locks of Godrej (Navtal Ultra XL+) make or equivalent. | 200.00 | Each |  | 500.00 | 100000.00 | 432.00 | 86400.00 | 300.00 | 60000.00 | 300.00 | 60000.00 | 600.00 | 120000.00 | 60000.00 | Silhouette Infraprojects, Shrikrishna Construction
30.00 | Supplying Oxidised mild steel door latch 250x20x6 mm | 150.00 | Each |  | 80.00 | 12000.00 | 90.00 | 13500.00 | 80.00 | 12000.00 | 80.00 | 12000.00 | 100.00 | 15000.00 | 12000.00 | Om Sai Associates, Silhouette Infraprojects, Shrikrishna Construction
31.00 | Supplying Oxidised mild steel tower bolt (barrel type) 250x10 mm | 300.00 | Each |  | 80.00 | 24000.00 | 81.00 | 24300.00 | 100.00 | 30000.00 | 100.00 | 30000.00 | 100.00 | 30000.00 | 24000.00 | Om Sai Associates
32.00 | Supplying Oxidised mild steel butt hinges 100x58x1.90 mm | 300.00 | Each |  | 30.00 | 9000.00 | 63.00 | 18900.00 | 75.00 | 22500.00 | 75.00 | 22500.00 | 30.00 | 9000.00 | 9000.00 | Classicon Projects India Pvt. Ltd., Om Sai Associates
33.00 | Supplying Table Top Glass 10mm thickness with edge moulding and corner rounding whereever required | 37.80 | Sqm |  | 2000.00 | 75600.00 | 1530.00 | 57834.00 | 1250.00 | 47250.00 | 1250.00 | 47250.00 | 1600.00 | 60480.00 | 47250.00 | Silhouette Infraprojects, Shrikrishna Construction
34.00 | Supplying Floor Spring of Dorma (BTS 84 EN2-4) or equivalent make. | 10.00 | Nos |  | 10450.00 | 104500.00 | 14004.00 | 140040.00 | 15000.00 | 150000.00 | 15000.00 | 150000.00 | 5200.00 | 52000.00 | 52000.00 | Classicon Projects India Pvt. Ltd.
35.00 | Supplying Corner Lock Dorma (EPC US10) or equivalent make | 30.00 | Nos |  | 8580.00 | 257400.00 | 5040.00 | 151200.00 | 6500.00 | 195000.00 | 6500.00 | 195000.00 | 2120.00 | 63600.00 | 63600.00 | Classicon Projects India Pvt. Ltd.
36.00 | Supplying Door Top Patch of Dorma ( PT20 ) or equivalent make. | 10.00 | Nos |  | 2257.00 | 22570.00 | 3600.00 | 36000.00 | 4000.00 | 40000.00 | 4000.00 | 40000.00 | 1450.00 | 14500.00 | 14500.00 | Classicon Projects India Pvt. Ltd.
37.00 | Supplying Door Bottom Patch of Dorma (PT10) or equivalent make | 10.00 | Nos |  | 2255.00 | 22550.00 | 3600.00 | 36000.00 | 4000.00 | 40000.00 | 4000.00 | 40000.00 | 1450.00 | 14500.00 | 14500.00 | Classicon Projects India Pvt. Ltd.
38.00 | Supplying Overpanel & Sidelight Connector of Dorma ( PT40) or equivalent make | 1.00 | Nos |  | 2782.00 | 2782.00 | 6300.00 | 6300.00 | 6000.00 | 6000.00 | 6000.00 | 6000.00 | 2120.00 | 2120.00 | 2120.00 | Classicon Projects India Pvt. Ltd.
39.00 | Supplying Door Overpanel Patch of Dorma (PT30) or equivalent make | 3.00 | Nos |  | 2371.00 | 7113.00 | 5400.00 | 16200.00 | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 1770.00 | 5310.00 | 5310.00 | Classicon Projects India Pvt. Ltd.
40.00 | Supplying Manual Flush Bolt - 165mm of Dorma (XL-C 3013) or equivalent make | 1.00 | Nos |  | 1388.00 | 1388.00 | 1450.00 | 1450.00 | 1365.00 | 1365.00 | 1365.00 | 1365.00 | 825.00 | 825.00 | 825.00 | Classicon Projects India Pvt. Ltd.
41.00 | Supplying Standard Door Closer With Hold Open Arm of Dorma(XL-C 3020 ) or equivalent make | 12.00 | Nos |  | 2838.00 | 34056.00 | 5400.00 | 64800.00 | 5000.00 | 60000.00 | 5000.00 | 60000.00 | 2770.00 | 33240.00 | 33240.00 | Classicon Projects India Pvt. Ltd.
42.00 | Supplying Mortise Lock with Body of Dorma ( XL-C 3025)or equivalent make | 10.00 | Nos |  | 1336.00 | 13360.00 | 1413.00 | 14130.00 | 1250.00 | 12500.00 | 1250.00 | 12500.00 | 790.00 | 7900.00 | 7900.00 | Classicon Projects India Pvt. Ltd.
43.00 | Supplying Door closer of Dorma (XL-C 2010 ) or equivalent make | 15.00 | Nos |  | 1387.00 | 20805.00 | 612.00 | 9180.00 | 500.00 | 7500.00 | 500.00 | 7500.00 | 345.00 | 5175.00 | 5175.00 | Classicon Projects India Pvt. Ltd.
44.00 | Supplying Lever Handle of Dorma (XL-C 2001) or equivalent make | 15.00 | Pair |  | 1468.00 | 22020.00 | 1530.00 | 22950.00 | 1650.00 | 24750.00 | 1650.00 | 24750.00 | 890.00 | 13350.00 | 13350.00 | Classicon Projects India Pvt. Ltd.
45.00 | Supplying Cylindrical Lock of Dorma (XL-C 2021 ) or equivalent make | 3.00 | Nos |  | 1628.00 | 4884.00 | 1071.00 | 3213.00 | 950.00 | 2850.00 | 950.00 | 2850.00 | 590.00 | 1770.00 | 1770.00 | Classicon Projects India Pvt. Ltd.
46.00 | Supplying Door Closer of Dorma (XL-C 1001 EN3) or equivalent make | 2.00 | Nos |  | 2200.00 | 4400.00 | 2250.00 | 4500.00 | 2100.00 | 4200.00 | 2100.00 | 4200.00 | 1265.00 | 2530.00 | 2530.00 | Classicon Projects India Pvt. Ltd.
47.00 | Supplying Pull Handle 300x22 of Dorma (XL-C 3002 D-) or equivalent make | 4.00 | Pair |  | 2475.00 | 9900.00 | 2304.00 | 9216.00 | 2265.00 | 9060.00 | 2265.00 | 9060.00 | 1290.00 | 5160.00 | 5160.00 | Classicon Projects India Pvt. Ltd.
48.00 | Supplying Under Counter Basin, Size: 420*590*195, Shape: Oval of Jaguar (CNS-WHT-705) or equivalent make | 7.00 | Nos |  | 8800.00 | 61600.00 | 2007.00 | 14049.00 | 1775.00 | 12425.00 | 1775.00 | 12425.00 | 2070.00 | 14490.00 | 12425.00 | Silhouette Infraprojects, Shrikrishna Construction
49.00 | Supplying Pillar Cock With, Auto Closing System of Jaguar ( PRS-CHR-031) or equivalent make | 50.00 | Nos |  | 4180.00 | 209000.00 | 1530.00 | 76500.00 | 1500.00 | 75000.00 | 1500.00 | 75000.00 | 1735.00 | 86750.00 | 75000.00 | Silhouette Infraprojects, Shrikrishna Construction
50.00 | Supplying Angular Stop Cock (Regulating Valve) With Triangular Handle And Wall Flangeof Jaguar (AQT-CHR-3057P) or equivalent make | 30.00 | Nos |  | 3850.00 | 115500.00 | 360.00 | 10800.00 | 350.00 | 10500.00 | 350.00 | 10500.00 | 400.00 | 12000.00 | 10500.00 | Silhouette Infraprojects, Shrikrishna Construction
51.00 | Supplying 190X125 Bottle Trap with Fully Casted Body 32 mm with 190 mm and 125 mm Long Connecting Pipes & Wall Flange. of Jaguar .(ALE-CHR-773 ML) or equivalent make | 30.00 | Nos |  | 1320.00 | 39600.00 | 720.00 | 21600.00 | 600.00 | 18000.00 | 600.00 | 18000.00 | 830.00 | 24900.00 | 18000.00 | Silhouette Infraprojects, Shrikrishna Construction
52.00 | Supplying Waste Coupling 32mm Full Thread of Jaguar (ALD-CHR-705) or equivalent make | 100.00 | Nos |  | 605.00 | 60500.00 | 360.00 | 36000.00 | 325.00 | 32500.00 | 325.00 | 32500.00 | 385.00 | 38500.00 | 32500.00 | Silhouette Infraprojects, Shrikrishna Construction
53.00 | Supplying URINAL WITH FIXING ACCESSORIES SET, SIZE:385X325X635 MM of Jaguar (URS-WHT-13253N) or equivalent make | 5.00 | Nos |  | 22000.00 | 110000.00 | 5130.00 | 25650.00 | 4500.00 | 22500.00 | 4500.00 | 22500.00 | 5350.00 | 26750.00 | 22500.00 | Silhouette Infraprojects, Shrikrishna Construction
54.00 | Supplying Sensotronic Mini Concealed Type Flushing Valve for Urinal Complete Set with Installation Box. of Jaguar ( SNR-STL-51083) or equivalent make | 5.00 | Nos |  | 11000.00 | 55000.00 | 5715.00 | 28575.00 | 5500.00 | 27500.00 | 5500.00 | 27500.00 | 5900.00 | 29500.00 | 27500.00 | Silhouette Infraprojects, Shrikrishna Construction
55.00 | Supplying Orissa Pan with L Bend and Extension, Size: 415x515x255 mm of Jaguar ( ECS-WHT-453LE) or equivalent make | 12.00 | Nos |  | 11000.00 | 132000.00 | 900.00 | 10800.00 | 950.00 | 11400.00 | 950.00 | 11400.00 | 990.00 | 11880.00 | 10800.00 | M I CONSTRUCTIONS
56.00 | Supplying Smart Single Flush Wall Hung Cistern (Compatible With 39mm Drainage Pipes) Installation Kit, But Without Drainage Pipes (Suitable For Orissa Pan) of Jaguar ( ESH-WHT-183NT) or equivalent make | 12.00 | Nos |  | 1650.00 | 19800.00 | 1017.00 | 12204.00 | 1000.00 | 12000.00 | 1000.00 | 12000.00 | 1080.00 | 12960.00 | 12000.00 | Silhouette Infraprojects, Shrikrishna Construction
57.00 | Supplying 2-Way Bib Cock of Jaguar (CON-CHR-041KN) or equivalent make | 50.00 | Nos |  | 2310.00 | 115500.00 | 900.00 | 45000.00 | 850.00 | 42500.00 | 850.00 | 42500.00 | 1050.00 | 52500.00 | 42500.00 | Silhouette Infraprojects, Shrikrishna Construction
58.00 | Supplying Hand Sh.(H F.)1M Pvc Tub Plastic Body of Jaguar (ALE-CHR-583) or equivalent make | 150.00 | Nos |  | 1650.00 | 247500.00 | 504.00 | 75600.00 | 535.00 | 80250.00 | 535.00 | 80250.00 | 610.00 | 91500.00 | 75600.00 | M I CONSTRUCTIONS
59.00 | Supplying Wall Hung Basin With Fixing Accessories, Size: 560x415x200 mm of Jaguar (CNS-WHT-801) or equivalent make | 5.00 | Nos |  | 5500.00 | 27500.00 | 1800.00 | 9000.00 | 1650.00 | 8250.00 | 1650.00 | 8250.00 | 1950.00 | 9750.00 | 8250.00 | Silhouette Infraprojects, Shrikrishna Construction
60.00 | Supplying Pillar Cock of Jaguar ( CON-CHR-011KN) or equivalent make | 25.00 | Nos |  | 2750.00 | 68750.00 | 900.00 | 22500.00 | 890.00 | 22250.00 | 890.00 | 22250.00 | 970.00 | 24250.00 | 22250.00 | Silhouette Infraprojects, Shrikrishna Construction
61.00 | Supplying Wall Hung-WC with PP soft close seat cover, Hinges, Accessories Set, Size: 355x490x335 mm of Jaguar (ECS-WHT-955SPP) or equivalent make | 10.00 | Nos |  | 1650.00 | 16500.00 | 2700.00 | 27000.00 | 2500.00 | 25000.00 | 2500.00 | 25000.00 | 2910.00 | 29100.00 | 16500.00 | Om Sai Associates
62.00 | Supplying Metropole Flush Valve Dual Flow 32mm Size (Concealed Body) with Exposed Shut off Provision & Round Flange (3.0/6.0 Lts. Per Flushing) of Jaguar (FLV-CHR-1085N) or equivalent make | 5.00 | Nos |  | 3300.00 | 16500.00 | 2610.00 | 13050.00 | 2500.00 | 12500.00 | 2500.00 | 12500.00 | 2800.00 | 14000.00 | 12500.00 | Silhouette Infraprojects, Shrikrishna Construction
63.00 | Supplying Grab Bar 300MM of Jaguar (AHS-CHR-1501 ) or equivalent make. | 5.00 | Nos |  | 1595.00 | 7975.00 | 972.00 | 4860.00 | 850.00 | 4250.00 | 850.00 | 4250.00 | 1030.00 | 5150.00 | 4250.00 | Silhouette Infraprojects, Shrikrishna Construction
64.00 | Supplying Wall Mixer with Provision For Overhead Shower with 115mm Long Bend Pipe On Upper Side, Connecting Legs & Wall Flanges of Jaguar (CON-CHR-273KNUPR ) or equivalent make | 1.00 | Nos |  | 6600.00 | 6600.00 | 3600.00 | 3600.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 3820.00 | 3820.00 | 3000.00 | Silhouette Infraprojects, Shrikrishna Construction
65.00 | Supplying Shower Arm With Wall Flange of Jaguar (SHA-CHR-477P) or equivalent make | 2.00 | Nos |  | 1650.00 | 3300.00 | 306.00 | 612.00 | 250.00 | 500.00 | 250.00 | 500.00 | 315.00 | 630.00 | 500.00 | Silhouette Infraprojects, Shrikrishna Construction
66.00 | Supplying Overhead Shower 125mm dia Round Shape Single Flow (ABS Body Chrome Plated With Gray Face Plate) With Rubit Cleaning System of Jaguar (EOS-CHR-542A ) or equivalent make | 2.00 | Nos |  | 770.00 | 1540.00 | 513.00 | 1026.00 | 425.00 | 850.00 | 425.00 | 850.00 | 540.00 | 1080.00 | 850.00 | Silhouette Infraprojects, Shrikrishna Construction
67.00 | Supplying INTERNAL PARTS FOR M F V - 1095 (32mm) of Jaguar (ZFV-CHR-216) or equivalent make | 45.00 | Nos |  | 2200.00 | 99000.00 | 3060.00 | 137700.00 | 2850.00 | 128250.00 | 2850.00 | 128250.00 | 810.00 | 36450.00 | 36450.00 | Classicon Projects India Pvt. Ltd.
68.00 | Supplying SLEEVE FOR MFV of Jaguar (ZFV-CHR-164 CIR-229B) or equivalent make | 45.00 | Nos |  | 2200.00 | 99000.00 | 630.00 | 28350.00 | 615.00 | 27675.00 | 615.00 | 27675.00 | 335.00 | 15075.00 | 15075.00 | Classicon Projects India Pvt. Ltd.
69.00 | Supplying FLANGE FOR MFV of Jaguar (ZFV-CHR-165 ) or equivalent make | 45.00 | Nos |  | 55.00 | 2475.00 | 306.00 | 13770.00 | 285.00 | 12825.00 | 285.00 | 12825.00 | 100.00 | 4500.00 | 2475.00 | Om Sai Associates
70.00 | Supplying FITTING-WMBM-PRESSMATIC( AUTO CLOSING)-P of Jaguar (ZMS-CHR-276A) or equivalent make | 69.00 | Nos |  | 2200.00 | 151800.00 | 1800.00 | 124200.00 | 1850.00 | 127650.00 | 1850.00 | 127650.00 | 800.00 | 55200.00 | 55200.00 | Classicon Projects India Pvt. Ltd.
71.00 | Supplying CHAIN(B)- FLEXIBLE-1.2 MTR-TELEPHONE SHR of Jaguar (ZMS-CHR-005) or equivalent make | 45.00 | Nos |  | 1650.00 | 74250.00 | 1260.00 | 56700.00 | 1100.00 | 49500.00 | 1100.00 | 49500.00 | 1050.00 | 47250.00 | 47250.00 | Classicon Projects India Pvt. Ltd.
72.00 | Supplying WALL HOOK FOR HEALTH FAUCET WITH SCREW of Jaguar (ZMS-CHR-009) or equivalent make | 200.00 | Nos |  | 550.00 | 110000.00 | 135.00 | 27000.00 | 135.00 | 27000.00 | 135.00 | 27000.00 | 125.00 | 25000.00 | 25000.00 | Classicon Projects India Pvt. Ltd.
73.00 | Supplying 450MM LONG BRAIDED HOSE of Jaguar (ALD-CHR-803AB) or equivalent make | 200.00 | Nos |  | 330.00 | 66000.00 | 288.00 | 57600.00 | 300.00 | 60000.00 | 300.00 | 60000.00 | 165.00 | 33000.00 | 33000.00 | Classicon Projects India Pvt. Ltd.
74.00 | Supplying of 01 Nos. specialist skilled Plumber with appropriate tools & basic accessories like compatible screws, clamps, teflon tapes, etc. so as required to fix new fittings & accessories, for carrying out repair and maintenance of existing fittings and accessories and general preventive maintenance purpose with proficiency to handle brands like Jaguar, CERA, Kohler, Hindware, etc fittings, fixtures & accessories complete as per instruction of Engineer in Charge. (Note : The plumber engaged to be authorised / experienced plumber of reputed brand like Jaguar / CERA / Kohler / etc.) | 40.00 | Each |  | 1000.00 | 40000.00 | 1080.00 | 43200.00 | 800.00 | 32000.00 | 800.00 | 32000.00 | 800.00 | 32000.00 | 32000.00 | Classicon Projects India Pvt. Ltd., Silhouette Infraprojects, Shrikrishna Construction
75.00 | Supplying of 01 Nos. specialist Skilled Carpenter with appropriate tools & basic accessories like compatible screws, nails, abro masking tape, etc, so as required to fix new fittings & accessories, for carrying out repair and maintenance of existing fittings and accessories and general preventive maintenance purpose with proficiency to handle brands like DORMA, OZONE, Godrej etc fittings, fixtures & accessories complete as per instruction of Engineer in Charge. (Note : The carpenter engaged to be authorised / experienced carpenter of reputed brand like Dorma/ Ozone / Godrej / etc.) | 40.00 | Each |  | 1000.00 | 40000.00 | 1080.00 | 43200.00 | 800.00 | 32000.00 | 800.00 | 32000.00 | 800.00 | 32000.00 | 32000.00 | Classicon Projects India Pvt. Ltd., Silhouette Infraprojects, Shrikrishna Construction
76.00 | Supplying 4mm thick ACP sheet | 72.00 | Sqm |  | 500.00 | 36000.00 | 1080.00 | 77760.00 | 1100.00 | 79200.00 | 1100.00 | 79200.00 | 1100.00 | 79200.00 | 36000.00 | Om Sai Associates
| Total in Figures |  |  |  |  | 5613255.10 |  | 4359186.50 |  | 4219953.75 |  | 4098830.50 |  | 4238989.40
Lowest Amount Quoted BY: Silhouette Infraprojects(4098830.50)

## BOQ Summary
BOQ Summary Details Tender Title: Minor repair work at New Operational Office Mumbai during year 2022 23 Tender ID: 2023_AAI_145609_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Silhouette Infraprojects | 4098830.50 | L1
| 2 | Shrikrishna Construction | 4219953.75 | L2
| 3 | Classicon Projects India Pvt. Ltd. | 4238989.40 | L3
| 4 | M I CONSTRUCTIONS | 4359186.50 | L4
| 5 | Om Sai Associates | 5613255.10 | L5