## BoQ1
Government eProcurement System Created By: Lakhan Pal Singh Solanki Created Date/Time: 05-Apr-2023 03:47 PM Tender Title: Upliftment of residential quarters at INA Colony, New Delhi. SH - Electrical Works PHASE-I Tender ID: 2023_AAI_145658_1
Tender Inviting Authority: Asstt. Gen. Mgr, Airports Authority of India, Safdarjung Airport, New Delhi-110003
Name of Work: Upliftment of residential quarters at INA Colony, New Delhi. SH - Electrical Works PHASE-I.
Contract No: AAI/SAP/Engg. (E)/INA/Residential Quarters/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | O. P. CONSTRUCTIONS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for Group 'A' light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | 100.00 | Point | 0.00 | 1080.00 | 108000.00 | 800.00 | 80000.00 | 80000.00 | O. P. CONSTRUCTIONS
2.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 1600.00 | Meter | 0.00 | 400.00 | 640000.00 | 300.00 | 480000.00 | 480000.00 | O. P. CONSTRUCTIONS
3.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 2000.00 | Meter | 0.00 | 600.00 | 1200000.00 | 425.00 | 850000.00 | 850000.00 | O. P. CONSTRUCTIONS
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
4.01 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 50.00 | Meter | 0.00 | 310.00 | 15500.00 | 225.00 | 11250.00 | 11250.00 | O. P. CONSTRUCTIONS
4.02 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 200.00 | Meter | 0.00 | 550.00 | 110000.00 | 450.00 | 90000.00 | 90000.00 | O. P. CONSTRUCTIONS
4.03 | 2 X 10 sq. mm + 1 X 6 sq. mm earth wire | 200.00 | Meter | 0.00 | 675.00 | 135000.00 | 494.00 | 98800.00 | 98800.00 | O. P. CONSTRUCTIONS
5.00 | Rewiring for Group 'A' light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel conduit including dismantling as required. | 150.00 | Point | 0.00 | 550.00 | 82500.00 | 425.00 | 63750.00 | 63750.00 | O. P. CONSTRUCTIONS
6.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
6.01 | 3 x 1.5 sq. mm | 100.00 | Meter | 0.00 | 100.00 | 10000.00 | 70.00 | 7000.00 | 7000.00 | O. P. CONSTRUCTIONS
6.02 | 6 x 1.5 sq. mm | 50.00 | Meter | 0.00 | 180.00 | 9000.00 | 135.00 | 6750.00 | 6750.00 | O. P. CONSTRUCTIONS
6.03 | 3 x 4 sq. mm | 100.00 | Meter | 0.00 | 210.00 | 21000.00 | 154.00 | 15400.00 | 15400.00 | O. P. CONSTRUCTIONS
6.04 | 6 x 4 sq. mm | 50.00 | Meter | 0.00 | 400.00 | 20000.00 | 297.00 | 14850.00 | 14850.00 | O. P. CONSTRUCTIONS
6.05 | 3 x 6 sq. mm | 400.00 | Meter | 0.00 | 310.00 | 124000.00 | 228.00 | 91200.00 | 91200.00 | O. P. CONSTRUCTIONS
7.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
7.01 | 20 mm | 50.00 | Meter | 0.00 | 225.00 | 11250.00 | 150.00 | 7500.00 | 7500.00 | O. P. CONSTRUCTIONS
7.02 | 25 mm | 50.00 | Meter | 0.00 | 250.00 | 12500.00 | 187.00 | 9350.00 | 9350.00 | O. P. CONSTRUCTIONS
8.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
8.01 | 5/6 amps switch | 900.00 | Each | 0.00 | 100.00 | 90000.00 | 30.00 | 27000.00 | 27000.00 | O. P. CONSTRUCTIONS
8.02 | 15/16 amp switch | 10.00 | Each | 0.00 | 150.00 | 1500.00 | 109.00 | 1090.00 | 1090.00 | O. P. CONSTRUCTIONS
8.03 | 3 pin 5/6 amp socket outlet | 10.00 | Each | 0.00 | 125.00 | 1250.00 | 85.00 | 850.00 | 850.00 | O. P. CONSTRUCTIONS
8.04 | 6 pin 15/16 amp socket outlet | 10.00 | Each | 0.00 | 200.00 | 2000.00 | 137.00 | 1370.00 | 1370.00 | O. P. CONSTRUCTIONS
8.05 | Bell push | 40.00 | Each | 0.00 | 150.00 | 6000.00 | 98.00 | 3920.00 | 3920.00 | O. P. CONSTRUCTIONS
9.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 130.00 | Each | 0.00 | 375.00 | 48750.00 | 200.00 | 26000.00 | 26000.00 | O. P. CONSTRUCTIONS
10.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 150.00 | Each | 0.00 | 50.00 | 7500.00 | 15.00 | 2250.00 | 2250.00 | O. P. CONSTRUCTIONS
11.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
11.01 | 1 or 2 Module (75mmX75mm) | 80.00 | Each | 0.00 | 300.00 | 24000.00 | 79.00 | 6320.00 | 6320.00 | O. P. CONSTRUCTIONS
11.02 | 3 Module (100mmX75mm) | 40.00 | Each | 0.00 | 350.00 | 14000.00 | 105.00 | 4200.00 | 4200.00 | O. P. CONSTRUCTIONS
11.03 | 4 Module (125mmX75mm) | 40.00 | Each | 0.00 | 350.00 | 14000.00 | 110.00 | 4400.00 | 4400.00 | O. P. CONSTRUCTIONS
11.04 | 6 Module (200mmX75mm) | 10.00 | Each | 0.00 | 400.00 | 4000.00 | 127.00 | 1270.00 | 1270.00 | O. P. CONSTRUCTIONS
11.05 | 8 Module (125mmX125mm) | 110.00 | Each | 0.00 | 450.00 | 49500.00 | 147.00 | 16170.00 | 16170.00 | O. P. CONSTRUCTIONS
11.06 | 12 Module (200mmX150mm) | 10.00 | Each | 0.00 | 550.00 | 5500.00 | 190.00 | 1900.00 | 1900.00 | O. P. CONSTRUCTIONS
12.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 300.00 | Each | 0.00 | 500.00 | 150000.00 | 275.00 | 82500.00 | 82500.00 | O. P. CONSTRUCTIONS
13.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 300.00 | Each | 0.00 | 600.00 | 180000.00 | 350.00 | 105000.00 | 105000.00 | O. P. CONSTRUCTIONS
14.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providng and fixing 2 nos. 3 pin 5/6 amps modular socket outlets and 2 nos 5/6 amps modular switches, connection etc. as required. | 100.00 | Each | 0.00 | 1000.00 | 100000.00 | 473.00 | 47300.00 | 47300.00 | O. P. CONSTRUCTIONS
15.00 | Supplying and fixing brass batten/ angle holder including connection etc. as required. | 280.00 | Each | 0.00 | 150.00 | 42000.00 | 60.00 | 16800.00 | 16800.00 | O. P. CONSTRUCTIONS
16.00 | Supplying and fixing call bell/ buzzer suitable for single phase, 230 V, complete as required. | 40.00 | Each | 0.00 | 100.00 | 4000.00 | 70.00 | 2800.00 | 2800.00 | O. P. CONSTRUCTIONS
17.00 | Supplying & fixing suitable size GI box wih modular plate and cover in front on surface or in recess i/c providing and fixing 25 amp modular socket outlet and 25 Amps modular SP MCB, “C” curve including connection, painting etc. as required. | 160.00 | Each | 0.00 | 750.00 | 120000.00 | 350.00 | 56000.00 | 56000.00 | O. P. CONSTRUCTIONS
18.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
18.01 | 12 way, Double door | 10.00 | Each | 0.00 | 2800.00 | 28000.00 | 1620.00 | 16200.00 | 16200.00 | O. P. CONSTRUCTIONS
18.02 | 16 way, Double door | 30.00 | Each | 0.00 | 3500.00 | 105000.00 | 2198.00 | 65940.00 | 65940.00 | O. P. CONSTRUCTIONS
19.00 | Supplying and fixing following rating, double pole, 240 volts, 10kA "C" curve, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required.
19.01 | 40A | 10.00 | Each | 0.00 | 1000.00 | 10000.00 | 270.00 | 2700.00 | 2700.00 | O. P. CONSTRUCTIONS
19.02 | 63A | 30.00 | Each | 0.00 | 1100.00 | 33000.00 | 319.00 | 9570.00 | 9570.00 | O. P. CONSTRUCTIONS
20.00 | Supplying and fixing single pole 5 amps to 32 amps rating, 240 volts, 10 kA “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 500.00 | Each | 0.00 | 300.00 | 150000.00 | 180.00 | 90000.00 | 90000.00 | O. P. CONSTRUCTIONS
21.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 20.00 | Each | 0.00 | 15.00 | 300.00 | 10.00 | 200.00 | 200.00 | O. P. CONSTRUCTIONS
22.00 | Supply & fixing of 4 feet long wall mounted tube batten suitable for 4 feet long retrofit type T8 LED tube light lamp complete with all accessories as per specifications of tender. | 250.00 | Each | 0.00 | 400.00 | 100000.00 | 1000.00 | 250000.00 | 100000.00 | Awasthi Electric Works
23.00 | Supply & fixing of decorative type wall lamp 7 W LED complete with all accessories as required at site. (Make: Jaquar, Model : JNL-NKL-WLBPGG001E27 or equivalent) | 120.00 | Each | 0.00 | 2500.00 | 300000.00 | 2200.00 | 264000.00 | 264000.00 | O. P. CONSTRUCTIONS
| Total in Figures |  |  |  |  | 4089050.00 |  | 2931600.00
Lowest Amount Quoted BY: O. P. CONSTRUCTIONS(2931600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Upliftment of residential quarters at INA Colony, New Delhi. SH - Electrical Works PHASE-I Tender ID: 2023_AAI_145658_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | O. P. CONSTRUCTIONS | 2931600.00 | L1
| 2 | Awasthi Electric Works | 4089050.00 | L2