## BoQ1
Government eProcurement System Created By: MD Sadrul Huda Created Date/Time: 20-Mar-2023 01:24 PM Tender Title: Replacement of Faulty and Weak Cables at Bhuj Airport. Tender ID: 2023_AAI_146180_1
Tender Inviting Authority: Asst.General Manager (E-E)
Name of Work:“Replacement of faulty/weak cables at Bhuj Airport."
Tender ID: 2023_AAI_146180_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Rudraksha Enterprise(GSTN-24AANFR7954B1Z1) |  | DC ELECTRICS(GSTN-24AWYPC0029K1ZG) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying and laying of 50 mm dia (OD-50mm & ID 38 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS:14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation in soft soil and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 90.00 | mtr | 100.00 | 350.00 | 31500.00 | 126.00 | 11340.00 | 210.00 | 18900.00 | 11340.00 | DC ELECTRICS
2.00 | Supplying and laying of 63 mm dia (OD-63mm & ID 50 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS:14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation in Hard rock and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 90.00 | mtr |  | 600.00 | 54000.00 | 154.00 | 13860.00 | 320.00 | 28800.00 | 13860.00 | DC ELECTRICS
3.00 | Supply of following size LT power cable, 1.1 KV grade of aluminum conductor PVC insulated/ XLPE insulated and PVC sheathed armoured cable confirming to IS-5554 (Part-I) 1988/ IS-7098 (Part-I) 1985 respectively with upto date amendment as required.
3.10 | 3.5C X 120 sq.mm | 320.00 | mtr |  | 650.00 | 208000.00 | 1167.00 | 373440.00 | 1320.00 | 422400.00 | 208000.00 | Rudraksha Enterprise
3.20 | 3.5C X 50 sq.mm | 220.00 | mtr |  | 400.00 | 88000.00 | 476.00 | 104720.00 | 640.00 | 140800.00 | 88000.00 | Rudraksha Enterprise
3.30 | 4C X 25 sq.mm | 100.00 | mtr |  | 330.00 | 33000.00 | 287.00 | 28700.00 | 420.00 | 42000.00 | 28700.00 | DC ELECTRICS
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ Hume/ GI pipe/ HDPE/ DWC Pipe as required.
4.10 | Upto 35 sq. mm | 89.00 | mtr |  | 65.00 | 5785.00 | 70.00 | 6230.00 | 22.00 | 1958.00 | 1958.00 | CENTRE TAP ENGINEERING
4.20 | Above 35 sq mm and upto 95 sqmm | 130.00 | mtr |  | 95.00 | 12350.00 | 84.00 | 10920.00 | 30.00 | 3900.00 | 3900.00 | CENTRE TAP ENGINEERING
4.30 | Above 95 sq mm and upto 185 sqmm | 33.00 | mtr |  | 115.00 | 3795.00 | 140.00 | 4620.00 | 45.00 | 1485.00 | 1485.00 | CENTRE TAP ENGINEERING
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 95 sq mm and upto 185 sqmm | 70.00 | mtr |  | 60.00 | 4200.00 | 98.00 | 6860.00 | 40.00 | 2800.00 | 2800.00 | CENTRE TAP ENGINEERING
6.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray cable tray with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc as required. 150 mm width X 50 mm depth X 1.6 mm thickness | 143.00 | mtr |  | 750.00 | 107250.00 | 728.00 | 104104.00 | 520.00 | 74360.00 | 74360.00 | CENTRE TAP ENGINEERING
7.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.
7.10 | Above 35 sqmm and upto 95 sq mm (clamped with 25 X 3 mm MS flat clamp.) | 18.00 | mtr |  | 135.00 | 2430.00 | 112.00 | 2016.00 | 60.00 | 1080.00 | 1080.00 | CENTRE TAP ENGINEERING
7.20 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40 x 3mm MS flat clamp) | 174.00 | mtr |  | 170.00 | 29580.00 | 238.00 | 41412.00 | 80.00 | 13920.00 | 13920.00 | CENTRE TAP ENGINEERING
8.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
8.10 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 49.00 | mtr |  | 75.00 | 3675.00 | 140.00 | 6860.00 | 85.00 | 4165.00 | 3675.00 | Rudraksha Enterprise
8.20 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 11.00 | mtr |  | 85.00 | 935.00 | 238.00 | 2618.00 | 100.00 | 1100.00 | 935.00 | Rudraksha Enterprise
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
9.10 | 3.5C X 120 sq.mm (45mm) | 4.00 | set |  | 3500.00 | 14000.00 | 980.00 | 3920.00 | 400.00 | 1600.00 | 1600.00 | CENTRE TAP ENGINEERING
9.20 | 3.5C X 50 sq. mm (35mm) | 5.00 | set |  | 3000.00 | 15000.00 | 840.00 | 4200.00 | 260.00 | 1300.00 | 1300.00 | CENTRE TAP ENGINEERING
9.30 | 4C X 25 sq. mm (28mm) | 4.00 | set |  | 2000.00 | 8000.00 | 700.00 | 2800.00 | 220.00 | 880.00 | 880.00 | CENTRE TAP ENGINEERING
10.00 | Providing, laying and fixing following dia G.I. pipe (Medium Class (B)) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc as required
10.10 | 50 mm dia G.I. pipe | 18.00 | mtr |  | 1000.00 | 18000.00 | 350.00 | 6300.00 | 750.00 | 13500.00 | 6300.00 | DC ELECTRICS
10.20 | 80 mm dia G.I. pipe | 10.00 | mtr |  | 1300.00 | 13000.00 | 490.00 | 4900.00 | 1150.00 | 11500.00 | 4900.00 | DC ELECTRICS
11.00 | Providing and fixing of 50 mm dia G.I. pipe (Medium Class (B)) at wall surface including minor civil works etc. complete as per the satisfaction of Engineer In Charge. | 12.00 | mtr |  | 1200.00 | 14400.00 | 350.00 | 4200.00 | 680.00 | 8160.00 | 4200.00 | DC ELECTRICS
12.00 | Supplying and fixing cable route marker with 10cm X 10cm X 5mm thick G.I. plate with inscription there on, bolted /welded to 35mm X 35mm X 6mm angle iron, 60cm long and fixing the same in ground as required. | 20.00 | Each |  | 1000.00 | 20000.00 | 2100.00 | 42000.00 | 280.00 | 5600.00 | 5600.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 686900.00 |  | 786020.00 |  | 800208.00
Lowest Amount Quoted BY: Rudraksha Enterprise(686900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Faulty and Weak Cables at Bhuj Airport. Tender ID: 2023_AAI_146180_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rudraksha Enterprise | 686900.00 | L1
| 2 | DC ELECTRICS | 786020.00 | L2
| 3 | CENTRE TAP ENGINEERING | 800208.00 | L3