## BoQ1
Government eProcurement System Created By: Jithi S Hari Created Date/Time: 26-Apr-2023 12:08 PM Tender Title: Miscellaneous Civil works of Terminal Building at Tezpur Airport. Civil and Electrical. Tender ID: 2023_AAI_146291_1
Tender Inviting Authority: AAI/RHQ/NER/ENGGC/T.Bldg/Tez/22-23
Name of Work: तेजपुर हवाईअड्डे पर टर्मिनल बिल्डिंग का विविध सिविल कार्य। (सिविल और विद्युत)। / Miscellaneous Civil works of Terminal Building at Tezpur Airport. (Civil & Electrical).
Contract No: 2023_AAI_146291_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S M L BROTHER(GSTN-02ABWPM6184GIZA) |  | KAMPUNG KAMYER TRADING CO.(GSTN-NA) |  | UTPAL JYOTI KALITA(GSTN-NA) |  | M/S TNT ENTERPRISES(GSTN-NA) |  | M/S SAIKIA ENTERPRISE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 2420.00 | Sqm |  | 30.00 | 72600.00 | 50.00 | 121000.00 | 25.00 | 60500.00 | 15.00 | 36300.00 | 62.00 | 150040.00 | 36300.00 | M/S TNT ENTERPRISES
2.00 | Painting on G.S sheet with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work. | 2310.00 | Sqm |  | 60.00 | 138600.00 | 98.00 | 226380.00 | 60.00 | 138600.00 | 40.00 | 92400.00 | 98.45 | 227419.50 | 92400.00 | M/S TNT ENTERPRISES
3.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 2455.00 | Sqm |  | 1600.00 | 3928000.00 | 1850.00 | 4541750.00 | 1600.00 | 3928000.00 | 800.00 | 1964000.00 | 2055.50 | 5046252.50 | 1964000.00 | M/S TNT ENTERPRISES
4.00 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | 3500.00 | Kg |  | 5.00 | 17500.00 | 30.00 | 105000.00 | 2.00 | 7000.00 | 10.00 | 35000.00 | 3.45 | 12075.00 | 7000.00 | UTPAL JYOTI KALITA
5.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 3330.00 | Kg |  | 120.00 | 399600.00 | 160.00 | 532800.00 | 120.00 | 399600.00 | 140.00 | 466200.00 | 185.65 | 618214.50 | 399600.00 | UTPAL JYOTI KALITA, M/S M L BROTHER
6.00 | Supplying and installing Laminated (Wood oak Malt colour) uPVC- Casement Fixed window made out of Lead free green profile uPVC sections of wall thickness 2.4mm, multichambered with corners fusion welded, fully reinforced with Galvanized steel 1.5mm thickness including glazing bead, folding gasket, glazing gasket, drain cap, fisher screws, packing pieces with all stainless steel screws complete as directed and as per the apporved design. The windows must be installed complete with all kinds of ironmongery including EPDM gaskets, bridging wedges and glass packers and with suitable water draining system. Application of Silicon sealant from Inside / Outside of Dowcorning / GE or equivalent.(a) CSMT Fixed window with Mullion using uPVC section of size 62mm x 70mm x 2.4mm thick wall for frame, 76mm x 62mm x 2.4mm thick wall for Mullion, i) Using 8mm clear toughened glass | 105.00 | Sqm |  | 9000.00 | 945000.00 | 9000.00 | 945000.00 | 13500.00 | 1417500.00 | 13000.00 | 1365000.00 | 9600.50 | 1008052.50 | 945000.00 | M/S M L BROTHER, KAMPUNG KAMYER TRADING CO.
7.00 | Supplying and installing Laminated (Wood oak Malt colour) uPVC- Casement Fixed window with CSMT openable window made out of Lead free green profile uPVC sections of wall thickness 2.4mm, multichambered with corners fusion welded, fully reinforced with Galvanized steel 1.5mm thickness including glazing bead, folding gasket, glazing gasket, locking arrangement, Espag handle, Espag, keeper, drain cap, run up block, fisher screws, packing pieces with all stainless steel screws complete as directed. The windows must be installed complete with all kinds of ironmongery including EPDM gaskets, bridging wedges and glass packers and with suitable water draining system. Application of Silicon sealant from Inside / Outside of Dowcorning / GE or equivalent.(a) CSMT Fixed window with Mullion using uPVC section of size 62mm x 70mm x 2.4mm thick wall for frame, 75mm x 62mm x 2.4mm thick wall for glass sash, 76mm x 62mm x 2.4mm thick wall for mulion, i) Using 8mm clear toughened glass | 8.00 | Sqm |  | 9000.00 | 72000.00 | 9000.00 | 72000.00 | 13500.00 | 108000.00 | 13000.00 | 104000.00 | 10718.83 | 85750.64 | 72000.00 | M/S M L BROTHER, KAMPUNG KAMYER TRADING CO.
8.00 | Supplying and installing Laminated (Wood oak Malt colour) uPVC- Casement Fixed window made out of Lead free green profile uPVC sections of wall thickness 2.4mm, multichambered with corners fusion welded, fully reinforced with Galvanized steel 1.5mm thickness including glazing bead, folding gasket, glazing gasket, drain cap, fisher screws, packing pieces with all stainless steel screws complete as directed and as per the apporved design. The windows must be installed complete with all kinds of ironmongery including EPDM gaskets, bridging wedges and glass packers and with suitable water draining system. Application of Silicon sealant from Inside / Outside of Dowcorning / GE or equivalent.(a) CSMT Fixed window with Mullion using uPVC section of size 62mm x 70mm x 2.4mm thick wall for frame, 76mm x 62mm x 2.4mm thick wall for Mullion, i) Using 20mm DGU Glass (5mm+10mm+5mm) | 78.52 | Sqm |  | 11000.00 | 863720.00 | 11000.00 | 863720.00 | 14500.00 | 1138540.00 | 13000.00 | 1020760.00 | 10525.25 | 826442.63 | 826442.63 | M/S SAIKIA ENTERPRISE
9.00 | Supplying and installation of 12mm Toughened glass door with SS fittings and accessorise, like Pivot hinges, patch locks, Floor Spring, 2 pairs of 600 mm Handles , door locks of Brand -Ozone/Godrej or Equivelent | 30.00 | Sqm |  | 5000.00 | 150000.00 | 13000.00 | 390000.00 | 7000.00 | 210000.00 | 2750.00 | 82500.00 | 5525.35 | 165760.50 | 82500.00 | M/S TNT ENTERPRISES
10.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 60.00 | Sqm |  | 80.00 | 4800.00 | 110.00 | 6600.00 | 90.00 | 5400.00 | 40.00 | 2400.00 | 180.91 | 10854.60 | 2400.00 | M/S TNT ENTERPRISES
11.00 | Supply of energy efficient indoor type 70 LED High bay ultra round lighting luminaire with pressure die cast aluminium, powder coated white finish in round profile with optimized heat sink for efficient heat dissipation and seprate replaceable electronic driver, including driver/ control gear & LED and all accessories etc. Fixture & LED lamp confirming as per LM79 & LM80 specifications respectively, suitable for fixing in double height ( approximate-7.5 meter) of ceiling cutout complete as required and suitable for operation on 230V, 50 Hz AC supply as per enclosed technical specification of LED fixtures (similar to Make: Jaquar, Cat. No. JBI-BLKLHBLDUR070XC) | 99.00 | Each |  | 6000.00 | 594000.00 | 8518.00 | 843282.00 | 9000.00 | 891000.00 | 8000.00 | 792000.00 | 2600.00 | 257400.00 | 257400.00 | M/S SAIKIA ENTERPRISE
12.00 | Supply of high bay outdoor type 200 W LED flood luminaire with pressure die cast aluminium, powder coated white finish in round/rectangular profile with optimized heat sink for efficient heat dissipation and seprate replaceable electronic driver, including driver/ control gear & LED,lense and all accessories etc. Fixture & LED lamp confirming as per LM79 & LM80 specifications respectively, suitable for fixing outdoor area complete as required and suitable for operation on 230V, 50 Hz AC supply as per enclosed technical specification of LED fixtures (similar to Make: SURYA , Cat. No. -SLE HB 200W HILIOS) | 5.00 | Each |  | 18000.00 | 90000.00 | 21295.00 | 106475.00 | 28000.00 | 140000.00 | 7000.00 | 35000.00 | 15500.00 | 77500.00 | 35000.00 | M/S TNT ENTERPRISES
13.00 | Supply of 18-22 watt, four feet long LED tube lamp (suitable for fixture of next item) with diffused optics & glare free light, confirming to LM80, suitable for operation on 230V, 50 hz, single phase AC supply etc. complete as required. as per enclosed technical specification of LED fixtures (similar to Make: HAVELLS , Cat. No. -PHOTONULTRA2.01213T8SSTL20WLED865SPC) | 40.00 | Each |  | 700.00 | 28000.00 | 896.00 | 35840.00 | 900.00 | 36000.00 | 600.00 | 24000.00 | 1150.00 | 46000.00 | 24000.00 | M/S TNT ENTERPRISES
14.00 | Supply of surface / wall mounted metal body batten type LED fixture suitable for mounting 20-22W LED Tube light lamp of 4 feet long, made of CRCA sheet complete with accessories like driver, etc. and suitable for operation on 230V, 50 hz, single phase AC supply complete as required. as per enclosed technical specification of LED fixtures (similar to Make: HAVELLS , Cat. No. -STREAKT8UPTO2X22WSSBSWH) | 20.00 | Each |  | 250.00 | 5000.00 | 236.00 | 4720.00 | 330.00 | 6600.00 | 600.00 | 12000.00 | 850.00 | 17000.00 | 4720.00 | KAMPUNG KAMYER TRADING CO.
15.00 | Supply of energy effiecient, 5 Star rating , 1200 mm sweep ceiling fan, complete with standard down rod, canopies, shackles, blades having Double Ball Bearing and other related accessories like capacitor, etc. but without regulators suitable for operation on 230 V, 50 Hz, Single phase, A.C supply complete as required.as per enclosed technical specification & as per attached AAI approved make of list. | 20.00 | Each |  | 2300.00 | 46000.00 | 2018.00 | 40360.00 | 2300.00 | 46000.00 | 3500.00 | 70000.00 | 2600.00 | 52000.00 | 40360.00 | KAMPUNG KAMYER TRADING CO.
16.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 20.00 | Each |  | 250.00 | 5000.00 | 269.00 | 5380.00 | 300.00 | 6000.00 | 400.00 | 8000.00 | 625.00 | 12500.00 | 5000.00 | M/S M L BROTHER
17.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (c) Group C | 52.00 | P.Point |  | 1100.00 | 57200.00 | 1408.00 | 73216.00 | 1300.00 | 67600.00 | 600.00 | 31200.00 | 465.00 | 24180.00 | 24180.00 | M/S SAIKIA ENTERPRISE
18.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without dependent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit,and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. a) Group C | 93.00 | P.Point |  | 650.00 | 60450.00 | 826.00 | 76818.00 | 900.00 | 83700.00 | 600.00 | 55800.00 | 375.00 | 34875.00 | 34875.00 | M/S SAIKIA ENTERPRISE
19.00 | Supplying and fixing of following sizes of steel conduit alongwith a ccessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | 280.00 | P.Mtr |  | 90.00 | 25200.00 | 93.00 | 26040.00 | 270.00 | 75600.00 | 170.00 | 47600.00 | 139.00 | 38920.00 | 25200.00 | M/S M L BROTHER
20.00 | Wiring for circuit / submain wiring alongwith earth wire with following size of FRLS PVC insulated, copper conductor, single core cable in surface/recessed steel conduit as required. (a) 2 x 1.5 Sqmm + 1 x 1.5 Sqmm earth wire | 246.00 | P.Mtr |  | 250.00 | 61500.00 | 233.00 | 57318.00 | 270.00 | 66420.00 | 250.00 | 61500.00 | 495.00 | 121770.00 | 57318.00 | KAMPUNG KAMYER TRADING CO.
21.00 | Wiring for circuit / submain wiring alongwith earth wire with following size of FRLS PVC insulated, copper conductor, single core cable in surface / recessed steel conduit as required. (a) 2x 4 Sqmm + 1 x 4 Sqmm earth wire | 295.00 | P.Mtr |  | 90.00 | 26550.00 | 309.00 | 91155.00 | 380.00 | 112100.00 | 300.00 | 88500.00 | 495.00 | 146025.00 | 26550.00 | M/S M L BROTHER
22.00 | Wiring for circuit / submain wiring alongwith earth wire with following size of FRLS PVC insulated, copper conductor, single core cable in surface/recessed steel conduit as required. (a) 4x 4 Sqmm + 2 x 4 Sqmm earth wire | 156.00 | P.Mtr |  | 90.00 | 14040.00 | 491.00 | 76596.00 | 580.00 | 90480.00 | 350.00 | 54600.00 | 495.00 | 77220.00 | 14040.00 | M/S M L BROTHER
23.00 | Installation, testing and commissioning of pre-wired, LED / fluorescent / compact fluorescent fitting of all types, complete with all accessories and LED tube / lamp etc. directly on ceiling / wall (alongwith fixing arrangement with 2 Nos. chain in case of recess fixture) , including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 111.00 | Each |  | 350.00 | 38850.00 | 135.00 | 14985.00 | 350.00 | 38850.00 | 500.00 | 55500.00 | 495.00 | 54945.00 | 14985.00 | KAMPUNG KAMYER TRADING CO.
24.00 | Installation, testing and commissioning of ceiling fan upto 1300, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 20.00 | Each |  | 165.00 | 3300.00 | 140.00 | 2800.00 | 200.00 | 4000.00 | 3500.00 | 70000.00 | 625.00 | 12500.00 | 2800.00 | KAMPUNG KAMYER TRADING CO.
25.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) a) 6 way (4 + 18), Double door | 6.00 | Each |  | 10000.00 | 60000.00 | 4045.00 | 24270.00 | 4600.00 | 27600.00 | 3800.00 | 22800.00 | 2250.00 | 13500.00 | 13500.00 | M/S SAIKIA ENTERPRISE
26.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc.as required. (a)For 6 way, Double door MCBDB | 6.00 | Each |  | 1700.00 | 10200.00 | 894.00 | 5364.00 | 900.00 | 5400.00 | 6000.00 | 36000.00 | 625.00 | 3750.00 | 3750.00 | M/S SAIKIA ENTERPRISE
27.00 | Supplying and fixing 6 Amps. to 32 Amps. rating, 10 KA 240 Volts, 'C' Series, miniature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 48.00 | Each |  | 250.00 | 12000.00 | 199.00 | 9552.00 | 500.00 | 24000.00 | 350.00 | 16800.00 | 885.00 | 42480.00 | 9552.00 | KAMPUNG KAMYER TRADING CO.
28.00 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. (a) 40Amp. | 4.00 | Each |  | 2000.00 | 8000.00 | 2179.00 | 8716.00 | 2400.00 | 9600.00 | 290.00 | 1160.00 | 2300.00 | 9200.00 | 1160.00 | M/S TNT ENTERPRISES
29.00 | Supplying and fixing 63 Amp.rating, four pole, (three phase and neutral), 415 V, residual current circuit breaker (RCCB), having a sensitivity current 300 mA in the existing MCB DB complete with connections, testing and commissioning etc. As required. | 6.00 | Each |  | 3500.00 | 21000.00 | 2133.00 | 12798.00 | 2600.00 | 15600.00 | 7410.00 | 44460.00 | 1650.00 | 9900.00 | 9900.00 | M/S SAIKIA ENTERPRISE
30.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 10.00 | Each |  | 11.00 | 110.00 | 9.00 | 90.00 | 10.00 | 100.00 | 100.00 | 1000.00 | 525.00 | 5250.00 | 90.00 | KAMPUNG KAMYER TRADING CO.
31.00 | Supply of XLPE insulated & PVC sheathed 3.5 core X 35 sq. mm size aluminium conductor , armoured cable of 1.1 KV grade confirming to IS- 7098 ( Part-I) with up to date ammendements etc. complete as required. | 250.00 | P.Mtr |  | 350.00 | 87500.00 | 308.00 | 77000.00 | 380.00 | 95000.00 | 350.00 | 87500.00 | 410.45 | 102612.50 | 77000.00 | KAMPUNG KAMYER TRADING CO.
32.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. (a) upto 35 sq.mm | 18.00 | P.Mtr |  | 240.00 | 4320.00 | 207.00 | 3726.00 | 350.00 | 6300.00 | 250.00 | 4500.00 | 425.00 | 7650.00 | 3726.00 | KAMPUNG KAMYER TRADING CO.
33.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (a) upto 35 sq.mm | 30.00 | P.Mtr |  | 27.00 | 810.00 | 23.00 | 690.00 | 30.00 | 900.00 | 250.00 | 7500.00 | 512.00 | 15360.00 | 690.00 | KAMPUNG KAMYER TRADING CO.
34.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing masonry open duct as required. (a) upto 35 sq.mm | 90.00 | P.Mtr |  | 21.00 | 1890.00 | 18.00 | 1620.00 | 25.00 | 2250.00 | 250.00 | 22500.00 | 425.00 | 38250.00 | 1620.00 | KAMPUNG KAMYER TRADING CO.
35.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required. (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 10.00 | P.Mtr |  | 34.00 | 340.00 | 29.00 | 290.00 | 50.00 | 500.00 | 220.00 | 2200.00 | 425.00 | 4250.00 | 290.00 | KAMPUNG KAMYER TRADING CO.
36.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1kV grade as required. (a) 3.5 Core, 35 sqmm. | 12.00 | P.Set |  | 270.00 | 3240.00 | 231.00 | 2772.00 | 340.00 | 4080.00 | 300.00 | 3600.00 | 531.00 | 6372.00 | 2772.00 | KAMPUNG KAMYER TRADING CO.
37.00 | Supplying and fixing following modular switch and socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. A)15/16 amp switch and 15/16 ampSocket | 35.00 | Each |  | 226.00 | 7910.00 | 192.00 | 6720.00 | 140.00 | 4900.00 | 600.00 | 21000.00 | 161.00 | 5635.00 | 4900.00 | UTPAL JYOTI KALITA
38.00 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. 1 or 2 Module | 35.00 | Each |  | 92.00 | 3220.00 | 78.00 | 2730.00 | 100.00 | 3500.00 | 70.00 | 2450.00 | 150.00 | 5250.00 | 2450.00 | M/S TNT ENTERPRISES
39.00 | Dismantling of existing ceiling fan upto 1300, including disconnect of 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable alongwith down rods of standard length (upto 30 cm or higher) etc. as required and handover to AAI. | 20.00 | Each |  | 140.00 | 2800.00 | 125.00 | 2500.00 | 200.00 | 4000.00 | 150.00 | 3000.00 | 612.00 | 12240.00 | 2500.00 | KAMPUNG KAMYER TRADING CO.
40.00 | Dismantling of existing ceiling Led luminaries upto 150 watt from double height area upto 7.5 meter of departure & arrival area of terminal building including disconnection of 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required and handover to AAI. | 40.00 | Each |  | 330.00 | 13200.00 | 274.00 | 10960.00 | 150.00 | 6000.00 | 200.00 | 8000.00 | 685.00 | 27400.00 | 6000.00 | UTPAL JYOTI KALITA
41.00 | Dismantling of existing Addresabale fire alaram panel ,photo+ heat detector-152 Nos, short ckt isolator-10 nos, control output model- 30 nos, Manual call point -22, hooter-23 nos, response indicator- 47 Nos., temp. /manual callpoint & wiring etc. as required and handover to AAI. | 1.00 | Job |  | 120000.00 | 120000.00 | 20579.00 | 20579.00 | 200.00 | 200.00 | 10000.00 | 10000.00 | 1200.00 | 1200.00 | 200.00 | UTPAL JYOTI KALITA
42.00 | Supplying, installation, testing and commissioning of micro processor based intelligent addressable main fire alarm panel, central processing unit with the following loop modules and capable of supporting not less than 240 devices (including detectors) and minimum 120 detectors per loop and loop length up to 2 km, network communication card, minimum 320 character graphics/ LCD display with touch screen or other keypad and minimum 4000 events history log in the non volatile memory (EPROM), power supply unit (230 ± 5% V, 50 hz), 48 hrs back-up with 24 volt sealed maintenance free batteries with automatic charger. The panel shall have facility to connect printer to printout log and facility to have seamless integration with analog/digital voice evacuation system (which is part of the schedule of work under SH: PA System) and shall be complete with all accessories . The panel shall be compatible for IBMS system with open protocol BACnet/ Modbus over IP complete as per specifications. i. 10 Loop Panel. | 1.00 | Each |  | 300000.00 | 300000.00 | 180030.00 | 180030.00 | 400000.00 | 400000.00 | 120000.00 | 120000.00 | 65000.00 | 65000.00 | 65000.00 | M/S SAIKIA ENTERPRISE
43.00 | Supplying, installation, testing & commissioning of repeater panel wih 320 character/ Touch screen LCD display with inbuilt reset, acknowledge and silence switches complete as required. | 1.00 | Each |  | 120000.00 | 120000.00 | 151001.00 | 151001.00 | 85000.00 | 85000.00 | 50000.00 | 50000.00 | 7200.00 | 7200.00 | 7200.00 | M/S SAIKIA ENTERPRISE
44.00 | Supplying, installation, testing & commissioning of intelligent addressable photothermal Smoke detector complete with mounting base complete as required. | 152.00 | Each |  | 1400.00 | 212800.00 | 2000.00 | 304000.00 | 2200.00 | 334400.00 | 2600.00 | 395200.00 | 895.25 | 136078.00 | 136078.00 | M/S SAIKIA ENTERPRISE
45.00 | Supplying, installation, testing & commissioning of response indicator on surface/recessed MS Box having two LED, metallic cover complete with all connections etc as required | 47.00 | Each |  | 235.00 | 11045.00 | 200.00 | 9400.00 | 260.00 | 12220.00 | 200.00 | 9400.00 | 72.00 | 3384.00 | 3384.00 | M/S SAIKIA ENTERPRISE
46.00 | Supplying, installation, testing & commisssioning of intelligent addressable programmable sounder/ hooter complete as required | 23.00 | Each |  | 2400.00 | 55200.00 | 2000.00 | 46000.00 | 2700.00 | 62100.00 | 3500.00 | 80500.00 | 1250.00 | 28750.00 | 28750.00 | M/S SAIKIA ENTERPRISE
47.00 | Supplying, installation, testing & commissioning of fault isolator complete with base as required. | 10.00 | Each |  | 2500.00 | 25000.00 | 2466.00 | 24660.00 | 3000.00 | 30000.00 | 3600.00 | 36000.00 | 2300.00 | 23000.00 | 23000.00 | M/S SAIKIA ENTERPRISE
48.00 | Supplying, installation, testing & commissioning of intelligent addressable thermal detector with rate of rise cum fixed tempreature thermistor complete with base as required. | 20.00 | Each |  | 1900.00 | 38000.00 | 2056.00 | 41120.00 | 1900.00 | 38000.00 | 2800.00 | 56000.00 | 2800.00 | 56000.00 | 38000.00 | UTPAL JYOTI KALITA, M/S M L BROTHER
49.00 | Supplying, installation, testing & commissioning of intelligent addressable duct detector including suitable Photo detector complete with base as required. | 8.00 | Each |  | 5500.00 | 44000.00 | 5886.00 | 47088.00 | 7000.00 | 56000.00 | 3600.00 | 28800.00 | 1900.00 | 15200.00 | 15200.00 | M/S SAIKIA ENTERPRISE
50.00 | Supplying, installation, testing & commissioning of addressable manual call point complete as required. | 22.00 | Each |  | 1900.00 | 41800.00 | 2919.00 | 64218.00 | 2700.00 | 59400.00 | 3825.00 | 84150.00 | 535.00 | 11770.00 | 11770.00 | M/S SAIKIA ENTERPRISE
51.00 | Supplying, installation, testing & commissioning of fire fighter phone jack complete as required. | 2.00 | Each |  | 1300.00 | 2600.00 | 1196.00 | 2392.00 | 1200.00 | 2400.00 | 3600.00 | 7200.00 | 2600.00 | 5200.00 | 2392.00 | KAMPUNG KAMYER TRADING CO.
52.00 | Supplying & laying of 2x1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable Ethylene Propylene Rubber (EPR) insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 2300.00 | Each |  | 250.00 | 575000.00 | 247.00 | 568100.00 | 300.00 | 690000.00 | 210.00 | 483000.00 | 44.65 | 102695.00 | 102695.00 | M/S SAIKIA ENTERPRISE
53.00 | Supplying and fixing 25 mm dia MS pipe with PVC coating along with all ancillaries and accessories like coupler etc. as required. | 1000.00 | Each |  | 45.00 | 45000.00 | 38.00 | 38000.00 | 50.00 | 50000.00 | 300.00 | 300000.00 | 102.10 | 102100.00 | 38000.00 | KAMPUNG KAMYER TRADING CO.
| Total in Figures |  |  |  |  | 9473895.00 |  | 10925621.00 |  | 11106940.00 |  | 8518980.00 |  | 9990373.87
Lowest Amount Quoted BY: M/S TNT ENTERPRISES(8518980.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil works of Terminal Building at Tezpur Airport. Civil and Electrical. Tender ID: 2023_AAI_146291_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S TNT ENTERPRISES | 8518980.00 | L1
| 2 | M/S M L BROTHER | 9473895.00 | L2
| 3 | M/S SAIKIA ENTERPRISE | 9990373.87 | L3
| 4 | KAMPUNG KAMYER TRADING CO. | 10925621.00 | L4
| 5 | UTPAL JYOTI KALITA | 11106940.00 | L5