## BoQ1
Government eProcurement System Created By: Amar Singh Created Date/Time: 31-Mar-2023 04:00 PM Tender Title: Construction of DVOR Building and other associated work at Kushinagar International Airport, Kushinagar (UP) Tender ID: 2023_AAI_146385_1
Tender Inviting Authority: SM(E-C)
Name of Work: Construction of DVOR building and other associated works at Kushinagar International Airport, Kushinagar (UP)
Contract No: 9648442255
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Nabalok Das(GSTN-NA) |  | DEEP CONSTRUCTION(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. a) All kinds of soil | 240.00 | Cum | 205.45 | 50.00 | 12000.00 | 120.00 | 28800.00 | 12000.00 | Nabalok Das
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. a) All kinds of soil. | 98.00 | Cum | 286.85 | 100.00 | 9800.00 | 249.43 | 24444.14 | 9800.00 | Nabalok Das
3.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil a) Pipes, cables etc. exceeding 300 mm dia but not exceeding 600 mm | 516.00 | Mtr. | 651.55 | 100.00 | 51600.00 | 566.56 | 292344.96 | 51600.00 | Nabalok Das
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 197.00 | Cum | 253.95 | 50.00 | 9850.00 | 100.00 | 19700.00 | 9850.00 | Nabalok Das
5.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. a) All kinds of soil | 132.00 | Cum | 104.50 | 50.00 | 6600.00 | 50.00 | 6600.00 | 6600.00 | Nabalok Das, DEEP CONSTRUCTION
6.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 19.00 | Cum | 2161.20 | 1500.00 | 28500.00 | 1879.30 | 35706.70 | 28500.00 | Nabalok Das
7.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. a) All kinds of soil | 32175.00 | Sqm. | 28.15 | 1.00 | 32175.00 | 24.48 | 787644.00 | 32175.00 | Nabalok Das
8.00 | Supplying chemical emulsion in sealed containers including delivery as specified. a) Chlorpyriphos emulsifiable concentrate of 20% | 35.00 | Ltr. | 200.90 | 175.00 | 6125.00 | 174.69 | 6114.15 | 6114.15 | DEEP CONSTRUCTION
9.00 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) :Along the external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc.: a) With Chlorpyriphos E.C. 20% with 1% concentration | 69.00 | Mtr. | 44.70 | 40.00 | 2760.00 | 28.09 | 1938.21 | 1938.21 | DEEP CONSTRUCTION
10.00 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) :Treatment of existing masonry using chemical emulsion @ one litre per hole at 300 mm interval including drilling holes at 45 degree and plugging them with cement mortar 1:2 (1 cement : 2 coarse sand) to the full depth of the hole : a) With Chlorpyriphos E.C. 20% with 1% concentration | 34.00 | Mtr. | 35.75 | 40.00 | 1360.00 | 31.09 | 1057.06 | 1057.06 | DEEP CONSTRUCTION
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a)1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 11.00 | Cum | 7365.15 | 7000.00 | 77000.00 | 6000.00 | 66000.00 | 66000.00 | DEEP CONSTRUCTION
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a)1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 285.00 | Cum | 6326.05 | 5500.00 | 1567500.00 | 4600.00 | 1311000.00 | 1311000.00 | DEEP CONSTRUCTION
13.00 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | 13.00 | Sqm. | 370.85 | 350.00 | 4550.00 | 322.48 | 4192.24 | 4192.24 | DEEP CONSTRUCTION
14.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : a) 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 41.00 | Cum | 8364.20 | 7500.00 | 307500.00 | 6900.00 | 282900.00 | 282900.00 | DEEP CONSTRUCTION
15.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 14.00 | Cum | 10719.30 | 7500.00 | 105000.00 | 8600.00 | 120400.00 | 105000.00 | Nabalok Das
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for : (a) Foundations, footings, bases for columns etc. for mass concrete. | 358.00 | Sqm. | 307.95 | 100.00 | 35800.00 | 267.78 | 95865.24 | 35800.00 | Nabalok Das
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Suspended floors, roofs, landings, balconies and access platform | 85.00 | Sqm. | 766.55 | 300.00 | 25500.00 | 666.56 | 56657.60 | 25500.00 | Nabalok Das
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Small lintels not exceeding 1.5 m clear span, moulding as in cornices, window sills, string courses, bands, copings, bed plates, anchor blocks and the like. | 21.00 | Sqm. | 307.95 | 300.00 | 6300.00 | 267.78 | 5623.38 | 5623.38 | DEEP CONSTRUCTION
19.00 | Providing, hoisting and fixing above plinth level up to floor five level precastreinforced cement concrete work in string courses, bands, copings,bed plates, anchor blocks, plain window sills and the like, including thecost of required centering, shuttering but , excluding cost ofreinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derivedfrom natural sources : 3 graded stone aggregate 20 mm nominal sizederived from natural sources). | .10 | Cum | 9673.50 | 10000.00 | 1000.00 | 11810.30 | 1181.03 | 1000.00 | Nabalok Das
20.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level . (a) Thermo-Mechanically Treated bars of grade Fe-500D or more | 4580.00 | Kg | 89.65 | 68.00 | 311440.00 | 77.96 | 357056.80 | 311440.00 | Nabalok Das
21.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete above plinth level. a)Thermo-Mechanically Treated bars of grade Fe-500D or more. | 2229.00 | Kg | 89.65 | 68.00 | 151572.00 | 77.96 | 173772.84 | 151572.00 | Nabalok Das
22.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 11.00 | Cum | 6658.25 | 6400.00 | 70400.00 | 5000.00 | 55000.00 | 55000.00 | DEEP CONSTRUCTION
23.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 37.00 | Cum | 8288.35 | 6500.00 | 240500.00 | 6200.00 | 229400.00 | 229400.00 | DEEP CONSTRUCTION
24.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : a) cement mortar 1:4 (1 cement : 4 coarse sand) | 33.00 | Sqm. | 837.85 | 800.00 | 26400.00 | 728.56 | 24042.48 | 24042.48 | DEEP CONSTRUCTION
25.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. : a) cement mortar 1:4 (1 cement : 4 coarse sand) | 9.00 | Sqm. | 1018.05 | 800.00 | 7200.00 | 885.26 | 7967.34 | 7200.00 | Nabalok Das
26.00 | Extra for providing and placing in position 2 Nos 6 mm dia. M.S. bars at every third course of half brick masonry. | 9.00 | Sqm. | 86.45 | 90.00 | 810.00 | 75.17 | 676.53 | 676.53 | DEEP CONSTRUCTION
27.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. :- Granite stone slab colour black, Cherry/Ruby red or approved by EIC. a) Area of slab over 0.50 sqm | 2.00 | Sqm. | 4425.35 | 5000.00 | 10000.00 | 3848.13 | 7696.26 | 7696.26 | DEEP CONSTRUCTION
28.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 1.00 | Each | 808.15 | 700.00 | 700.00 | 702.74 | 702.74 | 700.00 | Nabalok Das
29.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: a) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 4.00 | Sqm. | 3086.10 | 300.00 | 1200.00 | 1752.83 | 7011.32 | 1200.00 | Nabalok Das
30.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. a) Fixed to steel windows by welding | 217.00 | Kg | 181.00 | 150.00 | 32550.00 | 157.39 | 34153.63 | 32550.00 | Nabalok Das
31.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 6.00 | Each | 856.30 | 700.00 | 4200.00 | 744.61 | 4467.66 | 4200.00 | Nabalok Das
32.00 | Providing and fixing bright finished brass 100 mm mortice latch and lockwith 6 levers and a pair of lever handles of approved quality with necessaryscrews etc. complete. | 6.00 | Each | 723.80 | 600.00 | 3600.00 | 710.87 | 4265.22 | 3600.00 | Nabalok Das
33.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : a) 250x16 mm | 7.00 | Each | 234.90 | 180.00 | 1260.00 | 204.26 | 1429.82 | 1260.00 | Nabalok Das
34.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 150x10 mm | 8.00 | Each | 75.55 | 70.00 | 560.00 | 65.69 | 525.52 | 525.52 | DEEP CONSTRUCTION
35.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete a) 125 mm | 14.00 | Each | 60.05 | 60.00 | 840.00 | 52.22 | 731.08 | 731.08 | DEEP CONSTRUCTION
36.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. a) Single rubber stopper | 7.00 | Each | 35.50 | 35.00 | 245.00 | 30.87 | 216.09 | 216.09 | DEEP CONSTRUCTION
37.00 | Providing & Fixing decorative high pressure laminated sheet of plain /wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. a) 1.5 mm thick | 21.00 | Sqm. | 890.55 | 700.00 | 14700.00 | 774.39 | 16262.19 | 14700.00 | Nabalok Das
38.00 | Providing and fixing factory made Fiberglass Reinforced plastics (F.R.P.) chajja 4 mm thick of required colour, size and design made by Resin Transfer Moulding (RTM) Machine Technology, resulting in void free compact laminate in single piece, having smooth gradual slope curvature for easy drainage of water and duly reinforced by 2 nos vertically and 1 nos horizontally 50x2 mm thick M.S. flat with 12 mm in built hole for grouting on the existing wall along with the 50 mm flanges duly inserted and sealed in the wall complete in one single piece casted monolithically, including all necessary fittings . The FRP Chajja should be manufactured using unsaturated Polyester resin as per IS: 6746, duly reinforced with fibre glass chopped strand mat (CSM) as per IS: 11551 complete with protective Gel coat U/V coating on Top for complete resistance from the extreme of temperature, weather & sunlight (Only plan area of chajjas shall be measured for making payment). | 7.00 | Sqm. | 4901.50 | 4000.00 | 28000.00 | 4262.17 | 29835.19 | 28000.00 | Nabalok Das
39.00 | Providing and fixing frame work for partitions/ wall lining etc. made of50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/floors with steel dash fasteners of 8 mm dia, 75 mm long bolt,including making provision for opening for doors, windows, electrical conduits,switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | 209.00 | Kg. | 133.35 | 130.00 | 27170.00 | 115.96 | 24235.64 | 24235.64 | DEEP CONSTRUCTION
40.00 | Providing and fixing in wall lining medium density fibre board IS: 14587:1998 marked, Pre-laminated one side decorative lamination and other side balancing lamination, with necessary fixing arrangement and screws etc. complete.a)12 mm thick. | 51.00 | Sqm. | 1065.15 | 1000.00 | 51000.00 | 926.22 | 47237.22 | 47237.22 | DEEP CONSTRUCTION
41.00 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2 mm and braced with flat iron diagonals 20x5 mmsize, with top and bottom rail of T-iron 40x40x6 mm, with 40 mm diasteel pulleys, complete with bolts, nuts, locking arrangement, stoppers,handles, including applying a priming coat of approved steel primer. | 4.00 | Sqm. | 9397.35 | 9000.00 | 36000.00 | 8171.61 | 32686.44 | 32686.44 | DEEP CONSTRUCTION
42.00 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in- harge: Profile C a) Fixing with adjustable lugs with split end tail to each jamb | 6.00 | Mtr. | 471.25 | 400.00 | 2400.00 | 409.78 | 2458.68 | 2400.00 | Nabalok Das
43.00 | Providing and fixing mild steel round holding down bolts with nuts , washer & plates complete. | 514.00 | Kg. | 88.50 | 80.00 | 41120.00 | 76.96 | 39557.44 | 39557.44 | DEEP CONSTRUCTION
44.00 | Steel work welded in built up sections/ framed work, including cutting,hoisting, fixing in position and applying a priming coat of approved steelprimer using structural steel etc. as required. a) In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 950.00 | Kg | 102.25 | 100.00 | 95000.00 | 88.91 | 84464.50 | 84464.50 | DEEP CONSTRUCTION
45.00 | Steel work welded in built up sections/ framed work, including cutting,hoisting, fixing in position and applying a priming coat of approved steelprimer using structural steel etc. as required. a) In gratings, frames, guard bar, ladder, railings, brackets,gates and similar works | 2340.00 | Kg | 142.30 | 125.00 | 292500.00 | 123.74 | 289551.60 | 289551.60 | DEEP CONSTRUCTION
46.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm(thickness to be specified by the manufacturer) of 1st quality conformingto IS : 15622 of approved make in colours such as White, Ivory, Grey,Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm includingpointing the joints with white cement and matching pigment etc.,complete. | 6.00 | Sqm. | 935.60 | 850.00 | 5100.00 | 813.56 | 4881.36 | 4881.36 | DEEP CONSTRUCTION
47.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming toIS : 15622 (thickness to be specified by the manufacturer ) of approvedmake in all colours, shades except burgundy, bottle green, black of anysize as approved by Engineer-in-Charge in skirting, risers of steps anddados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarsesand) and jointing with grey cement slurry @ 3.3kg per sqmincluding pointing in white cement mixed with pigment of matching shade complete. | 10.00 | Sqm. | 938.50 | 900.00 | 9000.00 | 816.09 | 8160.90 | 8160.90 | DEEP CONSTRUCTION
48.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.a)Glazed Vitrified tiles Matt/Antiskid finish of size. i)Size of Tile 600 x 600 mm (Light gray (RAL 7004 ) | 61.00 | Sqm. | 1311.05 | 1200.00 | 73200.00 | 1118.78 | 68245.58 | 68245.58 | DEEP CONSTRUCTION
49.00 | Providing and laying Vitrified tiles in different sizes (thickness to bespecified by manufacturer), with water absorption less than 0.08 % andconforming to I.S. 15622, of approved make, in all colours & shade, inskirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joint with white cement & matching pigmentsetc. complete. a) Size of Tile 600x600 mm | 8.00 | Sqm. | 1466.50 | 1250.00 | 10000.00 | 1231.87 | 9854.96 | 9854.96 | DEEP CONSTRUCTION
50.00 | Making khurras 45x45 cm with average minimum thickness of 5 cmcement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stoneaggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarsesand) and a coat of neat cement, rounding the edges and makingand finishing the outlet complete. | 1.00 | Each | 266.60 | 250.00 | 250.00 | 231.83 | 231.83 | 231.83 | DEEP CONSTRUCTION
51.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. A) 110 mm diameter | 14.00 | Mtr. | 319.75 | 300.00 | 4200.00 | 278.04 | 3892.56 | 3892.56 | DEEP CONSTRUCTION
52.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° a) 110 mm bend | 4.00 | Each | 132.00 | 120.00 | 480.00 | 114.78 | 459.12 | 459.12 | DEEP CONSTRUCTION
53.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 4.00 | Each | 47.90 | 40.00 | 160.00 | 41.65 | 166.60 | 160.00 | Nabalok Das
54.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Shoe (Plain) i) 110 mm Shoe | 4.00 | Each | 115.95 | 90.00 | 360.00 | 100.83 | 403.32 | 360.00 | Nabalok Das
55.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. a) 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | 19.00 | Sqm. | 1948.95 | 1300.00 | 24700.00 | 1694.74 | 32200.06 | 24700.00 | Nabalok Das
56.00 | 12 mm cement plaster of mix a) 1:6 (1 cement: 6 fine sand) | 211.00 | Sqm. | 282.00 | 250.00 | 52750.00 | 200.00 | 42200.00 | 42200.00 | DEEP CONSTRUCTION
57.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : a) 1:6 (1 cement: 6 fine sand) | 175.00 | Sqm. | 324.30 | 300.00 | 52500.00 | 220.00 | 38500.00 | 38500.00 | DEEP CONSTRUCTION
58.00 | 6 mm cement plaster of mix : a) 1:3 (1 cement : 3 fine sand) | 63.00 | Sqm. | 253.05 | 250.00 | 15750.00 | 220.04 | 13862.52 | 13862.52 | DEEP CONSTRUCTION
59.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. a) Two or more coats on new work | 86.00 | Sqm. | 92.75 | 80.00 | 6880.00 | 80.65 | 6935.90 | 6880.00 | Nabalok Das
60.00 | Finishing walls with water proofing cement paint of required shade : a) New work (Two or more coats applied @ 3.84 kg/10 sqm) | 114.00 | Sqm. | 97.60 | 80.00 | 9120.00 | 84.87 | 9675.18 | 9120.00 | Nabalok Das
61.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : (a) Two or more coats on new work. | 104.00 | Sqm. | 131.45 | 80.00 | 8320.00 | 114.30 | 11887.20 | 8320.00 | Nabalok Das
62.00 | Providing and fixing 16 mm M.S. Fan clamps of standard shape and size in existing R.C.C. slab, including cutting chase, anchoring clamp to reinforcement bar, including cleaning, refilling, making good the chase with matching concrete, plastering and painting the exposed portion of the clamps complete. | 3.00 | Each | 468.40 | 400.00 | 1200.00 | 407.30 | 1221.90 | 1200.00 | Nabalok Das
63.00 | Consolidation of Prepared sub grade with power road roller of 8 to 12 tonne capacity including making good the undulations etc. and re-rolling the sub grade as per direction of Engineer-In-charge. | 2711.00 | Sqm. | 2.95 | 50.00 | 135550.00 | 156.96 | 425518.56 | 135550.00 | Nabalok Das
64.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 426.00 | Cum | 7399.20 | 6000.00 | 2556000.00 | 6200.00 | 2641200.00 | 2556000.00 | Nabalok Das
65.00 | Providing and filling in position rubberized bitumen hot sealing compound for sealing of expansion joints in roads / pavements all complete as per direction of the Engineer-in-Charge. a) Using grade 'A' sealing compound conforming to IS: 1834. | 4380.00 | per cm depth per cm width per metre length | 7.50 | 5.00 | 21900.00 | 6.52 | 28557.60 | 21900.00 | Nabalok Das
66.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. a) 60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 150.00 | Sqm. | 932.35 | 800.00 | 120000.00 | 810.74 | 121611.00 | 120000.00 | Nabalok Das
67.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : a) W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Each | 6941.30 | 7000.00 | 7000.00 | 4817.87 | 4817.87 | 4817.87 | DEEP CONSTRUCTION
68.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous: a) White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 1.00 | Each | 1679.60 | 1600.00 | 1600.00 | 3949.91 | 3949.91 | 1600.00 | Nabalok Das
69.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required :a)Kitchen sink with drain board a) 510x1040 mm bowl depth 178 mm | 1.00 | Each | 6008.45 | 6000.00 | 6000.00 | 5224.74 | 5224.74 | 5224.74 | DEEP CONSTRUCTION
70.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto1 metre long with S.S. triangular plate to Eureopean type W.C. ofquality and make as approved by Engineer - in - charge. | 1.00 | Each | 299.35 | 300.00 | 300.00 | 260.30 | 260.30 | 260.30 | DEEP CONSTRUCTION
71.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. a) Flexible pipe - 32 mm dia | 2.00 | Each | 104.35 | 100.00 | 200.00 | 90.74 | 181.48 | 181.48 | DEEP CONSTRUCTION
72.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete | 1.00 | Each | 1411.15 | 1400.00 | 1400.00 | 1227.09 | 1227.09 | 1227.09 | DEEP CONSTRUCTION
73.00 | Providing and fixing toilet paper holder : a)C.P. Brass | 1.00 | Each | 680.80 | 680.00 | 680.00 | 592.00 | 592.00 | 592.00 | DEEP CONSTRUCTION
74.00 | Providing and fixing soil, waste and vent pipes :-75 mm diameter a) Centrifugally cast (spun) iron socketed pipeas per IS: 3989 | 10.00 | Mtr. | 1042.10 | 1000.00 | 10000.00 | 906.17 | 9061.70 | 9061.70 | DEEP CONSTRUCTION
75.00 | Providing and filling the joints with spun yarn, cement slurry andcement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : a) 75 mm dia pipe | 5.00 | Each | 138.70 | 130.00 | 650.00 | 120.61 | 603.05 | 603.05 | DEEP CONSTRUCTION
76.00 | Providing and fixing terminal guard : a) 75 mm-Sand cast iron S&S as per IS - 3989 | 2.00 | Each | 311.55 | 300.00 | 600.00 | 270.91 | 541.82 | 541.82 | DEEP CONSTRUCTION
77.00 | Providing and fixing collar : a) 75 mm - Sand cast iron S&S as per IS - 1729 | 2.00 | Each | 271.45 | 270.00 | 540.00 | 236.04 | 472.08 | 472.08 | DEEP CONSTRUCTION
78.00 | Providing and fixing M.S. stays and clamps for sand cast iron/centrifugally cast (spun) iron pipes of diameter : a) 75 mm | 2.00 | Each | 80.10 | 80.00 | 160.00 | 69.65 | 139.30 | 139.30 | DEEP CONSTRUCTION
79.00 | Providing and fixing trap of self cleansing design with screwed downor hinged grating with or without vent arm complete, including cost ofcutting and making good the walls and floors : a)100 mm inlet and 75 mm outlet - Sand cast iron S&S as per IS - 3989 | 2.00 | Each | 1671.00 | 1500.00 | 3000.00 | 1453.04 | 2906.08 | 2906.08 | DEEP CONSTRUCTION
80.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125mm high and 112 mm distance from wall of standard shape withbracket of the same materials with snap fittings of approved qualityand colour, weighing not less than 105 gms. | 1.00 | Each | 146.30 | 140.00 | 140.00 | 127.22 | 127.22 | 127.22 | DEEP CONSTRUCTION
81.00 | Providing and fixing PTMT towel ring trapezoidal shape 215 mm long, 200 mm wide with minimum distances of 37 mm from wall face with concealed fittings arrangement of approved quality and colour, weighing not less than 88 gms. | 2.00 | Each | 204.70 | 200.00 | 400.00 | 178.00 | 356.00 | 356.00 | DEEP CONSTRUCTION
82.00 | Providing and fixing PTMT towel rail complete with brackets fixed towooden cleats with CP brass screws with concealed fittingsarrangement of approved quality and colour. a) 600 mm long towel rail with total length of 645 mm, width78 mm and effective height of 88 mm, weighing not lessthan 190 gms. | 1.00 | Each | 600.35 | 600.00 | 600.00 | 522.04 | 522.04 | 522.04 | DEEP CONSTRUCTION
83.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. a) Exposed on wall -25 mm nominal dia Pipes | 10.00 | Mtr. | 408.55 | 400.00 | 4000.00 | 355.26 | 3552.60 | 3552.60 | DEEP CONSTRUCTION
84.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. a) Exposed on wall - 50 mm nominal dia Pipes | 50.00 | Mtr. | 927.00 | 800.00 | 40000.00 | 806.09 | 40304.50 | 40000.00 | Nabalok Das
85.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Concealed work, including cutting chases and making good the walls etc. a) 20 mm nominal dia Pipes | 15.00 | Mtr. | 513.75 | 500.00 | 7500.00 | 239.25 | 3588.75 | 3588.75 | DEEP CONSTRUCTION
86.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. a) External work - 25 mm nominal dia Pipes | 256.00 | Mtr. | 370.65 | 100.00 | 25600.00 | 322.30 | 82508.80 | 25600.00 | Nabalok Das
87.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : a) 20 mm nominal bore | 2.00 | Each | 461.75 | 450.00 | 900.00 | 401.52 | 803.04 | 803.04 | DEEP CONSTRUCTION
88.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : a) 25 mm nominal bore | 1.00 | Each | 532.35 | 500.00 | 500.00 | 462.91 | 462.91 | 462.91 | DEEP CONSTRUCTION
89.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : a) 50 mm nominal bore | 1.00 | Each | 878.25 | 800.00 | 800.00 | 763.70 | 763.70 | 763.70 | DEEP CONSTRUCTION
90.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : a) 25 mm nominal bore | 2.00 | Each | 399.15 | 400.00 | 800.00 | 347.09 | 694.18 | 694.18 | DEEP CONSTRUCTION
91.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : a) 45 cm length - 15 mm nominal bore | 2.00 | Each | 85.20 | 100.00 | 200.00 | 74.09 | 148.18 | 148.18 | DEEP CONSTRUCTION
92.00 | Providing and fixing rectangular high density polyethylene water storage loft tank with cover, conforming to ISI : 12701, colour of opaque white or as approved by Engineer-in-charge. The rate includes making necessary holes for inlet, outlet & over flow pipes. The base support i/c fittings & fixtures for tank shall be paid separately. | 1000.00 | Per Ltr. | 9.70 | 15.00 | 15000.00 | 8.43 | 8430.00 | 8430.00 | DEEP CONSTRUCTION
93.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : a) 15 mm nominal bore | 2.00 | Each | 434.20 | 400.00 | 800.00 | 377.56 | 755.12 | 755.12 | DEEP CONSTRUCTION
94.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms a) 15 mm nominal bore | 1.00 | Each | 715.05 | 700.00 | 700.00 | 621.78 | 621.78 | 621.78 | DEEP CONSTRUCTION
95.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15mm nominal bore | 4.00 | Each | 500.35 | 500.00 | 2000.00 | 435.09 | 1740.36 | 1740.36 | DEEP CONSTRUCTION
96.00 | Providing and fixing PTMT bib cock of approved quality and colour. a)15mm nominal bore, 86 mm long, weighing not less than 88 gms | 10.00 | Each | 109.85 | 100.00 | 1000.00 | 95.52 | 955.20 | 955.20 | DEEP CONSTRUCTION
97.00 | Providing and fixing PTMT grating of approved quality and colour. a) Circular type - 125 mm nominal dia with 25 mm waste hole | 2.00 | Each | 45.25 | 40.00 | 80.00 | 39.35 | 78.70 | 78.70 | DEEP CONSTRUCTION
98.00 | Providing, laying and jointing glazed stoneware pipes class SP-1with stiff mixture of cement mortar in the proportion of 1:1 (1 cement: 1 fine sand) including testing of joints etc. complete : a) 100 mm diameter | 60.00 | Mtr. | 375.75 | 370.00 | 22200.00 | 326.74 | 19604.40 | 19604.40 | DEEP CONSTRUCTION
99.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarsesand : 10 graded stone aggregate 40 mm nominal size) all-roundS.W. pipes including bed concrete as per standard design : a) 100 mm diameter S.W. Pipe | 60.00 | Mtr. | 895.50 | 700.00 | 42000.00 | 778.70 | 46722.00 | 42000.00 | Nabalok Das
100.00 | Providing and fixing square-mouth S.W. gully trap class SP-1complete with C.I. grating brick masonry chamber with water tightC.I. cover with frame of 300 x300 mm size (inside) the weight ofcover to be not less than 4.50 kg and frame to be not less than 2.70kg as per standard design: a) 100x100 mm size P type - With common burnt clay F.P.S. (non modular)bricks of class designation 7.5 | 2.00 | Each | 2453.55 | 2000.00 | 4000.00 | 2133.52 | 4267.04 | 4000.00 | Nabalok Das
101.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : a) 100 mm dia. R.C.C. Pipe | 274.00 | Mtr. | 447.25 | 300.00 | 82200.00 | 388.91 | 106561.34 | 82200.00 | Nabalok Das
102.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : a)150 mm dia. R.C.C. Pipe | 225.00 | Mtr. | 493.10 | 300.00 | 67500.00 | 428.78 | 96475.50 | 67500.00 | Nabalok Das
103.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : a) 250 mm dia. R.C.C. Pipe | 17.00 | Mtr. | 811.15 | 800.00 | 13600.00 | 705.35 | 11990.95 | 11990.95 | DEEP CONSTRUCTION
104.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominalsize), inside plastering 12 mm thick with cement mortar 1:3 (1 cement: 3 coarse sand) finished with floating coat of neat cement andmaking channels in cement concrete 1:2:4 (1 cement : 2 coarsesand : 4 graded stone aggregate 20 mm nominal size) finished witha floating coat of neat cement complete as per standard design : a) Inside size 90x80 cm and 45 cm deep including C.I. coverwith frame (light duty) 455x610 mm internal dimensions,total weight of cover and frame to be not less than 38 kg(weight of cover 23 kg and weight of frame 15 kg) - With common burnt clay F.P.S. (non modular)bricks of class designation 7.5 | 2.00 | Each | 11687.10 | 11000.00 | 22000.00 | 10162.70 | 20325.40 | 20325.40 | DEEP CONSTRUCTION
105.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm drybrick honey comb shaft with bricks and S.W. drain pipe 100 mmdiameter, 1.8 m long complete as per standard design. a) With common burnt clay F.P.S. (non modular) bricks ofclass designation 7.5 | 1.00 | Each | 28029.15 | 18000.00 | 18000.00 | 24373.17 | 24373.17 | 18000.00 | Nabalok Das
106.00 | Providing and laying Non Pressure NP-4 class (Heavy duty) R.C.C.pipes including collars/spigot jointed with stiff mixture of cementmortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. Complete a) 450 mm dia RCC pipes. | 20.00 | Mtr. | 2720.00 | 2000.00 | 40000.00 | 2365.22 | 47304.40 | 40000.00 | Nabalok Das
107.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For fixed portion - Powder coated aluminium (minimum thickness of powder coating 50 micron) | 134.00 | Kg. | 466.30 | 450.00 | 60300.00 | 405.48 | 54334.32 | 54334.32 | DEEP CONSTRUCTION
108.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) a) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) i) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 245.00 | Kg. | 564.80 | 450.00 | 110250.00 | 491.13 | 120326.85 | 110250.00 | Nabalok Das
109.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge. a) Prelaminated particle board with decorative lamination on one side and balancing lamination on other side. | 22.00 | Sqm. | 965.10 | 1000.00 | 22000.00 | 839.22 | 18462.84 | 18462.84 | DEEP CONSTRUCTION
110.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | 22.00 | Sqm. | 1019.80 | 1000.00 | 22000.00 | 886.78 | 19509.16 | 19509.16 | DEEP CONSTRUCTION
111.00 | Providing and laying six courses water proofing treatment withbitumen felt over roofs consisting of first, third and fifth courses ofblown or / and residual bitumen applied hot at 1.45, 1.20 and 1.70 kgper square metre of area respectively, second and fourth courses ofroofing felt type 2 grade II (glass fibre base self finished bitumen felt)and sixth and final course of stone grit 6 mm and down size or peasized gravel spread at 6 cubic decimeter per sqm including preparationof surface but excluding grading, complete. | 72.00 | Sqm. | 773.95 | 600.00 | 43200.00 | 673.00 | 48456.00 | 43200.00 | Nabalok Das
112.00 | Grading roof for water proofing treatment with a) Cement mortar 1:3 (1 cement : 3 coarse sand) | 8.00 | Cum | 14275.75 | 7500.00 | 60000.00 | 12413.70 | 99309.60 | 60000.00 | Nabalok Das
113.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, bysuitable method prescribed in IS: 2800 (part I), including collectingsamples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all equipments, tools,plants & machineries required for the job, all complete as per directionof Engineer-in-charge, upto 90 metre depth below ground level. a) All types of soil - 300 mm dia | 50.00 | Mtr. | 592.05 | 600.00 | 30000.00 | 600.61 | 30030.50 | 30000.00 | Nabalok Das
114.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS: 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer -in-charge. a) 150 mm nominal size dia | 20.00 | Mtr. | 668.50 | 660.00 | 13200.00 | 581.30 | 11626.00 | 11626.00 | DEEP CONSTRUCTION
115.00 | Supplying, assembling, lowering and fixing in vertical position in borewell unplasticized PVC medium well screen (RMS) pipes with ribs,conforming to IS: 12818, including hire & labour charges, fittings &accessories etc. all complete, for all depths, as per direction ofEngineer-in-charge. a)150 mm nominal size dia | 30.00 | Mtr. | 681.90 | 1500.00 | 45000.00 | 592.96 | 17788.80 | 17788.80 | DEEP CONSTRUCTION
116.00 | Gravel packing in tubewell construction in accordance with IS: 4097,including providing gravel fine/ medium/ coarse, in required grading& sizes as per actual requirement, all complete as per direction ofEngineer-in-charge. | 3.00 | Cum | 1479.25 | 1700.00 | 5100.00 | 1286.30 | 3858.90 | 3858.90 | DEEP CONSTRUCTION
117.00 | Development of tube well in accordance with IS : 2800 (part I) and IS: 11189, to establish maximum rate of usable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by "V" notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, i/c disinfection of tubewell, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge. | 10.00 | Hours | 916.80 | 500.00 | 5000.00 | 797.22 | 7972.20 | 5000.00 | Nabalok Das
118.00 | Providing and fixing Bail plug/ Bottom plug of required dia to thebottom of pipe assembly of tubewell as per IS:2800 (part I). a) 150 mm dia | 1.00 | Each | 281.75 | 300.00 | 300.00 | 245.00 | 245.00 | 245.00 | DEEP CONSTRUCTION
119.00 | Providing and fixing M.S. clamp of required dia to the top of casing/ housing pipe of tubewell as per IS: 2800 (part I), including necessary bolts & nuts of required size complete. a) 150 mm clamp | 1.00 | Each | 1609.25 | 1500.00 | 1500.00 | 1399.35 | 1399.35 | 1399.35 | DEEP CONSTRUCTION
120.00 | Construction of embankment/filling in Plinth with approved materials soil obtained from borrow pits (outside airport premises) with all lifts and leads, transporting to site, spreading grading to required slope and compacting to achieve the desired compactions as specified in technical specifications (based on MORTH) etc complete in all respects and as directed by Engineer- in-charge. | 1659.00 | cum | 365.00 | 150.00 | 248850.00 | 203.11 | 336959.49 | 248850.00 | Nabalok Das
121.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc as required.(Group C) | 19.00 | Point | 1446.00 | 1000.00 | 19000.00 | 1823.00 | 34637.00 | 19000.00 | Nabalok Das
122.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.(Group C) | 9.00 | Point | 874.00 | 1000.00 | 9000.00 | 1843.00 | 16587.00 | 9000.00 | Nabalok Das
123.10 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 1) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 65.00 | Mtr. | 303.00 | 1000.00 | 65000.00 | 60.00 | 3900.00 | 3900.00 | DEEP CONSTRUCTION
123.20 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.2 ) 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 600.00 | Mtr. | 353.00 | 200.00 | 120000.00 | 190.00 | 114000.00 | 114000.00 | DEEP CONSTRUCTION
124.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 48.00 | Each | 476.00 | 100.00 | 4800.00 | 586.00 | 28128.00 | 4800.00 | Nabalok Das
125.00 | Supply of 4 feet long 18/20W surface mounted LED fitting suitable to operate on 240 V AC, 50 Hz AC supply complete as required. | 17.00 | Each | 569.00 | 2500.00 | 42500.00 | 230.00 | 3910.00 | 3910.00 | DEEP CONSTRUCTION
126.00 | Supply of energy efficient ceiling fan having 1200 mm sweep, suitable to works on 50Hz, 240 Volt, single Phase, AC supply. Make- Havells, Model - Efficiencia DX BLDC or equivalent as per AAI Preferred make list. | 3.00 | Each | 3942.00 | 3000.00 | 9000.00 | 2400.00 | 7200.00 | 7200.00 | DEEP CONSTRUCTION
127.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 3.00 | Each | 315.00 | 300.00 | 900.00 | 230.00 | 690.00 | 690.00 | DEEP CONSTRUCTION
128.00 | Supply of Heavy Duty Metal Exhaust Fan with 300 mm sweep, 1400 rpm suitable for 240V 50Hz single phase AC Supply complete with louvers of required size and complete with all the accessories as required. | 3.00 | Each | 4074.00 | 2000.00 | 6000.00 | 1300.00 | 3900.00 | 3900.00 | DEEP CONSTRUCTION
129.00 | Installation, testing and commissioning of pre-wired, LED Recess, Surface Mounted,street light etc of above fixtures with all accessories including nut bolt washer and hanging/fixing arrangements if required directly on ceiling/ wall, including connections with 1.5 sq. mm FRLSH twin core, PVC insulated, copper conductor and earthing etc. as required. | 22.00 | Each | 154.00 | 1500.00 | 33000.00 | 4800.00 | 105600.00 | 33000.00 | Nabalok Das
130.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 3.00 | Each | 151.00 | 100.00 | 300.00 | 1600.00 | 4800.00 | 300.00 | Nabalok Das
131.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection with twin core 1.5 sqmm copper wire, testing, commissioning etc. as required. Upto 450 mm sweep | 3.00 | Each | 343.00 | 300.00 | 900.00 | 1300.00 | 3900.00 | 900.00 | Nabalok Das
132.00 | Supply of LED street light of minimum lumen output of 3600 lumen made up of pressure die cast Aluminum housing with membrane filter and have IP66 optical as well as electrical compartment with wide operating voltage range of 240+/- 10 % complete with all accessories as required.. | 6.00 | Each | 2684.00 | 3000.00 | 18000.00 | 1359.00 | 8154.00 | 8154.00 | DEEP CONSTRUCTION
133.00 | Providing & fixing 32/40 mm Dia B class GI pipe of 1.5 mtr on wall for fixing the LED street light with suitable size MS clamps , nut bolt fastner etc. complete as required. | 6.00 | Each | 763.00 | 3000.00 | 18000.00 | 350.00 | 2100.00 | 2100.00 | DEEP CONSTRUCTION
134.00 | Supplying and fixing Solid Neutral Link enclosure suitable for 4 pole MCB/ MCCB. Note: MCB/MCCB is not included in this item. Make - Indoasian, Model - Optipro Enclosure for Frame-1 Optium 4 Pole MCCB or equivalent from AAI preferred make list. | 3.00 | Each | 1379.00 | 700.00 | 2100.00 | 4680.00 | 14040.00 | 2100.00 | Nabalok Das
135.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 As tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s (but without MCB’s and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 12 way (8+36), Double Door | 1.00 | Each | 11024.00 | 5000.00 | 5000.00 | 13000.00 | 13000.00 | 5000.00 | Nabalok Das
136.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator). 8 way (8 + 24), Double door | 1.00 | Each | 4224.00 | 5000.00 | 5000.00 | 10500.00 | 10500.00 | 5000.00 | Nabalok Das
137.10 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC / XLPE insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required. 1) 4 X 16 sq. mm (28mm) | 2.00 | Set | 267.00 | 5000.00 | 10000.00 | 309.00 | 618.00 | 618.00 | DEEP CONSTRUCTION
137.20 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC / XLPE insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required.2) 4 X 10 Sq. mm (25mm) | 4.00 | Set | 227.00 | 2000.00 | 8000.00 | 269.00 | 1076.00 | 1076.00 | DEEP CONSTRUCTION
138.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 59.00 | Each | 211.00 | 1000.00 | 59000.00 | 150.00 | 8850.00 | 8850.00 | DEEP CONSTRUCTION
139.00 | Supplying and fixing 32 amp, four pole, (three phase and neutral), 415 volts, MCB, in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 1180.00 | 1000.00 | 4000.00 | 850.00 | 3400.00 | 3400.00 | DEEP CONSTRUCTION
140.00 | Supplying and fixing 63 amp, four pole, (three phase and neutral), 415 volts, MCB, in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 1619.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 2000.00 | DEEP CONSTRUCTION
141.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Each | 4218.00 | 10000.00 | 10000.00 | 3500.00 | 3500.00 | 3500.00 | DEEP CONSTRUCTION
142.10 | Supply of following size 1.1 KV grade, copper concuctor, XLPE insulated, PVC sheathed armoured cable conforming to IS 7098 (Part 1) 1988 with upto Date Amendments. 1) 4 Core, 16 sqmm, | 50.00 | Mtr. | 990.00 | 400.00 | 20000.00 | 1150.00 | 57500.00 | 20000.00 | Nabalok Das
142.20 | Supply of following size 1.1 KV grade, copper concuctor, XLPE insulated, PVC sheathed armoured cable conforming to IS 7098 (Part 1) 1988 with upto Date Amendments. 2) 4 Core, 10 sqmm, | 25.00 | Mtr. | 645.00 | 500.00 | 12500.00 | 800.00 | 20000.00 | 12500.00 | Nabalok Das
143.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 45.00 | Mtr. | 22.00 | 400.00 | 18000.00 | 387.00 | 17415.00 | 17415.00 | DEEP CONSTRUCTION
144.00 | Laying of one number PVC insulated and PVC sheathed XLPE power cable of 1.1 kV grade/ control cable of following size in the existing masonry open duct as required. Upto 35 sq. mm | 30.00 | Mtr. | 19.00 | 500.00 | 15000.00 | 387.00 | 11610.00 | 11610.00 | DEEP CONSTRUCTION
145.00 | Supply,Installation, Testing & Commissioning of 5 Star , 1.5 TR high wall type split Inverter Air Conditioner unit with rotary compressor operating on refrigerant R-32/Non CFC & Copper condensor coil of outdoor unit & having cordless LCD remote,auto restart operation with copper refrigerant gas pipeline insulated with nitrile/polythene foam i/c electrical cable of suitable size copper conductor from indoor to outdoor unit ( both upto 10 feet ) i/c standard drain pipe,MS base frame / platform duly epoxy painted for outdoor units for operation on 230V , 50 Hz single phase AC supply and capable of performing such standard function like cooling, dehumidifying,air circulating, filtering etc complete as required. | 6.00 | Nos. | 58075.00 | 45000.00 | 270000.00 | 55000.00 | 330000.00 | 270000.00 | Nabalok Das
146.00 | Supply, Installation, Testing & Commissioning of automatic programmable AC switching system for the Operation of 02 nos. (01 no running + 01 no. standby) split type Air conditioner Units to change over the system 08 Hours with over load protection facility complete as required. | 2.00 | Nos. | 4065.00 | 5000.00 | 10000.00 | 500.00 | 1000.00 | 1000.00 | DEEP CONSTRUCTION
147.00 | Supply and fixing of extra copper refrigerant piping (beyond the standard length) complete with suction/ liquid line, insulation, drain pipe, electrical cabling, PVC protection piping and all accessories as per site requirement. | 30.00 | Mtrs. | 1916.00 | 300.00 | 9000.00 | 900.00 | 27000.00 | 9000.00 | Nabalok Das
148.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole andearth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steelenclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 6.00 | Each | 1338.00 | 3000.00 | 18000.00 | 700.00 | 4200.00 | 4200.00 | DEEP CONSTRUCTION
149.00 | Supplying and drawing following pair 0.5 mm dia PVC insulated annealed copper conductor, unarmoured telephone cable in the existing surface/ recessed steel/ PVC conduit as required. 2 Pair | 30.00 | Mtr. | 22.00 | 300.00 | 9000.00 | 110.00 | 3300.00 | 3300.00 | DEEP CONSTRUCTION
150.00 | Supplying and fixing following size/ modules, Gl box along with modular base & cover plate for modular switches in recess etc. as required. 2 Module (75 mm X 75 mm X 60 mm deep) | 2.00 | Each | 533.00 | 500.00 | 1000.00 | 300.00 | 600.00 | 600.00 | DEEP CONSTRUCTION
151.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Telephone socket outlet | 2.00 | Each | 164.00 | 500.00 | 1000.00 | 180.00 | 360.00 | 360.00 | DEEP CONSTRUCTION
| Total in Figures |  |  |  |  | 8798057.00 |  | 10285007.80
Lowest Amount Quoted BY: Nabalok Das(8798057.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of DVOR Building and other associated work at Kushinagar International Airport, Kushinagar (UP) Tender ID: 2023_AAI_146385_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Nabalok Das | 8798057.00 | L1
| 2 | DEEP CONSTRUCTION | 10285007.80 | L2