## BoQ1
Government eProcurement System Created By: ARUN KUMAR K Created Date/Time: 10-Apr-2023 04:14 PM Tender Title: Operation and Maintenance Contract (2023-25) of Electrical and Mechanical installations including associated works at AAI Occupied Areas at KIA, Bengaluru Airport Tender ID: 2023_AAI_147088_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, KIA AIRPORT, Bengaluru
Name of Work: Operation and Maintenance Contract (2023-25) of Electrical and Mechanical installations including associated works at AAI Occupied Areas at KIA, Bengaluru Airport.
Contract No: 2023_AAI_147088_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GLOBAL TECH SERVICES(GSTN-29BFQPD1799R2Z9) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: JOB CONTRACT OF E&M INSTALLATIONS
1.10 | Job Contract for round the clock Operation and maintenance of Electrical and Mechanical installations in AAI occupied area at KIA viz. Technical Block cum ATC tower (Alpha-1 & 2 building), SMR at ARFF, North side New DVOR and Navigational huts i.e localizer-09,27, Glide path-09,27 including the operation of 200KVA DG set along with the AMF panel at RADAR building etc., with following categorised Manpowers :- a) Highly skilled - 2 Nos, b) Skilled-7 Nos, c) Semi-skilled-4 Nos, d) Un-skilled-3 Nos. All days including sundays and holidays in Three shifts & General shifts (Sunday weekly off ) which involves repairs & maintenance, attending day to day complaints, faults, breakdowns and taking rectification action, ensuring the serviceability & satisfactory working condition of the installations i/c preventive maintenance, maintenance of records & documentations etc., The agency is required to deploy minimum manpower in each shift as detailed in special condition of contract complete as required. | 24.00 | MONTHS |  | 366402.00 | 8793648.00 | 385000.00 | 9240000.00 | 355000.00 | 8520000.00 | 396609.00 | 9518616.00 | 8520000.00 | KALKI ELECTRICALS
2.00 | SH-II: DSR ELECTRICAL -2022
2.10 | Execution of items of schedule of rates CPWD DSR (E&M)-2022 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at different locations in Alpha-1 & 2 building, ATC tower, NAVAIDS and other ancillary buildings as per the special Terms and Condition in addition to General Terms and Condition of Contract as required. The bidder shall quote percentage (%) above / below the DSR (E&M)-2022 rates in the form of multiplication factor i.e ( for eg :- If the bidder desires to quote above on DSR (E&M)-2022 rates, then the rate column shall be filled as 1.05 & 5% below, then the rate column shall be filled as 0.95) . Note : The rate provided in DSR (E&M)-2022 is inclusive of GST @ 12%. The rate shall be calculated without GST and payment shall be made to the contractor after deductingGST component from DSR E&M -2022 rates. | 100000.00 | % |  | .80 | 80000.00 | 1.00 | 100000.00 | .90 | 90000.00 | 1.00 | 100000.00 | 80000.00 | GLOBAL TECH SERVICES
3.00 | SH-III: Calibration & Testing of Air Circuit Breaker.
3.10 | Annual inspection & Servicing of 4pole 415 V, 1600 Amps, Air Circuit Breaker of SIEMENS Make ; Model: WL l 1600 S through OEM or its authorized dealer by cleaning, checking, tightening, adjusting replacing defective components greasing oiling etc complete as required but without spare parts i/c Over load, Earth Fault, Short Circuit and insulation resistance testing through secondary injection kit, submission of test reports etc. | 4.00 | Each |  | 15000.00 | 60000.00 | 10000.00 | 40000.00 | 2600.00 | 10400.00 | 6599.00 | 26396.00 | 10400.00 | KALKI ELECTRICALS
4.00 | SH-IV: Supply of Electrical spares/ items :-
4.10 | Supply of following sizes of PVC Insulated and PVC Round Sheathed Multi Core Bright Annealed Bare Copper Conductor Heavy Duty Industrial Flexible Cables for Voltage Grade 690/1100 Volts conforming to IS:694:2010 etc complete as required
4.20 | a) 3C X 1.5 sqmm | 100.00 | Mtr |  | 70.00 | 7000.00 | 100.00 | 10000.00 | 76.00 | 7600.00 | 99.00 | 9900.00 | 7000.00 | GLOBAL TECH SERVICES
4.30 | b) 3C X 2.5 sqmm | 100.00 | Mtr |  | 75.00 | 7500.00 | 150.00 | 15000.00 | 98.00 | 9800.00 | 129.00 | 12900.00 | 7500.00 | GLOBAL TECH SERVICES
4.40 | c) 4C X 10 sqmm | 100.00 | Mtr |  | 80.00 | 8000.00 | 200.00 | 20000.00 | 400.00 | 40000.00 | 499.00 | 49900.00 | 8000.00 | GLOBAL TECH SERVICES
4.50 | d) 4C X 16 sqmm | 100.00 | Mtr |  | 120.00 | 12000.00 | 300.00 | 30000.00 | 660.00 | 66000.00 | 599.00 | 59900.00 | 12000.00 | GLOBAL TECH SERVICES
5.00 | Supply of following sizes of XLPE Insulated and PVC Sheathed Armoured Aluminium conductor cable of 1100 Voltage Grade conforming to IS : 7098 (Part-1) 1988 etc complete as required
5.10 | a) 4C X 25 sqmm | 100.00 | Mtr |  | 340.00 | 34000.00 | 500.00 | 50000.00 | 110.00 | 11000.00 | 309.00 | 30900.00 | 11000.00 | KALKI ELECTRICALS
5.20 | b) 4C X 50 sqmm | 100.00 | Mtr |  | 680.00 | 68000.00 | 750.00 | 75000.00 | 233.00 | 23300.00 | 799.00 | 79900.00 | 23300.00 | KALKI ELECTRICALS
6.00 | Supply of LED type indicator lamp of following colors for fixing in exisiting the LV panels operating on 230-240V , 50 Hz AC supply
6.10 | a) RED | 50.00 | Each |  | 50.00 | 2500.00 | 200.00 | 10000.00 | 110.00 | 5500.00 | 499.00 | 24950.00 | 2500.00 | GLOBAL TECH SERVICES
6.20 | b) YELLOW | 50.00 | Each |  | 50.00 | 2500.00 | 200.00 | 10000.00 | 110.00 | 5500.00 | 499.00 | 24950.00 | 2500.00 | GLOBAL TECH SERVICES
6.30 | c) BLUE | 50.00 | Each |  | 50.00 | 2500.00 | 200.00 | 10000.00 | 110.00 | 5500.00 | 499.00 | 24950.00 | 2500.00 | GLOBAL TECH SERVICES
6.40 | d) GREEN | 50.00 | Each |  | 50.00 | 2500.00 | 200.00 | 10000.00 | 110.00 | 5500.00 | 499.00 | 24950.00 | 2500.00 | GLOBAL TECH SERVICES
6.50 | e) Amber | 30.00 | Each |  | 50.00 | 1500.00 | 200.00 | 6000.00 | 110.00 | 3300.00 | 499.00 | 14970.00 | 1500.00 | GLOBAL TECH SERVICES
7.00 | Supply of following PVC modular box (surface mounting type) of following modules along with inner & outer plates complete as required etc,.
7.10 | a) 6 module | 50.00 | Each |  | 20.00 | 1000.00 | 200.00 | 10000.00 | 130.00 | 6500.00 | 699.00 | 34950.00 | 1000.00 | GLOBAL TECH SERVICES
7.20 | b) 8 module | 50.00 | Each |  | 20.00 | 1000.00 | 300.00 | 15000.00 | 150.00 | 7500.00 | 699.00 | 34950.00 | 1000.00 | GLOBAL TECH SERVICES
7.30 | c) 12 module | 30.00 | Each |  | 20.00 | 600.00 | 400.00 | 12000.00 | 200.00 | 6000.00 | 699.00 | 20970.00 | 600.00 | GLOBAL TECH SERVICES
8.00 | Supply of following single way switches operating on operating on 230-240V , 50 Hz AC supply complete as required etc.,
8.10 | a) 6/10A, 1way switch | 50.00 | Each |  | 18.00 | 900.00 | 250.00 | 12500.00 | 32.00 | 1600.00 | 99.00 | 4950.00 | 900.00 | GLOBAL TECH SERVICES
8.20 | b) 16/20A, 1way switch | 50.00 | Each |  | 18.00 | 900.00 | 300.00 | 15000.00 | 90.00 | 4500.00 | 109.00 | 5450.00 | 900.00 | GLOBAL TECH SERVICES
9.00 | Supply of following sockets with safety shutters operating on operating on 230-240V , 50 Hz AC supply complete as required etc.,
9.10 | a) 6/10A, 3 pin socket | 50.00 | Each |  | 65.00 | 3250.00 | 300.00 | 15000.00 | 80.00 | 4000.00 | 159.00 | 7950.00 | 3250.00 | GLOBAL TECH SERVICES
9.20 | b) 16/20A, 6 pin socket | 50.00 | Each |  | 65.00 | 3250.00 | 400.00 | 20000.00 | 130.00 | 6500.00 | 199.00 | 9950.00 | 3250.00 | GLOBAL TECH SERVICES
10.00 | Supply of 18W LED type T-8 lamp (tube light) operating on 230-240V , 50 Hz AC supply complete as required etc., | 50.00 | Each |  | 70.00 | 3500.00 | 500.00 | 25000.00 | 200.00 | 10000.00 | 499.00 | 24950.00 | 3500.00 | GLOBAL TECH SERVICES
11.00 | SH-V: Rewinding of Monoblock & Subnersible open well pumps :-
11.10 | Rewinding of 1HP submersible borewell/open well type pump motor with copper conductor of suitable size i/c dismantling and transportation to work shop and back, re- installation i/c repair, servicing, testing, & commissioning. (dismantled material / wire shall be property of tenderer) | 1.00 | Each |  | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 1200.00 | 1200.00 | 9000.00 | 9000.00 | 1200.00 | KALKI ELECTRICALS
11.20 | Rewinding of 0.5 HP Monoblock pump motor with copper conductor of suitable size i/c dismantling and transportation to work shop and back, re- installation i/c repair, servicing, testing, & commissioning. (dismantled material / wire shall be property of tenderer) | 5.00 | Each |  | 2500.00 | 12500.00 | 3000.00 | 15000.00 | 1000.00 | 5000.00 | 5000.00 | 25000.00 | 5000.00 | KALKI ELECTRICALS
| Total in Figures |  |  |  |  | 9112548.00 |  | 9770500.00 |  | 8856200.00 |  | 10181302.00
Lowest Amount Quoted BY: KALKI ELECTRICALS(8856200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance Contract (2023-25) of Electrical and Mechanical installations including associated works at AAI Occupied Areas at KIA, Bengaluru Airport Tender ID: 2023_AAI_147088_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KALKI ELECTRICALS | 8856200.00 | L1
| 2 | GLOBAL TECH SERVICES | 9112548.00 | L2
| 3 | CENTRE TAP ENGINEERING | 9770500.00 | L3
| 4 | DElite System Engineering (India) Pvt. Ltd. | 10181302.00 | L4