## BoQ1
Government eProcurement System Created By: Aloke Ranjan Biswas Created Date/Time: 05-Apr-2023 04:34 PM Tender Title: Relocation of DVOR and allied Civil works at NSCBI Airport, Kolkata Tender ID: 2023_AAI_148171_1
Tender Inviting Authority: Airports Authority of India, RHQ-ER.
Name of Work: Relocation of DVOR and allied Civil works at NSCBI Airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s. A S Traders(GSTN-19AKDPR7595N1ZA) |  | M/S SARADA CONSTRUCTION(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in-Charge: All kinds of soil. | 31410.00 | Sqm |  | 30.00 | 942300.00 | 67.41 | 2117348.10 | 942300.00 | M/s. A S Traders
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 345.54 | Cum |  | 170.00 | 58741.80 | 342.34 | 118292.85 | 58741.80 | M/s. A S Traders
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources: 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 271.55 | Cum |  | 5200.00 | 1412060.00 | 4305.04 | 1169034.16 | 1169034.16 | M/S SARADA CONSTRUCTION
4.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 82.57 | Cum |  | 6200.00 | 511934.00 | 4194.70 | 346356.17 | 346356.17 | M/S SARADA CONSTRUCTION
5.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 43.69 | Cum |  | 6500.00 | 283985.00 | 5221.66 | 228134.35 | 228134.35 | M/S SARADA CONSTRUCTION
6.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 14.72 | Cum |  | 8500.00 | 125120.00 | 6416.58 | 94452.08 | 94452.08 | M/S SARADA CONSTRUCTION
7.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 132.65 | Sqm |  | 350.00 | 46427.50 | 126.00 | 16713.90 | 16713.90 | M/S SARADA CONSTRUCTION
8.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 132.65 | Sqm |  | 450.00 | 59692.50 | 144.90 | 19220.99 | 19220.99 | M/S SARADA CONSTRUCTION
9.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 12.03 | Sqm |  | 800.00 | 9624.00 | 527.85 | 6349.98 | 6349.98 | M/S SARADA CONSTRUCTION
10.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 33.87 | Cum |  | 1500.00 | 50805.00 | 1361.56 | 46115.90 | 46115.90 | M/S SARADA CONSTRUCTION
11.00 | Dry brick pitching half brick thick in drains including supply of bricks and preparing the surface complete : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1460.11 | Sqm |  | 750.00 | 1095082.50 | 516.06 | 753510.94 | 753510.94 | M/S SARADA CONSTRUCTION
12.00 | Providing and laying polythene sheet of 400 microns on the base course with overlaps of not less than 150mm both ways as per the directions of Engineer-in-charge. (only plan area will be measured for payment). | 1441.36 | Sqm |  | 200.00 | 288272.00 | 18.90 | 27241.70 | 27241.70 | M/S SARADA CONSTRUCTION
13.00 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. | 388.26 | Cum |  | 7500.00 | 2911950.00 | 5013.95 | 1946716.03 | 1946716.03 | M/S SARADA CONSTRUCTION
14.00 | Providing and filling in position rubberized bitumen hot sealing compound for sealing of expansion joints in roads / pavements all complete as per direction of the Engineer-in-Charge. Using grade 'A' sealing compound conforming to IS: 1834. | 1500.00 | per cm depth per cm width per metre length |  | 4.00 | 6000.00 | 4.72 | 7087.50 | 6000.00 | M/s. A S Traders
15.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 62.89 | Sqm |  | 1450.00 | 91190.50 | 892.49 | 56128.66 | 56128.66 | M/S SARADA CONSTRUCTION
16.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 46.92 | Sqm |  | 900.00 | 42228.00 | 669.97 | 31435.16 | 31435.16 | M/S SARADA CONSTRUCTION
17.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Area of slab over 0.50 sqm | 1.95 | Sqm |  | 4000.00 | 7800.00 | 2787.97 | 5436.54 | 5436.54 | M/S SARADA CONSTRUCTION
18.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Each |  | 3800.00 | 3800.00 | 1575.00 | 1575.00 | 1575.00 | M/S SARADA CONSTRUCTION
19.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board 510x1040 mm bowl depth 250 mm | 1.00 | Each |  | 5000.00 | 5000.00 | 1890.00 | 1890.00 | 1890.00 | M/S SARADA CONSTRUCTION
20.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 1.00 | Each |  | 500.00 | 500.00 | 189.00 | 189.00 | 189.00 | M/S SARADA CONSTRUCTION
21.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 1.00 | Each |  | 750.00 | 750.00 | 315.00 | 315.00 | 315.00 | M/S SARADA CONSTRUCTION
22.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 1.00 | Each |  | 900.00 | 900.00 | 126.00 | 126.00 | 126.00 | M/S SARADA CONSTRUCTION
23.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 32 mm nominal dia Pipes | 85.00 | Meter |  | 400.00 | 34000.00 | 107.10 | 9103.50 | 9103.50 | M/S SARADA CONSTRUCTION
24.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.
24.10 | 15 mm nominal dia Pipes | 15.00 | Meter |  | 250.00 | 3750.00 | 34.65 | 519.75 | 519.75 | M/S SARADA CONSTRUCTION
24.20 | 20 mm nominal dia Pipes | 10.00 | Meter |  | 300.00 | 3000.00 | 53.55 | 535.50 | 535.50 | M/S SARADA CONSTRUCTION
25.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000.00 | Per Litre |  | 12.00 | 12000.00 | 4.09 | 4095.00 | 4095.00 | M/S SARADA CONSTRUCTION
26.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
26.10 | 20 mm nominal bore | 1.00 | Each |  | 800.00 | 800.00 | 204.75 | 204.75 | 204.75 | M/S SARADA CONSTRUCTION
26.20 | 32 mm nominal bore | 1.00 | Each |  | 1200.00 | 1200.00 | 261.45 | 261.45 | 261.45 | M/S SARADA CONSTRUCTION
27.00 | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with Epoxy coated aluminium rod with L.P./ H.P.H.D. plastic ball. 20 mm nominal bore, 120 mm long, weighing not less than 198 gms | 2.00 | Each |  | 250.00 | 500.00 | 69.30 | 138.60 | 138.60 | M/S SARADA CONSTRUCTION
28.00 | Providing & fixing in position Phenol bonded Bamboo wood in wall skirting with planks of sizes 14mm thick, 1900mm length (minimum) and 85mm wide(minimum), in approved colour, texture and finish, having Performance Appraisal Certificate (PAC) issued by Building Materials & Technology Promotion Council (BMTPC). The skirting shall be fixed with SS screws & rawl plugs, over underlayment of 4mm thick, expanded polyethylene foam sheets having 40kg/cum density over prepared surface. The bamboowood planks shall have minimum density of 1000Kg/cum & minimum Hardness 1000 Kgf. with Eco friendly UV coating, all complete as per direction of the Engineer-in-charge. | 59.50 | Sqm |  | 5200.00 | 309400.00 | 1171.80 | 69722.10 | 69722.10 | M/S SARADA CONSTRUCTION
29.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required | 18.75 | Sqm |  | 1100.00 | 20625.00 | 1260.00 | 23625.00 | 20625.00 | M/s. A S Traders
30.00 | length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 75.00 | Kg. |  | 650.00 | 48750.00 | 315.00 | 23625.00 | 23625.00 | M/S SARADA CONSTRUCTION
31.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 9.66 | Sqm |  | 1200.00 | 11592.00 | 1260.00 | 12171.60 | 11592.00 | M/s. A S Traders
32.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 18.67 | Sqm |  | 1200.00 | 22404.00 | 324.45 | 6057.48 | 6057.48 | M/S SARADA CONSTRUCTION
33.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness | 5.00 | Each |  | 4000.00 | 20000.00 | 1020.60 | 5103.00 | 5103.00 | M/S SARADA CONSTRUCTION
34.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 6.50 | Meter |  | 100.00 | 650.00 | 63.00 | 409.50 | 409.50 | M/S SARADA CONSTRUCTION
35.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 26.71 | Cum |  | 8500.00 | 227035.00 | 5269.45 | 140746.90 | 140746.90 | M/S SARADA CONSTRUCTION
36.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 9756.07 | Kg. |  | 75.00 | 731705.25 | 63.00 | 614632.41 | 614632.41 | M/S SARADA CONSTRUCTION
37.00 | Centering and shuttering including strutting, propping etc. and removal of form work for :
37.10 | (a) Foundations, footings, bases for columns | 45.60 | Sqm |  | 250.00 | 11400.00 | 194.01 | 8846.79 | 8846.79 | M/S SARADA CONSTRUCTION
37.20 | (b) Suspended floors, roofs, landings, balconies and access platform | 78.12 | Sqm |  | 300.00 | 23436.00 | 482.93 | 37726.22 | 23436.00 | M/s. A S Traders
38.00 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | 12.69 | Sqm |  | 400.00 | 5076.00 | 233.64 | 2964.83 | 2964.83 | M/S SARADA CONSTRUCTION
39.00 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | 12.69 | Sqm |  | 150.00 | 1903.50 | 71.73 | 910.20 | 910.20 | M/S SARADA CONSTRUCTION
40.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 150 mm dia. R.C.C. pipe | 400.00 | Meter |  | 600.00 | 240000.00 | 310.65 | 124261.20 | 124261.20 | M/S SARADA CONSTRUCTION
41.00 | Providing and laying Guide wire of dia 4mm as per the directions of Engineer-in-charge. | 400.00 | Meter |  | 50.00 | 20000.00 | 315.00 | 126000.00 | 20000.00 | M/s. A S Traders
42.00 | Supplying and stacking at site HDPE Pipe of dia 160mm PE-100 PN6 (wall thickness between 7.3mm to 8.3mm) | 650.00 | Meter |  | 750.00 | 487500.00 | 756.00 | 491400.00 | 487500.00 | M/s. A S Traders
43.00 | Supplying and stacking of Chlorinated Polyvinyl - chloride (CPVC) pipe
43.10 | (a) 25 mm nominal dia | 350.00 | Meter |  | 300.00 | 105000.00 | 80.62 | 28217.38 | 28217.38 | M/S SARADA CONSTRUCTION
43.20 | (b) 50 mm nominal dia | 40.00 | Meter |  | 600.00 | 24000.00 | 236.41 | 9456.30 | 9456.30 | M/S SARADA CONSTRUCTION
44.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 467.41 | Kg. |  | 120.00 | 56089.20 | 63.00 | 29446.83 | 29446.83 | M/S SARADA CONSTRUCTION
45.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding. | 175.00 | Kg. |  | 110.00 | 19250.00 | 114.03 | 19955.25 | 19250.00 | M/s. A S Traders
46.00 | Cement plaster 1:3 (1 cement: 3 coarse sand) finished with a floating coat of neat cement. 12 mm cement plaster | 73.90 | Sqm |  | 400.00 | 29560.00 | 126.00 | 9311.40 | 9311.40 | M/S SARADA CONSTRUCTION
47.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | 14.94 | Sqm |  | 550.00 | 8217.00 | 343.35 | 5129.65 | 5129.65 | M/S SARADA CONSTRUCTION
48.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 1.00 | Each |  | 3500.00 | 3500.00 | 630.00 | 630.00 | 630.00 | M/S SARADA CONSTRUCTION
49.00 | Providing and fixing white vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings. | 1.00 | Each |  | 1500.00 | 1500.00 | 756.00 | 756.00 | 756.00 | M/S SARADA CONSTRUCTION
50.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357 mm | 1.00 | Each |  | 1200.00 | 1200.00 | 182.70 | 182.70 | 182.70 | M/S SARADA CONSTRUCTION
51.00 | Providing and fixing toilet paper holder : C.P. brass | 1.00 | Each |  | 600.00 | 600.00 | 176.40 | 176.40 | 176.40 | M/S SARADA CONSTRUCTION
52.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 100 mm nominal dia Pipes | 23.00 | Meter |  | 2000.00 | 46000.00 | 1134.00 | 26082.00 | 26082.00 | M/S SARADA CONSTRUCTION
| Total in Figures |  |  |  |  | 10485805.75 |  | 8826074.71
Lowest Amount Quoted BY: M/S SARADA CONSTRUCTION(8826074.71)

## BOQ Summary
BOQ Summary Details Tender Title: Relocation of DVOR and allied Civil works at NSCBI Airport, Kolkata Tender ID: 2023_AAI_148171_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S SARADA CONSTRUCTION | 8826074.71 | L1
| 2 | M/s. A S Traders | 10485805.75 | L2