## BoQ1
Government eProcurement System Created By: NARASIMHA RAO K Created Date/Time: 13-Apr-2023 12:52 PM Tender Title: Construction of Compound wall, Perimeter Road, RCC Drain for NITB at Trichy Airport, Trichy Tender ID: 2023_AAI_148536_1
Tender Inviting Authority: Assistant General Manager (Engg-Civil), AAI, Trichy International Airport, Trichy - 620 007.
Name of Work: Construction of Compound wall, Perimeter Road, RCC Drain for NITB at Trichy Airport, Trichy.
Tender Reference No: AAI/TRY/PROJ/NITB C.WALL/22-23/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VISHAL INFRASTRUCTURE LTD(GSTN-29AABCM3918R1ZT) |  | M/S SRI MARUTHI CONSTRUCTIONS(GSTN-33ADDFS5314H1ZB) |  | M/s.Thomas iyadurai Infrastructure Pvt Ltd(GSTN-33AAECT5674J1Z1) |  | Garg Associates(GSTN-07AEJPG9976Q1ZE) |  | Intex Space Solutions Private Limited(GSTN-33AABCI6589E2ZH) |  | CREATORS ENGINEERS AND INTERIORS PVT LTD(GSTN-33AACCC4738J1ZP) |  | H S OBEROI BUILDTECH PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within airport premises. All kinds of soil. | 2340.00 | Cum |  | 119.00 | 278460.00 | 200.00 | 468000.00 | 187.52 | 438796.80 | 145.00 | 339300.00 | 250.00 | 585000.00 | 340.00 | 795600.00 | 90.00 | 210600.00 | 210600.00 | H S OBEROI BUILDTECH PVT LTD
2.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within airport premises. a) Ordinary rock | 50.00 | Cum |  | 545.00 | 27250.00 | 250.00 | 12500.00 | 202.00 | 10100.00 | 475.00 | 23750.00 | 900.00 | 45000.00 | 728.00 | 36400.00 | 95.00 | 4750.00 | 4750.00 | H S OBEROI BUILDTECH PVT LTD
3.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within airport premises. a) Hard rock | 50.00 | Cum |  | 1125.00 | 56250.00 | 400.00 | 20000.00 | 217.00 | 10850.00 | 950.00 | 47500.00 | 2500.00 | 125000.00 | 1213.00 | 60650.00 | 95.00 | 4750.00 | 4750.00 | H S OBEROI BUILDTECH PVT LTD
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering for all lifts and leads | 930.00 | Cum |  | 95.00 | 88350.00 | 150.00 | 139500.00 | 30.83 | 28671.90 | 80.00 | 74400.00 | 400.00 | 372000.00 | 146.00 | 135780.00 | 85.00 | 79050.00 | 28671.90 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
5.00 | Supplying and filling in plinth with M-sand under floors, including watering, ramming, consolidating and dressing complete. | 130.00 | Cum |  | 1940.00 | 252200.00 | 2500.00 | 325000.00 | 1570.38 | 204149.40 | 1700.00 | 221000.00 | 6000.00 | 780000.00 | 1455.00 | 189150.00 | 2295.00 | 298350.00 | 189150.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 58.00 | Cum |  | 5720.00 | 331760.00 | 6500.00 | 377000.00 | 5763.69 | 334294.02 | 5250.00 | 304500.00 | 8000.00 | 464000.00 | 5335.00 | 309430.00 | 6000.00 | 348000.00 | 304500.00 | Garg Associates
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 230.00 | Cum |  | 4750.00 | 1092500.00 | 6000.00 | 1380000.00 | 5072.05 | 1166571.50 | 3800.00 | 874000.00 | 6500.00 | 1495000.00 | 4365.00 | 1003950.00 | 4800.00 | 1104000.00 | 874000.00 | Garg Associates
8.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS:9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable / recoverable separately). All works upto plinth level | 760.00 | Cum |  | 6600.00 | 5016000.00 | 8500.00 | 6460000.00 | 7631.00 | 5799560.00 | 5350.00 | 4066000.00 | 8000.00 | 6080000.00 | 5335.00 | 4054600.00 | 6300.00 | 4788000.00 | 4054600.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
9.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS:9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable /recoverable separately). All works above plinth upto floor V level. | 220.00 | Cum |  | 6855.00 | 1508100.00 | 9000.00 | 1980000.00 | 7631.00 | 1678820.00 | 5400.00 | 1188000.00 | 8200.00 | 1804000.00 | 5578.00 | 1227160.00 | 6400.00 | 1408000.00 | 1188000.00 | Garg Associates
10.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level Thermo-Mechanically Treated bars of grade Fe-500D or more | 76500.00 | Kg |  | 92.00 | 7038000.00 | 90.00 | 6885000.00 | 81.65 | 6246225.00 | 80.00 | 6120000.00 | 82.00 | 6273000.00 | 84.00 | 6426000.00 | 105.00 | 8032500.00 | 6120000.00 | Garg Associates
11.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 24500.00 | Kg |  | 95.00 | 2327500.00 | 90.00 | 2205000.00 | 81.65 | 2000425.00 | 80.00 | 1960000.00 | 82.00 | 2009000.00 | 84.00 | 2058000.00 | 105.00 | 2572500.00 | 1960000.00 | Garg Associates
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for : (a)Foundations, footings, bases of columns, etc. for mass concrete | 1390.00 | Sqm |  | 370.00 | 514300.00 | 350.00 | 486500.00 | 748.00 | 1039720.00 | 380.00 | 528200.00 | 700.00 | 973000.00 | 388.00 | 539320.00 | 410.00 | 569900.00 | 486500.00 | M/S SRI MARUTHI CONSTRUCTIONS
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : (b) Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 1800.00 | Sqm |  | 450.00 | 810000.00 | 500.00 | 900000.00 | 748.00 | 1346400.00 | 380.00 | 684000.00 | 600.00 | 1080000.00 | 485.00 | 873000.00 | 500.00 | 900000.00 | 684000.00 | Garg Associates
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for (c) Suspended floors, roofs, landings, balconies and access platform | 190.00 | Sqm |  | 480.00 | 91200.00 | 450.00 | 85500.00 | 937.00 | 178030.00 | 425.00 | 80750.00 | 600.00 | 114000.00 | 485.00 | 92150.00 | 540.00 | 102600.00 | 80750.00 | Garg Associates
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for : (d)Lintels, beams, plinth beams, girders, bressumers and cantilever | 950.00 | Sqm |  | 480.00 | 456000.00 | 500.00 | 475000.00 | 840.00 | 798000.00 | 425.00 | 403750.00 | 700.00 | 665000.00 | 485.00 | 460750.00 | 550.00 | 522500.00 | 403750.00 | Garg Associates
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for : (e)Columns, Pillars, Piers, Abutments, Posts and Struts | 1620.00 | Sqm |  | 500.00 | 810000.00 | 550.00 | 891000.00 | 748.00 | 1211760.00 | 425.00 | 688500.00 | 600.00 | 972000.00 | 485.00 | 785700.00 | 430.00 | 696600.00 | 688500.00 | Garg Associates
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for (g)Edges of slabs and breaks in floors and walls, wall copings under 20 cm wide | 3700.00 | Mtr |  | 175.00 | 647500.00 | 150.00 | 555000.00 | 151.71 | 561327.00 | 100.00 | 370000.00 | 600.00 | 2220000.00 | 146.00 | 540200.00 | 500.00 | 1850000.00 | 370000.00 | Garg Associates
18.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 150.00 | Cum |  | 7490.00 | 1123500.00 | 9000.00 | 1350000.00 | 5573.00 | 835950.00 | 8300.00 | 1245000.00 | 9000.00 | 1350000.00 | 5820.00 | 873000.00 | 8200.00 | 1230000.00 | 835950.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
19.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of classdesignation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 490.00 | Cum |  | 8000.00 | 3920000.00 | 9500.00 | 4655000.00 | 5573.00 | 2730770.00 | 8500.00 | 4165000.00 | 9500.00 | 4655000.00 | 5820.00 | 2851800.00 | 8200.00 | 4018000.00 | 2730770.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
20.00 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 125x75x4 mm | 32.00 | Each |  | 155.00 | 4960.00 | 130.00 | 4160.00 | 71.73 | 2295.36 | 190.00 | 6080.00 | 400.00 | 12800.00 | 485.00 | 15520.00 | 250.00 | 8000.00 | 2295.36 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
21.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 13.00 | Each |  | 350.00 | 4550.00 | 240.00 | 3120.00 | 195.91 | 2546.83 | 425.00 | 5525.00 | 700.00 | 9100.00 | 485.00 | 6305.00 | 350.00 | 4550.00 | 2546.83 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
22.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 13.00 | Each |  | 240.00 | 3120.00 | 100.00 | 1300.00 | 87.07 | 1131.91 | 225.00 | 2925.00 | 400.00 | 5200.00 | 485.00 | 6305.00 | 225.00 | 2925.00 | 1131.91 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
23.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm | 7.00 | Each |  | 230.00 | 1610.00 | 90.00 | 630.00 | 75.73 | 530.11 | 475.00 | 3325.00 | 400.00 | 2800.00 | 485.00 | 3395.00 | 220.00 | 1540.00 | 530.11 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
24.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete: 125mm | 26.00 | Each |  | 190.00 | 4940.00 | 75.00 | 1950.00 | 50.08 | 1302.08 | 150.00 | 3900.00 | 800.00 | 20800.00 | 485.00 | 12610.00 | 295.00 | 7670.00 | 1302.08 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
25.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete: Twin rubber stopper | 12.00 | Each |  | 115.00 | 1380.00 | 65.00 | 780.00 | 51.92 | 623.04 | 190.00 | 2280.00 | 400.00 | 4800.00 | 243.00 | 2916.00 | 175.00 | 2100.00 | 623.04 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
26.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg ), with necessary accessories and screws etc. complete | 6.00 | Each |  | 4830.00 | 28980.00 | 1100.00 | 6600.00 | 778.98 | 4673.88 | 2300.00 | 13800.00 | 900.00 | 5400.00 | 2910.00 | 17460.00 | 3000.00 | 18000.00 | 4673.88 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
27.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | .40 | Cum |  | 285415.00 | 114166.00 | 150000.00 | 60000.00 | 111346.12 | 44538.45 | 120000.00 | 48000.00 | 125000.00 | 50000.00 | 194000.00 | 77600.00 | 135000.00 | 54000.00 | 44538.45 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
28.00 | Polishing on wood work with ready mixed wax polish of approved brand and manufacture: New Work | 50.00 | Sqm |  | 685.00 | 34250.00 | 150.00 | 7500.00 | 155.61 | 7780.50 | 225.00 | 11250.00 | 900.00 | 45000.00 | 582.00 | 29100.00 | 750.00 | 37500.00 | 7500.00 | M/S SRI MARUTHI CONSTRUCTIONS
29.00 | Providing and fixing ISI marked flush door shutters conforming to IS: 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. a) 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 21.00 | Sqm |  | 4765.00 | 100065.00 | 2800.00 | 58800.00 | 3371.98 | 70811.58 | 1450.00 | 30450.00 | 4500.00 | 94500.00 | 4850.00 | 101850.00 | 3500.00 | 73500.00 | 30450.00 | Garg Associates
30.00 | Providing and fixing of factory made 35mm thick prelaminated PVC door shutter including frame, door fittings and etc, all complete as per direction of Engineer-in-charge. A) Decorative finish (wood grained finish) | 13.00 | Sqm |  | 3520.00 | 45760.00 | 3000.00 | 39000.00 | 3753.13 | 48790.69 | 1150.00 | 14950.00 | 2500.00 | 32500.00 | 4850.00 | 63050.00 | 4500.00 | 58500.00 | 14950.00 | Garg Associates
31.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | 21400.00 | Kg |  | 130.00 | 2782000.00 | 110.00 | 2354000.00 | 176.83 | 3784162.00 | 120.00 | 2568000.00 | 95.00 | 2033000.00 | 105.00 | 2247000.00 | 130.00 | 2782000.00 | 2033000.00 | Intex Space Solutions Private Limited
32.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | 3000.00 | Kg |  | 135.00 | 405000.00 | 130.00 | 390000.00 | 176.83 | 530490.00 | 140.00 | 420000.00 | 100.00 | 300000.00 | 105.00 | 315000.00 | 130.00 | 390000.00 | 300000.00 | Intex Space Solutions Private Limited
33.00 | Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. bar, bent to shape with hooked ends in R.C.C. slabs or beams during laying, including painting the exposed portion of loop, all as per standard design complete. | 8.00 | Each |  | 155.00 | 1240.00 | 180.00 | 1440.00 | 155.09 | 1240.72 | 275.00 | 2200.00 | 600.00 | 4800.00 | 485.00 | 3880.00 | 95.00 | 760.00 | 760.00 | H S OBEROI BUILDTECH PVT LTD
34.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 340.00 | Kg |  | 190.00 | 64600.00 | 90.00 | 30600.00 | 73.81 | 25095.40 | 190.00 | 64600.00 | 250.00 | 85000.00 | 146.00 | 49640.00 | 170.00 | 57800.00 | 25095.40 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
35.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates, sliding gates including rollers and similar works | 7150.00 | Kg |  | 130.00 | 929500.00 | 140.00 | 1001000.00 | 176.83 | 1264334.50 | 105.00 | 750750.00 | 100.00 | 715000.00 | 105.00 | 750750.00 | 130.00 | 929500.00 | 715000.00 | Intex Space Solutions Private Limited
36.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.) | 500.00 | Kg |  | 600.00 | 300000.00 | 550.00 | 275000.00 | 510.63 | 255315.00 | 330.00 | 165000.00 | 500.00 | 250000.00 | 582.00 | 291000.00 | 750.00 | 375000.00 | 165000.00 | Garg Associates
37.00 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete. Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and 1.4 mm aperture on both sides | 10.00 | Sqm |  | 1535.00 | 15350.00 | 950.00 | 9500.00 | 810.30 | 8103.00 | 950.00 | 9500.00 | 2500.00 | 25000.00 | 1455.00 | 14550.00 | 650.00 | 6500.00 | 6500.00 | H S OBEROI BUILDTECH PVT LTD
38.00 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : 5.0 mm thick glass panes (weights not less than 12.50 kg/ sqm) | 120.00 | Sqm |  | 1385.00 | 166200.00 | 2300.00 | 276000.00 | 315.94 | 37912.80 | 1000.00 | 120000.00 | 1000.00 | 120000.00 | 1940.00 | 232800.00 | 1100.00 | 132000.00 | 37912.80 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
39.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 100.00 | Sqm |  | 1020.00 | 102000.00 | 1000.00 | 100000.00 | 1298.58 | 129858.00 | 850.00 | 85000.00 | 1200.00 | 120000.00 | 1455.00 | 145500.00 | 1300.00 | 130000.00 | 85000.00 | Garg Associates
40.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm. | 210.00 | Sqm |  | 1310.00 | 275100.00 | 1300.00 | 273000.00 | 1151.79 | 241875.90 | 850.00 | 178500.00 | 1300.00 | 273000.00 | 1455.00 | 305550.00 | 1500.00 | 315000.00 | 178500.00 | Garg Associates
41.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 70.00 | Sqm |  | 1280.00 | 89600.00 | 1400.00 | 98000.00 | 1151.79 | 80625.30 | 100.00 | 7000.00 | 1300.00 | 91000.00 | 1455.00 | 101850.00 | 1450.00 | 101500.00 | 7000.00 | Garg Associates
42.00 | Providing and fixing prepainted galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 440.00 | Sqm |  | 955.00 | 420200.00 | 700.00 | 308000.00 | 560.09 | 246439.60 | 1600.00 | 704000.00 | 750.00 | 330000.00 | 776.00 | 341440.00 | 790.00 | 347600.00 | 246439.60 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
43.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Gutter (600 mm over all girth) | 60.00 | Mtr |  | 975.00 | 58500.00 | 1110.00 | 66600.00 | 868.85 | 52131.00 | 2250.00 | 135000.00 | 600.00 | 36000.00 | 970.00 | 58200.00 | 1350.00 | 81000.00 | 36000.00 | Intex Space Solutions Private Limited
44.00 | 12 mm cement plaster : 1:6 (1 cement : 6 coarse sand). | 3030.00 | Sqm |  | 330.00 | 999900.00 | 350.00 | 1060500.00 | 203.00 | 615090.00 | 375.00 | 1136250.00 | 400.00 | 1212000.00 | 340.00 | 1030200.00 | 280.00 | 848400.00 | 615090.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
45.00 | Embossing AAI Logo on boundary wall with projection of 12mm as per the directions of Engineer-In-Charge with cement plaster finished with a floating coat of neat cement of mix: 1:3 (1 cement: 3 fine sand) | 20.00 | Sqm |  | 370.00 | 7400.00 | 1000.00 | 20000.00 | 171.25 | 3425.00 | 720.00 | 14400.00 | 450.00 | 9000.00 | 970.00 | 19400.00 | 600.00 | 12000.00 | 3425.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
46.00 | 15 mm cement plaster : 1:6 (1 cement : 6 coarse sand) | 2430.00 | Sqm |  | 315.00 | 765450.00 | 400.00 | 972000.00 | 217.11 | 527577.30 | 375.00 | 911250.00 | 500.00 | 1215000.00 | 388.00 | 942840.00 | 460.00 | 1117800.00 | 527577.30 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
47.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 760.00 | Sqm |  | 285.00 | 216600.00 | 300.00 | 228000.00 | 225.67 | 171509.20 | 375.00 | 285000.00 | 400.00 | 304000.00 | 340.00 | 258400.00 | 200.00 | 152000.00 | 152000.00 | H S OBEROI BUILDTECH PVT LTD
48.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water thinnable priming coat with cement primer | 450.00 | Sqm |  | 200.00 | 90000.00 | 160.00 | 72000.00 | 127.98 | 57591.00 | 115.00 | 51750.00 | 100.00 | 45000.00 | 63.00 | 28350.00 | 130.00 | 58500.00 | 28350.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
49.00 | Finishing walls with Acrylic Smooth exterior paint of required shade: New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm. | 5720.00 | Sqm |  | 195.00 | 1115400.00 | 130.00 | 743600.00 | 137.36 | 785699.20 | 120.00 | 686400.00 | 150.00 | 858000.00 | 97.00 | 554840.00 | 240.00 | 1372800.00 | 554840.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
50.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 4000.00 | Sqm |  | 160.00 | 640000.00 | 140.00 | 560000.00 | 185.43 | 741720.00 | 120.00 | 480000.00 | 170.00 | 680000.00 | 116.00 | 464000.00 | 140.00 | 560000.00 | 464000.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
51.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 320.00 | Sqm |  | 125.00 | 40000.00 | 120.00 | 38400.00 | 96.04 | 30732.80 | 140.00 | 44800.00 | 100.00 | 32000.00 | 146.00 | 46720.00 | 85.00 | 27200.00 | 27200.00 | H S OBEROI BUILDTECH PVT LTD
52.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. a) Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 40.00 | Cum |  | 1345.00 | 53800.00 | 1800.00 | 72000.00 | 276.90 | 11076.00 | 1650.00 | 66000.00 | 2500.00 | 100000.00 | 2910.00 | 116400.00 | 2500.00 | 100000.00 | 11076.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
53.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within airport premises as per direction of Engineer -in- charge. | 10.00 | Cum |  | 3215.00 | 32150.00 | 2500.00 | 25000.00 | 5200.00 | 52000.00 | 1900.00 | 19000.00 | 2500.00 | 25000.00 | 3880.00 | 38800.00 | 2500.00 | 25000.00 | 19000.00 | Garg Associates
54.00 | Painting runway/taxi track/apron marking with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-charge, i/c cleaning the surface of ail dirt, scales, oil, grease and other foreign material etc. and lining out complete. New work (Two or more coats) | 350.00 | Sqm |  | 175.00 | 61250.00 | 130.00 | 45500.00 | 132.19 | 46266.50 | 145.00 | 50750.00 | 200.00 | 70000.00 | 243.00 | 85050.00 | 700.00 | 245000.00 | 45500.00 | M/S SRI MARUTHI CONSTRUCTIONS
55.00 | Painting runway/taxi track/apron marking with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-charge, i/c cleaning the surface of ail dirt, scales, oil, grease and other foreign material etc. and lining out complete. Old work (One or more coats) | 2000.00 | Sqm |  | 115.00 | 230000.00 | 90.00 | 180000.00 | 84.74 | 169480.00 | 450.00 | 900000.00 | 100.00 | 200000.00 | 194.00 | 388000.00 | 490.00 | 980000.00 | 169480.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
56.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron ‘Y’ shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 700.00 | Mtr |  | 670.00 | 469000.00 | 300.00 | 210000.00 | 248.45 | 173915.00 | 3000.00 | 2100000.00 | 550.00 | 385000.00 | 485.00 | 339500.00 | 740.00 | 518000.00 | 173915.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
57.00 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete a) 450 mm dia RCC pipes. | 100.00 | Mtr |  | 3000.00 | 300000.00 | 2500.00 | 250000.00 | 1851.54 | 185154.00 | 475.00 | 47500.00 | 1800.00 | 180000.00 | 2425.00 | 242500.00 | 2200.00 | 220000.00 | 47500.00 | Garg Associates
58.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For Fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 1300.00 | Kg |  | 600.00 | 780000.00 | 450.00 | 585000.00 | 361.93 | 470509.00 | 475.00 | 617500.00 | 350.00 | 455000.00 | 485.00 | 630500.00 | 650.00 | 845000.00 | 455000.00 | Intex Space Solutions Private Limited
59.00 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 570.00 | Kg |  | 700.00 | 399000.00 | 525.00 | 299250.00 | 443.54 | 252817.80 | 500.00 | 285000.00 | 450.00 | 256500.00 | 582.00 | 331740.00 | 750.00 | 427500.00 | 252817.80 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
60.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge. Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | 140.00 | Sqm |  | 915.00 | 128100.00 | 850.00 | 119000.00 | 1053.13 | 147438.20 | 700.00 | 98000.00 | 750.00 | 105000.00 | 1940.00 | 271600.00 | 2000.00 | 280000.00 | 98000.00 | Garg Associates
61.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 210.00 | Sqm |  | 1385.00 | 290850.00 | 1300.00 | 273000.00 | 1105.55 | 232165.50 | 1150.00 | 241500.00 | 450.00 | 94500.00 | 1940.00 | 407400.00 | 6500.00 | 1365000.00 | 94500.00 | Intex Space Solutions Private Limited
62.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 6.00 | Each |  | 1905.00 | 11430.00 | 500.00 | 3000.00 | 374.94 | 2249.64 | 550.00 | 3300.00 | 600.00 | 3600.00 | 2425.00 | 14550.00 | 900.00 | 5400.00 | 2249.64 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
63.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 80.00 | Sqm |  | 845.00 | 67600.00 | 650.00 | 52000.00 | 568.52 | 45481.60 | 475.00 | 38000.00 | 6000.00 | 480000.00 | 582.00 | 46560.00 | 1400.00 | 112000.00 | 38000.00 | Garg Associates
64.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a)Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b)Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c)After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed withwater proofing compound conforming to IS : 2645 and approved by Engineer-in-charge (d).Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e)The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 150.00 | Sqm |  | 1280.00 | 192000.00 | 1500.00 | 225000.00 | 1251.04 | 187656.00 | 700.00 | 105000.00 | 1300.00 | 195000.00 | 970.00 | 145500.00 | 1280.00 | 192000.00 | 105000.00 | Garg Associates
65.00 | Providing and erecting 3.00 metre high temporary barricading at site; each panel of size 2.50mx3.00m made of 40x40x6mm angle iron or 50x50x3mm hollow MS tube posts/horizontal members/bracings covered with 1.63mm thick MS sheet. The sheet shall be fixed with 30x5mm MS flat by suitable welding/riveting. MS channel ISLC 75 @ 5.70 kg/m, 50cm long shall be provided at the bottom having oval shaped holes of size 50x25mm at both ends with 50cm long MS angle 40x40x6mm bracing. Suitable arrangement shall be made to fix the barricading to avoid from overturning by providing 250mm long expansion fasteners at both ends. The work shall be executed as per drawing/ direction of Engineer-in-Charge which includes writing and painting, arrangement for traffic diversion such as traffic signals during construction at site for day and night, glow lamps, reflective signs, marking, flags, caution tape as directed by the Engineer-in-Charge. The barricading provided shall be retained in position at site continuously i/c shifting of barricading from one location to another location as many times as required during the execution of the entire work till its completion. Rate include its maintenance for damages, painting, all incidentals, labour materials, equipments and works required to execute the job.The barricading shall not be removed without prior approval of Engineer-in- Charge. (Note :- One time payment shall be made for providing barricading from start of work till completion of work i/c shifting. The barricading provided shall remain to be the property of the contractor on completion of the work). | 60.00 | Mtr |  | 7500.00 | 450000.00 | 4000.00 | 240000.00 | 2050.00 | 123000.00 | 1650.00 | 99000.00 | 7500.00 | 450000.00 | 1455.00 | 87300.00 | 2700.00 | 162000.00 | 87300.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
66.00 | Cutting holes of required size in brick masonry wall for fixing of exhaust fan including providing and fixing 300 mm dia PVC pipe conforming BIS-12818 and making good the same etc. complete as per direction of Engineer-in-charge. | 3.00 | Each |  | 765.00 | 2295.00 | 250.00 | 750.00 | 202.75 | 608.25 | 475.00 | 1425.00 | 2000.00 | 6000.00 | 970.00 | 2910.00 | 800.00 | 2400.00 | 608.25 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
67.00 | Providing and fixing white vitreous china extended wall mounting water closet of size 780x370x690 mm of approved shape including providing & fixing white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 6.00 | Each |  | 13036.00 | 78216.00 | 13000.00 | 78000.00 | 10872.85 | 65237.10 | 4750.00 | 28500.00 | 7000.00 | 42000.00 | 14550.00 | 87300.00 | 8500.00 | 51000.00 | 28500.00 | Garg Associates
68.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 3.00 | Each |  | 9490.00 | 28470.00 | 1300.00 | 3900.00 | 1740.62 | 5221.86 | 2850.00 | 8550.00 | 6000.00 | 18000.00 | 6790.00 | 20370.00 | 5500.00 | 16500.00 | 3900.00 | M/S SRI MARUTHI CONSTRUCTIONS
69.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 6.00 | Each |  | 6675.00 | 40050.00 | 2700.00 | 16200.00 | 2732.28 | 16393.68 | 4750.00 | 28500.00 | 7000.00 | 42000.00 | 4850.00 | 29100.00 | 6500.00 | 39000.00 | 16200.00 | M/S SRI MARUTHI CONSTRUCTIONS
70.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe a) 32 mm dia | 9.00 | Each |  | 125.00 | 1125.00 | 90.00 | 810.00 | 2477.90 | 22301.10 | 275.00 | 2475.00 | 300.00 | 2700.00 | 582.00 | 5238.00 | 50.00 | 450.00 | 450.00 | H S OBEROI BUILDTECH PVT LTD
71.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, edge finished, machine cut for platforms, counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of any colour and shade, Area of slab over 0.50 sqm | 4.00 | Sqm |  | 6465.00 | 25860.00 | 4000.00 | 16000.00 | 3690.87 | 14763.48 | 2375.00 | 9500.00 | 4500.00 | 18000.00 | 4850.00 | 19400.00 | 4000.00 | 16000.00 | 9500.00 | Garg Associates
72.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357 mm | 3.00 | Each |  | 2125.00 | 6375.00 | 1100.00 | 3300.00 | 966.60 | 2899.80 | 700.00 | 2100.00 | 2500.00 | 7500.00 | 2910.00 | 8730.00 | 1200.00 | 3600.00 | 2100.00 | Garg Associates
73.00 | Providing and fixing toilet paper holder : C.P. brass | 5.00 | Each |  | 1275.00 | 6375.00 | 600.00 | 3000.00 | 567.81 | 2839.05 | 475.00 | 2375.00 | 600.00 | 3000.00 | 970.00 | 4850.00 | 650.00 | 3250.00 | 2375.00 | Garg Associates
74.00 | Providing and fixing Health Faucet with 8mm Dia, 1.2 Meter Long Flexible Tube & Wall Hook of approved brand and manufacture all complete as per the direction of Engineer-In-Charge. | 6.00 | Each |  | 895.00 | 5370.00 | 1000.00 | 6000.00 | 1334.45 | 8006.70 | 1900.00 | 11400.00 | 1200.00 | 7200.00 | 970.00 | 5820.00 | 1200.00 | 7200.00 | 5370.00 | VISHAL INFRASTRUCTURE LTD
75.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms | 3.00 | Each |  | 750.00 | 2250.00 | 150.00 | 450.00 | 122.02 | 366.06 | 700.00 | 2100.00 | 600.00 | 1800.00 | 970.00 | 2910.00 | 450.00 | 1350.00 | 366.06 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
76.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 450 mm long towel rail with total length of 495 mm, 78 mm wide and effective height of 88 mm, weighing not less than 170 gms | 3.00 | Each |  | 2035.00 | 6105.00 | 500.00 | 1500.00 | 478.40 | 1435.20 | 1150.00 | 3450.00 | 1500.00 | 4500.00 | 970.00 | 2910.00 | 1350.00 | 4050.00 | 1435.20 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
77.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement & testing of joints complete as per direction of Engineer-in-Charge.External work a) 25 mm nominal outer dia Pipes | 200.00 | Mtr |  | 450.00 | 90000.00 | 650.00 | 130000.00 | 309.13 | 61826.00 | 375.00 | 75000.00 | 200.00 | 40000.00 | 291.00 | 58200.00 | 290.00 | 58000.00 | 40000.00 | Intex Space Solutions Private Limited
78.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. a) 15 mm nominal dia Pipes | 100.00 | Mtr |  | 400.00 | 40000.00 | 250.00 | 25000.00 | 367.93 | 36793.00 | 275.00 | 27500.00 | 150.00 | 15000.00 | 485.00 | 48500.00 | 250.00 | 25000.00 | 15000.00 | Intex Space Solutions Private Limited
79.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls b) 20 mm nominal dia Pipes | 75.00 | Mtr |  | 450.00 | 33750.00 | 300.00 | 22500.00 | 428.48 | 32136.00 | 275.00 | 20625.00 | 180.00 | 13500.00 | 534.00 | 40050.00 | 275.00 | 20625.00 | 13500.00 | Intex Space Solutions Private Limited
80.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls c) 25 mm nominal dia Pipes | 50.00 | Mtr |  | 450.00 | 22500.00 | 400.00 | 20000.00 | 522.14 | 26107.00 | 425.00 | 21250.00 | 200.00 | 10000.00 | 582.00 | 29100.00 | 275.00 | 13750.00 | 10000.00 | Intex Space Solutions Private Limited
81.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 53.00 | Mtr |  | 520.00 | 27560.00 | 320.00 | 16960.00 | 331.55 | 17572.15 | 325.00 | 17225.00 | 400.00 | 21200.00 | 679.00 | 35987.00 | 550.00 | 29150.00 | 16960.00 | M/S SRI MARUTHI CONSTRUCTIONS
82.00 | Providing and fixing unplasticised Rigid PVC soil waste pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382 (i) Single socketed pipes. 110 mm diameter | 300.00 | Mtr |  | 520.00 | 156000.00 | 500.00 | 150000.00 | 216.26 | 64878.00 | 350.00 | 105000.00 | 400.00 | 120000.00 | 776.00 | 232800.00 | 550.00 | 165000.00 | 64878.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
83.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Bend 87.5°, 110 mm bend | 12.00 | Each |  | 300.00 | 3600.00 | 130.00 | 1560.00 | 320.46 | 3845.52 | 325.00 | 3900.00 | 900.00 | 10800.00 | 582.00 | 6984.00 | 450.00 | 5400.00 | 1560.00 | M/S SRI MARUTHI CONSTRUCTIONS
84.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Shoe (Plain), 110 mm shoe | 12.00 | Each |  | 215.00 | 2580.00 | 115.00 | 1380.00 | 320.46 | 3845.52 | 325.00 | 3900.00 | 900.00 | 10800.00 | 582.00 | 6984.00 | 450.00 | 5400.00 | 1380.00 | M/S SRI MARUTHI CONSTRUCTIONS
85.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. Circular tank | 3000.00 | Litre |  | 20.00 | 60000.00 | 15.00 | 45000.00 | 8.01 | 24030.00 | 10.00 | 30000.00 | 25.00 | 75000.00 | 19.00 | 57000.00 | 10.00 | 30000.00 | 24030.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
86.00 | Providing and fixing square-mouth PVC gully trap complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 6.00 | Each |  | 3290.00 | 19740.00 | 2400.00 | 14400.00 | 139.28 | 835.68 | 1700.00 | 10200.00 | 1500.00 | 9000.00 | 2910.00 | 17460.00 | 4500.00 | 27000.00 | 835.68 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
87.00 | Providing and fixing PVC trap of self cleansing design with screwed down or hinged SS grating including cost of cutting and making good the walls and floors: 100mm inlet and 100mm outlet | 15.00 | Each |  | 1070.00 | 16050.00 | 1500.00 | 22500.00 | 774.81 | 11622.15 | 1900.00 | 28500.00 | 1000.00 | 15000.00 | 485.00 | 7275.00 | 750.00 | 11250.00 | 7275.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
88.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 15.00 | Each |  | 170.00 | 2550.00 | 70.00 | 1050.00 | 71.06 | 1065.90 | 475.00 | 7125.00 | 600.00 | 9000.00 | 485.00 | 7275.00 | 100.00 | 1500.00 | 1050.00 | M/S SRI MARUTHI CONSTRUCTIONS
89.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 15.00 | Each |  | 1435.00 | 21525.00 | 850.00 | 12750.00 | 739.16 | 11087.40 | 750.00 | 11250.00 | 900.00 | 13500.00 | 485.00 | 7275.00 | 1450.00 | 21750.00 | 7275.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
90.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 25 mm nominal bore | 3.00 | Each |  | 2210.00 | 6630.00 | 400.00 | 1200.00 | 332.90 | 998.70 | 700.00 | 2100.00 | 1200.00 | 3600.00 | 2425.00 | 7275.00 | 950.00 | 2850.00 | 998.70 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
91.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 3.00 | Each |  | 2490.00 | 7470.00 | 530.00 | 1590.00 | 650.54 | 1951.62 | 1200.00 | 3600.00 | 1200.00 | 3600.00 | 2425.00 | 7275.00 | 2000.00 | 6000.00 | 1590.00 | M/S SRI MARUTHI CONSTRUCTIONS
92.00 | Providing and fixing gun metal non- return valve of approved quality (screwed end) : 25 mm nominal bore Vertical | 2.00 | Sqm |  | 1750.00 | 3500.00 | 550.00 | 1100.00 | 478.32 | 956.64 | 1200.00 | 2400.00 | 1200.00 | 2400.00 | 2425.00 | 4850.00 | 2500.00 | 5000.00 | 956.64 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
93.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 6.00 | Each |  | 1320.00 | 7920.00 | 430.00 | 2580.00 | 362.14 | 2172.84 | 750.00 | 4500.00 | 1200.00 | 7200.00 | 776.00 | 4656.00 | 1000.00 | 6000.00 | 2172.84 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
94.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 8.00 | Each |  | 1170.00 | 9360.00 | 590.00 | 4720.00 | 496.04 | 3968.32 | 750.00 | 6000.00 | 600.00 | 4800.00 | 776.00 | 6208.00 | 1250.00 | 10000.00 | 3968.32 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
95.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690gms. | 6.00 | Each |  | 1345.00 | 8070.00 | 700.00 | 4200.00 | 590.83 | 3544.98 | 1150.00 | 6900.00 | 1200.00 | 7200.00 | 776.00 | 4656.00 | 1850.00 | 11100.00 | 3544.98 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
96.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931: a)15mm nominal bore | 15.00 | Each |  | 750.00 | 11250.00 | 500.00 | 7500.00 | 635.53 | 9532.95 | 950.00 | 14250.00 | 800.00 | 12000.00 | 970.00 | 14550.00 | 1000.00 | 15000.00 | 7500.00 | M/S SRI MARUTHI CONSTRUCTIONS
97.00 | Providing and fixing unplastized rigid PVC pipe for sewerage line. This includes jointing of pipes & fittings with one step PVC solvent cement, trenching, refilling, & testing of joints complete as per direction of Engineer in Charge. External work 110mm . | 300.00 | Mtr |  | 750.00 | 225000.00 | 500.00 | 150000.00 | 2100.00 | 630000.00 | 325.00 | 97500.00 | 400.00 | 120000.00 | 582.00 | 174600.00 | 650.00 | 195000.00 | 97500.00 | Garg Associates
98.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter | 2.00 | Each |  | 720.00 | 1440.00 | 680.00 | 1360.00 | 570.23 | 1140.46 | 2750.00 | 5500.00 | 10000.00 | 20000.00 | 9700.00 | 19400.00 | 4500.00 | 9000.00 | 1140.46 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
99.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round PVC Sewerage pipe including bed concrete as per standard design : 110 mm diameter pipes | 300.00 | Mtr |  | 630.00 | 189000.00 | 1500.00 | 450000.00 | 354.96 | 106488.00 | 275.00 | 82500.00 | 600.00 | 180000.00 | 194.00 | 58200.00 | 250.00 | 75000.00 | 58200.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
100.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 10.00 | Each |  | 12500.00 | 125000.00 | 12000.00 | 120000.00 | 7240.20 | 72402.00 | 9000.00 | 90000.00 | 12000.00 | 120000.00 | 19400.00 | 194000.00 | 7500.00 | 75000.00 | 72402.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
101.00 | Extra for depth for manholes : Size 90x80 cm With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 15.00 | Mtr |  | 8670.00 | 130050.00 | 8000.00 | 120000.00 | 6778.52 | 101677.80 | 1500.00 | 22500.00 | 4500.00 | 67500.00 | 4850.00 | 72750.00 | 1200.00 | 18000.00 | 18000.00 | H S OBEROI BUILDTECH PVT LTD
102.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge.) | 240.00 | Sqm |  | 1265.00 | 303600.00 | 850.00 | 204000.00 | 793.16 | 190358.40 | 1150.00 | 276000.00 | 1100.00 | 264000.00 | 1455.00 | 349200.00 | 800.00 | 192000.00 | 190358.40 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
103.00 | Providing & fixing 75mm nominal dia PVC pipe conforming BIS-12818 in brick masonary wall (weep hole) as per technical specifications and drawings complete and the direction of Enginner in charge. | 230.00 | Each |  | 125.00 | 28750.00 | 300.00 | 69000.00 | 259.26 | 59629.80 | 100.00 | 23000.00 | 300.00 | 69000.00 | 485.00 | 111550.00 | 310.00 | 71300.00 | 23000.00 | Garg Associates
104.00 | Dismantling of flexible pavement (bituminous courses) by mechanical means and disposal of dismantled material within Airport premises, as per direction of Engineer-in-charge. | 10.00 | Cum |  | 600.00 | 6000.00 | 500.00 | 5000.00 | 290.16 | 2901.60 | 425.00 | 4250.00 | 1800.00 | 18000.00 | 2910.00 | 29100.00 | 1300.00 | 13000.00 | 2901.60 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
105.00 | Excavation for earth work in soil with hydraulic excavator of 0.9cum bucket capacity including cutting & loading in tippers, trimming bottom and side slopes in accordance with requirement of line, grades and cross section, consolidating with vibratory roller 8-10 tonne capacity including making good the undulation and transporting to the embankment location including disposed earth to be levelled and neatly dressed with all lifts and lead within Airport Premises as directed by Engineer-in-Charge. All kinds of Soil | 900.00 | Cum |  | 115.00 | 103500.00 | 400.00 | 360000.00 | 201.00 | 180900.00 | 125.00 | 112500.00 | 250.00 | 225000.00 | 388.00 | 349200.00 | 700.00 | 630000.00 | 103500.00 | VISHAL INFRASTRUCTURE LTD
106.00 | Construction of Subgrade embankment with available excavated soil within the Airport premises. The complete operation will include grading with motor grader and consolidating with vibratory roller 8-10 tonne capacity including making good the undulation etc. as per technical specifications and drawings complete and as per direction of Engineer-in-Charge. (Excavated soil under Agreement Item No.105 shall be made available free of cost.) | 500.00 | Cum |  | 175.00 | 87500.00 | 300.00 | 150000.00 | 862.70 | 431350.00 | 100.00 | 50000.00 | 500.00 | 250000.00 | 97.00 | 48500.00 | 600.00 | 300000.00 | 48500.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
107.00 | Construction of embankment with Moorum brought out from approved quarry out side the airport premises. The complete operation will include spreading the Moorum with dozer, dressing, levelling, providing camber, grading with motor grader and consolidating with vibratory roller 8-10 tonne capacity including making good the undulation etc, as per technical specifications and drawings complete and the direction of Enginner in charge. (Cost includes all leads, taxes, royalty and operations, excluding GST, payment to be made for compacted quantity only) | 1350.00 | Cum |  | 920.00 | 1242000.00 | 850.00 | 1147500.00 | 750.00 | 1012500.00 | 850.00 | 1147500.00 | 400.00 | 540000.00 | 970.00 | 1309500.00 | 1900.00 | 2565000.00 | 540000.00 | Intex Space Solutions Private Limited
108.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. | 540.00 | Cum |  | 2460.00 | 1328400.00 | 1900.00 | 1026000.00 | 1769.21 | 955373.40 | 1750.00 | 945000.00 | 500.00 | 270000.00 | 2425.00 | 1309500.00 | 2800.00 | 1512000.00 | 270000.00 | Intex Space Solutions Private Limited
109.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm) to wet mix acadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by mechanical transport to site, for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base /base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. | 680.00 | Cum |  | 3175.00 | 2159000.00 | 1900.00 | 1292000.00 | 2038.00 | 1385840.00 | 1750.00 | 1190000.00 | 1100.00 | 748000.00 | 2425.00 | 1649000.00 | 7000.00 | 4760000.00 | 748000.00 | Intex Space Solutions Private Limited
110.00 | Providing and applying primer coat with bitumen emulsion SS1 grade conforming to IS : 8887 on prepared suface of granular base including clearing of surface and spraying primer at the rate of 0.70kg/sqm using mechanically means complete in all respects as per direction of Engineer-In-Charge. The contractor shall quote his rates assuming quantity of bitumen emulsion as 0.70kg/sqm. If the actual quantity of bitumen emulsion varied from the quantity assumed above, necessary cost adjustment for deviation in the quantity of bitumen emulsion shall be done as per rate in actual supply voucher from nearest refinery at the time of execution. The rate of bitumen emulsion exclusive of GST shall only be considered for payment. | 2700.00 | Sqm |  | 70.00 | 189000.00 | 72.00 | 194400.00 | 58.01 | 156627.00 | 70.00 | 189000.00 | 70.00 | 189000.00 | 97.00 | 261900.00 | 300.00 | 810000.00 | 156627.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
111.00 | Providing and applying tack coat using bitumen emulsion (Rapid setting) complying with IS:8887, spraying the bitumen with mechanically operated spray unit at the rate specified below, cleaning and preparing the existing pavement surface as per specifications complete in all respects as per direction of Engineer-In-Charge. If the actual quantity of bitumen varies from the quantity specified, necessary cost adjustment for deviation in the quantity of bitumen shall be done as per rate in actual supply voucher from nearest refinery at the time of execution. The rate of bitumen exclusive of GST shall only be considered for payment. a) 0.2kg/sqm on existing bituminous surface | 1800.00 | Sqm |  | 80.00 | 144000.00 | 30.00 | 54000.00 | 13.93 | 25074.00 | 45.00 | 81000.00 | 70.00 | 126000.00 | 19.00 | 34200.00 | 270.00 | 486000.00 | 25074.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
112.00 | Providing and laying of Hot Mix Dense Bituminous Macadam (DBM) using crushed stone aggregate of quality, size and grading as specified and cement filler of quality as specified and Viscosity Grade Bitumen (supplied in bulk) in proportions as per job mix formula and laid to specified levels, grade and camber as per specification, drawings and as directed by the Engineer-in-Charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete [for tendering purpose VG bitumen of grade (VG-30) shall be taken as 110 kg/m3 of mix supplied in bulk produced by Govt. Refineries and 2% stone dust by weight of aggregates as filler material]. | 180.00 | Cum |  | 15500.00 | 2790000.00 | 9000.00 | 1620000.00 | 6100.00 | 1098000.00 | 9250.00 | 1665000.00 | 1200.00 | 216000.00 | 11640.00 | 2095200.00 | 11000.00 | 1980000.00 | 216000.00 | Intex Space Solutions Private Limited
113.00 | Providing and laying of Hot Mix Semi Dense Asphaltic Concrete(SDAC) using crushed stone aggregate of quality, size and grading as specified and cement as filler of quality as specified and Viscosity Grade Bitumen (supplied in bulk) in proportions as per job mix formula and laid to specified levels, grade and camber as per specification, drawings and as directed by the Engineer-in-Charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete [for tendering purpose VG bitumen of grade (VG-30) content shall be taken as 120 kg/m3 of mix supplied in bulk produced by Govt. Refineries and 2% stone dust by weight of aggregates as filler material] | 80.00 | Cum |  | 16500.00 | 1320000.00 | 9500.00 | 760000.00 | 6350.00 | 508000.00 | 10000.00 | 800000.00 | 9500.00 | 760000.00 | 12610.00 | 1008800.00 | 11000.00 | 880000.00 | 508000.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
114.00 | Conducting CBR and SPT test to verify the soaked CBR, Unsoaked CBR and Safe Bearing Capacity at site at propsed locations as per direction of Engineer-in-charge. | 3.00 | Nos |  | 25000.00 | 75000.00 | 25000.00 | 75000.00 | 54211.84 | 162635.52 | 72500.00 | 217500.00 | 75000.00 | 225000.00 | 48500.00 | 145500.00 | 50000.00 | 150000.00 | 75000.00 | VISHAL INFRASTRUCTURE LTD, M/S SRI MARUTHI CONSTRUCTIONS
115.00 | Providing and fixing high quality plastic steel reinforced speed breaker along with end cap, with load capacity of 60 tons, complete with specified size of 1000mm x 450mm x 60mm and spectifications as per the instructions of Engineer-In-Charge | 15.00 | Mtr |  | 3000.00 | 45000.00 | 2500.00 | 37500.00 | 3652.09 | 54781.35 | 7125.00 | 106875.00 | 3500.00 | 52500.00 | 4850.00 | 72750.00 | 3200.00 | 48000.00 | 37500.00 | M/S SRI MARUTHI CONSTRUCTIONS
116.00 | Supply of Under Vehicle Search Mirror of size 24 inch x 12 inch with handle bar length of 1m, light weight, maintenance free, with rigidly mounted rubber grip on handle, smooth castor wheels for movement, powder coated M.S body with acrylic convex mirror, rechargeable torch with adjustable bracket. | 4.00 | Nos |  | 12710.00 | 50840.00 | 2000.00 | 8000.00 | 6000.00 | 24000.00 | 9500.00 | 38000.00 | 12000.00 | 48000.00 | 4850.00 | 19400.00 | 5500.00 | 22000.00 | 8000.00 | M/S SRI MARUTHI CONSTRUCTIONS
117.00 | Providing and stacking M-Sand wherever required within the Airport premises as directed by the Engineer -In- Charge. The rate includes cost of all incidental charge | 10.00 | Cum |  | 2265.00 | 22650.00 | 2000.00 | 20000.00 | 1251.04 | 12510.40 | 1450.00 | 14500.00 | 4500.00 | 45000.00 | 1940.00 | 19400.00 | 2325.00 | 23250.00 | 12510.40 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
118.00 | Providing Polythene empty used cement bags and filling the same with available M-Sand(M-sand will be supplied from item no.117) tying and stacking the same wherever required in Airport premises as per the direction of Engineer-In-Charge. The rate includes cost of all incidental charges. | 1000.00 | Nos |  | 50.00 | 50000.00 | 50.00 | 50000.00 | 16.68 | 16680.00 | 100.00 | 100000.00 | 100.00 | 100000.00 | 49.00 | 49000.00 | 6.00 | 6000.00 | 6000.00 | H S OBEROI BUILDTECH PVT LTD
119.00 | Credit for dismantling brick work in cement mortar. manually/ by mechanical means and taking away the dismantled material and cleaning of rubbish/ debris, etc all complete as per direction of Engineer-in-charge. | 110.00 | Cum |  | 250.00 | -27500.00 | 1.00 | -110.00 | 45.00 | -4950.00 | 1.00 | -110.00 | 100.00 | -11000.00 | 97.00 | -10670.00 | 900.00 | -99000.00 | -99000.00 | H S OBEROI BUILDTECH PVT LTD
120.00 | Credit for dismantling steel work in single sections manually/ by mechanical means and taking away the dismantled material and cleaning of rubbish/ debris, etc all complete as per direction of Engineer-in-charge. | 1000.00 | Kg |  | 20.00 | -20000.00 | 10.00 | -10000.00 | 13.00 | -13000.00 | 1.00 | -1000.00 | 15.00 | -15000.00 | 10.00 | -10000.00 | 3.20 | -3200.00 | -20000.00 | VISHAL INFRASTRUCTURE LTD
121.00 | Providing Technical consultancy services for assissting AAI Engineers throughout the duration of project as mentioned in NIT for ensuring qualitative project completion. | 1.00 | Job |  | 300000.00 | 300000.00 | 100000.00 | 100000.00 | 761467.05 | 761467.05 | 287840.00 | 287840.00 | 25000.00 | 25000.00 | 194000.00 | 194000.00 | 150000.00 | 150000.00 | 25000.00 | Intex Space Solutions Private Limited
122.00 | Providing Secreterial services for assissting AAI Engineers throughout the duration of project as mentioned in NIT for maintaining and upkeep of project related documents, records, etc | 1.00 | Job |  | 300000.00 | 300000.00 | 75000.00 | 75000.00 | 761467.05 | 761467.05 | 287840.00 | 287840.00 | 25000.00 | 25000.00 | 291000.00 | 291000.00 | 150000.00 | 150000.00 | 25000.00 | Intex Space Solutions Private Limited
| Total in Figures |  |  |  |  | 51602647.00 |  | 49984780.00 |  | 47648278.49 |  | 45350380.00 |  | 49314600.00 |  | 45634939.00 |  | 59915570.00
Lowest Amount Quoted BY: Garg Associates(45350380.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Compound wall, Perimeter Road, RCC Drain for NITB at Trichy Airport, Trichy Tender ID: 2023_AAI_148536_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Garg Associates | 45350380.00 | L1
| 2 | CREATORS ENGINEERS AND INTERIORS PVT LTD | 45634939.00 | L2
| 3 | M/s.Thomas iyadurai Infrastructure Pvt Ltd | 47648278.49 | L3
| 4 | Intex Space Solutions Private Limited | 49314600.00 | L4
| 5 | M/S SRI MARUTHI CONSTRUCTIONS | 49984780.00 | L5
| 6 | VISHAL INFRASTRUCTURE LTD | 51602647.00 | L6
| 7 | H S OBEROI BUILDTECH PVT LTD | 59915570.00 | L7