## BoQ1
Government eProcurement System Created By: PARSHURAM RAM Created Date/Time: 08-May-2023 12:41 PM Tender Title: Construction of Frangible Hut and foundation for installation of localizer Antenna at Gaya Airport, Gaya Tender ID: 2023_AAI_148899_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Construction of Frangible Hut and foundation for installation of localiser Antenna at Gaya Airport,Gaya
Contact No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Satyendra Kumar Yadav(GSTN-10ABWPY0284B1ZM) |  | S.K. CONSTRUCTION(GSTN-09ACHPY6641G1Z3) |  | L K BUILDERS(GSTN-19AJLPP6631L3ZH) |  | BHARAT CONSTRUCTION & CO.(GSTN-NA) |  | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED(GSTN-NA) |  | Nabalok Das(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.10 | (A) CIVIL WORKS :-
1.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: All kinds of soil | 9847.00 | sqm | 0.00 | 95.00 | 935465.00 | 45.00 | 443115.00 | 70.00 | 689290.00 | 99.03 | 975148.41 | 86.07 | 847531.29 | 35.00 | 344645.00 | 344645.00 | Nabalok Das
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 1330.00 | cum | 0.00 | 100.00 | 133000.00 | 135.00 | 179550.00 | 150.00 | 199500.00 | 194.58 | 258791.40 | 169.12 | 224929.60 | 50.00 | 66500.00 | 66500.00 | Nabalok Das
3.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 150.00 | meter | 0.00 | 340.00 | 51000.00 | 365.00 | 54750.00 | 150.00 | 22500.00 | 389.69 | 58453.50 | 338.71 | 50806.50 | 150.00 | 22500.00 | 22500.00 | L K BUILDERS, Nabalok Das
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 1367.00 | cum | 0.00 | 210.00 | 287070.00 | 115.00 | 157205.00 | 100.00 | 136700.00 | 225.77 | 308627.59 | 196.23 | 268246.41 | 50.00 | 68350.00 | 68350.00 | Nabalok Das
5.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 284.00 | cum | 0.00 | 900.00 | 255600.00 | 865.00 | 245660.00 | 2000.00 | 568000.00 | 1958.10 | 556100.40 | 1739.00 | 493876.00 | 1500.00 | 426000.00 | 245660.00 | S.K. CONSTRUCTION
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 1364.00 | cum | 0.00 | 4600.00 | 6274400.00 | 4885.00 | 6663140.00 | 6100.00 | 8320400.00 | 5136.00 | 7005504.00 | 4499.00 | 6136636.00 | 5500.00 | 7502000.00 | 6136636.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 822.00 | sqm | 0.00 | 250.00 | 205500.00 | 165.00 | 135630.00 | 300.00 | 246600.00 | 304.79 | 250537.38 | 264.91 | 217756.02 | 100.00 | 82200.00 | 82200.00 | Nabalok Das
8.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 10080.00 | kg | 0.00 | 70.00 | 705600.00 | 78.00 | 786240.00 | 80.00 | 806400.00 | 84.53 | 852062.40 | 73.47 | 740577.60 | 68.00 | 685440.00 | 685440.00 | Nabalok Das
9.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 210.00 | cum | 0.00 | 5500.00 | 1155000.00 | 5150.00 | 1081500.00 | 6000.00 | 1260000.00 | 6313.00 | 1325730.00 | 5899.00 | 1238790.00 | 6000.00 | 1260000.00 | 1081500.00 | S.K. CONSTRUCTION
10.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 269.00 | kg | 0.00 | 80.00 | 21520.00 | 96.00 | 25824.00 | 120.00 | 32280.00 | 92.07 | 24766.83 | 80.03 | 21528.07 | 130.00 | 34970.00 | 21520.00 | Satyendra Kumar Yadav
11.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 354.00 | kg | 0.00 | 120.00 | 42480.00 | 98.00 | 34692.00 | 130.00 | 46020.00 | 100.21 | 35474.34 | 87.09 | 30829.86 | 130.00 | 46020.00 | 30829.86 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
12.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 600 mm | 48.00 | sqm | 0.00 | 1080.00 | 51840.00 | 890.00 | 42720.00 | 1300.00 | 62400.00 | 1605.58 | 77067.84 | 1395.52 | 66984.96 | 1300.00 | 62400.00 | 42720.00 | S.K. CONSTRUCTION
13.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 42.00 | Cum | 0.00 | 700.00 | 29400.00 | 650.00 | 27300.00 | 1000.00 | 42000.00 | 1147.90 | 48211.80 | 997.71 | 41903.82 | 100.00 | 4200.00 | 4200.00 | Nabalok Das
14.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 72.00 | Cum | 0.00 | 1800.00 | 129600.00 | 850.00 | 61200.00 | 2000.00 | 144000.00 | 2712.13 | 195273.36 | 2357.28 | 169724.16 | 100.00 | 7200.00 | 7200.00 | Nabalok Das
15.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 56.00 | Cum | 0.00 | 800.00 | 44800.00 | 265.00 | 14840.00 | 1000.00 | 56000.00 | 1572.79 | 88076.24 | 1367.00 | 76552.00 | 100.00 | 5600.00 | 5600.00 | Nabalok Das
16.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 6.00 | each | 0.00 | 250.00 | 1500.00 | 650.00 | 3900.00 | 250.00 | 1500.00 | 293.67 | 1762.02 | 255.33 | 1531.98 | 100.00 | 600.00 | 600.00 | Nabalok Das
17.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area beyond 3 sq. metres | 3.00 | each | 0.00 | 340.00 | 1020.00 | 700.00 | 2100.00 | 300.00 | 900.00 | 214.00 | 642.00 | 186.00 | 558.00 | 100.00 | 300.00 | 300.00 | Nabalok Das
18.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 49.00 | sqm | 0.00 | 50.00 | 2450.00 | 35.00 | 1715.00 | 50.00 | 2450.00 | 58.69 | 2875.81 | 51.02 | 2499.98 | 100.00 | 4900.00 | 1715.00 | S.K. CONSTRUCTION
19.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles above 25 mm and up to 40 mm | 5.00 | sqm | 0.00 | 80.00 | 400.00 | 45.00 | 225.00 | 50.00 | 250.00 | 91.20 | 456.00 | 79.20 | 396.00 | 100.00 | 500.00 | 225.00 | S.K. CONSTRUCTION
20.00 | 12 mm cement plaster finished with a floating coat of neat cement of mix : 1:4 (1 cement: 4 fine sand) | 215.20 | sqm | 0.00 | 300.00 | 64560.00 | 215.00 | 46268.00 | 300.00 | 64560.00 | 197.95 | 42598.84 | 172.05 | 37025.16 | 300.00 | 64560.00 | 37025.16 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
21.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 484.00 | cum | 0.00 | 5100.00 | 2468400.00 | 5950.00 | 2879800.00 | 7000.00 | 3388000.00 | 5339.30 | 2584221.20 | 4700.00 | 2274800.00 | 6700.00 | 3242800.00 | 2274800.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
22.00 | Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 7200.00 | sqm | 0.00 | 630.00 | 4536000.00 | 680.00 | 4896000.00 | 1000.00 | 7200000.00 | 771.47 | 5554584.00 | 719.00 | 5176800.00 | 700.00 | 5040000.00 | 4536000.00 | Satyendra Kumar Yadav
23.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | each | 0.00 | 4490.00 | 8980.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 5629.00 | 11258.00 | 4892.50 | 9785.00 | 7000.00 | 14000.00 | 8980.00 | Satyendra Kumar Yadav
24.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Flat back wash basin size 550x400 mm with single 15 mm C.P. brass pillar tap | 1.00 | each | 0.00 | 1380.00 | 1380.00 | 3500.00 | 3500.00 | 1500.00 | 1500.00 | 2686.00 | 2686.00 | 2335.00 | 2335.00 | 6000.00 | 6000.00 | 1380.00 | Satyendra Kumar Yadav
25.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge | 1.00 | each | 0.00 | 240.00 | 240.00 | 450.00 | 450.00 | 300.00 | 300.00 | 318.00 | 318.00 | 277.00 | 277.00 | 1500.00 | 1500.00 | 240.00 | Satyendra Kumar Yadav
26.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe : 32 mm dia | 2.00 | each | 0.00 | 70.00 | 140.00 | 45.00 | 90.00 | 100.00 | 200.00 | 94.00 | 188.00 | 81.50 | 163.00 | 200.00 | 400.00 | 90.00 | S.K. CONSTRUCTION
27.00 | Providing and fixing toilet paper holder : C.P. brass | 1.00 | each | 0.00 | 550.00 | 550.00 | 250.00 | 250.00 | 800.00 | 800.00 | 625.00 | 625.00 | 543.00 | 543.00 | 1500.00 | 1500.00 | 250.00 | S.K. CONSTRUCTION
28.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall - 15 mm nominal dia Pipes | 5.00 | metre | 0.00 | 200.00 | 1000.00 | 190.00 | 950.00 | 480.00 | 2400.00 | 258.40 | 1292.00 | 224.60 | 1123.00 | 700.00 | 3500.00 | 950.00 | S.K. CONSTRUCTION
29.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall - 25 mm nominal dia Pipes | 25.00 | metre | 0.00 | 300.00 | 7500.00 | 345.00 | 8625.00 | 480.00 | 12000.00 | 395.04 | 9876.00 | 343.36 | 8584.00 | 700.00 | 17500.00 | 7500.00 | Satyendra Kumar Yadav
30.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work - 50 mm nominal dia Pipes | 50.00 | metre | 0.00 | 600.00 | 30000.00 | 765.00 | 38250.00 | 900.00 | 45000.00 | 847.06 | 42353.00 | 736.24 | 36812.00 | 700.00 | 35000.00 | 30000.00 | Satyendra Kumar Yadav
31.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall , 25 mm dia nominal bore | 25.00 | mtr | 0.00 | 400.00 | 10000.00 | 380.00 | 9500.00 | 450.00 | 11250.00 | 468.68 | 11717.00 | 407.36 | 10184.00 | 650.00 | 16250.00 | 9500.00 | S.K. CONSTRUCTION
32.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc.External work: 50 mm dia nominal bore | 220.00 | metre | 0.00 | 400.00 | 88000.00 | 650.00 | 143000.00 | 650.00 | 143000.00 | 572.45 | 125939.00 | 497.55 | 109461.00 | 700.00 | 154000.00 | 88000.00 | Satyendra Kumar Yadav
33.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 2.00 | each | 0.00 | 710.00 | 1420.00 | 650.00 | 1300.00 | 1000.00 | 2000.00 | 695.50 | 1391.00 | 604.50 | 1209.00 | 8000.00 | 16000.00 | 1209.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
34.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete: 15mm nominal bore | 1.00 | each | 0.00 | 290.00 | 290.00 | 250.00 | 250.00 | 400.00 | 400.00 | 342.00 | 342.00 | 298.00 | 298.00 | 5000.00 | 5000.00 | 250.00 | S.K. CONSTRUCTION
35.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 500.00 | per litre | 0.00 | 10.00 | 5000.00 | 8.50 | 4250.00 | 20.00 | 10000.00 | 7.49 | 3745.00 | 6.51 | 3255.00 | 15.00 | 7500.00 | 3255.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
36.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 1.00 | each | 0.00 | 360.00 | 360.00 | 350.00 | 350.00 | 500.00 | 500.00 | 1.00 | 1.00 | 200.00 | 200.00 | 3000.00 | 3000.00 | 1.00 | BHARAT CONSTRUCTION & CO.
37.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 1.00 | each | 0.00 | 580.00 | 580.00 | 560.00 | 560.00 | 1000.00 | 1000.00 | 1.00 | 1.00 | 200.00 | 200.00 | 3000.00 | 3000.00 | 1.00 | BHARAT CONSTRUCTION & CO.
38.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931. 15mm nominal bore | 1.00 | each | 0.00 | 410.00 | 410.00 | 300.00 | 300.00 | 1000.00 | 1000.00 | 1.00 | 1.00 | 200.00 | 200.00 | 3000.00 | 3000.00 | 1.00 | BHARAT CONSTRUCTION & CO.
39.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 150 mm dia. R.C.C. pipe | 150.00 | meter | 0.00 | 400.00 | 60000.00 | 1265.00 | 189750.00 | 900.00 | 135000.00 | 494.98 | 74247.00 | 430.22 | 64533.00 | 400.00 | 60000.00 | 60000.00 | Satyendra Kumar Yadav, Nabalok Das
40.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | each | 0.00 | 22980.00 | 22980.00 | 21000.00 | 21000.00 | 30000.00 | 30000.00 | 27048.00 | 27048.00 | 23509.00 | 23509.00 | 20000.00 | 20000.00 | 20000.00 | Nabalok Das
41.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, upto 90 metre depth below ground level. All types of soil : 300 mm dia | 35.00 | metre | 0.00 | 550.00 | 19250.00 | 390.00 | 13650.00 | 1000.00 | 35000.00 | 548.17 | 19185.95 | 476.43 | 16675.05 | 600.00 | 21000.00 | 13650.00 | S.K. CONSTRUCTION
42.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS: 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer -in-charge. 150 mm nominal size dia | 24.00 | metre | 0.00 | 550.00 | 13200.00 | 950.00 | 22800.00 | 1000.00 | 24000.00 | 739.08 | 17737.92 | 642.42 | 15418.08 | 600.00 | 14400.00 | 13200.00 | Satyendra Kumar Yadav
43.00 | Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer-in-charge. 150 mm nominal size dia | 12.00 | metre | 0.00 | 550.00 | 6600.00 | 995.00 | 11940.00 | 1000.00 | 12000.00 | 798.42 | 9581.04 | 693.92 | 8327.04 | 600.00 | 7200.00 | 6600.00 | Satyendra Kumar Yadav
44.00 | Gravel packing in tubewell construction in accordance with IS: 4097, including providing gravel fine/ medium/ coarse, in required grading & sizes as per actual requirement, all complete as per direction of Engineer-in-charge. | 2.00 | cum | 0.00 | 1210.00 | 2420.00 | 4800.00 | 9600.00 | 1600.00 | 3200.00 | 1602.50 | 3205.00 | 1393.00 | 2786.00 | 2500.00 | 5000.00 | 2420.00 | Satyendra Kumar Yadav
45.00 | Development of tube well in accordance with IS : 2800 (part I) and IS: 11189, to establish maximum rate of usable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by "V" notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, i/c disinfection of tubewell, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge | 30.00 | hour | 0.00 | 740.00 | 22200.00 | 610.00 | 18300.00 | 1000.00 | 30000.00 | 917.63 | 27528.90 | 797.57 | 23927.10 | 500.00 | 15000.00 | 15000.00 | Nabalok Das
46.00 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for borewell of: 150 mm dia | 1.00 | each | 0.00 | 170.00 | 170.00 | 450.00 | 450.00 | 300.00 | 300.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1500.00 | 1500.00 | 1.00 | BHARAT CONSTRUCTION & CO., MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
47.00 | Providing and fixing M.S. clamp of required dia to the top of casing/ housing pipe of tubewell as per IS: 2800 (part I), including necessary bolts & nuts of required size complete. 150 mm clamp | 1.00 | each | 0.00 | 1300.00 | 1300.00 | 865.00 | 865.00 | 1800.00 | 1800.00 | 1594.00 | 1594.00 | 1386.00 | 1386.00 | 1500.00 | 1500.00 | 865.00 | S.K. CONSTRUCTION
48.00 | Providing and fixing Bail plug/ Bottom plug of required dia to the bottom of pipe assembly of tubewell as per IS:2800 (part I). 150 mm dia | 1.00 | each | 0.00 | 230.00 | 230.00 | 250.00 | 250.00 | 450.00 | 450.00 | 0.00 | 0.00 | 0.00 | 0.00 | 1500.00 | 1500.00 | 0.00 | BHARAT CONSTRUCTION & CO., MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
49.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 43.00 | cum | 0.00 | 5500.00 | 236500.00 | 6865.00 | 295195.00 | 7500.00 | 322500.00 | 6527.00 | 280661.00 | 5673.00 | 243939.00 | 7000.00 | 301000.00 | 236500.00 | Satyendra Kumar Yadav
50.00 | Providing and fixing of prefabricated (frangible hut) of size 8m x 5m and 3000 mm height along the wall and 3500 mm at the centre. It is made of 50 mm thick sandwich panel made of 2 mm thick FRP/GRP sheet at the outer sides and middle part consists of PU foam of density 40 kg/m3 which has to be installed in to the operational area. Provision of one no. of partition wall with door of size 920 mm(w) x 2000 mm (height) & locking arrangement and provision of one no. door of size 920 mm (w) x 2000 mm (h) with locking facility at the longer side wall at corner with a provision of 3 nos. 100 mm dia, holes on wall for passing AC conduit and one no. of 150 mm dia. holes for electrical cable and one no. of 250 mm dia for NAV-AID cable etc The cost of the hut is inclusive of design, vetting of design by Govt. Engg. College, fabrication, transportation and commissioning of the hut at the proposed site and specification over cement concrete platform (Cement Concrete platform shall be paid separately). The exterior of the hut shall be provided with design of white and red squares (2 feet x 2 feet) and as per direction of E-I-C. All complete as per attached drawing and as directed by the Engineer-in-Charge. | 1.00 | job | 0.00 | 1900000.00 | 1900000.00 | 1385600.00 | 1385600.00 | 2850000.00 | 2850000.00 | 2193500.00 | 2193500.00 | 1996500.00 | 1996500.00 | 1850000.00 | 1850000.00 | 1385600.00 | S.K. CONSTRUCTION
51.00 | Providing and fixing of prefabricated (frangible hut) of size 2m x 2m and 3000 mm height along one wall and 3500 mm at the opposite wall. It is made of 50 mm thick sandwich panel made of 2 mm thick FRP/GRP sheet at the outer sides and middle part consists of PU foam of density 40 kg/m3 which has to be installed in to the operational area. Provision of one no. door of size 920 mm (w) x 2000 mm (h) with locking facility at the higher side wall with a provision of necessary hole arrangements on wall for passing AC conduit and necessary hole arrangements for electrical cable and necessary hole arrangements for NAV-AID cable etc. The cost of the hut is inclusive of design, vetting of design by Govt. Engg. College, fabrication, transportation and commissioning of the hut at the proposed site and specification over cement concrete platform (Cement Concrete platform shall be paid separately). The exterior of the hut shall be provided with design of white and red squares (2 feet x 2 feet) and as per direction of E-I-C. All complete as per attached drawing and as directed by the Engineer-in-Charge. | 1.00 | job | 0.00 | 300000.00 | 300000.00 | 365600.00 | 365600.00 | 475000.00 | 475000.00 | 333840.00 | 333840.00 | 290160.00 | 290160.00 | 300000.00 | 300000.00 | 290160.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
52.00 | Providing and fixing G.I. pipes (B-Class) complete with G.I. fittings including trenching and refilling etc. External work: 150 mm dia nominal bore | 480.00 | mtr | 0.00 | 1500.00 | 720000.00 | 2185.00 | 1048800.00 | 2300.00 | 1104000.00 | 1679.90 | 806352.00 | 1460.10 | 700848.00 | 1650.00 | 792000.00 | 700848.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
53.00 | Providing and operating hydraulic excavator (3D) (JCB or equivalent) with skilled driver and fuel with valid papers and licence of vehicle and drivers, as per direction of Engineer-in-charge. | 240.00 | hour | 0.00 | 1000.00 | 240000.00 | 880.00 | 211200.00 | 1000.00 | 240000.00 | 1230.50 | 295320.00 | 1150.00 | 276000.00 | 1000.00 | 240000.00 | 211200.00 | S.K. CONSTRUCTION
54.00 | Construction of embankment/filling in Plinth with approved materials soil obtained from borrow pits (outside airport premises) with all lifts and leads, transporting to site, spreading grading to required slope and compacting to achieve the desired compactions as specified in technical specifications (based on MORTH) etc complete in all respects and as directed by Engineer- in-charge. | 9600.00 | cum | 0.00 | 500.00 | 4800000.00 | 365.00 | 3504000.00 | 450.00 | 4320000.00 | 492.20 | 4725120.00 | 455.00 | 4368000.00 | 250.00 | 2400000.00 | 2400000.00 | Nabalok Das
55.00 | Providing and laying in position specified grade of reinforced cement concrete, using minimum cement of 384 kg (PPC cement), excluding the cost of centering, shuttering, finishing and reinforcement, All works upto plinth Level 1:1.65:3 ( 1 cement : 1.65 coarse sand : 3 coarse aggregate) | 84.00 | cum | 0.00 | 5400.00 | 453600.00 | 7100.00 | 596400.00 | 6800.00 | 571200.00 | 6580.50 | 552762.00 | 5719.50 | 480438.00 | 7200.00 | 604800.00 | 453600.00 | Satyendra Kumar Yadav
56.00 | Providing and Fixing anti static matt of standerd make of 2 mm thick Vinyl on smooth and damp proof base using rubber based adhesives of approved quality and manufacturer like Dunlop S-758, Fevicol SR 998 or equivalent including rolling with light wooden roller weighing about 5 kg. all complete as directed by Engineer-in-Charge, in approved colour and shade. as per direction of engineer-in-charge. | 48.00 | sqm | 0.00 | 500.00 | 24000.00 | 1250.00 | 60000.00 | 800.00 | 38400.00 | 652.71 | 31330.08 | 567.29 | 27229.92 | 500.00 | 24000.00 | 24000.00 | Satyendra Kumar Yadav, Nabalok Das
56.10 | (B) ELECTRICAL WORKS :-
57.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 30.00 | Point | 0.00 | 2000.00 | 60000.00 | 850.00 | 25500.00 | 1900.00 | 57000.00 | 7704.00 | 231120.00 | 6696.00 | 200880.00 | 1200.00 | 36000.00 | 25500.00 | S.K. CONSTRUCTION
58.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 135.00 | Mtr. | 0.00 | 400.00 | 54000.00 | 265.00 | 35775.00 | 450.00 | 60750.00 | 3103.00 | 418905.00 | 2697.00 | 364095.00 | 400.00 | 54000.00 | 35775.00 | S.K. CONSTRUCTION
59.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable In surface/ recessed steel conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Mtr. | 0.00 | 500.00 | 50000.00 | 285.00 | 28500.00 | 550.00 | 55000.00 | 642.00 | 64200.00 | 558.00 | 55800.00 | 400.00 | 40000.00 | 28500.00 | S.K. CONSTRUCTION
60.00 | Wiring for circuit/ sub main wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 25.00 | Mtr. | 0.00 | 300.00 | 7500.00 | 260.00 | 6500.00 | 180.00 | 4500.00 | 214.00 | 5350.00 | 186.00 | 4650.00 | 1000.00 | 25000.00 | 4500.00 | L K BUILDERS
61.00 | Wiring for circuit/ sub main wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 4 X 10 sq. mm + 2 X 6 sq. mm earth wire | 10.00 | Mtr. | 0.00 | 1000.00 | 10000.00 | 650.00 | 6500.00 | 900.00 | 9000.00 | 1070.00 | 10700.00 | 930.00 | 9300.00 | 1000.00 | 10000.00 | 6500.00 | S.K. CONSTRUCTION
62.00 | Supplying and drawing following pair 0.5 mm dia FR PVC insulated annealed copper conductor, unarmoured telephone cable in the existing surface/ recessed steel/ PVC conduit as required. 2 Pair | 25.00 | Mtr. | 0.00 | 50.00 | 1250.00 | 110.00 | 2750.00 | 90.00 | 2250.00 | 107.00 | 2675.00 | 93.00 | 2325.00 | 1000.00 | 25000.00 | 1250.00 | Satyendra Kumar Yadav
63.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed steel / PVC conduit as required. 25 mm | 50.00 | Mtr. | 0.00 | 100.00 | 5000.00 | 165.00 | 8250.00 | 190.00 | 9500.00 | 214.00 | 10700.00 | 186.00 | 9300.00 | 100.00 | 5000.00 | 5000.00 | Satyendra Kumar Yadav, Nabalok Das
64.00 | Supplying and fixing following size/ modules, Gl box alongwith modular base & cover plate for modular switches in recess etc. as required.
64.10 | 2 Module (75 mm X 75 mm X 60 mm) | 2.00 | Each | 0.00 | 500.00 | 1000.00 | 280.00 | 560.00 | 19000.00 | 38000.00 | 21400.00 | 42800.00 | 18600.00 | 37200.00 | 1200.00 | 2400.00 | 560.00 | S.K. CONSTRUCTION
65.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
65.10 | Telephone socket outlet | 2.00 | Each | 0.00 | 200.00 | 400.00 | 500.00 | 1000.00 | 190.00 | 380.00 | 214.00 | 428.00 | 186.00 | 372.00 | 100.00 | 200.00 | 200.00 | Nabalok Das
66.00 | Supplying & fixing suitable size GI box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet ( 5 pin type ) and 25 A modular SP MCB, "C" curve including connections, painting etc. as required. | 6.00 | Each | 0.00 | 1000.00 | 6000.00 | 1650.00 | 9900.00 | 9500.00 | 57000.00 | 10700.00 | 64200.00 | 9300.00 | 55800.00 | 1000.00 | 6000.00 | 6000.00 | Satyendra Kumar Yadav, Nabalok Das
67.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 47.00 | Each | 0.00 | 100.00 | 4700.00 | 1800.00 | 84600.00 | 90.00 | 4230.00 | 107.00 | 5029.00 | 93.00 | 4371.00 | 400.00 | 18800.00 | 4230.00 | L K BUILDERS
68.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 1.00 | Each | 0.00 | 500.00 | 500.00 | 450.00 | 450.00 | 450.00 | 450.00 | 535.00 | 535.00 | 465.00 | 465.00 | 500.00 | 500.00 | 450.00 | S.K. CONSTRUCTION, L K BUILDERS
69.00 | Supplying and fixing extra conduit down rod of 20 cm length G.I.pipe 15 mm dia, heavy gauge including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | 1.00 | Each | 0.00 | 200.00 | 200.00 | 250.00 | 250.00 | 480.00 | 480.00 | 642.00 | 642.00 | 558.00 | 558.00 | 1000.00 | 1000.00 | 200.00 | Satyendra Kumar Yadav
70.00 | Extra for fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes. | 1.00 | Each | 0.00 | 350.00 | 350.00 | 450.00 | 450.00 | 650.00 | 650.00 | 749.00 | 749.00 | 651.00 | 651.00 | 3000.00 | 3000.00 | 350.00 | Satyendra Kumar Yadav
71.00 | Supplying and fixing following way prewired TP&N MCB distribution board of steel sheet for 415 volts on surface/ recess complete with loose wire box, terminal connectors for all incoming and outgoing circuits, duly prewired with suitable size FR PVC insulated copper conductor up to terminal blocks, tinned copper bus bar, neutral link, earth bar, din bar, detachable gland plate, interconnections, powder painted including earthing etc. as required.(But without MCB/ RCCB/ Isolator) 8 way (4 + 24), Double door | 2.00 | Each | 0.00 | 11000.00 | 22000.00 | 3650.00 | 7300.00 | 19000.00 | 38000.00 | 21400.00 | 42800.00 | 18600.00 | 37200.00 | 6000.00 | 12000.00 | 7300.00 | S.K. CONSTRUCTION
72.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) (i) 6 way (4 + 18), Double door | 1.00 | Each | 0.00 | 5000.00 | 5000.00 | 3150.00 | 3150.00 | 1900.00 | 1900.00 | 2140.00 | 2140.00 | 1860.00 | 1860.00 | 7000.00 | 7000.00 | 1860.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
73.00 | Supplying and fixing following way prewired SP & N MCB distribution board of steel sheet for 240 volts on surface/ recess complete with loose wire box, terminal connectors for all incoming and outgoing circuits, duly prewired with suitable size FR PVC insulated copper conductor up to terminal blocks, tinned copper bus bar, neutral link, earth bar, din bar, detachable gland plate, interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/ Isolator) 8 Way double door | 2.00 | Each | 0.00 | 3000.00 | 6000.00 | 4500.00 | 9000.00 | 4750.00 | 9500.00 | 5350.00 | 10700.00 | 4650.00 | 9300.00 | 6000.00 | 12000.00 | 6000.00 | Satyendra Kumar Yadav
74.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double Pole | 16.00 | Each | 0.00 | 1000.00 | 16000.00 | 4200.00 | 67200.00 | 190.00 | 3040.00 | 214.00 | 3424.00 | 186.00 | 2976.00 | 500.00 | 8000.00 | 2976.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
75.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of Single pole in the existing MCB DB complete with connections, testing and commissioning etc. as required.Make :- As per AAI Approved Make list. | 17.00 | Each | 0.00 | 500.00 | 8500.00 | 240.00 | 4080.00 | 475.00 | 8075.00 | 535.00 | 9095.00 | 465.00 | 7905.00 | 500.00 | 8500.00 | 4080.00 | S.K. CONSTRUCTION
76.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 8.00 | Each | 0.00 | 50.00 | 400.00 | 165.00 | 1320.00 | 110.00 | 880.00 | 128.38 | 1027.04 | 111.63 | 893.04 | 500.00 | 4000.00 | 400.00 | Satyendra Kumar Yadav
77.00 | Design, manufacture, supply, installation, testing and commissioning of fully compartmentalized, Cubicle type panels, made of 14 SWG CRCA sheet steel, totally enclosed, standing on a MS Angle frame suitably fixed on floor foundation, dust and vermin proof, IP42,powder coated painting, complete with Bus-bar having 200 amps, suitable for operation on 3 phase and neutral, 415 V, 50 Hz AC system with busbars, connection and interconnections, providing mechanical interlocking including supply & installation of following items and as per specifications : | 1.00 | Job | 0.00 | 400000.00 | 400000.00 | 120600.00 | 120600.00 | 712500.00 | 712500.00 | 588500.00 | 588500.00 | 411500.00 | 411500.00 | 300000.00 | 300000.00 | 120600.00 | S.K. CONSTRUCTION
77.10 | INCOMER
77.20 | (i) 160 Amp FP MCCB, 50 KA - 01 No. with thermo-magentic release with O/C & S/C Protection-2 nos. (ii) Extended Rotary Handle – 2 no. (iii)Castel Key Interlock for mechanical inter locking-1 set (iv)Ammeter of size 96/96mm, (0-150 A), 3 Phase along with selector switch with Resin cast CT 150/5A,Class 1.0,15 VA -1 set. (v)Voltmeter of size 96/96mm, (0-500 V), 3 Phase along with selector switch - 1 set. (vi)LED type R,Y,B Indication lamp with MCB protection -6 nos. (vii) 200A TPN Al Bus Bar – 1 Set ( VIII) Three Phase Surge Protection Device (SPD) , type 2 , 100 KA four pole with red indication lamp for indication with 01 set SPD back up fuse 01 pole , 50A, 20KA including all accessories. ( iX) Power data logger, model : Trinity Goblin, RS485,128 x 64 LCD or equivelent. - 01 No.
77.30 | CHANGEOVER
77.40 | (i)200 Amp 4 Pole On Load Change Over Switch-02 nos (ii)LED Type Indication Lamp(ON) with MCB Protection- 4 nos. (iii)Ammeter of size 96/96mm, (0-150 A), 3 Phase along with selector switch with Resin cast CT 150/5A,Class 1.0,15 VA -1set. (iv)Voltmeter of size 96/96mm, (0-500 V), 3 Phase along with selector switch - 1set
77.50 | BUS-BAR :
77.60 | TPN aluminium main bus bars of minimum of 200 Amp capacity with heat shrinkable coloured sleeves and i/c DMC/SMC bus bars supports at required intervals complete.
77.70 | OUTGOING
77.80 | i) 100 A FP, 50 KA MCCB -02 Nos ii) 63 Amps, FP, MCCB 50kA - 02 Nos. iii) 40 Amps, TPN, MCB 50kA, 10 kA - 02 Nos. iv) 32 A DP RCBO MCB
77.90 | Note: Connections from MCB to connectors by a suitable size PVC insulated flexible FRLSH copper cable.
78.00 | Design , fabrication,supply, installation, testing and commissioning of outdoor type feeder pillar box of approx size (0.5 m X 0.5 M X 0.35 m)(L XHXB) at 415 V (Normal) dust proof,IP 56, front operated, double doortype made of 2 mm thick CRCA sheet duly dust inhibited, stove enamels compartmentalized complete with hinges front door with name plates heavy duty rubber gaskets, removable gland plate made of 3 mm thick sheet steel by two coats of metal primer and final paint finish having following switch geras with interconnection suitable for terminating of cable upto 3.5 X 240 sq mm size as applicabel etc complete as required by Engineer-in-Charge with mounting suitable size C.C foundation minimum 1.5 feet above from ground level as required having followingb switch gears: (a) 200 A 4 Pole On load Auto Transfer Switch-01 Nos | 1.00 | Each |  | 100000.00 | 100000.00 | 111800.00 | 111800.00 | 190000.00 | 190000.00 | 214000.00 | 214000.00 | 186000.00 | 186000.00 | 300000.00 | 300000.00 | 100000.00 | Satyendra Kumar Yadav
79.00 | Supply of 3.5 core x 240 Sqmm. XLPE insulated PVC sheathed armoured aluminium conductor cable of 1.1 KV Grade confirming to IS:7098 (Part 1) with upto date amendment etc. complete as required. | 3400.00 | Mtrs |  | 1200.00 | 4080000.00 | 820.00 | 2788000.00 | 950.00 | 3230000.00 | 1070.00 | 3638000.00 | 930.00 | 3162000.00 | 1000.00 | 3400000.00 | 2788000.00 | S.K. CONSTRUCTION
80.00 | Supply of 3.5 core x 120 Sqmm. XLPE insulated PVC sheathed armoured aluminium conductor cable of 1.1 KV Grade confirming to IS:7098 (Part 1) with upto date amendment etc. complete as required. | 35.00 | Mtrs |  | 500.00 | 17500.00 | 650.00 | 22750.00 | 450.00 | 15750.00 | 535.00 | 18725.00 | 465.00 | 16275.00 | 600.00 | 21000.00 | 15750.00 | L K BUILDERS
81.00 | Supply of energy efficient ceiling fan, 1200 mm sweep suitable for operation on 240V, 50Hz A.C. supply with down rod canopies etc. complete as required. | 1.00 | Each |  | 3000.00 | 3000.00 | 4500.00 | 4500.00 | 5700.00 | 5700.00 | 6420.00 | 6420.00 | 5580.00 | 5580.00 | 3000.00 | 3000.00 | 3000.00 | Satyendra Kumar Yadav, Nabalok Das
82.00 | Supply of 300 mm sweep heavy duty exhaust fan suitable for operation on 240V, 50Hz A.C. supply with all accessories including louvers, shutters etc. complete as required. | 1.00 | Each |  | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 95000.00 | 95000.00 | 107000.00 | 107000.00 | 93000.00 | 93000.00 | 3000.00 | 3000.00 | 3000.00 | Satyendra Kumar Yadav, Nabalok Das
83.00 | Supply of 20 W, 1200 mm length, indoor surface mounted LED batten made up of aluminium housing, integrated electronic driver along with other accessories and suitable for use on 230 volts, 50 Hz, single phase, A.C. supply complete as required as per technical specifications. | 20.00 | Each |  | 500.00 | 10000.00 | 4500.00 | 90000.00 | 1150.00 | 23000.00 | 1284.00 | 25680.00 | 1116.00 | 22320.00 | 1700.00 | 34000.00 | 10000.00 | Satyendra Kumar Yadav
84.00 | Supply of Aesthetically designed Rechargeable LED Lantern with dimming & SOS feature with minimum 5 watt, Rechargeable Li-ion battery capacity of 3.7 V 4400 m AH and suitable charging from 160-270V AC supply 50HZ etc as required. | 1.00 | Each |  | 1000.00 | 1000.00 | 25000.00 | 25000.00 | 1900.00 | 1900.00 | 2140.00 | 2140.00 | 1860.00 | 1860.00 | 5000.00 | 5000.00 | 1000.00 | Satyendra Kumar Yadav
85.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 185 Sqmm. and upto 400 Sqmm direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | 2600.00 | Mtrs |  | 400.00 | 1040000.00 | 865.00 | 2249000.00 | 190.00 | 494000.00 | 214.00 | 556400.00 | 186.00 | 483600.00 | 1000.00 | 2600000.00 | 483600.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
86.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 185 sq. mm and upto 400 sq. mm in the existing masonry open duct as required. | 40.00 | Mtrs |  | 100.00 | 4000.00 | 650.00 | 26000.00 | 190.00 | 7600.00 | 214.00 | 8560.00 | 186.00 | 7440.00 | 100.00 | 4000.00 | 4000.00 | Satyendra Kumar Yadav, Nabalok Das
87.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) on wall surface as required. | 10.00 | Mtrs |  | 100.00 | 1000.00 | 600.00 | 6000.00 | 190.00 | 1900.00 | 214.00 | 2140.00 | 186.00 | 1860.00 | 100.00 | 1000.00 | 1000.00 | Satyendra Kumar Yadav, Nabalok Das
88.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 185 sq. mm and upto 400 sq. mm in the existing RCC/ HUME/ METAL pipe as required. | 100.00 | Mtrs |  | 100.00 | 10000.00 | 250.00 | 25000.00 | 190.00 | 19000.00 | 214.00 | 21400.00 | 186.00 | 18600.00 | 100.00 | 10000.00 | 10000.00 | Satyendra Kumar Yadav, Nabalok Das
89.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size 120 sq mm (clamped with 25/40x3mm MS flat clamp) on wall surface as required. | 35.00 | Mtrs |  | 100.00 | 3500.00 | 860.00 | 30100.00 | 190.00 | 6650.00 | 214.00 | 7490.00 | 186.00 | 6510.00 | 100.00 | 3500.00 | 3500.00 | Satyendra Kumar Yadav, Nabalok Das
90.00 | Supplying and making end termination with brass compression gland and aluminium lugs for size of 3.5 x 240 sq.mm. PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 6.00 | Set |  | 1500.00 | 9000.00 | 1250.00 | 7500.00 | 2750.00 | 16500.00 | 3210.00 | 19260.00 | 2790.00 | 16740.00 | 6000.00 | 36000.00 | 7500.00 | S.K. CONSTRUCTION
91.00 | Supplying and making end termination with brass compression gland and aluminium lugs for size of 3.5 x 120sq.mm. PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 2.00 | Set |  | 2000.00 | 4000.00 | 4500.00 | 9000.00 | 2750.00 | 5500.00 | 3210.00 | 6420.00 | 2790.00 | 5580.00 | 6000.00 | 12000.00 | 4000.00 | Satyendra Kumar Yadav
92.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent / LED Fittings of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 35.00 | Each |  | 300.00 | 10500.00 | 6500.00 | 227500.00 | 90.00 | 3150.00 | 107.00 | 3745.00 | 93.00 | 3255.00 | 2000.00 | 70000.00 | 3150.00 | L K BUILDERS
93.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 1.00 | Each |  | 1000.00 | 1000.00 | 6500.00 | 6500.00 | 1150.00 | 1150.00 | 1284.00 | 1284.00 | 1116.00 | 1116.00 | 100.00 | 100.00 | 100.00 | Nabalok Das
94.00 | Installation of exhaust fan of size 300 mm sweep in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 1.00 | Each |  | 1000.00 | 1000.00 | 4500.00 | 4500.00 | 1150.00 | 1150.00 | 1284.00 | 1284.00 | 1116.00 | 1116.00 | 500.00 | 500.00 | 500.00 | Nabalok Das
95.00 | Earthing with G.l. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 3.00 | Set |  | 10000.00 | 30000.00 | 6000.00 | 18000.00 | 4750.00 | 14250.00 | 5350.00 | 16050.00 | 4650.00 | 13950.00 | 15000.00 | 45000.00 | 13950.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
96.00 | Supplying and laying 25 mm X 5 mm G.I. strip in 40 mm dia GI pipe from earth electrode, including connection with G.l. nut, bolt, spring, washer excavation and refilling etc. as required. | 30.00 | Mtrs |  | 400.00 | 12000.00 | 25000.00 | 750000.00 | 380.00 | 11400.00 | 428.00 | 12840.00 | 372.00 | 11160.00 | 400.00 | 12000.00 | 11160.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
97.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 50.00 | Mtrs |  | 400.00 | 20000.00 | 450.00 | 22500.00 | 90.00 | 4500.00 | 107.00 | 5350.00 | 93.00 | 4650.00 | 50.00 | 2500.00 | 2500.00 | Nabalok Das
98.00 | Providing and fixing 25mm X 5 mm GI strip on surface or in recess for connections etc. as required. | 30.00 | Mtrs |  | 200.00 | 6000.00 | 600.00 | 18000.00 | 280.00 | 8400.00 | 321.00 | 9630.00 | 279.00 | 8370.00 | 50.00 | 1500.00 | 1500.00 | Nabalok Das
99.00 | Supply and installation of pre-wired Primary protection (Class B / Type 2) surge protection device (SPD) having 100KA , 10/350 micro seconds neutral to earth, 50 KA, 10/350 micro seconds line to neutral with limiting voltage less than 1.5 KV on the mains power entry point at the incomers. The enclosure shall have IP:65 weather proof polycarbonate PVC box with cable gland. The three phase SPD shall have the followings. i) Line protected : Line-Neutral and Neutral to earth + Line to Line +Line to Ground (4 modes). ii) Nominal Operating Voltage : 220/240 V AC iii) Input power Frequency : 47-60 Hz iv) Protection : Transverse and common mode v) Response Time : <100 ns vi) Surge rating : 10/350 us pulse response vii) Voltage Protection Level : < 1.5 KV viii) Approval and Testing : Listed with UL-1449-3/IEC - 61643 - 62305 as applicable. | 2.00 | Each |  | 30000.00 | 60000.00 | 95600.00 | 191200.00 | 28500.00 | 57000.00 | 32100.00 | 64200.00 | 27900.00 | 55800.00 | 400000.00 | 800000.00 | 55800.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
100.00 | Supply and installation of pre-wired Secondary protection (Class C / Type 3) surge protection device (SPD) this protection to be provided at UPS output in each phase and neutral. The protection device shall be a combination of multi stage modular MOV device to attenuate surge and noise. The LC filter shall attenuate surge voltage to limit peak surge to less than 900 Volt. The filter shall attenuate noise and power system harmonics by minimum 30 DB. The enclosure shall have IP:65 weather proof polycarbonate PVC box with cable gland. The Single phase SPD shall have the followings. i) Line protected : Line-Neutral, Line - Earth and Neutral to Earth. ii) Nominal Operating Voltage : 240 V AC (Phase to Neutral) iii) Voltage Drop : < 3 V at full load iv) Efficiency : 99% v) Response Time : <5ns vi) Protection Modes : Transverse and Common mode vii) Filter Configuration : LC, transverse and common modes viii) Protection Stages : MOV, LPF SPD ix) Surge Rating : 40 KA, 8/20 us x) Voltage Protection Level : < 0.9 KV xi) Approvals and Testing : UL- 1449-3/ IEC 61643/ 62305 as applicable | 1.00 | Each |  | 30000.00 | 30000.00 | 98800.00 | 98800.00 | 28500.00 | 28500.00 | 32100.00 | 32100.00 | 27900.00 | 27900.00 | 200000.00 | 200000.00 | 27900.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
101.00 | Supply of 1.5 TR five star inverter split type air conditioners wall mounting suitable for operation on 230V 50 hz .Single phase, A.C supply complete with filter, drain & refrigerant pipe with insulation & electrical connection with wire complete as reqd. (Note : cost of drain pipe ,regrigerant piping with insulation and electrical cable upto 10 feet length is included with this item) .Make :- As per AAI Approved Make list. | 5.00 | Nos. |  | 20000.00 | 100000.00 | 65000.00 | 325000.00 | 76000.00 | 380000.00 | 66340.00 | 331700.00 | 57660.00 | 288300.00 | 45000.00 | 225000.00 | 100000.00 | Satyendra Kumar Yadav
102.00 | Installation, testing and commissoning of for 1.5TR split type air conditioner i/c Copper piping work, providing stand for outdoor unit, compelete with wall cutting, hole cutting, plastering etc. as reqd. | 5.00 | Nos. |  | 1000.00 | 5000.00 | 52000.00 | 260000.00 | 1150.00 | 5750.00 | 1284.00 | 6420.00 | 1116.00 | 5580.00 | 2000.00 | 10000.00 | 5000.00 | Satyendra Kumar Yadav
103.00 | Supply, Installation, Testing & Commissioning of automatic programmable AC switching system for the Operation of 02 nos. (01 no running + 01 no. standby) split type Air conditioner Units to change over the system 08 Hours with over load protection facility complete as required. | 3.00 | Nos. |  | 4000.00 | 12000.00 | 4000.00 | 12000.00 | 9500.00 | 28500.00 | 10700.00 | 32100.00 | 9300.00 | 27900.00 | 2000.00 | 6000.00 | 6000.00 | Nabalok Das
104.00 | Supply and fixing of extra copper refrigerant piping (beyond the standard length) complete with suction/ liquid line, insulation, drain pipe, electrical cabling, PVC protection piping and all accessories as per site requirement. | 40.00 | Mtrs. |  | 800.00 | 32000.00 | 1800.00 | 72000.00 | 350.00 | 14000.00 | 428.00 | 17120.00 | 372.00 | 14880.00 | 300.00 | 12000.00 | 12000.00 | Nabalok Das
105.00 | Supply, installation , testing and commissioning of two zone Fire Alarm control panel with all accessories viz : maintenance free battery for 30 min back up, battery charger module, auto dialer ( SIM based ) & programming of Auto Dialer complete with all accessories. ( SIM for Auto Dialer will be provided by AAI ) | 2.00 | Nos. |  | 25000.00 | 50000.00 | 285000.00 | 570000.00 | 23700.00 | 47400.00 | 26750.00 | 53500.00 | 23250.00 | 46500.00 | 100000.00 | 200000.00 | 46500.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
106.00 | Supplying, installation, testing & commissioning of Smoke detector with built in LED and Mounting base complete with all connections etc as required. | 12.00 | Nos. |  | 1500.00 | 18000.00 | 4650.00 | 55800.00 | 1400.00 | 16800.00 | 1605.00 | 19260.00 | 1395.00 | 16740.00 | 3000.00 | 36000.00 | 16740.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
107.00 | Supplying, installation, testing & commissioning fire alarm sounder with facility to make announcement, mounted in A.B.S. box with hinged cover plate & suitable for operation with amplifier i/c line matching transformer etc. complete as required. | 2.00 | Nos. |  | 1000.00 | 2000.00 | 6500.00 | 13000.00 | 400.00 | 800.00 | 535.00 | 1070.00 | 465.00 | 930.00 | 5000.00 | 10000.00 | 800.00 | L K BUILDERS
108.00 | Supply, Installation, Testing and Commissioning ADDRESSABLE Manual Call Point complete as per specification. | 2.00 | Nos. |  | 5000.00 | 10000.00 | 5600.00 | 11200.00 | 4700.00 | 9400.00 | 5350.00 | 10700.00 | 4650.00 | 9300.00 | 5000.00 | 10000.00 | 9300.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
109.00 | Supply, Installation, Testing and Commissioning of Response Indicator on wall/ceiling including MS box enclosure etc complete as required. | 4.00 | Nos. |  | 500.00 | 2000.00 | 8500.00 | 34000.00 | 180.00 | 720.00 | 214.00 | 856.00 | 186.00 | 744.00 | 5000.00 | 20000.00 | 720.00 | L K BUILDERS
110.00 | Supplying & laying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLS outer sheath complete as required. complete as required for installation of Fire Alarm system | 100.00 | Mtrs. |  | 100.00 | 10000.00 | 180.00 | 18000.00 | 180.00 | 18000.00 | 214.00 | 21400.00 | 186.00 | 18600.00 | 200.00 | 20000.00 | 10000.00 | Satyendra Kumar Yadav
111.00 | Supply, Installation, Testing & Commissioning of integral LED Aviation (Obstruction) light comprising of aluminium housing with polycarbonate enclosure with suitable size G.I. Pipe complete etc as required. | 1.00 | Each |  | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 47500.00 | 47500.00 | 53500.00 | 53500.00 | 46500.00 | 46500.00 | 3000.00 | 3000.00 | 2500.00 | S.K. CONSTRUCTION
112.00 | Supply of 45- 50 watt LED Street light luminaire with pressure die-cast housing with toughened glass , electronics power driver suitable for 230 V + 10% , 50Hz AC supply.Make :- As per Technical Specification | 5.00 | Each |  | 5000.00 | 25000.00 | 2150.00 | 10750.00 | 3800.00 | 19000.00 | 4280.00 | 21400.00 | 3720.00 | 18600.00 | 4000.00 | 20000.00 | 10750.00 | S.K. CONSTRUCTION
113.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for size of 3.5 x 240 sq. mm PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 6.00 | Each |  | 5000.00 | 30000.00 | 1200.00 | 7200.00 | 3800.00 | 22800.00 | 4280.00 | 25680.00 | 3720.00 | 22320.00 | 4000.00 | 24000.00 | 7200.00 | S.K. CONSTRUCTION
114.00 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 20.00 | Each |  | 400.00 | 8000.00 | 850.00 | 17000.00 | 380.00 | 7600.00 | 428.00 | 8560.00 | 372.00 | 7440.00 | 5000.00 | 100000.00 | 7440.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
115.00 | Dismantling and shifting of feeeder Pillar /Busbar section from existing location to new Location as decided near new LLZ hut and installation of feeder pillar /Bus Bar section same as exiting as per direction of E-I-C | 3.00 | Each |  | 1000.00 | 3000.00 | 12000.00 | 36000.00 | 380.00 | 1140.00 | 428.00 | 1284.00 | 372.00 | 1116.00 | 500.00 | 1500.00 | 1116.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
116.00 | Supply and fixing of flame retardant electrical insulation mat of 2.0 mm thick to withstand upto 3.3 KV conforming to IS 15652:2006 with upto date amendments and having minimum width 1000mm (+/- 20mm). The sufficient of adhesive/compound shall be supplied to fix the insulation mat on the front/rear side of electrical installation Mat shall be ISI marked. .Make :- As per AAI Approved Make list. | 5.00 | Sqmt |  | 200.00 | 1000.00 | 650.00 | 3250.00 | 380.00 | 1900.00 | 428.00 | 2140.00 | 372.00 | 1860.00 | 2000.00 | 10000.00 | 1000.00 | Satyendra Kumar Yadav
117.00 | SITC of 4 KVA rating automatic voltage stabilizer suitable for operation on 170 V - 280 V, I/P single phase, AC Supply with high/low voltage cut of time delay 2-3 min with O/P voltage 220 V + 9% I/C cable lead confirming to IS–specification etc. as required..Make :- As per AAI Approved Make list. | 5.00 | Each |  | 4960.00 | 24800.00 | 12500.00 | 62500.00 | 4800.00 | 24000.00 | 5350.00 | 26750.00 | 4650.00 | 23250.00 | 7000.00 | 35000.00 | 23250.00 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED
118.00 | Supply and installation of floor mounting, totalling enclosed, compartmentalized, cubical, dust, vermin proof and outdoor type Joint box for 240 Sq.mm. Armoured cable, IP-65 fabricated out of 2 mm thick cold rolled carbon anealed, sheet steel. Comprising of 125 A AL bus bar. Height shall be 1.5 meter.Enclosure Size 500 mm x500 mm x250 mm powder coated Ral-7035 with mounting suitable size C.C foundation minimum 1.5 feet above from ground level as required | 1.00 | Each |  | 4995.00 | 4995.00 | 12000.00 | 12000.00 | 20500.00 | 20500.00 | 23540.00 | 23540.00 | 20460.00 | 20460.00 | 15000.00 | 15000.00 | 4995.00 | Satyendra Kumar Yadav
| Total in Figures |  |  |  |  | 32833000.00 |  | 34442384.00 |  | 39704845.00 |  | 36810529.29 |  | 32787692.64 |  | 34817735.00
Lowest Amount Quoted BY: MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED(32787692.64)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Frangible Hut and foundation for installation of localizer Antenna at Gaya Airport, Gaya Tender ID: 2023_AAI_148899_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MAA JEEWACHH INFRATECH AND LOGISTIC PRIVATE LIMITED | 32787692.64 | L1
| 2 | Satyendra Kumar Yadav | 32833000.00 | L2
| 3 | S.K. CONSTRUCTION | 34442384.00 | L3
| 4 | Nabalok Das | 34817735.00 | L4
| 5 | BHARAT CONSTRUCTION & CO. | 36810529.29 | L5
| 6 | L K BUILDERS | 39704845.00 | L6