## BoQ1
Government eProcurement System Created By: SANJAY BHARDWS Created Date/Time: 19-Apr-2023 02:24 PM Tender Title: Execution of Civil, Electrical and Cabling work of IMD for installation of CWIS at Kangra Airport Tender ID: 2023_AAI_148921_1
Tender Inviting Authority: Asstt. Genral Manager Engg.- E, Airports Authority of India, Kangra Airport, Kangra
Name of work : - "Execution of Civil, Electrical and Cabling work of IMD for installation of CWIS at Kangra Airport.”
Contract No Tender ID : 2023_AAI_148921_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU) |  | BAKHTAWAR AHMAD RATHER(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098 : 1988 with upto date amendments. (a) 3.5C X 35 Sq.mm | 1050.00 | Mtr. | 0.00 | 240.00 | 252000.00 | 250.00 | 262500.00 | 252000.00 | Anil Kumar Sharma
2.00 | Supply, Installation,Testing and Commissioning of weather proof outdoor type IP 66 enclosure suitable for 3-Phase, 415Volts, 50 Hz power having free airflow arrangement and insect trap mesh, front openable door with locking arrangement and providing following switchgears and accessories with suitable MS supports etc as required including civil works for constructuction of cement concrete pedestal suitable for mounting of enclosure: (i) 4P, 32 Amp MCCB ,breaking capacity 30 kA with adjustable overload setting Make: L&T Cat. No. DU100H or Eq. - 02 Nos. (ii) 2 KVA UPS with minimum 15 Minute backup (Specifications enclosed) (iii) LED type Phase indication (RYB) - 1 Set (iv) 6 Amp Control MCBs - 1 Set (v) 3 Nos. CT CL-1 15 VA 50/5 amp - 1 Set (vi) LED Display Type 3 Phase Single Function Voltmetre (vii) LED Display Type 3 Phase Single Function Ammetre (viii) Output MCB - 6 Amps, DP, 10kA - 03 Nos. (ix) Power Distribution Board with 5 Amp Sockets - 05 Nos. through UPS. Note: (a) Air tight cable glands shall be used for incomming and outgoing cables. (b) Rain canopy shall be provided on the enclosure. (c) Dimensions of enclosure shall be sufficient to accomodate above equipments and accessories. The enclosure shall be powder coated mounted on a frame of height 1.5 metres above the ground. | 1.00 | Each | 0.00 | 175000.00 | 175000.00 | 150000.00 | 150000.00 | 150000.00 | BAKHTAWAR AHMAD RATHER
3.00 | Supply of following size ISI marked, HDPE pipe confirming to IS-4984-1995 with up to date amendments and confirming to tender’s technical specifications, terms & conditions i/c loading, unloading etc. complete as required. (a) 40 mm (OD), PN-6, PE 80 | 2300.00 | Mtr. | 0.00 | 100.00 | 230000.00 | 50.00 | 115000.00 | 115000.00 | BAKHTAWAR AHMAD RATHER
4.00 | Supply of following size ISI marked, HDPE pipe confirming to IS-4984-1995 with up to date amendments and confirming to tender’s technical specifications, terms & conditions i/c loading, unloading etc. complete as required. (b) 63 mm (OD), PN-6, PE 80 | 1000.00 | Mtr. | 0.00 | 150.00 | 150000.00 | 140.00 | 140000.00 | 140000.00 | BAKHTAWAR AHMAD RATHER
5.00 | Laying of 40mm /63mm size. HDPE/GI pipe in the soil / ground at depth of min 0.60 Mtrs including excavation, covering and refilling the trench, consolidation and making good the surface etc. complete as required. | 1000.00 | Mtr. | 0.00 | 150.00 | 150000.00 | 100.00 | 100000.00 | 100000.00 | BAKHTAWAR AHMAD RATHER
6.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (a) Upto 35 sq. mm | 1000.00 | Mtr. | 0.00 | 20.00 | 20000.00 | 10.00 | 10000.00 | 10000.00 | BAKHTAWAR AHMAD RATHER
7.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 50.00 | Mtr. | 0.00 | 35.00 | 1750.00 | 10.00 | 500.00 | 500.00 | BAKHTAWAR AHMAD RATHER
8.00 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 10.00 | Each | 0.00 | 300.00 | 3000.00 | 350.00 | 3500.00 | 3000.00 | Anil Kumar Sharma
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. (a) 3.5 X 35 Sq.mm | 2.00 | Each | 0.00 | 350.00 | 700.00 | 200.00 | 400.00 | 400.00 | BAKHTAWAR AHMAD RATHER
10.00 | Laying of HDPE pipe by HDD (Horizontal direction drilling) work using trenchless technology or direct in ground including excavation and refilling the trench etc. at a minimum depth of 1.5m below ground level as required. | 1000.00 | Meter | 0.00 | 300.00 | 300000.00 | 150.00 | 150000.00 | 150000.00 | BAKHTAWAR AHMAD RATHER
11.00 | Supply of Optical Fiber Cable of 6 Core, Single Mode, armored cable as per technical specification attached | 2500.00 | Meter | 0.00 | 60.00 | 150000.00 | 15.00 | 37500.00 | 37500.00 | BAKHTAWAR AHMAD RATHER
12.00 | Pulling / drawing of one number Optical Fiber cable of size 6 core in the existing HDPE/GI/RCC/hume pipe. | 2500.00 | Meter | 0.00 | 25.00 | 62500.00 | 8.00 | 20000.00 | 20000.00 | BAKHTAWAR AHMAD RATHER
13.00 | SITC of LIU Unit etc. including termination of OFC, OFC Patch chords and splicing the joint properly as per technical specification / DoT specifications complete with all accessories as required. etc. complete as required. | 1.00 | Each | 0.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | BAKHTAWAR AHMAD RATHER, Anil Kumar Sharma
14.00 | SITC of Media Converter and LAN switches etc. complete as required. | 3.00 | Each | 0.00 | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 15000.00 | BAKHTAWAR AHMAD RATHER, Anil Kumar Sharma
15.00 | SITC of suitable size Rack Enclosure to accamodate above installtions etc. complete as required. | 1.00 | Each | 0.00 | 5000.00 | 5000.00 | 4500.00 | 4500.00 | 4500.00 | BAKHTAWAR AHMAD RATHER
16.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. (a) 20 mm | 100.00 | Meter | 0.00 | 100.00 | 10000.00 | 80.00 | 8000.00 | 8000.00 | BAKHTAWAR AHMAD RATHER
17.00 | Supplying and drawing of LAN cable in the existing surface/ recessed steel/ PVC conduit as required. | 100.00 | Meter | 0.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 3000.00 | BAKHTAWAR AHMAD RATHER, Anil Kumar Sharma
18.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 20.00 | Each | 0.00 | 350.00 | 7000.00 | 300.00 | 6000.00 | 6000.00 | BAKHTAWAR AHMAD RATHER
19.00 | Constructing brick masonry chamber of inside size 1000x1000x1500mm of size in cement mortar 1:4 (1 cement :4 coarse sand ) inside cement plaster 15 mm thick with cement mortar 1:4 (1cement: 4 Coarse sand) finished with floating coat of neat cement foundation concrete 1:3:6(1 cement: 3 coarse sand:6 graded stone aggregate 40 mm nominal size) all complete as per standard design with RCC cover of 10cm thickness complete as required. | 15.00 | Each | 0.00 | 18000.00 | 270000.00 | 10000.00 | 150000.00 | 150000.00 | BAKHTAWAR AHMAD RATHER
20.00 | Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto 10 km for all lifts, complete as per directions of Engineer-in-charge. | 1600.00 | cum | 0.00 | 90.00 | 144000.00 | 60.00 | 96000.00 | 96000.00 | BAKHTAWAR AHMAD RATHER
21.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 1220.00 | cum | 0.00 | 100.00 | 122000.00 | 200.00 | 244000.00 | 122000.00 | Anil Kumar Sharma
22.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 755.00 | cum | 0.00 | 100.00 | 75500.00 | 100.00 | 75500.00 | 75500.00 | BAKHTAWAR AHMAD RATHER, Anil Kumar Sharma
23.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50m and lift upto 1.5 m. | 380.00 | cum | 0.00 | 50.00 | 19000.00 | 70.00 | 26600.00 | 19000.00 | Anil Kumar Sharma
24.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | 320.00 | sqm | 0.00 | 10.00 | 3200.00 | 5.00 | 1600.00 | 1600.00 | BAKHTAWAR AHMAD RATHER
25.00 | Clearing jungle including uprooting of rank vegetation, grass, brush wood,trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | 460.00 | sqm | 0.00 | 10.00 | 4600.00 | 5.00 | 2300.00 | 2300.00 | BAKHTAWAR AHMAD RATHER
| Total in Figures |  |  |  |  | 2183250.00 |  | 1631900.00
Lowest Amount Quoted BY: BAKHTAWAR AHMAD RATHER(1631900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Execution of Civil, Electrical and Cabling work of IMD for installation of CWIS at Kangra Airport Tender ID: 2023_AAI_148921_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BAKHTAWAR AHMAD RATHER | 1631900.00 | L1
| 2 | Anil Kumar Sharma | 2183250.00 | L2