## BoQ1
Government eProcurement System Created By: Dinesh Kumar Regar Created Date/Time: 19-Apr-2023 12:52 PM Tender Title: Modification of Project Office as Guest House at Diu Airport. Tender ID: 2023_AAI_149887_1
Tender Inviting Authority: Senior Manager (Engg-Civil), Airports Authority of India, Diu Airport.
Name of Work: “Modification of Project Office as Guest House at Diu Airport.”
Contract No: 2023_AAI_149887_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Om Construction(GSTN-24AIIPP4526E2ZD) |  | Umiya Construction(GSTN-24AABFU5911F1ZH)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Subhead (A) : Civil Works Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 16.00 | Cum |  | 260.00 | 4160.00 | 200.00 | 3200.00 | 3200.00 | Umiya Construction
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 22.00 | Cum |  | 5840.00 | 128480.00 | 4500.00 | 99000.00 | 99000.00 | Umiya Construction
3.00 | White Bela stone Masonry block in course in foundation and plinth with stone of approved quality in Cement Mortar 1:6 (1-Cement : 6- Coarse sand) including packing the joints etc. Complete. | 20.00 | Cum |  | 9800.00 | 196000.00 | 7250.00 | 145000.00 | 145000.00 | Umiya Construction
4.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.00 | Cum |  | 9080.00 | 9080.00 | 7500.00 | 7500.00 | 7500.00 | Umiya Construction
5.00 | White Bela stone Masonry block in course in Superstructure with stone of approved quality in Cement Mortar 1:6 (1-Cement : 6- Coarse sand) including packing the joints etc. Complete. | 9.00 | Cum |  | 10700.00 | 96300.00 | 7500.00 | 67500.00 | 67500.00 | Umiya Construction
6.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 2.20 | Cum |  | 10700.00 | 23540.00 | 7500.00 | 16500.00 | 16500.00 | Umiya Construction
7.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : (1 cement: 4 fine sand) | 45.00 | sqm |  | 350.00 | 15750.00 | 250.00 | 11250.00 | 11250.00 | Umiya Construction
8.00 | 12 mm cement plaster of mix : (1 cement: 4 fine sand) | 32.00 | sqm |  | 350.00 | 11200.00 | 235.00 | 7520.00 | 7520.00 | Umiya Construction
9.00 | 6 mm cement plaster of mix : (1 cement : 3 fine sand) | 18.00 | Sqm |  | 305.00 | 5490.00 | 215.00 | 3870.00 | 3870.00 | Umiya Construction
10.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000.00 | Per litre |  | 10.70 | 10700.00 | 11.00 | 11000.00 | 10700.00 | Om Construction
11.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 15 mm nominal dia Pipes | 25.00 | metre |  | 260.00 | 6500.00 | 125.00 | 3125.00 | 3125.00 | Umiya Construction
12.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 20 mm nominal dia Pipes | 60.00 | meter |  | 323.00 | 19380.00 | 150.00 | 9000.00 | 9000.00 | Umiya Construction
13.00 | Providing and fixing Handle valve of size 20 mm complete as satisfation of EIC | 5.00 | Each |  | 2600.00 | 13000.00 | 400.00 | 2000.00 | 2000.00 | Umiya Construction
14.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20 mm nominal bore | 5.00 | Each |  | 350.00 | 1750.00 | 1500.00 | 7500.00 | 1750.00 | Om Construction
15.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 5.00 | Each |  | 5300.00 | 26500.00 | 8000.00 | 40000.00 | 26500.00 | Om Construction
16.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 5.00 | Each |  | 2240.00 | 11200.00 | 4500.00 | 22500.00 | 11200.00 | Om Construction
17.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 100 mm diameter | 5.00 | Each |  | 260.00 | 1300.00 | 600.00 | 3000.00 | 1300.00 | Om Construction
18.00 | Providing and fixing Health faucet 1.20 Mtr Flexible tube (ALD-CHR-573) complete as satisfation of EIC | 5.00 | Each |  | 1700.00 | 8500.00 | 2000.00 | 10000.00 | 8500.00 | Om Construction
19.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 5.00 | Each |  | 710.00 | 3550.00 | 400.00 | 2000.00 | 2000.00 | Umiya Construction
20.00 | Providing and fixing BIB COCK WITH WALL FLANGE (VGP-CHR-81037) complete as satisfation of EIC | 10.00 | Each |  | 1700.00 | 17000.00 | 3500.00 | 35000.00 | 17000.00 | Om Construction
21.00 | Providing and fixing angular stop cock with wall flange (VGP-CHR-81053) complete as satisfation of EIC | 20.00 | Each |  | 1250.00 | 25000.00 | 2500.00 | 50000.00 | 25000.00 | Om Construction
22.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 5.00 | Each |  | 890.00 | 4450.00 | 1250.00 | 6250.00 | 4450.00 | Om Construction
23.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 14.00 | Sqm |  | 800.00 | 11200.00 | 950.00 | 13300.00 | 11200.00 | Om Construction
24.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 84.00 | Sqm |  | 980.00 | 82320.00 | 1100.00 | 92400.00 | 82320.00 | Om Construction
25.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 25.00 | Metre |  | 305.00 | 7625.00 | 375.00 | 9375.00 | 7625.00 | Om Construction
26.00 | Making the opening in brick masonry including dismantling in floor or walls by cutting masonry and making good the damages to walls, flooring and jambs complete, to match existing surface i/c disposal of mulba/ rubbish to the nearest municipal dumping ground, all complete as per direction of Engineer-in-Charge. For door/ window/ clerestory window | 9.00 | Sqm |  | 260.00 | 2340.00 | 650.00 | 5850.00 | 2340.00 | Om Construction
27.00 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineerin- charge Extruded section profile size 48x40 mm | 25.00 | metre |  | 260.00 | 6500.00 | 500.00 | 12500.00 | 6500.00 | Om Construction
28.00 | Providing and fixing to existing door frames. 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 9.00 | Sqm |  | 2060.00 | 18540.00 | 3500.00 | 31500.00 | 18540.00 | Om Construction
29.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 10.00 | Each |  | 125.00 | 1250.00 | 175.00 | 1750.00 | 1250.00 | Om Construction
30.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm | 5.00 | Each |  | 125.00 | 625.00 | 175.00 | 875.00 | 625.00 | Om Construction
31.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 10.00 | Each |  | 260.00 | 2600.00 | 350.00 | 3500.00 | 2600.00 | Om Construction
32.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 5.00 | Each |  | 1250.00 | 6250.00 | 1500.00 | 7500.00 | 6250.00 | Om Construction
33.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 10.08 | Sqm |  | 530.00 | 5342.40 | 550.00 | 5544.00 | 5342.40 | Om Construction
34.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 2.00 | Sqm |  | 1250.00 | 2500.00 | 750.00 | 1500.00 | 1500.00 | Umiya Construction
35.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 5.00 | Each |  | 1700.00 | 8500.00 | 800.00 | 4000.00 | 4000.00 | Umiya Construction
36.00 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : In cement mortar | 17.33 | cum |  | 1250.00 | 21662.50 | 550.00 | 9531.50 | 9531.50 | Umiya Construction
37.00 | Supplying and stacking at site. Good earth | 128.25 | cum |  | 620.00 | 79515.00 | 500.00 | 64125.00 | 64125.00 | Umiya Construction
38.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in- Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 1185.00 | sqm |  | 800.00 | 948000.00 | 785.00 | 930225.00 | 930225.00 | Umiya Construction
39.00 | Providing and fixing Pre-laminated flat pressed 3 layer (medium density) particle board or graded wood particle board IS : 3087 marked, with one side decorative and other side balancing lamination Grade I, Type II exterior grade IS : 12823 marked, in shelves with screws and fittings wherever required, edges to be painted with polyurethane primer fittings to be paid separately). 18 mm thick | 16.00 | Sqm |  | 980.00 | 15680.00 | 1350.00 | 21600.00 | 15680.00 | Om Construction
40.00 | Providing and fixing wooden moulded beading to door and window frames with iron screws, plugs and priming coat on unexposed surface etc. complete : 2nd class teak wood 50x12 mm | 17.00 | Mtr |  | 170.00 | 2890.00 | 50.00 | 850.00 | 850.00 | Umiya Construction
41.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.5 mm thick | 16.00 | Sqm |  | 800.00 | 12800.00 | 800.00 | 12800.00 | 12800.00 | Om Construction, Umiya Construction
42.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | 159.00 | Sqm |  | 125.00 | 19875.00 | 75.00 | 11925.00 | 11925.00 | Umiya Construction
43.00 | Distempering with 1st quality acrylic distemper (ready made) having VOC content less than 50 gm per ltr. of approved manufacturer and of required shade and colour complete. as per manufacturer's specification. One or more coats on old work | 354.00 | Sqm |  | 62.00 | 21948.00 | 50.00 | 17700.00 | 17700.00 | Umiya Construction
44.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 320.00 | Kg |  | 89.00 | 28480.00 | 90.00 | 28800.00 | 28480.00 | Om Construction
45.00 | Subhead (B) : Electrical Works SITC of Inverter type Spilt A/C Units wall mounting type, of 1.5 TR capacity consisting of non ductable single type room unit (fan coil) with cordless remote control and one number outdoor condensing unit comprising of sealed compressor suitable for operation single phase, 230 V, 50Hz supply, including fixing the outdoor unit with duly painted MS angle iron stand of appropiate size as per manufacturers recommendation and fixing of room (fan coil) unit, providing and making interconnection between room unit & condenser upto length of 3 mtrs, comprising of 1" dia drain PVC pipe, refrigerant copper piping, full electrical cabling from power plug, etc complete as required having 3star or more energy rated as per BEE of AAI approved make. | 7.00 | Each |  | 44000.00 | 308000.00 | 41000.00 | 287000.00 | 287000.00 | Umiya Construction
46.00 | SITC of water cooler of capacity 40/80 lit./hr. fully SS, two taps, single phase AC, factory built complete with standard accessories, protections, etc. of AAI approved make. | 4.00 | Each |  | 53000.00 | 212000.00 | 12000.00 | 48000.00 | 48000.00 | Umiya Construction
47.00 | SITC of Water Purifier of capacity 50 lit./hr. having RO+UV+UF+Alkaline water purification technology complete with standard accessories, protections, etc. of AAI approved make. | 2.00 | Each |  | 50300.00 | 100600.00 | 22000.00 | 44000.00 | 44000.00 | Umiya Construction
48.00 | SITC of Domestic Bathroom Water Heater/ Geyser of Capacity 10 Litres made of ultra thick superior steel having corrosion resistance & anti-rust property with heating element having resistance to oxidation & carbonization at high temperature, having temperature cutoff facility, complete with Stainless Steel Flexi pipe and other accessories for connections etc. of AAI approved make. | 5.00 | Each |  | 11600.00 | 58000.00 | 7500.00 | 37500.00 | 37500.00 | Umiya Construction
49.00 | Supply & fixing of 400 mm sweep wall fan having minimum rated speed of 1320 RPM with all suitable fixing acessories, prewired etc. complete suitable for operation on single phase 230V, 50Hz, AC supply etc as required of AAI approved make. | 10.00 | Each |  | 3050.00 | 30500.00 | 2500.00 | 25000.00 | 25000.00 | Umiya Construction
50.00 | Supply of following sizes of heavy duty exhaust fan suitable for single phase 230 volt, 50Hz AC supply complete with motor, capacitor, louvers/shutters and all accessories as required complete of AAI approved make. 450 mm dia, 1400 RPM Exhaust fan. | 7.00 | Each |  | 6650.00 | 46550.00 | 3800.00 | 26600.00 | 26600.00 | Umiya Construction
51.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 7.00 | Each |  | 1250.00 | 8750.00 | 1500.00 | 10500.00 | 8750.00 | Om Construction
52.00 | Supply & fixing of 34 W LED Recessed Scoop Light fixture of 2 x 2 ft. made of CRCA Sheet steel/ Aluminium housing, diffuser along with all suitable fixing acessories, prewired etc. complete suitable for operation on single phase 230V, 50Hz, AC supply etc as required of AAI approved make. | 7.00 | Each |  | 3500.00 | 24500.00 | 2000.00 | 14000.00 | 14000.00 | Umiya Construction
53.00 | Supply & fixing of 36 W LED Recessed Light fixture of 2 x 2 ft. made of CRCA Sheet steel/ Aluminium housing, diffuser along with all suitable fixing acessories, color temperature 5700k, prewired etc. complete suitable for operation on single phase 230V, 50Hz, AC supply etc as required of AAI approved make. | 12.00 | Each |  | 5300.00 | 63600.00 | 2500.00 | 30000.00 | 30000.00 | Umiya Construction
54.00 | Supply & fixing of refrigerant copper piping with insulation & other accessories in all respect for connection between Indoor & Outdoor unit, extra after standard length of 3mtrs. for 1.5 TR, single phase AC units complete as per Technical Specification & site condition. | 30.00 | Mtr. |  | 1700.00 | 51000.00 | 1300.00 | 39000.00 | 39000.00 | Umiya Construction
55.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch,modular plate, suitable GI box and earthing the point with 1.5sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 25.00 | Each |  | 1700.00 | 42500.00 | 1100.00 | 27500.00 | 27500.00 | Umiya Construction
56.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 250.00 | Mtr. |  | 260.00 | 65000.00 | 240.00 | 60000.00 | 60000.00 | Umiya Construction
57.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 250.00 | Mtr. |  | 350.00 | 87500.00 | 273.00 | 68250.00 | 68250.00 | Umiya Construction
58.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required 4 Module (125mmX75mm) | 5.00 | Each |  | 160.00 | 800.00 | 335.00 | 1675.00 | 800.00 | Om Construction
59.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required 8 Module (125mmX125mm) | 5.00 | Each |  | 160.00 | 800.00 | 450.00 | 2250.00 | 800.00 | Om Construction
60.00 | SITC of internally illuminated LED based information signage of various sizes made out of 4mm thick glare free polycarbonate sheet at front and body made out of 2.0 mm thick powder coated aluminium profile having minimum width of 150mm Light source shall be high luminious, long life typical 50000 hrs type, 0.5 watt LEDs assembled on aluminium PCB of appropriate size. LED assembly to be operated on 230 V 50Hz AC supply through a Converter of suitable rating complete with mounting accessories suitable for clamping on wall complete as required etc. Signage Letter font & size would be as per instructions by EIC. | 15.00 | Sq. Mtr. |  | 8900.00 | 133500.00 | 40000.00 | 600000.00 | 133500.00 | Om Construction
61.00 | SITC of Refrigerator of capacity 75-100 litre , single phase 230V, 50 Hz AC,having Automatic Defrost system factory built complete with standard accessories, protections, etc. of AAI approved make. | 7.00 | Each |  | 7100.00 | 49700.00 | 20000.00 | 140000.00 | 49700.00 | Om Construction
62.00 | Supply of Electric Kettle of capacity 1.5 Litre single phase 230V 50 Hz AC, factory built complete with standard accessories, protections, etc. of AAI approved make. | 5.00 | Each |  | 530.00 | 2650.00 | 3500.00 | 17500.00 | 2650.00 | Om Construction
| Total in Figures |  |  |  |  | 3231222.90 |  | 3328640.50
Lowest Amount Quoted BY: Om Construction(3231222.90)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of Project Office as Guest House at Diu Airport. Tender ID: 2023_AAI_149887_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Om Construction | 3231222.90 | L1
| 2 | Umiya Construction | 3328640.50 | L2