## BoQ1
Government eProcurement System Created By: Bidyut Roy Created Date/Time: 28-Apr-2023 01:29 PM Tender Title: SITC of designed based Public Address Systems at Kolhapur Airport, Tender ID: 2023_AAI_150024_1
Tender Inviting Authority: Asst. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, KOLHAPUR AIRPORT, KOLHAPUR
Name of Work: Extension of runway with Blast Pad, RESA, Taxiway, Apron, GSE Area, Isolation Bay, New Domestic Terminal Building and Miscellaneous works at Kolhapur Airport. SH : SITC of designed based Public Address Systems at Kolhapur Airport, Kolhapur along with Comprehensive Annual Maintenance Contract for 3 years after warranty.
Contract No: 2023_AAI_150024_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | HEINRICH CORPORATION INDIA PVT LTD(GSTN-07AADCH3587R1ZT) |  | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.(GSTN-07AABCI1558D1ZW)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of IP based Public Address Sound Management System with dedicated hot standby (1 Main + 1 Standby) Network controller / Server EN-54 certified, Digital Audio and Control for simultaneous multi Audio channel, Pre-recorded or manual announcement broadcast, Built in Supervision and monitoring for Amplifier, loudspeaker line circuit and Microphone station, Alarm Input and Output for interfacing with existing external Fire Alarm, CCTV, Access Control or other Alarm Input, System shall have Support for multi-channel Digital Audio Inputs from Call station, multi-level of priority, support several type chime/tones/ emergency tones, the systems should allow PC based controlling to the network controller and programming. The systems shall have open interface for interfacing other services such as Fire and FID with Building Integrated service software and POE enabled L-2 Switch etc. (if required). The Text to Speech Hardware for making announcements in different languages should also be included. | 1.00 | Set |  | 900000.00 | 900000.00 | 1200000.00 | 1200000.00 | 900000.00 | HEINRICH CORPORATION INDIA PVT LTD
2.00 | SITC of PC Control GUI Software along with Desktop PC of Intel Core i7, 8GB RAM, 500 GB HDD, DVD RW, 19" LED, Mouse, Keyboard or higher configuration for complete administration of PA system, programming and monitoring of Controller, Amplifiers, Call station, zone setting, priority etc. | 1.00 | Set |  | 90200.00 | 90200.00 | 85000.00 | 85000.00 | 85000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
3.00 | SITC of rack-mountable hard disk/PC (as per specifications) based Music player capable of playback of common digital media like MP3 / MP4 / WMA / AVI / WMV / Div X etc., with minimum 500GB hard disk, with full function for facilities like skip / shuffle/repeat as per specification. | 1.00 | Each |  | 45000.00 | 45000.00 | 55000.00 | 55000.00 | 45000.00 | HEINRICH CORPORATION INDIA PVT LTD
4.00 | SITC of Equipment Rack for housing Central Controller, Amplifiers and Music Source, consisting of mains panel etc. as per specifications complete as required. | 1.00 | Set |  | 48260.00 | 48260.00 | 55460.00 | 55460.00 | 48260.00 | HEINRICH CORPORATION INDIA PVT LTD
5.00 | SITC of Digital Call Stations with High Quality Condenser Microphone on gooseneck, keypad for minimum 12 zone selection, relay of pre-recorded messages / Alarm messages / tones / call routines, upgradable to any number of zone selection by adding keypad etc. with suitable Console Table as per specifications. (EN 54 Certified) | 2.00 | Each |  | 91000.00 | 182000.00 | 115000.00 | 230000.00 | 182000.00 | HEINRICH CORPORATION INDIA PVT LTD
6.00 | SITC of Digital Remote Call Stations with High Quality Condenser Microphone on gooseneck, Keypad for min 12 zone selection, relay of prerecorded messages / Alarm messages / tones / call routines, upgradable to any number of zone selection by adding keypad etc. as per specifications. (EN 54 Certified) | 6.00 | Each |  | 91000.00 | 546000.00 | 108000.00 | 648000.00 | 546000.00 | HEINRICH CORPORATION INDIA PVT LTD
7.00 | SITC of Digital Car Call console with wall mounted housing and Flush mounted microphone for Car Call announcement as per specifications etc. Complete as required. | 2.00 | Each |  | 91000.00 | 182000.00 | 115000.00 | 230000.00 | 182000.00 | HEINRICH CORPORATION INDIA PVT LTD
8.00 | SITC of Power Amplifier (Separate amplifier or separate channel of amplifiers for every Zone should be considered), minimum duel channel, 2x240 W / 1X500 W / More wattage (EN 54 Certified), Class D amplification with built in DSP with min. 2 channel AVC (Automatic Volume Control) per amplifier, Automatic Changeover to standby Amplifier in case of failure, Front LCD/LED display for status/error display, headphone socket for audio monitoring., 100 V Outputs, Digital Audio Inputs via CAT / Fibre Cable (for interconnection and looping between amplifiers) Zone- 1: Public Concourse, Curb Area city side Zone - 2: Check- in and Pre SHA Zone -3: Security Hold Area, Bus Lounge and Baggage Make-up area Zone - 4: Departure, VIP Lounge and Cafeteria Zone - 5: Arrival, Baggage claim and Break-up area Zone - 6: Car calling area and Parking Zone-7 : Office space Ground Floor & First Floor and remaining ancillary areas | 1.00 | Lot |  | 825000.00 | 825000.00 | 1100000.00 | 1100000.00 | 825000.00 | HEINRICH CORPORATION INDIA PVT LTD
9.00 | SITC of Recessed/ Ceiling Mount speaker, Full range 120 Hz-18Khz, tapping 6W RMS, SPL at 1 W/1M@ 1 KHz > 90 dB opening angle ≥ 150 degree, mounting Clamp, front Metal Grill, Built in LMT. with suitable Fire Dome Safety acc. To EN60065. Sufficient number of speakers should be provided to ensure essentially uniform distribution of sound meeting +/- 3dB uniformity in all the Passenger / Visitor and staff areas as required (Ref. Technical Specifications )-For Terminal building all zones as per requirement/design/suitability. | 1.00 | Lot |  | 125000.00 | 125000.00 | 147210.00 | 147210.00 | 125000.00 | HEINRICH CORPORATION INDIA PVT LTD
10.00 | SITC of Line Array, Column Loudspeaker, rated power of 30W rms, SPL ≥105 dB@30 W 1 W / 1 Mtr, Frequency range 100 Hz - 18 KHz, 100 V rated input, Opening angle @1Khz HxV :210 x 70 degree, Ceramic terminal block, thermal Fuse, EVAC Compliant and IEC 60849 compliant Safety acc. To EN60529, dust proof and weather proof. Sufficient number of speakers should be provided to ensure essentially uniform distribution of sound meeting +/- 3dB uniformity in all the Passenger / Visitor and staff areas as required (Ref. Technical Specifications )-For Terminal building all zone as per requirement/design/suitability. | 1.00 | Lot |  | 195200.00 | 195200.00 | 255670.00 | 255670.00 | 195200.00 | HEINRICH CORPORATION INDIA PVT LTD
11.00 | SITC of Cabinet Speaker 30W – 50W, Effective Frequency Response better or equal to 80 Hz – 18 Khz, SPL at 1W / 1 M @ 1 Khz ≥ 87 dB complete as per specifications. Sufficient number of speakers should be provided to ensure essentially uniform distribution of sound meeting +/- 3dB uniformity in all the Passenger / Visitor and staff areas as required (Ref. Technical Specifications )-For Terminal building all zones as per requirement/design/suitability. | 1.00 | Lot |  | 12700.00 | 12700.00 | 32510.00 | 32510.00 | 12700.00 | HEINRICH CORPORATION INDIA PVT LTD
12.00 | SITC of Digital Line Array loudspeaker with Built-in DSP with coaxial drivers for improved high frequency response., Sophisticated beam configuration with EASE support, Integrated ambient noise level sensor for AVC, 100W, with following features: Audio beam steering- 25 degree to 60 degrees or better, Frequency Range: 150Hz – 18KHz or better, Built in multichannel Class D Amplifier and DSP technology for vertical beam steering, amplifier ≥ 10/15 Watts per channel Class D Amplifier Channel and Loudspeaker drivers ≥ 8 Nos complete as per specifications.Sufficient number of speakers should be provided to ensure essentially uniform distribution of sound meeting +/- 3dB uniformity in all the Passenger / Visitor and staff areas as required (Ref. Technical Specifications )-For Terminal building all zones as per requirement/design/suitability. | 1.00 | Lot |  | 750000.00 | 750000.00 | 955000.00 | 955000.00 | 750000.00 | HEINRICH CORPORATION INDIA PVT LTD
13.00 | SITC of weather proof metallic/ horn Speakers EN 54 Certified for Car calling/ parking area, as per the specifications Sufficient number of speakers should be provided to ensure essentially uniform distribution of sound meeting +/- 3dB uniformity in all the Passenger / Visitor and staff areas as required (Ref. Technical Specifications )-For Terminal building all zones as per requirement/design/suitability. | 1.00 | Lot |  | 44500.00 | 44500.00 | 78210.00 | 78210.00 | 44500.00 | HEINRICH CORPORATION INDIA PVT LTD
14.00 | Supply of Omni direction Noise sensing Microphone in suitable housing as per design requirement and specifications.(Ref. Technical Specifications & architectural drawings of terminal building ) | 1.00 | Lot |  | 209550.00 | 209550.00 | 225000.00 | 225000.00 | 209550.00 | HEINRICH CORPORATION INDIA PVT LTD
15.00 | Supply of Redundant (1+1) 10 KVA Online UPS with SMF batteries, 30 minutes of battery backup with each UPS. | 1.00 | Set |  | 1000000.00 | 1000000.00 | 880000.00 | 880000.00 | 880000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
16.00 | Supply and laying of 1.5 sq.mm. multistrand PVC sheathed Two Core Twin Twisted Speaker Cable in existing conduit / floor channel as per specifications. | 3000.00 | Meter |  | 58.00 | 174000.00 | 60.00 | 180000.00 | 174000.00 | HEINRICH CORPORATION INDIA PVT LTD
17.00 | Supply and laying of PVC sheathed 0.75 sq.mm. multistrand Two Core shielded microphone cable in existing conduits / floor channel as per specifications. | 1000.00 | Meter |  | 10.00 | 10000.00 | 62.00 | 62000.00 | 10000.00 | HEINRICH CORPORATION INDIA PVT LTD
18.00 | Supply and laying of Fibre Optic Network cable with connectors and splicing etc. as per specifications. | 200.00 | Meter |  | 10.00 | 2000.00 | 61.00 | 12200.00 | 2000.00 | HEINRICH CORPORATION INDIA PVT LTD
19.00 | Supply and laying of Armoured 0.75 sq.mm. multistrand, Two Pair Twin Twisted Speaker Cable for laying on wall/ underground laying in existing HDPE Pipe/Hume Pipe/ GI Conduit as per specifications. | 1000.00 | Meter |  | 82.00 | 82000.00 | 85.00 | 85000.00 | 82000.00 | HEINRICH CORPORATION INDIA PVT LTD
20.00 | Supply and laying of UTP CAT 6 data cable in existing conduit/pipe on surface/recess/concealed, with connectors, termination etc. required as per specifications | 1500.00 | Meter |  | 38.00 | 57000.00 | 39.00 | 58500.00 | 57000.00 | HEINRICH CORPORATION INDIA PVT LTD
21.00 | Supply and laying of 3 core 1.5 sq. mm PVC insulated PVC sheathed copper conductor power cable in existing conduit/pipe on surface/recess/concealed including termination etc. required as per specifications | 1500.00 | Meter |  | 65.00 | 97500.00 | 65.00 | 97500.00 | 97500.00 | HEINRICH CORPORATION INDIA PVT LTD, INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
22.00 | Supply and laying of 80 mm dia GI Pipe (Class B) with all accessories on surface / recess / concealed as per specifications and preferred makes. | 150.00 | Meter |  | 630.00 | 94500.00 | 650.00 | 97500.00 | 94500.00 | HEINRICH CORPORATION INDIA PVT LTD
23.00 | Supply & installation of 5 Mtrs. GI Pole (Class B) of 65 mm dia for mounting of Car call Horn speakers including all accessories and making foundation of reinforced cement concrete 1:3:6 (1 cement :3 coarse sand : 6 graded stone aggregate 40mm nominal size) including excavation and refilling, including positioning of template & foundations bolts (supplied with pole to match with pole base plate) complete as required and as specified | 1.00 | Lot |  | 125000.00 | 125000.00 | 125000.00 | 125000.00 | 125000.00 | HEINRICH CORPORATION INDIA PVT LTD, INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
24.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 1000.00 | Meter |  | 90.00 | 90000.00 | 80.00 | 80000.00 | 80000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
25.00 | Supply and fixing PVC casing capping (Secure and Firm Locking) of size 25 x 16 mm on wall / brick / metal surfaces for cable laying complete fixing with all accessories etc. Complete as required. | 500.00 | Meter |  | 42.00 | 21000.00 | 42.00 | 21000.00 | 21000.00 | HEINRICH CORPORATION INDIA PVT LTD, INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
26.00 | Supplying, installing, testing and commissioning of 6 zone Digital Voice Evacuation Master controller with built in 500 watt Amplifier with seamless integration facility with main fire alarm panel for voice evacation complete as required. The System shall meet the standards of BS EN54 - 32 & EN 60849. The System Shall have Built in 500W Class-D Amplifier and it should be capable for the EVAC, Paging, PA and BGM functions. The Controller shall have SD card option to store the EVAC and Alert Voice Message. The Controller shall have Speaker line supervision record out and amplifier auto changeover. The Controller shall have following features: Separate Zone volume control at the front side of panel, Status indications on the Panel for EVAC,Fault ,AC,DC ,Fault, ALERT & Fireman mic, Zone capacity up to 96 Zones, 8 programmable Control Input and output, Fireman Microphone with High Priority, THD<1%, Frequency response 80Hz - 20kHz, Up to 1000 Record files, 100V Class-AB Speaker Output. | 1.00 | Nos. |  | 91200.00 | 91200.00 | 118000.00 | 118000.00 | 91200.00 | HEINRICH CORPORATION INDIA PVT LTD
27.00 | Supplying, installing, testing and commissioning of 6 zone paging microphone (call station) with necessary Zone wise, Group Zones and all call facility. The Microphone should have LED Indication, Can be Expand with additional units, Compress function through microphone input to avoid distortion, Auxiliary input which supply local background music. Power 24V DC, Microphone should be able to Control the Music also. Microphone Should supply with all accessaries and with standard specification, complete. | 2.00 | Nos. |  | 35500.00 | 71000.00 | 41210.00 | 82420.00 | 71000.00 | HEINRICH CORPORATION INDIA PVT LTD
28.00 | Supplying, installing, testing and commissioning of 6W wall mount speakers with following features:-component 7.5", Complete metal grille and line matching transformer 100/70V line. Variable wattage tapings of 5/10W, Effective frequency range 150-15kHz (BS6840), SPL@1m/1W=90dB, Peak SPL 98dB complete with necessary mounting hardware & accessories. | 40.00 | Nos. |  | 1850.00 | 74000.00 | 2250.00 | 90000.00 | 74000.00 | HEINRICH CORPORATION INDIA PVT LTD
29.00 | SITC of 19-inch Equipment Rack with standardized frame or enclosure for mounting multiple PA controllers, CD player, FM sources, Amplifiers etc modules. Size 18U | 1.00 | Nos. |  | 28000.00 | 28000.00 | 24500.00 | 24500.00 | 24500.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
30.00 | SITC of Redundant (1+1) 5 KVA Online UPS with SMF batteries, 30 minutes of battery backup with each UPS. | 1.00 | Set |  | 402134.00 | 402134.00 | 385000.00 | 385000.00 | 385000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
31.00 | All inclusive comprehensive AMC with spares after expiry of defect liability period of 03 year as per agreement for complete PA system. First year Comprehensive AMC with spares (1st year) (6.986% for 1st year year as per SCC) | 1.00 | Per Year |  | 459311.62 | 459311.62 | 537620.20 | 537620.20 | 459311.62 | HEINRICH CORPORATION INDIA PVT LTD
32.00 | All inclusive comprehensive AMC with spares after expiry of defect liability period of 03 year as per agreement for complete PA system. Second year Comprehensive AMC with spares (2nd year) (7.955% for IInd year as per SCC) | 1.00 | Per Year |  | 523020.89 | 523020.89 | 612191.34 | 612191.34 | 523020.89 | HEINRICH CORPORATION INDIA PVT LTD
33.00 | All inclusive comprehensive AMC with spares after expiry of defect liability period of 03 year as per agreement for complete PA system. Third year Comprehensive AMC with spares ( 3rd year) (8.923% for IIIrd year as per SCC) | 1.00 | Per Year |  | 586664.41 | 586664.41 | 686685.53 | 686685.53 | 586664.41 | HEINRICH CORPORATION INDIA PVT LTD
| Total in Figures |  |  |  |  | 8143740.92 |  | 9532177.07
Lowest Amount Quoted BY: HEINRICH CORPORATION INDIA PVT LTD(8143740.92)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of designed based Public Address Systems at Kolhapur Airport, Tender ID: 2023_AAI_150024_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HEINRICH CORPORATION INDIA PVT LTD | 8143740.92 | L1
| 2 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD. | 9532177.07 | L2