## BoQ1
Government eProcurement System Created By: Bidyut Roy Created Date/Time: 27-Apr-2023 12:08 PM Tender Title: Extension of Runway with Blast pad, RESA, Taxiway apron, GSE Area, Isolation Bay, Tender ID: 2023_AAI_150227_1
Tender Inviting Authority: Asst. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, KOLHAPUR AIRPORT, KOLHAPUR.
Name of Work: Extension of Runway with Blast pad, RESA, Taxiway apron, GSE Area, Isolation Bay, New Domestic Terminal Building and miscellaneous works at Kolhapur Airport. SH : Shifting of GLF system for existing CCR to New CCR room, connection to the new ATC Tower – Associated Electrical works.
Contract No: 2023 _AAI_150227_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 2.5 sq.mm 61 core armoured 650/ 1100V grade copper control cable XLPE insulated as per IS 7098 (Part-I) with ammendments up to date for Remote control panel etc complete as required. | 2400.00 | Meter |  | 1620.00 | 3888000.00 | 2325.00 | 5580000.00 | 2120.00 | 5088000.00 | 3888000.00 | Techno Electricals
2.00 | Supply of 2.5 sq.mm 10 core armoured 650/ 1100V grade copper control cable XLPE insulated as per IS 7098 (Part-I) with ammendments up to date for Remote control panel etc complete as required. | 600.00 | Meter |  | 300.00 | 180000.00 | 360.00 | 216000.00 | 470.00 | 282000.00 | 180000.00 | Techno Electricals
3.00 | Supply of 6 sqmm. PVC insulated & PVC Sheathed Stranded copper conductor single core airfield lighting cable of 5KV grade confirming to IS 1554 Part-II with upto date amendement s as required and conforming to particuar specifications. | 14640.00 | Meter |  | 100.00 | 1464000.00 | 102.00 | 1493280.00 | 94.00 | 1376160.00 | 1376160.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
4.00 | Supply of 16 sqmm. PVC insulated & PVC Sheathed Stranded copper conductor single core airfield lighting cable of 5KV grade confirming to IS 1554 Part-II with upto date amendement s as required and conforming to particuar specifications. | 14400.00 | Meter |  | 190.00 | 2736000.00 | 218.00 | 3139200.00 | 203.00 | 2923200.00 | 2736000.00 | Techno Electricals
5.00 | Supply of 2 x 4 sq.mm size secondary lead made out of multi stranded copper conductor, EPR insulalted PCP sheathed, treated 600V grade cable as specified in particular specification and as required. | 400.00 | Meter |  | 160.00 | 64000.00 | 240.00 | 96000.00 | 171.00 | 68400.00 | 64000.00 | Techno Electricals
6.00 | Supply of following sizes of XLPE insulated PVC sheathed, Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS 7098 (Part 2) amended upto date : a) 3.5 X 25Sq.mm Aluminiun conductor cable | 2700.00 | Meter |  | 139.00 | 375300.00 | 170.00 | 459000.00 | 161.00 | 434700.00 | 375300.00 | Techno Electricals
7.00 | Supply of following sizes of XLPE insulated PVC sheathed, Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS 7098 (Part 2) amended upto date : a) 3.5 X 95Sq.mm Aluminiun conductor cable | 200.00 | Meter |  | 410.00 | 82000.00 | 480.00 | 96000.00 | 565.00 | 113000.00 | 82000.00 | Techno Electricals
8.00 | Supply of following sizes of XLPE insulated PVC sheathed, Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS 7098 (Part 2) amended upto date : a) 4C X 6Sq.mm Aluminiun conductor cable | 300.00 | Meter |  | 90.00 | 27000.00 | 105.00 | 31500.00 | 109.00 | 32700.00 | 27000.00 | Techno Electricals
9.00 | Supplying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete as required. 63 mm Dia | 17420.00 | Meter |  | 63.00 | 1097460.00 | 70.00 | 1219400.00 | 65.00 | 1132300.00 | 1097460.00 | Techno Electricals
10.00 | Supplying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete as required. 100 mm Dia | 4000.00 | Meter |  | 125.00 | 500000.00 | 160.00 | 640000.00 | 135.00 | 540000.00 | 500000.00 | Techno Electricals
11.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting,jointing etc.direct in ground (80 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 63 mm dia | 17420.00 | Meter |  | 95.00 | 1654900.00 | 160.00 | 2787200.00 | 89.00 | 1550380.00 | 1550380.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
12.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting,jointing etc.direct in ground (80 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 100 mm dia | 4000.00 | Meter |  | 95.00 | 380000.00 | 160.00 | 640000.00 | 100.00 | 400000.00 | 380000.00 | Techno Electricals
13.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipes as required. Upto 35 sq. mm | 31740.00 | Meter |  | 19.00 | 603060.00 | 10.00 | 317400.00 | 25.00 | 793500.00 | 317400.00 | Manish Electricals
14.00 | Laying of one number PVC insulated and PVC sheated / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipes as required. Above 35 sq. mm and up to 95 sq. mm | 200.00 | Meter |  | 35.00 | 7000.00 | 20.00 | 4000.00 | 25.00 | 5000.00 | 4000.00 | Manish Electricals
15.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.(for control cable of 61core) Above 95 sq. mm and up to 185 sq. mm | 4000.00 | Meter |  | 60.00 | 240000.00 | 25.00 | 100000.00 | 25.00 | 100000.00 | 100000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED, Manish Electricals
16.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required Upto 35 sq. mm (clamped with 1mm thick saddle) | 300.00 | Meter |  | 30.00 | 9000.00 | 120.00 | 36000.00 | 25.00 | 7500.00 | 7500.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
17.00 | Kerfs cutting with machine in runway /taxiway of bituminous surface of suitable depth and width for secondary cable, laying of cable, and refilling the same with cement mortor and finishing with sealent material etc complete as required. | 400.00 | Meter |  | 450.00 | 180000.00 | 560.00 | 224000.00 | 380.00 | 152000.00 | 152000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
18.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/coke and salt as required. | 17.00 | Job |  | 8000.00 | 136000.00 | 7000.00 | 119000.00 | 12000.00 | 204000.00 | 119000.00 | Manish Electricals
19.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing cable as required | 17420.00 | Meter |  | 27.00 | 470340.00 | 25.00 | 435500.00 | 30.00 | 522600.00 | 435500.00 | Manish Electricals
20.00 | Supply of 5 KV, Cu grade plug and receptacle of type I class "B" connector suitable for field attachment with 5 KV grade PVC insulated PVC sheathed single core 6 Sq.mm copper conductor cable conforming to the relevant IS specification etc. complete as required | 60.00 | Nos |  | 450.00 | 27000.00 | 525.00 | 31500.00 | 650.00 | 39000.00 | 27000.00 | Techno Electricals
21.00 | Supply of 5 KV, Cu grade plug and receptacle of type I class "B" connector suitable for field attachment with 5 KV grade PVC insulated PVC sheathed single core 16 Sq.mm copper conductor cable conforming to the relevant IS specification etc. complete as | 50.00 | Nos |  | 450.00 | 22500.00 | 525.00 | 26250.00 | 650.00 | 32500.00 | 22500.00 | Techno Electricals
22.00 | Supply of 600 V grade plug and receptacle of type II, class 'B' connector and suitable field attachment with EPR insulated, PCP sheathed, two core copper conductor secondary cable 4 sq.mm as required. | 20.00 | Nos |  | 550.00 | 11000.00 | 400.00 | 8000.00 | 650.00 | 13000.00 | 8000.00 | Manish Electricals
23.00 | Making field connections by crimping 6 Sq.mm or 16Sq.mm plug and receptacle with existing single core PVC copper conductor PVC insulated, PVC sheathed cable/XLPE cable including filling the gap with water sealing compound, applying HT insulation tape, over which PVC tape etc. as required | 130.00 | Job |  | 100.00 | 13000.00 | 300.00 | 39000.00 | 200.00 | 26000.00 | 13000.00 | Techno Electricals
24.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 231.00 | Job |  | 350.00 | 80850.00 | 450.00 | 103950.00 | 950.00 | 219450.00 | 80850.00 | Techno Electricals
25.00 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 80.00 | Job |  | 450.00 | 36000.00 | 450.00 | 36000.00 | 750.00 | 60000.00 | 36000.00 | Techno Electricals, Manish Electricals
26.00 | Supply installation of FRP fully weather protected outdoor feeder box (IP65) having a cable entry of minimum 35 Sq. mm with TPN 40A 25 KVA MCCB as required. (for WDI LDI cable joint ) | 2.00 | Job |  | 10000.00 | 20000.00 | 25000.00 | 50000.00 | 7000.00 | 14000.00 | 14000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
27.00 | Supply of 15 Watts 6.6/6.6 Amps 5KV grade 50 Hz series type isolating transformer conforming to relevant IS, encapsulated in polyster resin finally moulded with neoprene type rubber with primary & secondary connections as specified in particular specifications complete as required. | 15.00 | Nos |  | 3000.00 | 45000.00 | 3000.00 | 45000.00 | 3200.00 | 48000.00 | 45000.00 | Techno Electricals, Manish Electricals
28.00 | Supply of cast iron isolating Transformer housing box, water tight round type, metal container of outside size 330 mm dia, height 450 mm made of 10 mm thick cast iron moulding all round, except the top surface, which is 15 mm thick, cast iron moulding suitable to receive a light fitting base plate on the top and underground housing associated with transformer, power cable and having two holes opposite as per site requirement at the periphery, centre 75 mm above bottom surface suitable to receive 50 mm dia HDPE/medium class G.I pipe and one no of suitable hole to receive 15mm B class G.I pipe for loop earthing as required as required. The box should have two SS earh bolts of M10x40 mm tapped inside near the hole (4" away from hole centre) and having drain hole at the bottom suitably tapped to receive 15mm dia GI pipe and having clear opening of 220 mm at the top surface and 06 Nos. M10 tapped hole having centre to centre distance of 260mm alongwith bolts as required as per the drawings. Double Hole CI Housing Box | 12.00 | Nos |  | 5400.00 | 64800.00 | 5400.00 | 64800.00 | 5800.00 | 69600.00 | 64800.00 | Techno Electricals, Manish Electricals
29.00 | Installation of Transformer Housing Box with a base concrete of 1:3:6 of size 630x630x100mm thick all round concrete of 1:2:4, 150mm thick, the top sloppedd with 1:2:4 cement concrete including providing and fixing 250mm long 15mm dia. "B" class GI pipe with check nut for drainage of water including excavation of side shoulder and refilling etc. complete as required. | 12.00 | Job |  | 3000.00 | 36000.00 | 3000.00 | 36000.00 | 3000.00 | 36000.00 | 36000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED, Techno Electricals, Manish Electricals
30.00 | Supply of FAA and ICAO complied inset type Omni directional 8" dia, medium intensity LED Taxi light complete with vulcanised plug for connection to isolating transformer, lamp holder assembly , blue prism with stopper & gaskets, O-ring, washers , brass cable gland assembly, upper and lower cover etc and all other accessories complete as required complying with relevant FAA and ICAO standards. | 6.00 | Nos |  | 40000.00 | 240000.00 | 54000.00 | 324000.00 | 53000.00 | 318000.00 | 240000.00 | Techno Electricals
31.00 | Supply of FAA and ICAO complined LED lamp& Driver assembly for Inset fitting taxi way light fitting complete as required. | 2.00 | Nos |  | 14000.00 | 28000.00 | 15000.00 | 30000.00 | 20000.00 | 40000.00 | 28000.00 | Techno Electricals
32.00 | Inset fitting spares Prismatic Blue lens | 2.00 | Nos |  | 8500.00 | 17000.00 | 3000.00 | 6000.00 | 6000.00 | 12000.00 | 6000.00 | Manish Electricals
33.00 | Installation testing commissioning of Remote control pannel Cum display unit at control tower suitable for remote operation of constant current regulators and comprise of the following including interconnections etc. With terminal block etc. complete as required. | 1.00 | Job |  | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 300000.00 | 300000.00 | 15000.00 | Techno Electricals, Manish Electricals
34.00 | Installation testing and commissioning of Crash siren (Horizontal Double mounting carbon brush less AC motor) along with wiring (Supply and Laying) with 2.5Sq.mm X 3 C FRLS copper cable on existing cable tray or Wall along with fixing of 10A DP MCB in industrial MCB Box including termination with proper lugs and installation of push siren button . suitable for operation at 240V 50 hz AC supply and audible range range should of 3 Km. | 1.00 | Job |  | 5000.00 | 5000.00 | 8000.00 | 8000.00 | 20000.00 | 20000.00 | 5000.00 | Techno Electricals
35.00 | Installation testing commissioning of Rotating beacon on top ATC tower with suitable civil foundation as per OEM specifications along with wiring (Supply and Laying) with 2.5Sq.mm X 3 C FRLS copper cable on existing cable tray or Wall along with fixing of 10A DP MCB in industrial MCB Box including termination with proper lugs etc as per specifications complete as required. | 1.00 | Job |  | 6528.00 | 6528.00 | 25000.00 | 25000.00 | 25000.00 | 25000.00 | 6528.00 | Techno Electricals
36.00 | Dismantalling, Shifting and re-installation of the following capacity microprocessor based CCR along with transportation from old power house to CCR room of new power house including securing and fixing with proper nut and bolts input and output cable connections , providing connection and required connector and other sundry items testing and comissioning etc. complete (reistallation at New CCR room includes required fabrication work like cutting of MS Chequred plate, making suitable frame with MS angle/ channel as required for installing CCR) as required. 4 kw | 8.00 | Job |  | 10000.00 | 80000.00 | 6000.00 | 48000.00 | 10000.00 | 80000.00 | 48000.00 | Manish Electricals
37.00 | Dismantalling, Shifting and re-installation of the following capacity microprocessor based CCR along with transportation from old power house to CCR room of new power house including securing and fixing with proper nut and bolts input and output cable connections , providing connection and required connector and other sundry items testing and comissioning etc. complete (reistallation at New CCR room includes required fabrication work like cutting of MS Chequred plate, making suitable frame with MS angle/ channel as required for installing CCR) as required. 7.5 kw | 5.00 | Job |  | 10000.00 | 50000.00 | 7000.00 | 35000.00 | 10000.00 | 50000.00 | 35000.00 | Manish Electricals
38.00 | Dismantalling, Shifting and re-installation of the following capacity microprocessor based CCR along with transportation from old power house to CCR room of new power house including securing and fixing with proper nut and bolts input and output cable connections , providing connection and required connector and other sundry items testing and comissioning etc. complete (reistallation at New CCR room includes required fabrication work like cutting of MS Chequred plate, making suitable frame with MS angle/ channel as required for installing CCR) as required. 20 Kw | 3.00 | Job |  | 10000.00 | 30000.00 | 12000.00 | 36000.00 | 10000.00 | 30000.00 | 30000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED, Techno Electricals
39.00 | Installation, Testing and Commissioning of inset fitting with core cutting, aligning and setting i/c providing sealing material and installation of Isolating Transformers, Crimping / Jointing of Plug receptacles, laying of secondary lead in existing GI pipe in groove i/c cutting and sealing of groove and other accessories required for commissioning i/c supply of all materials except fixture, secondary lead, plug and receptacles and isolating transformer etc. as required. | 6.00 | Job |  | 6000.00 | 36000.00 | 7500.00 | 45000.00 | 10000.00 | 60000.00 | 36000.00 | Techno Electricals
40.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 50.00 | CUM |  | 1200.00 | 60000.00 | 1000.00 | 50000.00 | 2000.00 | 100000.00 | 50000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 15017738.00 |  | 18695980.00 |  | 17317990.00
Lowest Amount Quoted BY: Techno Electricals(15017738.00)

## BOQ Summary
BOQ Summary Details Tender Title: Extension of Runway with Blast pad, RESA, Taxiway apron, GSE Area, Isolation Bay, Tender ID: 2023_AAI_150227_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals | 15017738.00 | L1
| 2 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED | 17317990.00 | L2
| 3 | Manish Electricals | 18695980.00 | L3