## BoQ1
Government eProcurement System Created By: SUDHAKARA NAIK Created Date/Time: 10-Apr-2023 03:17 PM Tender Title: AICMC including running, operation and Day to Day maintenance contract of Water Treatment Plant (WTP), Sewage Treatment Plant (STP) - 50KLD and Water Pumping System at Belagavi Airport. Tender ID: 2023_AAI_150389_1
Tender Inviting Authority: AGM (E-E), AAI, Belagavi Airport
Name of Work: AICMC including running, operation and Day to Day maintenance contract of Water Treatment Plant (WTP), Sewage Treatment Plant (STP) - 50KLD and Water Pumping System at Belagavi Airport.
Contract No: TENDER ID: - 2023_AAI_150389_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | GLOBAL TECH SERVICES(GSTN-29BFQPD1799R2Z9)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SEWAGE TREATMENT PLANT (STP) :
1.01 | Providing operational & maintenance services of various E & M installations of Sewage Treatment Plant (STP), Residential colony Sewage Pumping (inventory detailed in Annexure "A") and Airport (Operational area, terminal building and non-operational area) including day to day operation, attending faults, complaints, Up-keep, preventive maintenance as per OEM manuals, as per “Annexure-B", maintenance & operation manual of AAI in shifts & general duty on all days around the year i/c Sundays and Holidays with safety Gear, Updating Log Books, ensuring output treated product quality chemical testing /sample analysis / corrective actions (Treatment Chemicals supplied under AICMC) confirming to Special Conditions of Contract & technical specifications and as directed by Engineer-In-Charge as required. | 24.00 | MONTH | 100.00 | 109900.00 | 2637600.00 | 100000.00 | 2400000.00 | 2400000.00 | GLOBAL TECH SERVICES
1.02 | All-inclusive Comprehensive maintenance contract (AICMC) of Sewage Treatment Plant (STP), Residential colony Sewage Pumping Airport including pumps, motors, carbon filter, sand filter, all other accessories and spare parts etc. as per OEM recommendations, preventive maintenance, break down maintenance, Servicing, Testing, Inspection, Providing required quantity of chemicals for Output Product parameters complying to Statutory Standards, Treatment Chemicals, Submission of water test report, painting of metal Structures annually complying to Statutory Standards, as per Special Conditions & Technical Specification in Tender Document etc. complete as required. | 24.00 | MONTH | 100.00 | 12000.00 | 288000.00 | 37300.00 | 895200.00 | 288000.00 | Manish Electricals
2.00 | WATER TREATMENT PLANT (WTP) & WATER PUMPING SYSTEM :
2.01 | Providing operational & maintenance services of various E & M installations of Water Treatment Plant (WTP), Various water pumping systems & Borewells (inventory detailed in Annexure "A") and Airport (Operational area, terminal building and non-operational area) including day to day operation, attending faults, complaints, Up-keep, preventive maintenance as per OEM manuals, as per “Annexure-B", maintenance & operation manual of AAI in shifts & general duty on all days around the year i/c Sundays and Holidays with safety Gear, Updating Log Books, ensuring output treated product quality chemical testing /sample analysis / corrective actions (Treatment Chemicals supplied under AICMC) confirming to Special Conditions of Contract & technical specifications and as directed by Engineer-In-Charge as required. | 24.00 | MONTH | 10.00 | 54550.00 | 1309200.00 | 50000.00 | 1200000.00 | 1200000.00 | GLOBAL TECH SERVICES
2.02 | All-inclusive Comprehensive maintenance contract (AICMC) of Water Treatment Plant (WTP), Various water pumping systems in pump houses & Borewells in Airport including pumps, motors, carbon filter, sand filter, all other accessories and spare parts etc. as per OEM recommendations, preventive maintenance, break down maintenance, Servicing, Testing, Inspection, Output Product parameters providing required quantity of chemicals for maintaining PH value etc. within limits, submission of water test report, painting complying to Statutory Standards, Treatment Chemicals as per Special Conditions & Technical Specification in Tender Document etc. complete as required. | 24.00 | MONTH | 10.00 | 12000.00 | 288000.00 | 20000.00 | 480000.00 | 288000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 4522800.00 |  | 4975200.00
Lowest Amount Quoted BY: Manish Electricals(4522800.00)

## BOQ Summary
BOQ Summary Details Tender Title: AICMC including running, operation and Day to Day maintenance contract of Water Treatment Plant (WTP), Sewage Treatment Plant (STP) - 50KLD and Water Pumping System at Belagavi Airport. Tender ID: 2023_AAI_150389_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 4522800.00 | L1
| 2 | GLOBAL TECH SERVICES | 4975200.00 | L2