## BoQ1
Government eProcurement System Created By: ASHISH PANDEY Created Date/Time: 19-May-2023 12:39 PM Tender Title: Miscellaneous Capital Works at Prayagraj Airport. Tender ID: 2023_AAI_150572_1
Tender Inviting Authority: Manager (E-C)
Name of Work: Miscellaneous Capital Works at Prayagraj Airport.
Contract No: 2023_AAI_150572_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AYODHYA CONSTRUCTION(GSTN-23APUPK7696F1Z8) |  | Harbhajan singh khanuja(GSTN-23AGTPS4859A1Z3)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 226.00 | Cum | 100.00 | 150.00 | 33900.00 | 160.00 | 36160.00 | 33900.00 | AYODHYA CONSTRUCTION
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 119.00 | Cum | 100.00 | 100.00 | 11900.00 | 110.00 | 13090.00 | 11900.00 | AYODHYA CONSTRUCTION
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of entering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | 72.00 | Cum | 10.00 | 5200.00 | 374400.00 | 5500.00 | 396000.00 | 374400.00 | AYODHYA CONSTRUCTION
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 cement : 4 fine sand : 8 graded stone aggregate 40 mm nominal size) | 14.00 | Cum | 10.00 | 5000.00 | 70000.00 | 5500.00 | 77000.00 | 70000.00 | AYODHYA CONSTRUCTION
5.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 43.00 | Cum | 10.00 | 6500.00 | 279500.00 | 6650.00 | 285950.00 | 279500.00 | AYODHYA CONSTRUCTION
6.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 11.00 | Cum | 10.00 | 7000.00 | 77000.00 | 6500.00 | 71500.00 | 71500.00 | Harbhajan singh khanuja
7.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 40.00 | Cum | 10.00 | 7000.00 | 280000.00 | 7500.00 | 300000.00 | 280000.00 | AYODHYA CONSTRUCTION
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 141.00 | Sqm | 10.00 | 300.00 | 42300.00 | 400.00 | 56400.00 | 42300.00 | AYODHYA CONSTRUCTION
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 216.00 | Sqm | 10.00 | 400.00 | 86400.00 | 410.00 | 88560.00 | 86400.00 | AYODHYA CONSTRUCTION
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 111.00 | Sqm | 10.00 | 500.00 | 55500.00 | 525.00 | 58275.00 | 55500.00 | AYODHYA CONSTRUCTION
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 126.00 | Sqm | 10.00 | 400.00 | 50400.00 | 425.00 | 53550.00 | 50400.00 | AYODHYA CONSTRUCTION
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Edges of slabs and breaks in floors and walls Under 20 cm wide | 25.00 | Mtr. | 100.00 | 100.00 | 2500.00 | 110.00 | 2750.00 | 2500.00 | AYODHYA CONSTRUCTION
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 5317.00 | Kg | 100.00 | 76.00 | 404092.00 | 77.00 | 409409.00 | 404092.00 | AYODHYA CONSTRUCTION
14.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 6306.00 | Kg | 10.00 | 76.00 | 479256.00 | 78.00 | 491868.00 | 479256.00 | AYODHYA CONSTRUCTION
15.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 10.00 | Cum | 10.00 | 5500.00 | 55000.00 | 6000.00 | 60000.00 | 55000.00 | AYODHYA CONSTRUCTION
16.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 25.00 | Cum | 10.00 | 6000.00 | 150000.00 | 6500.00 | 162500.00 | 150000.00 | AYODHYA CONSTRUCTION
17.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 8.00 | Each | 10.00 | 250.00 | 2000.00 | 250.00 | 2000.00 | 2000.00 | AYODHYA CONSTRUCTION, Harbhajan singh khanuja
18.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm | 8.00 | Each | 10.00 | 100.00 | 800.00 | 120.00 | 960.00 | 800.00 | AYODHYA CONSTRUCTION
19.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm | 48.00 | Each | 10.00 | 75.00 | 3600.00 | 78.00 | 3744.00 | 3600.00 | AYODHYA CONSTRUCTION
20.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 48.00 | Each | 10.00 | 60.00 | 2880.00 | 60.00 | 2880.00 | 2880.00 | AYODHYA CONSTRUCTION, Harbhajan singh khanuja
21.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. : Twin rubber stopper | 8.00 | Each | 10.00 | 60.00 | 480.00 | 65.00 | 520.00 | 480.00 | AYODHYA CONSTRUCTION
22.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 105.00 | Kg. | 10.00 | 100.00 | 10500.00 | 110.00 | 11550.00 | 10500.00 | AYODHYA CONSTRUCTION
23.00 | Steel work in built up tubular (round, square or rectangular hollow tubes tc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 8207.00 | Kg. | 100.00 | 115.00 | 943805.00 | 118.00 | 968426.00 | 943805.00 | AYODHYA CONSTRUCTION
24.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. : In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 4806.00 | Kg. | 100.00 | 100.00 | 480600.00 | 112.00 | 538272.00 | 480600.00 | AYODHYA CONSTRUCTION
25.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 1000.00 | Kg | 10.00 | 115.00 | 115000.00 | 118.00 | 118000.00 | 115000.00 | AYODHYA CONSTRUCTION
26.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer.: M.S. tube | 679.00 | Kg. | 10.00 | 115.00 | 78085.00 | 118.00 | 80122.00 | 78085.00 | AYODHYA CONSTRUCTION
27.00 | Providing and fixing matt finish stainless steel ( Grade 304) Railing/ Barriers made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts, rollers complete, as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 2888.00 | Kg | 10.00 | 550.00 | 1588400.00 | 570.00 | 1646160.00 | 1588400.00 | AYODHYA CONSTRUCTION
28.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement including cement slurry, butt excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate. | 56.00 | Sqm | 10.00 | 400.00 | 22400.00 | 425.00 | 23800.00 | 22400.00 | AYODHYA CONSTRUCTION
29.00 | 12 mm cement plaster of mix 1:6 (1 cement : 6 fine sand) | 125.00 | Sqm | 10.00 | 220.00 | 27500.00 | 230.00 | 28750.00 | 27500.00 | AYODHYA CONSTRUCTION
30.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement : 6 fine sand) | 74.00 | Sqm | 10.00 | 250.00 | 18500.00 | 255.00 | 18870.00 | 18500.00 | AYODHYA CONSTRUCTION
31.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 252.00 | Sqm | 10.00 | 200.00 | 50400.00 | 220.00 | 55440.00 | 50400.00 | AYODHYA CONSTRUCTION
32.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade: Two or more coats on new work | 72.00 | Sqm | 10.00 | 100.00 | 7200.00 | 110.00 | 7920.00 | 7200.00 | AYODHYA CONSTRUCTION
33.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 394.00 | Sqm | 10.00 | 100.00 | 39400.00 | 115.00 | 45310.00 | 39400.00 | AYODHYA CONSTRUCTION
34.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 626.00 | Sqm | 100.00 | 100.00 | 62600.00 | 117.00 | 73242.00 | 62600.00 | AYODHYA CONSTRUCTION
35.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 1.00 | Cum | 100.00 | 9000.00 | 9000.00 | 8500.00 | 8500.00 | 8500.00 | Harbhajan singh khanuja
36.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 520.00 | Sqm | 10.00 | 750.00 | 390000.00 | 735.00 | 382200.00 | 382200.00 | Harbhajan singh khanuja
37.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 420.00 | Kg | 10.00 | 450.00 | 189000.00 | 480.00 | 201600.00 | 189000.00 | AYODHYA CONSTRUCTION
38.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 420.00 | Kg | 10.00 | 550.00 | 231000.00 | 575.00 | 241500.00 | 231000.00 | AYODHYA CONSTRUCTION
39.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge. Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | 6.00 | Sqm | 10.00 | 900.00 | 5400.00 | 850.00 | 5100.00 | 5100.00 | Harbhajan singh khanuja
40.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 47.00 | Sqm | 10.00 | 1200.00 | 56400.00 | 1150.00 | 54050.00 | 54050.00 | Harbhajan singh khanuja
41.00 | Providing and fixing 16 mm thick 3 wall Polycarbonate sheet (minimum weight 2.70 Kg Per Sqmtr.) of approved make and shade having both side 50 microns UV coating to maintain the yellow Index, having minimum cold bending radius 2400 mm, Heat Transfer Coefficient Ug 2.3 w/m2k, Coefficient of thermal 0.065 mm/m °C, to sustain the maximum Service temperature of -40° C to +120° C (without load) , Sheet shall be fixed at Top & Bottom with approved Aluminium profile Section (Minimum weight 1.1 kg./mtr.). The sheets must be fastened to the structure using specific washers with a seal to guarantee a watertight finish and allow the material to expand due to changes in temperature.The above arrangement i.e. is polycarbonate sheet with end profile and aluminium profile section shall be fixed on MS truss system in required slope and pattern all complete as per direction of Engineer-in-Charge. The rate is inclusive of adhesive steel tapes for the closing of the cells, EPDM rubber gasket, sealant to avoid leakage, connectors, washers, spacers, fasteners, panel caps, brackets, screws, screw caps, aluminium sections/profiles ,T&P, machinary, manpower, scaffoldings, loading, unloading, freight, octori etc. all complete. For payment purpose the length and breadth of polycarbonate sheet shall be measured correct to a cm and its area shall be calculated in square metres correct to two places of decimal. However supporting M.S. member i.e. M.S. truss system, purlin, rafters and M.S. post/column, M.S. base plate, M.S. gusset plate etc shall be measured and paid separately under respective items. | 189.00 | Sqm | 10.00 | 2500.00 | 472500.00 | 2475.00 | 467775.00 | 467775.00 | Harbhajan singh khanuja
42.00 | Excavation in soil with hydraulic excavator including cutting and loading in tippers, trimming bottom and side slopes, in accordance with requirements of lines, grades and cross sections and transporting to the embankment location within all leads and lifts within AIrport premises | 173.00 | Cum | 10.00 | 50.00 | 8650.00 | 80.00 | 13840.00 | 8650.00 | AYODHYA CONSTRUCTION
43.00 | Consolidation of sub grade including making good the undulations etc. to achieved compaction requirements as per MORTH and disposal of surplus earthwith lead upto 50 metres. | 525.00 | Sqm | 10.00 | 5.00 | 2625.00 | 10.00 | 5250.00 | 2625.00 | AYODHYA CONSTRUCTION
44.00 | Providing and fixing 6mm thick Stainless Steel Plate of Grade 304 matt finish with the help of minimum 4 no. of holes of 8mm/10mm dia with Stainless steel screws of suitable length and dia to fix the plate in firm position. The nos. of screws may increase depending upon the plate area. All edges must be mirror grinded and duly chamfered and plate must be fixed finished with floor, including drilling holes in floor all complete as per direction and satisfaction of Engineer-in-Charge. | 1439.00 | Kg | 10.00 | 600.00 | 863400.00 | 610.00 | 877790.00 | 863400.00 | AYODHYA CONSTRUCTION
45.00 | Providing and Fixing Stainless Steel Grade 316 Tactile Warning Studs of dimension 35mm x 25mm x 4.5 mm and stem 6mm x 12m using epoxy glue, drilling, etc. all complete as per technical specifications and direction of Engineer-in-Charge. The holes shall be sufficient deep and wide for filling of adequated quantity of epoxy glue of approved make and specification for intact and firm fixing of the stud without any looseness. | 35490.00 | Each | 100.00 | 60.00 | 2129400.00 | 62.00 | 2200380.00 | 2129400.00 | AYODHYA CONSTRUCTION
46.00 | Providing and Fixing SS 316 Tactile Directional Strips of dimension 280mm x 35mm x 4.5 mm and stem 6mm x 12m using epoxy glue, drilling, etc. all complete as per technical specifications and direction of Engineer-in-Charge. The holes shall be sufficient deep and wide for filling of adequated quantity of epoxy glue of approved make and specification for intact and firm fixing of the strips without any looseness. | 5663.00 | Each | 100.00 | 350.00 | 1982050.00 | 345.00 | 1953735.00 | 1953735.00 | Harbhajan singh khanuja
47.00 | Providing and supplying "May I Help You Counter/Airport Helpdesk" as per drawing given in Tender Document for this item all complete as per direction and satisfaction of EIC. The thickness of MDF shall be 18mm for Frame and 12mm for racks. Thickness of Acrylic Sheet shall be 4mm and thickness of metal for signage shall be 4mm. Other details and technical specifications of table are mentioned at PN.... of Tender Document. | 1.00 | Each | 10.00 | 125000.00 | 125000.00 | 175000.00 | 175000.00 | 125000.00 | AYODHYA CONSTRUCTION
48.00 | Providing Engineering Consultancy for Structural Design of the MS Structure and foundation for Canopy (as per Drawing given in Tender Document for this item) as per relevant codes including preparation of structural designs, detailed working drawings, shop drawings and providing 04 set of all drawings in colour copy in A2 size including soft copy and its Autocad file in pendrive. All designs and drawing to be vetted by IIT/ NIT/ Govt. Engineering college by the Consultancy as directed by Engineer-In-Charge and the Agency shall include its cost also while quoting its rates. | 1.00 | Job | 10.00 | 25000.00 | 25000.00 | 30000.00 | 30000.00 | 25000.00 | AYODHYA CONSTRUCTION
49.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 15.00 | Point | 10.00 | 1100.00 | 16500.00 | 1150.00 | 17250.00 | 16500.00 | AYODHYA CONSTRUCTION
50.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 8 Module (125mmX125mm) | 5.00 | Each | 10.00 | 350.00 | 1750.00 | 326.00 | 1630.00 | 1630.00 | Harbhajan singh khanuja
51.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A switch | 5.00 | Each | 10.00 | 80.00 | 400.00 | 75.00 | 375.00 | 375.00 | Harbhajan singh khanuja
52.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A switch | 5.00 | Each | 10.00 | 120.00 | 600.00 | 110.00 | 550.00 | 550.00 | Harbhajan singh khanuja
53.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 A socket outlet | 5.00 | Each | 10.00 | 100.00 | 500.00 | 112.00 | 560.00 | 500.00 | AYODHYA CONSTRUCTION
54.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 A socket outlet | 5.00 | Each | 10.00 | 150.00 | 750.00 | 155.00 | 775.00 | 750.00 | AYODHYA CONSTRUCTION
55.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 25.00 | Meter | 10.00 | 190.00 | 4750.00 | 185.00 | 4625.00 | 4625.00 | Harbhajan singh khanuja
56.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 25.00 | Meter | 10.00 | 240.00 | 6000.00 | 230.00 | 5750.00 | 5750.00 | Harbhajan singh khanuja
57.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 Kv grade of following size in the existing RCC/ HUM/METAL pipe as required Upto 35 sq. mm | 600.00 | Metre | 10.00 | 50.00 | 30000.00 | 45.00 | 27000.00 | 27000.00 | Harbhajan singh khanuja
58.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 Kv grade of following size on wall surface as required Upto 35 sq. mm(clamped with 1mm thick saddle) | 80.00 | Metre | 10.00 | 40.00 | 3200.00 | 45.00 | 3600.00 | 3200.00 | AYODHYA CONSTRUCTION
59.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. in the existing trench, complete as required. 63mm dia | 600.00 | Metre | 10.00 | 200.00 | 120000.00 | 194.00 | 116400.00 | 116400.00 | Harbhajan singh khanuja
60.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 2 X 6 sq. mm (19mm) | 27.00 | Each | 10.00 | 210.00 | 5670.00 | 202.00 | 5454.00 | 5454.00 | Harbhajan singh khanuja
61.00 | Supplying of wall mounted fan, 300mm sweep as per approved make. | 5.00 | Each | 10.00 | 2700.00 | 13500.00 | 2700.00 | 13500.00 | 13500.00 | AYODHYA CONSTRUCTION, Harbhajan singh khanuja
62.00 | Supplying of tube light fittings of 20W. | 10.00 | Each | 10.00 | 280.00 | 2800.00 | 275.00 | 2750.00 | 2750.00 | Harbhajan singh khanuja
63.00 | Supplying of 3X6 sq. mm PVC insulated and PVC sheathed/XLPE armoured copper cable of grade 1.1 Kv grade as required. | 700.00 | Metre | 10.00 | 400.00 | 280000.00 | 425.00 | 297500.00 | 280000.00 | AYODHYA CONSTRUCTION
64.00 | Supplying and fixing following way, single pole and neutral,sheet steel, MCB distribution board, 240 V, on surface/ recess,complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way , Double door | 5.00 | Each | 10.00 | 1450.00 | 7250.00 | 1400.00 | 7000.00 | 7000.00 | Harbhajan singh khanuja
65.00 | Supplying and fixing following rating, double pole, 240 V,isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 A | 5.00 | Each | 10.00 | 440.00 | 2200.00 | 450.00 | 2250.00 | 2200.00 | AYODHYA CONSTRUCTION
66.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C"curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 10.00 | Each | 10.00 | 180.00 | 1800.00 | 200.00 | 2000.00 | 1800.00 | AYODHYA CONSTRUCTION
67.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 10.00 | Each | 10.00 | 8.00 | 80.00 | 10.00 | 100.00 | 80.00 | AYODHYA CONSTRUCTION
68.00 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, G.I. tube, having single prong at top, with 85 mm dia 6 mm thick G.I. base plate including holes etc. complete as required. | 5.00 | Each | 10.00 | 415.00 | 2075.00 | 450.00 | 2250.00 | 2075.00 | AYODHYA CONSTRUCTION
69.00 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For horizontal run) | 25.00 | Meter | 10.00 | 95.00 | 2375.00 | 100.00 | 2500.00 | 2375.00 | AYODHYA CONSTRUCTION
70.00 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For vertical run) | 100.00 | Meter | 10.00 | 150.00 | 15000.00 | 180.00 | 18000.00 | 15000.00 | AYODHYA CONSTRUCTION
71.00 | Providing and fixing testing joint, made of 20 mm X 3 mm thick G.I. strip, 125 mm long, with 4 nos. of G.I. bolts, nuts, chuck nuts and spring washers etc. complete as required. | 5.00 | Each | 10.00 | 95.00 | 475.00 | 100.00 | 500.00 | 475.00 | AYODHYA CONSTRUCTION
72.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. (but without charcoal/ coke and salt ) as required. | 5.00 | Set | 10.00 | 4500.00 | 22500.00 | 5000.00 | 25000.00 | 22500.00 | AYODHYA CONSTRUCTION
73.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 50.00 | Meter | 10.00 | 430.00 | 21500.00 | 500.00 | 25000.00 | 21500.00 | AYODHYA CONSTRUCTION
| Total in Figures |  |  |  |  | 12957398.00 |  | 13388017.00
Lowest Amount Quoted BY: AYODHYA CONSTRUCTION(12957398.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Capital Works at Prayagraj Airport. Tender ID: 2023_AAI_150572_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AYODHYA CONSTRUCTION | 12957398.00 | L1
| 2 | Harbhajan singh khanuja | 13388017.00 | L2