## BoQ1
Government eProcurement System Created By: Sidhartha Bhasme Created Date/Time: 18-Apr-2023 06:15 PM Tender Title: Construction of Front Facade of New Domestic Terminal Building with local Black Basalt Stone with an influence of traditional and local Architectural design at Kolhapur Airport. Tender ID: 2023_AAI_150834_1
Tender Inviting Authority: <AGM (Engg.-Civil), Kolhapur Airport>
Name of Work: <Construction of Front Façade of New Domestic Terminal Building with local Black Basalt Stone with an influence of traditional & local Architectural design at Kolhapur Airport. >
Contract No: <0231-2677706, Tender Id- 2023_AAI_150834_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PRAVEEN MARUTI PATIL(GSTN-27AGFPP8886J1ZI) |  | M/s P N Nagane(GSTN-NA) |  | DURGA ENTERPRISES(GSTN-NA) |  | Classicon Projects India Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 447.00 | cum |  | 200.00 | 89400.00 | 250.00 | 111750.00 | 300.00 | 134100.00 | 200.00 | 89400.00 | 89400.00 | Classicon Projects India Pvt. Ltd., PRAVEEN MARUTI PATIL
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 324.00 | cum |  | 230.00 | 74520.00 | 250.00 | 81000.00 | 250.00 | 81000.00 | 180.00 | 58320.00 | 58320.00 | Classicon Projects India Pvt. Ltd.
3.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil | 256.00 | cum |  | 110.00 | 28160.00 | 100.00 | 25600.00 | 150.00 | 38400.00 | 100.00 | 25600.00 | 25600.00 | Classicon Projects India Pvt. Ltd., M/s P N Nagane
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 5.00 | cum |  | 6000.00 | 30000.00 | 5999.00 | 29995.00 | 7900.00 | 39500.00 | 7500.00 | 37500.00 | 29995.00 | M/s P N Nagane
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | 14.00 | cum |  | 5800.00 | 81200.00 | 5000.00 | 70000.00 | 7500.00 | 105000.00 | 6500.00 | 91000.00 | 70000.00 | M/s P N Nagane
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 85.00 | sqm |  | 325.00 | 27625.00 | 2000.00 | 170000.00 | 500.00 | 42500.00 | 350.00 | 29750.00 | 27625.00 | PRAVEEN MARUTI PATIL
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 261.00 | sqm |  | 390.00 | 101790.00 | 2500.00 | 652500.00 | 750.00 | 195750.00 | 580.00 | 151380.00 | 101790.00 | PRAVEEN MARUTI PATIL
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 257.00 | sqm |  | 500.00 | 128500.00 | 2500.00 | 642500.00 | 850.00 | 218450.00 | 750.00 | 192750.00 | 128500.00 | PRAVEEN MARUTI PATIL
9.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 13080.00 | kg |  | 80.00 | 1046400.00 | 75.00 | 981000.00 | 105.00 | 1373400.00 | 90.00 | 1177200.00 | 981000.00 | M/s P N Nagane
10.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 10260.00 | kg |  | 80.00 | 820800.00 | 75.00 | 769500.00 | 105.00 | 1077300.00 | 90.00 | 923400.00 | 769500.00 | M/s P N Nagane
11.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M30 grade with minimum cement content of 350 kg /cum | 109.00 | cum |  | 7950.00 | 866550.00 | 7500.00 | 817500.00 | 8500.00 | 926500.00 | 6500.00 | 708500.00 | 708500.00 | Classicon Projects India Pvt. Ltd.
12.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level Concrete of M30 grade with minimum cement content of 350 kg /cum | 57.00 | cum |  | 8960.00 | 510720.00 | 10000.00 | 570000.00 | 9500.00 | 541500.00 | 7500.00 | 427500.00 | 427500.00 | Classicon Projects India Pvt. Ltd.
13.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 42.00 | Quintal |  | 600.00 | 25200.00 | 800.00 | 33600.00 | 950.00 | 39900.00 | 500.00 | 21000.00 | 21000.00 | Classicon Projects India Pvt. Ltd.
14.00 | Brick work with local available size fly ash bricks of class designation 50 in superstructure above plinth level upto floor V level in all shapes and sizes in ; (a) Cement Mortar 1:6 (1 Cement : 6 Coarse sand) | 251.00 | cum |  | 7000.00 | 1757000.00 | 6500.00 | 1631500.00 | 6500.00 | 1631500.00 | 7500.00 | 1882500.00 | 1631500.00 | DURGA ENTERPRISES, M/s P N Nagane
15.00 | Stone work plain ashlar in arches in super structure upto floor V level in cement mortar 1:3 (1 cement : 3 coarse sand) including centering, shuttering and pointing with white cement mortar 1:2 (1 white cement : 2 stone dust) with an admixture of pigment matching the stone shade. Both face dressed Black Basalt Stone | 8.00 | cum |  | 100000.00 | 800000.00 | 130000.00 | 1040000.00 | 102500.00 | 820000.00 | 85000.00 | 680000.00 | 680000.00 | Classicon Projects India Pvt. Ltd.
16.00 | Stone work ashlar punched (ordinary) in superstructure upto floor five level in cement mortar 1:6 (1 white cement : 6 coarse sand) including pointing with white cement mortar 1:2 (1 white cement : 2 stone dust) with an admixture of pigment matching the stone shade. One face dressed Black Basalt Stone | 160.00 | cum |  | 45000.00 | 7200000.00 | 35000.00 | 5600000.00 | 82000.00 | 13120000.00 | 53000.00 | 8480000.00 | 5600000.00 | M/s P N Nagane
17.00 | Stone work ashlar sunk or moulded or sunk and moulded upto floor five level in cement mortar 1:6 (1 cement : 6 coarse sand) including pointing with white cement mortar 1:2 (1 white cement : 2 stone dust) with an admixture of pigment matching the stone shade : Black Basalt Stone | 52.00 | cum |  | 70000.00 | 3640000.00 | 35000.00 | 1820000.00 | 104140.00 | 5415280.00 | 75000.00 | 3900000.00 | 1820000.00 | M/s P N Nagane
18.00 | Extra for stone work ashlar sunk or moulded or sunk and moulded or carved in : Triangular or Square or rectangular pillars | 13.00 | cum |  | 5000.00 | 65000.00 | 15000.00 | 195000.00 | 6200.00 | 80600.00 | 6000.00 | 78000.00 | 65000.00 | PRAVEEN MARUTI PATIL
19.00 | Providing and fixing stone dowels 10x5x2.50 cm cut to double wedge shape as per design in cement mortar 1:2 (1 cement : 2 coarse sand), including making the necessary chases. | 100.00 | each |  | 500.00 | 50000.00 | 6000.00 | 600000.00 | 500.00 | 50000.00 | 60.00 | 6000.00 | 6000.00 | Classicon Projects India Pvt. Ltd.
20.00 | Providing and fixing black basalt stone inverted brackets 65.5x30x95 cm sunk and moulded including providing and fixing with 4 Nos gun metal cramp 25x6 mm 30 cm long | 82.00 | each |  | 10000.00 | 820000.00 | 8000.00 | 656000.00 | 12200.00 | 1000400.00 | 20000.00 | 1640000.00 | 656000.00 | M/s P N Nagane
21.00 | Stone work, plain in copings, cornices, string courses and plinth courses, upto 75 mm thick in Cement mortar 1:6 (1 cement : 6 coarse sand), including pointing with white cement mortar 1:2 (1 white cement : 2 stone dust) with an admixture of pigment matching the stone shade. Black Basalt Stone | 11.00 | cum |  | 75000.00 | 825000.00 | 75000.00 | 825000.00 | 104140.00 | 1145540.00 | 12000.00 | 132000.00 | 132000.00 | Classicon Projects India Pvt. Ltd.
22.00 | Providing and fixing cramps of required size & shape in RCC/ CC / Brick masonry backing with cement mortar 1:2 (1 cement : 2 coarse sand), including drilling necessary hole in stones and embedding the cramp in the hole (fastener to be paid separately). Gunmetal cramps | 19.00 | kg |  | 1000.00 | 19000.00 | 151.00 | 2869.00 | 1250.00 | 23750.00 | 700.00 | 13300.00 | 2869.00 | M/s P N Nagane
23.00 | Providing and fixing expansion hold fasteners on C.C. /R.C.C./Brick masonry surface backing including drilling necessary holes and the cost of bolt etc complete. Wedge expansion type Fastener with threaded dia 6 mm | 70.00 | each |  | 100.00 | 7000.00 | 1000.00 | 70000.00 | 180.00 | 12600.00 | 300.00 | 21000.00 | 7000.00 | PRAVEEN MARUTI PATIL
24.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 27.00 | sqm |  | 5000.00 | 135000.00 | 4000.00 | 108000.00 | 4600.00 | 124200.00 | 4500.00 | 121500.00 | 108000.00 | M/s P N Nagane
25.00 | Stone work (machine cut edges) for wall lining etc. (veneer work) upto 10 metre height, backing filled with a grout of average 12 mm thick cement mortar 1:3 (1 cement : 3 coarse sand) including pointing in white cement mortar 1:2 (1 white cement : 2 stone dust) with an admixture of pigment matching the stone shade : (To be secured to the backing and the sides by means of cramps and pins which shall be paid for separately) : Black Basalt stone - exposed face fine dressed with rough backing. Average 40mm thick | 181.00 | sqm |  | 5000.00 | 905000.00 | 6800.00 | 1230800.00 | 5600.00 | 1013600.00 | 7000.00 | 1267000.00 | 905000.00 | PRAVEEN MARUTI PATIL
26.00 | Providing and fixing dry cladding upto 10 metre heights with 30mm thick gang saw cut stone with machine cut edges of uniform colour and size upto 1mx1m, fixed to structural steel frame work and/ or with the help of cramps, pins etc. and sealing the joints with approved weather sealant as per Architectural drawing and direction of Engineer-in-charge. (The steel frame work, stainless steel cramps and pins etc. shall be paid for separately). Black Basalt stone - 30mm thick gang saw cut stone | 57.00 | sqm |  | 4000.00 | 228000.00 | 6800.00 | 387600.00 | 4400.00 | 250800.00 | 7000.00 | 399000.00 | 228000.00 | PRAVEEN MARUTI PATIL
27.00 | Providing and fixing structural steel frame (for dry cladding with 30 mm thick gang saw cut with machine cut edges sand stone) on walls at all heights using M.S. square/ rectangular tube in the required pattern as per architectural drawing, including cost of cutting, bending, welding etc. The frame work shall be fixed to the wall with the help of M.S. brackets/ lugs of angle iron/ flats etc. which shall be welded to the frame and embedded in brick wall with cement concrete block 1:2:4 (1 cement :2 coarse sand :4 graded stone aggregate 20 mm nominal size) of size 300x230x300 mm, including cost of necessary centring and shuttering and with approved expansion hold fasteners on CC/RCC surface, including drilling necessary holes. Approved cramps/ pins etc. shall be welded to the frame work to support stone cladding, the steel work will be given a priming coat of Zinc primer as approved by Engineer-in-charge and painted with two or more coats of epoxy paint (Shop drawings shall be submitted by the contractor to the Engineer-in-charge for approval before execution). The frame work shall be fixed in true horizontal & vertical lines/planes. (Only structural steel frame work shall be measured for the purpose of payment, stainless steel cramps shall be paid for separately and nothing extra shall be paid). | 481.00 | kg |  | 200.00 | 96200.00 | 105.00 | 50505.00 | 250.00 | 120250.00 | 180.00 | 86580.00 | 50505.00 | M/s P N Nagane
28.00 | Providing and fixing adjustable stainless steel cramps of approved quality, required shape and size, adjustable with stainless steel nuts, bolts and washer (total weight not less than 260 gms), for dry stone cladding fixed on frame work at suitable location, including making necessary recesses in stone slab, drilling required holes etc. complete as per direction of the Engineer-in-charge. | 150.00 | each |  | 1000.00 | 150000.00 | 1200.00 | 180000.00 | 565.00 | 84750.00 | 350.00 | 52500.00 | 52500.00 | Classicon Projects India Pvt. Ltd.
29.00 | Providing and fixing expandable fasteners of specified size with necessary plastic sleeves and galvanised M.S. screws including drilling holes in masonry work /CC/ R.C.C. and making good etc. complete. 40 mm long | 150.00 | each |  | 100.00 | 15000.00 | 1000.00 | 150000.00 | 120.00 | 18000.00 | 35.00 | 5250.00 | 5250.00 | Classicon Projects India Pvt. Ltd.
30.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 481.00 | kg |  | 125.00 | 60125.00 | 110.00 | 52910.00 | 210.00 | 101010.00 | 160.00 | 76960.00 | 52910.00 | M/s P N Nagane
31.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 5.40 | cum |  | 5000.00 | 27000.00 | 2000.00 | 10800.00 | 5000.00 | 27000.00 | 2000.00 | 10800.00 | 10800.00 | Classicon Projects India Pvt. Ltd., M/s P N Nagane
32.00 | Providing and fixing pigmented / coloured Glass Fibre Reinforced Concrete (GFRC) upto 50 mm thickness for cladding as per detailed Architectural Drawings over framework upto 10 mtr height (excluding cost of Structural Steel Frame work). Structural steel frame work shall be paid in Item no. 31 separately. NOTE: (i) Glass fibre shall be of make Aditya Birla UltraTech / OWENS Corning India or equivalent. (ii) GFRC work shall be carried out as per concept drawing for stone finish to match with Heritage Structures like Palace, Bhavani Mandap, Fort of Kolhapur City. (iii) Quartz sand /sand to be used in GFRC work shall be of good quality. (iv) Proper drainage arrangement shall be made. | 56.30 | sqm |  | 7000.00 | 394100.00 | 9000.00 | 506700.00 | 8500.00 | 478550.00 | 10000.00 | 563000.00 | 394100.00 | PRAVEEN MARUTI PATIL
33.00 | Providing and fixing black basalt stone module of flower sunk and moulded including providing and fixing with the side stone work of size 450x450x200 mm | 24.00 | each |  | 5000.00 | 120000.00 | 12000.00 | 288000.00 | 4500.00 | 108000.00 | 8000.00 | 192000.00 | 108000.00 | DURGA ENTERPRISES
34.00 | Painting with clear lacquer paint sealer of approved brand and manufacture on hard stone work for chip-resistant, waterproof, and breathable upto floor V level including deep cleaning of stone surface all complete as per direction of Engg-In-charge: Two coats | 1151.20 | sqm |  | 225.00 | 259020.00 | 650.00 | 748280.00 | 1068.40 | 1229942.08 | 300.00 | 345360.00 | 259020.00 | PRAVEEN MARUTI PATIL
| Total in Figures |  |  |  |  | 21403310.00 |  | 21108909.00 |  | 31669072.08 |  | 23886050.00
Lowest Amount Quoted BY: M/s P N Nagane(21108909.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Front Facade of New Domestic Terminal Building with local Black Basalt Stone with an influence of traditional and local Architectural design at Kolhapur Airport. Tender ID: 2023_AAI_150834_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s P N Nagane | 21108909.00 | L1
| 2 | PRAVEEN MARUTI PATIL | 21403310.00 | L2
| 3 | Classicon Projects India Pvt. Ltd. | 23886050.00 | L3
| 4 | DURGA ENTERPRISES | 31669072.08 | L4