## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 18-May-2023 12:42 PM Tender Title: SITC of VRV / VRF based cassette type Air Conditioners at SHA with provision of air curtains and replacement of old ductable AC at VIP lounge at Silchar Airport Tender ID: 2023_AAI_151053_1
Tender Inviting Authority: Asstt. G.M. (Engg-Electrical), AAI, Silchar Airport.
Name of Work: SITC of VRV / VRF based cassette type Air Conditioners at SHA with provision of air curtains and replacement of old ductable AC at VIP lounge at Silchar Airport.
Tender Id: 2023_AAI_151053_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SARKARTRADING CORPORATION(GSTN-18AUSPS3784P1Z9) |  | RS COOLING APPLIANCES(GSTN-18AALFR2502H3Z8) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | vaderas interiors and exteriors(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | VRV SYSTEM OUTDOOR UNITS Supply of Modular type outdoor units equipped with high efficient scroll compressors, with all inverter type compressors, acrylic pre-coated heat exchanger having high efficiency coil design, low noise condenser fan coupled with variable speed motor, auto check-function for connection error, auto addressing Including required no. of multi connection piping kit Refrigerant Gas with eco friendly R410a complete as required. (2 Units to be provided. Total minimum 32 HP) | 1.00 | Each | 0.00 | 612000.00 | 612000.00 | 1240000.00 | 1240000.00 | 720000.00 | 720000.00 | 665000.00 | 665000.00 | 612000.00 | SARKARTRADING CORPORATION
2.00 | INDOOR UNITS Supply of VRV ceiling suspended Cassettes type indoor unit with fan motor, 3 step speed control, in built electronic expansion valve, washable filter,lnbuiIt Drain Pump and thermal protector for fan motor complete as required. 3 TR or above | 10.00 | Each | 0.00 | 42140.00 | 421400.00 | 55000.00 | 550000.00 | 32300.00 | 323000.00 | 45000.00 | 450000.00 | 323000.00 | VOLKS ENERGIE PVT LTD
3.00 | Remotes and Controls: Supply of Cordless Remote for Cassettes Type Indoor units complete as required. | 10.00 | Each | 0.00 | 800.00 | 8000.00 | 1100.00 | 11000.00 | 1317.00 | 13170.00 | 2000.00 | 20000.00 | 8000.00 | SARKARTRADING CORPORATION
4.00 | Remotes and Controls: Supply of Refnet joints for branching of refrigerant complete as required. | 9.00 | Each | 0.00 | 3200.00 | 28800.00 | 5500.00 | 49500.00 | 3000.00 | 27000.00 | 5600.00 | 50400.00 | 27000.00 | VOLKS ENERGIE PVT LTD
5.00 | LOW SIDE AIR CONDITIONING WORK: OUTDOOR UNITS Installation, Testing and Commissioning of minimum 32 HP (consisting of 2 units) Modular type outdoor units equipped with high efficient scroll compressors, with all inverter type compressors. Refrigerant Gas should be eco friendly R410a complete as required. | 1.00 | Job | 0.00 | 50000.00 | 50000.00 | 100000.00 | 100000.00 | 64000.00 | 64000.00 | 88500.00 | 88500.00 | 50000.00 | SARKARTRADING CORPORATION
6.00 | INDOOR UNITS Installation, Testing and Commissioning of VRV ceiling suspended Cassettes type indoor unit with fan motor, 3 step speed control, in built electronic expansion valve, washable filter, Inbuilt Drain Pipe and thermal protector for fan motor complete as required. | 10.00 | Job | 0.00 | 3000.00 | 30000.00 | 5000.00 | 50000.00 | 11000.00 | 110000.00 | 4100.00 | 41000.00 | 30000.00 | SARKARTRADING CORPORATION
7.00 | Installation, testing & commissioning of Refnet joints for branching of Refrigerant Piping complete as required. | 9.00 | Each | 0.00 | 20.00 | 180.00 | 500.00 | 4500.00 | 15000.00 | 135000.00 | 690.00 | 6210.00 | 180.00 | SARKARTRADING CORPORATION
8.00 | VRV Refrigerant Piping: Supply, installation, testing & commissioning of copper piping for VRV system with necessary fittings and Supports and with nitrile rubber tubular insulation of suitable thickness complete as required. | 210.00 | Mtr | 0.00 | 1834.00 | 385140.00 | 1550.00 | 325500.00 | 1500.00 | 315000.00 | 3100.00 | 651000.00 | 315000.00 | VOLKS ENERGIE PVT LTD
9.00 | Supply & installation of communication cable of following size from indoor to outdoor unit for complete as required. 2 core x 1.5 Sq.mm flexible cable | 294.00 | Mtr | 0.00 | 92.00 | 27048.00 | 180.00 | 52920.00 | 80.00 | 23520.00 | 250.00 | 73500.00 | 23520.00 | VOLKS ENERGIE PVT LTD
10.00 | Drain Piping: Supply, Installation and Commissioning of PVC piping complete with fittings, supports as per specifications and insulated with 9.0 mm thick nitrile insulation etc., complete as per technical specifications complete as required. (a) 25mm dia | 90.00 | Mtr | 0.00 | 189.00 | 17010.00 | 195.00 | 17550.00 | 120.00 | 10800.00 | 220.00 | 19800.00 | 10800.00 | VOLKS ENERGIE PVT LTD
11.00 | Drain Piping: Supply, Installation and Commissioning of PVC piping complete with fittings, supports as per specifications and insulated with 9.0 mm thick nitrile insulation etc., complete as per technical specifications complete as required. (b) 32mm dia | 50.00 | Mtr | 0.00 | 211.00 | 10550.00 | 225.00 | 11250.00 | 150.00 | 7500.00 | 248.00 | 12400.00 | 7500.00 | VOLKS ENERGIE PVT LTD
12.00 | Supply, installation, testing & commissioning of MS frame work Outdoor unit with necessary supports complete as required. | 2.00 | Each | 0.00 | 8750.00 | 17500.00 | 15000.00 | 30000.00 | 5500.00 | 11000.00 | 9000.00 | 18000.00 | 11000.00 | VOLKS ENERGIE PVT LTD
13.00 | Electrical Cable Supply, installation, testing & commissioning of Electrical cable of following size complete as required. 3 Core x 2.5 Sq. mm Cu Cable | 100.00 | Mtr | 0.00 | 139.00 | 13900.00 | 220.00 | 22000.00 | 110.00 | 11000.00 | 193.00 | 19300.00 | 11000.00 | VOLKS ENERGIE PVT LTD
14.00 | Supply & providing of Additional gas charging for VRV System complete as required. | 28.00 | Kg | 0.00 | 1630.00 | 45640.00 | 1250.00 | 35000.00 | 1000.00 | 28000.00 | 1310.00 | 36680.00 | 28000.00 | VOLKS ENERGIE PVT LTD
15.00 | Air Curtains: Supply, Installation, Testing & Commissioning of Air curtain of size Length - 1785 mm, Width - 208 mm, Height - 235 mm, Velocity - 23 /18 m/s, Dual Speed, stainless steel chassis with stainless steel plates and with all other related accessories complete as required. | 7.00 | Each | 0.00 | 38450.00 | 269150.00 | 40000.00 | 280000.00 | 28000.00 | 196000.00 | 76000.00 | 532000.00 | 196000.00 | VOLKS ENERGIE PVT LTD
| Total in Figures |  |  |  |  | 1936318.00 |  | 2779220.00 |  | 1994990.00 |  | 2683790.00
Lowest Amount Quoted BY: SARKARTRADING CORPORATION(1936318.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of VRV / VRF based cassette type Air Conditioners at SHA with provision of air curtains and replacement of old ductable AC at VIP lounge at Silchar Airport Tender ID: 2023_AAI_151053_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SARKARTRADING CORPORATION | 1936318.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 1994990.00 | L2
| 3 | vaderas interiors and exteriors | 2683790.00 | L3
| 4 | RS COOLING APPLIANCES | 2779220.00 | L4