## BoQ1
Government eProcurement System Created By: Sidhartha Bhasme Created Date/Time: 25-May-2023 11:41 AM Tender Title: Construction of DVOR and Allied Woks including Internal and External Electrification at Kolhapur Airport. SH - Civil Construction and Internal Electrification Work. Tender ID: 2023_AAI_151901_1
Tender Inviting Authority: <AGM Engg.-Civil, AAI Kolhapur Airport>
Name of Work: <Construction of DVOR and Allied Woks including Internal and External Electrification at Kolhapur Airport. SH: Civil Construction and Internal Electrification Work. >
Contract No: <0231- 2677706 , Tender Id 2023_AAI_151901_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shri Laxminarayan Construction(GSTN-27AKIPR6504J1ZT) |  | Umiya Construction(GSTN-24AABFU5911F1ZH) |  | DURGA ENTERPRISES(GSTN-NA) |  | M/s P N Nagane(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.00 | CARRIAGE OF MATERIALS By Mechanical Transport including loading, unloading and stacking Earth Upto 1km | 800.00 | cum |  | 125.00 | 100000.00 | 100.00 | 80000.00 | 120.00 | 96000.00 | 150.00 | 120000.00 | 80000.00 | Umiya Construction
1.00 | CARRIAGE OF MATERIALS By Mechanical Transport including loading, unloading and stacking Excavated rock Upto 1km | 355.00 | cum |  | 150.00 | 53250.00 | 170.00 | 60350.00 | 200.00 | 71000.00 | 200.00 | 71000.00 | 53250.00 | Shri Laxminarayan Construction
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth for all leads and lifts within AAI premises, as directed by Engineer-in-charge. All kinds of soil | 5715.00 | cum |  | 150.00 | 857250.00 | 160.00 | 914400.00 | 145.00 | 828675.00 | 175.00 | 1000125.00 | 828675.00 | DURGA ENTERPRISES
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth for all leads and lifts within AAI premises, as directed by Engineer-in-charge. Ordinary rock | 425.00 | cum |  | 300.00 | 127500.00 | 400.00 | 170000.00 | 380.00 | 161500.00 | 300.00 | 127500.00 | 127500.00 | Shri Laxminarayan Construction, M/s P N Nagane
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth for all leads and lifts within AAI premises, as directed by Engineer-in-charge. Hard rock (blasting prohibited) | 2625.00 | cum |  | 800.00 | 2100000.00 | 630.00 | 1653750.00 | 865.00 | 2270625.00 | 600.00 | 1575000.00 | 1575000.00 | M/s P N Nagane
1.01 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, for all leads and lifts within AAI premises. | 185.00 | cum |  | 180.00 | 33300.00 | 90.00 | 16650.00 | 180.00 | 33300.00 | 200.00 | 37000.00 | 16650.00 | Umiya Construction
1.01 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 10.00 | cum |  | 2000.00 | 20000.00 | 2800.00 | 28000.00 | 1737.00 | 17370.00 | 3000.00 | 30000.00 | 17370.00 | DURGA ENTERPRISES
1.01 | Clearing grass and removal of the rubbish outside the periphery of the area cleared. | 31500.00 | sqm |  | 3.00 | 94500.00 | 4.00 | 126000.00 | 2.50 | 78750.00 | 2.00 | 63000.00 | 63000.00 | M/s P N Nagane
1.01 | Supplying chemical emulsion in sealed containers including delivery as specified. Chlorpyriphos emulsifiable concentrate of 20% | 105.00 | litre |  | 200.00 | 21000.00 | 200.00 | 21000.00 | 170.00 | 17850.00 | 475.00 | 49875.00 | 17850.00 | DURGA ENTERPRISES
1.01 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : Along external wall where the apron is not provided using chemical emulsion @ 7.5 litres / sqm of the vertical surface of the substructure to a depth of 300 mm including excavation channel along the wall & rodding etc. complete: With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration | 50.00 | metre |  | 25.00 | 1250.00 | 35.00 | 1750.00 | 38.00 | 1900.00 | 50.00 | 2500.00 | 1250.00 | Shri Laxminarayan Construction
1.01 | Extra for levelling & neatly dressing soil completely as directed by Engineer-in-charge. | 800.00 | cum |  | 50.00 | 40000.00 | 60.00 | 48000.00 | 45.00 | 36000.00 | 100.00 | 80000.00 | 36000.00 | DURGA ENTERPRISES
1.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 200.00 | cum |  | 6150.00 | 1230000.00 | 5600.00 | 1120000.00 | 5400.00 | 1080000.00 | 5200.00 | 1040000.00 | 1040000.00 | M/s P N Nagane
1.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 20 mm nominal size derived from natural sources) | 80.00 | cum |  | 5200.00 | 416000.00 | 4800.00 | 384000.00 | 5150.00 | 412000.00 | 4300.00 | 344000.00 | 344000.00 | M/s P N Nagane
1.01 | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases for columns (For all kinds of PCC Works) | 155.00 | sqm |  | 260.00 | 40300.00 | 270.00 | 41850.00 | 261.00 | 40455.00 | 2000.00 | 310000.00 | 40300.00 | Shri Laxminarayan Construction
1.01 | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand(zone-III) derived from natural sources : 4 graded stone aggregate 20mm nominal size derived from natural sources). | 15.00 | sqm |  | 325.00 | 4875.00 | 380.00 | 5700.00 | 314.00 | 4710.00 | 500.00 | 7500.00 | 4710.00 | DURGA ENTERPRISES
1.02 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with a piece of cloth lightly soaked in kerosene oil. | 15.00 | sqm |  | 90.00 | 1350.00 | 280.00 | 4200.00 | 96.00 | 1440.00 | 150.00 | 2250.00 | 1350.00 | Shri Laxminarayan Construction
1.02 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete (For RCC) | 40.00 | sqm |  | 260.00 | 10400.00 | 450.00 | 18000.00 | 261.00 | 10440.00 | 2000.00 | 80000.00 | 10400.00 | Shri Laxminarayan Construction
1.02 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform. | 115.00 | sqm |  | 650.00 | 74750.00 | 475.00 | 54625.00 | 650.00 | 74750.00 | 2000.00 | 230000.00 | 54625.00 | Umiya Construction
1.02 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 85.00 | sqm |  | 625.00 | 53125.00 | 450.00 | 38250.00 | 516.00 | 43860.00 | 2000.00 | 170000.00 | 38250.00 | Umiya Construction
1.02 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 115.00 | sqm |  | 700.00 | 80500.00 | 140.00 | 16100.00 | 682.00 | 78430.00 | 2000.00 | 230000.00 | 16100.00 | Umiya Construction
1.02 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Edges of slabs and breaks in floors and walls Under 20 cm wide | 45.00 | metre |  | 700.00 | 31500.00 | 170.00 | 7650.00 | 154.00 | 6930.00 | 2000.00 | 90000.00 | 6930.00 | DURGA ENTERPRISES
1.02 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 4750.00 | kg |  | 80.00 | 380000.00 | 98.00 | 465500.00 | 74.00 | 351500.00 | 75.00 | 356250.00 | 351500.00 | DURGA ENTERPRISES
1.02 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 2000.00 | kg |  | 80.00 | 160000.00 | 98.00 | 196000.00 | 74.00 | 148000.00 | 75.00 | 150000.00 | 148000.00 | DURGA ENTERPRISES
1.02 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | 45.00 | metre |  | 55.00 | 2475.00 | 60.00 | 2700.00 | 55.00 | 2475.00 | 30.00 | 1350.00 | 1350.00 | M/s P N Nagane
1.02 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum Note : -The Mix Design is available with AAI Kolhapur Airport and the same will be provided to the contractor for the work. Contractor has to prepare a trial mix with the design provided by AAI and get the results verified before execution of work. All the material to be used for execution shall be tested and matched with mix design provided by AAI before execution of work. The extra cement as per design will be payable to the contractor under relevant item. | 36.00 | cum |  | 7500.00 | 270000.00 | 6700.00 | 241200.00 | 6200.00 | 223200.00 | 7000.00 | 252000.00 | 223200.00 | DURGA ENTERPRISES
1.03 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. All works above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum Note : - The Mix Design is available with AAI Kolhapur Airport and the same will be provided to the contractor for the work. Contractor has to prepare a trial mix with the design provided by AAI and get the results verified before execution of work. All the material to be used for execution shall be tested and matched with mix design provided by AAI before execution of work. The extra cement as per design will be payable to the contractor under relevant item. | 25.00 | cum |  | 7500.00 | 187500.00 | 7200.00 | 180000.00 | 7200.00 | 180000.00 | 9000.00 | 225000.00 | 180000.00 | DURGA ENTERPRISES, Umiya Construction
1.03 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 142.00 | quintal |  | 650.00 | 92300.00 | 850.00 | 120700.00 | 583.00 | 82786.00 | 800.00 | 113600.00 | 82786.00 | DURGA ENTERPRISES
1.03 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 50.00 | sqm |  | 75.00 | 3750.00 | 100.00 | 5000.00 | 73.00 | 3650.00 | 200.00 | 10000.00 | 3650.00 | DURGA ENTERPRISES
1.03 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 6.00 | sqm |  | 3800.00 | 22800.00 | 4500.00 | 27000.00 | 3500.00 | 21000.00 | 600.00 | 3600.00 | 3600.00 | M/s P N Nagane
1.03 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 45.00 | sqm |  | 900.00 | 40500.00 | 900.00 | 40500.00 | 870.00 | 39150.00 | 800.00 | 36000.00 | 36000.00 | M/s P N Nagane
1.03 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 4.00 | sqm |  | 2500.00 | 10000.00 | 1900.00 | 7600.00 | 2389.00 | 9556.00 | 3500.00 | 14000.00 | 7600.00 | Umiya Construction
1.03 | Providing and fixing chromium plated brass curtain rod having wall thickness of 1.25mm with two chromium plated brass brackets fixed with C.P. brass screws and PVC sleeves etc., wherever necessary complete : 20 mm dia | 9.00 | metre |  | 350.00 | 3150.00 | 250.00 | 2250.00 | 318.00 | 2862.00 | 500.00 | 4500.00 | 2250.00 | Umiya Construction
1.03 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 9.00 | each |  | 825.00 | 7425.00 | 1000.00 | 9000.00 | 726.00 | 6534.00 | 2500.00 | 22500.00 | 6534.00 | DURGA ENTERPRISES
1.03 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 16.00 | each |  | 200.00 | 3200.00 | 230.00 | 3680.00 | 221.00 | 3536.00 | 900.00 | 14400.00 | 3200.00 | Shri Laxminarayan Construction
1.03 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm | 9.00 | each |  | 70.00 | 630.00 | 80.00 | 720.00 | 64.00 | 576.00 | 80.00 | 720.00 | 576.00 | DURGA ENTERPRISES
1.04 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 18.00 | Each |  | 60.00 | 1080.00 | 80.00 | 1440.00 | 51.00 | 918.00 | 15.00 | 270.00 | 270.00 | M/s P N Nagane
1.04 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 9.00 | Each |  | 60.00 | 540.00 | 75.00 | 675.00 | 53.00 | 477.00 | 350.00 | 3150.00 | 477.00 | DURGA ENTERPRISES
1.04 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineerin- charge Extruded section profile size 42x50 mm | 6.00 | metre |  | 510.00 | 3060.00 | 300.00 | 1800.00 | 238.00 | 1428.00 | 2000.00 | 12000.00 | 1428.00 | DURGA ENTERPRISES
1.04 | Providing and fixing to existing door frames. 30 mm thick factory made Polyvinyl Chloride (PVC) door shutter made of styles and rails of a uPVC hollow section of size 60x30 mm and wall thickness 2 mm (± 0.2 mm), with inbuilt decorative moulding edging on one side. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 25x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x30 mm and 2 mm (± 0.2 mm) wall thickness fixed to the shutter styles by means of plastic/ galvanised M.S. 'U' cleats.The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness . The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. | 2.00 | sqm |  | 4500.00 | 9000.00 | 2000.00 | 4000.00 | 1702.00 | 3404.00 | 5000.00 | 10000.00 | 3404.00 | DURGA ENTERPRISES
1.04 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.5 mm thick | 41.00 | sqm |  | 2200.00 | 90200.00 | 1150.00 | 47150.00 | 755.00 | 30955.00 | 2700.00 | 110700.00 | 30955.00 | DURGA ENTERPRISES
1.04 | Providing and fixing, in position concealed G.I. section for wall paneling using board of required thickness fixed on the 'W' profile (0.55 mm thick) having a knurled web of 51.55 mm and two flanges of 26 mm each with lips of 10.55 mm, placed @ 610 mm C/C in perimeter channel having one flange of 20 mm and another flange of 30 mm with thickness of 0.55 mm and web of length 27 mm. Perimeter channel is fixed on the floor and the ceiling with the nylon sleeves @ 610 mm C/C with fully threaded self-tapping dry wall screws. Board is fixed to the 'W' profile with 25 mm countersunk ribbed head screws @ 200 mm C/C., all complete as per the drawing & directions of engineer-in-charge, the joints of the boards are finished with specially formulated jointing compound and 48mm wide jointing tape to provide seamless finish. Plain Gypsum plaster board conforming to IS: 2095 Part - 1:2011 (Board with BIS certification marks) 12.5 mm thick | 35.00 | sqm |  | 900.00 | 31500.00 | 1000.00 | 35000.00 | 925.00 | 32375.00 | 800.00 | 28000.00 | 28000.00 | M/s P N Nagane
1.04 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 135.00 | Kg |  | 150.00 | 20250.00 | 125.00 | 16875.00 | 131.00 | 17685.00 | 150.00 | 20250.00 | 16875.00 | Umiya Construction
1.04 | Providing and fixing mild steel round anchor bolts, 20mm dia and 600mm length, with nuts and washers plate comnplete | 70.00 | Kg |  | 80.00 | 5600.00 | 100.00 | 7000.00 | 212.00 | 14840.00 | 150.00 | 10500.00 | 5600.00 | Shri Laxminarayan Construction
1.04 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (including use of Chequered plates wherever Required ) | 500.00 | Kg |  | 120.00 | 60000.00 | 125.00 | 62500.00 | 105.00 | 52500.00 | 150.00 | 75000.00 | 52500.00 | DURGA ENTERPRISES
1.04 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joints with white cement and matching pigments etc., complete (for floor and skirting). Size of Tile 600x600 mm | 60.00 | sqm |  | 1200.00 | 72000.00 | 1000.00 | 60000.00 | 1050.00 | 63000.00 | 1000.00 | 60000.00 | 60000.00 | M/s P N Nagane, Umiya Construction
1.05 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish Size of Tile 600 x 600 mm | 6.00 | sqm |  | 1200.00 | 7200.00 | 1200.00 | 7200.00 | 1250.00 | 7500.00 | 1250.00 | 7500.00 | 7200.00 | Shri Laxminarayan Construction, Umiya Construction
1.05 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to all/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of apered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge Glass Reinforced Gypsum (GRG) board conforming to IS: 2095- (Part 3):1996 (Boards with BIS certification marks) | 19.00 | sqm |  | 1500.00 | 28500.00 | 1400.00 | 26600.00 | 1090.00 | 20710.00 | 1500.00 | 28500.00 | 20710.00 | DURGA ENTERPRISES
1.05 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 10.00 | sqm |  | 900.00 | 9000.00 | 650.00 | 6500.00 | 569.00 | 5690.00 | 800.00 | 8000.00 | 5690.00 | DURGA ENTERPRISES
1.05 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 190.00 | sqm |  | 850.00 | 161500.00 | 240.00 | 45600.00 | 280.00 | 53200.00 | 500.00 | 95000.00 | 45600.00 | Umiya Construction
1.05 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6mm thick cement plaster 1:6 (1 cement : 6 fine sand) | 130.00 | sqm |  | 1000.00 | 130000.00 | 330.00 | 42900.00 | 375.00 | 48750.00 | 650.00 | 84500.00 | 42900.00 | Umiya Construction
1.05 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 115.00 | Sqm |  | 900.00 | 103500.00 | 240.00 | 27600.00 | 271.00 | 31165.00 | 150.00 | 17250.00 | 17250.00 | M/s P N Nagane
1.05 | Finishing walls with 100% Premium acrylic emulsion paint having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade (Company Depot Tinted) with silicon additives. New work (Two or more coats applied @ 1.43 litre/ 10 sqm. Over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm. | 130.00 | sqm |  | 130.00 | 16900.00 | 120.00 | 15600.00 | 131.00 | 17030.00 | 300.00 | 39000.00 | 15600.00 | Umiya Construction
1.05 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 100.00 | sqm |  | 140.00 | 14000.00 | 110.00 | 11000.00 | 111.00 | 11100.00 | 100.00 | 10000.00 | 10000.00 | M/s P N Nagane
1.05 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 185.00 | sqm |  | 100.00 | 18500.00 | 65.00 | 12025.00 | 105.00 | 19425.00 | 400.00 | 74000.00 | 12025.00 | Umiya Construction
1.05 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 185.00 | sqm |  | 150.00 | 27750.00 | 100.00 | 18500.00 | 103.00 | 19055.00 | 350.00 | 64750.00 | 18500.00 | Umiya Construction
1.06 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer, 3 mm thick water proofing membrane, black finished reinforced with glass fibre matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqm by the same membrane manufactured of density at 25°C, 0.87 - 0.89 kg/litre and viscocity 70 - 160 cps. Over the primer coat the layer of membrane shall be laid using butane torch and sealing all joints etc., and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 350/300 N/5 cm. Tear strength in longitudinal and transverse direction as 60/80N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane : 3 mm thick | 100.00 | sqm |  | 400.00 | 40000.00 | 650.00 | 65000.00 | 477.00 | 47700.00 | 650.00 | 65000.00 | 40000.00 | Shri Laxminarayan Construction
1.06 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earth with lead within AAI Premises | 2070.00 | sqm |  | 100.00 | 207000.00 | 90.00 | 186300.00 | 125.00 | 258750.00 | 16.00 | 33120.00 | 33120.00 | M/s P N Nagane
1.06 | Extra for compaction of earth work in embankment under optimum moisture conditions to give at least 95% of the maximum dry density (proctor density). | 466.00 | cum |  | 40.00 | 18640.00 | 20.00 | 9320.00 | 17.00 | 7922.00 | 15.00 | 6990.00 | 6990.00 | M/s P N Nagane
1.06 | "Providing and laying design mix cement concrete of M-30 grade, in roads/ taxi tracks/ runways, using cement content as per design mix, using coarse sand and graded stone aggregate of 40 mm nominal size in appropriate proportions as per approved & specified design criteria, providing dowel bars with sleeve/ tie bars wherever required, laying at site, spreading and compacting mechanically by using needle and surface vibrators, levelling to required slope/ camber, finishing with required texture, including steel form work with sturdy M.S. channel sections, curing, making provision for contraction/ expansion, construction & longitudinal joints ( 10 mm wide x 50 mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants, complete all as per direction of Engineer-in-charge (Item of joint fillers, sealants, dowel bars with sleeve/ tie bars to be paid separately). Note:-Cement content considered in M-30 is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/recoverable separately. Note:-The Mix design is available with AAI kolhapur Airport and the same will be provided to the contractor for the work. Contractor has to prepare a trial mix with the design provided by AAI and get the resut verified before execution of work. All the material to be used for execution shall be tested and matched with mix design provided by AAI before execution of work. The extra cement as per design will be payable to the contractor under relevant item. | 375.00 | cum |  | 7800.00 | 2925000.00 | 8300.00 | 3112500.00 | 6750.00 | 2531250.00 | 7500.00 | 2812500.00 | 2531250.00 | DURGA ENTERPRISES
1.06 | Providing and fixing pre-moulded joint filler in expansion joints of RCC roads / CC pavements after making the joints dust free with high pressure air jet cleaners, all complete as per direction of the Engineer-in-Charge. (Pre-moulded joint fillers shall be made of bitumen hot sealing compound impregnated fibre board having impregnation more than 35%, conforming to IS:1838 for fibre board and IS: 1834 for hot sealing bitumen compound grade A.) | 2400.00 | per cm depth per cm width per metre length |  | 50.00 | 120000.00 | 10.00 | 24000.00 | 4.00 | 9600.00 | 120.00 | 288000.00 | 9600.00 | DURGA ENTERPRISES
1.06 | Painting road surface marking with adequate nos of coats to give uniform finish with ready mixed road marking paint conforming to IS : 164, on bituminous surface in white/yellow shade, including cleaning the surface of all dirt, scales, oil, grease and foreign material etc. complete. New work (Two or more coats) | 120.00 | sqm |  | 200.00 | 24000.00 | 100.00 | 12000.00 | 203.00 | 24360.00 | 800.00 | 96000.00 | 12000.00 | Umiya Construction
1.06 | Providing and fixing Glow studs of size 100x20 mm made of heavy duty body shall be moulded ASA (Acrylic styrene Acryloretrite ) or HIP (High impact polystyrene) or ABS having electronically welded micro- prismatic lens with abrasion resistant coating as approved by Engineer in charge. The glow stud shall support a load of 13635 kg tested in accordance with ASTM D4280. The slope of retro- reflective surface shall be 35 (+/-5) degress to base .The reflective panels on both sides with at least 12 cm of reflective area up each side. The luminance intensity should be as per the specification and shall be tested as described in ASTM I: 809 as recommended in BS: 873 part 4 : 1973. The studs shall be fixed to the Road surface using the adhesive conforming to IS, as per procedure recommended by the manufacturer complete and as per direction of Engineer-in-charge. | 50.00 | each |  | 250.00 | 12500.00 | 200.00 | 10000.00 | 149.00 | 7450.00 | 400.00 | 20000.00 | 7450.00 | DURGA ENTERPRISES
1.06 | Manufacturing, supplying and fixing retro reflective overhead signage boards made up of 2 mm thick aluminium sheet, face to be fully covered with high intensity and encapsulated lens type heat activated retro reflective sheeting conforming to type - III of ASTM-D-4956-01 as approved by Engineer-in-charge, letters, borders etc. as per IRC : 67-2001 in silver white with blue colour back ground and with high intensity grade, pasted on substrate by pressure sensitive adhesive backing which shall be activated by applying pressure conforming to class II of ASTM-D-4956-01 and fixing the same to the plate of structural frame work by means of suitable sized aluminium alloys, rivets or bolts & nuts @ 300 mm centre to centre all along the periphery as well as in two vertical rows along with theft resistant measures, including the cost of painting with two or more coats of epoxy paint in grey colour on the back side of aluminium sheet including appropriate priming coat. The rate includes the cost of rounding off the corners, lowering down the structural frame work from the gantry, fixing and erecting the same in position all complete as per drawings, specification and direction of the engineer-incharge.( Structural frame work including M.S. plate to be provided separately. Rectangular area of the sheet only shall be measured for payment). Overhead informatory road signage | 1.00 | sqm |  | 25000.00 | 25000.00 | 7000.00 | 7000.00 | 14262.00 | 14262.00 | 4500.00 | 4500.00 | 4500.00 | M/s P N Nagane
1.06 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 10.00 | cum |  | 7500.00 | 75000.00 | 8000.00 | 80000.00 | 7300.00 | 73000.00 | 1500.00 | 15000.00 | 15000.00 | M/s P N Nagane
1.06 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | 270.00 | cum |  | 2200.00 | 594000.00 | 2500.00 | 675000.00 | 2000.00 | 540000.00 | 2000.00 | 540000.00 | 540000.00 | DURGA ENTERPRISES, M/s P N Nagane
1.07 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 170.00 | cum |  | 2500.00 | 425000.00 | 2850.00 | 484500.00 | 2050.00 | 348500.00 | 2200.00 | 374000.00 | 348500.00 | DURGA ENTERPRISES
1.07 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 2000.00 | sqm |  | 780.00 | 1560000.00 | 1000.00 | 2000000.00 | 800.00 | 1600000.00 | 900.00 | 1800000.00 | 1560000.00 | Shri Laxminarayan Construction
1.07 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Each |  | 2500.00 | 2500.00 | 7000.00 | 7000.00 | 7043.00 | 7043.00 | 11600.00 | 11600.00 | 2500.00 | Shri Laxminarayan Construction
1.07 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 1.00 | Each |  | 2400.00 | 2400.00 | 3500.00 | 3500.00 | 3770.00 | 3770.00 | 6500.00 | 6500.00 | 2400.00 | Shri Laxminarayan Construction
1.07 | Providing and fixing Stainless Steel A ISi 304 (18/8) kitchen sink as per IS: 13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink without drain board 610x510 mm bowl depth 200 mm | 1.00 | Each |  | 5000.00 | 5000.00 | 3300.00 | 3300.00 | 5428.00 | 5428.00 | 9850.00 | 9850.00 | 3300.00 | Umiya Construction
1.07 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 2.00 | Each |  | 120.00 | 240.00 | 70.00 | 140.00 | 1695.00 | 3390.00 | 200.00 | 400.00 | 140.00 | Umiya Construction
1.07 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | Each |  | 1800.00 | 1800.00 | 900.00 | 900.00 | 2043.00 | 2043.00 | 950.00 | 950.00 | 900.00 | Umiya Construction
1.07 | Providing and fixing toilet paper holder : C.P. brass | 1.00 | Each |  | 400.00 | 400.00 | 450.00 | 450.00 | 1424.00 | 1424.00 | 4000.00 | 4000.00 | 400.00 | Shri Laxminarayan Construction
1.07 | Providing and fixing soil, waste and vent pipes : 75 mm diameter : Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | 20.00 | metre |  | 900.00 | 18000.00 | 900.00 | 18000.00 | 500.00 | 10000.00 | 2000.00 | 40000.00 | 10000.00 | DURGA ENTERPRISES
1.07 | Providing and fixing plain bend of required degree. 75 mm dia Sand cast iron S&S as per IS - 3989 | 2.00 | Each |  | 300.00 | 600.00 | 300.00 | 600.00 | 505.00 | 1010.00 | 1100.00 | 2200.00 | 600.00 | Shri Laxminarayan Construction, Umiya Construction
1.08 | Providing and fixing single equal plain junction of required degree : 75x75x75 mm Sand cast iron S&S as per IS - 3989 | 2.00 | Each |  | 500.00 | 1000.00 | 500.00 | 1000.00 | 1222.00 | 2444.00 | 3000.00 | 6000.00 | 1000.00 | Shri Laxminarayan Construction, Umiya Construction
1.08 | Providing and fixing collar : 75 mm Sand cast iron S&S as per IS - 3989 | 2.00 | Each |  | 275.00 | 550.00 | 270.00 | 540.00 | 460.00 | 920.00 | 1500.00 | 3000.00 | 540.00 | Umiya Construction
1.08 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 75 mm | 30.00 | Each |  | 200.00 | 6000.00 | 400.00 | 12000.00 | 400.00 | 12000.00 | 500.00 | 15000.00 | 6000.00 | Shri Laxminarayan Construction
1.08 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 75 mm outlet Sand Cast Iron S&S as per IS- 1729 | 2.00 | Each |  | 1200.00 | 2400.00 | 800.00 | 1600.00 | 2197.00 | 4394.00 | 600.00 | 1200.00 | 1200.00 | M/s P N Nagane
1.08 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 20 mm nominal dia Pipes | 20.00 | metre |  | 325.00 | 6500.00 | 225.00 | 4500.00 | 358.00 | 7160.00 | 350.00 | 7000.00 | 4500.00 | Umiya Construction
1.08 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 40 mm nominal dia Pipes | 10.00 | metre |  | 600.00 | 6000.00 | 500.00 | 5000.00 | 743.00 | 7430.00 | 550.00 | 5500.00 | 5000.00 | Umiya Construction
1.08 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 20.00 | metre |  | 450.00 | 9000.00 | 350.00 | 7000.00 | 500.00 | 10000.00 | 350.00 | 7000.00 | 7000.00 | M/s P N Nagane, Umiya Construction
1.08 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal dia Pipes | 10.00 | metre |  | 700.00 | 7000.00 | 500.00 | 5000.00 | 700.00 | 7000.00 | 450.00 | 4500.00 | 4500.00 | M/s P N Nagane
1.08 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 25 mm nominal dia Pipes | 350.00 | metre |  | 250.00 | 87500.00 | 280.00 | 98000.00 | 230.00 | 80500.00 | 375.00 | 131250.00 | 80500.00 | DURGA ENTERPRISES
1.08 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 40 mm nominal outer dia Pipes | 10.00 | metre |  | 350.00 | 3500.00 | 500.00 | 5000.00 | 948.00 | 9480.00 | 550.00 | 5500.00 | 3500.00 | Shri Laxminarayan Construction
1.09 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 50 mm nominal dia Pipes | 50.00 | metre |  | 775.00 | 38750.00 | 700.00 | 35000.00 | 750.00 | 37500.00 | 750.00 | 37500.00 | 35000.00 | Umiya Construction
1.09 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 50 mm dia nominal bore | 20.00 | metre |  | 786.00 | 15720.00 | 700.00 | 14000.00 | 908.00 | 18160.00 | 1250.00 | 25000.00 | 14000.00 | Umiya Construction
1.09 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 2.00 | each |  | 850.00 | 1700.00 | 6000.00 | 12000.00 | 2233.00 | 4466.00 | 1200.00 | 2400.00 | 1700.00 | Shri Laxminarayan Construction
1.09 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 50 mm nominal bore | 2.00 | each |  | 575.00 | 1150.00 | 650.00 | 1300.00 | 1797.00 | 3594.00 | 2000.00 | 4000.00 | 1150.00 | Shri Laxminarayan Construction
1.09 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 3000.00 | per litre |  | 10.00 | 30000.00 | 10.00 | 30000.00 | 8.00 | 24000.00 | 10.00 | 30000.00 | 24000.00 | DURGA ENTERPRISES
1.09 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931: 15 mm nominal bore | 2.00 | each |  | 550.00 | 1100.00 | 400.00 | 800.00 | 1104.00 | 2208.00 | 1100.00 | 2200.00 | 800.00 | Umiya Construction
1.09 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 1.00 | each |  | 750.00 | 750.00 | 450.00 | 450.00 | 1272.00 | 1272.00 | 750.00 | 750.00 | 450.00 | Umiya Construction
1.09 | Providing and laying 150 mm OD High density Polythene (HDPE Pipes) material grade PE ‐ 80, working pressure rating PN 4 (0.4 maximum permissible working pressure) confirming IS ‐ 14333 including all fittings and jointed by Butt welding method including testing of joints etc. complete as required. | 800.00 | metre |  | 200.00 | 160000.00 | 1060.00 | 848000.00 | 1240.00 | 992000.00 | 1250.00 | 1000000.00 | 160000.00 | Shri Laxminarayan Construction
1.09 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With local available size fly ash bricks of class designation 5 | 1.00 | each |  | 2500.00 | 2500.00 | 1700.00 | 1700.00 | 4158.00 | 4158.00 | 6500.00 | 6500.00 | 1700.00 | Umiya Construction
1.09 | Constructing brick masonry circular type manhole 0.91 m internal dia at bottom and 0.56m dia at top in cement mortar 1:4 (1 cement : 4 coarse sand), inside cement plaster 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement, foundation concrete 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size), and making necessary channel in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement, all complete as per standard design : 0.91 m deep with S.F.R.C. cover and frame (heavy duty, HD-20 grade designation) 560 mm internal diameter conforming to I.S. 12592, total weight of cover and frame to be not less than 182 kg., fixed in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) including centering, shuttering all complete. (Excavation, foot rests and 12mm thick cement plaster at the external surface shall be paid for separately) : With local available size fly ash bricks of class designation 5 | 1.00 | each |  | 15000.00 | 15000.00 | 8500.00 | 8500.00 | 20147.00 | 20147.00 | 10000.00 | 10000.00 | 8500.00 | Umiya Construction
1.10 | Providing M.S. foot rests including fixing in manholes with 20x20x10 cm cement concrete blocks 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) as per standard design : With 20x20 mm square bar | 5.00 | each |  | 500.00 | 2500.00 | 350.00 | 1750.00 | 781.00 | 3905.00 | 300.00 | 1500.00 | 1500.00 | M/s P N Nagane
1.10 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality L D- 2.5 Rectangular shape 600x450 mm internal dimensions | 20.00 | each |  | 1250.00 | 25000.00 | 1200.00 | 24000.00 | 1200.00 | 24000.00 | 3000.00 | 60000.00 | 24000.00 | DURGA ENTERPRISES, Umiya Construction
1.10 | Supplying and fixing C.I. cover 300x300 mm without frame for gully trap (standard pattern) the weight of cover to be not less than 4.5 kg | 1.00 | each |  | 660.00 | 660.00 | 600.00 | 600.00 | 1708.00 | 1708.00 | 4000.00 | 4000.00 | 600.00 | Umiya Construction
1.10 | Constructing soak pit 1.20x1.20x1.20 m filled with brickbats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design. | 2.00 | Each |  | 5000.00 | 10000.00 | 2950.00 | 5900.00 | 4983.00 | 9966.00 | 3000.00 | 6000.00 | 5900.00 | Umiya Construction
1.10 | Providing and laying Non Pressure NP-4 class (Heavy duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete 600 mm dia RCC pipes. | 40.00 | metre |  | 3500.00 | 140000.00 | 3000.00 | 120000.00 | 2900.00 | 116000.00 | 5500.00 | 220000.00 | 116000.00 | DURGA ENTERPRISES
1.10 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 78.00 | kg |  | 550.00 | 42900.00 | 500.00 | 39000.00 | 400.00 | 31200.00 | 800.00 | 62400.00 | 31200.00 | DURGA ENTERPRISES
1.10 | Providing and fixing aluminium work for doors, windows, ventilator and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make onforming to IS: 733 and IS: 1285, fixing with dash fasteners o required dia and size, including necessary filling up the gaps at unctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free,straight, mitred and jointed mechanically wherever required including cea angle, Aluminium snap beading for glazing / paneling, C.P.brass / stainless steel screws, all complete as per architecturaldrawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 136.00 | kg |  | 550.00 | 74800.00 | 600.00 | 81600.00 | 400.00 | 54400.00 | 800.00 | 108800.00 | 54400.00 | DURGA ENTERPRISES
1.10 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge. Pre-laminated particle board with decorative lamination on both sides | 17.00 | sqm |  | 850.00 | 14450.00 | 850.00 | 14450.00 | 967.00 | 16439.00 | 7000.00 | 119000.00 | 14450.00 | Shri Laxminarayan Construction, Umiya Construction
1.10 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 18.00 | sqm |  | 1200.00 | 21600.00 | 750.00 | 13500.00 | 1150.00 | 20700.00 | 5500.00 | 99000.00 | 13500.00 | Umiya Construction
1.10 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 7.00 | each |  | 850.00 | 5950.00 | 350.00 | 2450.00 | 495.00 | 3465.00 | 1800.00 | 12600.00 | 2450.00 | Umiya Construction
1.11 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 9.00 | kg |  | 550.00 | 4950.00 | 650.00 | 5850.00 | 559.00 | 5031.00 | 800.00 | 7200.00 | 4950.00 | Shri Laxminarayan Construction
1.11 | Grading roof for water proofing treatment with Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 6.00 | cum |  | 4500.00 | 27000.00 | 6400.00 | 38400.00 | 6000.00 | 36000.00 | 6000.00 | 36000.00 | 27000.00 | Shri Laxminarayan Construction
1.11 | Brick work with local available size Fly ash bricks of class designation 5 in foundation and plinth in ; (a) Cement Mortar 1:6 (1 Cement : 6 Coarse sand) | 8.00 | Cum |  | 5500.00 | 44000.00 | 7300.00 | 58400.00 | 5800.00 | 46400.00 | 6000.00 | 48000.00 | 44000.00 | Shri Laxminarayan Construction
1.11 | Brick work with local available size fly ash bricks of class designation 5 in superstructure above plinth level upto floor V level in all shapes and sizes in ; (a) Cement Mortar 1:6 (1 Cement : 6 Coarse sand) | 43.00 | Cum |  | 6200.00 | 266600.00 | 7450.00 | 320350.00 | 5700.00 | 245100.00 | 6500.00 | 279500.00 | 245100.00 | DURGA ENTERPRISES
1.11 | Half brick masonry with local available size fly ash bricks of class designation 5 in foundations and plinth in : (a) Cement mortar 1:4 (1 Cement : 4 coarse sand). | 41.00 | sqm |  | 1200.00 | 49200.00 | 1000.00 | 41000.00 | 821.00 | 33661.00 | 1200.00 | 49200.00 | 33661.00 | DURGA ENTERPRISES
1.11 | Half brick masonry with local available size fly ash brick of class designation 5 in superstructure above plinth level upto floor V level (a) Cement mortar 1:4 (1 Cement : 4 coarse sand). | 8.00 | sqm |  | 1200.00 | 9600.00 | 1200.00 | 9600.00 | 821.00 | 6568.00 | 1800.00 | 14400.00 | 6568.00 | DURGA ENTERPRISES
1.11 | Providing and Fixing Brass NB Half Turn Handle Valve complete as per direction of Engineer-in-Charge. 20mm nominal Dia | 9.00 | each |  | 940.00 | 8460.00 | 2000.00 | 18000.00 | 805.00 | 7245.00 | 1000.00 | 9000.00 | 7245.00 | DURGA ENTERPRISES
1.11 | Providing and fixing vertical blinds of approved make as per manufacturer's specification and size complete in all respect as per direction of Engineer-in-charge. 100mm wide pelmets | 14.00 | sqm |  | 750.00 | 10500.00 | 1900.00 | 26600.00 | 1017.00 | 14238.00 | 800.00 | 11200.00 | 10500.00 | Shri Laxminarayan Construction
1.11 | Supplying and Fixing of CPVC Tank Connector for Connecting Overhead PVC tank to Existing Supply line of approved make complete as per direction of Engineer-in-charge. | 3.00 | each |  | 140.00 | 420.00 | 800.00 | 2400.00 | 169.00 | 507.00 | 300.00 | 900.00 | 420.00 | Shri Laxminarayan Construction
1.11 | Providing and fixing wall mounted liquid soap container of approved make ISI mark having PVC container with minimum 200 ml capacity and push button facility complete as directed by Engineer In charge. | 2.00 | each |  | 2000.00 | 4000.00 | 600.00 | 1200.00 | 847.00 | 1694.00 | 400.00 | 800.00 | 800.00 | M/s P N Nagane
1.12 | Providing and fixing health faucet ISI mark (Hand shower) with min. 1mtr long flexible tube with wall hook and knob with lever of approved make complete as per direction and satisfaction of Engineer-in-charge. | 1.00 | each |  | 200.00 | 200.00 | 1500.00 | 1500.00 | 1271.00 | 1271.00 | 1900.00 | 1900.00 | 200.00 | Shri Laxminarayan Construction
1.12 | Providing and fixing SS or CP grating for Nahani Trap with white cement and matching colour of approved quality, all complete as per direction of Engineer-In-Charge. 100 mm nominal size square OR 100mm dia Circular | 2.00 | each |  | 100.00 | 200.00 | 70.00 | 140.00 | 381.00 | 762.00 | 400.00 | 800.00 | 140.00 | Umiya Construction
1.12 | Providing and fixing aluminium composite pannel (ACP) sheet of apprvoved make and standered size on existing fame upto any height all complete as per direction of Engineer-in-charge. 4mm thick Non FR Grade ACP Sheet (Aluminium 0.5 mm thick on both sides) | 10.00 | sqm |  | 2200.00 | 22000.00 | 1800.00 | 18000.00 | 4500.00 | 45000.00 | 3900.00 | 39000.00 | 18000.00 | Umiya Construction
1.12 | Providing and fixing PVC speed breakers having pieces of size 250 mm long x 350 mm wide x 50 mm high with back side hollow section for filling of plain cement concrete (1:2:4) (1 cement : 2 Coarse sand : 4 graded stone aggregate 20 mm normal size). The speed breakers shall be fixed with the help of dash fastner. Size of dash fastner shall be 10 mm dia and 80 mm long and no. of dash fastner in each piece shall be 04. Rate includes all material / labour transport, fixing all taxes etc. complete as per the direction & satisfaction of EIC. (Cost of Concrete and Dash Fastener Shall be paid for Separately.) | 20.00 | metre |  | 1800.00 | 36000.00 | 700.00 | 14000.00 | 1000.00 | 20000.00 | 2000.00 | 40000.00 | 14000.00 | Umiya Construction
1.12 | Providing & filling of dummy/construction joints with polysulphide joint sealing compound (confirming to grade BS:5212, Part-I, 1990) of approved make including painting the sides of slab with approved primer and filling the groove 10mm width x 10mm deep including inserting the backer rod of approved make of appropriate dia to receive the specified sealing compound, providing and applying bond breaking tape on top edges of joint to prevent accidental spillage of sealant on top surface and to give a neat finish to the sealant has been applied and tooled, all complete as per specification and direction of Engineer-in-Charge. | 350.00 | metre |  | 350.00 | 122500.00 | 30.00 | 10500.00 | 17.00 | 5950.00 | 400.00 | 140000.00 | 5950.00 | DURGA ENTERPRISES
1.12 | Providing & filling of expansion joints with polysulphide joint sealing compound (confirming to grade BS:5212, Part-I, 1990) of approved make including painting the sides of slab with approved primer and filling the groove 20mm width x 25mm deep including inserting the backer rod of appropriate dia of approved make to receive the specified sealing compound, providing and applying bond breaking tape on top edges of joint to prevent accidental spillage of sealant on top surface and to give a neat finish to the sealant has been applied and tooled, all complete as per specification and direction of Engineer-in-Charge | 50.00 | metre |  | 1700.00 | 85000.00 | 80.00 | 4000.00 | 17.00 | 850.00 | 150.00 | 7500.00 | 850.00 | DURGA ENTERPRISES
1.12 | Providing and fixing pigeon control spikes made of polycarbonate material with base width 40 mm, height of spikes 115mm and coverage width 140mm. The bird spikes shall be placed along the length on roof tops/ railings/ glass partitions etc at affected places and fixed using double tapes at all heights complete all as directed by Engr-in-Charge. | 10.00 | metre |  | 688.00 | 6880.00 | 600.00 | 6000.00 | 1695.00 | 16950.00 | 625.00 | 6250.00 | 6000.00 | Umiya Construction
1.12 | Construction of embankment with Good earth/ Moorum. The complete operation will include spreading the Moorum with dozer, dressing, levelling, providing camber, grading with motor grader and consolidating with vibratory roller 8-10 tonne capacity including making good the undulation etc. as per technical specifications and drawings complete and directions of Engineer-in-Charge. (Moorum/good earth is available inside AAI premises and the same will be excavated by the contractor and shall be brought to the work site. Cost of excavation will be paid separately and nothing extra shall be paid for lift and lead upto the desired location). | 19533.00 | cum |  | 75.00 | 1464975.00 | 135.00 | 2636955.00 | 130.00 | 2539290.00 | 200.00 | 3906600.00 | 1464975.00 | Shri Laxminarayan Construction
1.12 | Providing & fixing PVC pipe of 75mm dia and 100mm length, as per direction & satisfication of Engineer In-Charge | 40.00 | Each |  | 22.00 | 880.00 | 100.00 | 4000.00 | 339.00 | 13560.00 | 30.00 | 1200.00 | 880.00 | Shri Laxminarayan Construction
1.12 | Providing & Fixing Acrylic sheet Signage Board i/c letter writing of approved quality by polyvinyl sheet letters cutting and pasting all complete to the satisfaction of Engineer-in-charge. 3.0mm thick sheet | 1.00 | sqm |  | 48000.00 | 48000.00 | 5000.00 | 5000.00 | 7233.00 | 7233.00 | 4000.00 | 4000.00 | 4000.00 | M/s P N Nagane
1.13 | Providing and laying polythene sheet of 400 microns on the base course with overlaps of not less than 100mm longitudinally and 150 mm transversely complete as per specifications and as directed by Engineer-in-charge. | 1500.00 | sqm |  | 100.00 | 150000.00 | 130.00 | 195000.00 | 14.00 | 21000.00 | 120.00 | 180000.00 | 21000.00 | DURGA ENTERPRISES
1.13 | Random rubble masonary with hard stone in foundation and plinth including leveling up with cement concrete 1 : 6 : 12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) up to plinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand) Stone will be supplied free of cost by AAI | 354.00 | cum |  | 3800.00 | 1345200.00 | 5500.00 | 1947000.00 | 4650.00 | 1646100.00 | 1800.00 | 637200.00 | 637200.00 | M/s P N Nagane
2.00 | Electrical Works
2.01 | Wiring for light point/fan point/exhaust point/call bell point with 1.5 sq.mm. PVC insulated, FRLS, copper conductor cable in surface/recessed, GI conduit as required. i) Group C | 15.00 | Point |  | 850.00 | 12750.00 | 1500.00 | 22500.00 | 1545.00 | 23175.00 | 1860.00 | 27900.00 | 12750.00 | Shri Laxminarayan Construction
2.02 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed GI conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.Group C | 10.00 | Point |  | 450.00 | 4500.00 | 1100.00 | 11000.00 | 1050.00 | 10500.00 | 1500.00 | 15000.00 | 4500.00 | Shri Laxminarayan Construction
2.03 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class GI conduit complete as required. a) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 200.00 | Mtr |  | 125.00 | 25000.00 | 280.00 | 56000.00 | 280.00 | 56000.00 | 375.00 | 75000.00 | 25000.00 | Shri Laxminarayan Construction
2.04 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class GI conduit complete as required. b) 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 300.00 | Mtr |  | 210.00 | 63000.00 | 340.00 | 102000.00 | 290.00 | 87000.00 | 470.00 | 141000.00 | 63000.00 | Shri Laxminarayan Construction
2.05 | SITC of LED Luminaire of rating 36 Watt with complete diffuser, control gear, having driver box complete with prewired accessories as required, suitable to operate on 230V, 50 Hz AC supply. ( Make: Crompton Greaves, model: LCTLRN-36-F0-CDL or equivalent) | 17.00 | Each |  | 2400.00 | 40800.00 | 2000.00 | 34000.00 | 4500.00 | 76500.00 | 6200.00 | 105400.00 | 34000.00 | Umiya Construction
2.06 | Supply of 60W (maximum system wattage) LED light Luminaire, complete with lamp, pressure die cast aluminium heat sink, driver, high quality optics, all accessories etc as required, operating on 160 -270 volts & 50 Hz, IP 65/66 for complete fixture, (Make: Crompton LSTP-60-CDL or equ. in Bajaj/ PHILIPS/Havells/GE India ) | 6.00 | Each |  | 7000.00 | 42000.00 | 4000.00 | 24000.00 | 6500.00 | 39000.00 | 5785.00 | 34710.00 | 24000.00 | Umiya Construction
2.07 | I.T.C of 60 watt LED roadway luminare i/c wiring on a bracket and providing & fixing the bracket made of 32mm dia 'B' class GI pipe, on the existing wall with suitable clamps, nut & bolts etc complete as required. | 6.00 | Job |  | 650.00 | 3900.00 | 1000.00 | 6000.00 | 678.00 | 4068.00 | 1900.00 | 11400.00 | 3900.00 | Shri Laxminarayan Construction
2.08 | Supply of 1400mm Sweep Electric ceiling fan, capacitor type with double ball bearing complete with electronic speed regulator,suitable fan capacitor,down rod, shackles, blades suitable for operation on 230 / 240V 50 Hz single phase AC supply complete etc. as required. (Make Crompton or Equivalent of AAI approved makes) | 3.00 | Each |  | 1800.00 | 5400.00 | 2800.00 | 8400.00 | 2119.00 | 6357.00 | 3025.00 | 9075.00 | 5400.00 | Shri Laxminarayan Construction
2.09 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 3.00 | Each |  | 4000.00 | 12000.00 | 300.00 | 900.00 | 424.00 | 1272.00 | 505.00 | 1515.00 | 900.00 | Umiya Construction
2.10 | SITC of 15 inch Sweep Exhaust fan, suitable for operation on 230 / 240V 50 Hz single phase AC supply including making good the damage,connection complete etc. as required. | 3.00 | Job |  | 5500.00 | 16500.00 | 2200.00 | 6600.00 | 3700.00 | 11100.00 | 5100.00 | 15300.00 | 6600.00 | Umiya Construction
2.11 | Supplying and fixing GI box of 180mm x 100mm. x 60mm. deep (nominal) on surface or in recess with suitable size of phenolic laminated sheet cover in the front including providing and fixing 6-pin 5/6 Amps & 15/16 amps socket outlet and 15/16 amps modular type complete as required. | 15.00 | Each |  | 1500.00 | 22500.00 | 450.00 | 6750.00 | 424.00 | 6360.00 | 4110.00 | 61650.00 | 6360.00 | DURGA ENTERPRISES
2.12 | Supplying and fixing following surface/ recess mounting, Vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of bus bar, common neutral link, earth bar, din bar for mounting MCB's (But without MCB's and incomer) as required. a) 4 way Double Door ( 8+12) | 1.00 | Each |  | 5500.00 | 5500.00 | 9000.00 | 9000.00 | 8475.00 | 8475.00 | 32720.00 | 32720.00 | 5500.00 | Shri Laxminarayan Construction
2.13 | Supplying and fixing following surface/ recess mounting, Vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of bus bar, common neutral link, earth bar, din bar for mounting MCB's (But without MCB's and incomer) as required. b) 8 way Double Door ( 8+24) | 1.00 | Each |  | 8500.00 | 8500.00 | 9000.00 | 9000.00 | 9500.00 | 9500.00 | 40475.00 | 40475.00 | 8500.00 | Shri Laxminarayan Construction
2.14 | Supplying and fixing following rating, four pole, 415 volts, "C" curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) 32 amps. | 1.00 | Each |  | 1800.00 | 1800.00 | 1000.00 | 1000.00 | 2966.00 | 2966.00 | 1800.00 | 1800.00 | 1000.00 | Umiya Construction
2.15 | Supplying and fixing following rating, four pole, 415 volts, "C" curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. b) 40 amps. | 1.00 | Each |  | 2400.00 | 2400.00 | 1100.00 | 1100.00 | 3390.00 | 3390.00 | 2563.00 | 2563.00 | 1100.00 | Umiya Construction
2.16 | Supplying and fixing of 40A, four pole, 415 volts, residual current circuit breaker (RCCB), having a senstivity current 100 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 8500.00 | 17000.00 | 5700.00 | 11400.00 | 3390.00 | 6780.00 | 4115.00 | 8230.00 | 6780.00 | DURGA ENTERPRISES
2.17 | Supplying and fixing 5 amps. to 32 amps. rating, 240 volts,"C" series miniature circuit breaker of following sizes in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 52.00 | Each |  | 550.00 | 28600.00 | 270.00 | 14040.00 | 169.00 | 8788.00 | 260.00 | 13520.00 | 8788.00 | DURGA ENTERPRISES
2.18 | Providing and fixing 4.00 mm dia copper wire on surface of cable with tie for loop earthing as required. | 60.00 | Mtr |  | 550.00 | 33000.00 | 170.00 | 10200.00 | 127.00 | 7620.00 | 135.00 | 8100.00 | 7620.00 | DURGA ENTERPRISES
2.19 | Supplying and fixing 08 way Double Door surface/ recess mounting,240 volts, SPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of bus bar, common neutral link, earth bar, din bar for mounting MCB's (But without MCB's and incomer) as required. | 2.00 | Each |  | 4500.00 | 9000.00 | 1000.00 | 2000.00 | 1695.00 | 3390.00 | 9075.00 | 18150.00 | 2000.00 | Umiya Construction
2.20 | Supplying and fixing of 16A, double pole, (single phase and neutral), 240 volts, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 1500.00 | 3000.00 | 500.00 | 1000.00 | 1695.00 | 3390.00 | 770.00 | 1540.00 | 1000.00 | Umiya Construction
| Total in Figures |  |  |  |  | 18239435.00 |  | 20357025.00 |  | 19009576.00 |  | 21795948.00
Lowest Amount Quoted BY: Shri Laxminarayan Construction(18239435.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of DVOR and Allied Woks including Internal and External Electrification at Kolhapur Airport. SH - Civil Construction and Internal Electrification Work. Tender ID: 2023_AAI_151901_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Shri Laxminarayan Construction | 18239435.00 | L1
| 2 | DURGA ENTERPRISES | 19009576.00 | L2
| 3 | Umiya Construction | 20357025.00 | L3
| 4 | M/s P N Nagane | 21795948.00 | L4