## BoQ1
Government eProcurement System Created By: Vivek Katara Created Date/Time: 23-Jun-2023 04:27 PM Tender Title: Supply, Installation, Testing and commissioning of Integrated Perimeter Security System (IPSS) at Jammu Airport Tender ID: 2023_AAI_151951_1
Tender Inviting Authority: Airports Authority of India, Jammu Airport, Jammu
Name of Work: Supply, Installation, Testing and commissioning of Integrated Perimeter Security System (IPSS) at Jammu Airport.
Tender ID: 2023_AAI_151951
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Spacenet Internet Services Pvt Ltd(GSTN-07AAJCS2736F1ZC) |  | SUPREME AUDIOTEK PVT LTD(GSTN-07AAKCS0400R1Z5) |  | Sonal Enterprises Pvt Ltd(GSTN-07AAJCS4131Q1ZW)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH(I): CCTV Surveillance System Supply, installation, testing & commissioning of 5 MP outdoor Box Camera with suitable lens for 100 meters clear vision or above and with Housing, mounting arrangement, liscence etc. including all the accessories complete as required as per specifications. | 20.00 | No. | 112027.50 | 112027.00 | 2240540.00 | 117628.00 | 2352560.00 | 113707.00 | 2274140.00 | 2240540.00 | Spacenet Internet Services Pvt Ltd
2.00 | Supply, installation, testing & commissioning of IR Illuminator suitable for 100 meters or above with Housing, mounting arrangement, licence etc including all the accessories complete as required as per specifications. | 20.00 | No. | 23125.00 | 23125.00 | 462500.00 | 24281.00 | 485620.00 | 23472.00 | 469440.00 | 462500.00 | Spacenet Internet Services Pvt Ltd
3.00 | Supply, installation, testing & commissioning of 5MP Indoor IR Dome Network Camera with Fix Lens for 30 meters or above for covered spaces control room, with Housing, mounting arrangement, liscence etc including all the accessories complete as required etc. as per specifications. | 2.00 | No. | 29418.00 | 26744.00 | 53488.00 | 28081.00 | 56162.00 | 27145.00 | 54290.00 | 53488.00 | Spacenet Internet Services Pvt Ltd
4.00 | Supply, installation, testing & commissioning of 2MP 37X Outdoor IR PTZ Network IP Camera with Housing, mounting arrangement, licence etc including all the accessories complete as required as per specifications. | 10.00 | No. | 303472.00 | 275884.00 | 2758840.00 | 289678.00 | 2896780.00 | 280022.00 | 2800220.00 | 2758840.00 | Spacenet Internet Services Pvt Ltd
5.00 | Supply, installation, testing & commissioning of 32CH NVR etc. as per specifications. | 1.00 | No. | 511846.25 | 511846.00 | 511846.00 | 537438.00 | 537438.00 | 519524.00 | 519524.00 | 511846.00 | Spacenet Internet Services Pvt Ltd
6.00 | Supply, installation, testing & commissioning of suitable Xeon or Better processor based server for recording etc as per specifications complete as required. | 1.00 | No. | 225000.00 | 225000.00 | 225000.00 | 220000.00 | 220000.00 | 228375.00 | 228375.00 | 220000.00 | SUPREME AUDIOTEK PVT LTD
7.00 | Supply, installation, testing & commissioning of Video Management Software for Minimum 40 channels including lifetime licence as per specifications etc complete as required. | 1.00 | No. | 417381.00 | 419378.00 | 419378.00 | 410000.00 | 410000.00 | 425669.00 | 425669.00 | 410000.00 | SUPREME AUDIOTEK PVT LTD
8.00 | Supply, installation, testing & commissioning of i7 core or Better processor based workstation for monotoring etc. as per specifications. | 1.00 | No. | 183750.00 | 187500.00 | 187500.00 | 190000.00 | 190000.00 | 190875.00 | 190875.00 | 187500.00 | Spacenet Internet Services Pvt Ltd
9.00 | Supply, installation, testing & commissioning of 8 TB audio video Hard Disk for server & NVR etc. as per specifications. | 14.00 | No. | 23000.00 | 21591.00 | 302274.00 | 22500.00 | 315000.00 | 21980.00 | 307720.00 | 302274.00 | Spacenet Internet Services Pvt Ltd
10.00 | Supply, installation, testing & commissioning of Commercial Grade 50" or better LED suitable for 24X7 Monitoring etc. as per specifications. | 3.00 | No. | 72000.00 | 65455.00 | 196365.00 | 67500.00 | 202500.00 | 66633.00 | 199899.00 | 196365.00 | Spacenet Internet Services Pvt Ltd
11.00 | Supply, installation, testing & commissioning of 8-Port Redundant Ring Gigabite Ethernet Switch with PoE+ Source With 2 SFP ports and Fiber Module as per specifications complete as required. | 12.00 | No. | 30000.00 | 30000.00 | 360000.00 | 32000.00 | 384000.00 | 30540.00 | 366480.00 | 360000.00 | Spacenet Internet Services Pvt Ltd
12.00 | Supply of single mode, 12 core with outer jacket PVC with Aluminium Armoured, Outdoor OFC Cable complete as per specifications. | 2300.00 | Mtr | 110.00 | 100.00 | 230000.00 | 110.00 | 253000.00 | 102.00 | 234600.00 | 230000.00 | Spacenet Internet Services Pvt Ltd
13.00 | Supply of CAT 6 (UTP) armoured Cable as per specifications. | 800.00 | Mtr | 100.00 | 92.00 | 73600.00 | 100.00 | 80000.00 | 95.00 | 76000.00 | 73600.00 | Spacenet Internet Services Pvt Ltd
14.00 | Supply of multi core round PVC insulated PVC sheathed Copper Conductor Armoured (FR) LT Power Cable, 1100 Volts grade confirming to IS 7098-Part-1(1988) as per approved make list. a) 3 Core X 4.0 sq. mm | 2000.00 | Mtr | 372.00 | 338.00 | 676000.00 | 358.00 | 716000.00 | 345.00 | 690000.00 | 676000.00 | Spacenet Internet Services Pvt Ltd
15.00 | Supply of hot dip galvanized octagonal poles with 130 mm Bottom dia, 70 mm top dia, 3 mm thick , base plate of size 200x200x12 mm, Top Covered with welded cap etc. complete as required as per EIC for the following Heights. a) 6 Mtr. | 10.00 | No. | 17500.00 | 19091.00 | 190910.00 | 22500.00 | 225000.00 | 20500.00 | 205000.00 | 190910.00 | Spacenet Internet Services Pvt Ltd
16.00 | Installation of galvanized octagonal pole with 04 nos foundation bolts of M20x700mm long J type EN 8 grade with 1:2:4 Cement concrete(0.55x 0.55x1.05) to the required depth as per special conditions (1:cement :2coarse sand: 4graded stone aggregate 20mm nominal size) and necessary base concrete of 1:5:10 for 100mm thickness below the pole (1cement : 5 fine sand : 10graded stone aggregate 40mm nominal size) suitable finishing on surface above the ground level etc complete as required. | 10.00 | Job | 11250.00 | 13295.00 | 132950.00 | 15000.00 | 150000.00 | 13500.00 | 135000.00 | 132950.00 | Spacenet Internet Services Pvt Ltd
17.00 | Supply, installation, testing & commissioning of Suitable size M.S.Weather Proof duly painted in approved colour Outdoor Boxes IP57 as per IS:2147 with mounting arrangement, Lockable arranement & Locks complete as per site requirement and specifications. | 10.00 | No. | 6875.00 | 7500.00 | 75000.00 | 8000.00 | 80000.00 | 7725.00 | 77250.00 | 75000.00 | Spacenet Internet Services Pvt Ltd
18.00 | Supply, installation, testing & commissioning of suitable Networking Racks with Accessories for hosting NVR complete as per requirement and specifications. | 1.00 | No. | 7350.00 | 8182.00 | 8182.00 | 8650.00 | 8650.00 | 8500.00 | 8500.00 | 8182.00 | Spacenet Internet Services Pvt Ltd
19.00 | Supply, installation, testing & commissioning of 3KVA UPS 230V,Single phase, 50Hz with SMF batteries for 60 minutes backup with complete accessories as per technical specifications and approved make. | 2.00 | Set | 79625.00 | 81250.00 | 162500.00 | 85000.00 | 170000.00 | 82875.00 | 165750.00 | 162500.00 | Spacenet Internet Services Pvt Ltd
20.00 | Supply, installation, testing & commissioning of Power Surge Protector Single Phase Class B type 25KA L-N & 50 KA N-G at 10/350 micro sec.pulse complete all accessories as per technical specifications and approved make. | 2.00 | Set | 4375.00 | 4375.00 | 8750.00 | 5000.00 | 10000.00 | 4419.00 | 8838.00 | 8750.00 | Spacenet Internet Services Pvt Ltd
21.00 | Supply, installation, testing & commissioning of Lightning conductor finial for outdoor Camera made with GI tube 300 mm long, 25 mm dia with pointed tip with proper mounting arrangement 85 mm dia 6mm thick GI base plates including holes etc as per technical specifications complete as required. | 10.00 | Set | 4750.00 | 4750.00 | 47500.00 | 5000.00 | 50000.00 | 4798.00 | 47980.00 | 47500.00 | Spacenet Internet Services Pvt Ltd
22.00 | Providing and fixing 25 mm x 3 mm GI strip on surface or in recess for connections with clamping etc as required. | 200.00 | Mtr | 160.00 | 145.00 | 29000.00 | 140.00 | 28000.00 | 146.00 | 29200.00 | 28000.00 | SUPREME AUDIOTEK PVT LTD
23.00 | Supplying and laying of following size HDPE pipe, PN 20 (SDR 7.4), PE-100 grade, ISI marked along with all accessories like socket, bend, couplers, tee etc. conforming to IS 4984 complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. complete as required. a) 32 mm dia | 500.00 | Mtr | 360.00 | 327.00 | 163500.00 | 350.00 | 175000.00 | 334.00 | 167000.00 | 163500.00 | Spacenet Internet Services Pvt Ltd
24.00 | Supplying, laying and fixing of following size HDPE pipe, PN 20 (SDR 7.4), PE-100 grade, ISI marked all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. on wall surface as required. a) 32 mm dia | 1500.00 | Mtr | 187.50 | 187.00 | 280500.00 | 200.00 | 300000.00 | 191.00 | 286500.00 | 280500.00 | Spacenet Internet Services Pvt Ltd
25.00 | Supply, installation, testing & commissioning of Low Impendence Grounding Device with local monitoring 120kA, Single Phase complete with all accessories as per technical specifications. | 2.00 | No. | 158400.00 | 144000.00 | 288000.00 | 151200.00 | 302400.00 | 146880.00 | 293760.00 | 288000.00 | Spacenet Internet Services Pvt Ltd
26.00 | Supply of Earth Pits materal comprising of copper bonded earth electrode 3 mtr. long and 5/8" dia. having 250 microns with termination holes & 50 Kgs. of earth enhancing compound to replace the excavated soil to retain the moisture and provide a stable environment for the earthing system including heavy duty PVC earth pit chamber with complete all accessories as per technical specifications. | 10.00 | Set | 18525.00 | 23045.00 | 230450.00 | 24500.00 | 245000.00 | 23506.00 | 235060.00 | 230450.00 | Spacenet Internet Services Pvt Ltd
27.00 | SH(II): Electrical Fence System Electrical fence Energizer complete set with Large size Enclosure, Stand, Keypad, Lightening arrestor, surge divertor, Siren, Strobe Light, Battery, TCP/IP Board with all Wiring etc. Number of Zones: 4 Zone Length: 265 meters complete with all accessories as per technical specifications as required. | 2.00 | Set | 250305.00 | 227550.00 | 455100.00 | 240000.00 | 480000.00 | 232101.00 | 464202.00 | 455100.00 | Spacenet Internet Services Pvt Ltd
28.00 | Supply of components for Electric Fence System angled SHS Post with Post cap, angle iron, GI wires, springs, wire tightners, Earth system, Conductor, Reels, Posts and stakes, Insulators,ferrules, fixtures, earth rods for post for 1050 meter fence etc. complete as required. | 1.00 | Set | 2003695.00 | 1821541.00 | 1821541.00 | 1900000.00 | 1900000.00 | 1857972.00 | 1857972.00 | 1821541.00 | Spacenet Internet Services Pvt Ltd
29.00 | ITC of Electrical Fence with all equipment and accessories for 1050 meter fence on the existing boundry wall complete with all accessories as per technical specifications including grouting chemical fasteners along with suitable red colour warning boards of hard non corosive material having incription as instructed. | 1.00 | Set | 853125.00 | 837614.00 | 837614.00 | 865000.00 | 865000.00 | 854366.00 | 854366.00 | 837614.00 | Spacenet Internet Services Pvt Ltd
30.00 | Supply, installation, testing & commissioning of Perimeter Patrol Software Along with API complete with all accessories as per technical specifications complete as required. | 1.00 | Set | 120750.00 | 123495.00 | 123495.00 | 130000.00 | 130000.00 | 125965.00 | 125965.00 | 123495.00 | Spacenet Internet Services Pvt Ltd
31.00 | SH(III): Hardware and Accessories Supply, installation, testing & commissioning of required Hardware and Accessories for Cameras Like Mounting, suitable Junction Box, Clamps, etc. complete with all accessories for all the items mentioned in the BOQ for satisfactory integration and operation as per technical specifications. | 1.00 | Lot | 185000.00 | 181636.00 | 181636.00 | 180000.00 | 180000.00 | 185269.00 | 185269.00 | 180000.00 | SUPREME AUDIOTEK PVT LTD
32.00 | Supply, installation, testing & commissioning of required Hardware and Accessories for Electrical system like MCBs of suitable ratings, copper lugs, Din Rail, Power Connectors, lugs cable glands etc. complete with all accessories for all the items mentioned in the BOQ for satisfactory integration and operation as per technical as per technical specifications. | 1.00 | Lot | 75000.00 | 71591.00 | 71591.00 | 70000.00 | 70000.00 | 73023.00 | 73023.00 | 70000.00 | SUPREME AUDIOTEK PVT LTD
33.00 | Supply, installation, testing & commissioning of required Hardware and Accessories for Optical Fiber system Like Fiber Pigtal, Patch Cord, connector,splicing ,terminations,JC Box, etc. complete with all accessories for all the items mentioned in the BOQ for satisfactory integration and operation as per technical specifications. | 1.00 | Lot | 75000.00 | 75000.00 | 75000.00 | 70000.00 | 70000.00 | 76500.00 | 76500.00 | 70000.00 | SUPREME AUDIOTEK PVT LTD
34.00 | Installation, testing, commissioning and Integration of all the components, items mentioned in the BOQ to make a single system complete with all accessories required for satisfactory operation of the system as per technical specifications. The Cameras & Electrical fence should be integrated with the help of suitable software (has to be developed by the agency) having various required features for satisfactory operation of the system as per scope of work , specifications as instructed by AAI. | 1.00 | Job | 650400.00 | 591273.00 | 591273.00 | 626749.00 | 626749.00 | 603098.00 | 603098.00 | 591273.00 | Spacenet Internet Services Pvt Ltd
35.00 | Providing and laying following dia G.I. pipe (medium class, ISI marked) direct in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling and making good etc complete as required. a) 40 mm dia | 200.00 | Mtr | 300.00 | 273.00 | 54600.00 | 290.00 | 58000.00 | 278.00 | 55600.00 | 54600.00 | Spacenet Internet Services Pvt Ltd
36.00 | Laying of one number OFC cable, Power cable upto 1100V grade in the existing RCC/ HUME/ STONEWARE/ METAL pipe/ HDPE pipe as required. | 2000.00 | Mtr | 96.00 | 87.00 | 174000.00 | 88.00 | 176000.00 | 90.00 | 180000.00 | 174000.00 | Spacenet Internet Services Pvt Ltd
37.00 | SH(IV): CAMC of IPSS System Comprehensive annual maintenance contract for entire IPSS system inclusive of all spare parts to maintain the system healthy on all days inclusive of periodic maintenance as per schedule as well as breakdown maintenance as and when called or needed. The agency has to deploy Minimum manpower one Skilled (Technician) + one Unskilled (Helper) during the CAMC period at site on all days to carry out day to day maintenance and attend complaints, complete as required as instructed by Engineer inCharge. [Note: CAMC will start after one year of completion of work as for one year same are covered under defect liability period.] a) For first year | 1.00 | Job | 1068965.00 | 1117555.00 | 1117555.00 | 1250000.00 | 1250000.00 | 1150000.00 | 1150000.00 | 1117555.00 | Spacenet Internet Services Pvt Ltd
38.00 | b) For Second year | 1.00 | Job | 1221673.75 | 1263801.00 | 1263801.00 | 1150000.00 | 1150000.00 | 1200000.00 | 1200000.00 | 1150000.00 | SUPREME AUDIOTEK PVT LTD
39.00 | c) For Third year | 1.00 | Job | 1374383.75 | 1421777.00 | 1421777.00 | 1200000.00 | 1200000.00 | 1250000.00 | 1250000.00 | 1200000.00 | SUPREME AUDIOTEK PVT LTD
40.00 | d) For Forth year | 1.00 | Job | 1374383.75 | 1421777.00 | 1421777.00 | 1350000.00 | 1350000.00 | 1400000.00 | 1400000.00 | 1350000.00 | SUPREME AUDIOTEK PVT LTD
41.00 | e) For Fifth year | 1.00 | Job | 1437500.00 | 1486229.00 | 1486229.00 | 1450000.00 | 1450000.00 | 1600000.00 | 1600000.00 | 1450000.00 | SUPREME AUDIOTEK PVT LTD
| Total in Figures |  |  |  |  | 21411562.00 |  | 21798859.00 |  | 21573065.00
Lowest Amount Quoted BY: Spacenet Internet Services Pvt Ltd(21411562.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and commissioning of Integrated Perimeter Security System (IPSS) at Jammu Airport Tender ID: 2023_AAI_151951_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Spacenet Internet Services Pvt Ltd | 21411562.00 | L1
| 2 | Sonal Enterprises Pvt Ltd | 21573065.00 | L2
| 3 | SUPREME AUDIOTEK PVT LTD | 21798859.00 | L3