## BoQ1
Government eProcurement System Created By: UMESH CHAURASIA Created Date/Time: 23-May-2023 05:39 PM Tender Title: ARMO of E and M Installations of Operational Area and GLF at R. B. Airport, Bhopal for the year 2023 - 24 Tender ID: 2023_AAI_152014_1
Tender Inviting Authority: Sr. Manager (E-E), AAI, R.B. Airport, Bhopal.
Name of Work: AARMO of E & M Installations of Operational Area & GLF at R.B. Airport, Bhopal for the year 2023-24
Contract No: AAI/BPL/ENGG(E)/NIT-01/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | S S Electricals(GSTN-23ADFFS7417K1ZV) |  | Rajpati Construction(GSTN-23AAPFR1193J1ZX) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | RD INFRATECH ENGINEERS PRIVATE LIMITED(GSTN-NA) |  | JAI ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Operation of 320 KVA D.G.Set of Old Power House and Maintenance of Electrical & Mechanical installations of Old Power House, ATC Building, Fire Station, MT Workshop, Nav-Aids, GLF Installations, Perimeter lighting etc. by deploying adequate manpower as per special conditions of contract. | 12.00 | Month |  | 610000.00 | 7320000.00 | 645000.00 | 7740000.00 | 595000.00 | 7140000.00 | 607312.00 | 7287744.00 | 688278.00 | 8259336.00 | 610000.00 | 7320000.00 | 660000.00 | 7920000.00 | 606435.00 | 7277220.00 | 631000.00 | 7572000.00 | 579172.00 | 6950064.00 | 6950064.00 | JAI ENTERPRISES
2.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis.
2.01 | Hi-Skilled | 50.00 | Hours |  | 120.00 | 6000.00 | 200.00 | 10000.00 | 350.00 | 17500.00 | 114.00 | 5700.00 | 126.00 | 6300.00 | 115.00 | 5750.00 | 110.00 | 5500.00 | 112.00 | 5600.00 | 15.00 | 750.00 | 10.00 | 500.00 | 500.00 | JAI ENTERPRISES
2.02 | Skilled | 50.00 | Hours |  | 110.00 | 5500.00 | 190.00 | 9500.00 | 300.00 | 15000.00 | 104.00 | 5200.00 | 117.00 | 5850.00 | 102.00 | 5100.00 | 100.00 | 5000.00 | 102.00 | 5100.00 | 10.00 | 500.00 | 10.00 | 500.00 | 500.00 | JAI ENTERPRISES, RD INFRATECH ENGINEERS PRIVATE LIMITED
2.03 | Un-skilled | 50.00 | Hours |  | 85.00 | 4250.00 | 180.00 | 9000.00 | 200.00 | 10000.00 | 79.00 | 3950.00 | 89.00 | 4450.00 | 77.00 | 3850.00 | 80.00 | 4000.00 | 77.00 | 3850.00 | 5.00 | 250.00 | 10.00 | 500.00 | 250.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
3.00 | Inspection, servicing and testing of 3 Pole, 800A, 11KV, HT Vaccum circuit Breakers (2 Nos. VCB ) (Make: Crompton Greaves) installed at Old power house at Bhopal Airport, including carrying out the following tests & preventive maintenance alongwith submission of the test reports. (a) General inspection (b) Wiring check including control circuit and indications. (c) IR test between poles to poles, between poles to earth in closed condition and between pole to pole in open condition. (d) Continuity of power contacts. (e) Continuity of auxiliary contacts. (f) Resistance measurement of tripping coil. (g) Closing, tripping and inter- locking testing. (h) Tripping through relay operation. | 1.00 | JOB |  | 7500.00 | 7500.00 | 15000.00 | 15000.00 | 11000.00 | 11000.00 | 12000.00 | 12000.00 | 30000.00 | 30000.00 | 10000.00 | 10000.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 8000.00 | 8000.00 | 30000.00 | 30000.00 | 7500.00 | M/s BHARAT ELECTRIC, NAGPUR
4.00 | Calibration of 11 KV HT panel of relays of Crompton Greaves make (01 Over current relay + Earth fault relay, type-CGI 14 N) complete by digital relay testing set of the Airport power house. - 2 Nos. | 1.00 | JOB |  | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 3000.00 | 3000.00 | 25000.00 | 25000.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 15000.00 | 15000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED, Manish Electricals
5.00 | Dehydration and filtration of transformer oil at AAI site including testing the BDV before and after testing and submission of test reports etc. as required for following Transformers. 500 KVA Transformer (Make: Voltamp) | 1.00 | JOB |  | 6500.00 | 6500.00 | 25000.00 | 25000.00 | 9500.00 | 9500.00 | 14000.00 | 14000.00 | 15000.00 | 15000.00 | 6000.00 | 6000.00 | 10000.00 | 10000.00 | 9500.00 | 9500.00 | 18000.00 | 18000.00 | 15000.00 | 15000.00 | 6000.00 | Manish Electricals
6.00 | Dehydration and filtration of transformer oil at AAI site including testing the BDV before and after testing and submission of test reports etc. as required for following Transformers. 630 KVA Transformer (Make: Voltamp) | 1.00 | JOB |  | 7500.00 | 7500.00 | 30000.00 | 30000.00 | 11500.00 | 11500.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 9500.00 | 9500.00 | 10000.00 | 10000.00 | 9500.00 | 9500.00 | 20000.00 | 20000.00 | 15000.00 | 15000.00 | 7500.00 | M/s BHARAT ELECTRIC, NAGPUR
7.00 | Supply and topping of transformer oil (Tested). | 100.00 | Litre |  | 100.00 | 10000.00 | 200.00 | 20000.00 | 135.00 | 13500.00 | 140.00 | 14000.00 | 125.00 | 12500.00 | 180.00 | 18000.00 | 120.00 | 12000.00 | 110.00 | 11000.00 | 200.00 | 20000.00 | 103.00 | 10300.00 | 10000.00 | M/s BHARAT ELECTRIC, NAGPUR
8.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No.
8.01 | 50 mm Gl pipe pole of length not exceeding 3 Mt. | 480.00 | Each |  | 75.00 | 36000.00 | 200.00 | 96000.00 | 140.00 | 67200.00 | 100.00 | 48000.00 | 50.00 | 24000.00 | 120.00 | 57600.00 | 50.00 | 24000.00 | 105.00 | 50400.00 | 500.00 | 240000.00 | 400.00 | 192000.00 | 24000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, M/s LEESHA ELECTRICALS
8.02 | 75 mm Gl pipe pole of length not exceeding 3 Mt. | 150.00 | Each |  | 118.00 | 17700.00 | 250.00 | 37500.00 | 200.00 | 30000.00 | 140.00 | 21000.00 | 75.00 | 11250.00 | 160.00 | 24000.00 | 75.00 | 11250.00 | 145.00 | 21750.00 | 500.00 | 75000.00 | 500.00 | 75000.00 | 11250.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, M/s LEESHA ELECTRICALS
8.03 | Tubular street light poles of length not exceeding 11 Mt. | 170.00 | Each |  | 250.00 | 42500.00 | 500.00 | 85000.00 | 380.00 | 64600.00 | 600.00 | 102000.00 | 95.00 | 16150.00 | 380.00 | 64600.00 | 200.00 | 34000.00 | 390.00 | 66300.00 | 500.00 | 85000.00 | 12500.00 | 2125000.00 | 16150.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.00 | Spray Painting of sheet metal enclosures of electrical panels inside the power house, Pump room & ATC building & terminal building including cleaning the surface and one coats of grey or any other color of make (Asian / Berger) including rewriting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 60.00 | Square Meter |  | 75.00 | 4500.00 | 500.00 | 30000.00 | 50.00 | 3000.00 | 150.00 | 9000.00 | 250.00 | 15000.00 | 140.00 | 8400.00 | 400.00 | 24000.00 | 70.00 | 4200.00 | 200.00 | 12000.00 | 300.00 | 18000.00 | 3000.00 | S S Electricals
10.00 | Painting of sheet metal enclosures of electrical equipments such as feeder pillars, distribution boards, electrical panel, frame etc. including cleaning the surface and one coat of grey or any other color of make (Asian / Berger) including rewriting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 30.00 | Square Meter |  | 75.00 | 2250.00 | 300.00 | 9000.00 | 50.00 | 1500.00 | 75.00 | 2250.00 | 250.00 | 7500.00 | 140.00 | 4200.00 | 400.00 | 12000.00 | 70.00 | 2100.00 | 200.00 | 6000.00 | 300.00 | 9000.00 | 1500.00 | S S Electricals
11.00 | Carrying out /Making in-field measurement/testing of intensity, beam spread/coverage, orientation, chromaticity, luminous factor, setting of field alignment, toeing angle, elevation angle as per the requirement of site & ICAO/Civil Aviation Requirement (CAR) Section-4 Aerodrome standard & licensing series ‘B’ Part-I, for inset/ elevated type approach(CAT-I /CAT-II), runway edge, runway end, threshold, PAPI airfields ground lights at R.B. Airport Bhopal, by using suitable/standard Testing Equipment system / frame Reader, submission of test reports etc. complete as required as per technical specification. | 2.00 | JOB |  | 200000.00 | 400000.00 | 25000.00 | 50000.00 | 330000.00 | 660000.00 | 398000.00 | 796000.00 | 75000.00 | 150000.00 | 210000.00 | 420000.00 | 300000.00 | 600000.00 | 325000.00 | 650000.00 | 10000.00 | 20000.00 | 30000.00 | 60000.00 | 20000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.00 | CPWD Schedule of rates DSR-2022 (Electrical) items of Rs. 2,00,000/- - Chapter 01 to 10 & 14 The rate shall be quoted for this item as per examples given below- • Please refer clause 43 of GTT page No. GTT-10 before quoting rates for this item. • If bidder wants to quote the rates at par with rates of DSR-2022 (E & M), then bidder has to quote 1.00 in the rate column. • If bidder wants to quote the rates 10% above the rates of DSR- 2022 (E & M), then bidder has to quote 1.10 in the rate column. • If bidder wants to quote the rates 10% below the rates of DSR- 2022 (E & M), then bidder has to quote 0.90 in the rate column. | 200000.00 | Percentage (%) |  | .65 | 130000.00 | 1.00 | 200000.00 | .80 | 160000.00 | .70 | 140000.00 | .90 | 180000.00 | .60 | 120000.00 | .80 | 160000.00 | .70 | 140000.00 | 1.10 | 220000.00 | 1.00 | 200000.00 | 120000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 8005200.00 |  | 8376000.00 |  | 8219300.00 |  | 8480844.00 |  | 8762336.00 |  | 8080000.00 |  | 8871750.00 |  | 8269520.00 |  | 8302500.00 |  | 9715864.00
Lowest Amount Quoted BY: M/s BHARAT ELECTRIC, NAGPUR(8005200.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations of Operational Area and GLF at R. B. Airport, Bhopal for the year 2023 - 24 Tender ID: 2023_AAI_152014_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s BHARAT ELECTRIC, NAGPUR | 8005200.00 | L1
| 2 | Manish Electricals | 8080000.00 | L2
| 3 | S S Electricals | 8219300.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 8269520.00 | L4
| 5 | RD INFRATECH ENGINEERS PRIVATE LIMITED | 8302500.00 | L5
| 6 | CENTRE TAP ENGINEERING | 8376000.00 | L6
| 7 | Rajpati Construction | 8480844.00 | L7
| 8 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 8762336.00 | L8
| 9 | M/s LEESHA ELECTRICALS | 8871750.00 | L9
| 10 | JAI ENTERPRISES | 9715864.00 | L10