## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 26-May-2023 04:43 PM Tender Title: Preparations for G20 Summit at Coimbatore International Airport. SH. Replacement of Light Fittings at Terminal Building. Tender ID: 2023_AAI_152564_1
Tender Inviting Authority: Asst.Gen.Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: Preparations for G20 Summit at Coimbatore International Airport. SH: Replacement of Light Fittings at Teminal Building.
Tender ID: 2023_AAI_ 152564_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | POWER ELECTRICAL WORKS(GSTN-33AADPT3125C1Z8) |  | C P MONCHESTER ELECTRICALS(GSTN-33AJOPP7842E1ZY) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 42W 2x2 Recessed mounting type LED Luminaire (Full glow) in White powder coated CRCA sheet housing with acrylic diffuser suitable for operating on voltage range (120 - 270V AC). ( Similar to Havells make PLUTO NEO 2X2PLR42WLED857S or superior). | 425.00 | Each |  | 3400.00 | 1445000.00 | 2970.00 | 1262250.00 | 2150.00 | 913750.00 | 913750.00 | Awasthi Electric Works
2.00 | Supply of 36W 4x1 Recessed mounted type LED Luminaire (Full glow) in White powder coated CRCA sheet housing with acrylic diffuser suitable for operating on voltage range (120 - 270V AC). (Similar to Havells make PLUTONEO4X1PLR36WLED857S or superior). | 150.00 | Each |  | 3400.00 | 510000.00 | 2450.00 | 367500.00 | 2250.00 | 337500.00 | 337500.00 | Awasthi Electric Works
3.00 | Supply of 30 W recessed mounted COB LED downlight luminaire with white powder coated die-cast aluminium housing suitable for operating voltage range (120 - 270V AC). (Similar to Havells UNECOFIXDLR30WLED857S60 or superior) | 70.00 | Each |  | 2600.00 | 182000.00 | 1800.00 | 126000.00 | 1400.00 | 98000.00 | 98000.00 | Awasthi Electric Works
4.00 | Supply of 24 W recessed mounted LED downlight luminaire with white powder coated die-cast aluminium housing suitable for operating voltage range (120 - 270V AC). (Similar to Havells INTEGRANEODLR24WLED865S or superior). | 30.00 | Each |  | 1571.00 | 47130.00 | 900.00 | 27000.00 | 2950.00 | 88500.00 | 27000.00 | C P MONCHESTER ELECTRICALS
5.00 | Supply of 24W recessed mounted LED downlight luminaire with white powder coated die-cast aluminium housing suitable for operating voltage range (120 - 270V AC). (Similar to Havells INTEGRANEODLR24WLED830S or superior). - warm white | 65.00 | Each |  | 1571.00 | 102115.00 | 900.00 | 58500.00 | 1150.00 | 74750.00 | 58500.00 | C P MONCHESTER ELECTRICALS
6.00 | Supply of 120W Highbay LED luminaire with white powder coated die-cast aluminium housing suitable for operating voltage range (120 - 270V AC). (Similar to Havells SAUCERGENXPROHBP120WLED757P60DBOLTG or superior). | 24.00 | Each |  | 8000.00 | 192000.00 | 9000.00 | 216000.00 | 6150.00 | 147600.00 | 147600.00 | Awasthi Electric Works
7.00 | Supply of 30W surface mounted COB LED down light luminaire with black powder coated die-cast aluminium housing suitable for operating voltage range (120 - 270V AC). (Similar to Havells UNECOSURFDLS30WLED830S36BLK or superior). - warm white | 6.00 | Each |  | 4382.00 | 26292.00 | 2500.00 | 15000.00 | 1950.00 | 11700.00 | 11700.00 | Awasthi Electric Works
8.00 | Supply of 15/10W Wall light COB LED luminaire with black powder coated die-cast aluminium housing suitable for operating voltage range (120 - 270V AC). (Similar to Havells CLIOLL15WLED730PSYMTOTUG or superior). | 10.00 | Each |  | 4715.00 | 47150.00 | 3300.00 | 33000.00 | 1950.00 | 19500.00 | 19500.00 | Awasthi Electric Works
9.00 | Dismantling of old light fittings, Installation, testing and commissioning of pre-wired LED Fittings / fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories etc. directly on ceiling / wall / false ceiling , including connection with three core PVC insulated 1.5 sq. mm copper conductor cable and earthing etc. as required i/c. carrying out required modification if any in the existing falise ceiling cut- out at vairous heights complete as required to maintain asthetics. | 750.00 | Each |  | 150.00 | 112500.00 | 250.00 | 187500.00 | 250.00 | 187500.00 | 112500.00 | POWER ELECTRICAL WORKS
10.00 | Supplying and fixing of 20mm dia MS conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conuduit.. complete as required. | 250.00 | Mtr |  | 100.00 | 25000.00 | 225.00 | 56250.00 | 150.00 | 37500.00 | 25000.00 | POWER ELECTRICAL WORKS
11.00 | Supply and drawing of 3C 2.5 Sq.mm. PVC insulated FRLS PVC sheathed 650/1100 V grade copper conductor round flexible cables conforming to IS 694 part 1 1960 in the existing surface / recess conduit as required including giving necessary connections of the following sizes. | 250.00 | Mtr |  | 180.00 | 45000.00 | 180.00 | 45000.00 | 125.00 | 31250.00 | 31250.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 2734187.00 |  | 2394000.00 |  | 1947550.00
Lowest Amount Quoted BY: Awasthi Electric Works(1947550.00)

## BOQ Summary
BOQ Summary Details Tender Title: Preparations for G20 Summit at Coimbatore International Airport. SH. Replacement of Light Fittings at Terminal Building. Tender ID: 2023_AAI_152564_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works | 1947550.00 | L1
| 2 | C P MONCHESTER ELECTRICALS | 2394000.00 | L2
| 3 | POWER ELECTRICAL WORKS | 2734187.00 | L3